## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-11 00:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 2.9891
2020-04-11 00:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.2847
2020-04-11 00:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.2602
2020-04-11 00:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.9659
2020-04-11 01:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.3747
2020-04-11 01:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.3932
2020-04-11 01:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 3.8242
2020-04-11 01:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.201
2020-04-11 02:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.4942
2020-04-11 02:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 6.2665
2020-04-11 02:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 7.0756
2020-04-11 02:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 6.3441
2020-04-11 03:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.2947
2020-04-11 03:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.3797
2020-04-11 03:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.4499
2020-04-11 03:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.5607
2020-04-11 04:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.3008
2020-04-11 04:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.2823
2020-04-11 04:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.0952
2020-04-11 04:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.7146
2020-04-11 05:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.0952
2020-04-11 05:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.8107
2020-04-11 05:30:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 5.0508
2020-04-11 05:45:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 6.2775
2020-04-11 06:00:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 6.4808
2020-04-11 06:15:00 | 2.09 | 254.2 | 1.714 | 262 | 1.993 | 7.439 | 2.754 | 281 | 4.684 | 980.114 | 99.9582 | 4.1752
2020-04-11 06:30:00 | 1.969 | 343.2 | 1.986 | 346 | 3.138 | 7.077 | 3.481 | 341.1 | 4.055 | 977.825 | 89.185 | 4.068
2020-04-11 06:45:00 | 1.787 | 338.9 | 1.859 | 351.6 | 3.825 | 7.122 | 4.056 | 343 | 4.378 | 978.122 | 94.0976 | 4.2638
2020-04-11 07:00:00 | 1.122 | 339.4 | 1.15 | 9.48 | 3.642 | 7.266 | 4.067 | 338.9 | 4.744 | 978.19 | 91.8209 | 5.764
2020-04-11 07:15:00 | 1.533 | 351.5 | 1.75 | 16.12 | 3.629 | 7.448 | 3.929 | 349.2 | 4.89 | 978.418 | 90.7942 | 3.9091
2020-04-11 07:30:00 | 2.112 | 354.3 | 2.515 | 15.42 | 3.878 | 7.707 | 4.212 | 350.1 | 5.034 | 978.715 | 91.3649 | 3.8648
2020-04-11 07:45:00 | 1.838 | 349.5 | 2.284 | 20.87 | 3.799 | 7.885 | 4.003 | 343.2 | 5.378 | 978.922 | 89.1243 | 2.8635
2020-04-11 08:00:00 | 2.124 | 10.6 | 2.835 | 35.98 | 2.744 | 23.59 | 2.811 | 357.4 | 5.723 | 978.716 | 77.9239 | 2.409
2020-04-11 08:15:00 | 1.91 | 11.47 | 3.502 | 42.35 | 2.919 | 24.02 | 3.048 | 358.3 | 6.843 | 979.299 | 78.8677 | 2.3536
2020-04-11 08:30:00 | 2.54 | 11.06 | 3.359 | 38.82 | 2.863 | 32.98 | 2.666 | 9.08 | 6.876 | 979.318 | 71.7547 | 1.1491
2020-04-11 08:45:00 | 2.559 | 6.543 | 3.565 | 37.37 | 3.731 | 30.85 | 3.659 | 359 | 7.259 | 979.603 | 65.1989 | 1.2969
2020-04-11 09:00:00 | 2.485 | 14.27 | 2.94 | 39.26 | 3.136 | 33.26 | 3.175 | 2.537 | 7.694 | 979.898 | 63.6969 | 1.9361
2020-04-11 09:15:00 | 2.388 | 7.075 | 2.819 | 30.38 | 3.408 | 27.26 | 3.448 | 354.3 | 8.27 | 980.195 | 60.1373 | 2.4903
2020-04-11 09:30:00 | 2.627 | 4.126 | 2.399 | 15.15 | 2.529 | 11.93 | 2.291 | 354.7 | 9.3 | 980.344 | 60.2374 | 2.6123
2020-04-11 09:45:00 | 2.93 | 6.673 | 2.991 | 20.02 | 3.759 | 13.71 | 3.807 | 356.9 | 9.69 | 980.359 | 52.8249 | 2.7674
2020-04-11 10:00:00 | 1.728 | 3.529 | 2.294 | 10.75 | 2.481 | 11.75 | 2.199 | 356.8 | 9.96 | 980.491 | 56.8504 | 2.7157
2020-04-11 10:15:00 | 4.001 | 349.4 | 4.072 | 337.3 | 3.087 | 3.979 | 2.691 | 359.8 | 9.61 | 980.341 | 59.3755 | 2.3832
2020-04-11 10:30:00 | 4.006 | 308.5 | 4.159 | 316.2 | 4.234 | 3.427 | 4.202 | 316.5 | 9.51 | 980.489 | 59.8795 | 3.8759
2020-04-11 10:45:00 | 4.057 | 302.1 | 4.054 | 308.3 | 3.853 | 3.288 | 3.807 | 306 | 9.52 | 980.341 | 58.7855 | 5.1617
2020-04-11 11:00:00 | 4.116 | 302.9 | 4.522 | 313.9 | 4.623 | 2.883 | 4.568 | 306.2 | 10.34 | 980.192 | 54.6553 | 5.9856
2020-04-11 11:15:00 | 3.995 | 341.8 | 4.044 | 333.6 | 3.738 | 2.812 | 3.601 | 343.6 | 11.13 | 980.192 | 54.9908 | 5.3908
2020-04-11 11:30:00 | 5.321 | 309.6 | 5.384 | 318.5 | 4.868 | 2.315 | 4.738 | 313.7 | 10.63 | 979.896 | 56.459 | 5.6309
2020-04-11 11:45:00 | 4.119 | 300.2 | 4.527 | 312.1 | 4.779 | 2.185 | 4.696 | 302.9 | 10.47 | 979.896 | 54.1728 | 3.7133
2020-04-11 12:00:00 | 4.772 | 307 | 5.289 | 312.7 | 4.832 | 2.268 | 4.782 | 310.5 | 11.49 | 980.044 | 54.5157 | 4.1124
2020-04-11 12:15:00 | 2.937 | 299.3 | 3.336 | 312.3 | 3.385 | 2.541 | 3.312 | 301 | 11.61 | 979.747 | 53.6252 | 6.6581
2020-04-11 12:30:00 | 3.628 | 311.3 | 3.717 | 309.4 | 3.512 | 1.909 | 3.381 | 317.1 | 11.77 | 979.747 | 50.9022 | 5.3391
2020-04-11 12:45:00 | 4.484 | 307.3 | 4.701 | 319.2 | 4.542 | 1.81 | 4.522 | 306.9 | 12.1 | 979.45 | 45.8276 | 7.8035
2020-04-11 13:00:00 | 4.315 | 306.6 | 4.412 | 318.7 | 4.201 | 1.334 | 4.158 | 307.8 | 12.34 | 979.302 | 45.9307 | 10.4527
2020-04-11 13:15:00 | 4.877 | 306.2 | 5.284 | 321.2 | 5.615 | 1.38 | 5.546 | 306.1 | 13.19 | 979.302 | 46.5791 | 9.8911
2020-04-11 13:30:00 | 4.668 | 297.2 | 4.778 | 312.2 | 4.809 | 1.068 | 4.703 | 297.6 | 12.83 | 979.005 | 45.726 | 8.6681
2020-04-11 13:45:00 | 5.063 | 287.3 | 5.586 | 297.6 | 5.511 | 0.793 | 5.432 | 289 | 12.79 | 978.708 | 46.4085 | 11.587
2020-04-11 14:00:00 | 4.183 | 282.6 | 4.489 | 295.4 | 4.303 | 1.088 | 4.196 | 282.4 | 13.42 | 979.005 | 45.726 | 15.5812
2020-04-11 14:15:00 | 4.711 | 291 | 5.241 | 302.9 | 5.72 | 0.623 | 5.752 | 292.5 | 13.75 | 978.856 | 43.2008 | 18.3264
2020-04-11 14:30:00 | 6.149 | 290 | 6.8 | 301.7 | 6.795 | 0.063 | 6.692 | 289.5 | 13.01 | 978.411 | 42.6548 | 19.9743
2020-04-11 14:45:00 | 5.436 | 300.1 | 6.102 | 310.9 | 5.928 | 0.049 | 5.949 | 302.1 | 13.5 | 978.411 | 38.5941 | 22.7381
2020-04-11 15:00:00 | 5.383 | 294.5 | 6.005 | 308 | 6.198 | 0.049 | 6.219 | 295.4 | 13.43 | 978.56 | 38.4885 | 24.3638
2020-04-11 15:15:00 | 5.523 | 294.7 | 6.314 | 307.6 | 6.083 | 0.049 | 6.05 | 297.5 | 13.79 | 978.114 | 39.884 | 22.2651
2020-04-11 15:30:00 | 6.452 | 284.7 | 7.276 | 298.5 | 7.167 | 0.097 | 7.143 | 285.9 | 13.73 | 978.411 | 38.0705 | 21.0274
2020-04-11 15:45:00 | 5.446 | 284 | 6.038 | 295.8 | 6.099 | 1.133 | 6.058 | 286 | 13.67 | 978.411 | 38.7524 | 23.296
2020-04-11 16:00:00 | 5.886 | 278.6 | 6.509 | 291.8 | 7.047 | 1.114 | 7.005 | 281 | 13.78 | 977.817 | 37.4211 | 27.5709
2020-04-11 16:15:00 | 6.075 | 290 | 6.741 | 300.6 | 6.666 | 2.956 | 6.634 | 291 | 13.84 | 978.114 | 35.2038 | 27.3456
2020-04-11 16:30:00 | 6.452 | 287.7 | 7.212 | 300.1 | 7.174 | 7.313 | 7.14 | 291.1 | 13.62 | 977.075 | 37.5238 | 24.8853
2020-04-11 16:45:00 | 4.088 | 292.3 | 4.371 | 305.3 | 4.369 | 0.049 | 4.367 | 292.5 | 13.5 | 976.927 | 37.8356 | 18.6405
2020-04-11 17:00:00 | 5.847 | 261.5 | 6.072 | 272.6 | 5.956 | 5.237 | 5.791 | 266 | 13.57 | 976.927 | 38.423 | 24.8626
2020-04-11 17:15:00 | 4.568 | 275.3 | 5.305 | 291.8 | 5.173 | 0.049 | 5.019 | 274.4 | 13.41 | 976.333 | 38.7647 | 16.2906
2020-04-11 17:30:00 | 3.868 | 267.3 | 4.423 | 281 | 4.43 | 0.049 | 4.438 | 271.8 | 13.39 | 976.333 | 38.9353 | 18.8105
2020-04-11 17:45:00 | 4.446 | 267.7 | 4.786 | 278.9 | 5.333 | 0.049 | 5.322 | 269.1 | 13.41 | 976.337 | 37.8775 | 18.5186
2020-04-11 18:00:00 | 5.115 | 259.8 | 5.271 | 271.1 | 5.542 | 0.059 | 5.498 | 261.8 | 13.23 | 975.967 | 39.2427 | 17.399
2020-04-11 18:15:00 | 4.292 | 260.2 | 4.627 | 270.6 | 5.252 | 0.049 | 5.241 | 259.6 | 13.05 | 976.037 | 38.3954 | 16.043
2020-04-11 18:30:00 | 5.043 | 247.4 | 5.44 | 258.2 | 5.676 | 4.005 | 5.605 | 250 | 12.93 | 975.443 | 40.6826 | 14.942
2020-04-11 18:45:00 | 4.946 | 245.2 | 5.719 | 254.9 | 6.261 | 5.69 | 6.249 | 249.1 | 12.76 | 975.443 | 41.2285 | 18.4336
2020-04-11 19:00:00 | 5.258 | 244.6 | 5.834 | 254.2 | 6.533 | 7.039 | 6.519 | 250.7 | 12.66 | 975.146 | 40.6894 | 21.8365
2020-04-11 19:15:00 | 5.063 | 247.4 | 5.686 | 258 | 6.259 | 7.279 | 6.173 | 251.2 | 12.54 | 975.295 | 41.304 | 22.9856
2020-04-11 19:30:00 | 5.755 | 248.7 | 6.13 | 256.1 | 6.935 | 7.298 | 6.962 | 252.2 | 12.44 | 975.443 | 40.9626 | 22.4684
2020-04-11 19:45:00 | 5.919 | 252.2 | 6.386 | 263.1 | 6.859 | 7.307 | 6.817 | 256.3 | 12.5 | 975.443 | 41.2016 | 21.892
2020-04-11 20:00:00 | 5.166 | 254.2 | 6.059 | 261.4 | 6.661 | 4.258 | 6.69 | 257.7 | 12.36 | 975.443 | 41.3722 | 20.9017
2020-04-11 20:15:00 | 5.319 | 250.3 | 5.923 | 259.4 | 6.663 | 7.303 | 6.598 | 255.1 | 12.3 | 975.456 | 41.9867 | 22.1949
2020-04-11 20:30:00 | 5.204 | 245.6 | 5.959 | 252 | 7.2 | 7.309 | 7.168 | 249.9 | 12.07 | 975.447 | 42.5329 | 21.1493
2020-04-11 20:45:00 | 5.104 | 244.5 | 5.916 | 253.9 | 6.813 | 7.267 | 6.725 | 250.4 | 11.95 | 975.521 | 43.079 | 17.9717
2020-04-11 21:00:00 | 5.388 | 248.3 | 5.895 | 257.9 | 6.877 | 7.321 | 6.82 | 254.2 | 11.92 | 975.483 | 43.2156 | 18.8178
2020-04-11 21:15:00 | 4.869 | 250.7 | 5.494 | 257.6 | 6.511 | 7.318 | 6.432 | 258.1 | 11.93 | 975.206 | 43.8641 | 16.4642
2020-04-11 21:30:00 | 3.488 | 243.4 | 4.279 | 247.9 | 5.244 | 2.035 | 5.258 | 251.7 | 11.55 | 974.969 | 45.0589 | 15.4445
2020-04-11 21:45:00 | 4.394 | 247.2 | 4.97 | 255.5 | 5.175 | 4.534 | 5.088 | 255.7 | 11.83 | 974.879 | 44.2397 | 14.3914
2020-04-11 22:00:00 | 4.111 | 243.4 | 4.653 | 249 | 5.007 | 7.283 | 4.917 | 254.2 | 11.65 | 974.872 | 43.5571 | 11.6203
2020-04-11 22:15:00 | 3.937 | 253.9 | 4.796 | 257.6 | 4.822 | 7.177 | 4.685 | 266.3 | 11.55 | 974.884 | 43.4901 | 11.5131
2020-04-11 22:30:00 | 4.767 | 256.8 | 5.499 | 261 | 5.066 | 7.329 | 4.92 | 267.5 | 11.65 | 974.931 | 43.0829 | 9.0487
2020-04-11 22:45:00 | 3.508 | 257.6 | 4.341 | 259.3 | 4.313 | 4.338 | 4.133 | 266.2 | 11.66 | 974.263 | 41.3755 | 9.3664
2020-04-11 23:00:00 | 4.351 | 237.5 | 5.098 | 243.3 | 5.486 | 7.322 | 5.358 | 249 | 11.42 | 974.35 | 41.8576 | 17.3916
2020-04-11 23:15:00 | 4.568 | 230.9 | 4.688 | 234.9 | 5.783 | 6.936 | 5.829 | 239.9 | 11.11 | 974.213 | 44.317 | 23.9795
2020-04-11 23:30:00 | 5.623 | 238.8 | 6.509 | 245.6 | 7.253 | 4.947 | 7.329 | 245.6 | 10.65 | 974.126 | 46.6379 | 26.577
2020-04-11 23:45:00 | 5.722 | 241.2 | 6.695 | 247.4 | 8.32 | 1.994 | 8.31 | 249.5 | 10.34 | 973.947 | 44.3158 | 31.868