## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-12 00:00:00 | 6.064 | 253.4 | 6.995 | 263.6 | 8.17 | 356.6 | 8.1 | 260 | 10.62 | 974.249 | 45.9209 | 28.1067
2020-04-12 00:15:00 | 5.587 | 253.5 | 6.486 | 263.1 | 7.739 | 358.2 | 7.693 | 257.8 | 10.22 | 974.106 | 47.4573 | 27.8433
2020-04-12 00:30:00 | 6.001 | 252.5 | 7.089 | 263.4 | 8.19 | 357 | 8.33 | 256.3 | 10.13 | 973.811 | 47.629 | 28.8715
2020-04-12 00:45:00 | 4.591 | 240.9 | 5.343 | 248.2 | 6.6 | 357 | 6.825 | 245.4 | 9.78 | 973.662 | 48.2822 | 27.9774
2020-04-12 01:00:00 | 5.722 | 236.7 | 6.373 | 247.2 | 7.332 | 357 | 7.331 | 243.4 | 9.73 | 973.365 | 49.0353 | 31.2916
2020-04-12 01:15:00 | 6.008 | 239 | 6.667 | 249.2 | 7.841 | 357 | 8.05 | 244.2 | 9.8 | 973.365 | 48.8305 | 27.9146
2020-04-12 01:30:00 | 7.019 | 242.1 | 7.47 | 253.8 | 8.62 | 356.8 | 8.8 | 247.8 | 9.89 | 973.068 | 48.2841 | 27.9737
2020-04-12 01:45:00 | 5.411 | 234 | 6.289 | 241.8 | 7.665 | 356.9 | 7.978 | 239.4 | 9.82 | 972.92 | 46.167 | 33.7081
2020-04-12 02:00:00 | 5.245 | 230.7 | 6.194 | 238.3 | 7.66 | 356.9 | 7.861 | 239.3 | 9.97 | 973.068 | 47.1914 | 38.7663
2020-04-12 02:15:00 | 5.865 | 229.3 | 6.647 | 237.2 | 8.47 | 356.6 | 8.71 | 237.6 | 9.86 | 972.771 | 46.7133 | 41.9956
2020-04-12 02:30:00 | 7.063 | 234.9 | 7.93 | 243.8 | 9.3 | 355.8 | 9.46 | 240.6 | 9.93 | 972.474 | 47.1231 | 44.5694
2020-04-12 02:45:00 | 7.139 | 230.1 | 7.598 | 239.9 | 9.18 | 355.4 | 9.36 | 236.8 | 9.82 | 972.474 | 47.1914 | 51.1516
2020-04-12 03:00:00 | 7.676 | 234.4 | 8.51 | 241.9 | 10 | 354.9 | 10.17 | 240 | 9.88 | 972.474 | 46.3377 | 50.4442
2020-04-12 03:15:00 | 7.236 | 233.3 | 8.39 | 240.5 | 9.65 | 354.5 | 9.7 | 238.1 | 10.21 | 972.177 | 43.2303 | 49.8213
2020-04-12 03:30:00 | 7.701 | 235.7 | 8.6 | 244.6 | 9.35 | 354 | 9.39 | 242.3 | 10.53 | 972.028 | 43.7425 | 44.7298
2020-04-12 03:45:00 | 7.086 | 235.9 | 7.754 | 244.4 | 9.16 | 354 | 9.33 | 241.4 | 10.48 | 972.028 | 43.0237 | 41.0386
2020-04-12 04:00:00 | 7.739 | 232 | 8.71 | 242 | 9.46 | 353.7 | 9.46 | 238.4 | 10.66 | 972.028 | 44.6607 | 42.0695
2020-04-12 04:15:00 | 6.103 | 229.7 | 7.028 | 237.8 | 8.52 | 354.3 | 8.68 | 237.1 | 10.37 | 971.88 | 45.0347 | 34.6207
2020-04-12 04:30:00 | 6.046 | 230.4 | 7.012 | 239.3 | 7.724 | 352.5 | 7.775 | 235.4 | 10.16 | 971.583 | 46.5025 | 28.0328
2020-04-12 04:45:00 | 6.355 | 228.8 | 6.992 | 238.9 | 7.975 | 352.9 | 8.06 | 235.4 | 10.2 | 971.583 | 46.882 | 26.3406
2020-04-12 05:00:00 | 5.873 | 226.6 | 6.637 | 236.6 | 7.637 | 352.7 | 7.749 | 233.9 | 10.01 | 971.286 | 48.4194 | 25.8196
2020-04-12 05:15:00 | 5.176 | 226.3 | 5.905 | 233.6 | 6.76 | 353.6 | 6.955 | 234.1 | 9.55 | 971.137 | 49.5817 | 17.9015
2020-04-12 05:30:00 | 4.918 | 240.3 | 5.573 | 250.1 | 5.885 | 352.8 | 5.847 | 247.7 | 9.71 | 971.583 | 49.9915 | 12.5662
2020-04-12 05:45:00 | 4.754 | 263.9 | 5.491 | 273.1 | 5.577 | 353 | 5.572 | 268.4 | 9.15 | 971.583 | 51.0159 | 11.369
2020-04-12 06:00:00 | 3.572 | 271.6 | 4.351 | 281.1 | 4.715 | 353 | 4.729 | 276 | 8.97 | 971.286 | 47.9426 | 8.8565
2020-04-12 06:15:00 | 3.077 | 270.6 | 3.54 | 286.2 | 4.15 | 353 | 4.202 | 279.8 | 8.67 | 971.286 | 52.9281 | 8.04
2020-04-12 06:30:00 | 3.054 | 277.7 | 3.901 | 288.3 | 4.506 | 353 | 4.538 | 284.1 | 8.49 | 971.434 | 51.4939 | 7.9993
2020-04-12 06:45:00 | 4.17 | 301.4 | 4.676 | 317.7 | 4.847 | 353 | 4.892 | 303.8 | 8.42 | 971.583 | 51.9704 | 10.8555
2020-04-12 07:00:00 | 3.641 | 298.7 | 4.131 | 312.3 | 4.514 | 353.2 | 4.545 | 302.5 | 8.13 | 971.524 | 53.841 | 9.3221
2020-04-12 07:15:00 | 2.584 | 322.5 | 2.721 | 346.6 | 3.504 | 353.2 | 3.634 | 323.6 | 8.7 | 971.318 | 48.1322 | 6.6951
2020-04-12 07:30:00 | 0.941 | 338 | 1.586 | 341.7 | 1.251 | 356.9 | 1.191 | 352.5 | 9.57 | 971.588 | 44.8541 | 2.8709
2020-04-12 07:45:00 | 3.222 | 342.7 | 3.31 | 344.2 | 2.818 | 355.5 | 2.686 | 343.3 | 9.09 | 971.88 | 51.4721 | 7.2308
2020-04-12 08:00:00 | 2.794 | 356.3 | 3.183 | 8.64 | 3.217 | 359.5 | 3.284 | 342.3 | 8.78 | 972.029 | 50.4414 | 8.4427
2020-04-12 08:15:00 | 2.876 | 18.55 | 3.742 | 36.58 | 3.53 | 2.379 | 3.387 | 4.067 | 9.6 | 972.474 | 47.9863 | 12.0821
2020-04-12 08:30:00 | 2.526 | 10.87 | 3.817 | 27.74 | 3.06 | 13.19 | 3.063 | 357.7 | 9.75 | 972.691 | 49.4123 | 10.0167
2020-04-12 08:45:00 | 2.856 | 6.008 | 3.965 | 31.09 | 4.028 | 17.24 | 4.125 | 358.1 | 10.09 | 972.771 | 43.0643 | 6.4069
2020-04-12 09:00:00 | 2.81 | 8.81 | 3.612 | 29.28 | 4.313 | 25.39 | 4.421 | 4.405 | 10.85 | 973.216 | 34.704 | 4.286
2020-04-12 09:15:00 | 3.255 | 0.038 | 4.873 | 32.31 | 4.509 | 18.93 | 4.846 | 348.9 | 12.29 | 973.81 | 34.9349 | 7.168
2020-04-12 09:30:00 | 2.951 | 17.85 | 4.097 | 15.13 | 4.283 | 2.923 | 4.347 | 19.5 | 12.43 | 973.958 | 43.7342 | 9.6657
2020-04-12 09:45:00 | 4.509 | 328.9 | 4.747 | 332.4 | 3.932 | 354.2 | 3.771 | 337.4 | 11.29 | 973.958 | 50.759 | 8.221
2020-04-12 10:00:00 | 2.62 | 0.031 | 3.374 | 347.2 | 2.685 | 357.4 | 2.898 | 4.839 | 11.92 | 973.661 | 46.9384 | 7.4894
2020-04-12 10:15:00 | 3.3 | 346.1 | 3.872 | 348.1 | 3.389 | 358.2 | 3.337 | 345.1 | 12.14 | 973.871 | 48.0983 | 8.4981
2020-04-12 10:30:00 | 5.214 | 355.7 | 5.123 | 6.92 | 5.221 | 355.9 | 5.317 | 351.3 | 12.79 | 974.009 | 47.2113 | 28.203
2020-04-12 10:45:00 | 3.073 | 13.49 | 4.385 | 18.84 | 5.333 | 359.6 | 4.95 | 11.04 | 13.06 | 974.413 | 48.5758 | 28.5981
2020-04-12 11:00:00 | 3.051 | 12.35 | 4.558 | 27.69 | 5.053 | 17.25 | 4.864 | 8.4 | 13.18 | 974.254 | 47.1772 | 28.0808
2020-04-12 11:15:00 | 3.749 | 16.53 | 6.464 | 34.06 | 6.193 | 11.22 | 5.974 | 7.722 | 13.46 | 974.403 | 44.4141 | 32.3559
2020-04-12 11:30:00 | 3.368 | 9.72 | 5.367 | 25.92 | 5.737 | 358.3 | 5.536 | 4.86 | 13.64 | 974.323 | 44.073 | 32.0343
2020-04-12 11:45:00 | 3.693 | 19.5 | 5.948 | 38.98 | 5.577 | 356.4 | 5.314 | 15.17 | 13.93 | 974.237 | 43.3225 | 25.9378
2020-04-12 12:00:00 | 3.683 | 16.22 | 6.113 | 29.24 | 5.885 | 358.9 | 5.872 | 11.29 | 14.56 | 974.315 | 40.6959 | 27.5229
2020-04-12 12:15:00 | 7.941 | 10.61 | 9.53 | 29.64 | 8.94 | 7.773 | 9.05 | 6.093 | 14.51 | 973.812 | 33.9076 | 26.0856
2020-04-12 12:30:00 | 6.608 | 9.2 | 9.04 | 34.51 | 8.4 | 12.98 | 8.7 | 358.1 | 14.51 | 974.103 | 33.737 | 31.9419
2020-04-12 12:45:00 | 9.37 | 10.11 | 10.83 | 25.95 | 9.9 | 5.331 | 9.79 | 6.226 | 14.77 | 973.661 | 31.2818 | 32.915
2020-04-12 13:00:00 | 8.09 | 0.106 | 10.15 | 28.32 | 11.24 | 334.6 | 11.92 | 350.8 | 14.92 | 973.958 | 31.1483 | 41.6557
2020-04-12 13:15:00 | 6.658 | 0.573 | 8.78 | 29.47 | 9.34 | 27.39 | 9.29 | 346.5 | 15.42 | 973.364 | 31.457 | 42.7715
2020-04-12 13:30:00 | 9.53 | 2.547 | 12.04 | 33.96 | 11.59 | 343 | 11.87 | 348.8 | 15.28 | 973.958 | 25.9296 | 47.3753
2020-04-12 13:45:00 | 10.93 | 9.25 | 12.04 | 27.89 | 11.74 | 350.2 | 12.27 | 1.849 | 15.11 | 973.809 | 25.6216 | 44.5066
2020-04-12 14:00:00 | 11.17 | 4.775 | 11.76 | 25.08 | 12.9 | 354.1 | 13.5 | 0.41 | 14.99 | 973.958 | 23.1312 | 46.0082
2020-04-12 14:15:00 | 8.5 | 9.22 | 10.14 | 24.94 | 10.31 | 345.9 | 10.42 | 5.205 | 15.23 | 974.403 | 24.2216 | 50.043
2020-04-12 14:30:00 | 11.76 | 12 | 12.62 | 27.66 | 12.26 | 355 | 12.65 | 359.5 | 14.9 | 974.255 | 23.6063 | 52.7144
2020-04-12 14:45:00 | 10.35 | 8.75 | 11.63 | 25.6 | 12.29 | 338.7 | 12.65 | 357.8 | 14.78 | 973.958 | 22.9587 | 56.0988
2020-04-12 15:00:00 | 10.31 | 3.164 | 10.61 | 21.72 | 11.81 | 337.7 | 12.22 | 357.9 | 14.94 | 974.106 | 24.0493 | 63.9799
2020-04-12 15:15:00 | 8.62 | 12.24 | 9.53 | 27.42 | 10.57 | 338.6 | 11.31 | 354.6 | 14.61 | 974.255 | 23.2988 | 69.7024
2020-04-12 15:30:00 | 8.22 | 21.12 | 12.27 | 31.98 | 10.29 | 343.2 | 9.72 | 8.71 | 14.92 | 973.958 | 23.5034 | 78.9726
2020-04-12 15:45:00 | 9.36 | 26.04 | 10.77 | 28.55 | 9.42 | 349.1 | 9.52 | 5.527 | 14.7 | 973.661 | 21.9683 | 73.7261
2020-04-12 16:00:00 | 8.75 | 15.62 | 10.7 | 28.94 | 9.93 | 354.7 | 9.88 | 2.601 | 14.77 | 974.7 | 24.4926 | 73.2762
2020-04-12 16:15:00 | 9.59 | 9.79 | 10.13 | 23.66 | 10.49 | 356.3 | 11.14 | 3.119 | 14.62 | 973.958 | 21.6272 | 68.608
2020-04-12 16:30:00 | 7.315 | 48.6 | 13.25 | 34 | 12.22 | 355.7 | 11.99 | 18.17 | 14.52 | 973.958 | 22.139 | 62.103
2020-04-12 16:45:00 | 7.724 | 356.2 | 8.25 | 25.75 | 9.44 | 356.5 | 9.96 | 353.8 | 14.49 | 974.552 | 22.4123 | 46.9272
2020-04-12 17:00:00 | 7.744 | 40.21 | 9.91 | 29.28 | 9.49 | 356.1 | 9.05 | 8.57 | 14.47 | 974.552 | 22.651 | 41.5522
2020-04-12 17:15:00 | 6.667 | 14.19 | 7.503 | 29.53 | 6.737 | 356.2 | 6.939 | 4.441 | 14.25 | 974.552 | 23.7439 | 28.4377
2020-04-12 17:30:00 | 6.871 | 9.92 | 8.01 | 28.41 | 7.429 | 356.9 | 7.54 | 2.786 | 14.23 | 974.552 | 23.1974 | 23.2073
2020-04-12 17:45:00 | 6.366 | 11.23 | 7.542 | 25.74 | 6.938 | 357.5 | 6.509 | 12.21 | 14.11 | 973.958 | 25.3833 | 21.5705
2020-04-12 18:00:00 | 5.569 | 19.49 | 8.25 | 29.73 | 7.731 | 359.8 | 6.764 | 16.15 | 13.96 | 973.661 | 23.6819 | 14.0737
2020-04-12 18:15:00 | 3.671 | 22.73 | 6.859 | 33.6 | 6.694 | 358.1 | 6.537 | 20.83 | 13.59 | 973.364 | 25.2517 | 7.6668
2020-04-12 18:30:00 | 3.13 | 19.62 | 6.291 | 33.67 | 6.264 | 355 | 5.87 | 20.74 | 13.43 | 973.561 | 24.0914 | 3.1923
2020-04-12 18:45:00 | 2.841 | 14.51 | 4.75 | 26.05 | 4.367 | 356.9 | 3.845 | 13.6 | 13.34 | 973.661 | 26.0068 | 1.2193
2020-04-12 19:00:00 | 0.792 | 38.19 | 2.528 | 47.48 | 2.581 | 356.7 | 2.498 | 40.98 | 13.24 | 973.81 | 26.0062 | -0.48772
2020-04-12 19:15:00 | 0.973 | 41.87 | 2.566 | 51.55 | 3.105 | 356.8 | 3.157 | 36.54 | 13.26 | 973.662 | 25.8062 | -0.31037
2020-04-12 19:30:00 | 0.019 | 32.46 | 2.124 | 29.49 | 3.507 | 356.7 | 3.478 | 34.03 | 12.68 | 973.513 | 26.8988 | -0.26972
2020-04-12 19:45:00 | 0.007 | 33.97 | 1.18 | 38.4 | 1.95 | 356.6 | 1.792 | 35.92 | 12.91 | 973.662 | 25.943 | -0.26233
2020-04-12 20:00:00 | 1.525 | 2.787 | 2.216 | 35.68 | 2.103 | 356.6 | 1.861 | 4.283 | 13.17 | 973.67 | 25.6016 | -0.28081
2020-04-12 20:15:00 | 1.746 | 30.1 | 2.715 | 38.52 | 2.769 | 356.6 | 2.737 | 36.87 | 12.98 | 973.742 | 26.3526 | -0.28081
2020-04-12 20:30:00 | 1.966 | 51.09 | 3.73 | 53.17 | 3.891 | 356.7 | 3.82 | 49.15 | 12.48 | 973.26 | 25.8747 | -0.29928
2020-04-12 20:45:00 | 0.744 | 56.69 | 2.18 | 61.52 | 2.556 | 356.7 | 2.483 | 57.14 | 12.55 | 973.444 | 26.2161 | -0.26972
2020-04-12 21:00:00 | 0.796 | 61.35 | 1.976 | 61.71 | 2.207 | 356.7 | 2.195 | 63.51 | 12.76 | 973.403 | 26.2843 | -0.28081
2020-04-12 21:15:00 | 1.589 | 75.04 | 2.375 | 96.7 | 2.96 | 356.7 | 3 | 76.48 | 12.64 | 973.406 | 25.9431 | -0.29189
2020-04-12 21:30:00 | 2.23 | 91 | 3.837 | 111.2 | 4.183 | 356.9 | 4.179 | 93.1 | 12.5 | 973.559 | 26.0118 | 0.82026
2020-04-12 21:45:00 | 3.378 | 97.6 | 4.154 | 115.6 | 4.018 | 356.9 | 4.199 | 101.5 | 12.81 | 973.681 | 24.7483 | 7.6409
2020-04-12 22:00:00 | 2.908 | 107.9 | 3.142 | 133.6 | 3.082 | 357 | 3.216 | 110 | 12.71 | 973.553 | 23.8949 | 8.8676
2020-04-12 22:15:00 | 1.779 | 97.3 | 3.254 | 120.6 | 3.919 | 357 | 4.023 | 99.2 | 12.66 | 973.666 | 22.1881 | 7.035
2020-04-12 22:30:00 | 3.082 | 90.7 | 3.916 | 115 | 4.026 | 357 | 4.084 | 94.6 | 12.76 | 973.709 | 21.3006 | 5.8563
2020-04-12 22:45:00 | 2.013 | 125.7 | 3.198 | 145 | 3.164 | 357 | 3.099 | 124.3 | 12.7 | 973.632 | 23.4852 | 6.1334
2020-04-12 23:00:00 | 5.656 | 120.8 | 5.701 | 140.7 | 4.593 | 0.049 | 4.398 | 120.8 | 12.55 | 973.415 | 24.0997 | 7.3047
2020-04-12 23:15:00 | 4.446 | 137.5 | 4.676 | 157.5 | 5.343 | 0.049 | 5.355 | 141.7 | 12.08 | 973.591 | 25.3286 | 9.3147
2020-04-12 23:30:00 | 5.255 | 138.1 | 5.87 | 154.2 | 5.686 | 0.049 | 5.511 | 143 | 12.07 | 973.495 | 25.7382 | 12.932
2020-04-12 23:45:00 | 5.595 | 140.3 | 6.286 | 157.7 | 6.465 | 0.054 | 6.155 | 146.7 | 11.76 | 973.421 | 26.8305 | 11.6055