## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-13 00:00:00 | 4.269 | 147.4 | 5.072 | 167 | 5.918 | 342.2 | 5.964 | 152.3 | 11.7 | 973.7 | 29.1859 | 10.6079
2020-04-13 00:15:00 | 4.251 | 156.4 | 4.612 | 172.7 | 4.331 | 275.4 | 4.291 | 160.8 | 11.32 | 973.445 | 28.7428 | 10.6559
2020-04-13 00:30:00 | 4.32 | 154.8 | 4.906 | 170.7 | 5.249 | 273.1 | 5.253 | 158.2 | 11.6 | 973.469 | 26.8346 | 12.4627
2020-04-13 00:45:00 | 4.949 | 141 | 5.369 | 157.2 | 5.844 | 271.5 | 5.763 | 146.9 | 11.98 | 973.749 | 26.5628 | 11.1917
2020-04-13 01:00:00 | 4.41 | 145.2 | 5.243 | 162.2 | 5.409 | 271.5 | 5.279 | 150.3 | 11.97 | 973.706 | 27.1745 | 9.7101
2020-04-13 01:15:00 | 4.469 | 157.5 | 4.729 | 172.1 | 4.814 | 271.5 | 4.805 | 160.8 | 11.96 | 973.559 | 24.9222 | 7.7185
2020-04-13 01:30:00 | 3.626 | 163.8 | 4.412 | 180.1 | 5.086 | 271.6 | 5.101 | 168.3 | 12.11 | 973.757 | 26.3558 | 6.4327
2020-04-13 01:45:00 | 4.757 | 172 | 5.264 | 184.7 | 5.338 | 271.6 | 5.363 | 177.7 | 11.93 | 973.686 | 26.492 | 7.6557
2020-04-13 02:00:00 | 3.641 | 170.3 | 4.571 | 178.6 | 5.124 | 271.7 | 5.228 | 176.5 | 11.59 | 973.435 | 26.2176 | 8.4427
2020-04-13 02:15:00 | 3.003 | 168 | 4.2 | 179 | 5.175 | 271.7 | 5.223 | 173.5 | 11.39 | 973.384 | 28.2012 | 10.0315
2020-04-13 02:30:00 | 4.343 | 164.3 | 5.151 | 171.1 | 5.918 | 271.7 | 5.859 | 171.1 | 11.08 | 973.179 | 27.5864 | 11.1178
2020-04-13 02:45:00 | 4.014 | 158.7 | 4.576 | 173.2 | 5.91 | 271.7 | 5.862 | 166.4 | 11.12 | 973.01 | 27.3815 | 12.0489
2020-04-13 03:00:00 | 4.872 | 169.7 | 5.77 | 184.8 | 6.193 | 271.6 | 6.198 | 173.9 | 11.4 | 972.86 | 25.9474 | 17.3584
2020-04-13 03:15:00 | 4.292 | 171.5 | 5.241 | 184.9 | 6.078 | 271.6 | 6.249 | 176.1 | 11.01 | 972.74 | 28.2008 | 19.5642
2020-04-13 03:30:00 | 4.244 | 182.5 | 3.794 | 205.2 | 3.938 | 272.7 | 4.262 | 166.5 | 11.3 | 972.752 | 24.8552 | 17.8572
2020-04-13 03:45:00 | 5.439 | 168.1 | 5.79 | 180.1 | 5.338 | 270.5 | 5.345 | 175.4 | 11.14 | 972.615 | 27.9276 | 27.1017
2020-04-13 04:00:00 | 6.422 | 160.1 | 6.662 | 172.6 | 6.358 | 268.8 | 6.369 | 168.9 | 10.66 | 972.155 | 30.3858 | 30.1499
2020-04-13 04:15:00 | 5.824 | 172.1 | 6.601 | 185.9 | 6.205 | 267.5 | 6.305 | 183.1 | 10.09 | 972.171 | 29.4301 | 35.4964
2020-04-13 04:30:00 | 6.018 | 177.3 | 6.258 | 188.9 | 6.317 | 220.4 | 6.443 | 179.4 | 10.59 | 972.177 | 30.1138 | 35.9619
2020-04-13 04:45:00 | 6.943 | 171.1 | 6.706 | 183.4 | 6.602 | 220.1 | 6.853 | 173.9 | 10.79 | 972.177 | 28.2017 | 39.291
2020-04-13 05:00:00 | 8.04 | 165.5 | 8.18 | 180 | 7.617 | 216.8 | 7.67 | 172.8 | 11.05 | 972.325 | 27.041 | 39.8157
2020-04-13 05:15:00 | 6.869 | 162.4 | 7.046 | 176.9 | 7.401 | 212 | 7.584 | 167.3 | 11.24 | 972.474 | 27.7228 | 35.4668
2020-04-13 05:30:00 | 6.756 | 168.6 | 6.68 | 183.4 | 6.678 | 211.2 | 6.758 | 175.7 | 11.37 | 972.412 | 27.2453 | 36.7231
2020-04-13 05:45:00 | 7.821 | 168.8 | 7.951 | 179.5 | 7.406 | 210.7 | 7.528 | 175.8 | 11.31 | 973.112 | 26.6987 | 30.3236
2020-04-13 06:00:00 | 8.03 | 168.3 | 7.948 | 181.3 | 7.749 | 209.2 | 7.841 | 174.5 | 11.49 | 972.814 | 26.2205 | 34.0923
2020-04-13 06:15:00 | 7.259 | 168.5 | 7.491 | 183.5 | 7.945 | 209.3 | 8.19 | 174.5 | 11.61 | 973.142 | 26.4902 | 39.0471
2020-04-13 06:30:00 | 7.318 | 170.4 | 7.327 | 184.2 | 7.449 | 209.2 | 7.612 | 175.8 | 11.67 | 973.567 | 26.0795 | 35.9767
2020-04-13 06:45:00 | 6.887 | 164.3 | 7.572 | 177.6 | 8.03 | 208.8 | 8.04 | 172.3 | 11.73 | 973.366 | 25.5334 | 32.1082
2020-04-13 07:00:00 | 8.2 | 165.2 | 8.02 | 178.5 | 7.787 | 207.7 | 7.767 | 173.6 | 12.24 | 973.662 | 24.3045 | 33.4975
2020-04-13 07:15:00 | 8.23 | 163.6 | 8.02 | 174 | 7.045 | 207 | 7.074 | 174.9 | 12.48 | 973.959 | 24.1314 | 32.6883
2020-04-13 07:30:00 | 8.23 | 163.8 | 8.38 | 175.8 | 7.805 | 206.9 | 7.805 | 173.5 | 12.54 | 973.81 | 23.959 | 35.138
2020-04-13 07:45:00 | 8.27 | 164.5 | 8.11 | 176.5 | 7.523 | 206.8 | 7.548 | 174.1 | 12.73 | 974.256 | 23.0717 | 31.0256
2020-04-13 08:00:00 | 8.26 | 159.9 | 8.53 | 173.2 | 8.14 | 206.5 | 8.14 | 168.9 | 12.96 | 974.192 | 23.341 | 31.4579
2020-04-13 08:15:00 | 8.95 | 158.6 | 8.75 | 173.4 | 8.14 | 206.2 | 8.13 | 167.2 | 13.16 | 974.108 | 22.4535 | 26.7655
2020-04-13 08:30:00 | 8.4 | 157.3 | 8.35 | 171.3 | 7.543 | 205.7 | 7.365 | 165.7 | 13.32 | 974.403 | 23.8867 | 23.647
2020-04-13 08:45:00 | 8.94 | 160.8 | 8.52 | 172.7 | 7.233 | 205.6 | 7.163 | 169 | 13.43 | 974.552 | 24.5007 | 25.0252
2020-04-13 09:00:00 | 8.18 | 159.1 | 8.15 | 174 | 7.225 | 206.1 | 7.115 | 166 | 13.72 | 975.146 | 25.2475 | 23.9352
2020-04-13 09:15:00 | 7.328 | 158.1 | 7.335 | 173.2 | 7.121 | 206.1 | 7.102 | 165.9 | 13.93 | 975.146 | 25.4832 | 23.3293
2020-04-13 09:30:00 | 7.818 | 157.7 | 7.631 | 172.5 | 6.994 | 205.9 | 6.911 | 165.9 | 14.3 | 975.443 | 24.3222 | 22.243
2020-04-13 09:45:00 | 7.101 | 156.5 | 7.135 | 170.5 | 6.719 | 205.9 | 6.618 | 164.9 | 14.47 | 975.443 | 26.9487 | 18.441
2020-04-13 10:00:00 | 6.644 | 160.7 | 6.363 | 175.3 | 5.783 | 206.2 | 5.786 | 167.4 | 15.07 | 975.739 | 27.3239 | 15.0491
2020-04-13 10:15:00 | 6.698 | 153.9 | 6.437 | 167.8 | 5.704 | 206.1 | 5.668 | 163.9 | 15.57 | 975.672 | 26.3005 | 11.8531
2020-04-13 10:30:00 | 5.441 | 155.7 | 5.468 | 169.2 | 5.453 | 206.7 | 5.516 | 165.5 | 16.28 | 975.442 | 24.2852 | 9.2482
2020-04-13 10:45:00 | 5.418 | 168.3 | 5.42 | 183.6 | 4.84 | 208.1 | 4.93 | 174.4 | 16.93 | 975.887 | 27.558 | 8.7863
2020-04-13 11:00:00 | 4.938 | 153.2 | 5.064 | 168.5 | 4.786 | 206.9 | 4.693 | 162.3 | 16.9 | 975.59 | 27.5572 | 8.0843
2020-04-13 11:15:00 | 4.915 | 170.9 | 4.755 | 189.6 | 4.593 | 208.5 | 4.51 | 173.4 | 17.68 | 975.6 | 28.3035 | 6.6951
2020-04-13 11:30:00 | 5.439 | 195.5 | 5.11 | 209.3 | 4.471 | 211.1 | 4.446 | 195.2 | 17.62 | 975.474 | 29.3265 | 7.0535
2020-04-13 11:45:00 | 5.679 | 171.7 | 5.563 | 189.8 | 5.048 | 206.4 | 5.06 | 177.6 | 17.71 | 975.44 | 31.168 | 7.1384
2020-04-13 12:00:00 | 4.79 | 180.1 | 4.469 | 195.4 | 4.021 | 208 | 3.967 | 181.8 | 17.92 | 975.292 | 31.4067 | 4.7294
2020-04-13 12:15:00 | 5.582 | 168.1 | 5.466 | 181.8 | 2.395 | 203.3 | 4.691 | 175.8 | 18.02 | 975.292 | 30.52 | 3.1037
2020-04-13 12:30:00 | 4.678 | 177.4 | 4.532 | 191.3 | 4.311 | 203.1 | 4.331 | 186.7 | 18.41 | 975.215 | 30.3495 | 3.0187
2020-04-13 12:45:00 | 3.669 | 210 | 3.929 | 223.1 | 2.645 | 213.6 | 3.603 | 203.4 | 18.64 | 975.402 | 29.532 | 1.223
2020-04-13 13:00:00 | 2.582 | 179.1 | 2.875 | 201.5 | 2.619 | 210.4 | 2.458 | 191.4 | 19.23 | 975.43 | 27.8274 | 0.036948
2020-04-13 13:15:00 | 3.736 | 193.9 | 3.543 | 201.2 | 3.423 | 204.2 | 3.491 | 201.2 | 19.47 | 975.057 | 28.9173 | -0.051728
2020-04-13 13:30:00 | 2.238 | 182.3 | 2.575 | 176.9 | 2.894 | 201.4 | 2.908 | 189.4 | 19.73 | 974.997 | 27.1441 | -0.29559
2020-04-13 13:45:00 | 2.375 | 223.3 | 2.361 | 241.3 | 2.02 | 227.8 | 1.968 | 215.2 | 19.74 | 974.995 | 27.8943 | 0.0073897
2020-04-13 14:00:00 | 2.474 | 213.1 | 2.485 | 226 | 2.371 | 203.6 | 2.362 | 201.8 | 19.78 | 975.143 | 28.2353 | -0.11084
2020-04-13 14:15:00 | 3.361 | 160.4 | 3.408 | 176 | 3.214 | 203.4 | 3.219 | 176 | 20.61 | 975.588 | 28.5035 | 0.14779
2020-04-13 14:30:00 | 3.137 | 217.5 | 2.804 | 231.7 | 3.052 | 220 | 2.936 | 213.7 | 20.45 | 975.292 | 28.3669 | 0.36579
2020-04-13 14:45:00 | 4.364 | 188.3 | 4.284 | 203.7 | 3.441 | 205.9 | 3.28 | 193.8 | 20.62 | 975.143 | 28.9118 | 0.77961
2020-04-13 15:00:00 | 2.953 | 157.4 | 3.492 | 179.7 | 3.041 | 203.2 | 2.872 | 159.6 | 20.28 | 975.143 | 30.3742 | 1.5186
2020-04-13 15:15:00 | 4.88 | 184.2 | 4.686 | 202.6 | 4.252 | 205.2 | 4.273 | 186.6 | 20.55 | 975.143 | 30.7488 | 1.574
2020-04-13 15:30:00 | 4.282 | 165.4 | 4.254 | 182.9 | 3.703 | 201.7 | 3.613 | 171.1 | 20.64 | 975.292 | 30.4076 | 3.5988
2020-04-13 15:45:00 | 4.859 | 162.8 | 4.502 | 175.6 | 3.601 | 200.2 | 3.578 | 170.4 | 20.07 | 975.143 | 32.3164 | 4.8255
2020-04-13 16:00:00 | 6.024 | 183.8 | 5.629 | 201.3 | 5.005 | 202.5 | 5.151 | 185.8 | 20.05 | 974.698 | 33.4754 | 5.4499
2020-04-13 16:15:00 | 5.079 | 170.7 | 4.975 | 190 | 4.407 | 203.9 | 4.398 | 175 | 20.26 | 974.542 | 33.0322 | 6.0263
2020-04-13 16:30:00 | 6.085 | 177.2 | 6.189 | 190.8 | 5.572 | 199.6 | 5.549 | 181.5 | 20.07 | 974.105 | 32.9325 | 6.2369
2020-04-13 16:45:00 | 5.145 | 183.4 | 5.123 | 196.7 | 4.743 | 201.1 | 4.673 | 187.3 | 20.16 | 974.105 | 30.6852 | 6.5103
2020-04-13 17:00:00 | 5.03 | 159.4 | 5.248 | 178.9 | 4.288 | 200 | 4.112 | 163.7 | 19.95 | 973.956 | 32.39 | 6.4143
2020-04-13 17:15:00 | 4.65 | 164.9 | 4.402 | 182.3 | 3.843 | 201.9 | 3.718 | 169.8 | 19.85 | 973.66 | 33.3452 | 7.3601
2020-04-13 17:30:00 | 5.546 | 157.5 | 5.33 | 171.7 | 4.768 | 197.9 | 4.665 | 164.2 | 19.64 | 973.363 | 35.3278 | 7.1384
2020-04-13 17:45:00 | 5.186 | 172.4 | 4.906 | 189 | 4.489 | 198 | 4.421 | 174.7 | 19.32 | 972.942 | 37.3742 | 8.8898
2020-04-13 18:00:00 | 4.785 | 159.1 | 4.727 | 176.6 | 4.356 | 198.2 | 4.344 | 163.9 | 19.09 | 972.761 | 39.7674 | 8.9785
2020-04-13 18:15:00 | 4.811 | 153.5 | 5.154 | 167.8 | 5.341 | 198.2 | 5.233 | 159.9 | 18.63 | 972.473 | 42.7694 | 7.689
2020-04-13 18:30:00 | 4.987 | 158.3 | 5.343 | 173.7 | 5.45 | 198.2 | 5.401 | 163 | 18.32 | 972.503 | 43.0494 | 8.3504
2020-04-13 18:45:00 | 5.229 | 163.5 | 5.461 | 175.6 | 5.374 | 198.8 | 5.327 | 172.5 | 18.17 | 972.755 | 43.8001 | 8.3651
2020-04-13 19:00:00 | 5.079 | 163.6 | 5.422 | 175.1 | 5.397 | 197.9 | 5.457 | 170.8 | 18.38 | 972.622 | 45.0964 | 7.5042
2020-04-13 19:15:00 | 5.237 | 162.3 | 5.471 | 173.7 | 5.915 | 197.7 | 5.951 | 170.2 | 18.05 | 972.77 | 45.5057 | 8.0252
2020-04-13 19:30:00 | 5.906 | 165.5 | 6.056 | 175.5 | 6.012 | 197.7 | 6.002 | 175.2 | 18.13 | 972.177 | 41.4823 | 10.353
2020-04-13 19:45:00 | 5.513 | 161.6 | 5.778 | 173.8 | 5.798 | 197.7 | 5.803 | 169.3 | 17.92 | 972.622 | 43.3247 | 11.0143
2020-04-13 20:00:00 | 5.566 | 163.9 | 5.806 | 179.9 | 5.938 | 197.8 | 5.936 | 169.3 | 18.13 | 972.474 | 41.8926 | 13.5749
2020-04-13 20:15:00 | 5.301 | 157.5 | 5.801 | 171 | 5.722 | 197.7 | 5.661 | 164 | 17.76 | 972.622 | 43.8049 | 13.5675
2020-04-13 20:30:00 | 5.556 | 155.2 | 6.054 | 168.1 | 6.226 | 197.8 | 6.14 | 164.4 | 17.59 | 972.474 | 43.9434 | 14.5614
2020-04-13 20:45:00 | 5.166 | 153.2 | 5.629 | 168.1 | 6.345 | 197.9 | 6.264 | 161.9 | 17.47 | 972.177 | 43.8788 | 12.7989
2020-04-13 21:00:00 | 5.347 | 156 | 5.831 | 168.4 | 5.969 | 197.8 | 5.895 | 163.3 | 17.53 | 972.474 | 43.0628 | 12.6955
2020-04-13 21:15:00 | 5.633 | 155.6 | 6.215 | 167.1 | 6.294 | 197.8 | 6.203 | 163.3 | 17.36 | 972.325 | 43.4733 | 11.8568
2020-04-13 21:30:00 | 5.635 | 153.3 | 6.263 | 165 | 6.455 | 197.6 | 6.361 | 161.3 | 17.24 | 972.177 | 43.2005 | 15.8361
2020-04-13 21:45:00 | 5.602 | 152.6 | 6.302 | 164.4 | 6.46 | 197.6 | 6.379 | 160.6 | 17 | 972.177 | 44.7705 | 18.0161
2020-04-13 22:00:00 | 6.156 | 158 | 6.69 | 169.8 | 6.778 | 197.5 | 6.786 | 165.5 | 16.8 | 971.88 | 43.8833 | 19.2908
2020-04-13 22:15:00 | 5.99 | 159.6 | 6.335 | 171.5 | 6.945 | 197.6 | 7.033 | 166.8 | 16.65 | 971.88 | 43.2691 | 22.1173
2020-04-13 22:30:00 | 6.417 | 160.5 | 6.821 | 173.7 | 6.869 | 197.4 | 6.86 | 167.7 | 16.48 | 971.583 | 45.4189 | 23.6618
2020-04-13 22:45:00 | 6.103 | 158.7 | 6.545 | 171.1 | 7.123 | 197.2 | 7.199 | 167.6 | 16.2 | 971.286 | 44.0198 | 23.9943
2020-04-13 23:00:00 | 6.754 | 159.4 | 7.163 | 174.6 | 7.744 | 196 | 7.724 | 167.2 | 16.15 | 971.436 | 43.6785 | 25.7642
2020-04-13 23:15:00 | 6.657 | 163.4 | 7.235 | 175.3 | 8.02 | 195.4 | 8.03 | 169.7 | 16.2 | 971.313 | 44.5658 | 28.0217
2020-04-13 23:30:00 | 7.244 | 158.5 | 7.657 | 172.7 | 8.2 | 194.6 | 8.33 | 165.9 | 16.01 | 971.196 | 44.9753 | 30.1499
2020-04-13 23:45:00 | 6.943 | 160.6 | 7.646 | 172.1 | 8.36 | 194.5 | 8.5 | 169.9 | 15.58 | 970.877 | 45.2482 | 34.6946