## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-14 00:00:00 | 7.688 | 167.7 | 8.01 | 179.4 | 8.48 | 194.5 | 8.64 | 173.3 | 15.91 | 970.6 | 43.4743 | 38.4781
2020-04-14 00:15:00 | 7.89 | 164.8 | 8.1 | 176.5 | 8.84 | 193.6 | 8.96 | 171.7 | 15.91 | 970.658 | 43.7477 | 41.4155
2020-04-14 00:30:00 | 7.624 | 163.7 | 7.721 | 176.4 | 8.32 | 193.2 | 8.4 | 171.9 | 15.79 | 970.648 | 45.5907 | 41.4709
2020-04-14 00:45:00 | 7.821 | 159.6 | 8.21 | 170 | 8.44 | 192.6 | 8.43 | 166.2 | 15.11 | 970.393 | 48.3901 | 43.747
2020-04-14 01:00:00 | 7.732 | 159 | 8.34 | 170.1 | 8.62 | 192.4 | 8.63 | 167.4 | 14.83 | 970.098 | 46.6207 | 39.9487
2020-04-14 01:15:00 | 7.558 | 156.3 | 8.38 | 168.3 | 8.64 | 192.5 | 8.76 | 166.9 | 15.07 | 969.95 | 45.2558 | 37.6209
2020-04-14 01:30:00 | 8.04 | 162.3 | 8.56 | 174.9 | 9.83 | 192.1 | 9.91 | 172.4 | 14.95 | 969.801 | 46.4846 | 36.2206
2020-04-14 01:45:00 | 8.2 | 165.7 | 9.01 | 175.9 | 10.27 | 192.1 | 10.43 | 173.3 | 14.89 | 969.801 | 47.6442 | 42.439
2020-04-14 02:00:00 | 7.356 | 156.6 | 8.11 | 170.4 | 8.76 | 191.5 | 8.75 | 164.9 | 14.34 | 969.356 | 50.5797 | 43.5031
2020-04-14 02:15:00 | 9.05 | 163.1 | 9.45 | 174.7 | 9.84 | 190.7 | 9.92 | 171.5 | 14.91 | 969.356 | 47.2342 | 46.9837
2020-04-14 02:30:00 | 8.21 | 165.1 | 8.31 | 174 | 8.61 | 190.1 | 8.74 | 173.6 | 14.66 | 968.91 | 45.3575 | 55.4485
2020-04-14 02:45:00 | 8.57 | 166.2 | 8.87 | 177.3 | 9.3 | 189.2 | 9.53 | 174.4 | 14.78 | 968.91 | 44.4357 | 54.4362
2020-04-14 03:00:00 | 9.24 | 167.3 | 10.31 | 178.5 | 10.92 | 185.2 | 10.96 | 175.3 | 14.59 | 969.059 | 44.6745 | 57.1556
2020-04-14 03:15:00 | 9.01 | 160.8 | 9.94 | 172.1 | 10.78 | 172.7 | 10.82 | 171.5 | 14.49 | 968.91 | 43.3439 | 55.6924
2020-04-14 03:30:00 | 9.33 | 161.9 | 9.86 | 174.5 | 9.76 | 151 | 9.89 | 171.6 | 14.19 | 969.059 | 42.3874 | 54.8594
2020-04-14 03:45:00 | 9.6 | 160.3 | 10.15 | 172.8 | 10.78 | 156.2 | 10.83 | 169.9 | 14.51 | 968.762 | 42.7983 | 55.9695
2020-04-14 04:00:00 | 9.3 | 160.5 | 9.15 | 172.7 | 8.87 | 155.9 | 9.01 | 169.8 | 14.93 | 968.613 | 40.6139 | 54.7946
2020-04-14 04:15:00 | 8.85 | 163 | 8.82 | 174.5 | 8.95 | 147.5 | 8.98 | 172.4 | 15.06 | 968.465 | 39.1796 | 55.4116
2020-04-14 04:30:00 | 9.55 | 161.2 | 9.35 | 174 | 9.93 | 150.8 | 10.05 | 169.5 | 14.89 | 968.613 | 39.044 | 59.5572
2020-04-14 04:45:00 | 9.19 | 159.6 | 9.56 | 172.5 | 10.4 | 155.4 | 10.46 | 168.4 | 14.31 | 968.613 | 40.0675 | 63.9652
2020-04-14 05:00:00 | 10.02 | 160.2 | 10.46 | 175.3 | 10.87 | 161.5 | 10.9 | 168.1 | 14.48 | 968.465 | 39.59 | 63.9615
2020-04-14 05:15:00 | 11.05 | 167.1 | 11.49 | 178.6 | 11.68 | 164.8 | 11.91 | 174.3 | 14.56 | 968.316 | 40.8188 | 61.9404
2020-04-14 05:30:00 | 9.39 | 165 | 9.55 | 177.9 | 9.82 | 159.6 | 9.87 | 170.4 | 14.29 | 968.613 | 39.7945 | 61.8435
2020-04-14 05:45:00 | 9.16 | 162 | 9.39 | 171.8 | 9.67 | 156.7 | 9.78 | 171 | 14.17 | 968.613 | 40.5454 | 59.9895
2020-04-14 06:00:00 | 10.86 | 163.7 | 11.27 | 175.4 | 11.61 | 160 | 11.78 | 172.9 | 14.54 | 968.762 | 39.7267 | 61.7704
2020-04-14 06:15:00 | 9.86 | 165.9 | 9.87 | 181.5 | 10.51 | 166 | 10.66 | 168.6 | 14.18 | 968.91 | 40.6814 | 63.2114
2020-04-14 06:30:00 | 9.85 | 160.1 | 10.06 | 169.9 | 9.89 | 151.9 | 9.94 | 165.7 | 13.71 | 968.91 | 38.8048 | 61.2146
2020-04-14 06:45:00 | 8.97 | 154.7 | 9.75 | 169.5 | 10.67 | 157.2 | 10.63 | 161.1 | 13.94 | 968.91 | 39.9312 | 66.9543
2020-04-14 07:00:00 | 8.94 | 153.1 | 9.35 | 171.3 | 10.15 | 155.6 | 10.11 | 160.5 | 13.97 | 968.91 | 40.3413 | 67.261
2020-04-14 07:15:00 | 9.17 | 155.1 | 9.87 | 170.6 | 10.45 | 156.2 | 10.52 | 160.8 | 13.89 | 969.059 | 37.167 | 68.3029
2020-04-14 07:30:00 | 9.68 | 155.3 | 9.5 | 171.7 | 9.47 | 153.7 | 9.52 | 160.5 | 14.06 | 969.356 | 38.6347 | 71.9423
2020-04-14 07:45:00 | 9.93 | 151 | 9.77 | 165.4 | 9.91 | 150.3 | 9.94 | 157.7 | 14.28 | 969.446 | 36.5817 | 72.0515
2020-04-14 08:00:00 | 8.69 | 149.2 | 8.69 | 165.6 | 9.44 | 152.3 | 9.51 | 154.8 | 14.35 | 969.524 | 34.0556 | 68.3399
2020-04-14 08:15:00 | 8.95 | 150.8 | 8.91 | 168.3 | 9.26 | 153 | 9.23 | 153.5 | 14.82 | 969.654 | 35.6253 | 68.8387
2020-04-14 08:30:00 | 9.49 | 146.8 | 9.51 | 160.8 | 9.72 | 146.5 | 9.65 | 154.3 | 14.51 | 969.802 | 34.3265 | 69.0506
2020-04-14 08:45:00 | 9.95 | 147.6 | 9.85 | 165.1 | 9.63 | 152 | 9.47 | 152.4 | 14.87 | 969.802 | 36.7764 | 68.3694
2020-04-14 09:00:00 | 9.55 | 148.2 | 10.46 | 164.5 | 10.79 | 153.9 | 10.64 | 154.4 | 15.16 | 970.247 | 38.6169 | 66.3114
2020-04-14 09:15:00 | 10.07 | 146.9 | 10.14 | 161.3 | 9.73 | 147.4 | 9.62 | 153.8 | 15.49 | 969.802 | 36.4319 | 64.5933
2020-04-14 09:30:00 | 10.61 | 143.9 | 10.44 | 158.9 | 10.35 | 146.6 | 10.17 | 149.9 | 15.82 | 970.396 | 34.3851 | 62.151
2020-04-14 09:45:00 | 9.53 | 144.1 | 9.52 | 161.9 | 9.36 | 148.8 | 9.23 | 150.2 | 16.25 | 970.426 | 32.6795 | 58.7074
2020-04-14 10:00:00 | 9.95 | 142.7 | 10.06 | 157.7 | 9.82 | 143.4 | 9.54 | 150.4 | 16.57 | 970.102 | 30.4281 | 55.0236
2020-04-14 10:15:00 | 9.28 | 144.8 | 9.86 | 160.3 | 9.67 | 141.4 | 9.48 | 152.5 | 16.64 | 970.1 | 30.8716 | 50.1559
2020-04-14 10:30:00 | 10.89 | 148.4 | 10.97 | 163.2 | 10.57 | 143.9 | 10.33 | 154.6 | 16.63 | 970.248 | 31.0384 | 47.767
2020-04-14 10:45:00 | 10.4 | 140.9 | 10.72 | 155.8 | 10.11 | 141.7 | 9.77 | 147.2 | 17.11 | 970.1 | 31.8556 | 46.773
2020-04-14 11:00:00 | 9.65 | 139.9 | 9.65 | 155.8 | 9.05 | 140.3 | 8.83 | 147.1 | 17.57 | 970.1 | 31.4802 | 45.1954
2020-04-14 11:15:00 | 9.6 | 141.6 | 9.92 | 157.2 | 9.06 | 138.8 | 8.83 | 147.7 | 17.83 | 969.951 | 32.8104 | 44.5524
2020-04-14 11:30:00 | 9.47 | 150.1 | 9.58 | 165.7 | 9.33 | 145.1 | 9.27 | 157.5 | 18.22 | 970.1 | 32.7399 | 50.66
2020-04-14 11:45:00 | 9.96 | 143.2 | 9.96 | 156.3 | 9 | 137 | 8.79 | 151.6 | 18.3 | 969.547 | 32.0547 | 43.4809
2020-04-14 12:00:00 | 8.86 | 150.2 | 8.55 | 163.7 | 8.09 | 141.1 | 8 | 155.7 | 18.29 | 969.472 | 32.3274 | 44.4118
2020-04-14 12:15:00 | 8.88 | 156.5 | 8.62 | 172.3 | 7.452 | 146.6 | 7.423 | 166.8 | 18.8 | 969.285 | 31.7477 | 38.0828
2020-04-14 12:30:00 | 8.83 | 180.3 | 8.25 | 194.5 | 7.909 | 123.9 | 7.825 | 179.4 | 18.98 | 969.032 | 28.6786 | 41.4673
2020-04-14 12:45:00 | 8.71 | 163.8 | 8.41 | 181.2 | 7.464 | 125.9 | 7.405 | 167.2 | 18.93 | 969.168 | 29.0543 | 41.6298
2020-04-14 13:00:00 | 7.91 | 157.6 | 7.943 | 171.4 | 7.609 | 125.6 | 7.52 | 164.5 | 19.55 | 969.192 | 28.6118 | 42.8454
2020-04-14 13:15:00 | 9.23 | 154.3 | 9.34 | 170 | 9.16 | 127.4 | 9.01 | 160 | 19.25 | 969.128 | 27.5541 | 46.3814
2020-04-14 13:30:00 | 8.44 | 145.5 | 8.32 | 164.8 | 8.19 | 126.9 | 8.08 | 150.8 | 19.22 | 968.878 | 27.4174 | 47.4013
2020-04-14 13:45:00 | 7.949 | 151.6 | 8.02 | 167.6 | 7.373 | 127.6 | 7.24 | 159.4 | 19.76 | 969.007 | 28.1678 | 53.4755
2020-04-14 14:00:00 | 7.167 | 165.2 | 7.005 | 183.7 | 7.05 | 129.6 | 7.143 | 163.6 | 19.45 | 969.145 | 28.1672 | 47.7881
2020-04-14 14:15:00 | 7.913 | 167.7 | 7.365 | 186.3 | 6.788 | 130.9 | 6.835 | 171.9 | 19.61 | 969.136 | 27.6556 | 45.6166
2020-04-14 14:30:00 | 7.576 | 148 | 7.516 | 164.7 | 7.093 | 130 | 6.914 | 154.5 | 19.65 | 968.914 | 28.3717 | 46.8322
2020-04-14 14:45:00 | 7.658 | 166.8 | 7.37 | 183.5 | 7.047 | 131.7 | 7.143 | 170.9 | 20.18 | 968.913 | 25.1662 | 48.641
2020-04-14 15:00:00 | 7.19 | 165.6 | 7.138 | 179.6 | 6.986 | 131.4 | 6.835 | 171.2 | 20.61 | 968.617 | 26.3899 | 44.6707
2020-04-14 15:15:00 | 8 | 142.2 | 8.4 | 162.5 | 7.948 | 133.1 | 7.851 | 148.4 | 20.36 | 968.765 | 24.821 | 46.9319
2020-04-14 15:30:00 | 9.1 | 143.6 | 8.81 | 157.7 | 8.13 | 132 | 7.976 | 151.5 | 19.78 | 968.913 | 25.6047 | 45.9269
2020-04-14 15:45:00 | 9 | 143.6 | 9.15 | 159.8 | 8.78 | 133.1 | 8.67 | 150.6 | 20.01 | 968.468 | 25.0256 | 41.7037
2020-04-14 16:00:00 | 6.692 | 157.5 | 6.826 | 174.4 | 6.681 | 133.3 | 6.601 | 161.4 | 20.15 | 968.468 | 24.48 | 40.2443
2020-04-14 16:15:00 | 6.981 | 154.8 | 6.895 | 171.4 | 6.544 | 133.2 | 6.463 | 158.9 | 20.02 | 968.468 | 24.7544 | 42.3052
2020-04-14 16:30:00 | 7.647 | 164.1 | 7.749 | 180 | 7.36 | 134 | 7.326 | 169.1 | 19.96 | 968.32 | 25.7101 | 49.7919
2020-04-14 16:45:00 | 7.619 | 156.5 | 7.616 | 172.8 | 7.625 | 134.6 | 7.612 | 160.7 | 19.67 | 967.727 | 27.0077 | 37.5581
2020-04-14 17:00:00 | 7.517 | 148.4 | 7.491 | 167.8 | 7.474 | 133.8 | 7.469 | 153.1 | 19.42 | 967.209 | 29.2583 | 44.573
2020-04-14 17:15:00 | 8.91 | 146.5 | 9.3 | 162.3 | 8.76 | 134.5 | 8.52 | 154.5 | 19.25 | 967.573 | 29.1602 | 38.6481
2020-04-14 17:30:00 | 8.45 | 150.6 | 8.66 | 166.5 | 8.81 | 135.3 | 8.68 | 156.1 | 19.06 | 967.132 | 31.6507 | 38.6074
2020-04-14 17:45:00 | 8.21 | 149.7 | 8.59 | 167.2 | 8.86 | 135.7 | 8.88 | 154.3 | 18.83 | 967.28 | 32.3014 | 35.8917
2020-04-14 18:00:00 | 7.944 | 149.3 | 8.2 | 166.6 | 8.77 | 135.9 | 8.78 | 153.4 | 18.67 | 967.132 | 33.2253 | 34.7722
2020-04-14 18:15:00 | 7.698 | 147.1 | 8.07 | 162.2 | 8.84 | 135.2 | 8.76 | 151.7 | 18.37 | 967.178 | 35.1356 | 40.3071
2020-04-14 18:30:00 | 8.07 | 145.7 | 8.29 | 165.6 | 8.26 | 136.2 | 8.28 | 150.9 | 18.17 | 967.127 | 35.3403 | 41.7665
2020-04-14 18:45:00 | 7.77 | 141.4 | 8.04 | 157.3 | 8.31 | 134.1 | 8.27 | 147.4 | 17.81 | 967.13 | 36.3636 | 45.2842
2020-04-14 19:00:00 | 6.394 | 142.8 | 7.023 | 158.2 | 7.853 | 134.1 | 7.884 | 147.9 | 17.46 | 966.981 | 35.9546 | 52.1039
2020-04-14 19:15:00 | 7.492 | 141 | 7.59 | 157.3 | 8.19 | 135.5 | 8.23 | 148 | 17.37 | 966.981 | 37.1833 | 50.5492
2020-04-14 19:30:00 | 7.864 | 140.5 | 8.32 | 156.6 | 9.11 | 135 | 9.04 | 147 | 17.32 | 966.833 | 37.732 | 47.0871
2020-04-14 19:45:00 | 8.58 | 141.7 | 8.95 | 159.5 | 9.31 | 136.8 | 9.25 | 147.5 | 17.29 | 966.833 | 39.3705 | 50.8785
2020-04-14 20:00:00 | 8.64 | 144.1 | 8.95 | 159 | 9.61 | 136.9 | 9.44 | 149.5 | 17.07 | 966.833 | 39.5786 | 52.4779
2020-04-14 20:15:00 | 8.66 | 144 | 8.81 | 159.1 | 9.21 | 137.7 | 9.24 | 150.8 | 16.85 | 966.833 | 39.6495 | 54.9202
2020-04-14 20:30:00 | 8.3 | 146.3 | 8.65 | 162.8 | 9.49 | 139.3 | 9.62 | 152.5 | 16.65 | 967.13 | 37.8774 | 55.9605
2020-04-14 20:45:00 | 8.37 | 147.9 | 8.94 | 164.6 | 10.1 | 140.4 | 10.02 | 153.6 | 16.53 | 966.981 | 36.2737 | 56.7085
2020-04-14 21:00:00 | 8.12 | 148 | 8.5 | 165.4 | 10.27 | 141.9 | 10.4 | 155.1 | 16.61 | 967.13 | 34.1921 | 52.3338
2020-04-14 21:15:00 | 7.818 | 146.8 | 8.34 | 163.1 | 9.66 | 141.2 | 9.7 | 151.6 | 16.49 | 966.833 | 34.6698 | 53.1688
2020-04-14 21:30:00 | 8.29 | 149.9 | 8.72 | 165.4 | 9.18 | 141.3 | 9.18 | 156.5 | 16.4 | 967.13 | 34.0556 | 53.5124
2020-04-14 21:45:00 | 8.21 | 149.2 | 9.01 | 167.5 | 9.95 | 143 | 9.99 | 154.1 | 16.32 | 966.833 | 32.2129 | 62.0623
2020-04-14 22:00:00 | 8.04 | 147.7 | 8.6 | 164.9 | 9.86 | 145.1 | 10 | 153 | 16.19 | 966.833 | 31.6669 | 57.6396
2020-04-14 22:15:00 | 7.359 | 149 | 8.02 | 166.1 | 9.64 | 145.6 | 9.81 | 154.1 | 16.08 | 966.837 | 31.6669 | 60.1151
2020-04-14 22:30:00 | 8.59 | 147.8 | 8.83 | 165.7 | 10.36 | 147.9 | 10.47 | 153.1 | 16.11 | 966.721 | 31.5987 | 60.9132
2020-04-14 22:45:00 | 7.987 | 147.3 | 8.4 | 164.5 | 10.19 | 148 | 10.27 | 153.8 | 16.08 | 966.574 | 30.575 | 59.4648
2020-04-14 23:00:00 | 8.19 | 147.5 | 8.53 | 163.2 | 9.79 | 146.1 | 9.87 | 152.4 | 15.95 | 966.592 | 33.1684 | 54.6061
2020-04-14 23:15:00 | 7.913 | 147.3 | 8.46 | 163.1 | 9.69 | 147.5 | 9.63 | 153.3 | 15.74 | 966.649 | 35.2841 | 53.3129
2020-04-14 23:30:00 | 7.188 | 149.8 | 7.595 | 165.9 | 8.81 | 148.3 | 8.83 | 154.1 | 15.51 | 966.627 | 36.1713 | 54.7835
2020-04-14 23:45:00 | 7.504 | 152 | 7.894 | 169.8 | 8.84 | 152.4 | 8.91 | 156.5 | 15.55 | 966.659 | 36.7861 | 57.9537