## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-15 00:00:00 | 7.298 | 151.5 | 7.946 | 171.4 | 9.19 | 151.3 | 9.23 | 155.5 | 15.32 | 966.534 | 36.995 | 64.5896
2020-04-15 00:15:00 | 7.836 | 151.2 | 8.27 | 168.9 | 9.73 | 151.3 | 9.75 | 156 | 15.18 | 966.531 | 37.473 | 69.2664
2020-04-15 00:30:00 | 8.13 | 149.5 | 8.72 | 167.9 | 10.49 | 152 | 10.48 | 154.5 | 15.12 | 966.238 | 37.679 | 69.3596
2020-04-15 00:45:00 | 8.24 | 153.3 | 8.63 | 171.1 | 9.81 | 154.8 | 9.86 | 155.9 | 15.06 | 965.941 | 36.9966 | 70.2058
2020-04-15 01:00:00 | 8.43 | 149.7 | 8.78 | 165.3 | 10.22 | 150.2 | 10.29 | 154.6 | 15.03 | 965.941 | 38.2253 | 74.5029
2020-04-15 01:15:00 | 8.33 | 148.8 | 8.92 | 168.3 | 10.13 | 152.8 | 10.17 | 151.6 | 14.81 | 965.792 | 38.5666 | 69.7681
2020-04-15 01:30:00 | 8.48 | 148.4 | 8.84 | 166.5 | 9.91 | 147.8 | 10 | 152.7 | 14.67 | 965.347 | 38.7713 | 68.1884
2020-04-15 01:45:00 | 8.33 | 147.5 | 8.92 | 164.1 | 9.62 | 148.2 | 9.65 | 154 | 14.75 | 965.347 | 37.7471 | 68.3177
2020-04-15 02:00:00 | 8.1 | 148.8 | 8.36 | 167.1 | 9.05 | 146.3 | 9.3 | 155 | 14.74 | 965.05 | 36.041 | 70.4229
2020-04-15 02:15:00 | 8.13 | 147.6 | 8.43 | 163.6 | 9.37 | 147.4 | 9.62 | 153.3 | 14.77 | 965.05 | 36.2457 | 69.9139
2020-04-15 02:30:00 | 8.67 | 152.2 | 8.69 | 168.7 | 9.56 | 145.7 | 9.7 | 152.8 | 14.61 | 965.05 | 36.587 | 69.7845
2020-04-15 02:45:00 | 8.34 | 149 | 8.28 | 166.5 | 9.37 | 146.3 | 9.49 | 153.2 | 14.43 | 964.753 | 36.2449 | 65.7313
2020-04-15 03:00:00 | 9.9 | 148.4 | 10.35 | 161.6 | 10.91 | 145.7 | 10.83 | 154.8 | 14.7 | 964.307 | 35.4263 | 69.7459
2020-04-15 03:15:00 | 10.3 | 145.8 | 10.67 | 161.5 | 11.42 | 146.4 | 11.22 | 151.8 | 14.65 | 964.159 | 35.9722 | 69.7624
2020-04-15 03:30:00 | 9.21 | 143.9 | 9.81 | 159.9 | 10.6 | 145 | 10.56 | 150.7 | 14.67 | 964.307 | 36.1427 | 70.0025
2020-04-15 03:45:00 | 9.94 | 144.2 | 10.31 | 160.2 | 10.46 | 146.1 | 10.39 | 150.4 | 14.41 | 964.159 | 36.0406 | 69.5702
2020-04-15 04:00:00 | 8.88 | 140.2 | 9.56 | 157.2 | 10.34 | 146.6 | 10.36 | 147.3 | 14.31 | 964.159 | 35.0157 | 71.5655
2020-04-15 04:15:00 | 8.52 | 140 | 9.34 | 156.2 | 10.25 | 142.6 | 10.32 | 146.7 | 14.3 | 963.862 | 35.4258 | 74.876
2020-04-15 04:30:00 | 9.87 | 138.6 | 10.48 | 152.7 | 10.48 | 137.8 | 10.47 | 145.4 | 14.38 | 963.862 | 35.1535 | 71.4842
2020-04-15 04:45:00 | 9.33 | 138.3 | 9.94 | 153.8 | 10.4 | 137.1 | 10.47 | 145.4 | 14.38 | 964.159 | 35.0852 | 68.968
2020-04-15 05:00:00 | 8.05 | 138 | 8.47 | 155.5 | 9.04 | 141.8 | 8.99 | 142.2 | 14.26 | 964.01 | 35.2218 | 71.1923
2020-04-15 05:15:00 | 9.03 | 137.9 | 9.08 | 154.7 | 9.63 | 125.1 | 9.72 | 144.5 | 14.29 | 963.713 | 36.3822 | 74.346
2020-04-15 05:30:00 | 9.17 | 138.3 | 9.74 | 153.2 | 10.91 | 128.1 | 10.72 | 143.5 | 14.35 | 963.565 | 35.2901 | 71.946
2020-04-15 05:45:00 | 9.7 | 139.1 | 10.09 | 155.4 | 10.45 | 130.9 | 10.51 | 144.6 | 14.51 | 963.565 | 34.6748 | 66.3225
2020-04-15 06:00:00 | 10.15 | 138.3 | 10.75 | 154.4 | 10.78 | 135.8 | 10.57 | 144 | 14.59 | 964.01 | 34.4704 | 69.5185
2020-04-15 06:15:00 | 10.44 | 137.7 | 10.98 | 155.6 | 11.25 | 140.1 | 11.12 | 145.5 | 14.67 | 964.01 | 34.402 | 69.0012
2020-04-15 06:30:00 | 10.39 | 140.8 | 11.36 | 155.8 | 12.07 | 135.3 | 12.04 | 146.8 | 14.75 | 964.159 | 34.4024 | 71.4953
2020-04-15 06:45:00 | 10.74 | 141.1 | 11.43 | 157.3 | 12.48 | 142 | 12.5 | 146.7 | 14.88 | 964.103 | 34.125 | 67.9076
2020-04-15 07:00:00 | 10.55 | 141.4 | 10.93 | 159 | 12.48 | 147.6 | 12.61 | 147.8 | 14.93 | 964.469 | 34.3969 | 62.986
2020-04-15 07:15:00 | 10.28 | 142 | 10.75 | 159.2 | 11.68 | 143.1 | 11.57 | 148.2 | 14.95 | 964.755 | 34.6699 | 61.6005
2020-04-15 07:30:00 | 10.3 | 142.2 | 10.65 | 158.1 | 11.65 | 137.4 | 11.6 | 146.9 | 14.86 | 964.904 | 34.9749 | 57.9573
2020-04-15 07:45:00 | 10.23 | 143.8 | 10.08 | 161.3 | 11.14 | 142.5 | 11.14 | 149.2 | 14.91 | 965.052 | 35.0732 | 59.0658
2020-04-15 08:00:00 | 12.1 | 145.7 | 12.19 | 161.2 | 12.48 | 145.6 | 12.23 | 150.8 | 14.86 | 965.052 | 35.4778 | 57.9536
2020-04-15 08:15:00 | 13.19 | 143.9 | 13.32 | 158.9 | 13.5 | 144.5 | 13.32 | 149.4 | 15.05 | 964.755 | 34.7954 | 63.2964
2020-04-15 08:30:00 | 13.33 | 143.4 | 13.04 | 159.8 | 13.45 | 147.3 | 13.33 | 149.3 | 15.2 | 965.497 | 36.161 | 66.2412
2020-04-15 08:45:00 | 12.3 | 146.3 | 12.48 | 160.9 | 12.71 | 145.9 | 12.62 | 151.5 | 15.22 | 965.646 | 37.3188 | 70.4385
2020-04-15 09:00:00 | 12.57 | 144.7 | 12.99 | 163.4 | 12.61 | 149 | 12.27 | 149.2 | 15.63 | 965.943 | 37.2506 | 69.1178
2020-04-15 09:15:00 | 12.35 | 142.9 | 12.18 | 158.3 | 12.21 | 147.2 | 12.02 | 148.5 | 16.22 | 965.943 | 35.7496 | 73.5607
2020-04-15 09:30:00 | 12.16 | 144 | 12.96 | 161.4 | 12.92 | 145.4 | 12.68 | 148.4 | 16.3 | 966.124 | 36.0225 | 70.0173
2020-04-15 09:45:00 | 12.16 | 141 | 12.15 | 159 | 12.07 | 147 | 11.83 | 146 | 16.64 | 966.039 | 36.5342 | 73.8747
2020-04-15 10:00:00 | 12.62 | 142.1 | 12.39 | 159.7 | 11.88 | 147.3 | 11.62 | 146 | 16.86 | 965.946 | 36.67 | 66.3557
2020-04-15 10:15:00 | 11.38 | 143.6 | 11.59 | 161.3 | 11.18 | 147.2 | 11.01 | 148.1 | 17.17 | 965.945 | 36.9043 | 69.1084
2020-04-15 10:30:00 | 9.92 | 139.1 | 10.09 | 155.7 | 9.62 | 142 | 9.47 | 144.4 | 17.6 | 966.39 | 37.7217 | 70.4792
2020-04-15 10:45:00 | 12.05 | 149 | 11.9 | 165.6 | 11.55 | 149.7 | 11.34 | 153.9 | 17.88 | 966.538 | 38.5062 | 71.5913
2020-04-15 11:00:00 | 12.4 | 144.2 | 12.31 | 162.5 | 12.29 | 147.9 | 11.98 | 149 | 17.91 | 965.945 | 38.9489 | 70.8092
2020-04-15 11:15:00 | 11.97 | 140.5 | 12 | 158.9 | 11.95 | 144 | 11.72 | 145.8 | 18.22 | 965.945 | 38.1984 | 75.0702
2020-04-15 11:30:00 | 11.14 | 143.2 | 11.31 | 162.7 | 10.98 | 145.9 | 10.8 | 149.2 | 18.62 | 965.945 | 37.8895 | 68.6502
2020-04-15 11:45:00 | 11.88 | 147.1 | 11.76 | 163.2 | 11.4 | 143.9 | 11.14 | 151.5 | 19.05 | 966.007 | 38.6703 | 72.4374
2020-04-15 12:00:00 | 9.24 | 139.5 | 9.99 | 159.2 | 10.16 | 140.9 | 9.92 | 146.9 | 19.75 | 965.652 | 39.6931 | 71.7022
2020-04-15 12:15:00 | 9.85 | 143.4 | 9.77 | 162.4 | 9.79 | 139.3 | 9.69 | 148.7 | 19.53 | 965.65 | 41.4663 | 68.8387
2020-04-15 12:30:00 | 10.51 | 133.9 | 10.49 | 149.8 | 10.18 | 133.6 | 9.97 | 139.2 | 19.46 | 965.65 | 41.2276 | 66.7474
2020-04-15 12:45:00 | 9.13 | 141.2 | 9.67 | 158.9 | 9.47 | 134.9 | 9.34 | 145.4 | 19.69 | 965.655 | 40.682 | 64.2571
2020-04-15 13:00:00 | 10.58 | 144.8 | 10.94 | 160.8 | 10.64 | 140.6 | 10.38 | 149.5 | 19.82 | 965.724 | 40.1364 | 66.6993
2020-04-15 13:15:00 | 9.55 | 142.9 | 10.05 | 159.5 | 10.13 | 141.9 | 9.88 | 147.2 | 20.05 | 965.679 | 40.5115 | 63.7619
2020-04-15 13:30:00 | 10.97 | 139.2 | 11.26 | 155 | 10.78 | 133.6 | 10.55 | 145.2 | 20.37 | 965.388 | 40.7502 | 62.3302
2020-04-15 13:45:00 | 10.18 | 144 | 10.29 | 161.9 | 10.21 | 140.1 | 10.08 | 149.6 | 20.32 | 965.651 | 42.2847 | 61.1122
2020-04-15 14:00:00 | 8.69 | 138.8 | 8.92 | 154.6 | 8.6 | 135.2 | 8.43 | 144.9 | 20.37 | 965.65 | 42.6258 | 54.5333
2020-04-15 14:15:00 | 10.31 | 137.9 | 10.36 | 152.9 | 9.71 | 136.1 | 9.42 | 144.1 | 20.46 | 965.65 | 44.2626 | 51.0184
2020-04-15 14:30:00 | 9.57 | 150.1 | 9.32 | 165.1 | 8.53 | 143.7 | 8.43 | 158.1 | 20.95 | 965.798 | 43.1334 | 50.9656
2020-04-15 14:45:00 | 7.773 | 172.5 | 7.613 | 189.6 | 7.182 | 151.6 | 7.128 | 178 | 20.81 | 965.353 | 43.5053 | 49.873
2020-04-15 15:00:00 | 9.13 | 153.7 | 9.24 | 169 | 9.01 | 149 | 8.94 | 159.4 | 20.52 | 965.502 | 45.9257 | 43.7979
2020-04-15 15:15:00 | 8.86 | 147.4 | 8.9 | 163.3 | 8.8 | 144 | 8.61 | 152.1 | 20.33 | 965.502 | 46.0621 | 40.9337
2020-04-15 15:30:00 | 7.195 | 169.9 | 7.156 | 185.4 | 6.236 | 151.9 | 6.127 | 174 | 20.85 | 965.65 | 43.5731 | 45.6794
2020-04-15 15:45:00 | 7.333 | 156.3 | 7.427 | 175.3 | 7.182 | 150.4 | 6.998 | 161 | 20.85 | 965.353 | 44.1869 | 44.194
2020-04-15 16:00:00 | 9.8 | 148.3 | 9.35 | 161.5 | 8.52 | 141.8 | 8.28 | 155.1 | 20.69 | 965.502 | 45.5838 | 42.8159
2020-04-15 16:15:00 | 9.15 | 147 | 8.91 | 165.6 | 8.97 | 147.3 | 8.93 | 153.3 | 20.5 | 965.057 | 46.0275 | 44.2606
2020-04-15 16:30:00 | 8.75 | 147.6 | 8.94 | 165.9 | 8.93 | 146.8 | 8.89 | 154.8 | 20.67 | 965.057 | 46.3688 | 47.7005
2020-04-15 16:45:00 | 8.67 | 148.7 | 8.86 | 165.1 | 8.72 | 146 | 8.57 | 153.9 | 20.45 | 964.464 | 47.6645 | 53.6935
2020-04-15 17:00:00 | 10.13 | 141.4 | 10.3 | 157.4 | 10.15 | 139.8 | 9.99 | 147.8 | 20.34 | 964.612 | 48.6199 | 55.6111
2020-04-15 17:15:00 | 9.31 | 147.7 | 9.63 | 165 | 9.5 | 147.9 | 9.35 | 152.9 | 20.29 | 963.87 | 49.3773 | 61.2893
2020-04-15 17:30:00 | 10.42 | 140.5 | 10.31 | 157.3 | 10.55 | 139.5 | 10.57 | 145.2 | 20.07 | 963.573 | 50.0597 | 66.6727
2020-04-15 17:45:00 | 10.22 | 143.8 | 10.31 | 161.2 | 10.02 | 142.3 | 9.76 | 147.4 | 19.94 | 963.62 | 50.6053 | 71.3216
2020-04-15 18:00:00 | 10.37 | 137.9 | 10.69 | 154.9 | 10.36 | 137.3 | 10.21 | 144 | 19.81 | 963.718 | 50.6806 | 70.6417
2020-04-15 18:15:00 | 11.69 | 144.3 | 11.46 | 162.5 | 10.83 | 145 | 10.58 | 149.5 | 19.73 | 963.274 | 50.5457 | 74.5472
2020-04-15 18:30:00 | 9.3 | 134.9 | 9.78 | 149.8 | 9.44 | 134.1 | 9.32 | 142 | 19.56 | 962.977 | 50.3419 | 77.9945
2020-04-15 18:45:00 | 9.99 | 134.3 | 10.34 | 152.6 | 10.39 | 127.4 | 10.25 | 139.8 | 19.59 | 963.125 | 51.1677 | 77.0893
2020-04-15 19:00:00 | 11.07 | 134.3 | 10.95 | 149.4 | 11.09 | 130.3 | 11.04 | 139.9 | 19.53 | 962.98 | 50.9296 | 71.8204
2020-04-15 19:15:00 | 10.87 | 134.5 | 11.42 | 150.3 | 11.83 | 128.6 | 11.74 | 138.7 | 19.55 | 963.319 | 52.1917 | 75.2271
2020-04-15 19:30:00 | 9.27 | 136.1 | 9.44 | 154.3 | 9.67 | 128.2 | 9.64 | 142.3 | 19.27 | 963.68 | 52.5328 | 78.8332
2020-04-15 19:45:00 | 11.1 | 140.7 | 10.99 | 160.4 | 10.27 | 132.8 | 10.15 | 145.4 | 19.22 | 963.779 | 52.5328 | 78.7335
2020-04-15 20:00:00 | 11.05 | 142.7 | 11.55 | 160.6 | 11.95 | 134.7 | 11.92 | 145.2 | 19.14 | 963.817 | 53.2151 | 80.5735
2020-04-15 20:15:00 | 9.52 | 137.5 | 10.06 | 153.8 | 10.53 | 134.1 | 10.49 | 144 | 18.96 | 964.453 | 53.6926 | 75.6741
2020-04-15 20:30:00 | 10.28 | 136.7 | 10.56 | 152.8 | 11.2 | 129.4 | 11.13 | 142.1 | 19.13 | 964.254 | 52.0211 | 80.0673
2020-04-15 20:45:00 | 10.66 | 133.6 | 10.88 | 150.1 | 11.24 | 130.2 | 11.15 | 139.3 | 19.25 | 964.011 | 50.145 | 79.1715
2020-04-15 21:00:00 | 9.13 | 136.4 | 9.32 | 152.9 | 9.95 | 138.9 | 9.9 | 142.4 | 19.32 | 964.457 | 50.145 | 70.3055
2020-04-15 21:15:00 | 8.4 | 138 | 8.88 | 156 | 9.2 | 144.8 | 9.04 | 142.5 | 19.31 | 964.753 | 48.5758 | 57.3255
2020-04-15 21:30:00 | 9.91 | 140.5 | 9.9 | 157.9 | 10.35 | 143.5 | 10.3 | 144.5 | 19.4 | 964.895 | 48.7123 | 55.6481
2020-04-15 21:45:00 | 10.17 | 140.4 | 10.15 | 157.3 | 11 | 141.6 | 11.02 | 145.9 | 19.39 | 964.443 | 48.644 | 57.5254
2020-04-15 22:00:00 | 9.94 | 137.3 | 10.64 | 154.8 | 11.03 | 137.2 | 11.02 | 143.7 | 19.28 | 964.583 | 48.5417 | 59.6553
2020-04-15 22:15:00 | 8.74 | 135.8 | 9.07 | 153.6 | 9.56 | 135.8 | 9.55 | 139.8 | 19.17 | 964.158 | 49.2581 | 66.9358
2020-04-15 22:30:00 | 9.52 | 132.9 | 9.79 | 148.4 | 10.27 | 130.6 | 10.22 | 137.6 | 19.08 | 963.978 | 49.4968 | 75.6852
2020-04-15 22:45:00 | 11.11 | 128.4 | 11.23 | 146.4 | 11.41 | 131.8 | 11.34 | 131.7 | 19.14 | 963.849 | 50.3496 | 82.517
2020-04-15 23:00:00 | 11.9 | 129.1 | 11.83 | 147.6 | 12.34 | 134.1 | 12.4 | 133 | 18.95 | 963.404 | 51.2366 | 79.4724
2020-04-15 23:15:00 | 12.78 | 134.3 | 13.12 | 150.6 | 12.93 | 134.1 | 12.74 | 139 | 18.81 | 963.25 | 51.5095 | 77.0006
2020-04-15 23:30:00 | 11.16 | 131.7 | 11.84 | 147.3 | 12.53 | 133.9 | 12.51 | 138.4 | 18.67 | 963.27 | 52.1917 | 77.928
2020-04-15 23:45:00 | 12.59 | 131 | 13.03 | 148.1 | 13.04 | 132.4 | 12.97 | 136.9 | 18.48 | 962.677 | 52.8057 | 76.886