## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-16 00:00:00 | 11.67 | 130.2 | 12.13 | 147.4 | 12.71 | 130.6 | 12.67 | 135.5 | 18.28 | 962.677 | 53.0104 | 72.637
2020-04-16 00:15:00 | 11.67 | 134.6 | 12.08 | 148.6 | 12.48 | 133.2 | 12.44 | 140 | 18.17 | 962.974 | 53.9655 | 72.7816
2020-04-16 00:30:00 | 12.19 | 136.3 | 12.18 | 151.5 | 12.23 | 134 | 12.29 | 140 | 18.06 | 962.38 | 53.9655 | 79.8624
2020-04-16 00:45:00 | 11.51 | 137.5 | 11.6 | 153.5 | 12.02 | 135.8 | 11.95 | 141.7 | 18.11 | 962.083 | 53.6926 | 86.3485
2020-04-16 01:00:00 | 12.96 | 131.7 | 13.37 | 146.8 | 13.71 | 131.5 | 13.55 | 138 | 18.15 | 961.786 | 53.2837 | 80.4774
2020-04-16 01:15:00 | 10.93 | 135.2 | 11.03 | 152.7 | 10.67 | 139.4 | 10.49 | 140.6 | 17.85 | 962.083 | 53.4887 | 83.5331
2020-04-16 01:30:00 | 9.8 | 138.5 | 10.23 | 156.9 | 10.81 | 138 | 10.73 | 140.8 | 17.6 | 961.786 | 53.147 | 81.6856
2020-04-16 01:45:00 | 10.7 | 132.8 | 10.9 | 149.1 | 11.45 | 133.6 | 11.43 | 137.6 | 17.3 | 961.49 | 52.8072 | 79.4022
2020-04-16 02:00:00 | 11.29 | 132 | 11.82 | 146.5 | 12.27 | 131.4 | 12.13 | 137.9 | 17.13 | 961.638 | 53.4203 | 84.6489
2020-04-16 02:15:00 | 11.98 | 130.6 | 12.74 | 148.1 | 13.54 | 134 | 13.55 | 135.9 | 16.99 | 960.747 | 53.2206 | 90.084
2020-04-16 02:30:00 | 13.88 | 131.3 | 14.09 | 147.1 | 14.4 | 135.4 | 14.3 | 136 | 17 | 960.896 | 53.224 | 76.9304
2020-04-16 02:45:00 | 13.52 | 132.7 | 13.86 | 147.4 | 13.98 | 133.6 | 13.78 | 139.1 | 16.62 | 960.896 | 54.9009 | 86.2994
2020-04-16 03:00:00 | 12.91 | 129.9 | 13.14 | 144.4 | 13.14 | 129.2 | 13.04 | 137 | 16.95 | 960.45 | 53.8474 | 88.1886
2020-04-16 03:15:00 | 12.94 | 128.3 | 13.22 | 144.8 | 13.52 | 128.7 | 13.52 | 132.8 | 16.82 | 960.302 | 53.711 | 87.6196
2020-04-16 03:30:00 | 12.3 | 128.2 | 12.59 | 142.8 | 12.86 | 117 | 12.82 | 134.5 | 16.76 | 959.708 | 56.2361 | 91.7024
2020-04-16 03:45:00 | 12.68 | 128.8 | 13.42 | 142.6 | 13.7 | 125.1 | 13.64 | 132.3 | 16.54 | 959.869 | 54.9078 | 91.9647
2020-04-16 04:00:00 | 12.79 | 128.8 | 12.61 | 144.1 | 13.67 | 126.4 | 13.61 | 135.2 | 16.55 | 959.117 | 53.1645 | 88.5839
2020-04-16 04:15:00 | 15.07 | 130.5 | 15.05 | 146.7 | 15.83 | 132.5 | 15.77 | 136 | 16.58 | 957.66 | 52.9944 | 93.1618
2020-04-16 04:30:00 | 15.76 | 132.7 | 16.04 | 147.6 | 16.14 | 133 | 15.92 | 138.9 | 16.51 | 958.076 | 53.9157 | 91.1112
2020-04-16 04:45:00 | 15.3 | 132.7 | 15.51 | 149.4 | 16.25 | 133.1 | 16.06 | 137.3 | 16.37 | 957.927 | 54.9394 | 93.1755
2020-04-16 05:00:00 | 15 | 141.6 | 15.08 | 159.8 | 14.81 | 147.9 | 14.55 | 146.9 | 16.07 | 957.927 | 55.9631 | 92.0423
2020-04-16 05:15:00 | 12.59 | 143.3 | 13.23 | 160.4 | 14 | 146.7 | 13.86 | 149.3 | 15.41 | 959.708 | 59.1025 | 51.0258
2020-04-16 05:30:00 | 3.008 | 43.09 | 3.732 | 45.77 | 3.748 | 104.4 | 3.377 | 57.48 | 15.18 | 960.92 | 60.5357 | 11.1181
2020-04-16 05:45:00 | 4.91 | 27.43 | 4.688 | 54.01 | 4.377 | 85.3 | 4.591 | 20.25 | 15.37 | 960.341 | 60.2627 | 19.0719
2020-04-16 06:00:00 | 8.71 | 173.7 | 8.33 | 190.1 | 8.48 | 170.2 | 8.56 | 180.4 | 16.09 | 959.886 | 59.9215 | 55.2684
2020-04-16 06:15:00 | 8.92 | 165.1 | 8.54 | 182.6 | 8.43 | 164.6 | 8.37 | 168.4 | 16.17 | 960.896 | 60.331 | 47.017
2020-04-16 06:30:00 | 8.07 | 165.7 | 7.948 | 182.2 | 7.243 | 169.3 | 7.255 | 167.7 | 15.68 | 961.193 | 61.5595 | 32.7881
2020-04-16 06:45:00 | 7.474 | 171 | 7.278 | 185.2 | 6.719 | 168.4 | 6.774 | 171.6 | 15.68 | 961.49 | 62.6514 | 28.0032
2020-04-16 07:00:00 | 7.893 | 166.6 | 7.588 | 184.4 | 7.431 | 175.4 | 7.398 | 168 | 15.43 | 961.787 | 64.0164 | 20.3586
2020-04-16 07:15:00 | 6.978 | 167.9 | 6.895 | 183.8 | 6.6 | 173 | 6.629 | 172.7 | 15.37 | 961.787 | 66.2003 | 15.9248
2020-04-16 07:30:00 | 6.021 | 170.4 | 5.696 | 188.4 | 5.923 | 176 | 6.01 | 173 | 15.21 | 962.083 | 66.5415 | 11.3949
2020-04-16 07:45:00 | 5.694 | 173.4 | 5.752 | 183 | 5.475 | 165.7 | 5.612 | 183.2 | 15.17 | 962.263 | 67.1216 | 9.3886
2020-04-16 08:00:00 | 5.712 | 170.2 | 6.005 | 181.2 | 5.839 | 164.9 | 5.931 | 181.6 | 15.33 | 962.691 | 66.6098 | 10.401
2020-04-16 08:15:00 | 6.509 | 179.7 | 6.294 | 190.2 | 6.121 | 170.6 | 6.183 | 186.4 | 15.69 | 962.677 | 65.4496 | 5.897
2020-04-16 08:30:00 | 6.516 | 186 | 6.463 | 197 | 5.992 | 179.9 | 6.022 | 191.9 | 16.18 | 963.271 | 65.0715 | 3.4362
2020-04-16 08:45:00 | 5.229 | 191.1 | 5.08 | 203.1 | 4.595 | 182.9 | 4.647 | 196.7 | 15.96 | 963.568 | 66.5893 | 1.9657
2020-04-16 09:00:00 | 3.879 | 206.1 | 3.988 | 222.7 | 4.211 | 181.7 | 4.156 | 211.4 | 15.84 | 964.013 | 67.9557 | 0.94219
2020-04-16 09:15:00 | 3.534 | 220 | 3.385 | 221.8 | 3.822 | 182.4 | 3.697 | 227.5 | 16.14 | 964.458 | 64.2035 | 2.3462
2020-04-16 09:30:00 | 5.436 | 252.5 | 5.634 | 261.8 | 5.793 | 244.9 | 5.714 | 254.2 | 16.37 | 964.755 | 65.9731 | 19.4317
2020-04-16 09:45:00 | 5.881 | 282 | 6.092 | 293.9 | 6.424 | 277.3 | 6.384 | 285.8 | 16.12 | 965.177 | 69.7936 | 17.8757
2020-04-16 10:00:00 | 6.026 | 303.1 | 6.399 | 315.4 | 6.099 | 295.7 | 6.068 | 303.6 | 16.4 | 965.077 | 80.5731 | 25.5462
2020-04-16 10:15:00 | 4.471 | 333.5 | 4.873 | 339.9 | 4.745 | 309.9 | 4.831 | 334 | 17.01 | 965.055 | 76.6116 | 22.8748
2020-04-16 10:30:00 | 4.818 | 359.7 | 5.174 | 5.181 | 4.219 | 321.1 | 4.288 | 351.8 | 16.98 | 965.055 | 79.468 | 38.3465
2020-04-16 10:45:00 | 5.684 | 333.3 | 5.624 | 353.4 | 5.834 | 327 | 5.908 | 330.9 | 15.7 | 964.906 | 88.5403 | 41.8515
2020-04-16 11:00:00 | 3.358 | 5.146 | 5.192 | 24.6 | 5.147 | 324.9 | 5.055 | 352.1 | 16.15 | 964.758 | 83.4701 | 20.2995
2020-04-16 11:15:00 | 3.316 | 18 | 6.47 | 38.71 | 5.727 | 339.7 | 5.567 | 10.41 | 16.04 | 964.758 | 71.2835 | 26.7655
2020-04-16 11:30:00 | 4.169 | 15.54 | 5.54 | 32.72 | 5.661 | 338 | 5.238 | 6.427 | 16.87 | 964.758 | 63.7108 | 44.4105
2020-04-16 11:45:00 | 4.376 | 14.44 | 7.544 | 31.63 | 7.022 | 338.9 | 6.547 | 10.3 | 16.9 | 964.906 | 62.409 | 34.8867
2020-04-16 12:00:00 | 3.377 | 16.88 | 5.803 | 32.17 | 5.712 | 24.61 | 5.22 | 11.98 | 16.39 | 965.196 | 59.7489 | 36.6838
2020-04-16 12:15:00 | 4.591 | 351.2 | 5.803 | 9.95 | 6.808 | 359.3 | 6.83 | 348.7 | 17.18 | 965.028 | 52.8949 | 35.6853
2020-04-16 12:30:00 | 4.292 | 346.7 | 4.936 | 9.39 | 5.651 | 13.05 | 5.702 | 340.8 | 17.46 | 965.048 | 47.8818 | 32.5996
2020-04-16 12:45:00 | 3.519 | 16.13 | 6.588 | 30.55 | 6.284 | 16.62 | 5.994 | 9.93 | 18.1 | 965.203 | 46.4526 | 37.3704
2020-04-16 13:00:00 | 3.525 | 17.05 | 5.818 | 28.96 | 5.506 | 33.27 | 5.2 | 3.696 | 18.11 | 965.203 | 48.2947 | 28.4614
2020-04-16 13:15:00 | 3.285 | 8.59 | 5.164 | 2.163 | 5.772 | 9.45 | 5.813 | 17.11 | 18.03 | 965.054 | 45.3615 | 28.6092
2020-04-16 13:30:00 | 5.906 | 360 | 5.767 | 3.976 | 6.177 | 343.4 | 5.882 | 6.776 | 18.22 | 965.054 | 46.8281 | 30.9781
2020-04-16 13:45:00 | 2.84 | 16.42 | 3.645 | 2.35 | 5.892 | 345.4 | 5.85 | 21.5 | 18.3 | 965.054 | 39.5975 | 30.6139
2020-04-16 14:00:00 | 5.115 | 353.5 | 4.959 | 3.568 | 5.134 | 333.7 | 5.007 | 344.4 | 18.59 | 965.351 | 37.1069 | 28.3823
2020-04-16 14:15:00 | 3.166 | 10.8 | 3.804 | 5.19 | 5.463 | 321.2 | 5.251 | 9.1 | 18.49 | 965.648 | 35.2616 | 26.8298
2020-04-16 14:30:00 | 3.294 | 354.9 | 4.611 | 19.52 | 5.48 | 311.7 | 5.503 | 346.4 | 18.63 | 965.666 | 30.4177 | 24.2456
2020-04-16 14:45:00 | 4.686 | 339.3 | 5.031 | 347.7 | 5.071 | 304.2 | 5.055 | 344.1 | 18.77 | 965.353 | 30.8951 | 25.0323
2020-04-16 15:00:00 | 4.512 | 14.45 | 6.299 | 32.24 | 4.763 | 306.1 | 4.461 | 4.38 | 18.34 | 965.057 | 29.6631 | 24.0202
2020-04-16 15:15:00 | 3.793 | 0.341 | 4.236 | 357.3 | 4.756 | 307 | 4.708 | 359.4 | 18.16 | 965.057 | 33.0039 | 17.9717
2020-04-16 15:30:00 | 4.719 | 13.81 | 7.506 | 30.32 | 6.62 | 307.6 | 6.384 | 14.6 | 18.02 | 965.353 | 33.8902 | 12.2521
2020-04-16 15:45:00 | 2.861 | 8.96 | 4.172 | 29.77 | 5.096 | 307.3 | 4.994 | 8.44 | 18.25 | 965.65 | 31.2308 | 4.0015
2020-04-16 16:00:00 | 2.013 | 20.4 | 3.633 | 37.95 | 3.143 | 306.8 | 2.964 | 18.24 | 18.21 | 965.65 | 30.924 | 3.5803
2020-04-16 16:15:00 | 3.871 | 10.09 | 4.215 | 20.81 | 4.199 | 307.1 | 4.217 | 359.8 | 18.14 | 965.502 | 30.5484 | 3.2626
2020-04-16 16:30:00 | 2.039 | 12.83 | 3.195 | 27.92 | 3.082 | 307 | 2.915 | 6.856 | 17.87 | 965.65 | 30.5827 | 1.5814
2020-04-16 16:45:00 | 2.658 | 352.4 | 3.387 | 6.572 | 3.586 | 306.9 | 3.445 | 351.1 | 18.18 | 965.65 | 33.1401 | 3.1369
2020-04-16 17:00:00 | 2.156 | 16.62 | 4.144 | 31.61 | 4.15 | 306.6 | 3.608 | 16.7 | 18.29 | 965.798 | 32.6628 | 3.7909
2020-04-16 17:15:00 | 3.968 | 8.38 | 4.499 | 26.3 | 4.199 | 307.3 | 4.311 | 4.387 | 17.57 | 965.057 | 26.8692 | 3.7392
2020-04-16 17:30:00 | 3.151 | 10.05 | 3.666 | 24.42 | 3.906 | 307.2 | 3.983 | 0.975 | 17.53 | 965.057 | 31.3043 | 6.2997
2020-04-16 17:45:00 | 3.276 | 356.5 | 4.43 | 21.06 | 5.29 | 307.1 | 5.505 | 353.5 | 17.31 | 965.042 | 27.8295 | 8.0289
2020-04-16 18:00:00 | 4.693 | 356.5 | 4.87 | 12.85 | 6.137 | 307.5 | 6.394 | 357.9 | 17.2 | 964.757 | 29.809 | 7.6225
2020-04-16 18:15:00 | 3.868 | 346.7 | 4.177 | 10.34 | 4.946 | 307.3 | 4.95 | 349.2 | 17.02 | 965.175 | 32.5089 | 6.1334
2020-04-16 18:30:00 | 4.027 | 345.8 | 4.573 | 9.07 | 5.03 | 307.2 | 5.009 | 348.6 | 16.81 | 965.051 | 33.6347 | 6.6914
2020-04-16 18:45:00 | 4.06 | 343.4 | 4.949 | 358.7 | 5.508 | 307.2 | 5.505 | 345.9 | 16.69 | 965.349 | 33.2947 | 4.0089
2020-04-16 19:00:00 | 3.337 | 337.2 | 3.5 | 350.9 | 3.344 | 307.1 | 3.348 | 338.9 | 16.73 | 965.646 | 31.6616 | 0.15518
2020-04-16 19:15:00 | 1.091 | 259.1 | 1.074 | 247.4 | 0.875 | 306.8 | 0.453 | 268.8 | 16.39 | 965.943 | 32.0762 | -0.11824
2020-04-16 19:30:00 | 1.311 | 299.8 | 2.169 | 311 | 2.07 | 306.7 | 1.75 | 307.9 | 16.52 | 966.091 | 32.4859 | -0.17366
2020-04-16 19:45:00 | 2.104 | 318 | 2.648 | 327.1 | 2.985 | 306.8 | 2.928 | 322.7 | 16.62 | 966.239 | 32.8272 | -0.17735
2020-04-16 20:00:00 | 2.508 | 330.7 | 2.968 | 345.1 | 3.288 | 306.8 | 3.196 | 334.2 | 16.69 | 966.536 | 32.8954 | 0.66877
2020-04-16 20:15:00 | 3.072 | 336.7 | 3.551 | 345.7 | 3.759 | 306.8 | 3.746 | 339.1 | 16.71 | 966.389 | 33.3049 | 2.5236
2020-04-16 20:30:00 | 2.331 | 327.8 | 2.924 | 344.9 | 3.418 | 306.8 | 3.41 | 334.8 | 16.59 | 966.536 | 33.0319 | 4.4079
2020-04-16 20:45:00 | 2.97 | 339.7 | 3.932 | 351.2 | 4.372 | 306.9 | 4.37 | 343 | 16.52 | 966.685 | 33.7826 | 3.7983
2020-04-16 21:00:00 | 3.695 | 339.4 | 4.423 | 354.5 | 3.512 | 307 | 3.053 | 337.7 | 16.57 | 966.986 | 33.1684 | 6.1371
2020-04-16 21:15:00 | 3.971 | 340 | 4.913 | 3.555 | 4.222 | 307.1 | 3.608 | 338 | 16.46 | 966.834 | 31.9399 | 7.8257
2020-04-16 21:30:00 | 4.029 | 344.5 | 4.775 | 9.59 | 4.72 | 307.1 | 4.469 | 340.1 | 16.6 | 966.834 | 32.6907 | 10.9515
2020-04-16 21:45:00 | 4.461 | 345.6 | 5.363 | 4.728 | 5.285 | 307.2 | 4.94 | 340.4 | 16.51 | 966.536 | 33.1001 | 12.3814
2020-04-16 22:00:00 | 4.594 | 338.7 | 5.282 | 3.623 | 4.725 | 307.3 | 4.5 | 334.8 | 16.46 | 966.536 | 34.1239 | 13.5786
2020-04-16 22:15:00 | 3.769 | 341.2 | 4.44 | 5.755 | 5.371 | 307.3 | 5.312 | 338.7 | 16.43 | 966.536 | 34.8746 | 12.4923
2020-04-16 22:30:00 | 2.837 | 337.5 | 4.392 | 1.461 | 4.038 | 307.1 | 4.021 | 332.6 | 16.36 | 966.536 | 35.1476 | 9.6103
2020-04-16 22:45:00 | 2.702 | 332.4 | 3.63 | 350 | 2.82 | 307 | 2.809 | 325.9 | 16.29 | 966.566 | 35.4206 | 7.7185
2020-04-16 23:00:00 | 3.335 | 312.5 | 4.088 | 324.9 | 4.628 | 306.7 | 4.775 | 312.3 | 16.52 | 966.833 | 35.3523 | 7.9291
2020-04-16 23:15:00 | 3.131 | 319.1 | 3.635 | 333 | 3.662 | 305.9 | 3.921 | 315 | 16.53 | 966.833 | 36.103 | 9.0561
2020-04-16 23:30:00 | 2.518 | 313.1 | 2.906 | 332.1 | 4.392 | 304.5 | 4.691 | 309.7 | 16.31 | 967.13 | 36.9903 | 8.5203
2020-04-16 23:45:00 | 3.14 | 312.6 | 3.791 | 321.4 | 3.748 | 304.5 | 3.904 | 313.5 | 16.1 | 967.13 | 38.287 | 10.6485