## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-17 00:00:00 | 3.337 | 324 | 3.62 | 340.2 | 3.914 | 306.4 | 4.028 | 325.2 | 15.62 | 967.279 | 42.1088 | 16.7229
2020-04-17 00:15:00 | 4.461 | 330.6 | 4.885 | 345.8 | 4.954 | 308.1 | 5.001 | 330.6 | 15.05 | 967.246 | 44.634 | 17.9939
2020-04-17 00:30:00 | 3.32 | 347.9 | 3.679 | 2.475 | 4.565 | 308 | 4.831 | 340.4 | 14.48 | 967.089 | 46.615 | 13.4418
2020-04-17 00:45:00 | 3.225 | 336.6 | 3.681 | 358.5 | 3.952 | 308 | 3.924 | 332.9 | 14.31 | 967.128 | 45.7678 | 10.6559
2020-04-17 01:00:00 | 3.674 | 336.9 | 4.098 | 354.4 | 3.555 | 308 | 3.407 | 330.9 | 14.16 | 966.98 | 44.0273 | 10.9257
2020-04-17 01:15:00 | 3.815 | 339.9 | 4.696 | 357.6 | 4.995 | 308.2 | 5.238 | 336.4 | 14.06 | 966.831 | 39.7938 | 19.409
2020-04-17 01:30:00 | 4.609 | 336.1 | 5.292 | 354.9 | 5.31 | 309.2 | 5.314 | 331.4 | 14.17 | 966.683 | 38.2927 | 14.8865
2020-04-17 01:45:00 | 3.927 | 333.4 | 4.484 | 351.8 | 4.115 | 308.9 | 4.13 | 329.3 | 13.94 | 966.831 | 35.4612 | 7.9033
2020-04-17 02:00:00 | 3.759 | 332.3 | 4.251 | 348.3 | 3.835 | 308.9 | 3.82 | 325.8 | 13.82 | 966.831 | 36.5883 | 7.4082
2020-04-17 02:15:00 | 3.473 | 330.7 | 3.425 | 345.2 | 2.996 | 308.6 | 2.875 | 324.2 | 13.55 | 966.534 | 37.5476 | 6.8392
2020-04-17 02:30:00 | 3.537 | 333.6 | 4.29 | 349.9 | 3.868 | 308.7 | 3.786 | 331.2 | 13.58 | 966.386 | 35.9106 | 3.9276
2020-04-17 02:45:00 | 3.222 | 344.7 | 4.305 | 2.996 | 5.356 | 308.8 | 5.404 | 342.7 | 13.41 | 966.534 | 33.5211 | 1.8068
2020-04-17 03:00:00 | 2.834 | 337.6 | 3.607 | 358.4 | 3.883 | 308.6 | 3.957 | 338 | 13.76 | 966.534 | 32.1557 | 2.2908
2020-04-17 03:15:00 | 1.95 | 331.9 | 1.953 | 339.4 | 2.406 | 308.4 | 2.23 | 327.2 | 13.87 | 966.534 | 33.3163 | 1.8918
2020-04-17 03:30:00 | 1.369 | 323.5 | 2.469 | 319.2 | 2.093 | 308.1 | 1.81 | 328.3 | 13.52 | 966.534 | 31.0633 | 0.65029
2020-04-17 03:45:00 | 1.87 | 306.1 | 2.096 | 319.6 | 2.818 | 308.1 | 2.737 | 305.9 | 14.07 | 966.534 | 27.9911 | 0.3621
2020-04-17 04:00:00 | 2.566 | 319 | 3.252 | 320 | 2.57 | 307.9 | 2.705 | 314.4 | 14.39 | 966.534 | 25.4651 | 1.0604
2020-04-17 04:15:00 | 1.187 | 287.3 | 2.748 | 296.3 | 4.448 | 307.5 | 4.576 | 293.1 | 14.14 | 966.534 | 29.3565 | 1.7107
2020-04-17 04:30:00 | 1.329 | 280.9 | 3.2 | 284.6 | 4.682 | 306.7 | 4.749 | 287.9 | 14.11 | 966.683 | 29.6296 | 2.2428
2020-04-17 04:45:00 | 2.371 | 271.9 | 4.474 | 277.9 | 5.496 | 272.9 | 5.444 | 276.6 | 14 | 966.534 | 27.957 | 10.4084
2020-04-17 05:00:00 | 3.746 | 281.7 | 4.757 | 292 | 5.465 | 282.7 | 5.549 | 285 | 14.24 | 966.831 | 26.9671 | 14.6279
2020-04-17 05:15:00 | 4.185 | 280 | 5.371 | 288.7 | 6.676 | 279.9 | 6.868 | 285 | 14.35 | 967.128 | 26.6257 | 19.6529
2020-04-17 05:30:00 | 5.086 | 283.5 | 6.066 | 292.3 | 7.197 | 281 | 7.273 | 286.2 | 14.24 | 967.277 | 26.2161 | 20.4842
2020-04-17 05:45:00 | 3.682 | 284.6 | 5.133 | 295.2 | 6.462 | 281.7 | 6.626 | 286.7 | 14.07 | 967.277 | 27.5132 | 17.5764
2020-04-17 06:00:00 | 4.469 | 280.5 | 5.532 | 293 | 6.895 | 278.9 | 7.059 | 283.1 | 13.87 | 967.722 | 26.8305 | 17.0074
2020-04-17 06:15:00 | 3.932 | 269 | 4.699 | 277.7 | 5.595 | 272 | 5.668 | 272.9 | 13.93 | 967.722 | 30.7197 | 16.7266
2020-04-17 06:30:00 | 5.635 | 254.8 | 6.033 | 260.4 | 6.696 | 263.2 | 6.616 | 260.7 | 13.18 | 967.722 | 32.185 | 22.1949
2020-04-17 06:45:00 | 5.778 | 255.1 | 6.624 | 265.8 | 7.523 | 261.7 | 7.581 | 258.5 | 13.26 | 968.316 | 30.5105 | 35.9435
2020-04-17 07:00:00 | 7.407 | 259.2 | 7.894 | 269 | 8.96 | 261.7 | 8.94 | 264.1 | 13.73 | 968.316 | 30.1365 | 43.3907
2020-04-17 07:15:00 | 6.792 | 277.6 | 7.24 | 284.6 | 7.452 | 265.3 | 7.479 | 282.3 | 13.77 | 968.91 | 31.9448 | 48.7276
2020-04-17 07:30:00 | 7.321 | 289.6 | 9.16 | 302.3 | 9.97 | 291.1 | 10.12 | 292.3 | 13.59 | 968.776 | 34.3628 | 53.2047
2020-04-17 07:45:00 | 5.988 | 305.2 | 7.112 | 317.3 | 6.958 | 302.1 | 7.082 | 305.9 | 13.32 | 968.764 | 34.1921 | 42.0315
2020-04-17 08:00:00 | 5.574 | 316.3 | 5.895 | 324.7 | 5.213 | 304.3 | 5.284 | 316.3 | 13.67 | 968.911 | 34.1921 | 35.4845
2020-04-17 08:15:00 | 5.132 | 318.1 | 5.126 | 330 | 5.371 | 303.5 | 5.462 | 323.2 | 13.8 | 969.208 | 34.3866 | 30.5638
2020-04-17 08:30:00 | 3.858 | 325.8 | 4.379 | 342.3 | 4.985 | 309 | 5.006 | 323.1 | 14.54 | 969.505 | 35.6132 | 23.8428
2020-04-17 08:45:00 | 4.369 | 341.9 | 4.415 | 357.8 | 5.084 | 313.1 | 5.292 | 338.2 | 14.93 | 969.744 | 34.1464 | 26.7565
2020-04-17 09:00:00 | 4.701 | 345.1 | 4.947 | 3.327 | 5.147 | 319.5 | 5.205 | 337.1 | 15.08 | 970.251 | 34.1103 | 23.7689
2020-04-17 09:15:00 | 2.915 | 21.14 | 4.967 | 36.66 | 5.74 | 320.2 | 5.483 | 11.82 | 15.39 | 970.396 | 37.0396 | 18.7883
2020-04-17 09:30:00 | 2.147 | 15.99 | 5.253 | 35.85 | 5.653 | 320.2 | 5.363 | 12.3 | 15.05 | 970.693 | 37.4489 | 21.8513
2020-04-17 09:45:00 | 3.426 | 17.41 | 4.726 | 24.14 | 5.425 | 313.4 | 5.172 | 9.73 | 15.47 | 970.693 | 36.0164 | 20.3106
2020-04-17 10:00:00 | 3.066 | 19.1 | 6.353 | 29.34 | 5.905 | 318.7 | 5.48 | 10.3 | 15.16 | 970.99 | 34.8567 | 24.1977
2020-04-17 10:15:00 | 4.249 | 15.64 | 6.977 | 29.34 | 7.48 | 316.8 | 7.321 | 8.11 | 15.44 | 971.287 | 36.6982 | 24.2899
2020-04-17 10:30:00 | 4.586 | 10.27 | 7.12 | 23.24 | 7.149 | 317.7 | 6.827 | 8.95 | 15.68 | 971.287 | 37.3116 | 25.7789
2020-04-17 10:45:00 | 3.867 | 6.053 | 3.89 | 9.66 | 4.06 | 313.1 | 4.085 | 355.5 | 16.28 | 971.88 | 37.616 | 31.2695
2020-04-17 11:00:00 | 4.566 | 344.5 | 5.095 | 353.5 | 5.465 | 314.1 | 5.535 | 343.1 | 15.61 | 971.531 | 38.3973 | 32.304
2020-04-17 11:15:00 | 5.117 | 341.1 | 5.549 | 358.3 | 6.446 | 310.3 | 6.567 | 340.3 | 15.75 | 971.343 | 35.9079 | 29.7092
2020-04-17 11:30:00 | 3.233 | 14.75 | 4.08 | 348.5 | 4.986 | 300.9 | 4.806 | 27.41 | 16.47 | 971.773 | 38.2609 | 31.2473
2020-04-17 11:45:00 | 4.637 | 349.7 | 4.572 | 7.754 | 5.435 | 304.8 | 5.434 | 342.5 | 16.58 | 971.435 | 36.4194 | 37.993
2020-04-17 12:00:00 | 4.747 | 334.4 | 5.133 | 343.1 | 5.231 | 303.1 | 5.07 | 329.2 | 16.73 | 971.732 | 37.7835 | 30.4207
2020-04-17 12:15:00 | 5.075 | 329.9 | 6.516 | 330.3 | 5.765 | 298.6 | 5.913 | 334.9 | 16.32 | 971.88 | 39.0793 | 36.3314
2020-04-17 12:30:00 | 5.492 | 4.251 | 5.724 | 359.8 | 5.954 | 300.7 | 5.622 | 4.563 | 16.14 | 972.023 | 39.3917 | 27.7968
2020-04-17 12:45:00 | 5.205 | 347 | 5.427 | 4.873 | 5.58 | 306.7 | 5.696 | 339.9 | 16.06 | 971.88 | 39.0859 | 25.5499
2020-04-17 13:00:00 | 4.094 | 339 | 5.183 | 350.7 | 5.11 | 302.5 | 4.928 | 332.9 | 16.33 | 971.88 | 39.3951 | 24.7028
2020-04-17 13:15:00 | 5.898 | 318.6 | 6.531 | 327.7 | 6.34 | 296.8 | 6.277 | 323.2 | 16.9 | 971.88 | 38.1027 | 24.1569
2020-04-17 13:30:00 | 3.804 | 13.46 | 3.774 | 4.319 | 4.35 | 296.4 | 4.127 | 9.57 | 16.37 | 972.325 | 39.7737 | 25.5129
2020-04-17 13:45:00 | 5.259 | 331.1 | 5.617 | 334.9 | 5.351 | 296.5 | 5.225 | 347.7 | 16.6 | 971.88 | 39.3286 | 28.1465
2020-04-17 14:00:00 | 5.097 | 305.1 | 5.808 | 318.6 | 5.483 | 297.4 | 5.416 | 309.9 | 16.83 | 972.028 | 41.1333 | 29.0231
2020-04-17 14:15:00 | 4.053 | 333.6 | 4.883 | 349.6 | 4.995 | 302.6 | 4.74 | 330.2 | 16.53 | 971.88 | 39.3592 | 32.1863
2020-04-17 14:30:00 | 5.212 | 351.1 | 5.407 | 332.1 | 5.697 | 301.2 | 5.661 | 2.252 | 16.84 | 972.028 | 40.962 | 33.6674
2020-04-17 14:45:00 | 4.295 | 341.2 | 4.619 | 353.6 | 4.206 | 306.9 | 4.242 | 340 | 17.01 | 972.919 | 38.6767 | 40.1186
2020-04-17 15:00:00 | 3.388 | 357.2 | 4.356 | 12.08 | 4.682 | 304 | 4.899 | 351.8 | 16.98 | 972.622 | 40.8588 | 37.926
2020-04-17 15:15:00 | 4.369 | 343.8 | 4.91 | 346.9 | 4.944 | 302.2 | 4.945 | 344.8 | 17.26 | 972.473 | 38.4689 | 41.2936
2020-04-17 15:30:00 | 6.082 | 330.8 | 6.45 | 347.4 | 5.447 | 309 | 5.508 | 327.5 | 16.91 | 972.17 | 39.5584 | 46.4848
2020-04-17 15:45:00 | 5.209 | 12.44 | 8.42 | 32.02 | 7.744 | 313.6 | 7.576 | 5.921 | 16.49 | 972.144 | 41.57 | 44.5176
2020-04-17 16:00:00 | 3.51 | 8.66 | 4.82 | 14.54 | 5.882 | 309.7 | 5.564 | 10.16 | 16.5 | 972.473 | 40.5507 | 40.2664
2020-04-17 16:15:00 | 3.007 | 4.487 | 4.622 | 23.46 | 5.096 | 317.3 | 5.164 | 356.8 | 16.45 | 972.919 | 41.2346 | 35.6774
2020-04-17 16:30:00 | 4.57 | 358.4 | 5.673 | 15.94 | 7.047 | 327.3 | 7.298 | 356.6 | 16.01 | 972.77 | 42.4966 | 33.5555
2020-04-17 16:45:00 | 4.875 | 4.658 | 6.437 | 25.69 | 7.205 | 329.9 | 7.304 | 357.8 | 15.81 | 972.473 | 43.7926 | 34.3953
2020-04-17 17:00:00 | 5.579 | 7.822 | 6.908 | 28.51 | 6.694 | 333.5 | 6.853 | 357.4 | 15.59 | 972.177 | 44.6124 | 25.354
2020-04-17 17:15:00 | 3.628 | 0.461 | 5.057 | 23.5 | 5.859 | 330.3 | 5.91 | 356.8 | 15.46 | 972.376 | 43.0495 | 20.0815
2020-04-17 17:30:00 | 5.027 | 9.07 | 6.005 | 29.12 | 5.712 | 335 | 5.758 | 4.082 | 15.33 | 972.448 | 43.8683 | 13.3495
2020-04-17 17:45:00 | 3.961 | 357.8 | 4.668 | 30.23 | 5.336 | 336.8 | 5.511 | 349.3 | 15.26 | 972.473 | 44.8917 | 8.2136
2020-04-17 18:00:00 | 3.861 | 1.869 | 4.361 | 19.97 | 4.445 | 336.7 | 4.451 | 1.744 | 15.13 | 971.88 | 46.1881 | 5.0989
2020-04-17 18:15:00 | 4.037 | 6.994 | 4.911 | 19.01 | 4.796 | 337.1 | 4.505 | 6.182 | 15.03 | 971.583 | 46.5422 | 5.897
2020-04-17 18:30:00 | 3.042 | 9.99 | 4.671 | 23.67 | 4.313 | 337.2 | 3.799 | 11.51 | 14.83 | 971.583 | 46.2037 | 6.6914
2020-04-17 18:45:00 | 3.295 | 10.97 | 5.213 | 27.74 | 5.193 | 337.7 | 4.502 | 14.25 | 14.64 | 971.759 | 46.7497 | 10.4342
2020-04-17 19:00:00 | 4.175 | 12.14 | 6.711 | 27.69 | 6.706 | 338.7 | 5.6 | 17.21 | 14.63 | 971.877 | 47.7106 | 14.3175
2020-04-17 19:15:00 | 3.074 | 23.14 | 5.517 | 41.54 | 6.02 | 338.9 | 5.994 | 26.84 | 14.32 | 971.879 | 49.0784 | 13.8261
2020-04-17 19:30:00 | 4.798 | 26.18 | 7.595 | 44.61 | 7.886 | 339.9 | 7.8 | 29.33 | 14.27 | 971.731 | 47.7128 | 20.6135
2020-04-17 19:45:00 | 3.815 | 29.28 | 7.547 | 44.9 | 8.24 | 340.4 | 8.16 | 33.89 | 14.19 | 971.88 | 46.8257 | 23.8318
2020-04-17 20:00:00 | 3.93 | 35.88 | 6.465 | 51.57 | 6.862 | 341.2 | 6.677 | 38.72 | 14.28 | 971.88 | 46.0742 | 17.4581
2020-04-17 20:15:00 | 3.016 | 31.05 | 6.386 | 47.98 | 6.935 | 341.2 | 6.835 | 35.17 | 14.33 | 972.028 | 46.8247 | 14.8902
2020-04-17 20:30:00 | 3.436 | 30.29 | 7.217 | 46.98 | 7.635 | 341.7 | 7.637 | 33.65 | 14.13 | 972.177 | 46.6203 | 12.496
2020-04-17 20:45:00 | 3.662 | 34.52 | 6.207 | 51.12 | 6.462 | 342.7 | 6.44 | 37.92 | 14.31 | 972.474 | 45.9375 | 6.7098
2020-04-17 21:00:00 | 1.915 | 32.07 | 4.3 | 51.17 | 4.733 | 341 | 4.701 | 33.97 | 14.19 | 972.771 | 46.5542 | 4.9659
2020-04-17 21:15:00 | 2.099 | 40.3 | 3.579 | 57.94 | 4.013 | 341.1 | 3.962 | 45.33 | 14.27 | 973.068 | 45.9426 | 2.7748
2020-04-17 21:30:00 | 1.899 | 43.68 | 3.566 | 62.31 | 3.71 | 340.9 | 3.669 | 45 | 14.22 | 973.068 | 46.5594 | 2.0026
2020-04-17 21:45:00 | 2.084 | 34.58 | 3.538 | 51.8 | 3.975 | 341.1 | 3.899 | 37.32 | 14.2 | 973.068 | 46.8667 | 2.2169
2020-04-17 22:00:00 | 2.393 | 34.69 | 3.947 | 51.68 | 4.425 | 341.3 | 4.375 | 37.44 | 14.25 | 973.068 | 46.2195 | 3.403
2020-04-17 22:15:00 | 3.253 | 31.7 | 4.154 | 50.9 | 4.527 | 341.7 | 4.464 | 32.61 | 14.19 | 973.068 | 45.8087 | 4.4818
2020-04-17 22:30:00 | 3.097 | 22.64 | 4.888 | 40.41 | 5.425 | 342 | 5.449 | 26.81 | 14.13 | 973.365 | 44.5119 | 3.0409
2020-04-17 22:45:00 | 2.188 | 27.02 | 3.858 | 43.71 | 4.598 | 341.5 | 4.591 | 28.67 | 14.35 | 973.365 | 42.7363 | 2.0765
2020-04-17 23:00:00 | 2.206 | 24.03 | 3.758 | 40.22 | 4.252 | 341.3 | 4.202 | 28.65 | 14.54 | 973.513 | 42.531 | 0.73158
2020-04-17 23:15:00 | 1.371 | 23.46 | 2.973 | 45.14 | 3.782 | 340.9 | 3.736 | 22.03 | 14.54 | 973.513 | 42.3269 | 0.077592
2020-04-17 23:30:00 | 0.186 | 31.72 | 1.861 | 47.44 | 2.629 | 340.7 | 2.569 | 30.88 | 14.61 | 973.365 | 41.5754 | -0.19583
2020-04-17 23:45:00 | 0.171 | 28.59 | 1.627 | 47.56 | 2.011 | 340.7 | 1.851 | 35.74 | 14.61 | 973.365 | 41.3035 | -0.23278