## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-18 00:00:00 | 0 | 24.15 | 1.344 | 47.2 | 1.978 | 340.6 | 1.831 | 27.83 | 14.67 | 973.513 | 41.3722 | -0.2882
2020-04-18 00:15:00 | 0 | 29.55 | 0.094 | 47.28 | 1.075 | 340.3 | 0.754 | 28.41 | 14.29 | 973.068 | 43.3521 | -0.25125
2020-04-18 00:30:00 | 0 | 39.25 | 0.386 | 47.28 | 1.34 | 340.3 | 1.042 | 28.54 | 14.04 | 973.068 | 44.1714 | -0.25125
2020-04-18 00:45:00 | 0 | 30.42 | 1.097 | 47.23 | 1.871 | 340.3 | 1.724 | 28.68 | 14.23 | 973.068 | 41.304 | -0.25125
2020-04-18 01:00:00 | 0.312 | 26.98 | 1.651 | 47.19 | 2.304 | 340.3 | 2.246 | 28.62 | 14.46 | 973.068 | 41.9867 | -0.26972
2020-04-18 01:15:00 | 0 | 24.28 | 0.571 | 47.19 | 1.602 | 340.3 | 1.446 | 28.44 | 14.26 | 973.068 | 42.3963 | -0.25125
2020-04-18 01:30:00 | 1.421 | 14.41 | 2.157 | 46.41 | 2.566 | 340.4 | 2.516 | 25.22 | 14.14 | 973.068 | 43.3521 | 0.0036948
2020-04-18 01:45:00 | 2.09 | 3.362 | 2.191 | 45.43 | 2.724 | 340.1 | 2.908 | 14.25 | 13.97 | 973.068 | 42.9425 | -0.19583
2020-04-18 02:00:00 | 2.735 | 26.97 | 3.239 | 44.51 | 3.141 | 337.6 | 2.61 | 7.438 | 14.17 | 973.365 | 44.4444 | -0.23278
2020-04-18 02:15:00 | 2.219 | 338.5 | 2.382 | 44.62 | 2.398 | 322.1 | 2.167 | 354 | 13.7 | 973.662 | 50.0085 | -0.23647
2020-04-18 02:30:00 | 2.081 | 343.8 | 2.185 | 44.45 | 2.271 | 321 | 1.991 | 357.7 | 13.26 | 973.513 | 50.623 | -0.25125
2020-04-18 02:45:00 | 2.109 | 334.5 | 2.114 | 44.03 | 1.973 | 321.1 | 1.731 | 349.6 | 13.22 | 973.662 | 51.886 | -0.26233
2020-04-18 03:00:00 | 0.607 | 319.5 | 1.932 | 44.3 | 1.744 | 325.3 | 1.459 | 335.7 | 12.79 | 973.365 | 54.0707 | -0.23647
2020-04-18 03:15:00 | 0.643 | 325.6 | 2.129 | 340.7 | 2.042 | 325.2 | 1.808 | 339.4 | 12.57 | 973.365 | 54.1389 | -0.25125
2020-04-18 03:30:00 | 1.227 | 335.4 | 2.487 | 5.775 | 2.184 | 325.8 | 1.887 | 356.2 | 12.45 | 973.538 | 55.2313 | -0.25125
2020-04-18 03:45:00 | 1.504 | 349.8 | 2.699 | 6.351 | 1.991 | 328.8 | 1.635 | 44.01 | 12.52 | 973.724 | 55.0947 | -0.25125
2020-04-18 04:00:00 | 2.165 | 356.4 | 2.901 | 10.48 | 2.273 | 332.3 | 1.866 | 7.322 | 12.54 | 973.708 | 54.4803 | -0.25125
2020-04-18 04:15:00 | 2.165 | 352.1 | 2.968 | 12.27 | 2.078 | 336.8 | 1.716 | 5.402 | 12.58 | 973.751 | 53.2855 | -0.26233
2020-04-18 04:30:00 | 2.319 | 350.2 | 3.093 | 12.26 | 2.149 | 336.8 | 1.678 | 2.443 | 12.62 | 973.73 | 54.6168 | -0.073897
2020-04-18 04:45:00 | 2.112 | 349.5 | 2.86 | 12.34 | 2.416 | 336.9 | 2.022 | 1.551 | 12.39 | 973.685 | 52.8759 | -0.18474
2020-04-18 05:00:00 | 1.378 | 349.6 | 1.549 | 12.58 | 0.215 | 336.7 | 0 | 1.657 | 12.44 | 973.722 | 52.5346 | 0.16996
2020-04-18 05:15:00 | 2.086 | 354.5 | 1.858 | 13.04 | 1.721 | 336.9 | 1.48 | 3.054 | 12.38 | 973.682 | 55.0265 | -0.218
2020-04-18 05:30:00 | 1.409 | 13.75 | 2.615 | 23.69 | 2.212 | 336.9 | 2.177 | 34.98 | 12.16 | 973.979 | 52.3639 | -0.15149
2020-04-18 05:45:00 | 0.411 | 43.14 | 1.768 | 23.85 | 2.507 | 336.8 | 2.406 | 57.13 | 12.75 | 973.731 | 54.1731 | 0.80917
2020-04-18 06:00:00 | 2.091 | 36.82 | 3.794 | 24.94 | 4.283 | 337.2 | 4.217 | 45.23 | 12.16 | 973.691 | 55.5726 | 0.80548
2020-04-18 06:15:00 | 2.311 | 38.09 | 4.602 | 43.85 | 4.977 | 339.3 | 4.948 | 47.75 | 12.07 | 973.961 | 52.9783 | 1.5999
2020-04-18 06:30:00 | 2.681 | 47.61 | 3.479 | 69.45 | 4.051 | 340.4 | 4.189 | 52.58 | 13 | 974.256 | 49.2234 | 0.83873
2020-04-18 06:45:00 | 1.431 | 54.57 | 2.705 | 69.61 | 3.563 | 339.7 | 3.58 | 58.29 | 13.48 | 974.85 | 47.8524 | -0.1404
2020-04-18 07:00:00 | 0.611 | 75.5 | 1.975 | 83.5 | 2.331 | 338.5 | 2.256 | 76.85 | 14.17 | 975.444 | 45.8003 | -0.17735
2020-04-18 07:15:00 | 0.983 | 66.43 | 2.653 | 74.33 | 3.184 | 339.3 | 3.043 | 71.58 | 14.8 | 975.743 | 45.111 | -0.15888
2020-04-18 07:30:00 | 1.767 | 65.47 | 3.369 | 77.46 | 3.367 | 340.1 | 3.185 | 65.98 | 15.01 | 975.864 | 46.2909 | -0.2143
2020-04-18 07:45:00 | 1.865 | 38.34 | 3.05 | 53.29 | 3.092 | 339.9 | 2.951 | 43.35 | 14.16 | 975.591 | 45.574 | -0.19583
2020-04-18 08:00:00 | 1.054 | 32.98 | 2.387 | 47.18 | 2.406 | 339.4 | 2.171 | 42.32 | 15.31 | 975.739 | 44.6188 | -0.19583
2020-04-18 08:15:00 | 1.24 | 23.75 | 2.717 | 34.13 | 2.634 | 339.2 | 2.442 | 30.53 | 15.49 | 975.772 | 42.911 | -0.25125
2020-04-18 08:30:00 | 1.144 | 27.65 | 2.477 | 46.91 | 2.042 | 339.4 | 1.612 | 35.33 | 15.69 | 976.035 | 41.2001 | -0.25125
2020-04-18 08:45:00 | 1.559 | 17.12 | 2.279 | 37.25 | 2.24 | 339.5 | 1.973 | 27.7 | 15.96 | 976.357 | 40.1707 | -0.25125
2020-04-18 09:00:00 | 1.789 | 5.435 | 1.894 | 317.8 | 1.56 | 321.5 | 1.16 | 16.91 | 16.67 | 976.775 | 37.9195 | -0.25125
2020-04-18 09:15:00 | 1.584 | 15.52 | 2.651 | 27.39 | 2.808 | 330.8 | 2.521 | 17.86 | 16.6 | 976.627 | 39.0725 | -0.26972
2020-04-18 09:30:00 | 0.93 | 344.4 | 1.459 | 0.746 | 1.653 | 325.5 | 1.509 | 344.8 | 16.39 | 976.775 | 40.7771 | -0.26233
2020-04-18 09:45:00 | 1.583 | 19.8 | 2.19 | 32.5 | 2.462 | 335.4 | 2.223 | 21.47 | 16.37 | 976.775 | 42.3116 | -0.23647
2020-04-18 10:00:00 | 1.9 | 304.4 | 2.273 | 308.5 | 2.202 | 321.1 | 1.961 | 311 | 16.9 | 976.775 | 43.3686 | -0.27342
2020-04-18 10:15:00 | 1.173 | 79.46 | 2.062 | 67.78 | 1.503 | 326.8 | 1.285 | 56.09 | 17.09 | 976.775 | 43.2659 | -0.25125
2020-04-18 10:30:00 | 2.349 | 172.2 | 2.738 | 181 | 2.164 | 313.2 | 1.981 | 70.79 | 18.05 | 976.775 | 36.4074 | -0.059118
2020-04-18 10:45:00 | 1.553 | 320.4 | 1.742 | 300.7 | 1.316 | 319.1 | 1.158 | 334.6 | 17.96 | 976.775 | 42.1681 | 0.67985
2020-04-18 11:00:00 | 0.65 | 0.701 | 1.216 | 8.86 | 1.704 | 321.1 | 1.634 | 33.11 | 16.85 | 976.478 | 40.8386 | 1.8105
2020-04-18 11:15:00 | 2.309 | 14.65 | 3.855 | 21.65 | 3.817 | 322.3 | 3.685 | 16.81 | 16.88 | 976.033 | 42.9246 | 1.8437
2020-04-18 11:30:00 | 1.908 | 27.89 | 2.546 | 8.58 | 2.971 | 322.4 | 2.777 | 31.48 | 16.97 | 975.737 | 44.1898 | 1.3375
2020-04-18 11:45:00 | 1.06 | 32.35 | 2.781 | 44.83 | 3.509 | 326.6 | 3.346 | 34.41 | 17.14 | 975.292 | 45.6265 | 0.48402
2020-04-18 12:00:00 | 1.651 | 46.03 | 2.196 | 68.24 | 2.109 | 328.6 | 1.895 | 32.4 | 16.71 | 974.995 | 44.8082 | 0.055423
2020-04-18 12:15:00 | 2.7 | 25.95 | 3.265 | 14.02 | 3.258 | 320.5 | 3.088 | 42.92 | 16.82 | 975.229 | 44.0593 | -0.073897
2020-04-18 12:30:00 | 2.334 | 312 | 3.11 | 309.4 | 2.657 | 312.7 | 2.663 | 318.7 | 17.61 | 975.117 | 45.8995 | -0.12193
2020-04-18 12:45:00 | 1.641 | 302 | 2.298 | 308.5 | 2.2 | 316.4 | 1.871 | 299.6 | 16.92 | 974.81 | 46.2079 | -0.10346
2020-04-18 13:00:00 | 1.65 | 323.9 | 2.013 | 335.3 | 2.07 | 321 | 1.848 | 327 | 16.92 | 974.245 | 46.7893 | -0.25125
2020-04-18 13:15:00 | 2.091 | 282.8 | 2.614 | 295 | 2.757 | 305.9 | 2.405 | 287 | 16.51 | 974.402 | 47.816 | -0.15888
2020-04-18 13:30:00 | 2.488 | 357.2 | 2.527 | 1.285 | 2.917 | 324.2 | 2.781 | 351.5 | 16.89 | 973.957 | 47.4079 | -0.084981
2020-04-18 13:45:00 | 2.093 | 329.3 | 2.653 | 337.4 | 2.871 | 318.4 | 2.718 | 334.1 | 17.2 | 974.254 | 44.4406 | -0.25125
2020-04-18 14:00:00 | 0.878 | 21.23 | 2.061 | 33.67 | 2.388 | 326.3 | 2.057 | 22.99 | 17.55 | 973.957 | 45.2915 | -0.17735
2020-04-18 14:15:00 | 1.957 | 15.67 | 3.587 | 24.44 | 3.611 | 326.2 | 3.262 | 14.81 | 17.52 | 973.407 | 45.3539 | -0.084981
2020-04-18 14:30:00 | 2.305 | 10.08 | 4.036 | 25.6 | 3.703 | 328.1 | 3.425 | 9.4 | 16.76 | 972.764 | 45.9023 | -0.040643
2020-04-18 14:45:00 | 1.597 | 13.88 | 2.28 | 26.23 | 2.022 | 328.6 | 1.606 | 7.413 | 16.9 | 972.919 | 44.3383 | -0.26603
2020-04-18 15:00:00 | 0.934 | 20.8 | 1.673 | 357.5 | 2.538 | 323.6 | 2.23 | 35.54 | 17.52 | 972.77 | 43.3833 | -0.22539
2020-04-18 15:15:00 | 3.044 | 331.4 | 3.223 | 337.7 | 2.777 | 316.2 | 2.547 | 332.9 | 17.04 | 972.473 | 46.522 | -0.17366
2020-04-18 15:30:00 | 2.771 | 322.9 | 3.062 | 333.5 | 2.584 | 314.9 | 2.34 | 328.9 | 16.92 | 972.179 | 46.6647 | -0.17366
2020-04-18 15:45:00 | 2.515 | 323 | 3.037 | 330.1 | 2.87 | 320.9 | 2.686 | 327.3 | 16.55 | 972.133 | 46.2562 | -0.15149
2020-04-18 16:00:00 | 2.805 | 1.358 | 2.495 | 346.1 | 2.365 | 319.1 | 1.996 | 8.14 | 16.71 | 972.136 | 45.301 | -0.092371
2020-04-18 16:15:00 | 2.886 | 349.8 | 2.789 | 349.1 | 2.451 | 320.1 | 1.984 | 348.1 | 16.48 | 971.88 | 45.6422 | -0.051728
2020-04-18 16:30:00 | 2.231 | 348.8 | 2.45 | 8.01 | 2.983 | 322.2 | 2.914 | 341 | 16.35 | 971.583 | 46.4609 | 0.18105
2020-04-18 16:45:00 | 2.016 | 343.9 | 2.431 | 5.69 | 2.703 | 322.9 | 2.62 | 335.5 | 16.15 | 971.286 | 47.8273 | 1.8031
2020-04-18 17:00:00 | 2.364 | 340.9 | 2.563 | 6.451 | 2.942 | 321.7 | 2.84 | 341.6 | 15.95 | 971.138 | 47.4866 | 2.0654
2020-04-18 17:15:00 | 1.88 | 347.4 | 2.373 | 3.086 | 3.164 | 322.9 | 3.185 | 338.9 | 15.86 | 970.989 | 46.8792 | 1.5112
2020-04-18 17:30:00 | 2.474 | 334 | 2.905 | 356.6 | 3.329 | 323 | 3.351 | 335.9 | 15.75 | 971.138 | 47.5684 | 2.1689
2020-04-18 17:45:00 | 2.174 | 344 | 2.551 | 18.94 | 3.736 | 324 | 3.929 | 343.6 | 15.62 | 970.841 | 49.6161 | 2.5088
2020-04-18 18:00:00 | 2.645 | 343.5 | 3.052 | 12.09 | 3.904 | 324.1 | 4.031 | 340.3 | 15.5 | 970.989 | 50.7763 | 2.7046
2020-04-18 18:15:00 | 3.322 | 345.3 | 3.52 | 3.578 | 4.105 | 324.1 | 4.026 | 347.8 | 15.4 | 970.702 | 51.9365 | 4.6407
2020-04-18 18:30:00 | 3.478 | 350.6 | 3.699 | 10.25 | 4.367 | 324.3 | 4.314 | 350.9 | 15.26 | 970.408 | 53.438 | 6.1445
2020-04-18 18:45:00 | 3.646 | 344.9 | 3.955 | 8.48 | 5.236 | 324.8 | 5.238 | 348.2 | 15.07 | 970.512 | 56.9869 | 6.684
2020-04-18 19:00:00 | 4.188 | 355.1 | 4.182 | 10.23 | 5.702 | 325.4 | 5.943 | 0.982 | 14.87 | 970.646 | 57.1575 | 7.2789
2020-04-18 19:15:00 | 4.165 | 13.69 | 4.085 | 16.09 | 4.987 | 325.3 | 4.968 | 4.456 | 14.74 | 970.692 | 57.8791 | 10.6744
2020-04-18 19:30:00 | 3.7 | 8.53 | 4.517 | 25.29 | 4.428 | 325.3 | 4.347 | 7.83 | 14.79 | 970.692 | 57.3337 | 11.7459
2020-04-18 19:45:00 | 4.221 | 10.12 | 5.118 | 25.03 | 4.84 | 325.5 | 4.469 | 10.66 | 14.72 | 970.84 | 55.5962 | 11.4503
2020-04-18 20:00:00 | 3.12 | 14.11 | 4.555 | 31.65 | 5.16 | 325.4 | 4.734 | 17.56 | 14.65 | 970.692 | 55.8362 | 10.6153
2020-04-18 20:15:00 | 4.259 | 12.31 | 5.179 | 27.54 | 4.944 | 325.7 | 4.693 | 15.11 | 14.74 | 970.395 | 54.744 | 10.146
2020-04-18 20:30:00 | 2.852 | 21.02 | 3.781 | 36.97 | 4.621 | 325.6 | 4.642 | 24.55 | 14.57 | 970.395 | 56.4504 | 6.2258
2020-04-18 20:45:00 | 2.842 | 21.32 | 4.223 | 36.02 | 4.73 | 325.6 | 4.624 | 24.33 | 14.61 | 970.395 | 56.2114 | 3.1813
2020-04-18 21:00:00 | 2.965 | 53.45 | 4.369 | 61.02 | 4 | 325.6 | 3.583 | 64.39 | 14.58 | 970.395 | 55.2896 | 3.1037
2020-04-18 21:15:00 | 3.237 | 50.49 | 4.499 | 60.41 | 4.402 | 325.8 | 4.367 | 59.89 | 14.76 | 970.098 | 51.5353 | 1.7403
2020-04-18 21:30:00 | 1.439 | 38.27 | 2.855 | 52.13 | 3.517 | 325.3 | 3.399 | 45.71 | 14.77 | 970.395 | 50.1018 | 0.73527
2020-04-18 21:45:00 | 2.474 | 21.97 | 3.05 | 41.78 | 3.314 | 325.4 | 3.257 | 27.75 | 14.97 | 970.098 | 49.0785 | 1.2156
2020-04-18 22:00:00 | 1.803 | 10.01 | 2.17 | 5.819 | 2.296 | 325.3 | 1.798 | 12.08 | 14.99 | 970.247 | 59.4537 | 3.0409
2020-04-18 22:15:00 | 2.377 | 34.43 | 1.931 | 26.46 | 1.768 | 325.1 | 1.421 | 59 | 13.64 | 969.801 | 67.3037 | 1.6848
2020-04-18 22:30:00 | 3.912 | 344.8 | 4.906 | 356.9 | 4.056 | 325.3 | 3.69 | 345.8 | 13.27 | 969.504 | 69.5563 | 3.5692
2020-04-18 22:45:00 | 4.566 | 7.843 | 4.901 | 25.29 | 4.14 | 325.8 | 3.868 | 10.31 | 12.56 | 969.504 | 78.033 | 2.313
2020-04-18 23:00:00 | 1.237 | 12.68 | 2.569 | 35.24 | 2.787 | 325.4 | 2.618 | 8.11 | 11.73 | 969.801 | 84.4171 | -0.20322
2020-04-18 23:15:00 | 2.63 | 27.84 | 3.236 | 46.14 | 3.438 | 325.4 | 3.384 | 33.08 | 11.38 | 969.207 | 87.8648 | 0.18474
2020-04-18 23:30:00 | 2.258 | 23.68 | 4.361 | 44.86 | 4.565 | 325.4 | 4.487 | 29.11 | 10.86 | 969.253 | 93.6337 | 1.2636
2020-04-18 23:45:00 | 2.602 | 14.55 | 3.929 | 30.65 | 3.916 | 325.5 | 3.514 | 15.57 | 10.62 | 969.226 | 94.0092 | 1.7624