## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-19 00:00:00 | 2.155 | 26.37 | 3.451 | 43.49 | 3.723 | 325.4 | 3.669 | 25.9 | 10.41 | 968.965 | 94.8056 | 2.5384
2020-04-19 00:15:00 | 2.975 | 16.56 | 4.042 | 36.76 | 3.822 | 325.5 | 3.743 | 23.07 | 10.33 | 968.912 | 93.615 | 2.1652
2020-04-19 00:30:00 | 2.066 | 5.692 | 3.236 | 35.91 | 3.514 | 325.4 | 2.742 | 12.06 | 10.18 | 968.854 | 96.9958 | 1.6073
2020-04-19 00:45:00 | 2.538 | 9.56 | 3.64 | 36.15 | 2.955 | 325.4 | 2.646 | 11.51 | 9.98 | 968.571 | 95.4592 | 2.1726
2020-04-19 01:00:00 | 2.765 | 18.84 | 3.796 | 36.62 | 3.761 | 325.4 | 3.618 | 18.96 | 10.1 | 968.314 | 93.3774 | 1.4742
2020-04-19 01:15:00 | 2.229 | 7.193 | 3.162 | 32.9 | 3.392 | 325.4 | 2.913 | 7.239 | 10.19 | 968.018 | 94.0295 | 1.3043
2020-04-19 01:30:00 | 1.869 | 5.173 | 2.339 | 32.6 | 2.94 | 325.4 | 3.048 | 5.859 | 10.18 | 968.018 | 90.9574 | 0.77222
2020-04-19 01:45:00 | 2.482 | 356.9 | 2.472 | 31.4 | 3.726 | 325.4 | 3.784 | 2.907 | 10.31 | 968.018 | 92.2202 | 0.45816
2020-04-19 02:00:00 | 2.508 | 351.4 | 2.779 | 7.781 | 3.354 | 325.4 | 3.303 | 1.918 | 10.33 | 968.012 | 91.5728 | -0.077592
2020-04-19 02:15:00 | 1.591 | 338 | 1.95 | 346.1 | 1.963 | 325.1 | 1.864 | 1.853 | 10.12 | 968.018 | 97.8517 | -0.14779
2020-04-19 02:30:00 | 2.732 | 323.2 | 2.832 | 338.4 | 2.716 | 324.8 | 2.737 | 339 | 9.78 | 968.018 | 99.7656 | 0.76853
2020-04-19 02:45:00 | 2.679 | 296.8 | 3.328 | 334.4 | 3.344 | 312.3 | 3.333 | 298 | 9.58 | 967.721 | 99.9349 | 0.18474
2020-04-19 03:00:00 | 1.163 | 328.2 | 1.872 | 339.9 | 2.2 | 319.8 | 2.189 | 320.5 | 9.58 | 967.721 | 99.9399 | 0.77222
2020-04-19 03:15:00 | 1.793 | 325.9 | 2.883 | 341.5 | 2.889 | 321.3 | 2.882 | 323.8 | 9.65 | 967.572 | 99.9412 | 0.62443
2020-04-19 03:30:00 | 0.882 | 337.1 | 1.243 | 356 | 1.248 | 323.4 | 1.346 | 332 | 9.63 | 967.721 | 99.9736 | 0.38426
2020-04-19 03:45:00 | 0.676 | 353.5 | 1.232 | 1.93 | 1.959 | 324.9 | 2.014 | 332.6 | 9.65 | 967.572 | 99.9746 | 0.48772
2020-04-19 04:00:00 | 1.197 | 3.171 | 2.092 | 25.96 | 2.062 | 324.7 | 1.887 | 350.4 | 9.74 | 967.424 | 99.9788 | 0.92741
2020-04-19 04:15:00 | 1.844 | 351.3 | 2.405 | 20.53 | 2.586 | 325.7 | 2.569 | 345.8 | 9.68 | 967.424 | 99.9743 | 0.73158
2020-04-19 04:30:00 | 3.2 | 3.76 | 3.259 | 19.04 | 3.054 | 325.9 | 3.03 | 0.36 | 9.57 | 967.275 | 99.9405 | 1.2267
2020-04-19 04:45:00 | 3.708 | 3.285 | 3.645 | 16.81 | 3.576 | 326.2 | 3.3 | 3.107 | 9.42 | 967.127 | 99.9768 | 1.4668
2020-04-19 05:00:00 | 3.766 | 356 | 3.939 | 11.55 | 3.489 | 326.4 | 3.542 | 4.925 | 9.44 | 967.127 | 99.9813 | 0.91632
2020-04-19 05:15:00 | 3.299 | 2.939 | 3.392 | 20.29 | 3.057 | 326.4 | 2.775 | 5.232 | 9.44 | 966.978 | 99.9785 | -0.0073897
2020-04-19 05:30:00 | 2.554 | 20.48 | 3.418 | 40.59 | 3.532 | 326.3 | 3.522 | 19.07 | 9.48 | 966.83 | 99.9486 | -0.24386
2020-04-19 05:45:00 | 2.357 | 32.14 | 3.287 | 44.33 | 3.105 | 326.3 | 3.084 | 38.42 | 9.37 | 966.83 | 99.9806 | -0.31406
2020-04-19 06:00:00 | 1.637 | 33.88 | 2.467 | 40.52 | 2.268 | 326.3 | 2.294 | 37.9 | 9.31 | 967.127 | 99.9816 | -0.29928
2020-04-19 06:15:00 | 0.34 | 33.9 | 2.173 | 41.22 | 2.207 | 326.2 | 2.208 | 46.22 | 9.38 | 967.424 | 99.9827 | -0.26972
2020-04-19 06:30:00 | 1.136 | 46.21 | 1.516 | 40.97 | 1.426 | 326.1 | 1.466 | 44.4 | 9.38 | 967.275 | 99.9488 | -0.26972
2020-04-19 06:45:00 | 0 | 80.1 | 0.828 | 41.15 | 1.215 | 326.1 | 1.362 | 47.15 | 9.51 | 967.572 | 99.947 | -0.26972
2020-04-19 07:00:00 | 0.232 | 126.7 | 1.26 | 42.6 | 2.449 | 326 | 2.447 | 128.2 | 9.64 | 967.721 | 99.9829 | -0.25125
2020-04-19 07:15:00 | 0.56 | 133.2 | 1.574 | 42.79 | 1.841 | 325.8 | 1.871 | 127.9 | 9.75 | 968.018 | 99.9765 | -0.19583
2020-04-19 07:30:00 | 0.371 | 146.8 | 1.219 | 42.8 | 1.342 | 325.7 | 1.434 | 141 | 9.87 | 968.018 | 99.9711 | -0.17735
2020-04-19 07:45:00 | 0.862 | 171 | 1.119 | 42.77 | 0.595 | 302.4 | 0.589 | 151.9 | 9.92 | 968.018 | 99.9667 | -0.23278
2020-04-19 08:00:00 | 2.582 | 145.7 | 2.733 | 43.13 | 2.629 | 299.3 | 2.638 | 151.4 | 9.89 | 967.979 | 99.9323 | -0.26233
2020-04-19 08:15:00 | 3.238 | 147.1 | 3.244 | 165.8 | 2.983 | 295.3 | 2.938 | 148.9 | 9.85 | 967.988 | 99.9318 | -0.25125
2020-04-19 08:30:00 | 3.322 | 154.4 | 3.436 | 175.3 | 3.069 | 293.3 | 3.124 | 158.2 | 9.81 | 968.29 | 99.5239 | -0.20691
2020-04-19 08:45:00 | 3.22 | 153.8 | 3.157 | 168.8 | 2.734 | 293.2 | 2.707 | 155.8 | 9.94 | 968.436 | 99.282 | -0.22539
2020-04-19 09:00:00 | 2.579 | 159.9 | 2.554 | 173.9 | 2.408 | 293.2 | 2.421 | 158.9 | 10.05 | 968.373 | 99.3376 | -0.24755
2020-04-19 09:15:00 | 4.175 | 190.3 | 3.663 | 208.2 | 2.339 | 293 | 2.307 | 187.3 | 10.19 | 968.094 | 99.1296 | -0.048033
2020-04-19 09:30:00 | 3.738 | 168.5 | 3.535 | 181.8 | 2.858 | 293 | 2.824 | 175.4 | 9.97 | 968.426 | 99.5051 | 0.20322
2020-04-19 09:45:00 | 3.2 | 155.9 | 3.037 | 174.9 | 2.718 | 292.3 | 2.658 | 158 | 9.92 | 968.335 | 98.3103 | -0.018474
2020-04-19 10:00:00 | 3.069 | 152 | 2.707 | 173.6 | 2.434 | 292.2 | 2.314 | 157.5 | 10.03 | 968.474 | 98.1055 | -0.25125
2020-04-19 10:15:00 | 2.577 | 169.4 | 2.502 | 175.8 | 2.05 | 292.8 | 1.943 | 178.7 | 10.04 | 968.764 | 97.2521 | -0.25125
2020-04-19 10:30:00 | 2.75 | 187.2 | 2.6 | 177.3 | 2.304 | 293.1 | 2.307 | 190.2 | 10.5 | 968.911 | 92.1318 | -0.29928
2020-04-19 10:45:00 | 3.238 | 185.7 | 3.121 | 199 | 3.026 | 292.8 | 3.033 | 191.6 | 11.22 | 969.207 | 88.8889 | -0.24386
2020-04-19 11:00:00 | 3.496 | 197.4 | 3.272 | 200.7 | 3.153 | 292.7 | 3.101 | 204.3 | 11.73 | 969.356 | 87.4401 | -0.24386
2020-04-19 11:15:00 | 4.226 | 191.6 | 3.865 | 201.7 | 3.169 | 292 | 3.15 | 205.3 | 11.78 | 968.972 | 86.4029 | -0.26972
2020-04-19 11:30:00 | 3.297 | 197.5 | 2.744 | 207.5 | 2.322 | 292.6 | 2.116 | 202.3 | 11.93 | 968.479 | 82.9893 | -0.25125
2020-04-19 11:45:00 | 3.255 | 212.6 | 3.154 | 217.8 | 2.724 | 293.1 | 2.508 | 220.2 | 12.18 | 967.724 | 87.9031 | -0.2882
2020-04-19 12:00:00 | 3.251 | 195.5 | 2.963 | 201.2 | 2.673 | 292.7 | 2.467 | 208.8 | 11.8 | 967.491 | 87.1183 | -0.27342
2020-04-19 12:15:00 | 4.185 | 198.1 | 3.73 | 206.2 | 3.247 | 292.3 | 3.101 | 202.7 | 11.93 | 967.416 | 89.073 | -0.28081
2020-04-19 12:30:00 | 3.846 | 178.5 | 3.638 | 190.5 | 3.186 | 292.2 | 3.132 | 188 | 11.41 | 967.128 | 90.1024 | -0.33993
2020-04-19 12:45:00 | 3.164 | 158 | 3.044 | 171.9 | 2.581 | 292.4 | 2.388 | 166.9 | 11.51 | 967.425 | 87.7131 | -0.28081
2020-04-19 13:00:00 | 3.309 | 171.9 | 3.091 | 184.2 | 2.685 | 293.1 | 2.5 | 182.3 | 12.28 | 968.019 | 82.2853 | -0.28081
2020-04-19 13:15:00 | 3.125 | 184.7 | 2.791 | 202.9 | 2.482 | 293 | 2.269 | 188.6 | 13.43 | 968.287 | 71.2899 | -0.28081
2020-04-19 13:30:00 | 2.031 | 268.8 | 1.785 | 294.9 | 2.097 | 304.2 | 1.71 | 270 | 14.34 | 967.429 | 74.0488 | -0.28081
2020-04-19 13:45:00 | 3.754 | 188.8 | 3.489 | 195.9 | 3.097 | 292.6 | 2.933 | 198.3 | 13.82 | 967.427 | 70.902 | -0.31776
2020-04-19 14:00:00 | 3.618 | 225.5 | 3.374 | 239.9 | 3.123 | 292.1 | 3.05 | 227 | 13.18 | 967.13 | 71.7271 | -0.29928
2020-04-19 14:15:00 | 2.513 | 214.4 | 2.487 | 234.6 | 2.293 | 294.6 | 2.116 | 237.3 | 13.52 | 967.427 | 73.9123 | -0.29928
2020-04-19 14:30:00 | 3.95 | 182.5 | 3.246 | 189.2 | 3.105 | 289.9 | 3.04 | 200 | 13.91 | 967.427 | 73.2283 | -0.28081
2020-04-19 14:45:00 | 3.074 | 207.2 | 2.577 | 204.1 | 2.764 | 291.4 | 2.674 | 226.2 | 14.17 | 967.427 | 70.1058 | -0.29928
2020-04-19 15:00:00 | 3.868 | 214.3 | 3.84 | 222.1 | 3.161 | 290.1 | 3.109 | 220.3 | 13.97 | 966.833 | 71.3703 | -0.15888
2020-04-19 15:15:00 | 4.652 | 178 | 4.29 | 191.9 | 3.85 | 288.7 | 3.748 | 182.9 | 13.92 | 967.13 | 74.827 | 0.96805
2020-04-19 15:30:00 | 4.686 | 180.5 | 4.241 | 192.8 | 3.873 | 288.6 | 3.718 | 188 | 14.32 | 967.13 | 71.642 | 3.1665
2020-04-19 15:45:00 | 5.406 | 177.2 | 4.862 | 196 | 3.967 | 287.5 | 3.909 | 180.5 | 13.92 | 966.536 | 73.483 | 3.6542
2020-04-19 16:00:00 | 5.296 | 175.4 | 4.852 | 189.2 | 4.183 | 287.2 | 4.128 | 187.9 | 14.05 | 967.279 | 71.0242 | 2.845
2020-04-19 16:15:00 | 4.08 | 189.6 | 3.881 | 207.1 | 3.629 | 288.7 | 3.506 | 186.7 | 14.53 | 967.13 | 72.8649 | 1.7772
2020-04-19 16:30:00 | 4.461 | 177.3 | 4.325 | 194.8 | 3.886 | 288 | 3.774 | 178.6 | 14.57 | 967.13 | 73.0015 | 3.9424
2020-04-19 16:45:00 | 5.26 | 169 | 5.187 | 185.4 | 4.575 | 287.2 | 4.494 | 174.5 | 14.52 | 966.685 | 71.6357 | 10.7335
2020-04-19 17:00:00 | 6.894 | 179.4 | 6.355 | 197.8 | 6.015 | 279.9 | 6.002 | 176.7 | 14.42 | 966.388 | 72.1835 | 21.9585
2020-04-19 17:15:00 | 6.7 | 166.2 | 6.437 | 180.1 | 5.659 | 275.8 | 5.73 | 168.9 | 14.28 | 965.943 | 70.553 | 22.5866
2020-04-19 17:30:00 | 7.124 | 169.2 | 6.926 | 184 | 6.65 | 275.3 | 6.682 | 175 | 14.35 | 965.646 | 69.8159 | 26.7211
2020-04-19 17:45:00 | 9.5 | 176.9 | 9.21 | 193.4 | 8.31 | 271.1 | 8.4 | 181.6 | 14.31 | 965.052 | 72.6156 | 44.5546
2020-04-19 18:00:00 | 9.25 | 177.6 | 8.45 | 192.8 | 8.19 | 270.2 | 8.27 | 180 | 14.07 | 965.052 | 73.9805 | 43.1373
2020-04-19 18:15:00 | 9.09 | 175.5 | 8.6 | 190.5 | 8.3 | 270.2 | 8.42 | 179.8 | 13.98 | 965.286 | 75.2821 | 37.0519
2020-04-19 18:30:00 | 10.07 | 177.9 | 9.6 | 190.2 | 9.13 | 269.8 | 9.3 | 182.5 | 13.84 | 964.753 | 75.5616 | 32.5036
2020-04-19 18:45:00 | 10.09 | 176.1 | 10.1 | 188 | 9.91 | 269.1 | 10.03 | 181.6 | 13.75 | 964.753 | 75.9722 | 36.5383
2020-04-19 19:00:00 | 10.64 | 175.1 | 10.31 | 188.9 | 9.93 | 268.8 | 10.09 | 179.7 | 13.7 | 964.604 | 73.5802 | 48.479
2020-04-19 19:15:00 | 8.79 | 171.3 | 8.46 | 187.2 | 7.998 | 268 | 7.922 | 174.1 | 13.55 | 964.456 | 76.4146 | 45.0032
2020-04-19 19:30:00 | 7.696 | 167.6 | 7.565 | 181.7 | 6.897 | 268.2 | 7.018 | 172.4 | 13.38 | 964.456 | 81.1639 | 52.101
2020-04-19 19:45:00 | 8.08 | 168.3 | 7.779 | 182 | 7.085 | 268.1 | 7.158 | 174.5 | 13.07 | 964.456 | 77.4522 | 51.5135
2020-04-19 20:00:00 | 8.95 | 164.4 | 8.54 | 172.7 | 7.963 | 267.4 | 8.04 | 172.5 | 13.01 | 964.753 | 83.8368 | 58.131
2020-04-19 20:15:00 | 9.11 | 158.9 | 9.34 | 174.3 | 9.3 | 267.4 | 9.36 | 164.1 | 12.81 | 964.604 | 81.0377 | 60.056
2020-04-19 20:30:00 | 9.23 | 164.6 | 9.13 | 178.8 | 8.74 | 267.2 | 8.76 | 168.5 | 12.8 | 964.159 | 82.9493 | 63.8913
2020-04-19 20:45:00 | 8.32 | 163.2 | 8.46 | 176.7 | 8.29 | 266.8 | 8.46 | 171.8 | 12.83 | 964.753 | 81.4473 | 66.958
2020-04-19 21:00:00 | 9.26 | 155.6 | 9.65 | 171.7 | 9.98 | 266.3 | 9.88 | 163.4 | 12.76 | 964.753 | 81.3449 | 69.5739
2020-04-19 21:15:00 | 10.4 | 154.6 | 10.78 | 171.4 | 11.53 | 264.5 | 11.55 | 160.1 | 12.73 | 964.753 | 81.5156 | 75.7296
2020-04-19 21:30:00 | 11.27 | 154.6 | 11.47 | 169.1 | 11.97 | 262.4 | 11.98 | 161.6 | 12.72 | 964.456 | 80.2867 | 79.0069
2020-04-19 21:45:00 | 10.5 | 153.2 | 11.27 | 170.1 | 12.55 | 262.4 | 12.49 | 158.6 | 12.62 | 964.159 | 82.4031 | 82.2546
2020-04-19 22:00:00 | 10.32 | 158.2 | 10.91 | 173.4 | 11.12 | 262.2 | 11.15 | 164 | 12.85 | 964.159 | 80.3209 | 84.9112
2020-04-19 22:15:00 | 11.08 | 153 | 11.78 | 170 | 12.88 | 261.8 | 12.73 | 160.2 | 12.63 | 964.159 | 79.8771 | 81.2792
2020-04-19 22:30:00 | 11.37 | 152.1 | 12.04 | 168.3 | 12.89 | 261.5 | 12.87 | 159.7 | 12.48 | 964.159 | 81.5156 | 80.3075
2020-04-19 22:45:00 | 11.37 | 153.3 | 12.06 | 170.3 | 13.24 | 261.3 | 13.22 | 159.7 | 12.37 | 964.159 | 80.4233 | 82.4016
2020-04-19 23:00:00 | 10.87 | 157.1 | 10.63 | 176.1 | 11.52 | 261.4 | 11.51 | 159.1 | 12.49 | 964.307 | 81.5839 | 84.49
2020-04-19 23:15:00 | 11.2 | 155.1 | 11.47 | 173.7 | 12.29 | 261.2 | 12.27 | 158.7 | 12.41 | 964.01 | 82.0959 | 84.1095
2020-04-19 23:30:00 | 10.36 | 154.4 | 10.61 | 173.1 | 11.53 | 258.9 | 11.77 | 159.1 | 12.37 | 964.01 | 81.6522 | 83.7584
2020-04-19 23:45:00 | 10.2 | 158.5 | 10.54 | 177.5 | 11.38 | 259 | 11.51 | 161.1 | 12.53 | 964.159 | 80.9012 | 81.8926