## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-20 00:00:00 | 10.93 | 155.8 | 11.34 | 174.7 | 11.95 | 258.8 | 12.03 | 161.4 | 12.47 | 964.456 | 82.0618 | 80.9467
2020-04-20 00:15:00 | 10.83 | 157 | 11.34 | 173.7 | 12.21 | 258.8 | 12.22 | 162.9 | 12.42 | 964.159 | 82.3349 | 72.6296
2020-04-20 00:30:00 | 10 | 158.5 | 10.84 | 172.7 | 11.71 | 258.9 | 11.84 | 166.9 | 12.44 | 964.901 | 80.8329 | 55.4921
2020-04-20 00:45:00 | 9.34 | 158.2 | 9.95 | 173.9 | 10.36 | 259.1 | 10.43 | 164.5 | 12.63 | 964.901 | 81.4815 | 47.7394
2020-04-20 01:00:00 | 9.19 | 162.4 | 9.4 | 173.5 | 9.63 | 259.1 | 9.75 | 171.8 | 12.53 | 964.753 | 79.9454 | 36.5938
2020-04-20 01:15:00 | 8.33 | 177.4 | 8.4 | 185.5 | 7.078 | 259.3 | 7.087 | 186.3 | 13.18 | 965.495 | 78.4434 | 18.574
2020-04-20 01:30:00 | 6.343 | 184 | 6.386 | 193.8 | 5.867 | 259.6 | 6.048 | 192.9 | 13.15 | 965.941 | 78.5117 | 8.6016
2020-04-20 01:45:00 | 4.377 | 211.9 | 4.632 | 218.5 | 4.806 | 259.7 | 4.846 | 219 | 12.99 | 966.238 | 78.2386 | 5.4795
2020-04-20 02:00:00 | 4.382 | 232.2 | 5.008 | 235.9 | 5.631 | 259.8 | 5.775 | 240.4 | 13.18 | 966.534 | 75.5419 | 3.6468
2020-04-20 02:15:00 | 4.162 | 252.7 | 4.89 | 262.6 | 5.318 | 260 | 5.289 | 256.3 | 13.03 | 966.534 | 75.1664 | 5.4203
2020-04-20 02:30:00 | 4.264 | 282.6 | 5.348 | 294.1 | 6.76 | 268.6 | 6.898 | 285.2 | 12.87 | 966.683 | 78.5458 | 5.9339
2020-04-20 02:45:00 | 5.138 | 306.5 | 5.409 | 319 | 5.717 | 272.6 | 5.9 | 308.6 | 12.76 | 966.98 | 80.0819 | 15.4186
2020-04-20 03:00:00 | 4.254 | 335 | 4.717 | 352.1 | 4.344 | 273.6 | 4.357 | 329.6 | 12.35 | 966.98 | 82.4714 | 30.6155
2020-04-20 03:15:00 | 4.997 | 335.1 | 5.859 | 354.5 | 5.361 | 274.2 | 5.228 | 332.4 | 12.18 | 967.128 | 84.4854 | 37.5433
2020-04-20 03:30:00 | 5.344 | 341.1 | 6.447 | 0.051 | 8.21 | 274.7 | 8.53 | 340 | 11.84 | 967.425 | 85.4071 | 55.8735
2020-04-20 03:45:00 | 6.529 | 346.4 | 7.291 | 9.04 | 9 | 276 | 9.48 | 342.4 | 11.62 | 967.574 | 84.383 | 75.7517
2020-04-20 04:00:00 | 7.18 | 353.6 | 8.18 | 18.13 | 9.63 | 283.4 | 10.04 | 347.9 | 11.38 | 967.044 | 86.5677 | 71.0519
2020-04-20 04:15:00 | 7.982 | 358.4 | 8.46 | 21.79 | 10.25 | 294.4 | 10.78 | 355.5 | 10.8 | 967.204 | 91.8245 | 64.4418
2020-04-20 04:30:00 | 8.66 | 355.6 | 9.04 | 22.07 | 11.38 | 302.5 | 12.02 | 356.9 | 10.73 | 967.438 | 76.3612 | 67.1786
2020-04-20 04:45:00 | 10.18 | 2.967 | 9.45 | 20.98 | 10.85 | 314.6 | 11.53 | 2.758 | 11.05 | 967.144 | 65.8863 | 70.9041
2020-04-20 05:00:00 | 11.1 | 5.814 | 11.05 | 23.38 | 10.99 | 328.1 | 11.17 | 5.7 | 11.09 | 967.166 | 56.7381 | 68.7869
2020-04-20 05:15:00 | 9.85 | 1.211 | 9.59 | 20.81 | 11.86 | 8.49 | 12.75 | 2.172 | 10.93 | 967.181 | 53.7391 | 67.8506
2020-04-20 05:30:00 | 9.85 | 5.695 | 9.26 | 21.45 | 10.83 | 9.51 | 11.75 | 4.404 | 10.87 | 967.831 | 52.7818 | 67.8263
2020-04-20 05:45:00 | 9.96 | 0.313 | 9.2 | 17.51 | 11.22 | 9.98 | 12 | 0.629 | 10.7 | 967.871 | 48.5509 | 67.575
2020-04-20 06:00:00 | 9.39 | 1.966 | 8.6 | 17.76 | 10.16 | 12.64 | 10.78 | 0.994 | 10.53 | 968.183 | 48.2416 | 62.6498
2020-04-20 06:15:00 | 7.724 | 355.2 | 7.659 | 17.35 | 9.97 | 15.05 | 10.4 | 355.2 | 10.36 | 968.662 | 45.6142 | 52.8252
2020-04-20 06:30:00 | 7.54 | 353.4 | 7.557 | 21.05 | 9.53 | 15.28 | 9.77 | 350.8 | 10.33 | 969.06 | 44.2456 | 52.4262
2020-04-20 06:45:00 | 6.481 | 354.2 | 7.508 | 21.23 | 9 | 13.31 | 9.47 | 348 | 10.32 | 968.981 | 43.6263 | 55.7146
2020-04-20 07:00:00 | 7.28 | 0.289 | 8.11 | 28.76 | 8.92 | 15.5 | 9.35 | 355.6 | 10.41 | 969.109 | 44.1031 | 56.8858
2020-04-20 07:15:00 | 6.595 | 358.4 | 7.501 | 25.74 | 9.2 | 17.57 | 9.45 | 352.9 | 10.5 | 969.521 | 42.7718 | 61.0354
2020-04-20 07:30:00 | 7.936 | 360 | 8.6 | 21.06 | 9.8 | 15.7 | 10.01 | 357.4 | 10.59 | 969.504 | 39.802 | 57.9093
2020-04-20 07:45:00 | 8.88 | 359.1 | 9.94 | 24.34 | 10.41 | 11.21 | 11.14 | 353.8 | 10.58 | 969.504 | 39.6655 | 59.6672
2020-04-20 08:00:00 | 7.949 | 359.4 | 9.28 | 26.61 | 9.88 | 0.724 | 10.34 | 354.7 | 10.79 | 970.098 | 39.2559 | 60.6731
2020-04-20 08:15:00 | 8.61 | 5.763 | 10.21 | 28.98 | 9.38 | 3.482 | 9.74 | 357.7 | 10.88 | 970.544 | 38.4698 | 56.2413
2020-04-20 08:30:00 | 8.39 | 5.798 | 9.73 | 29.58 | 9.72 | 11.03 | 9.92 | 1.782 | 11.02 | 970.692 | 38.9087 | 59.0215
2020-04-20 08:45:00 | 7.323 | 7.282 | 9.2 | 33.1 | 8 | 8.25 | 8.31 | 354.1 | 11.3 | 971.138 | 36.9962 | 63.1929
2020-04-20 09:00:00 | 6.884 | 0.363 | 9.33 | 27.3 | 9.18 | 6.917 | 9.51 | 356.3 | 11.74 | 971.88 | 37.0647 | 61.4659
2020-04-20 09:15:00 | 7.803 | 3.228 | 8.75 | 29.46 | 9.02 | 9.76 | 9.18 | 359.2 | 12.04 | 972.177 | 34.9822 | 56.0914
2020-04-20 09:30:00 | 5.013 | 15.71 | 8.56 | 39.09 | 7.106 | 11.79 | 6.957 | 8.72 | 12.66 | 972.603 | 35.3866 | 64.4107
2020-04-20 09:45:00 | 6.046 | 8.34 | 7.7 | 31.9 | 8.08 | 14.84 | 8.22 | 356.7 | 12.51 | 972.771 | 34.6699 | 61.9499
2020-04-20 10:00:00 | 5.452 | 11.75 | 8.66 | 36.18 | 8.17 | 358 | 8.29 | 359.5 | 12.97 | 973.068 | 35.0793 | 59.5187
2020-04-20 10:15:00 | 6.94 | 11.19 | 9.15 | 34.57 | 8.35 | 1.828 | 8.44 | 0.153 | 12.87 | 973.216 | 31.1871 | 56.2746
2020-04-20 10:30:00 | 6.671 | 11.03 | 9.13 | 31.4 | 8.13 | 9.08 | 8.25 | 3.248 | 12.95 | 972.771 | 30.9135 | 53.3451
2020-04-20 10:45:00 | 6.669 | 11.02 | 7.833 | 36.62 | 8.06 | 25.13 | 8.04 | 4.517 | 12.95 | 973.068 | 30.0227 | 35.8485
2020-04-20 11:00:00 | 6.251 | 10.1 | 7.588 | 30.61 | 6.923 | 18.95 | 7.24 | 7.948 | 13.19 | 973.216 | 31.7256 | 31.3692
2020-04-20 11:15:00 | 3.684 | 20.2 | 7.703 | 32.26 | 7.52 | 9.01 | 7.061 | 19.16 | 14.46 | 973.068 | 30.8724 | 33.0947
2020-04-20 11:30:00 | 6.723 | 9.96 | 7.6 | 28.89 | 7.187 | 20.55 | 7.265 | 7.39 | 13.6 | 972.771 | 32.2361 | 26.0819
2020-04-20 11:45:00 | 3.968 | 25.22 | 6.432 | 45.74 | 6.083 | 13.43 | 5.798 | 21.07 | 13.85 | 972.919 | 27.7334 | 18.2784
2020-04-20 12:00:00 | 2.282 | 22.18 | 5.438 | 29.34 | 7.444 | 0.971 | 6.878 | 22.68 | 15.84 | 973.364 | 23.9127 | 24.0571
2020-04-20 12:15:00 | 4.376 | 12.62 | 6.685 | 21.73 | 6.78 | 357.6 | 6.28 | 13.35 | 14.89 | 972.96 | 23.6398 | 21.8144
2020-04-20 12:30:00 | 3.686 | 346.7 | 4.688 | 7.423 | 5.432 | 354.9 | 5.533 | 344.5 | 15.33 | 973.51 | 24.8337 | 24.0867
2020-04-20 12:45:00 | 4.14 | 355.5 | 4.623 | 354.4 | 4.562 | 348.9 | 4.612 | 356.4 | 15.72 | 973.364 | 22.48 | 24.8993
2020-04-20 13:00:00 | 2.749 | 6.291 | 3.946 | 18.7 | 4.961 | 356.3 | 4.73 | 13.04 | 15.24 | 973.364 | 24.322 | 19.4127
2020-04-20 13:15:00 | 4.222 | 15.83 | 5.478 | 30.1 | 5.117 | 358 | 4.851 | 6.286 | 15.64 | 973.513 | 21.8659 | 19.6972
2020-04-20 13:30:00 | 4.882 | 324.5 | 5.691 | 322 | 6.139 | 342 | 6.063 | 329 | 15.77 | 973.067 | 22.1388 | 26.5215
2020-04-20 13:45:00 | 3.317 | 8.51 | 5.044 | 24.13 | 5.22 | 0.024 | 5.439 | 359.8 | 15.79 | 973.364 | 22.9575 | 22.9049
2020-04-20 14:00:00 | 3.483 | 7.132 | 3.837 | 27.2 | 3.794 | 1.417 | 3.896 | 352 | 15.86 | 973.364 | 25.2431 | 28.0386
2020-04-20 14:15:00 | 3.652 | 24.8 | 4.87 | 24.08 | 5.951 | 356.7 | 5.893 | 15.47 | 15.79 | 973.364 | 23.7762 | 24.7887
2020-04-20 14:30:00 | 3.384 | 8.04 | 5.034 | 23.52 | 5.75 | 0.298 | 5.88 | 0.377 | 16 | 973.45 | 24.4244 | 25.1862
2020-04-20 14:45:00 | 5.337 | 343.3 | 5.56 | 349.2 | 4.763 | 347 | 4.645 | 343.9 | 16.66 | 973.217 | 22.3069 | 27.8591
2020-04-20 15:00:00 | 3.224 | 10.84 | 4.251 | 16.94 | 4.424 | 353.1 | 4.176 | 6.081 | 16.67 | 973.512 | 23.8745 | 17.399
2020-04-20 15:15:00 | 4.297 | 325.1 | 5.294 | 328.5 | 4.616 | 341 | 4.482 | 332.4 | 16.1 | 973.067 | 22.5095 | 14.4062
2020-04-20 15:30:00 | 4.497 | 320.8 | 5.016 | 323.6 | 4.826 | 339 | 4.841 | 322 | 16.39 | 973.216 | 25.375 | 15.2671
2020-04-20 15:45:00 | 3.803 | 323.9 | 4.118 | 319 | 4.003 | 340 | 4.077 | 338 | 16.63 | 973.512 | 25.1343 | 11.358
2020-04-20 16:00:00 | 3.055 | 343.3 | 3.129 | 358.9 | 3.099 | 344.5 | 3.24 | 330.3 | 16.3 | 973.661 | 24.348 | 7.7407
2020-04-20 16:15:00 | 3.593 | 337.4 | 3.325 | 334.7 | 3.42 | 338.7 | 3.483 | 349.8 | 16.79 | 973.691 | 24.8594 | 3.6394
2020-04-20 16:30:00 | 3.176 | 353.6 | 3.668 | 22.03 | 4.12 | 0.182 | 4.281 | 340 | 16.48 | 973.375 | 26.3598 | 5.3612
2020-04-20 16:45:00 | 3.486 | 1.689 | 3.976 | 22.57 | 3.957 | 1.524 | 3.96 | 352.9 | 16.17 | 973.067 | 26.5303 | 6.0004
2020-04-20 17:00:00 | 3.616 | 18.15 | 5.051 | 31.77 | 5.135 | 5.261 | 4.825 | 14.98 | 15.66 | 972.349 | 26.2916 | 7.1828
2020-04-20 17:15:00 | 4.438 | 11.41 | 5.895 | 27.78 | 4.827 | 0.339 | 4.619 | 10.38 | 15.45 | 972.468 | 25.5787 | 6.4882
2020-04-20 17:30:00 | 2.878 | 356.9 | 3.175 | 16.99 | 3.347 | 355.4 | 3.415 | 352.4 | 15.68 | 972.473 | 25.7844 | 2.9633
2020-04-20 17:45:00 | 3.317 | 6.099 | 3.717 | 21.21 | 4.158 | 6.892 | 4.296 | 355.4 | 15.57 | 972.473 | 26.0937 | 2.8302
2020-04-20 18:00:00 | 2.498 | 357.3 | 2.569 | 12.49 | 2.698 | 353.1 | 2.574 | 356.8 | 15.46 | 971.952 | 25.3795 | 2.228
2020-04-20 18:15:00 | 3.802 | 1.088 | 4.047 | 12.21 | 4.417 | 2.239 | 4.421 | 0.451 | 15.18 | 971.73 | 25.2433 | 1.5592
2020-04-20 18:30:00 | 3.165 | 8.59 | 3.76 | 19.56 | 3.492 | 359.2 | 3.277 | 9.84 | 15.01 | 971.583 | 25.4533 | 0.8609
2020-04-20 18:45:00 | 2.247 | 6.79 | 2.252 | 14.85 | 2.228 | 355.6 | 2.004 | 4.696 | 15.06 | 971.731 | 26.2071 | 0.34362
2020-04-20 19:00:00 | 1.682 | 1.341 | 1.891 | 15.59 | 2.182 | 356.5 | 2.009 | 1.926 | 15.04 | 972.082 | 25.4911 | -0.16627
2020-04-20 19:15:00 | 2.367 | 10.23 | 2.541 | 15.21 | 2.744 | 356.9 | 2.531 | 2.373 | 15.11 | 972.473 | 25.8019 | -0.32515
2020-04-20 19:30:00 | 1.406 | 48.19 | 2.495 | 15.13 | 2.268 | 357 | 2.177 | 7.365 | 14.98 | 972.474 | 27.2355 | -0.29928
2020-04-20 19:45:00 | 1.688 | 14.33 | 2.947 | 16.4 | 3.431 | 357 | 3.392 | 20.84 | 14.64 | 972.771 | 26.0065 | -0.28081
2020-04-20 20:00:00 | 1.44 | 6.625 | 2.589 | 16.01 | 2.362 | 356.9 | 2.304 | 10.9 | 14.97 | 973.068 | 25.5284 | -0.28081
2020-04-20 20:15:00 | 0.531 | 22.1 | 2.229 | 45.65 | 3.057 | 356.9 | 3.03 | 24.29 | 14.75 | 973.068 | 25.9381 | -0.022169
2020-04-20 20:30:00 | 0 | 2.457 | 1.641 | 44.89 | 2.105 | 356.9 | 1.904 | 7.066 | 14.76 | 973.068 | 24.3686 | -0.1404
2020-04-20 20:45:00 | 3.789 | 358.9 | 4.696 | 11.02 | 5.081 | 356.1 | 4.999 | 357.7 | 15.05 | 973.662 | 24.9145 | 2.834
2020-04-20 21:00:00 | 4.17 | 340.9 | 4.972 | 3.031 | 5.422 | 355.9 | 5.442 | 343.3 | 14.19 | 973.662 | 26.5518 | 6.5436
2020-04-20 21:15:00 | 4.343 | 345.8 | 5.184 | 0.964 | 5.389 | 353.7 | 5.383 | 352.9 | 13.79 | 973.513 | 28.8051 | 12.1413
2020-04-20 21:30:00 | 3.866 | 6.266 | 4.274 | 9.64 | 4.804 | 356.4 | 4.606 | 4.611 | 13.53 | 973.662 | 31.0599 | 9.3923
2020-04-20 21:45:00 | 3.325 | 11.6 | 4.811 | 22.77 | 5.183 | 359.9 | 4.655 | 15.85 | 13.3 | 973.662 | 31.7457 | 6.5066
2020-04-20 22:00:00 | 3.077 | 14.51 | 4.077 | 28.91 | 4.702 | 7.479 | 4.543 | 19.2 | 13.25 | 973.662 | 30.5854 | 6.2886
2020-04-20 22:15:00 | 2.865 | 11.3 | 4.075 | 27.21 | 4.827 | 6.944 | 4.438 | 16.76 | 13.35 | 973.662 | 30.3806 | 6.0669
2020-04-20 22:30:00 | 2.694 | 11.45 | 3.957 | 27.94 | 4.59 | 6.489 | 4.224 | 17.5 | 13.22 | 973.662 | 32.497 | 6.7985
2020-04-20 22:45:00 | 3.113 | 18.05 | 4.415 | 32.41 | 4.845 | 1.458 | 4.833 | 23.59 | 12.75 | 973.365 | 35.4668 | 10.6153
2020-04-20 23:00:00 | 4.213 | 20.56 | 5.772 | 34.97 | 6.172 | 0.433 | 6.173 | 27.08 | 12.49 | 973.365 | 32.7018 | 19.0285
2020-04-20 23:15:00 | 4.609 | 20.58 | 6.532 | 33.47 | 6.818 | 0.201 | 6.802 | 28.03 | 12.56 | 973.365 | 32.1898 | 21.9585
2020-04-20 23:30:00 | 4.246 | 23.83 | 6.43 | 35.39 | 6.625 | 1.337 | 6.646 | 30.63 | 12.26 | 973.068 | 32.2922 | 22.7824
2020-04-20 23:45:00 | 3.902 | 28.29 | 5.591 | 43.36 | 6.043 | 2.702 | 6.033 | 35.1 | 11.84 | 973.216 | 33.7942 | 18.8252