## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-21 00:00:00 | 4.154 | 37.11 | 5.294 | 44.8 | 5.305 | 2.687 | 5.302 | 44.34 | 11.45 | 972.919 | 34.4086 | 16.6711
2020-04-21 00:15:00 | 4.4 | 27.69 | 6.194 | 39.34 | 6.238 | 2.643 | 6.213 | 35.2 | 11.25 | 972.943 | 33.7259 | 12.2373
2020-04-21 00:30:00 | 4.206 | 28.74 | 6.685 | 43.04 | 6.65 | 4.043 | 6.606 | 34.07 | 11.09 | 972.799 | 32.5653 | 10.8887
2020-04-21 00:45:00 | 4.006 | 31.41 | 6.869 | 43.53 | 6.91 | 5.061 | 6.835 | 38.64 | 10.84 | 972.801 | 32.2244 | 10.3234
2020-04-21 01:00:00 | 3.498 | 27.19 | 6.141 | 38.2 | 6.249 | 3.134 | 6.188 | 35.48 | 10.59 | 972.862 | 29.7031 | 7.9144
2020-04-21 01:15:00 | 3.465 | 29.41 | 5.711 | 41.07 | 5.544 | 3.52 | 5.465 | 37.22 | 10.68 | 972.942 | 27.9962 | 7.8663
2020-04-21 01:30:00 | 4.129 | 30.26 | 5.831 | 42.44 | 6.05 | 4.419 | 6.117 | 38.96 | 10.59 | 973.034 | 26.0164 | 4.1973
2020-04-21 01:45:00 | 2.52 | 35.07 | 4.131 | 46.76 | 4.613 | 3.553 | 4.663 | 43.67 | 10.56 | 973.215 | 25.7426 | 1.7588
2020-04-21 02:00:00 | 0.693 | 32.44 | 2.146 | 46.66 | 2.571 | 3.189 | 2.513 | 41.27 | 10.45 | 973.068 | 24.7883 | 0.59857
2020-04-21 02:15:00 | 2.786 | 29.21 | 3.781 | 39.45 | 3.776 | 2.894 | 3.771 | 40.03 | 10.35 | 972.771 | 25.0631 | 0.89046
2020-04-21 02:30:00 | 3.197 | 35.22 | 4.722 | 44.93 | 4.931 | 3.82 | 4.955 | 46.61 | 10.3 | 972.771 | 26.0199 | 2.8118
2020-04-21 02:45:00 | 4.157 | 37.53 | 4.862 | 51.78 | 4.697 | 5.223 | 4.652 | 45.42 | 10.32 | 972.771 | 26.6348 | 2.2723
2020-04-21 03:00:00 | 3.35 | 41.71 | 4.658 | 52.75 | 5.002 | 4.56 | 4.971 | 49.52 | 10.15 | 972.771 | 28.2739 | 1.0346
2020-04-21 03:15:00 | 1.698 | 80.3 | 2.368 | 82.2 | 2.304 | 4.437 | 2.177 | 86 | 10.06 | 972.771 | 30.1178 | -0.0036948
2020-04-21 03:30:00 | 0.479 | 98.2 | 1.401 | 116.7 | 2.093 | 4.194 | 2.08 | 105 | 10.15 | 972.474 | 30.3227 | -0.24386
2020-04-21 03:45:00 | 2.27 | 82.5 | 2.278 | 84.8 | 1.193 | 4.286 | 0.882 | 102.9 | 10.28 | 972.659 | 31.0056 | -0.17735
2020-04-21 04:00:00 | 1.499 | 61.73 | 1.996 | 72.4 | 1.523 | 4.194 | 1.4 | 74.06 | 10.22 | 972.774 | 30.7325 | -0.2882
2020-04-21 04:15:00 | 2.776 | 9.55 | 2.947 | 24.21 | 2.337 | 3.905 | 2.34 | 16.97 | 9.76 | 972.815 | 32.1666 | -0.2882
2020-04-21 04:30:00 | 2.232 | 12.34 | 2.745 | 16.44 | 2.456 | 3.589 | 2.424 | 1.719 | 8.88 | 972.543 | 34.6935 | 1.7366
2020-04-21 04:45:00 | 3.212 | 14.1 | 3.97 | 26.34 | 3.558 | 3.274 | 3.361 | 20.15 | 8.44 | 972.688 | 37.6985 | 2.4682
2020-04-21 05:00:00 | 2.801 | 20.02 | 3.919 | 32.05 | 3.83 | 3.268 | 3.629 | 29.6 | 8.24 | 972.622 | 38.9961 | 1.9028
2020-04-21 05:15:00 | 2.638 | 30.11 | 4.328 | 39.36 | 3.527 | 3.325 | 3.445 | 41.05 | 8.29 | 972.474 | 38.04 | 1.5925
2020-04-21 05:30:00 | 2.615 | 42.38 | 4.374 | 56.13 | 4.771 | 3.547 | 4.764 | 48.39 | 8.36 | 972.474 | 38.9983 | 1.1713
2020-04-21 05:45:00 | 3.94 | 57.31 | 4.315 | 69.59 | 4.962 | 4.555 | 4.973 | 64.71 | 8.48 | 972.771 | 40.2314 | 0.77222
2020-04-21 06:00:00 | 3.876 | 51.56 | 4.908 | 66.13 | 4.578 | 4.798 | 4.466 | 58.47 | 8.58 | 973.068 | 40.4993 | 2.8044
2020-04-21 06:15:00 | 2.793 | 46.08 | 4.397 | 57.16 | 4.28 | 4.447 | 4.309 | 56.68 | 8.18 | 973.217 | 40.7034 | 4.0533
2020-04-21 06:30:00 | 1.782 | 73.59 | 3.313 | 84 | 2.568 | 4.363 | 2.533 | 74.47 | 8.96 | 973.41 | 37.4936 | 3.6801
2020-04-21 06:45:00 | 2.884 | 83 | 3.799 | 95.8 | 3.161 | 5.003 | 3.142 | 80.1 | 9.94 | 973.812 | 34.9642 | 3.3956
2020-04-21 07:00:00 | 3.243 | 98.4 | 4.545 | 114.7 | 4.275 | 5.441 | 4.265 | 98.9 | 10.28 | 973.68 | 37.2085 | 8.9452
2020-04-21 07:15:00 | 2.778 | 122.6 | 3.681 | 144.9 | 3.927 | 5.675 | 3.929 | 121.1 | 9.41 | 973.664 | 36.0471 | 15.8509
2020-04-21 07:30:00 | 2.819 | 117.1 | 3.402 | 144.8 | 3.509 | 5.721 | 3.723 | 114.4 | 9.91 | 974.107 | 36.2509 | 11.1769
2020-04-21 07:45:00 | 0.849 | 64.94 | 1.991 | 80.3 | 2.255 | 4.485 | 2.104 | 77.55 | 11.19 | 974.701 | 34.9488 | 5.376
2020-04-21 08:00:00 | 1.939 | 48.44 | 3.671 | 57.72 | 2.947 | 4.684 | 2.831 | 54.2 | 11.77 | 975.193 | 35.5572 | 1.9102
2020-04-21 08:15:00 | 1.593 | 89.9 | 1.902 | 108.8 | 1.766 | 4.669 | 1.646 | 100.2 | 11.72 | 975.591 | 34.3912 | 0.9311
2020-04-21 08:30:00 | 1.907 | 101.2 | 1.566 | 133.4 | 1.693 | 5.048 | 1.529 | 93.6 | 11.98 | 975.888 | 33.0208 | 0.38057
2020-04-21 08:45:00 | 0.982 | 65.39 | 1.691 | 78.47 | 1.5 | 3.93 | 1.358 | 68.4 | 13.43 | 976.066 | 29.7795 | -0.055423
2020-04-21 09:00:00 | 0.567 | 73.07 | 1.5 | 90.2 | 1.75 | 3.762 | 1.678 | 73.37 | 13.51 | 976.628 | 25.4093 | -0.24755
2020-04-21 09:15:00 | 1.915 | 290.8 | 2.071 | 296.9 | 1.846 | 354.9 | 1.511 | 301.5 | 13.1 | 976.375 | 37.6812 | -0.22539
2020-04-21 09:30:00 | 2.478 | 303.4 | 3.042 | 310.1 | 2.688 | 347.5 | 2.592 | 311.5 | 12.28 | 976.033 | 37.9881 | -0.31037
2020-04-21 09:45:00 | 3.109 | 292.6 | 3.287 | 296.7 | 3.036 | 346.6 | 2.993 | 298.3 | 12.54 | 976.049 | 40.5115 | -0.31776
2020-04-21 10:00:00 | 3.654 | 296.9 | 3.832 | 305 | 3.26 | 345.5 | 3.254 | 302.3 | 12.33 | 976.468 | 39.0133 | -0.17735
2020-04-21 10:15:00 | 3.525 | 298.9 | 4.062 | 304.1 | 3.436 | 345 | 3.257 | 309.9 | 12.7 | 976.776 | 35.8796 | -0.10346
2020-04-21 10:30:00 | 2.897 | 10.96 | 3.551 | 10.1 | 3.69 | 352.8 | 3.399 | 5.771 | 14.07 | 976.628 | 32.5372 | -0.21061
2020-04-21 10:45:00 | 3.469 | 302.7 | 3.893 | 311.3 | 3.476 | 343.4 | 3.45 | 311.1 | 13.23 | 976.628 | 32.7077 | -0.11824
2020-04-21 11:00:00 | 4.124 | 292.4 | 4.343 | 300 | 3.815 | 343.2 | 3.7 | 295.9 | 13.53 | 976.48 | 33.4919 | -0.096066
2020-04-21 11:15:00 | 2.386 | 299.2 | 2.721 | 309.8 | 2.662 | 343.1 | 2.722 | 286.2 | 13.38 | 976.331 | 33.9018 | -0.066507
2020-04-21 11:30:00 | 3.277 | 301.1 | 3.699 | 307.6 | 3.064 | 343 | 2.954 | 300.8 | 13.63 | 975.738 | 32.4006 | -0.25494
2020-04-21 11:45:00 | 3.099 | 288.1 | 3.689 | 297.8 | 2.776 | 343.1 | 2.527 | 288.7 | 14 | 975.886 | 32.9464 | -0.070202
2020-04-21 12:00:00 | 3.336 | 283.5 | 3.592 | 293.1 | 3.412 | 342.8 | 3.392 | 280.9 | 13.58 | 975.441 | 31.719 | -0.1404
2020-04-21 12:15:00 | 3.57 | 267.7 | 4.093 | 280.4 | 4.056 | 342.7 | 3.947 | 269.2 | 13.69 | 975.441 | 33.0153 | 0.040643
2020-04-21 12:30:00 | 2.961 | 309.5 | 3.707 | 324.3 | 3.743 | 343.5 | 3.753 | 310.6 | 14.46 | 975.441 | 32.7817 | 1.3264
2020-04-21 12:45:00 | 5.676 | 300.6 | 6.1 | 313.3 | 5.89 | 341.9 | 5.775 | 301.1 | 13.78 | 975.682 | 34.7262 | 2.2465
2020-04-21 13:00:00 | 4.777 | 304.1 | 5.343 | 319.8 | 5.31 | 342.4 | 5.197 | 303.8 | 14.25 | 975.145 | 33.0547 | 4.5336
2020-04-21 13:15:00 | 3.924 | 296 | 4.604 | 308.3 | 4.15 | 342.5 | 4.146 | 298 | 14.59 | 975.442 | 33.0206 | 1.8179
2020-04-21 13:30:00 | 3.666 | 323.1 | 4.305 | 331.1 | 4.25 | 343.2 | 4.212 | 331 | 15 | 975.442 | 33.0889 | 2.9633
2020-04-21 13:45:00 | 2.496 | 337.3 | 2.867 | 346 | 2.71 | 352.8 | 2.61 | 346.3 | 14.66 | 975.145 | 32.0655 | 2.2539
2020-04-21 14:00:00 | 1.518 | 24.38 | 3.006 | 31.02 | 3.243 | 356.4 | 3.193 | 24.67 | 15.24 | 975.887 | 29.9505 | 2.6012
2020-04-21 14:15:00 | 3.409 | 329.1 | 3.571 | 335.9 | 3.825 | 347.2 | 3.853 | 333 | 15.3 | 975.514 | 29.0295 | 2.2723
2020-04-21 14:30:00 | 1.509 | 239.1 | 1.963 | 237.1 | 1.386 | 342.1 | 1.242 | 287.2 | 14.51 | 975.264 | 30.1211 | 1.5925
2020-04-21 14:45:00 | 2.845 | 357.6 | 3.181 | 353.5 | 3.1 | 350.2 | 2.908 | 357.1 | 15.43 | 975.312 | 32.0996 | 3.2404
2020-04-21 15:00:00 | 2.635 | 344 | 3.246 | 341.3 | 3.418 | 345.7 | 3.321 | 351.2 | 15.19 | 974.996 | 29.7088 | 5.1506
2020-04-21 15:15:00 | 2.16 | 14.92 | 2.627 | 28.97 | 2.84 | 351.8 | 2.832 | 356.4 | 14.5 | 974.996 | 28.8888 | 5.4388
2020-04-21 15:30:00 | 2.871 | 23.05 | 3.286 | 14 | 4.489 | 345.5 | 4.288 | 11.58 | 15.13 | 974.551 | 27.9673 | 7.3675
2020-04-21 15:45:00 | 3.47 | 14.99 | 5.067 | 33.71 | 4.038 | 354.7 | 3.804 | 11.42 | 14.32 | 974.848 | 27.3193 | 8.3356
2020-04-21 16:00:00 | 3.966 | 13.7 | 4.957 | 27.9 | 4.911 | 355.6 | 4.833 | 1.639 | 13.99 | 974.254 | 26.6729 | 11.539
2020-04-21 16:15:00 | 2.595 | 4.276 | 3.964 | 28.7 | 4.3 | 354.9 | 4.273 | 350.9 | 14.08 | 974.254 | 27.699 | 14.2917
2020-04-21 16:30:00 | 5.012 | 12.01 | 6.358 | 30.99 | 5.503 | 0.23 | 5.48 | 5.647 | 13.91 | 974.2 | 29.2001 | 17.4286
2020-04-21 16:45:00 | 4.984 | 11.79 | 6.417 | 32.23 | 5.516 | 1.434 | 5.462 | 7.026 | 13.35 | 974.25 | 28.2108 | 27.1608
2020-04-21 17:00:00 | 5.076 | 359.2 | 5.65 | 23.69 | 6.455 | 0.134 | 6.672 | 356.4 | 13.24 | 974.106 | 29.8141 | 35.0197
2020-04-21 17:15:00 | 6.215 | 6.674 | 6.833 | 22.01 | 7.492 | 359.8 | 7.652 | 354.7 | 12.83 | 973.809 | 29.5417 | 32.8989
2020-04-21 17:30:00 | 5.518 | 357.5 | 6.238 | 20.34 | 6.221 | 356.5 | 6.57 | 350.5 | 12.65 | 973.809 | 30.3683 | 30.6118
2020-04-21 17:45:00 | 5.505 | 2.329 | 6.1 | 23.4 | 6.851 | 0.078 | 7.069 | 353 | 12.55 | 973.958 | 30.3702 | 26.8135
2020-04-21 18:00:00 | 5.727 | 9.22 | 5.68 | 22.18 | 5.971 | 0.343 | 6.058 | 5.43 | 12.42 | 973.579 | 31.3257 | 26.5279
2020-04-21 18:15:00 | 5.947 | 9.89 | 6.184 | 25.37 | 6.442 | 0.471 | 6.672 | 6.322 | 12.22 | 973.502 | 32.2861 | 25.2099
2020-04-21 18:30:00 | 6.35 | 9.63 | 6.118 | 24.43 | 5.643 | 2.099 | 5.531 | 8.56 | 12.03 | 973.513 | 33.2409 | 21.6038
2020-04-21 18:45:00 | 6.11 | 9.5 | 6.708 | 25.33 | 5.659 | 2.626 | 5.233 | 11.84 | 11.88 | 973.662 | 32.633 | 18.2119
2020-04-21 19:00:00 | 4.078 | 9.04 | 5.443 | 27.06 | 4.845 | 3.164 | 4.749 | 11.29 | 11.58 | 973.662 | 33.7259 | 15.6181
2020-04-21 19:15:00 | 3.217 | 10.13 | 4.663 | 30.03 | 4.745 | 3.246 | 4.385 | 11.23 | 11.29 | 973.81 | 33.3504 | 14.4468
2020-04-21 19:30:00 | 4.568 | 6.903 | 5.872 | 25.69 | 4.84 | 3.146 | 4.838 | 9.2 | 11.37 | 974.028 | 32.7701 | 17.7426
2020-04-21 19:45:00 | 4.875 | 11.84 | 5.847 | 28.77 | 5.628 | 3.675 | 5.228 | 14.6 | 11.48 | 974.361 | 33.248 | 16.2425
2020-04-21 20:00:00 | 4.351 | 14.89 | 6.054 | 30.7 | 6.167 | 4.196 | 5.666 | 19.44 | 11.27 | 974.277 | 34.1359 | 12.2299
2020-04-21 20:15:00 | 3.48 | 18.98 | 5.399 | 37.09 | 5.893 | 4.098 | 5.64 | 21.27 | 11.06 | 974.612 | 34.204 | 11.7903
2020-04-21 20:30:00 | 4.147 | 16.44 | 5.593 | 32.47 | 5.135 | 4.386 | 5.088 | 21.27 | 11.14 | 974.33 | 33.5955 | 10.571
2020-04-21 20:45:00 | 3.572 | 17.69 | 4.89 | 30.6 | 4.939 | 4.284 | 4.78 | 24.06 | 11.18 | 975.037 | 32.4345 | 10.1793
2020-04-21 21:00:00 | 3.511 | 15.27 | 4.908 | 32.26 | 5.699 | 4.101 | 5.442 | 19.01 | 11.06 | 974.99 | 33.1857 | 9.2519
2020-04-21 21:15:00 | 3.312 | 15.81 | 4.706 | 33.73 | 5.025 | 4.018 | 4.601 | 18.28 | 11.24 | 975.048 | 30.8636 | 9.4477
2020-04-21 21:30:00 | 3.828 | 15.35 | 4.568 | 32.51 | 4.649 | 3.905 | 4.543 | 17.82 | 11.43 | 975.287 | 29.4986 | 8.5757
2020-04-21 21:45:00 | 3.514 | 14.47 | 4.602 | 30.8 | 5.074 | 3.779 | 4.614 | 15.59 | 11.4 | 975.136 | 29.7709 | 9.4736
2020-04-21 22:00:00 | 3.618 | 13.56 | 5.087 | 31.95 | 5.241 | 4.058 | 4.563 | 14.61 | 11.25 | 975.021 | 29.4986 | 10.7261
2020-04-21 22:15:00 | 3.302 | 12.74 | 4.648 | 30.68 | 5.185 | 4.264 | 4.517 | 14.36 | 11.14 | 975.227 | 29.6357 | 10.4638
2020-04-21 22:30:00 | 3.999 | 17.12 | 5.363 | 34.05 | 5.72 | 4.13 | 5.589 | 19.64 | 11.13 | 974.806 | 29.0205 | 11.0771
2020-04-21 22:45:00 | 4.024 | 19.62 | 5.578 | 36.84 | 5.948 | 4.447 | 5.745 | 21.01 | 11.01 | 974.431 | 29.1568 | 11.5242
2020-04-21 23:00:00 | 3.968 | 17.2 | 6.038 | 32.95 | 6.455 | 4.432 | 6.129 | 19.99 | 10.87 | 974.489 | 29.0888 | 14.8348
2020-04-21 23:15:00 | 4.79 | 15.17 | 5.959 | 27.79 | 6.035 | 3.807 | 5.809 | 22.34 | 10.89 | 974.546 | 28.5428 | 15.6957
2020-04-21 23:30:00 | 4.65 | 22.18 | 6.619 | 36.34 | 6.973 | 4.91 | 7.005 | 27.78 | 10.81 | 974.507 | 28.5422 | 15.6292
2020-04-21 23:45:00 | 3.953 | 20.72 | 6.55 | 35.37 | 6.772 | 4.764 | 6.629 | 24.76 | 10.67 | 974.548 | 28.201 | 14.4727