## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-22 00:00:00 | 4.389 | 19.62 | 6.345 | 33.39 | 6.617 | 3.267 | 6.476 | 23.39 | 10.6 | 974.541 | 28.8156 | 13.7522
2020-04-22 00:15:00 | 4.269 | 22.35 | 6.192 | 37.39 | 6.79 | 4.208 | 6.85 | 30.16 | 10.39 | 974.553 | 29.5672 | 13.9813
2020-04-22 00:30:00 | 3.381 | 22.22 | 5.386 | 35.72 | 5.788 | 4.488 | 5.793 | 28.39 | 10.28 | 974.404 | 30.3194 | 11.3321
2020-04-22 00:45:00 | 4.31 | 19.09 | 6.133 | 32.49 | 6.388 | 5.155 | 6.272 | 25.47 | 9.88 | 974.553 | 31.072 | 12.8876
2020-04-22 01:00:00 | 4.53 | 19.33 | 6.309 | 33.48 | 6.711 | 6.175 | 6.606 | 24.69 | 9.82 | 974.553 | 31.4836 | 10.6596
2020-04-22 01:15:00 | 4.149 | 19.25 | 6.499 | 33.66 | 7.246 | 6.493 | 7.128 | 23.87 | 9.7 | 974.553 | 31.4837 | 9.9724
2020-04-22 01:30:00 | 4.537 | 18.3 | 7.171 | 31.72 | 7.48 | 6.432 | 7.232 | 22.51 | 9.52 | 974.553 | 33.1228 | 11.5464
2020-04-22 01:45:00 | 4.716 | 14.84 | 7.877 | 32.27 | 7.729 | 7.929 | 7.059 | 18.35 | 9.14 | 974.553 | 35.5814 | 12.2964
2020-04-22 02:00:00 | 4.91 | 12.92 | 7.301 | 27.66 | 7.302 | 5.092 | 6.779 | 20.47 | 8.63 | 974.702 | 39.3375 | 21.068
2020-04-22 02:15:00 | 4.078 | 22.69 | 7.498 | 35.45 | 7.94 | 3.551 | 7.881 | 28.99 | 8.05 | 974.615 | 41.1815 | 26.0265
2020-04-22 02:30:00 | 4.586 | 20.34 | 8.54 | 36.01 | 8.46 | 9.09 | 8.08 | 23.93 | 8.14 | 974.769 | 33.6691 | 26.3775
2020-04-22 02:45:00 | 4.3 | 21.51 | 8.06 | 34.23 | 7.94 | 6.055 | 7.558 | 27.2 | 7.906 | 974.849 | 30.5276 | 25.2506
2020-04-22 03:00:00 | 4.714 | 21.33 | 8.28 | 33.96 | 7.95 | 12.48 | 7.708 | 28.04 | 7.67 | 974.852 | 30.2218 | 23.1667
2020-04-22 03:15:00 | 4.486 | 20.42 | 8.24 | 36.5 | 8.26 | 10.16 | 8.03 | 24.74 | 7.424 | 975.149 | 32.0356 | 24.2456
2020-04-22 03:30:00 | 5.296 | 19.63 | 9.85 | 34.98 | 9.88 | 8.56 | 9.51 | 24.17 | 7.112 | 975.149 | 33.2696 | 25.4168
2020-04-22 03:45:00 | 4.264 | 23.41 | 8.79 | 39.78 | 9.42 | 6.917 | 9.25 | 28.83 | 6.841 | 975.446 | 32.9974 | 30.0687
2020-04-22 04:00:00 | 6.409 | 15.23 | 10.44 | 31.36 | 10.47 | 8.32 | 9.66 | 19.5 | 6.405 | 975.149 | 32.4509 | 41.0091
2020-04-22 04:15:00 | 6.304 | 18.91 | 10.58 | 33.56 | 9.97 | 22.03 | 9.56 | 23.98 | 6.385 | 975.149 | 28.6251 | 43.4024
2020-04-22 04:30:00 | 6.187 | 23.15 | 11.66 | 40.63 | 11.47 | 26.5 | 11.15 | 27.27 | 6.271 | 974.852 | 25.7558 | 48.6759
2020-04-22 04:45:00 | 6.861 | 21.61 | 12.57 | 35.26 | 12.59 | 0.162 | 12.22 | 24.57 | 6.157 | 974.554 | 22.9547 | 56.3899
2020-04-22 05:00:00 | 7.303 | 22.02 | 10.9 | 30.98 | 10.44 | 325.7 | 10.03 | 20.45 | 6.034 | 975.149 | 21.1102 | 45.2545
2020-04-22 05:15:00 | 7.03 | 27.88 | 10.11 | 30.38 | 9.69 | 328.7 | 9.1 | 18.49 | 5.857 | 975.149 | 21.93 | 41.2123
2020-04-22 05:30:00 | 7.075 | 32.91 | 10.82 | 34.96 | 10.45 | 335.5 | 10.02 | 20.64 | 5.83 | 975.149 | 21.0418 | 41.4044
2020-04-22 05:45:00 | 6.241 | 36.98 | 10.5 | 33.68 | 10.58 | 342.4 | 10.09 | 22.49 | 5.752 | 975.149 | 21.281 | 33.8817
2020-04-22 06:00:00 | 5.717 | 33.26 | 9.55 | 34.44 | 9.17 | 349.9 | 8.79 | 24.69 | 5.893 | 975.304 | 21.1785 | 28.3321
2020-04-22 06:15:00 | 5.646 | 34.76 | 9.49 | 40.14 | 9.33 | 354.3 | 9.12 | 27.46 | 6.077 | 975.595 | 19.4705 | 21.3784
2020-04-22 06:30:00 | 5.408 | 29.12 | 8.1 | 32.63 | 7.869 | 355.8 | 7.561 | 21.92 | 6.227 | 976.041 | 19.0606 | 17.1958
2020-04-22 06:45:00 | 4.573 | 30.22 | 7.391 | 33.54 | 7.246 | 358.6 | 7.135 | 25.4 | 6.391 | 976.041 | 19.4022 | 12.6881
2020-04-22 07:00:00 | 4.821 | 16.79 | 7.189 | 35.56 | 6.683 | 4.407 | 6.346 | 19.25 | 6.536 | 976.635 | 18.1013 | 10.3825
2020-04-22 07:15:00 | 5.224 | 16.07 | 7.455 | 32.73 | 6.582 | 356.7 | 6.313 | 14.74 | 6.84 | 976.635 | 16.1516 | 11.8715
2020-04-22 07:30:00 | 4.777 | 16.18 | 6.427 | 34.77 | 5.839 | 1.387 | 5.658 | 11.27 | 7.15 | 976.944 | 16.1175 | 17.351
2020-04-22 07:45:00 | 5.469 | 17.16 | 7.225 | 35.68 | 6.045 | 359.5 | 5.997 | 8.63 | 7.318 | 977.079 | 16.3218 | 24.2382
2020-04-22 08:00:00 | 6.225 | 21.41 | 7.519 | 31.35 | 7.228 | 0.365 | 7.331 | 9.49 | 7.503 | 977.024 | 15.1588 | 29.7915
2020-04-22 08:15:00 | 5.819 | 20.98 | 8.57 | 33.71 | 6.75 | 354.8 | 6.379 | 14.34 | 7.761 | 977.137 | 14.4743 | 34.4418
2020-04-22 08:30:00 | 4.959 | 7.966 | 7.846 | 35.16 | 6.289 | 359.3 | 6.374 | 355.1 | 8.05 | 977.451 | 13.9956 | 43.1262
2020-04-22 08:45:00 | 6.044 | 13.42 | 8.84 | 30.58 | 7.617 | 354.6 | 7.41 | 2.534 | 8.33 | 977.243 | 13.9956 | 47.2888
2020-04-22 09:00:00 | 5.096 | 12.71 | 8.02 | 29.08 | 7.912 | 353.9 | 7.741 | 1.228 | 8.51 | 977.523 | 15.9754 | 46.437
2020-04-22 09:15:00 | 5.027 | 27.18 | 6.284 | 31.52 | 6.447 | 301.8 | 6.021 | 8.7 | 9.64 | 978.116 | 13.859 | 51.778
2020-04-22 09:30:00 | 4.12 | 17.71 | 6.148 | 10 | 7.513 | 125.4 | 6.883 | 18.39 | 9.96 | 978.71 | 14.3005 | 50.6896
2020-04-22 09:45:00 | 5.229 | 346.3 | 5.121 | 9.99 | 5.811 | 102.7 | 5.977 | 336.3 | 9.94 | 979.007 | 13.8222 | 55.0533
2020-04-22 10:00:00 | 4.86 | 1.15 | 4.575 | 19.13 | 5.086 | 100.6 | 4.904 | 350.2 | 10.01 | 978.459 | 15.2193 | 44.7757
2020-04-22 10:15:00 | 4.884 | 339.5 | 5.095 | 353.1 | 5.03 | 92.2 | 5.045 | 338.6 | 10.02 | 978.708 | 15.9359 | 39.6331
2020-04-22 10:30:00 | 6.647 | 326.8 | 7.124 | 332.3 | 6.595 | 59.88 | 6.625 | 328.9 | 10.09 | 978.708 | 15.97 | 39.8304
2020-04-22 10:45:00 | 5.62 | 339.7 | 6.409 | 354.1 | 6.554 | 60.8 | 6.654 | 338.9 | 10.01 | 978.411 | 16.3795 | 39.0545
2020-04-22 11:00:00 | 8.52 | 299.7 | 9.7 | 312.1 | 9.28 | 57.38 | 9.38 | 300.8 | 9.3 | 978.114 | 15.0145 | 32.8324
2020-04-22 11:15:00 | 4.56 | 347.6 | 5.271 | 357.6 | 5.33 | 59.84 | 5.376 | 341.2 | 10.75 | 978.119 | 14.9463 | 31.1069
2020-04-22 11:30:00 | 7.584 | 312.2 | 7.887 | 320.8 | 6.966 | 57.58 | 6.916 | 318.8 | 10.32 | 977.829 | 15.9359 | 36.3069
2020-04-22 11:45:00 | 5.952 | 325.8 | 5.697 | 324.4 | 4.598 | 58.2 | 4.624 | 328.4 | 10.89 | 977.966 | 15.4922 | 37.85
2020-04-22 12:00:00 | 6.516 | 311.7 | 7.051 | 320.7 | 7.09 | 56.26 | 7.291 | 315.9 | 10.12 | 977.521 | 16.3795 | 40.4721
2020-04-22 12:15:00 | 9.06 | 307.7 | 10.07 | 317.3 | 9.14 | 53.72 | 9.21 | 312.7 | 10.3 | 977.482 | 15.3899 | 42.0132
2020-04-22 12:30:00 | 5.288 | 315.7 | 5.757 | 323.9 | 5.369 | 54.85 | 5.286 | 315.2 | 10.8 | 977.371 | 16.7573 | 34.2985
2020-04-22 12:45:00 | 6.197 | 318.7 | 6.463 | 329.2 | 6.2 | 53.34 | 6.16 | 322.7 | 10.04 | 977.077 | 17.5765 | 39.6629
2020-04-22 13:00:00 | 6.123 | 300.8 | 7.539 | 313.6 | 7.452 | 52.74 | 7.548 | 301.9 | 10.53 | 976.928 | 16.86 | 46.7915
2020-04-22 13:15:00 | 7.811 | 309.8 | 8.3 | 324.3 | 8.43 | 51.62 | 8.56 | 311.9 | 10.95 | 977.374 | 16.8957 | 36.6014
2020-04-22 13:30:00 | 5.625 | 323.9 | 5.839 | 333.6 | 6.282 | 52.07 | 6.392 | 322.7 | 11.5 | 976.631 | 17.3406 | 41.2232
2020-04-22 13:45:00 | 8.92 | 293.7 | 10.49 | 306.9 | 10.35 | 48.87 | 10.44 | 295.3 | 11.49 | 976.631 | 15.7015 | 58.8685
2020-04-22 14:00:00 | 5.842 | 340.3 | 5.443 | 0.193 | 6.043 | 50.68 | 6.015 | 333.8 | 12.32 | 977.225 | 15.3255 | 56.6635
2020-04-22 14:15:00 | 6.036 | 340.8 | 6.258 | 352.8 | 6.439 | 50.44 | 6.547 | 338.5 | 12.18 | 977.225 | 15.9384 | 44.8847
2020-04-22 14:30:00 | 7.668 | 295.1 | 8.55 | 307.5 | 8.58 | 47.48 | 8.74 | 296.8 | 11.42 | 977.225 | 16.2116 | 48.4788
2020-04-22 14:45:00 | 6.103 | 306.2 | 6.749 | 318.2 | 6.183 | 47.56 | 6.246 | 307.7 | 11.61 | 977.044 | 17.506 | 41.4266
2020-04-22 15:00:00 | 5.713 | 318.7 | 7.112 | 336.4 | 7.52 | 50.51 | 7.701 | 317.1 | 12.34 | 976.64 | 16.2771 | 39.0643
2020-04-22 15:15:00 | 3.445 | 5.751 | 5.057 | 19.8 | 5.013 | 52.33 | 4.955 | 357.4 | 12.44 | 977.075 | 17.1302 | 34.3214
2020-04-22 15:30:00 | 6.94 | 311.8 | 8.08 | 325.3 | 7.365 | 48.77 | 7.471 | 313.8 | 12.15 | 976.927 | 16.5139 | 29.9119
2020-04-22 15:45:00 | 3.481 | 345.1 | 3.924 | 0.681 | 4.725 | 50.52 | 4.693 | 338.4 | 12.43 | 976.63 | 16.9905 | 29.6955
2020-04-22 16:00:00 | 5.393 | 324 | 5.803 | 329.4 | 5.582 | 48.49 | 5.584 | 321.1 | 12.43 | 976.63 | 14.9081 | 22.0508
2020-04-22 16:15:00 | 3.358 | 337.4 | 4.058 | 351.7 | 4.211 | 49.01 | 4.249 | 338.8 | 12.19 | 976.63 | 17.1251 | 16.3555
2020-04-22 16:30:00 | 3.082 | 351 | 3.005 | 351.2 | 3.605 | 48.66 | 3.569 | 359 | 12.74 | 976.63 | 16.7842 | 13.0539
2020-04-22 16:45:00 | 3.331 | 5.152 | 5.133 | 35.51 | 4.456 | 49.39 | 4.421 | 357.2 | 11.88 | 976.927 | 17.3638 | 6.211
2020-04-22 17:00:00 | 2.787 | 331.4 | 3.28 | 347.8 | 3.244 | 49.15 | 3.307 | 329.1 | 12.18 | 976.927 | 18.0795 | 2.6086
2020-04-22 17:15:00 | 1.241 | 17.99 | 2.234 | 19.18 | 3.174 | 49.47 | 2.879 | 15.8 | 11.98 | 976.778 | 19.2393 | 1.1195
2020-04-22 17:30:00 | 0.674 | 7.924 | 1.903 | 19.53 | 1.614 | 49.38 | 1.366 | 351.5 | 11.94 | 976.927 | 19.1029 | 0.1441
2020-04-22 17:45:00 | 1.393 | 8.37 | 2.912 | 26.96 | 2.25 | 49.56 | 2.087 | 2.891 | 11.74 | 976.927 | 19.444 | -0.36579
2020-04-22 18:00:00 | 0.248 | 340 | 1.329 | 19.03 | 1.643 | 49.61 | 1.559 | 332.7 | 11.4 | 976.481 | 19.3761 | -0.29189
2020-04-22 18:15:00 | 1.823 | 12.99 | 1.833 | 8.24 | 1.542 | 49.5 | 1.344 | 337.3 | 11.32 | 975.888 | 18.4934 | -0.28081
2020-04-22 18:30:00 | 2.135 | 349.6 | 2.127 | 3.768 | 1.963 | 49.37 | 1.813 | 345.6 | 11.18 | 975.165 | 18.5634 | -0.26233
2020-04-22 18:45:00 | 1.252 | 5.936 | 1.462 | 4.386 | 1.025 | 49.52 | 0.871 | 352.7 | 11.03 | 975.145 | 18.6344 | -0.25125
2020-04-22 19:00:00 | 0 | 9.94 | 0 | 4.387 | 0 | 49.53 | 0 | 353.1 | 11.01 | 975.146 | 18.0918 | -0.25125
2020-04-22 19:15:00 | 0 | 9.94 | 0 | 4.387 | 0 | 49.53 | 0 | 353 | 10.86 | 974.633 | 18.2284 | -0.25125
2020-04-22 19:30:00 | 0 | 9.95 | 0 | 4.388 | 0.016 | 49.54 | 0 | 353.1 | 10.81 | 974.798 | 18.1633 | -0.25125
2020-04-22 19:45:00 | 0.227 | 30.33 | 0.958 | 4.388 | 0.557 | 49.59 | 0.37 | 354.3 | 10.95 | 975.148 | 17.8246 | -0.25125
2020-04-22 20:00:00 | 1.627 | 34.7 | 1.715 | 49.08 | 1.424 | 49.77 | 1.309 | 36.64 | 11.04 | 975.148 | 18.098 | -0.25125
2020-04-22 20:15:00 | 0.869 | 34.72 | 2.022 | 48.98 | 1.803 | 49.84 | 1.645 | 38.28 | 10.95 | 975.742 | 18.3029 | -0.28081
2020-04-22 20:30:00 | 0.182 | 34.81 | 0.501 | 50.18 | 0.395 | 49.84 | 0.074 | 38.29 | 10.94 | 975.752 | 17.8931 | -0.25125
2020-04-22 20:45:00 | 0 | 34.78 | 0 | 50.18 | 0 | 49.84 | 0 | 38.28 | 10.66 | 975.773 | 18.0297 | -0.26233
2020-04-22 21:00:00 | 0 | 34.72 | 0 | 50.17 | 0.084 | 49.84 | 0 | 37.89 | 10.57 | 975.95 | 16.937 | -0.25125
2020-04-22 21:15:00 | 1.227 | 29.76 | 1.488 | 49.96 | 0.75 | 49.84 | 0.559 | 37.54 | 10.86 | 976.482 | 17.5858 | -0.28081
2020-04-22 21:30:00 | 0.086 | 9 | 0.195 | 49.25 | 0.087 | 49.75 | 0.018 | 21.81 | 11.04 | 976.603 | 16.3906 | -0.26233
2020-04-22 21:45:00 | 1.365 | 7.487 | 2.022 | 43.43 | 1.676 | 49.76 | 1.528 | 20.76 | 11.02 | 976.564 | 16.3906 | -0.25125
2020-04-22 22:00:00 | 0.06 | 9.36 | 0.349 | 37.45 | 0.14 | 49.79 | 0.074 | 20.56 | 11.08 | 976.472 | 16.1858 | -0.25125
2020-04-22 22:15:00 | 0.614 | 355.2 | 1.298 | 37.45 | 0.351 | 49.79 | 0.142 | 314.6 | 11.09 | 976.513 | 16.0492 | -0.25125
2020-04-22 22:30:00 | 0 | 344 | 0 | 37.45 | 0.143 | 49.79 | 0 | 314.3 | 11.04 | 976.513 | 17.4151 | -0.25125
2020-04-22 22:45:00 | 0 | 230 | 1.111 | 36.85 | 1.108 | 49.79 | 0.951 | 224.6 | 10.9 | 976.683 | 18.1321 | -0.25125
2020-04-22 23:00:00 | 1.849 | 223 | 2.275 | 233.7 | 2.375 | 49.89 | 2.365 | 224 | 11.01 | 977.073 | 17.8931 | -0.25125
2020-04-22 23:15:00 | 2.926 | 210 | 3.17 | 223.7 | 3.09 | 50.72 | 3.122 | 218.4 | 10.88 | 976.975 | 17.0736 | -0.25125
2020-04-22 23:30:00 | 3.833 | 207.3 | 3.732 | 220.4 | 3.53 | 53.09 | 3.595 | 216.8 | 10.76 | 976.782 | 18.7809 | -0.092371
2020-04-22 23:45:00 | 3.769 | 219.5 | 4.141 | 227.3 | 3.998 | 53.12 | 4.005 | 223.9 | 10.81 | 976.782 | 19.7371 | 0.65399