## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-23 00:00:00 | 4.063 | 217.7 | 4.655 | 224.4 | 4.695 | 54.15 | 4.721 | 224 | 10.61 | 976.633 | 18.7809 | 2.2465
2020-04-23 00:15:00 | 3.34 | 223.9 | 4.323 | 229.1 | 4.529 | 53.98 | 4.533 | 229 | 10.45 | 976.782 | 21.103 | 4.2823
2020-04-23 00:30:00 | 3.8 | 229.1 | 4.07 | 239.3 | 4.397 | 54.97 | 4.347 | 234 | 10.51 | 976.93 | 19.7371 | 5.2245
2020-04-23 00:45:00 | 3.154 | 236.7 | 4.057 | 245.4 | 4.158 | 56.7 | 4.036 | 240.1 | 9.96 | 976.93 | 21.2395 | 4.8329
2020-04-23 01:00:00 | 3.414 | 241.3 | 3.684 | 251.8 | 3.675 | 55.62 | 3.595 | 242.4 | 10.14 | 976.633 | 21.3078 | 4.7072
2020-04-23 01:15:00 | 3.383 | 245.3 | 4.259 | 252.1 | 4.939 | 55.21 | 4.874 | 249.8 | 9.89 | 976.485 | 22.3664 | 4.286
2020-04-23 01:30:00 | 2.758 | 253.2 | 3.737 | 261.3 | 4.42 | 55.98 | 4.395 | 258.2 | 9.76 | 976.336 | 22.4005 | 3.7761
2020-04-23 01:45:00 | 2.781 | 259.4 | 3.392 | 266 | 3.718 | 57.08 | 3.713 | 262.9 | 9.76 | 976.485 | 22.4688 | 2.8413
2020-04-23 02:00:00 | 2.633 | 262.5 | 3.574 | 273.5 | 4.458 | 54.34 | 4.561 | 266.4 | 9.52 | 976.644 | 22.5371 | 3.1147
2020-04-23 02:15:00 | 4.308 | 305.4 | 4.607 | 319.4 | 4.832 | 52.01 | 4.851 | 303.3 | 9.45 | 977.129 | 23.6981 | 5.5414
2020-04-23 02:30:00 | 3.618 | 340.6 | 3.704 | 356.6 | 4.074 | 52.44 | 4.087 | 342.9 | 7.908 | 976.864 | 30.869 | 10.2717
2020-04-23 02:45:00 | 4.193 | 347.9 | 4.757 | 7.521 | 5.399 | 52.23 | 5.409 | 346.9 | 8.15 | 976.932 | 29.6056 | 9.6657
2020-04-23 03:00:00 | 2.893 | 333.1 | 3.558 | 355.2 | 2.792 | 52.71 | 2.895 | 324 | 8.7 | 976.932 | 27.3204 | 5.6642
2020-04-23 03:15:00 | 3.463 | 339.2 | 3.602 | 351.6 | 3.738 | 52.43 | 3.812 | 336.6 | 8.97 | 976.932 | 26.5713 | 4.2232
2020-04-23 03:30:00 | 3.694 | 357.2 | 4.203 | 10.14 | 5.114 | 52.36 | 5.304 | 356 | 8.59 | 977.08 | 25.6141 | 6.0522
2020-04-23 03:45:00 | 3.508 | 9.39 | 4.177 | 23.84 | 4.364 | 52.42 | 4.184 | 7.711 | 8.24 | 976.635 | 26.7064 | 6.078
2020-04-23 04:00:00 | 3.856 | 14.1 | 4.87 | 29.54 | 5.348 | 52.19 | 5.22 | 19.64 | 8.22 | 976.635 | 26.2303 | 6.2554
2020-04-23 04:15:00 | 3.205 | 23.3 | 4.655 | 37.2 | 5.539 | 52.6 | 5.618 | 26.63 | 8.01 | 976.486 | 27.4615 | 5.7861
2020-04-23 04:30:00 | 3.626 | 27.98 | 5.149 | 41.34 | 5.473 | 52.34 | 5.559 | 33.53 | 7.945 | 976.337 | 27.0527 | 6.3662
2020-04-23 04:45:00 | 3.743 | 29.17 | 5.811 | 44.15 | 6.198 | 52.18 | 6.244 | 34.87 | 8.1 | 976.635 | 23.7742 | 7.9846
2020-04-23 05:00:00 | 4.07 | 26.74 | 5.852 | 37.81 | 6.175 | 51.44 | 6.275 | 34.09 | 8.01 | 976.337 | 23.6376 | 10.6744
2020-04-23 05:15:00 | 3.94 | 24.45 | 6.32 | 37.92 | 6.727 | 51.5 | 6.695 | 29.86 | 7.735 | 976.635 | 22.4079 | 12.1228
2020-04-23 05:30:00 | 3.927 | 24.07 | 6.435 | 40.03 | 6.788 | 51.42 | 6.781 | 28.68 | 7.742 | 976.635 | 21.3832 | 12.5699
2020-04-23 05:45:00 | 4.318 | 29.21 | 6.44 | 44.86 | 6.635 | 51.09 | 6.695 | 32.47 | 7.717 | 976.635 | 20.7686 | 15.958
2020-04-23 06:00:00 | 3.82 | 25.91 | 6.762 | 39.85 | 7.068 | 50.96 | 7.044 | 32.84 | 7.703 | 976.635 | 20.358 | 18.0456
2020-04-23 06:15:00 | 4.42 | 25.58 | 7.117 | 39.83 | 7.284 | 50.23 | 7.212 | 30.31 | 7.945 | 976.932 | 19.8063 | 16.83
2020-04-23 06:30:00 | 4.614 | 26.56 | 6.828 | 40 | 7.139 | 49.4 | 7.13 | 32.65 | 8.14 | 977.49 | 19.259 | 15.171
2020-04-23 06:45:00 | 4.234 | 25.55 | 6.803 | 40.34 | 7.068 | 49.16 | 6.926 | 31.81 | 8.37 | 977.233 | 19.7371 | 14.7683
2020-04-23 07:00:00 | 5.102 | 22.83 | 7.401 | 35.87 | 7.421 | 50.33 | 7.311 | 29.52 | 8.5 | 977.524 | 18.4378 | 13.4899
2020-04-23 07:15:00 | 4.209 | 24.29 | 6.611 | 40.34 | 7.09 | 50.42 | 7.003 | 28.22 | 8.82 | 977.443 | 18.846 | 13.4751
2020-04-23 07:30:00 | 4.215 | 21.03 | 7.286 | 35.42 | 6.966 | 49.39 | 6.695 | 25.65 | 9.15 | 977.247 | 17.7505 | 14.0552
2020-04-23 07:45:00 | 3.32 | 18.75 | 6.542 | 31.77 | 6.157 | 51.81 | 5.826 | 22.81 | 9.61 | 977.969 | 18.1601 | 17.0517
2020-04-23 08:00:00 | 4.458 | 16.2 | 6.908 | 31.08 | 6.493 | 49.7 | 6.252 | 20.8 | 9.55 | 977.523 | 18.0918 | 17.2365
2020-04-23 08:15:00 | 4.382 | 18.33 | 8.27 | 34.77 | 7.543 | 46.3 | 7.074 | 20.69 | 9.57 | 977.819 | 16.4524 | 21.6444
2020-04-23 08:30:00 | 3.482 | 22.62 | 8.39 | 37.16 | 7.864 | 43.73 | 7.571 | 25.61 | 9.97 | 977.819 | 15.0851 | 25.1249
2020-04-23 08:45:00 | 6.151 | 18.32 | 10.03 | 34.81 | 9.58 | 43.52 | 9.09 | 21.92 | 9.68 | 977.819 | 14.6072 | 35.4557
2020-04-23 09:00:00 | 5.191 | 19.88 | 9.44 | 34.27 | 8.91 | 44.88 | 8.41 | 21.52 | 10.32 | 977.968 | 13.9248 | 35.2267
2020-04-23 09:15:00 | 4.775 | 35.52 | 6.662 | 39.86 | 5.328 | 44.45 | 5.281 | 9 | 10.36 | 978.413 | 16.1092 | 28.757
2020-04-23 09:30:00 | 4.91 | 50.95 | 7.117 | 33.81 | 6.383 | 50.64 | 6.305 | 15.03 | 10.42 | 978.413 | 13.9246 | 23.6913
2020-04-23 09:45:00 | 2.905 | 44.61 | 6.711 | 35.42 | 6.737 | 54.19 | 6.374 | 24.39 | 11.13 | 978.404 | 15.1517 | 18.5333
2020-04-23 10:00:00 | 4.585 | 30.73 | 7.419 | 33.68 | 6.859 | 59.86 | 6.667 | 9.84 | 11.54 | 978.134 | 13.7178 | 20.1
2020-04-23 10:15:00 | 1.95 | 22.47 | 4.875 | 32.87 | 5.661 | 67.43 | 5.34 | 14.31 | 11.8 | 978.411 | 13.6496 | 16.4273
2020-04-23 10:30:00 | 3.212 | 4.497 | 4.787 | 11.75 | 4.496 | 63.97 | 4.306 | 0.764 | 11.77 | 978.708 | 15.3545 | 11.5131
2020-04-23 10:45:00 | 3.187 | 5.664 | 4.313 | 12.65 | 4.562 | 63.71 | 4.459 | 352.5 | 11.87 | 978.56 | 18.9671 | 16.3349
2020-04-23 11:00:00 | 5.837 | 317.1 | 6.015 | 322.5 | 5.671 | 60.91 | 5.671 | 319 | 11.55 | 978.56 | 19.6487 | 13.1426
2020-04-23 11:15:00 | 4.877 | 330 | 5.126 | 333.3 | 4.41 | 61.01 | 4.319 | 336.5 | 12 | 978.411 | 18.0795 | 13.4862
2020-04-23 11:30:00 | 3.337 | 326.4 | 3.619 | 348.4 | 3.802 | 62.33 | 3.64 | 325.5 | 11.93 | 978.114 | 19.8874 | 15.9617
2020-04-23 11:45:00 | 5.383 | 287.1 | 6.008 | 297.4 | 5.791 | 58.82 | 5.681 | 289.9 | 11.73 | 978.114 | 21.3543 | 15.7754
2020-04-23 12:00:00 | 6.677 | 304.2 | 7.375 | 316.2 | 6.617 | 57.35 | 6.603 | 310.1 | 11.97 | 978.114 | 18.6936 | 15.3299
2020-04-23 12:15:00 | 3.659 | 291.4 | 4.154 | 303.9 | 4.677 | 57.78 | 4.65 | 294 | 11.82 | 977.817 | 19.9224 | 14.1586
2020-04-23 12:30:00 | 4.675 | 301.2 | 5.172 | 315.1 | 5.226 | 56.28 | 5.154 | 304.2 | 11.92 | 977.372 | 19.7576 | 14.7905
2020-04-23 12:45:00 | 5.842 | 300.5 | 6.391 | 310.3 | 5.768 | 55.31 | 5.719 | 301.5 | 12.2 | 977.438 | 20.7473 | 11.9417
2020-04-23 13:00:00 | 2.732 | 350.5 | 3.611 | 2.046 | 3.96 | 57.26 | 3.937 | 351.1 | 12.19 | 977.212 | 21.8408 | 11.1252
2020-04-23 13:15:00 | 3.347 | 304.7 | 4.373 | 313.5 | 4.015 | 56.2 | 3.885 | 302.9 | 12.5 | 976.928 | 21.1941 | 12.0494
2020-04-23 13:30:00 | 4.331 | 324.5 | 4.602 | 340 | 5.234 | 55.07 | 5.373 | 325.4 | 12.5 | 976.78 | 21.1259 | 13.6303
2020-04-23 13:45:00 | 4.834 | 299.5 | 5.049 | 308 | 4.801 | 54.15 | 4.92 | 301.5 | 12.83 | 977.225 | 21.6381 | 14.4616
2020-04-23 14:00:00 | 2.801 | 267.1 | 3.218 | 279.6 | 3.436 | 54.19 | 3.45 | 271.4 | 12.57 | 977.206 | 21.6358 | 15.8715
2020-04-23 14:15:00 | 6.332 | 289.1 | 7.184 | 303.2 | 7.365 | 52.01 | 7.349 | 288.3 | 12.81 | 977.594 | 19.9966 | 22.3462
2020-04-23 14:30:00 | 5.084 | 296.8 | 5.87 | 308 | 5.486 | 51.82 | 5.434 | 298 | 12.93 | 976.927 | 19.9966 | 20.0665
2020-04-23 14:45:00 | 3.549 | 286.3 | 4.054 | 297.6 | 4.374 | 52.07 | 4.403 | 284.9 | 13.21 | 976.927 | 19.5871 | 20.8315
2020-04-23 15:00:00 | 6.039 | 297 | 6.665 | 311.5 | 6.556 | 50.13 | 6.496 | 296.8 | 13.08 | 976.927 | 20.9483 | 25.3985
2020-04-23 15:15:00 | 6.667 | 300.5 | 7.554 | 313.1 | 7.164 | 48.22 | 7.184 | 304 | 13.14 | 976.927 | 19.7858 | 25.4578
2020-04-23 15:30:00 | 5.25 | 307.6 | 5.632 | 312.5 | 5.28 | 48.42 | 5.177 | 312 | 13.84 | 977.075 | 20.8091 | 19.5975
2020-04-23 15:45:00 | 5.868 | 306.1 | 6.008 | 321.7 | 5.582 | 47.41 | 5.587 | 305.6 | 13.11 | 976.63 | 20.7061 | 18.1786
2020-04-23 16:00:00 | 4.253 | 304.7 | 5.33 | 318.8 | 5.17 | 47.65 | 5.146 | 304.7 | 13.59 | 977.075 | 20.9449 | 15.4112
2020-04-23 16:15:00 | 3.541 | 347.1 | 3.633 | 357.1 | 3.601 | 48.19 | 3.512 | 344.4 | 13.51 | 976.778 | 20.5015 | 8.2838
2020-04-23 16:30:00 | 3.843 | 323.4 | 4.528 | 334.7 | 4.675 | 47.82 | 4.76 | 318.9 | 13.54 | 976.41 | 20.058 | 5.7935
2020-04-23 16:45:00 | 3.382 | 318.6 | 3.736 | 331.1 | 3.754 | 47.66 | 3.753 | 318.3 | 13.64 | 976.119 | 19.9215 | 7.8552
2020-04-23 17:00:00 | 2.792 | 332.2 | 3.023 | 345.6 | 3.194 | 47.88 | 3.252 | 332.1 | 13.78 | 976.213 | 19.3758 | 6.1963
2020-04-23 17:15:00 | 1.684 | 354.2 | 2.256 | 14.58 | 2.454 | 48.16 | 2.351 | 349.1 | 13.27 | 975.908 | 19.7169 | 6.8983
2020-04-23 17:30:00 | 2.954 | 326.3 | 3.098 | 341.3 | 2.945 | 47.95 | 3.03 | 319.9 | 13.23 | 975.701 | 18.6253 | 6.5953
2020-04-23 17:45:00 | 2.107 | 318.4 | 2.797 | 329.3 | 2.538 | 48.07 | 2.612 | 317.8 | 13.26 | 975.739 | 18.9664 | 5.5201
2020-04-23 18:00:00 | 1.909 | 329.8 | 2.686 | 344.2 | 2.711 | 48.11 | 2.646 | 324 | 13.14 | 975.739 | 20.0581 | 4.5151
2020-04-23 18:15:00 | 2.378 | 337.5 | 2.858 | 358.1 | 3.598 | 48.08 | 3.641 | 335 | 12.73 | 975.294 | 19.9909 | 3.2071
2020-04-23 18:30:00 | 1.997 | 334 | 2.636 | 353.3 | 3.115 | 48.15 | 3.068 | 334.4 | 12.48 | 974.7 | 20.0647 | 1.1343
2020-04-23 18:45:00 | 2.645 | 329.8 | 3.2 | 342.9 | 3.436 | 48.15 | 3.486 | 330.9 | 12.28 | 974.816 | 19.9303 | -0.070202
2020-04-23 19:00:00 | 2.043 | 330.9 | 2.433 | 343.5 | 2.97 | 48.16 | 2.966 | 333 | 12.13 | 974.553 | 20.273 | -0.39165
2020-04-23 19:15:00 | 2.14 | 326 | 2.814 | 337.6 | 2.975 | 48.19 | 2.936 | 329 | 12.18 | 974.85 | 19.4572 | -0.28081
2020-04-23 19:30:00 | 1.924 | 345.7 | 2.112 | 26.3 | 2.675 | 48.27 | 2.691 | 348.4 | 12.16 | 974.85 | 19.8327 | -0.2882
2020-04-23 19:45:00 | 2.625 | 356.1 | 2.83 | 8.24 | 2.983 | 48.26 | 3.394 | 356.6 | 12.17 | 975.152 | 20.6861 | -0.29928
2020-04-23 20:00:00 | 2.293 | 355.4 | 2.52 | 5.809 | 2.935 | 48.26 | 2.758 | 354.5 | 12.18 | 975.195 | 19.9351 | -0.26233
2020-04-23 20:15:00 | 0.33 | 356 | 1.427 | 6.687 | 1.287 | 48.29 | 1.128 | 356.8 | 12.12 | 975.197 | 19.5261 | -0.25125
2020-04-23 20:30:00 | 0.045 | 356 | 1.085 | 6.593 | 0.939 | 48.3 | 0.773 | 356.8 | 12.17 | 975.16 | 19.3235 | -0.25125
2020-04-23 20:45:00 | 0.357 | 32.03 | 0.884 | 8.09 | 0.339 | 48.31 | 0.357 | 356.8 | 12.15 | 975.21 | 19.2557 | -0.25125
2020-04-23 21:00:00 | 0 | 32.03 | 0 | 8.09 | 0 | 48.31 | 0 | 356.8 | 12.03 | 975.109 | 19.0509 | -0.25125
2020-04-23 21:15:00 | 0 | 32.03 | 0 | 8.09 | 0 | 48.32 | 0 | 356.8 | 11.97 | 975.148 | 18.9849 | -0.25125
2020-04-23 21:30:00 | 0.508 | 139.2 | 1.378 | 8.09 | 1.057 | 48.42 | 1.115 | 356.8 | 11.97 | 974.85 | 18.1663 | -0.24016
2020-04-23 21:45:00 | 1.506 | 168.8 | 2.339 | 185.2 | 2.024 | 48.93 | 1.981 | 181.3 | 12.07 | 974.85 | 19.6688 | -0.25125
2020-04-23 22:00:00 | 2.74 | 176.3 | 3.387 | 182.4 | 3.273 | 49.6 | 3.282 | 186.2 | 11.65 | 974.553 | 19.259 | -0.34362
2020-04-23 22:15:00 | 2.962 | 171.5 | 4.034 | 184.6 | 4.26 | 49.84 | 4.296 | 182.5 | 11.35 | 974.405 | 20.0101 | 0.84242
2020-04-23 22:30:00 | 2.525 | 164.1 | 3.689 | 180.8 | 5.02 | 49.82 | 5.065 | 173 | 11.11 | 974.256 | 21.3752 | 5.5016
2020-04-23 22:45:00 | 4.017 | 163 | 4.936 | 176.4 | 5.496 | 50.19 | 5.452 | 172.6 | 10.85 | 974.256 | 22.604 | 7.6151
2020-04-23 23:00:00 | 4.923 | 165.6 | 5.361 | 178.3 | 5.603 | 50.4 | 5.592 | 173.2 | 10.83 | 973.959 | 22.0587 | 9.9207
2020-04-23 23:15:00 | 5.306 | 169 | 5.849 | 178.9 | 5.903 | 50.79 | 5.956 | 178.6 | 11.17 | 974.108 | 21.1025 | 11.8826
2020-04-23 23:30:00 | 5.224 | 180 | 6.008 | 188.8 | 6.254 | 51.31 | 6.323 | 189 | 11.39 | 974.256 | 20.2136 | 11.757
2020-04-23 23:45:00 | 4.453 | 184 | 5.302 | 191.8 | 5.92 | 51.64 | 6.053 | 194 | 11.38 | 974.405 | 20.7591 | 11.0845