## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-24 00:00:00 | 4.79 | 190.9 | 5.719 | 200 | 5.809 | 52.07 | 5.9 | 197.4 | 11.67 | 974.256 | 20.0071 | 10.4712
2020-04-24 00:15:00 | 4.698 | 187 | 5.778 | 194.9 | 5.765 | 52.33 | 5.829 | 195.1 | 11.6 | 973.923 | 20.2117 | 12.7989
2020-04-24 00:30:00 | 5.395 | 187.9 | 6.348 | 194 | 5.898 | 56.75 | 5.974 | 196.7 | 11.53 | 973.873 | 19.8703 | 14.4505
2020-04-24 00:45:00 | 5.761 | 193.4 | 5.647 | 200.8 | 5.75 | 78.31 | 5.852 | 199.1 | 11.67 | 973.83 | 19.7333 | 14.2215
2020-04-24 01:00:00 | 4.951 | 196.1 | 5.55 | 204.7 | 6.157 | 96.4 | 6.328 | 205.4 | 11.47 | 973.769 | 20.2457 | 14.6575
2020-04-24 01:15:00 | 4.668 | 197.8 | 5.399 | 207 | 6.101 | 100 | 6.277 | 207.9 | 11.59 | 973.593 | 19.8022 | 14.3729
2020-04-24 01:30:00 | 4.703 | 202.1 | 5.588 | 208.1 | 6.404 | 101.1 | 6.618 | 210.8 | 11.67 | 973.577 | 20.3488 | 15.7142
2020-04-24 01:45:00 | 5.699 | 205.9 | 6.24 | 213.8 | 7.075 | 102.4 | 7.319 | 213.5 | 11.99 | 973.145 | 20.7572 | 19.4127
2020-04-24 02:00:00 | 5.416 | 207.1 | 5.903 | 213.4 | 6.546 | 103 | 6.863 | 214.4 | 11.96 | 973.403 | 21.0295 | 19.845
2020-04-24 02:15:00 | 5.293 | 204.1 | 5.867 | 212.3 | 6.238 | 103.8 | 6.55 | 211.6 | 11.9 | 973.087 | 22.1199 | 18.3412
2020-04-24 02:30:00 | 5.132 | 203.8 | 5.821 | 210.3 | 6.424 | 104.3 | 6.659 | 212.5 | 11.73 | 973.094 | 23.1439 | 16.0467
2020-04-24 02:45:00 | 4.995 | 206.4 | 5.389 | 214.8 | 5.918 | 104.5 | 6.096 | 216.1 | 11.62 | 973.082 | 24.7825 | 14.0478
2020-04-24 03:00:00 | 5.189 | 210.8 | 5.683 | 215.1 | 6.345 | 105 | 6.692 | 219.4 | 11.35 | 972.507 | 26.6272 | 15.522
2020-04-24 03:15:00 | 5.097 | 214.3 | 5.76 | 219.2 | 7.062 | 105.5 | 7.258 | 221.1 | 11.12 | 972.625 | 28.2662 | 17.7796
2020-04-24 03:30:00 | 5.286 | 212.8 | 5.693 | 217.8 | 6.686 | 106 | 7.092 | 220.5 | 11.08 | 972.727 | 28.679 | 17.7833
2020-04-24 03:45:00 | 4.88 | 213.3 | 5.593 | 220.3 | 6.607 | 117.2 | 6.868 | 221.8 | 11.07 | 972.627 | 29.2938 | 19.8413
2020-04-24 04:00:00 | 5.288 | 210.9 | 5.634 | 216.8 | 6.653 | 181.9 | 6.983 | 219.2 | 11.14 | 972.349 | 28.679 | 21.1973
2020-04-24 04:15:00 | 5.546 | 209.1 | 6.128 | 215.6 | 6.8 | 184.2 | 7.064 | 217.7 | 11.08 | 972.127 | 28.1321 | 20.0039
2020-04-24 04:30:00 | 5.852 | 201.5 | 6.601 | 210.1 | 6.765 | 185.5 | 7.069 | 210.9 | 10.87 | 972.075 | 28.4056 | 22.6125
2020-04-24 04:45:00 | 6.647 | 202.4 | 7.018 | 209.8 | 7.411 | 187.3 | 7.764 | 212 | 10.64 | 971.846 | 29.225 | 26.9798
2020-04-24 05:00:00 | 6.432 | 201.1 | 7.089 | 209.5 | 7.508 | 189.1 | 7.797 | 209.9 | 10.52 | 971.566 | 29.9765 | 26.4883
2020-04-24 05:15:00 | 6.588 | 205.8 | 7.048 | 212.4 | 7.581 | 190 | 7.823 | 213.6 | 10.53 | 971.583 | 30.181 | 29.5292
2020-04-24 05:30:00 | 6.562 | 203.7 | 6.81 | 210.7 | 7.691 | 188.9 | 7.932 | 212.4 | 10.35 | 971.583 | 30.5229 | 32.3742
2020-04-24 05:45:00 | 6.223 | 205.2 | 6.818 | 213.7 | 7.352 | 191.6 | 7.596 | 213.4 | 10.51 | 971.583 | 30.2501 | 32.607
2020-04-24 06:00:00 | 6.547 | 204.1 | 6.936 | 211.1 | 7.744 | 189.3 | 8.07 | 212.5 | 10.57 | 971.424 | 30.7955 | 32.4666
2020-04-24 06:15:00 | 6.922 | 204.5 | 7.255 | 210.9 | 7.731 | 190.1 | 7.93 | 211.7 | 10.61 | 971.392 | 30.8627 | 31.4579
2020-04-24 06:30:00 | 6.892 | 202.9 | 7.145 | 209.7 | 7.841 | 189.3 | 8.21 | 212.3 | 10.59 | 971.367 | 31.6095 | 32.6349
2020-04-24 06:45:00 | 6.8 | 204.8 | 7.342 | 211.1 | 8.08 | 188.2 | 8.37 | 213.4 | 10.68 | 971.296 | 32.2922 | 32.8197
2020-04-24 07:00:00 | 7.66 | 203.2 | 8.04 | 210.2 | 8.49 | 190 | 8.87 | 211.1 | 10.82 | 971.286 | 32.2922 | 33.6231
2020-04-24 07:15:00 | 7.216 | 199.4 | 7.174 | 208.8 | 7.792 | 188.3 | 8.12 | 205.6 | 11.03 | 971.286 | 32.7701 | 31.1956
2020-04-24 07:30:00 | 7.088 | 198 | 7.064 | 207.7 | 7.258 | 188 | 7.41 | 205.9 | 11.17 | 971.583 | 33.5209 | 25.8048
2020-04-24 07:45:00 | 6.812 | 199.2 | 6.435 | 208.7 | 7.04 | 188.4 | 7.293 | 206.4 | 11.19 | 971.583 | 34.4719 | 26.5696
2020-04-24 08:00:00 | 6.682 | 196.8 | 6.212 | 207.1 | 6.132 | 186.8 | 6.397 | 204.4 | 11.57 | 971.88 | 34.4022 | 20.063
2020-04-24 08:15:00 | 7.047 | 201.8 | 6.268 | 208.4 | 5.987 | 185.3 | 6.14 | 205.7 | 11.84 | 972.177 | 34.2662 | 19.6159
2020-04-24 08:30:00 | 6.58 | 202.3 | 5.893 | 209.7 | 5.72 | 187.1 | 5.941 | 210.2 | 12.29 | 972.474 | 35.0835 | 21.0274
2020-04-24 08:45:00 | 6.682 | 211.1 | 6.378 | 214.7 | 6.691 | 182.2 | 6.906 | 219.5 | 12.78 | 972.232 | 34.6016 | 19.8212
2020-04-24 09:00:00 | 6.904 | 210.8 | 6.532 | 209.4 | 6.48 | 181.3 | 6.669 | 216.8 | 13.51 | 972.177 | 32.4859 | 29.2038
2020-04-24 09:15:00 | 7.563 | 195.2 | 7.148 | 204.3 | 6.549 | 183.4 | 6.644 | 204.3 | 13.95 | 972.771 | 30.5404 | 28.151
2020-04-24 09:30:00 | 8.16 | 203.8 | 7.703 | 210.3 | 7.385 | 180.9 | 7.464 | 210.4 | 14.26 | 972.771 | 28.2828 | 32.4666
2020-04-24 09:45:00 | 9.25 | 197.4 | 8.55 | 204.4 | 7.464 | 185 | 7.492 | 207.6 | 14.78 | 972.771 | 24.7658 | 26.6583
2020-04-24 10:00:00 | 6.593 | 212.4 | 6.527 | 215.4 | 6.686 | 177.8 | 6.848 | 217.1 | 15.26 | 973.216 | 24.6989 | 27.0869
2020-04-24 10:15:00 | 8.11 | 208.8 | 7.739 | 206 | 7.424 | 177.4 | 7.589 | 217.1 | 15.55 | 973.364 | 22.6846 | 32.4444
2020-04-24 10:30:00 | 7.91 | 208.3 | 7.24 | 208.9 | 6.569 | 174.2 | 6.728 | 217.5 | 16.24 | 973.068 | 24.7655 | 38.0154
2020-04-24 10:45:00 | 7.088 | 231.9 | 7.168 | 252.6 | 6.399 | 187 | 6.292 | 228.5 | 16.69 | 973.318 | 20.1603 | 38.4227
2020-04-24 11:00:00 | 9.38 | 218.8 | 8.99 | 233.6 | 9.24 | 190.1 | 9.39 | 219.3 | 16.41 | 972.56 | 18.3865 | 39.0743
2020-04-24 11:15:00 | 9.37 | 212.3 | 9.15 | 216.8 | 9.31 | 167.9 | 9.31 | 219.6 | 16.95 | 972.177 | 15.7257 | 46.7199
2020-04-24 11:30:00 | 8.6 | 213.6 | 7.654 | 214.2 | 8.1 | 181.5 | 8.16 | 223.1 | 17.16 | 971.88 | 16.1002 | 48.8
2020-04-24 11:45:00 | 8.89 | 229.5 | 8.38 | 248.4 | 8.52 | 200.9 | 8.75 | 233.6 | 17.33 | 971.88 | 14.6664 | 44.1017
2020-04-24 12:00:00 | 9.36 | 221.7 | 9.13 | 235.1 | 9.49 | 202 | 9.61 | 223.9 | 17.45 | 971.287 | 14.3929 | 50.2716
2020-04-24 12:15:00 | 8.75 | 233.1 | 9.07 | 251.6 | 8.82 | 191.9 | 8.77 | 231.3 | 17.95 | 971.435 | 12.483 | 42.4427
2020-04-24 12:30:00 | 6.966 | 232.8 | 7.539 | 236.9 | 7.772 | 183.7 | 7.848 | 235.6 | 18.36 | 971.435 | 12.3143 | 33.7895
2020-04-24 12:45:00 | 10.66 | 203.6 | 9.78 | 206.6 | 9.4 | 169.8 | 9.6 | 209.2 | 18.11 | 970.427 | 13.9178 | 28.72
2020-04-24 13:00:00 | 9.33 | 227 | 9.75 | 241.2 | 9.67 | 173.8 | 9.71 | 228.1 | 18.43 | 970.443 | 11.0865 | 24.3934
2020-04-24 13:15:00 | 9.46 | 211 | 8.86 | 214.7 | 8.21 | 189.5 | 8.21 | 222.6 | 18.84 | 969.925 | 12.9285 | 33.5484
2020-04-24 13:30:00 | 10.18 | 205.4 | 9.52 | 208.6 | 9.36 | 188.3 | 9.61 | 209.5 | 18.58 | 969.558 | 13.2355 | 37.9576
2020-04-24 13:45:00 | 8.43 | 221.2 | 8.38 | 244 | 8.51 | 232.6 | 8.73 | 221.9 | 19.06 | 969.825 | 14.5659 | 52.261
2020-04-24 14:00:00 | 8.26 | 197.9 | 8.2 | 198.2 | 6.694 | 183.1 | 6.58 | 220.4 | 19.51 | 970.248 | 14.8721 | 51.0063
2020-04-24 14:15:00 | 10.26 | 223.7 | 9.92 | 238.5 | 9.72 | 226.7 | 9.87 | 223.9 | 19.2 | 970.1 | 16.4734 | 49.909
2020-04-24 14:30:00 | 8.13 | 210.2 | 8.54 | 219.5 | 8.99 | 204.4 | 9.18 | 217.3 | 19.39 | 969.506 | 16.9848 | 54.1701
2020-04-24 14:45:00 | 8.94 | 211.1 | 8.14 | 208.9 | 8.66 | 181.9 | 8.96 | 221 | 19.74 | 969.023 | 18.6873 | 52.2494
2020-04-24 15:00:00 | 11.38 | 189.1 | 11.15 | 199.3 | 9.94 | 186.8 | 10.03 | 195.3 | 19.17 | 968.663 | 20.3922 | 60.6833
2020-04-24 15:15:00 | 8.79 | 213.4 | 9.18 | 220.3 | 10.68 | 191.7 | 10.78 | 221.4 | 19.46 | 968.94 | 16.3683 | 63.2003
2020-04-24 15:30:00 | 11.62 | 198 | 9.86 | 202.4 | 9.65 | 182.2 | 9.83 | 203.1 | 19.3 | 968.023 | 18.0392 | 49.0556
2020-04-24 15:45:00 | 10.4 | 201.9 | 9.56 | 207.8 | 9.57 | 187.5 | 9.66 | 208.9 | 19.39 | 967.727 | 18.9599 | 54.5618
2020-04-24 16:00:00 | 8.43 | 216.9 | 7.503 | 218.5 | 8.57 | 178.2 | 8.81 | 220.8 | 19.68 | 968.765 | 19.1304 | 51.9386
2020-04-24 16:15:00 | 9.56 | 207 | 9.13 | 207.3 | 9.4 | 160.3 | 9.67 | 214.3 | 19.53 | 967.875 | 18.9599 | 48.3471
2020-04-24 16:30:00 | 10.22 | 196.5 | 9.64 | 208.2 | 9.08 | 163.6 | 9.17 | 199.9 | 19.37 | 967.727 | 18.4484 | 49.5246
2020-04-24 16:45:00 | 11.76 | 187.3 | 11.08 | 200.4 | 10.24 | 165.1 | 10.32 | 191.4 | 19.45 | 967.43 | 18.4825 | 48.7498
2020-04-24 17:00:00 | 11.44 | 185.7 | 11 | 198.7 | 9.94 | 166.3 | 10.04 | 190.1 | 19.27 | 966.985 | 17.9369 | 53.1947
2020-04-24 17:15:00 | 11.66 | 189.7 | 10.91 | 200.9 | 10.08 | 168.1 | 10.18 | 195.1 | 19.2 | 966.68 | 17.3913 | 49.7808
2020-04-24 17:30:00 | 10.34 | 182.3 | 9.83 | 195.9 | 8.86 | 168.8 | 8.94 | 186.1 | 19.14 | 967.244 | 18.9263 | 44.5635
2020-04-24 17:45:00 | 10.1 | 178.2 | 9.6 | 193.6 | 9.1 | 170.6 | 9.25 | 181.7 | 18.94 | 966.833 | 19.4396 | 38.5446
2020-04-24 18:00:00 | 10.63 | 178 | 10.35 | 189.9 | 9.82 | 169.3 | 9.88 | 181.8 | 18.64 | 966.686 | 20.1228 | 39.7742
2020-04-24 18:15:00 | 10.25 | 174.7 | 9.93 | 186.3 | 9.63 | 167 | 9.78 | 181.4 | 18.48 | 966.093 | 21.2142 | 44.0575
2020-04-24 18:30:00 | 11.87 | 174.4 | 11.82 | 186.4 | 11.58 | 173.6 | 11.69 | 180.6 | 18.43 | 965.945 | 20.1252 | 45.938
2020-04-24 18:45:00 | 11.25 | 176.6 | 11.45 | 186.6 | 11.24 | 172.6 | 11.43 | 182.2 | 18.21 | 966.101 | 21.6954 | 53.0063
2020-04-24 19:00:00 | 12.03 | 174 | 11.82 | 188.7 | 11.49 | 177.5 | 11.66 | 180.4 | 17.96 | 965.791 | 22.6505 | 50.2341
2020-04-24 19:15:00 | 11.33 | 174.7 | 11.48 | 187.8 | 11.45 | 173 | 11.56 | 180.9 | 17.79 | 965.943 | 22.8552 | 45.6424
2020-04-24 19:30:00 | 12 | 178.8 | 11.83 | 190.1 | 11.89 | 174.4 | 12.03 | 184.9 | 17.78 | 965.943 | 22.6507 | 49.0121
2020-04-24 19:45:00 | 12.01 | 178.8 | 11.76 | 190.1 | 11.8 | 170.9 | 12 | 184.4 | 17.72 | 965.943 | 22.3102 | 49.0934
2020-04-24 20:00:00 | 11.14 | 177.1 | 11.02 | 186.2 | 11.25 | 168.5 | 11.6 | 184.8 | 17.55 | 965.943 | 21.6278 | 49.4481
2020-04-24 20:15:00 | 10.71 | 178.8 | 11.02 | 188.2 | 11.82 | 171.1 | 12.19 | 186.6 | 17.63 | 966.388 | 19.6845 | 52.9102
2020-04-24 20:30:00 | 11.26 | 177.4 | 11.25 | 188.1 | 11.83 | 170.1 | 12.19 | 185.4 | 17.59 | 965.794 | 18.7632 | 54.0334
2020-04-24 20:45:00 | 10.94 | 178 | 11.12 | 186.7 | 11.67 | 168 | 12.01 | 186.5 | 17.77 | 965.646 | 18.695 | 54.1701
2020-04-24 21:00:00 | 12.34 | 175.4 | 12.62 | 186.7 | 12.5 | 171.7 | 12.6 | 185.7 | 17.85 | 965.646 | 18.2516 | 60.2777
2020-04-24 21:15:00 | 11.46 | 181.3 | 11.56 | 191.5 | 12.64 | 175.3 | 12.98 | 189.4 | 17.92 | 965.646 | 18.559 | 61.5081
2020-04-24 21:30:00 | 12.12 | 179.4 | 12.03 | 188.3 | 11.63 | 168.6 | 11.78 | 186.5 | 17.99 | 965.2 | 17.3986 | 60.2621
2020-04-24 21:45:00 | 11.29 | 179.2 | 11.21 | 188.7 | 11.44 | 167.2 | 11.8 | 187.8 | 17.73 | 965.646 | 18.2167 | 58.1737
2020-04-24 22:00:00 | 10.7 | 175.5 | 11.38 | 188.1 | 11.43 | 170.2 | 11.66 | 184.8 | 17.5 | 965.2 | 19.7189 | 57.695
2020-04-24 22:15:00 | 10.64 | 175.5 | 10.78 | 186.7 | 11.28 | 168.6 | 11.52 | 184.4 | 17.16 | 965.052 | 19.6853 | 57.6913
2020-04-24 22:30:00 | 10.46 | 180 | 10.32 | 189.7 | 10.84 | 166.3 | 11.21 | 187.8 | 16.79 | 964.755 | 20.2684 | 53.9374
2020-04-24 22:45:00 | 9.65 | 175.2 | 9.48 | 182.8 | 9.74 | 162.3 | 10.01 | 186.7 | 16.48 | 964.458 | 22.863 | 48.8126
2020-04-24 23:00:00 | 9.41 | 172.5 | 9.39 | 181 | 8.74 | 160.7 | 8.98 | 184.7 | 16.05 | 964.013 | 22.3853 | 50.1649
2020-04-24 23:15:00 | 9.07 | 174.8 | 9.25 | 183.7 | 8.57 | 165.2 | 8.76 | 184.3 | 15.96 | 963.864 | 22.1805 | 48.3286
2020-04-24 23:30:00 | 8.79 | 170.3 | 9.21 | 177.7 | 8.93 | 157.8 | 9.04 | 183.7 | 15.59 | 963.568 | 22.2488 | 42.7752
2020-04-24 23:45:00 | 9.2 | 174.1 | 9.22 | 182.5 | 9.03 | 162.7 | 9.15 | 184.3 | 15.93 | 963.917 | 23.2042 | 42.5092