## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-25 00:00:00 | 8.78 | 177.5 | 9.42 | 185.3 | 9.29 | 168.1 | 9.55 | 189 | 15.91 | 963.647 | 20.6108 | 40.2923
2020-04-25 00:15:00 | 8.24 | 184.9 | 8.78 | 193.3 | 8.62 | 174.4 | 8.73 | 194.3 | 16.53 | 963.981 | 21.0203 | 38.9658
2020-04-25 00:30:00 | 7.714 | 194 | 7.943 | 204.3 | 8.29 | 185.5 | 8.55 | 200.5 | 17.08 | 964.016 | 19.4506 | 33.9667
2020-04-25 00:45:00 | 8.43 | 196.4 | 8.44 | 204.5 | 8.54 | 182.4 | 8.78 | 204.1 | 17.3 | 963.865 | 17.9492 | 36.978
2020-04-25 01:00:00 | 7.29 | 192.6 | 7.641 | 201.2 | 8.05 | 183.9 | 8.35 | 200.5 | 17.35 | 963.271 | 17.4032 | 40.5842
2020-04-25 01:15:00 | 8.35 | 196.8 | 8.21 | 206.7 | 8.14 | 190.3 | 8.28 | 202.9 | 17.25 | 963.271 | 17.0961 | 40.4327
2020-04-25 01:30:00 | 8.78 | 193.4 | 8.91 | 204.1 | 8.59 | 190.6 | 8.7 | 200.5 | 17.22 | 963.716 | 17.3349 | 42.4242
2020-04-25 01:45:00 | 8.28 | 194.1 | 8.66 | 202.9 | 8.2 | 187.1 | 8.28 | 199.7 | 17.23 | 963.271 | 17.6762 | 41.8663
2020-04-25 02:00:00 | 7.007 | 197.4 | 7.503 | 208.5 | 7.935 | 196.1 | 8.15 | 203.3 | 17.06 | 963.271 | 17.8809 | 34.5616
2020-04-25 02:15:00 | 7.443 | 200.3 | 7.966 | 208.6 | 8.43 | 191.7 | 8.61 | 207.4 | 16.88 | 963.271 | 17.8809 | 40.3699
2020-04-25 02:30:00 | 7.315 | 196.2 | 7.567 | 205.8 | 8.48 | 191.2 | 8.79 | 204.5 | 16.85 | 963.271 | 18.0174 | 41.2234
2020-04-25 02:45:00 | 7.99 | 194 | 8.38 | 205.2 | 9.07 | 187.4 | 9.24 | 201.4 | 16.5 | 962.677 | 18.6658 | 41.4451
2020-04-25 03:00:00 | 7.767 | 197.1 | 8.4 | 206.2 | 9.07 | 191.5 | 9.41 | 204.5 | 16.45 | 962.677 | 17.4032 | 42.7477
2020-04-25 03:15:00 | 8.12 | 200.3 | 8.68 | 207.9 | 9.34 | 190.7 | 9.68 | 208.6 | 16.62 | 962.677 | 17.8127 | 43.0265
2020-04-25 03:30:00 | 8.05 | 197.9 | 8.51 | 206.4 | 9.15 | 192.1 | 9.52 | 207.2 | 16.52 | 962.38 | 17.6079 | 41.9882
2020-04-25 03:45:00 | 7.806 | 197.4 | 8.22 | 205.6 | 9.33 | 190.7 | 9.67 | 205.4 | 16.69 | 962.38 | 17.7444 | 42.6792
2020-04-25 04:00:00 | 8.26 | 199.7 | 8.67 | 206.2 | 9.58 | 190.5 | 9.9 | 208.4 | 16.59 | 962.083 | 17.4032 | 47.9759
2020-04-25 04:15:00 | 8.69 | 194.2 | 9.13 | 205.1 | 9.06 | 190.7 | 9.24 | 201.8 | 16.33 | 962.083 | 17.8809 | 48.1993
2020-04-25 04:30:00 | 8.46 | 191 | 8.41 | 202.5 | 8.48 | 186.1 | 8.64 | 198 | 16.36 | 962.38 | 18.2221 | 45.0143
2020-04-25 04:45:00 | 7.757 | 193.6 | 8.13 | 204.1 | 8.48 | 187.5 | 8.62 | 199.4 | 15.72 | 962.083 | 17.8127 | 39.0656
2020-04-25 05:00:00 | 7.275 | 198.6 | 7.726 | 207.2 | 8.12 | 189.1 | 8.37 | 207.6 | 16.26 | 962.677 | 18.2904 | 25.0178
2020-04-25 05:15:00 | 6.115 | 209.7 | 6.578 | 213.5 | 7.708 | 191.2 | 8.02 | 221 | 16.09 | 963.619 | 17.9492 | 10.8
2020-04-25 05:30:00 | 4.765 | 236.3 | 5.23 | 242.4 | 6.088 | 197.4 | 6.252 | 247.8 | 16.44 | 963.568 | 17.3349 | 5.1543
2020-04-25 05:45:00 | 3.23 | 328.4 | 3.07 | 348 | 3.507 | 192.8 | 3.667 | 317 | 12.96 | 963.913 | 26.6166 | 2.7601
2020-04-25 06:00:00 | 3.715 | 252.8 | 5.146 | 262.9 | 6.198 | 199 | 6.145 | 255.6 | 15 | 964.151 | 20.0672 | 6.0189
2020-04-25 06:15:00 | 4.936 | 254.2 | 5.737 | 262.5 | 5.854 | 207.7 | 5.648 | 263.1 | 15.38 | 964.456 | 20.6818 | 6.4882
2020-04-25 06:30:00 | 3.741 | 282 | 4.433 | 295 | 5.023 | 207.4 | 5.095 | 285.3 | 15.29 | 964.566 | 20.7474 | 7.7481
2020-04-25 06:45:00 | 4.586 | 301 | 5.113 | 313 | 5.618 | 208.2 | 5.679 | 305.2 | 15.12 | 964.756 | 22.3853 | 11.2139
2020-04-25 07:00:00 | 4.004 | 337.6 | 4.256 | 357.1 | 4.473 | 194.4 | 4.459 | 334.3 | 15.06 | 965.201 | 24.3617 | 11.8752
2020-04-25 07:15:00 | 3.28 | 354.6 | 4.543 | 24.21 | 5.849 | 157.3 | 5.684 | 353.4 | 14.89 | 965.349 | 27.2911 | 11.8974
2020-04-25 07:30:00 | 5.28 | 8.77 | 5.949 | 27.19 | 6.032 | 140.9 | 6.272 | 7.42 | 13.87 | 965.052 | 28.8593 | 11.3284
2020-04-25 07:45:00 | 6.121 | 10.4 | 7.028 | 26.47 | 7.07 | 139.9 | 6.662 | 15.29 | 14.13 | 965.052 | 26.7792 | 13.3938
2020-04-25 08:00:00 | 5.781 | 358.8 | 6.634 | 21.43 | 7.103 | 132.1 | 7.24 | 358.2 | 14.45 | 965.646 | 28.6547 | 19.8376
2020-04-25 08:15:00 | 5.978 | 5.35 | 6.974 | 34.09 | 6.574 | 127 | 6.942 | 356.7 | 14.22 | 965.646 | 30.6332 | 25.3651
2020-04-25 08:30:00 | 5.472 | 4.564 | 7.67 | 31.06 | 7.769 | 127.2 | 8.01 | 354.9 | 14.41 | 966.24 | 35.545 | 41.2712
2020-04-25 08:45:00 | 5.704 | 3.44 | 6.647 | 29.8 | 7.426 | 126.9 | 7.612 | 357.3 | 14.18 | 966.24 | 40.1501 | 30.8778
2020-04-25 09:00:00 | 6.253 | 7.319 | 7.345 | 34.72 | 7.047 | 125.4 | 7.319 | 355.5 | 14.45 | 967.279 | 40.116 | 38.8107
2020-04-25 09:15:00 | 5.41 | 4.99 | 7.317 | 34.25 | 6.889 | 125.3 | 6.914 | 355.9 | 14.83 | 967.427 | 44.1412 | 44.6226
2020-04-25 09:30:00 | 6.062 | 359.1 | 7.163 | 31.16 | 7.846 | 124.6 | 8.19 | 350.7 | 15.39 | 968.021 | 42.1286 | 42.6976
2020-04-25 09:45:00 | 7.17 | 7.088 | 8.29 | 27.48 | 8.79 | 123.7 | 8.98 | 0.939 | 15.95 | 968.552 | 39.5702 | 56.2392
2020-04-25 10:00:00 | 7.405 | 3.616 | 8.33 | 26.76 | 8.46 | 121.2 | 8.71 | 357.8 | 15.93 | 968.528 | 39.502 | 46.7361
2020-04-25 10:15:00 | 6.991 | 13.98 | 9.99 | 31.97 | 8.67 | 115.9 | 8.17 | 12.87 | 16.28 | 968.785 | 34.7263 | 58.9623
2020-04-25 10:30:00 | 6.043 | 17.07 | 10.36 | 36.79 | 8.66 | 114.9 | 8.14 | 11.97 | 16.65 | 969.361 | 34.3851 | 56.9367
2020-04-25 10:45:00 | 8.14 | 9.38 | 9.87 | 34.81 | 8.75 | 110.3 | 8.87 | 360 | 16.64 | 969.506 | 30.4946 | 67.3562
2020-04-25 11:00:00 | 8.18 | 6.198 | 9.85 | 30.28 | 9.43 | 109.5 | 9.7 | 359.2 | 16.71 | 969.506 | 29.5388 | 71.6837
2020-04-25 11:15:00 | 11.11 | 8.55 | 10.99 | 25.1 | 10.66 | 107.4 | 10.65 | 3.965 | 16.72 | 969.506 | 27.9698 | 71.64
2020-04-25 11:30:00 | 7.926 | 14.99 | 11.24 | 33.68 | 9.71 | 107.7 | 9.5 | 11.35 | 16.82 | 969.654 | 28.0719 | 62.6231
2020-04-25 11:45:00 | 9.38 | 8.07 | 9.72 | 23.18 | 9.97 | 107.5 | 10.3 | 4.613 | 16.74 | 969.803 | 28.4128 | 65.8656
2020-04-25 12:00:00 | 7.305 | 13.79 | 10.68 | 34.74 | 9.69 | 107.8 | 9.83 | 10.64 | 17.08 | 969.803 | 28.038 | 66.4762
2020-04-25 12:15:00 | 7.806 | 14.04 | 11.36 | 33.68 | 9.96 | 99.4 | 9.75 | 8.94 | 17.11 | 969.506 | 25.8222 | 65.5613
2020-04-25 12:30:00 | 8.5 | 12.7 | 11.27 | 30.18 | 9.56 | 92.6 | 9.32 | 13.8 | 16.81 | 970.037 | 24.5949 | 63.485
2020-04-25 12:45:00 | 6.876 | 13.53 | 9.55 | 36.98 | 7.363 | 92.9 | 7.37 | 3.326 | 17.14 | 970.379 | 24.322 | 56.3712
2020-04-25 13:00:00 | 7.67 | 13.2 | 9.28 | 28.58 | 8.87 | 91.6 | 8.78 | 15.89 | 16.41 | 970.214 | 24.3561 | 51.702
2020-04-25 13:15:00 | 5.482 | 11.84 | 7.884 | 30.41 | 7.825 | 92.3 | 7.696 | 9.08 | 17.53 | 970.69 | 23.7762 | 46.1328
2020-04-25 13:30:00 | 5.801 | 7.161 | 7.675 | 31.4 | 6.986 | 92 | 6.934 | 358.8 | 17.17 | 970.666 | 21.9683 | 45.6018
2020-04-25 13:45:00 | 5.16 | 20.57 | 8.42 | 38.76 | 8.79 | 99.4 | 8.68 | 16.83 | 17.39 | 970.914 | 24.9701 | 47.3447
2020-04-25 14:00:00 | 6.118 | 16.22 | 10.46 | 32.85 | 9.48 | 103 | 8.92 | 18.57 | 17.35 | 970.783 | 24.0491 | 39.6049
2020-04-25 14:15:00 | 6.506 | 19.7 | 10.3 | 36.57 | 9.91 | 101.1 | 9.4 | 21.65 | 16.84 | 970.708 | 24.8337 | 41.301
2020-04-25 14:30:00 | 5.396 | 16.36 | 9.11 | 33.19 | 9.16 | 99.9 | 8.88 | 19.57 | 16.93 | 970.693 | 25.2767 | 46.8691
2020-04-25 14:45:00 | 6.705 | 11.69 | 8.73 | 30.21 | 8.64 | 98.8 | 8.56 | 8.06 | 17.48 | 970.693 | 23.7041 | 40.884
2020-04-25 15:00:00 | 4.673 | 4.071 | 6.657 | 29.12 | 7.045 | 98.9 | 7.016 | 353 | 17.49 | 971.287 | 25.2388 | 46.7324
2020-04-25 15:15:00 | 5.771 | 13.55 | 7.981 | 26.31 | 7.5 | 100.7 | 7.38 | 14.46 | 17.14 | 970.99 | 24.4537 | 40.0743
2020-04-25 15:30:00 | 5.418 | 9.15 | 7.649 | 35.96 | 6.963 | 99.8 | 7.031 | 1.911 | 17.28 | 971.238 | 25.6447 | 39.8563
2020-04-25 15:45:00 | 5.712 | 14.21 | 8.98 | 31.36 | 7.675 | 100 | 7.064 | 15.99 | 17.12 | 970.672 | 26.3947 | 36.4978
2020-04-25 16:00:00 | 6.662 | 13.5 | 9.5 | 29.43 | 8.61 | 100 | 8.18 | 15.72 | 17.09 | 971.133 | 24.28 | 35.1638
2020-04-25 16:15:00 | 5.298 | 11.05 | 6.675 | 30.15 | 6.004 | 100.3 | 6.038 | 8.7 | 17.21 | 971.258 | 24.0412 | 23.477
2020-04-25 16:30:00 | 4.212 | 14.04 | 6.634 | 27.39 | 6.622 | 100.6 | 6.325 | 20.82 | 17.02 | 971.047 | 25.0983 | 19.8007
2020-04-25 16:45:00 | 2.605 | 40.8 | 4.055 | 57.6 | 4.458 | 101.4 | 4.309 | 43.32 | 17.14 | 971.584 | 24.7571 | 11.4984
2020-04-25 17:00:00 | 2.34 | 23.21 | 5.67 | 38.56 | 6.434 | 102.6 | 6.203 | 28.37 | 17.53 | 971.605 | 25.3026 | 10.1608
2020-04-25 17:15:00 | 2.117 | 26.69 | 4.584 | 37.89 | 4.695 | 101.9 | 4.492 | 35.4 | 16.88 | 971.287 | 23.8704 | 7.567
2020-04-25 17:30:00 | 1.781 | 17.18 | 4.446 | 29.9 | 4.422 | 102.9 | 4.199 | 22.98 | 16.94 | 970.99 | 26.1211 | 4.7405
2020-04-25 17:45:00 | 2.337 | 10.66 | 3.904 | 26.69 | 3.461 | 102.2 | 3.142 | 14.89 | 16.6 | 970.897 | 26.7357 | 4.0311
2020-04-25 18:00:00 | 2.24 | 13.31 | 4.714 | 26.77 | 4.73 | 102.2 | 4.311 | 18.37 | 16.6 | 970.692 | 25.7162 | 3.7577
2020-04-25 18:15:00 | 2.595 | 9.49 | 4.581 | 25.08 | 4.178 | 102.1 | 3.69 | 14.02 | 16.4 | 970.693 | 27.4252 | 4.0828
2020-04-25 18:30:00 | 2.699 | 23.73 | 4.405 | 35 | 4.328 | 102.2 | 4.235 | 29.92 | 16.06 | 970.512 | 28.6543 | 3.7724
2020-04-25 18:45:00 | 1.619 | 14.16 | 3.883 | 28.89 | 4.15 | 102.2 | 3.593 | 19.18 | 15.76 | 970.692 | 29.4737 | 4.0754
2020-04-25 19:00:00 | 2.097 | 21.1 | 3.868 | 32.68 | 3.616 | 102.2 | 3.466 | 27.27 | 15.61 | 970.841 | 29.7546 | 3.0593
2020-04-25 19:15:00 | 1.673 | 78 | 2.15 | 80.1 | 2.228 | 102.4 | 2.172 | 89.2 | 15.57 | 970.989 | 29.483 | 1.005
2020-04-25 19:30:00 | 4.274 | 106.5 | 5.19 | 123.9 | 5.315 | 120.4 | 5.32 | 110.8 | 15.7 | 971.022 | 30.9162 | 5.0545
2020-04-25 19:45:00 | 3.84 | 111.3 | 4.53 | 128.7 | 4.382 | 121.1 | 4.421 | 116 | 15.45 | 971.379 | 31.7025 | 11.9824
2020-04-25 20:00:00 | 4.859 | 91.2 | 5.346 | 106.6 | 5.786 | 106.6 | 6.106 | 97.3 | 15.16 | 971.583 | 31.9448 | 7.7961
2020-04-25 20:15:00 | 3.08 | 62.53 | 3.029 | 83 | 2.696 | 106.3 | 2.584 | 68.06 | 15.01 | 971.88 | 32.8324 | 7.9513
2020-04-25 20:30:00 | 3.595 | 77.33 | 3.285 | 89.8 | 3.97 | 104.1 | 4.278 | 83.3 | 15.18 | 972.028 | 32.0478 | 12.6881
2020-04-25 20:45:00 | 3.34 | 82.9 | 3.676 | 96.5 | 5.13 | 106 | 5.424 | 91.6 | 15.08 | 972.177 | 30.3753 | 12.3075
2020-04-25 21:00:00 | 2.619 | 87.4 | 3.612 | 98 | 4.773 | 107.4 | 4.925 | 98.4 | 15.21 | 971.88 | 29.6924 | 18.09
2020-04-25 21:15:00 | 4.129 | 100 | 5.709 | 115.2 | 5.831 | 106 | 5.984 | 106.8 | 14.9 | 971.88 | 29.0781 | 33.3375
2020-04-25 21:30:00 | 5.602 | 88 | 6.345 | 102.2 | 7.497 | 92.7 | 7.823 | 98.2 | 14.44 | 972.177 | 30.785 | 31.3212
2020-04-25 21:45:00 | 5.117 | 91.6 | 5.954 | 104.9 | 6.755 | 93.3 | 7.036 | 99.6 | 14.65 | 972.177 | 29.9655 | 29.8839
2020-04-25 22:00:00 | 4.76 | 95.2 | 6.366 | 109.4 | 6.477 | 100 | 6.746 | 105.6 | 14.43 | 972.177 | 30.921 | 26.0117
2020-04-25 22:15:00 | 3.623 | 98.7 | 4.648 | 116.4 | 5.427 | 100.5 | 5.64 | 105.2 | 14.58 | 972.177 | 30.9203 | 21.5668
2020-04-25 22:30:00 | 2.196 | 86.1 | 3.534 | 90.7 | 3.937 | 96.1 | 4.123 | 95.1 | 13.73 | 972.177 | 32.7305 | 16.1391
2020-04-25 22:45:00 | 4.555 | 88.1 | 5.115 | 97.8 | 6.287 | 89.5 | 6.481 | 97.8 | 13.77 | 972.177 | 32.9029 | 19.6824
2020-04-25 23:00:00 | 2.794 | 109.2 | 3.589 | 129.8 | 3.761 | 108.2 | 3.86 | 118.5 | 13.31 | 971.88 | 33.4868 | 23.8835
2020-04-25 23:15:00 | 3.631 | 99.4 | 4.627 | 110.4 | 4.394 | 96.6 | 4.405 | 112.1 | 13.38 | 971.88 | 32.0191 | 26.396
2020-04-25 23:30:00 | 1.602 | 76.05 | 2.546 | 82.3 | 3.064 | 96.2 | 2.964 | 92.2 | 13.23 | 971.88 | 32.3605 | 20.6542
2020-04-25 23:45:00 | 1.65 | 77.69 | 2.321 | 82.7 | 2.168 | 95.3 | 2.156 | 90.9 | 12.97 | 971.731 | 30.5854 | 21.3858