## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-26 00:00:00 | 2.267 | 79.94 | 3.142 | 82.6 | 3.868 | 95.7 | 3.952 | 95.4 | 12.85 | 971.583 | 28.5373 | 20.1591
2020-04-26 00:15:00 | 2.817 | 92.5 | 3.602 | 100.9 | 3.954 | 95.9 | 3.937 | 102.9 | 13.39 | 971.583 | 25.704 | 21.2343
2020-04-26 00:30:00 | 4.011 | 93.8 | 5.657 | 102.6 | 4.888 | 93.5 | 4.836 | 102.7 | 13.73 | 971.286 | 25.1237 | 20.3734
2020-04-26 00:45:00 | 3.659 | 84.8 | 4.665 | 97.9 | 4.28 | 90.9 | 4.316 | 96.2 | 13.51 | 971.137 | 23.8266 | 22.1654
2020-04-26 01:00:00 | 3.769 | 97 | 4.913 | 110.5 | 4.003 | 97.1 | 3.99 | 104.3 | 13.91 | 971.137 | 23.1439 | 29.5662
2020-04-26 01:15:00 | 4.719 | 122.7 | 5.282 | 146.3 | 4.982 | 120.3 | 4.948 | 120 | 13.39 | 970.395 | 21.8467 | 53.9165
2020-04-26 01:30:00 | 4.555 | 121.4 | 5.675 | 132.5 | 5.92 | 107.2 | 5.928 | 129.8 | 14.13 | 970.692 | 21.164 | 43.1484
2020-04-26 01:45:00 | 5.633 | 117.8 | 5.944 | 137.5 | 6.175 | 122.4 | 6.213 | 122.4 | 13 | 970.692 | 22.9391 | 31.602
2020-04-26 02:00:00 | 5.965 | 120.8 | 6.506 | 137.3 | 6.027 | 121.8 | 5.852 | 128.5 | 13.55 | 970.692 | 22.9391 | 28.5131
2020-04-26 02:15:00 | 2.104 | 101 | 3.115 | 100 | 4.066 | 94.6 | 4.039 | 111.1 | 13.31 | 970.84 | 25.192 | 29.1339
2020-04-26 02:30:00 | 1.828 | 108.5 | 2.909 | 122.4 | 3.952 | 98.6 | 4.039 | 119.4 | 12.81 | 970.692 | 24.3728 | 35.8733
2020-04-26 02:45:00 | 3.576 | 118.4 | 4.63 | 142.8 | 4.7 | 125.3 | 4.66 | 121.1 | 12.58 | 970.395 | 23.3487 | 37.3734
2020-04-26 03:00:00 | 2.25 | 107.4 | 2.71 | 127.7 | 3.377 | 114.6 | 3.504 | 113.8 | 12.09 | 970.247 | 24.2362 | 34.2217
2020-04-26 03:15:00 | 2.694 | 106.4 | 2.768 | 131.1 | 3.23 | 119.9 | 3.308 | 108.7 | 12.45 | 970.098 | 25.8747 | 32.1636
2020-04-26 03:30:00 | 5.194 | 123.7 | 5.888 | 145.4 | 5.725 | 129.9 | 5.531 | 125.5 | 11.86 | 970.184 | 26.1478 | 40.477
2020-04-26 03:45:00 | 7.704 | 125.3 | 8.66 | 142.7 | 8.63 | 127.2 | 8.54 | 129.6 | 11.81 | 970.039 | 27.445 | 66.123
2020-04-26 04:00:00 | 10.09 | 126.5 | 11.08 | 143.8 | 11.48 | 131.4 | 11.36 | 131.8 | 11.68 | 969.549 | 25.3968 | 72.6961
2020-04-26 04:15:00 | 11.17 | 131 | 11.37 | 147.8 | 11.5 | 133.5 | 11.62 | 134.2 | 11.35 | 969.576 | 26.694 | 73.0767
2020-04-26 04:30:00 | 10.89 | 130.7 | 11.51 | 147 | 12.74 | 133.5 | 12.78 | 134.2 | 11.09 | 969.402 | 27.8546 | 68.5579
2020-04-26 04:45:00 | 10.18 | 134.6 | 10.69 | 151.9 | 11.51 | 138.3 | 11.57 | 138 | 10.71 | 969.536 | 28.6068 | 68.8165
2020-04-26 05:00:00 | 10.61 | 133.4 | 10.44 | 152.6 | 10.1 | 141.1 | 10.14 | 135.7 | 10.86 | 969.616 | 26.5625 | 73.0438
2020-04-26 05:15:00 | 9.89 | 135.4 | 10.23 | 152.2 | 10.43 | 141.7 | 10.43 | 138.4 | 10.75 | 969.692 | 27.5858 | 70.8043
2020-04-26 05:30:00 | 8.72 | 132.6 | 8.93 | 148.1 | 9.77 | 135.4 | 9.77 | 139.5 | 10.84 | 969.714 | 27.8254 | 72.9732
2020-04-26 05:45:00 | 7.864 | 134.2 | 7.848 | 151.6 | 8.31 | 148.8 | 8.28 | 139.1 | 10.92 | 970.254 | 26.6299 | 69.6367
2020-04-26 06:00:00 | 8.11 | 131.5 | 8.52 | 147.2 | 8.56 | 152.3 | 8.57 | 137.2 | 11.17 | 970.439 | 27.3815 | 72.9658
2020-04-26 06:15:00 | 9.68 | 127.8 | 9.88 | 143.3 | 9.98 | 146.1 | 10.02 | 134.8 | 11.47 | 970.73 | 25.5334 | 71.0001
2020-04-26 06:30:00 | 8.27 | 128.5 | 8.58 | 144.1 | 8.81 | 131.3 | 8.77 | 133.5 | 11.14 | 970.882 | 27.7181 | 67.8115
2020-04-26 06:45:00 | 7.568 | 122.7 | 7.933 | 143.1 | 8.49 | 140.5 | 8.46 | 128.1 | 11.15 | 971.138 | 27.3767 | 63.9762
2020-04-26 07:00:00 | 7.601 | 123.6 | 7.767 | 142 | 8.48 | 137.8 | 8.59 | 131.9 | 11.16 | 971.286 | 28.6056 | 60.1188
2020-04-26 07:15:00 | 7.737 | 128.3 | 8.11 | 142.6 | 8.45 | 132.1 | 8.46 | 136.4 | 11.41 | 971.583 | 28.9469 | 52.3264
2020-04-26 07:30:00 | 8.63 | 133.8 | 8.43 | 150.2 | 8.34 | 138.7 | 8.37 | 138.3 | 11.77 | 971.88 | 28.4994 | 45.6129
2020-04-26 07:45:00 | 6.008 | 140.5 | 6.368 | 161 | 6.386 | 153.6 | 6.392 | 143.9 | 11.98 | 971.88 | 29.0778 | 37.7502
2020-04-26 08:00:00 | 6.695 | 140.2 | 7.071 | 158.2 | 7.083 | 150.1 | 7.089 | 144.6 | 12.2 | 972.474 | 29.0096 | 32.8804
2020-04-26 08:15:00 | 6.475 | 139.5 | 6.468 | 161.7 | 5.821 | 153.1 | 5.77 | 142.6 | 12.73 | 972.541 | 28.1182 | 28.1067
2020-04-26 08:30:00 | 6.302 | 136.3 | 6.243 | 155.4 | 6.238 | 142.2 | 6.157 | 138.8 | 12.84 | 972.474 | 28.0157 | 24.2899
2020-04-26 08:45:00 | 4.581 | 134.3 | 4.796 | 158.7 | 4.827 | 151.4 | 4.711 | 131.1 | 13.35 | 972.919 | 27.3674 | 18.053
2020-04-26 09:00:00 | 5.566 | 149.7 | 5.693 | 167.7 | 4.313 | 152.9 | 4.171 | 151.6 | 13.9 | 973.364 | 28.6602 | 15.8952
2020-04-26 09:15:00 | 3.771 | 109.1 | 4.415 | 133.4 | 4.239 | 149.8 | 4.395 | 112.5 | 14.47 | 974.255 | 29.2685 | 12.1745
2020-04-26 09:30:00 | 2.089 | 95.7 | 2.616 | 111 | 3.095 | 148.8 | 3.089 | 102.3 | 14.17 | 974.552 | 29.5412 | 11.1732
2020-04-26 09:45:00 | 2.869 | 88.1 | 3.241 | 112.9 | 2.823 | 146.7 | 2.758 | 93.5 | 14.65 | 974.546 | 29.1319 | 8.1841
2020-04-26 10:00:00 | 3.368 | 88.3 | 4.279 | 101.1 | 4.097 | 144.7 | 4.128 | 96.6 | 14.66 | 974.573 | 28.5519 | 5.4019
2020-04-26 10:15:00 | 2.675 | 88.5 | 3.436 | 108.6 | 3.316 | 144.5 | 3.32 | 92.7 | 15.5 | 974.58 | 28.2449 | 5.4093
2020-04-26 10:30:00 | 1.949 | 95 | 3.203 | 114.1 | 3.708 | 144 | 3.639 | 97.8 | 15.36 | 974.551 | 28.7186 | 2.8968
2020-04-26 10:45:00 | 3.095 | 92.4 | 3.512 | 112.8 | 3.347 | 142.9 | 3.303 | 94.2 | 15.9 | 974.848 | 27.5239 | 1.5555
2020-04-26 11:00:00 | 2.479 | 74.4 | 3.431 | 92.1 | 3.039 | 142.3 | 2.915 | 78.52 | 16.61 | 975.293 | 25.6139 | 0.69463
2020-04-26 11:15:00 | 1.471 | 28.12 | 2.461 | 48.76 | 2.69 | 142.2 | 2.499 | 28.33 | 17.23 | 975.293 | 24.9277 | 1.5666
2020-04-26 11:30:00 | 3.166 | 14.49 | 5.192 | 32.49 | 4.684 | 150.5 | 4.303 | 16.21 | 16.98 | 974.551 | 23.9045 | 3.1258
2020-04-26 11:45:00 | 4.793 | 14.04 | 5.56 | 30.83 | 5.028 | 142.1 | 5.004 | 16.08 | 16.59 | 973.957 | 23.5635 | 1.84
2020-04-26 12:00:00 | 3.426 | 14.16 | 3.745 | 352.8 | 3.895 | 157.9 | 3.957 | 25.66 | 17.94 | 974.7 | 30.2813 | 7.8109
2020-04-26 12:15:00 | 3.005 | 332.8 | 3.425 | 354.9 | 2.909 | 153.3 | 3.039 | 330.3 | 17.35 | 974.402 | 31.8159 | 13.9222
2020-04-26 12:30:00 | 3.056 | 24.84 | 4.804 | 33.35 | 4.87 | 151 | 4.769 | 22.86 | 17.48 | 973.957 | 29.4629 | 18.5703
2020-04-26 12:45:00 | 3.1 | 9.96 | 5.808 | 31.85 | 6.368 | 144.1 | 6.346 | 2.649 | 17.84 | 974.253 | 26.2234 | 28.6129
2020-04-26 13:00:00 | 4.959 | 344.6 | 5.046 | 353.8 | 5.208 | 123.8 | 5.174 | 341.2 | 17.83 | 973.984 | 23.9045 | 34.6503
2020-04-26 13:15:00 | 2.656 | 355.2 | 4.231 | 4.933 | 5.114 | 141.6 | 4.887 | 354.7 | 17.93 | 973.847 | 22.8133 | 32.2634
2020-04-26 13:30:00 | 2.712 | 348.9 | 3.677 | 342.5 | 3.707 | 148.5 | 3.575 | 349.9 | 18.5 | 974.034 | 22.4725 | 23.8539
2020-04-26 13:45:00 | 2.056 | 25.48 | 3.916 | 25.18 | 4.524 | 139.9 | 4.456 | 17.74 | 18.73 | 974.253 | 21.8271 | 22.4092
2020-04-26 14:00:00 | 2.686 | 23.13 | 5.505 | 38.27 | 6.048 | 145.3 | 5.655 | 21.11 | 18.64 | 974.254 | 18.6884 | 15.1932
2020-04-26 14:15:00 | 2.589 | 21.53 | 3.41 | 34.86 | 3.606 | 141.1 | 3.384 | 23.83 | 18.99 | 974.723 | 20.1194 | 13.9407
2020-04-26 14:30:00 | 2.937 | 19.36 | 4.175 | 38.69 | 3.807 | 147 | 3.733 | 20.43 | 18.63 | 974.255 | 19.5737 | 14.2325
2020-04-26 14:45:00 | 2.241 | 75.24 | 2.951 | 104.2 | 2.992 | 151.1 | 2.902 | 67.7 | 19.05 | 974.847 | 18.0031 | 17.4692
2020-04-26 15:00:00 | 3.51 | 16.13 | 6.01 | 33.24 | 5.788 | 146.2 | 5.449 | 14.97 | 19.46 | 974.995 | 20.7296 | 26.0117
2020-04-26 15:15:00 | 4.184 | 12.26 | 6.271 | 30.06 | 5.806 | 139.4 | 5.589 | 7.535 | 18.55 | 974.55 | 20.8647 | 25.1756
2020-04-26 15:30:00 | 3.025 | 17.34 | 6.782 | 35.3 | 6.737 | 147.2 | 6.287 | 16.21 | 18.87 | 974.105 | 20.0474 | 24.1015
2020-04-26 15:45:00 | 3.127 | 14.51 | 6.726 | 33 | 6.498 | 148.2 | 5.887 | 16.43 | 18.76 | 974.253 | 21.1388 | 24.4045
2020-04-26 16:00:00 | 3.347 | 12.28 | 5.346 | 33.85 | 5.198 | 140.2 | 5.185 | 7.103 | 18.55 | 974.402 | 21.65 | 23.2221
2020-04-26 16:15:00 | 3.641 | 20.17 | 6.228 | 39.8 | 5.376 | 138 | 5.083 | 7.974 | 18.42 | 974.253 | 22.3661 | 18.5962
2020-04-26 16:30:00 | 1.842 | 13.87 | 4.598 | 36.9 | 5.971 | 145.3 | 5.289 | 15.81 | 19.11 | 974.847 | 21.4115 | 17.5653
2020-04-26 16:45:00 | 2.893 | 19.93 | 7.156 | 34.03 | 6.905 | 137.9 | 6.455 | 25.11 | 18.32 | 974.253 | 22.6389 | 17.8904
2020-04-26 17:00:00 | 1.54 | 21.58 | 3.987 | 39.36 | 5.175 | 146.6 | 4.823 | 30.21 | 18.62 | 974.55 | 22.6058 | 16.2795
2020-04-26 17:15:00 | 3.422 | 39.63 | 6.312 | 55.01 | 6.144 | 138.6 | 6.02 | 46.05 | 18.12 | 974.253 | 22.7094 | 12.5514
2020-04-26 17:30:00 | 2.842 | 33.4 | 5.532 | 46.06 | 5.964 | 138.5 | 5.77 | 42.14 | 17.88 | 974.105 | 23.1884 | 12.3371
2020-04-26 17:45:00 | 3.163 | 41.25 | 5.65 | 56.34 | 6.093 | 135.6 | 5.977 | 45.41 | 17.76 | 973.711 | 22.1658 | 18.7994
2020-04-26 18:00:00 | 3.616 | 43.08 | 6.58 | 52.7 | 6.795 | 132.7 | 6.715 | 51.23 | 17.52 | 973.657 | 22.6464 | 16.697
2020-04-26 18:15:00 | 3.944 | 46.83 | 4.803 | 57.55 | 4.786 | 131.2 | 4.696 | 57.1 | 17.41 | 973.364 | 22.9883 | 13.985
2020-04-26 18:30:00 | 3.766 | 59.03 | 4.709 | 71.14 | 4.42 | 131.2 | 4.352 | 64.71 | 17.31 | 973.17 | 22.8893 | 15.4555
2020-04-26 18:45:00 | 3.317 | 62.3 | 4.085 | 72.96 | 3.581 | 131.4 | 3.313 | 68.96 | 16.97 | 973.363 | 23.1963 | 13.4382
2020-04-26 19:00:00 | 3.784 | 57.98 | 4.484 | 76.09 | 4.222 | 131.1 | 4.008 | 62.22 | 16.85 | 973.513 | 23.1286 | 8.7088
2020-04-26 19:15:00 | 4.354 | 50.41 | 5.402 | 64.58 | 4.954 | 130.3 | 4.879 | 56.81 | 16.71 | 973.809 | 22.383 | 8.8602
2020-04-26 19:30:00 | 3.248 | 52.34 | 4.162 | 62.41 | 4.649 | 131.1 | 4.517 | 63.14 | 16.42 | 973.958 | 22.59 | 8.1065
2020-04-26 19:45:00 | 3.731 | 72.76 | 3.85 | 82.9 | 3.087 | 130.6 | 3.028 | 69.59 | 16.34 | 973.958 | 22.2488 | 9.577
2020-04-26 20:00:00 | 4.096 | 72.94 | 3.883 | 85.7 | 3.232 | 130.1 | 3.193 | 73.17 | 16.36 | 974.255 | 21.9758 | 10.4121
2020-04-26 20:15:00 | 3.659 | 66.3 | 2.975 | 81.6 | 2.449 | 130.3 | 2.467 | 66.97 | 16.38 | 974.552 | 21.8393 | 11.1215
2020-04-26 20:30:00 | 5.012 | 92 | 5.772 | 107.6 | 5.613 | 129.5 | 5.862 | 98.4 | 16.33 | 974.88 | 21.2933 | 13.9591
2020-04-26 20:45:00 | 3.11 | 82.4 | 2.722 | 92.3 | 2.876 | 130.2 | 2.926 | 82.4 | 16.41 | 974.997 | 21.6345 | 12.9467
2020-04-26 21:00:00 | 3.968 | 94.6 | 4.453 | 107.2 | 4.361 | 130 | 4.752 | 100.4 | 16.47 | 975.169 | 21.4298 | 13.1463
2020-04-26 21:15:00 | 4.131 | 93.9 | 5.005 | 106.2 | 5.389 | 129.7 | 5.595 | 99.5 | 16.48 | 975.158 | 21.498 | 21.419
2020-04-26 21:30:00 | 4.328 | 101.9 | 4.924 | 115.5 | 5.229 | 129.5 | 5.47 | 108.5 | 16.34 | 975.146 | 21.9075 | 23.344
2020-04-26 21:45:00 | 6.22 | 103.9 | 7.255 | 115.9 | 7.48 | 125.4 | 7.831 | 108.4 | 16.31 | 975.002 | 22.5217 | 26.9133
2020-04-26 22:00:00 | 5.163 | 106.5 | 6.716 | 118.6 | 7.368 | 119.5 | 7.604 | 113.1 | 15.9 | 975.294 | 23.8185 | 35.2636
2020-04-26 22:15:00 | 7.688 | 111 | 8.06 | 128.6 | 8.57 | 119.6 | 8.71 | 115.3 | 15.36 | 975.022 | 25.0469 | 39.6161
2020-04-26 22:30:00 | 6.442 | 116.6 | 7.299 | 131.8 | 8.1 | 126.6 | 8.19 | 119.8 | 14.99 | 975.285 | 25.0469 | 43.5364
2020-04-26 22:45:00 | 6.384 | 119.9 | 7.414 | 138.2 | 8.1 | 134 | 8.15 | 120.7 | 14.93 | 975.129 | 25.1162 | 53.154
2020-04-26 23:00:00 | 8.12 | 113.7 | 8.45 | 134.4 | 8.96 | 126.9 | 9.19 | 118.6 | 14.55 | 974.998 | 25.3915 | 42.3134
2020-04-26 23:15:00 | 7.28 | 130.2 | 7.36 | 149.9 | 7.472 | 126.2 | 7.456 | 132.4 | 14.19 | 974.85 | 25.5973 | 44.0389
2020-04-26 23:30:00 | 7.262 | 123.8 | 7.879 | 144.5 | 8.43 | 125.6 | 8.63 | 128.2 | 14.14 | 975.443 | 24.0273 | 30.7116
2020-04-26 23:45:00 | 7.065 | 135.2 | 7.442 | 153 | 7.866 | 127.6 | 7.836 | 139.7 | 13.98 | 975.889 | 23.959 | 32.0011