## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-27 00:00:00 | 7.79 | 137.8 | 8.11 | 154.6 | 8.76 | 133 | 8.7 | 143.9 | 13.81 | 975.443 | 24.3676 | 33.8041
2020-04-27 00:15:00 | 7.162 | 141.3 | 7.457 | 157.7 | 7.894 | 134.4 | 7.823 | 145.8 | 13.72 | 975.443 | 24.8463 | 28.6055
2020-04-27 00:30:00 | 5.566 | 141.8 | 6.164 | 157.9 | 6.427 | 137 | 6.445 | 147.3 | 13.68 | 975.443 | 24.7794 | 25.6053
2020-04-27 00:45:00 | 4.609 | 142.6 | 5.046 | 160.9 | 6.218 | 137.4 | 6.361 | 146.1 | 13.53 | 975.295 | 24.9179 | 25.2838
2020-04-27 01:00:00 | 6.348 | 134.8 | 6.782 | 150.7 | 7.546 | 132 | 7.535 | 140.4 | 13.82 | 975.146 | 23.6892 | 25.6533
2020-04-27 01:15:00 | 7.351 | 123.4 | 7.91 | 137.6 | 8.11 | 118.3 | 8.11 | 129.9 | 14.08 | 975.146 | 21.3683 | 26.2223
2020-04-27 01:30:00 | 7.818 | 132.7 | 8.03 | 145.3 | 7.581 | 117.7 | 7.543 | 136.9 | 13.98 | 975.443 | 19.5914 | 22.8194
2020-04-27 01:45:00 | 8.44 | 133.8 | 8.22 | 149.2 | 8.15 | 129.2 | 8.1 | 138.2 | 14.32 | 975.443 | 18.9085 | 21.0237
2020-04-27 02:00:00 | 8.86 | 127.9 | 8.74 | 143.2 | 8.56 | 125.2 | 8.47 | 132.3 | 14.44 | 975.443 | 18.4298 | 28.5279
2020-04-27 02:15:00 | 7.877 | 127.6 | 7.92 | 143.7 | 8.1 | 117.7 | 8.05 | 133.9 | 14.33 | 975.592 | 18.7021 | 24.8441
2020-04-27 02:30:00 | 6.692 | 130.8 | 6.972 | 148.7 | 7.742 | 115.5 | 7.657 | 136.6 | 14.11 | 975.592 | 18.8389 | 24.1126
2020-04-27 02:45:00 | 4.333 | 139.6 | 4.852 | 165.2 | 6.472 | 115.4 | 6.547 | 143.6 | 13.6 | 975.74 | 20.5457 | 18.2895
2020-04-27 03:00:00 | 5.796 | 137.6 | 6.366 | 157.1 | 6.806 | 115.6 | 6.741 | 142.9 | 13.97 | 975.443 | 20.2046 | 18.4003
2020-04-27 03:15:00 | 6.93 | 119.3 | 7.6 | 135.2 | 7.622 | 113.7 | 7.449 | 125.7 | 14.3 | 975.592 | 19.7959 | 24.131
2020-04-27 03:30:00 | 7.494 | 126.5 | 7.943 | 142 | 7.724 | 115.2 | 7.53 | 133.1 | 14.28 | 975.443 | 19.1129 | 28.6942
2020-04-27 03:45:00 | 6.539 | 128 | 7.634 | 142.5 | 7.815 | 115.8 | 7.68 | 133.8 | 13.91 | 975.443 | 19.727 | 30.3532
2020-04-27 04:00:00 | 7.346 | 128.3 | 7.961 | 142.7 | 7.673 | 122.6 | 7.418 | 135.7 | 14.25 | 975.443 | 20.1374 | 26.8837
2020-04-27 04:15:00 | 6.996 | 132.9 | 7.248 | 148.5 | 7.663 | 120.2 | 7.599 | 141.5 | 13.82 | 975.889 | 19.3183 | 23.8724
2020-04-27 04:30:00 | 6.777 | 137.2 | 7.222 | 152.8 | 7.752 | 121.9 | 7.701 | 143.6 | 12.9 | 975.443 | 19.6607 | 28.151
2020-04-27 04:45:00 | 7.875 | 136.2 | 8.07 | 152.4 | 8.49 | 125.3 | 8.36 | 143.3 | 13.05 | 975.443 | 19.1159 | 33.7783
2020-04-27 05:00:00 | 6.894 | 139.4 | 7.232 | 159.8 | 7.688 | 126.7 | 7.724 | 147.1 | 12.7 | 975.74 | 22.7343 | 33.5751
2020-04-27 05:15:00 | 6.539 | 141.8 | 7.01 | 163.1 | 7.902 | 127.7 | 7.917 | 147.8 | 12.34 | 975.592 | 24.8507 | 29.5772
2020-04-27 05:30:00 | 5.84 | 145.3 | 6.284 | 168.2 | 7.383 | 128.2 | 7.39 | 151.8 | 12.09 | 975.74 | 25.2603 | 23.2517
2020-04-27 05:45:00 | 5 | 146.3 | 5.438 | 170.8 | 6.933 | 128 | 6.993 | 148.2 | 11.77 | 975.889 | 28.2642 | 21.4153
2020-04-27 06:00:00 | 5.949 | 149.5 | 6.34 | 169.5 | 7.589 | 128.4 | 7.619 | 160.4 | 11.65 | 976.038 | 29.7662 | 21.6592
2020-04-27 06:15:00 | 6.294 | 148.1 | 7.087 | 163.9 | 8.06 | 128.2 | 7.981 | 160.2 | 11.21 | 976.038 | 30.3123 | 21.6924
2020-04-27 06:30:00 | 6.514 | 140.4 | 7.836 | 162.1 | 8.15 | 128.5 | 8.02 | 160.6 | 11.43 | 976.186 | 27.7863 | 19.1024
2020-04-27 06:45:00 | 7.224 | 129.1 | 7.526 | 166.5 | 7.296 | 128.9 | 7.191 | 165.5 | 12.57 | 976.632 | 27.5815 | 14.3693
2020-04-27 07:00:00 | 5.37 | 130.6 | 6.22 | 170.4 | 6.513 | 128.7 | 6.407 | 168 | 12.47 | 977.374 | 28.6693 | 10.1054
2020-04-27 07:15:00 | 5.995 | 138.7 | 5.862 | 164.3 | 5.834 | 128.7 | 5.803 | 163.6 | 12.91 | 977.523 | 25.3925 | 8.1841
2020-04-27 07:30:00 | 5.092 | 126.6 | 5.161 | 170.5 | 4.776 | 128.7 | 4.708 | 176.9 | 13.53 | 977.627 | 26.0028 | 6.7911
2020-04-27 07:45:00 | 4.124 | 121.3 | 4.2 | 168.9 | 3.726 | 128.6 | 3.695 | 172.8 | 13.87 | 978.115 | 26.3436 | 3.7798
2020-04-27 08:00:00 | 3.557 | 148.7 | 3.487 | 185.6 | 3.143 | 128.6 | 3.152 | 179.1 | 14.43 | 978.411 | 26.9503 | 4.1456
2020-04-27 08:15:00 | 4.042 | 117.8 | 3.523 | 167.2 | 2.785 | 128.6 | 2.671 | 166.2 | 14.89 | 978.833 | 26.5393 | 4.3082
2020-04-27 08:30:00 | 4.463 | 134 | 4.241 | 177 | 3.596 | 128.6 | 3.504 | 170.8 | 14.77 | 978.58 | 28.2446 | 4.238
2020-04-27 08:45:00 | 3.202 | 140.1 | 2.914 | 175.6 | 2.558 | 128.6 | 2.513 | 175 | 15.09 | 979.003 | 28.5132 | 3.9941
2020-04-27 09:00:00 | 4.213 | 148.2 | 3.865 | 188.1 | 3.349 | 128.5 | 3.313 | 179.1 | 15.67 | 979.893 | 27.6262 | 4.6223
2020-04-27 09:15:00 | 4.175 | 161.5 | 4.021 | 187.3 | 3.459 | 128.6 | 3.422 | 183 | 15.99 | 979.893 | 28.1694 | 4.8809
2020-04-27 09:30:00 | 4.777 | 135.4 | 4.717 | 170.2 | 4.211 | 128.5 | 4.146 | 166.7 | 15.85 | 979.873 | 28.5424 | 5.3982
2020-04-27 09:45:00 | 6.588 | 182.1 | 6.274 | 192 | 5.526 | 129.4 | 5.444 | 189.2 | 15.64 | 979.586 | 29.9081 | 9.2002
2020-04-27 10:00:00 | 6.34 | 173 | 6.22 | 185.5 | 5.534 | 129 | 5.521 | 178.2 | 15.91 | 979.596 | 25.7162 | 8.9674
2020-04-27 10:15:00 | 5.378 | 187.3 | 5.108 | 200.5 | 4.766 | 129.1 | 4.869 | 190.3 | 16.16 | 979.596 | 25.6821 | 7.6816
2020-04-27 10:30:00 | 5.212 | 189.7 | 4.985 | 197.7 | 4.728 | 129.1 | 4.683 | 196.6 | 16.57 | 979.893 | 25.5798 | 3.5286
2020-04-27 10:45:00 | 4.456 | 188.5 | 4.221 | 200.1 | 3.751 | 129.2 | 3.792 | 188.1 | 16.85 | 979.893 | 26.8076 | 3.1443
2020-04-27 11:00:00 | 3.603 | 174.3 | 3.881 | 183.9 | 3.614 | 129 | 3.496 | 179 | 17.05 | 980.338 | 28.7858 | 1.489
2020-04-27 11:15:00 | 3.917 | 185.6 | 3.817 | 190.1 | 3.657 | 129.1 | 3.679 | 190.4 | 17.4 | 980.338 | 27.828 | 0.31037
2020-04-27 11:30:00 | 4.274 | 151.6 | 3.919 | 165.7 | 3.868 | 128.6 | 3.85 | 162.9 | 17.67 | 980.05 | 24.8594 | 3.4177
2020-04-27 11:45:00 | 5.288 | 244.5 | 5.559 | 256.8 | 5.73 | 129.3 | 5.505 | 246 | 18.15 | 980.04 | 29.0537 | 8.7974
2020-04-27 12:00:00 | 4.78 | 270.5 | 5.484 | 283.4 | 5.366 | 129.4 | 5.22 | 273 | 18.03 | 979.89 | 28.0648 | 12.9911
2020-04-27 12:15:00 | 5.975 | 288.3 | 6.524 | 305.2 | 5.956 | 98.8 | 5.796 | 286.9 | 17.98 | 979.89 | 28.6445 | 13.6598
2020-04-27 12:30:00 | 5.983 | 255.8 | 6.389 | 267.5 | 5.951 | 114.4 | 5.768 | 258 | 18.06 | 979.873 | 30.3154 | 11.9565
2020-04-27 12:45:00 | 4.777 | 260.6 | 5.276 | 272.3 | 5.46 | 111.3 | 5.386 | 263.4 | 18.12 | 980.187 | 28.7839 | 12.0415
2020-04-27 13:00:00 | 5.293 | 245.9 | 5.537 | 257.2 | 5.524 | 114.1 | 5.452 | 250 | 17.8 | 979.744 | 30.5593 | 8.1767
2020-04-27 13:15:00 | 4.821 | 260.6 | 5.363 | 276.2 | 4.834 | 114.8 | 4.769 | 257.3 | 18.46 | 980.189 | 29.161 | 9.6435
2020-04-27 13:30:00 | 4.254 | 278.1 | 5.082 | 297.1 | 4.768 | 103.2 | 4.808 | 270.8 | 19.07 | 979.893 | 24.2497 | 6.769
2020-04-27 13:45:00 | 5.62 | 275.3 | 6.115 | 288.4 | 6.106 | 104 | 6 | 276.1 | 18.96 | 980.338 | 26.4325 | 8.6127
2020-04-27 14:00:00 | 4.719 | 261.8 | 5.609 | 269.6 | 6.058 | 108 | 5.946 | 264.5 | 18.86 | 980.634 | 23.5672 | 7.4968
2020-04-27 14:15:00 | 4.198 | 260.1 | 4.131 | 272.5 | 3.888 | 109.2 | 3.807 | 262.6 | 18.86 | 980.161 | 24.2126 | 9.6916
2020-04-27 14:30:00 | 5.656 | 302.1 | 5.813 | 317.3 | 6.104 | 84.8 | 6.094 | 301.7 | 19.42 | 980.367 | 23.4953 | 11.3949
2020-04-27 14:45:00 | 3.494 | 282.5 | 3.989 | 300.7 | 4.016 | 79.21 | 4.028 | 282 | 19.24 | 980.187 | 27.2805 | 9.784
2020-04-27 15:00:00 | 3.774 | 251.1 | 4.242 | 262.1 | 4.288 | 99.4 | 4.273 | 253 | 19.17 | 979.89 | 26.1188 | 5.2688
2020-04-27 15:15:00 | 4.864 | 245.4 | 5.133 | 257.4 | 5.257 | 102.2 | 5.205 | 252.6 | 19.65 | 980.038 | 26.1167 | 5.158
2020-04-27 15:30:00 | 2.706 | 264.7 | 3.282 | 271.7 | 3.092 | 86.6 | 3.01 | 269 | 19.04 | 980.038 | 22.9115 | 4.5262
2020-04-27 15:45:00 | 3.287 | 260.5 | 3.722 | 277.2 | 3.293 | 87.1 | 3.16 | 258.2 | 19.06 | 979.742 | 25.0596 | 4.6333
2020-04-27 16:00:00 | 4.244 | 279 | 4.936 | 291.7 | 4.644 | 81.8 | 4.538 | 279.2 | 19.44 | 979.89 | 24.8202 | 4.5447
2020-04-27 16:15:00 | 3.922 | 248.3 | 4.062 | 260.2 | 3.865 | 82.6 | 3.733 | 246.8 | 19 | 979.593 | 25.4332 | 2.6825
2020-04-27 16:30:00 | 4.109 | 270.4 | 5.151 | 285.6 | 5.249 | 46.64 | 5.164 | 270.2 | 19.44 | 979.593 | 24.99 | 2.5088
2020-04-27 16:45:00 | 4.356 | 265.4 | 4.433 | 276.7 | 4.415 | 46.63 | 4.283 | 269.7 | 19.12 | 979.445 | 21.6148 | 1.8363
2020-04-27 17:00:00 | 2.437 | 287.7 | 3.119 | 297.9 | 3.039 | 47.02 | 2.987 | 288.3 | 19.29 | 979.445 | 20.7972 | 2.1541
2020-04-27 17:15:00 | 3.897 | 261.6 | 4.169 | 274.2 | 4.054 | 47.33 | 3.909 | 264 | 18.93 | 978.852 | 24.2071 | 1.8733
2020-04-27 17:30:00 | 4.078 | 261.9 | 4.282 | 276.1 | 4.183 | 47.23 | 4.1 | 264.2 | 18.97 | 978.852 | 29.4919 | 1.1565
2020-04-27 17:45:00 | 3.1 | 267.8 | 3.441 | 276.6 | 3.184 | 47.17 | 2.964 | 272.9 | 18.63 | 978.258 | 29.8689 | 0.218
2020-04-27 18:00:00 | 3.664 | 215.9 | 3.898 | 224 | 3.736 | 83.7 | 3.695 | 219.9 | 18.61 | 977.665 | 30.5541 | 0.066507
2020-04-27 18:15:00 | 3.713 | 227.3 | 3.96 | 241.2 | 4.005 | 83.7 | 3.949 | 229.9 | 18.43 | 977.452 | 29.4648 | 0.27342
2020-04-27 18:30:00 | 2.865 | 210.5 | 3.147 | 222.8 | 3.545 | 83.3 | 3.539 | 211 | 18.34 | 977.37 | 29.3997 | 0.94219
2020-04-27 18:45:00 | 3.113 | 219.9 | 3.824 | 232.5 | 3.949 | 83.6 | 4.023 | 220.9 | 18.06 | 976.806 | 29.882 | 1.8622
2020-04-27 19:00:00 | 2.19 | 214.5 | 2.845 | 229.8 | 3.812 | 83.3 | 4.005 | 220.9 | 17.71 | 977.05 | 30.2234 | 1.9028
2020-04-27 19:15:00 | 2.096 | 199.7 | 2.773 | 216 | 3.815 | 83.2 | 3.97 | 206 | 17.53 | 976.63 | 30.5646 | 2.3093
2020-04-27 19:30:00 | 2.385 | 181.3 | 3.771 | 195.4 | 3.726 | 83.1 | 3.692 | 188.5 | 17.31 | 976.63 | 31.1123 | 4.1567
2020-04-27 19:45:00 | 3.759 | 179.5 | 4.64 | 187.1 | 4.954 | 83.7 | 4.991 | 187.8 | 17.16 | 976.63 | 31.7308 | 7.9365
2020-04-27 20:00:00 | 3.94 | 185.7 | 5.085 | 194.6 | 5.562 | 83.8 | 5.679 | 192.4 | 17.16 | 976.63 | 33.475 | 12.8987
2020-04-27 20:15:00 | 4.497 | 179.4 | 5.23 | 188.4 | 5.689 | 84.1 | 5.847 | 186.2 | 17.14 | 976.63 | 33.7826 | 13.9961
2020-04-27 20:30:00 | 4.484 | 176.6 | 4.584 | 185.7 | 5.089 | 84.1 | 5.253 | 184.9 | 17.12 | 976.927 | 34.4989 | 14.7683
2020-04-27 20:45:00 | 4.479 | 181.4 | 5.051 | 190.9 | 5.788 | 84.2 | 5.946 | 188.2 | 17.05 | 976.778 | 33.885 | 15.7327
2020-04-27 21:00:00 | 5.301 | 173.4 | 5.742 | 182.7 | 6.02 | 84.7 | 6.145 | 182.7 | 17.16 | 976.63 | 32.3494 | 13.3532
2020-04-27 21:15:00 | 6.325 | 160.2 | 6.504 | 173.2 | 6.653 | 85.3 | 6.748 | 167.4 | 16.67 | 976.63 | 34.0556 | 19.2206
2020-04-27 21:30:00 | 6.756 | 166.7 | 6.836 | 179 | 7.116 | 86.2 | 7.179 | 172.3 | 16.8 | 976.63 | 31.4622 | 24.2456
2020-04-27 21:45:00 | 6.958 | 164.6 | 7.018 | 176.9 | 7.129 | 86.7 | 7.268 | 170.1 | 16.85 | 976.481 | 31.7352 | 26.8024
2020-04-27 22:00:00 | 7.262 | 166.2 | 7.041 | 178.1 | 6.783 | 87.7 | 6.939 | 174 | 16.65 | 976.333 | 32.6224 | 33.1391
2020-04-27 22:15:00 | 7.379 | 158.4 | 7.736 | 173.2 | 8.19 | 88.5 | 8.2 | 166.4 | 16.45 | 975.887 | 31.8717 | 33.8854
2020-04-27 22:30:00 | 6.887 | 168.8 | 7.03 | 184 | 7.017 | 88.7 | 7.163 | 173.7 | 16.38 | 976.042 | 32.7248 | 30.161
2020-04-27 22:45:00 | 7.173 | 169.5 | 7.414 | 184.7 | 7.757 | 88.8 | 7.843 | 174.2 | 15.88 | 976.036 | 33.2366 | 32.0121
2020-04-27 23:00:00 | 7.818 | 174.4 | 8.06 | 183.6 | 8.79 | 89.7 | 9.02 | 181.2 | 15.8 | 975.795 | 34.0556 | 38.3045
2020-04-27 23:15:00 | 8.7 | 173.4 | 9.01 | 188.4 | 10.35 | 91.3 | 10.56 | 179.9 | 15.97 | 975.84 | 34.3286 | 41.0719
2020-04-27 23:30:00 | 10.68 | 174.2 | 10.72 | 187.7 | 10.33 | 92.7 | 10.46 | 180.9 | 16.02 | 975.87 | 35.2158 | 38.6407
2020-04-27 23:45:00 | 8.99 | 171 | 9.18 | 185.6 | 9.58 | 92.2 | 9.71 | 178.1 | 15.69 | 975.831 | 35.9666 | 37.5248