## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-28 00:00:00 | 10.63 | 172.1 | 10.68 | 186.4 | 10.85 | 92.9 | 10.96 | 180.4 | 15.69 | 975.351 | 34.4992 | 44.2014
2020-04-28 00:15:00 | 10.98 | 173.1 | 10.78 | 187.9 | 11.29 | 93.3 | 11.42 | 179.6 | 15.64 | 975.494 | 34.9433 | 51.5763
2020-04-28 00:30:00 | 11.32 | 177.2 | 11.32 | 189.1 | 11.71 | 93.2 | 12.06 | 182.2 | 15.52 | 975.223 | 35.3186 | 55.0975
2020-04-28 00:45:00 | 11.61 | 174.1 | 11.63 | 187.7 | 12.05 | 93.4 | 12.25 | 181.9 | 15.41 | 974.997 | 35.8321 | 57.7283
2020-04-28 01:00:00 | 12.77 | 174.9 | 12.63 | 186.7 | 13.09 | 93.6 | 13.3 | 181.7 | 15.34 | 975.094 | 36.4135 | 58.7
2020-04-28 01:15:00 | 12.01 | 173.3 | 11.84 | 186.2 | 12.48 | 93.7 | 12.78 | 180.7 | 15.13 | 975.146 | 37.335 | 58.1901
2020-04-28 01:30:00 | 12.45 | 175.5 | 12.84 | 187.2 | 12.9 | 93.8 | 13.05 | 182.9 | 15.07 | 974.701 | 37.201 | 57.1703
2020-04-28 01:45:00 | 12.4 | 177.4 | 12.66 | 188.7 | 13.45 | 93.8 | 13.68 | 183.6 | 15.09 | 974.553 | 34.8805 | 60.8282
2020-04-28 02:00:00 | 13.11 | 177.1 | 13.71 | 187 | 14.14 | 94.1 | 14.39 | 183.3 | 15.01 | 974.85 | 36.723 | 67.3849
2020-04-28 02:15:00 | 13.38 | 174.8 | 13.21 | 187.1 | 13.65 | 94.5 | 13.88 | 181.2 | 14.77 | 974.701 | 39.5218 | 68.8165
2020-04-28 02:30:00 | 12.63 | 174.6 | 12.21 | 188.1 | 11.98 | 94.6 | 12.23 | 179.2 | 14.42 | 974.404 | 41.2964 | 72.6185
2020-04-28 02:45:00 | 12.07 | 174.1 | 11.77 | 188.3 | 12.06 | 94.3 | 12.34 | 178.6 | 14.04 | 973.959 | 42.8669 | 70.2559
2020-04-28 03:00:00 | 12.25 | 174.4 | 12.13 | 189.5 | 11.48 | 94.7 | 11.62 | 176.5 | 13.89 | 973.662 | 42.6953 | 71.3142
2020-04-28 03:15:00 | 10.69 | 169.8 | 10.89 | 185.9 | 11.07 | 94.8 | 11.23 | 174.5 | 13.5 | 974.256 | 45.4597 | 73.9006
2020-04-28 03:30:00 | 11.11 | 170.3 | 10.94 | 185.1 | 10.93 | 94.9 | 11.07 | 175.5 | 13.2 | 973.662 | 46.5561 | 74.4733
2020-04-28 03:45:00 | 11.17 | 164.4 | 11.21 | 179.7 | 11.25 | 94.5 | 11.38 | 171.2 | 13.04 | 973.662 | 47.9257 | 71.2276
2020-04-28 04:00:00 | 10.43 | 164.7 | 10.27 | 178 | 9.95 | 94.9 | 10.07 | 172 | 12.63 | 973.365 | 48.609 | 72.4062
2020-04-28 04:15:00 | 11.87 | 169.5 | 11.77 | 184.3 | 11.23 | 94.9 | 11.31 | 174.1 | 12.75 | 973.068 | 45.8099 | 76.2969
2020-04-28 04:30:00 | 10.74 | 161.5 | 10.71 | 176.2 | 10.63 | 94.6 | 10.63 | 171.7 | 12.34 | 972.771 | 48.6772 | 76.9055
2020-04-28 04:45:00 | 11.1 | 161.2 | 11.22 | 172.8 | 11 | 94.6 | 11.05 | 169.7 | 12.01 | 972.919 | 49.7696 | 81.1388
2020-04-28 05:00:00 | 10.94 | 157.5 | 11.2 | 172.1 | 11.67 | 94.8 | 11.69 | 163.5 | 11.6 | 972.771 | 49.9744 | 78.8997
2020-04-28 05:15:00 | 10.93 | 162.8 | 11.27 | 175.3 | 11.71 | 94.9 | 11.77 | 168.1 | 11.49 | 972.776 | 49.0186 | 80.6806
2020-04-28 05:30:00 | 11.22 | 160.7 | 11.45 | 175.1 | 12.16 | 94.9 | 12.23 | 165.6 | 11.48 | 972.869 | 48.2676 | 82.7978
2020-04-28 05:45:00 | 12 | 158.4 | 11.97 | 173 | 12.34 | 95 | 12.33 | 166.1 | 11.39 | 972.846 | 48.8138 | 81.4586
2020-04-28 06:00:00 | 12.36 | 160.3 | 12.53 | 173.3 | 12.2 | 95 | 12.09 | 167.2 | 11.4 | 973.177 | 52.91 | 81.9517
2020-04-28 06:15:00 | 10.96 | 154.8 | 11.24 | 170.7 | 12.3 | 94.8 | 12.26 | 161.6 | 11.2 | 973.252 | 49.1551 | 80.0858
2020-04-28 06:30:00 | 9.89 | 154 | 10.33 | 170.3 | 11.02 | 94.5 | 11.02 | 160 | 11.2 | 973.515 | 51.4764 | 80.156
2020-04-28 06:45:00 | 10.32 | 155.2 | 10.83 | 168.1 | 11.04 | 94.4 | 11.04 | 163.1 | 11.4 | 973.662 | 52.0908 | 81.6331
2020-04-28 07:00:00 | 10.97 | 160.5 | 11.25 | 172.4 | 11.79 | 94.9 | 11.81 | 165.1 | 11.4 | 973.662 | 53.0466 | 73.302
2020-04-28 07:15:00 | 11.33 | 155.4 | 11.88 | 168.7 | 11.9 | 94.9 | 11.75 | 164.3 | 11.83 | 973.662 | 53.9335 | 68.495
2020-04-28 07:30:00 | 12.03 | 164.7 | 11.79 | 175.9 | 11.47 | 95.1 | 11.41 | 171.4 | 12.1 | 973.959 | 53.5839 | 66.6292
2020-04-28 07:45:00 | 11.03 | 162.6 | 11.26 | 175.6 | 11.4 | 95.1 | 11.39 | 168.6 | 12.72 | 974.256 | 52.9682 | 66.9793
2020-04-28 08:00:00 | 11.39 | 169.4 | 11.61 | 183.2 | 11.55 | 95.1 | 11.68 | 174.2 | 12.97 | 974.107 | 52.4231 | 66.2892
2020-04-28 08:15:00 | 11.59 | 166.2 | 11.46 | 186.1 | 11.57 | 95.5 | 11.68 | 169 | 13.28 | 974.256 | 51.9394 | 66.9654
2020-04-28 08:30:00 | 10.86 | 170.4 | 10.41 | 184.4 | 10.4 | 95.1 | 10.49 | 175.6 | 13.59 | 974.467 | 51.0494 | 66.0849
2020-04-28 08:45:00 | 10.76 | 166.4 | 10.53 | 180.3 | 9.78 | 95.3 | 9.68 | 175.1 | 13.91 | 974.553 | 46.9886 | 69.0536
2020-04-28 09:00:00 | 11.33 | 171.4 | 10.74 | 189.4 | 10.64 | 95.5 | 10.78 | 173.4 | 14.32 | 974.552 | 47.091 | 65.1282
2020-04-28 09:15:00 | 10.96 | 167.4 | 10.01 | 184.3 | 9.48 | 95.5 | 9.45 | 176 | 14.79 | 974.849 | 47.2948 | 68.6539
2020-04-28 09:30:00 | 11.08 | 172.4 | 10.72 | 186 | 10.25 | 95.6 | 10.06 | 176.4 | 15.37 | 974.7 | 42.8507 | 75.7797
2020-04-28 09:45:00 | 11.54 | 179.7 | 11.29 | 194.4 | 10.48 | 95.7 | 10.59 | 180.7 | 15.9 | 974.997 | 42.4041 | 78.437
2020-04-28 10:00:00 | 15.34 | 179.5 | 14.51 | 195.8 | 12.9 | 97 | 12.86 | 179.8 | 16.43 | 974.552 | 38.3422 | 82.3581
2020-04-28 10:15:00 | 13.53 | 178.5 | 12.93 | 192.2 | 12.03 | 97 | 12.04 | 181 | 17 | 975.146 | 38.6833 | 85.9162
2020-04-28 10:30:00 | 12.57 | 175.7 | 11.92 | 192.2 | 10.65 | 97 | 10.62 | 176.9 | 17.58 | 974.987 | 38.7515 | 83.9321
2020-04-28 10:45:00 | 11.96 | 155.5 | 12.32 | 172.5 | 10.94 | 96.8 | 10.74 | 164.8 | 18 | 974.701 | 37.3529 | 79.0739
2020-04-28 11:00:00 | 12.17 | 174.2 | 11.88 | 192.6 | 10.42 | 97 | 10.44 | 171.2 | 18.24 | 974.849 | 36.1572 | 79.5559
2020-04-28 11:15:00 | 12.6 | 149.8 | 12.62 | 166.2 | 12.12 | 97 | 11.95 | 156.5 | 18.31 | 975.145 | 36.9714 | 76.6148
2020-04-28 11:30:00 | 13.02 | 161.7 | 12.61 | 176.7 | 11.93 | 97.2 | 11.68 | 166 | 18.64 | 974.254 | 34.5157 | 79.9417
2020-04-28 11:45:00 | 10.41 | 161.6 | 10.55 | 179.1 | 10 | 96.7 | 9.81 | 165.8 | 19.13 | 974.254 | 33.4577 | 83.4507
2020-04-28 12:00:00 | 10.44 | 159.7 | 10.43 | 176.1 | 10.08 | 96.7 | 10.06 | 164.8 | 19.24 | 973.489 | 32.1927 | 83.4729
2020-04-28 12:15:00 | 12.64 | 157.1 | 12.39 | 172.9 | 11.75 | 97.1 | 11.61 | 164.8 | 19.44 | 973.364 | 30.1823 | 75.6113
2020-04-28 12:30:00 | 11.73 | 161.8 | 11.76 | 177 | 10.8 | 97 | 10.55 | 166.7 | 19.46 | 973.364 | 29.7061 | 71.3992
2020-04-28 12:45:00 | 10.99 | 156.1 | 10.99 | 174.5 | 11.15 | 96.9 | 11.04 | 161.4 | 19.95 | 973.512 | 29.6723 | 76.886
2020-04-28 13:00:00 | 12.54 | 178.9 | 11.98 | 193.1 | 11.19 | 97.2 | 11.22 | 180.7 | 19.93 | 973.215 | 29.3654 | 76.708
2020-04-28 13:15:00 | 12.32 | 166.1 | 11.85 | 180 | 10.9 | 97.2 | 10.81 | 170.5 | 20.07 | 972.77 | 29.2972 | 78.0019
2020-04-28 13:30:00 | 10.91 | 161.7 | 11.25 | 177.8 | 10.52 | 97 | 10.49 | 166.1 | 20.37 | 972.919 | 28.7845 | 74.3025
2020-04-28 13:45:00 | 11.26 | 168.2 | 11.4 | 185.9 | 10.35 | 97.1 | 10.25 | 173.1 | 20.36 | 973.215 | 28.8178 | 78.9208
2020-04-28 14:00:00 | 12.52 | 179.3 | 11.66 | 196.1 | 10.42 | 97.3 | 10.36 | 179 | 20.5 | 972.449 | 28.4405 | 74.5445
2020-04-28 14:15:00 | 13.98 | 180.4 | 13.28 | 196.6 | 11.64 | 97.6 | 11.61 | 182.1 | 20.55 | 971.423 | 27.9625 | 77.7876
2020-04-28 14:30:00 | 12.49 | 182.5 | 11.51 | 200 | 9.7 | 97.6 | 9.66 | 179.1 | 20.93 | 972.179 | 27.4169 | 76.2838
2020-04-28 14:45:00 | 14.5 | 181.4 | 13.83 | 196.1 | 12.39 | 97.8 | 12.4 | 184 | 20.76 | 971.732 | 27.7579 | 76.9826
2020-04-28 15:00:00 | 13.66 | 178.8 | 12.94 | 194.9 | 12.05 | 97.6 | 12.09 | 180.6 | 20.91 | 971.88 | 27.7574 | 75.7314
2020-04-28 15:15:00 | 12.34 | 173.8 | 11.84 | 190.6 | 11 | 97.5 | 11.08 | 173.4 | 20.91 | 972.177 | 28.1966 | 72.3414
2020-04-28 15:30:00 | 10.14 | 173.3 | 9.59 | 190.1 | 8.81 | 97.1 | 8.82 | 174.6 | 20.96 | 971.732 | 27.8214 | 74.1666
2020-04-28 15:45:00 | 11.74 | 174.8 | 11.34 | 194.3 | 11.22 | 97.5 | 11.19 | 176.6 | 21.07 | 971.88 | 27.5486 | 71.1263
2020-04-28 16:00:00 | 10.79 | 172.1 | 10.6 | 186.2 | 10.25 | 97.3 | 10.13 | 174.3 | 20.97 | 971.732 | 28.3669 | 70.4065
2020-04-28 16:15:00 | 9.97 | 177 | 9.6 | 194.4 | 8.78 | 97.2 | 8.66 | 175.2 | 21.03 | 971.138 | 28.4009 | 66.3763
2020-04-28 16:30:00 | 10.79 | 179.8 | 10.47 | 195.5 | 8.9 | 97.4 | 8.83 | 183.3 | 21.29 | 971.287 | 27.7872 | 63.5461
2020-04-28 16:45:00 | 10.45 | 182.1 | 9.64 | 200.3 | 8.46 | 97.3 | 8.42 | 180.1 | 21.01 | 970.99 | 29.0487 | 65.4322
2020-04-28 17:00:00 | 10.89 | 182.4 | 10.33 | 194.8 | 8.75 | 97.3 | 8.67 | 182 | 21 | 971.435 | 29.5256 | 72.4068
2020-04-28 17:15:00 | 9.29 | 152.3 | 9.38 | 169 | 9.17 | 96.3 | 8.95 | 158.3 | 20.62 | 971.435 | 31.0262 | 61.924
2020-04-28 17:30:00 | 7.852 | 163.8 | 8.21 | 180.2 | 7.535 | 96.2 | 7.505 | 165.9 | 20.48 | 971.138 | 31.6406 | 60.1608
2020-04-28 17:45:00 | 9.49 | 154.9 | 9.83 | 169.2 | 9.36 | 96.8 | 9.12 | 162.9 | 20.26 | 970.545 | 32.4632 | 61.5709
2020-04-28 18:00:00 | 10.39 | 153.2 | 10.36 | 166.1 | 9.41 | 97.2 | 9.29 | 159 | 20.01 | 970.545 | 33.6232 | 59.5557
2020-04-28 18:15:00 | 9.74 | 151.6 | 9.9 | 168.6 | 9.86 | 97.1 | 9.69 | 157 | 19.72 | 969.845 | 35.26 | 60.6694
2020-04-28 18:30:00 | 10.23 | 147.6 | 10.62 | 166.5 | 10.98 | 97.4 | 10.87 | 152.9 | 19.37 | 969.5 | 36.9024 | 65.894
2020-04-28 18:45:00 | 11.13 | 151.6 | 11.56 | 168.1 | 11.73 | 97.7 | 11.68 | 157.5 | 19.14 | 969.654 | 36.5621 | 74.3292
2020-04-28 19:00:00 | 11.09 | 150.5 | 12.26 | 168.5 | 13.19 | 97.9 | 13.2 | 156.1 | 18.95 | 969.114 | 35.5787 | 82.9234
2020-04-28 19:15:00 | 13.22 | 152.1 | 13.47 | 166.7 | 13.18 | 98.3 | 13.03 | 157.6 | 18.93 | 969.385 | 35.4085 | 82.4283
2020-04-28 19:30:00 | 11.37 | 150.2 | 12.03 | 166.4 | 13.02 | 98.1 | 13.08 | 155.4 | 18.61 | 969.644 | 37.1823 | 81.6746
2020-04-28 19:45:00 | 10.53 | 151.1 | 11.07 | 167.8 | 12.74 | 97.9 | 12.78 | 155.1 | 18.14 | 969.802 | 38.2739 | 83.0031
2020-04-28 20:00:00 | 11.28 | 152.1 | 11.85 | 166.7 | 12.51 | 98.1 | 12.48 | 160.7 | 18.13 | 969.802 | 38.2398 | 80.6833
2020-04-28 20:15:00 | 11.62 | 154.4 | 12.68 | 169 | 13.27 | 98.5 | 13.34 | 159.8 | 18 | 969.95 | 37.3193 | 83.4982
2020-04-28 20:30:00 | 12.61 | 154.5 | 12.88 | 170.5 | 13.48 | 98.7 | 13.5 | 159.9 | 17.82 | 969.802 | 38.9569 | 86.7513
2020-04-28 20:45:00 | 10.2 | 152.1 | 10.64 | 167.9 | 11.3 | 98.3 | 11.28 | 157.8 | 17.6 | 969.802 | 39.9798 | 86.6906
2020-04-28 21:00:00 | 11.05 | 152.8 | 11.42 | 168.6 | 12.13 | 98.4 | 12.28 | 157.3 | 17.24 | 969.653 | 40.801 | 84.4937
2020-04-28 21:15:00 | 9.79 | 146.7 | 10.37 | 163.7 | 11.77 | 98.2 | 11.74 | 152.2 | 17 | 969.802 | 39.5781 | 87.5863
2020-04-28 21:30:00 | 10.75 | 147.4 | 11.23 | 166.7 | 12.48 | 98.3 | 12.44 | 153.2 | 16.99 | 969.653 | 41.5957 | 87.2854
2020-04-28 21:45:00 | 10.93 | 148.4 | 11.44 | 164.5 | 12.38 | 98.3 | 12.34 | 155.4 | 16.75 | 968.763 | 42.7913 | 84.9002
2020-04-28 22:00:00 | 10.25 | 149.6 | 10.59 | 166 | 12.36 | 98.2 | 12.48 | 154.3 | 16.6 | 969.208 | 43.4397 | 88.6837
2020-04-28 22:15:00 | 10.75 | 152.2 | 11.81 | 166.8 | 12.54 | 98.6 | 12.6 | 156.9 | 16.62 | 969.208 | 43.0643 | 87.7473
2020-04-28 22:30:00 | 11.32 | 152.8 | 11.47 | 168.7 | 12.03 | 98.5 | 11.9 | 156.1 | 16.65 | 968.911 | 41.7676 | 88.7079
2020-04-28 22:45:00 | 11.27 | 154.6 | 11.48 | 170.8 | 12.05 | 98.5 | 12.05 | 161.5 | 16.52 | 968.763 | 43.542 | 85.9827
2020-04-28 23:00:00 | 11.05 | 160 | 11.46 | 174.6 | 11.64 | 98.7 | 11.66 | 164.2 | 16.65 | 969.06 | 41.4264 | 84.091
2020-04-28 23:15:00 | 13.39 | 157.9 | 12.74 | 170.8 | 11.27 | 99.5 | 11.07 | 166.6 | 16.68 | 968.763 | 39.1742 | 87.2685
2020-04-28 23:30:00 | 11.4 | 169.3 | 11.2 | 180.7 | 10.83 | 99.1 | 11.01 | 171 | 16.94 | 968.763 | 38.56 | 85.3066
2020-04-28 23:45:00 | 11.44 | 166.3 | 11.48 | 179.7 | 11.28 | 99.2 | 11.24 | 170.6 | 16.88 | 968.614 | 37.6045 | 83.9469