## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-29 00:00:00 | 11.07 | 158.3 | 11.25 | 173.6 | 11.19 | 99.3 | 11.1 | 164.4 | 16.32 | 968.021 | 40.2662 | 86.2398
2020-04-29 00:15:00 | 11.44 | 158.4 | 11.6 | 170 | 11.03 | 99.7 | 11 | 164.1 | 16.27 | 968.169 | 40.0614 | 85.7241
2020-04-29 00:30:00 | 11.53 | 154 | 11.81 | 171.9 | 11.69 | 99.8 | 11.56 | 160.4 | 16.17 | 968.021 | 39.4472 | 86.4357
2020-04-29 00:45:00 | 10.35 | 155.3 | 10.86 | 172.3 | 12.38 | 99.6 | 12.36 | 160.9 | 15.98 | 967.724 | 39.2424 | 88.4842
2020-04-29 01:00:00 | 10.95 | 156.3 | 11.67 | 171.1 | 12.07 | 100.1 | 12 | 164.1 | 15.99 | 967.58 | 40.5392 | 87.7251
2020-04-29 01:15:00 | 10.31 | 158.3 | 10.7 | 170.2 | 10.95 | 99.8 | 11.05 | 164 | 15.71 | 967.5 | 42.1771 | 88.6911
2020-04-29 01:30:00 | 10.23 | 152.2 | 10.67 | 171.3 | 12.05 | 100.1 | 12.44 | 159.2 | 15.5 | 967.588 | 43.4397 | 84.9075
2020-04-29 01:45:00 | 10.77 | 156.1 | 11.12 | 170.9 | 11.42 | 100.3 | 11.31 | 163.5 | 15.36 | 967.688 | 43.6103 | 88.8536
2020-04-29 02:00:00 | 10.38 | 156.2 | 10.13 | 173.3 | 10.63 | 100.6 | 10.7 | 159.7 | 15.21 | 967.719 | 43.8184 | 90.1119
2020-04-29 02:15:00 | 10.32 | 148.8 | 10.82 | 166.8 | 11.87 | 100.6 | 11.76 | 155.3 | 15.18 | 967.574 | 44.3662 | 87.7045
2020-04-29 02:30:00 | 10.43 | 148.6 | 11.13 | 167.2 | 12.96 | 100.3 | 13.04 | 153.8 | 14.96 | 967.425 | 45.5968 | 87.7821
2020-04-29 02:45:00 | 10.35 | 149.2 | 10.84 | 167.8 | 12.02 | 100.7 | 12.05 | 153.9 | 15.09 | 967.425 | 45.1194 | 86.7476
2020-04-29 03:00:00 | 10.38 | 145 | 10.62 | 161.6 | 11.28 | 100.7 | 11.33 | 150.5 | 14.71 | 966.98 | 46.4846 | 86.537
2020-04-29 03:15:00 | 10.58 | 143.2 | 11.53 | 159.5 | 12.43 | 100.8 | 12.36 | 148.7 | 15.05 | 967.128 | 46.3481 | 83.7658
2020-04-29 03:30:00 | 11.51 | 144.9 | 11.76 | 160.1 | 12.31 | 100.9 | 12.25 | 151.1 | 14.98 | 966.98 | 47.5768 | 85.8148
2020-04-29 03:45:00 | 12.37 | 146.1 | 12.66 | 159.9 | 13.16 | 101 | 13.06 | 151.8 | 15.01 | 966.831 | 48.5322 | 85.059
2020-04-29 04:00:00 | 11.25 | 145.5 | 11.58 | 162.2 | 12.48 | 101 | 12.58 | 150.9 | 14.63 | 966.534 | 49.0785 | 85.4692
2020-04-29 04:15:00 | 11.46 | 141.4 | 11.86 | 158.4 | 12.89 | 101 | 12.9 | 147.4 | 14.63 | 966.534 | 47.4061 | 84.5898
2020-04-29 04:30:00 | 11.67 | 144.9 | 12.28 | 160.3 | 12.73 | 101.1 | 12.64 | 150 | 14.69 | 966.534 | 47.3715 | 85.0611
2020-04-29 04:45:00 | 10.32 | 145.7 | 10.66 | 162.9 | 11.85 | 100.9 | 11.81 | 149.6 | 14.45 | 966.238 | 47.3033 | 86.6293
2020-04-29 05:00:00 | 10.96 | 143.2 | 11.33 | 160.3 | 12.37 | 101 | 12.12 | 148.3 | 14.57 | 965.941 | 46.0747 | 85.7832
2020-04-29 05:15:00 | 12.47 | 145 | 12.66 | 160.8 | 13.13 | 101.1 | 13.03 | 149.5 | 14.72 | 966.089 | 45.6654 | 84.527
2020-04-29 05:30:00 | 11.86 | 143.8 | 12.08 | 161.3 | 12.45 | 101.1 | 12.24 | 149.5 | 14.61 | 966.238 | 45.1876 | 85.6096
2020-04-29 05:45:00 | 11.62 | 143 | 11.18 | 161.4 | 12.13 | 101 | 12.13 | 148 | 14.74 | 966.534 | 44.2662 | 84.2794
2020-04-29 06:00:00 | 11.54 | 143.8 | 11.78 | 161.6 | 12.92 | 101 | 12.83 | 149.3 | 14.86 | 966.238 | 43.3447 | 86.7624
2020-04-29 06:15:00 | 11.02 | 143.6 | 11.47 | 160.9 | 12.89 | 100.9 | 12.89 | 149.4 | 14.89 | 966.673 | 42.7247 | 84.8669
2020-04-29 06:30:00 | 11.03 | 146.6 | 11.79 | 162.6 | 13.01 | 100.8 | 12.92 | 150.7 | 15.24 | 966.264 | 40.9487 | 85.532
2020-04-29 06:45:00 | 10.94 | 144.7 | 11.78 | 162 | 12.65 | 100.7 | 12.66 | 150.2 | 15.31 | 966.24 | 41.9041 | 82.0884
2020-04-29 07:00:00 | 12.29 | 145.6 | 12.36 | 164 | 12.95 | 101 | 12.84 | 150.1 | 15.41 | 966.536 | 42.0386 | 79.9269
2020-04-29 07:15:00 | 11.7 | 148 | 11.85 | 164.3 | 12.25 | 101 | 12.13 | 152.2 | 15.45 | 966.536 | 42.0997 | 76.9156
2020-04-29 07:30:00 | 11.4 | 147.4 | 11.86 | 166.4 | 12.51 | 101 | 12.34 | 153.1 | 15.58 | 967.279 | 41.6863 | 78.8184
2020-04-29 07:45:00 | 11.69 | 147.9 | 11.9 | 164.1 | 12.86 | 101.2 | 12.81 | 153.4 | 15.55 | 966.982 | 42.7088 | 78.7889
2020-04-29 08:00:00 | 11.16 | 149.1 | 11.19 | 169.7 | 12.39 | 101.1 | 12.32 | 152.5 | 15.82 | 966.536 | 42.845 | 82.2473
2020-04-29 08:15:00 | 12.98 | 149.9 | 13.53 | 166.2 | 14.26 | 101.7 | 14.06 | 154 | 16.04 | 967.13 | 43.1861 | 83.3209
2020-04-29 08:30:00 | 12.22 | 147.6 | 12.62 | 164.5 | 14.12 | 101.7 | 14.1 | 151.5 | 16.64 | 966.982 | 41.037 | 85.1282
2020-04-29 08:45:00 | 12.81 | 150.1 | 12.8 | 164.9 | 12.57 | 101.9 | 12.38 | 156.2 | 17.02 | 967.401 | 41.2076 | 84.1427
2020-04-29 09:00:00 | 14.08 | 146.4 | 14.35 | 162 | 14.4 | 102.2 | 13.98 | 153.4 | 17.4 | 966.992 | 41.2758 | 84.4461
2020-04-29 09:15:00 | 12.09 | 150.4 | 13.16 | 165.9 | 13.21 | 102 | 12.99 | 157.5 | 18.15 | 966.538 | 40.7925 | 83.1045
2020-04-29 09:30:00 | 14.3 | 146.7 | 15.07 | 163.4 | 14.78 | 102.4 | 14.46 | 153.6 | 18.44 | 967.28 | 41.0641 | 81.8556
2020-04-29 09:45:00 | 13.21 | 152.2 | 13.35 | 168 | 12.81 | 102.5 | 12.75 | 156.9 | 19.14 | 967.429 | 39.8022 | 77.1077
2020-04-29 10:00:00 | 12.74 | 150.7 | 12.62 | 169.4 | 13.41 | 102.6 | 13.29 | 155.2 | 19.26 | 967.429 | 40.1055 | 79.2211
2020-04-29 10:15:00 | 12.74 | 150.7 | 12.62 | 169.4 | 13.41 | 102.6 | 13.29 | 155.2 | 19.26 | 967.429 | 40.1055 | 79.2211
2020-04-29 10:30:00 | 13.21 | 153 | 13.01 | 167.6 | 12.47 | 102.8 | 12.34 | 157.5 | 19.5 | 967.741 | 40.3411 | 73.508
2020-04-29 10:45:00 | 12.08 | 148.6 | 11.94 | 166.1 | 11.95 | 102.6 | 11.88 | 155.4 | 19.96 | 968.049 | 40.9889 | 73.7201
2020-04-29 11:00:00 | 13.24 | 149.2 | 13.32 | 164.6 | 13.01 | 102.9 | 12.68 | 155.2 | 20.14 | 967.727 | 40.6138 | 77.3922
2020-04-29 11:15:00 | 11.98 | 151.7 | 11.82 | 168.3 | 11.47 | 102.8 | 11.35 | 157.3 | 20.45 | 968.023 | 41.0571 | 67.4591
2020-04-29 11:30:00 | 12.6 | 151.3 | 12.84 | 168.2 | 12.28 | 103 | 12.2 | 155.3 | 20.99 | 967.875 | 40.4394 | 73.081
2020-04-29 11:45:00 | 12.32 | 153.8 | 12.1 | 172.1 | 11.42 | 103.1 | 11.29 | 157.1 | 21.23 | 968.172 | 40.7092 | 71.7725
2020-04-29 12:00:00 | 10.83 | 147.9 | 10.67 | 165.8 | 11.99 | 102.9 | 11.88 | 155.1 | 22.02 | 967.875 | 39.3454 | 63.1665
2020-04-29 12:15:00 | 12.96 | 152.2 | 13.06 | 169.2 | 12.42 | 103.3 | 12.35 | 157.5 | 22.05 | 967.727 | 38.9363 | 55.194
2020-04-29 12:30:00 | 13.35 | 154.6 | 13.95 | 171.3 | 13 | 103.6 | 12.8 | 159.8 | 22.05 | 966.985 | 39.3453 | 75.0436
2020-04-29 12:45:00 | 14.74 | 149.8 | 14.75 | 165.1 | 14.36 | 104 | 14.06 | 156.4 | 22.48 | 967.282 | 38.4586 | 75.9217
2020-04-29 13:00:00 | 14.84 | 151.4 | 14.38 | 167.2 | 13.38 | 104.6 | 13.24 | 157.9 | 22.32 | 967.43 | 39.3453 | 72.2933
2020-04-29 13:15:00 | 13.41 | 149.5 | 13.52 | 167 | 13.17 | 104.4 | 12.9 | 154 | 22.69 | 967.282 | 40.3675 | 69.6057
2020-04-29 13:30:00 | 11.95 | 152.2 | 11.86 | 165.7 | 11.61 | 104.4 | 11.43 | 158.3 | 22.83 | 967.282 | 37.2314 | 65.5466
2020-04-29 13:45:00 | 14.28 | 149.1 | 14.28 | 164.9 | 12.95 | 105 | 12.81 | 156.3 | 23.05 | 966.985 | 37.5724 | 70.6134
2020-04-29 14:00:00 | 12.58 | 156.9 | 12.56 | 169.9 | 11.65 | 104.7 | 11.35 | 161.4 | 23.78 | 967.578 | 37.4356 | 67.5122
2020-04-29 14:15:00 | 13.33 | 147.6 | 13.33 | 163.7 | 12.77 | 105 | 12.53 | 153.9 | 23.34 | 967.875 | 39.2731 | 63.5857
2020-04-29 14:30:00 | 10.05 | 149.1 | 10.53 | 167.2 | 10.4 | 104.4 | 10.43 | 156.1 | 23.82 | 968.172 | 39.3388 | 60.6535
2020-04-29 14:45:00 | 10.72 | 147.1 | 10.65 | 161.8 | 10.11 | 104.3 | 9.86 | 156 | 23.91 | 968.157 | 38.0433 | 57.5723
2020-04-29 15:00:00 | 10.4 | 147.2 | 10.27 | 162.9 | 1.876 | 104.3 | 9.97 | 152.3 | 24.13 | 968.253 | 39.8435 | 57.0596
2020-04-29 15:15:00 | 9.52 | 147.3 | 9.21 | 167.4 | 8.85 | 104.4 | 8.76 | 152.6 | 24.15 | 968.025 | 39.6046 | 51.1573
2020-04-29 15:30:00 | 10.42 | 154.3 | 9.95 | 168 | 0.517 | 104.6 | 9.29 | 159.4 | 24.14 | 967.877 | 40.3204 | 47.7717
2020-04-29 15:45:00 | 7.599 | 158.8 | 8.02 | 174.5 | 3.489 | 103.9 | 7.054 | 163 | 24.56 | 967.877 | 39.9114 | 46.5477
2020-04-29 16:00:00 | 7.525 | 141.5 | 7.718 | 159.2 | 0.003 | 104.1 | 7.851 | 148.6 | 24.36 | 968.321 | 41.0359 | 49.6107
2020-04-29 16:15:00 | 9.34 | 151 | 9.32 | 165.3 | 0 | 104.3 | 8.27 | 158.4 | 24.21 | 968.173 | 40.7268 | 49.57
2020-04-29 16:30:00 | 7.936 | 146.3 | 8.33 | 164 | 3.596 | 104 | 8.2 | 152 | 24.37 | 967.728 | 41.5774 | 43.0265
2020-04-29 16:45:00 | 9.28 | 151.2 | 9 | 164 | 8.04 | 104.2 | 7.996 | 157.2 | 24.21 | 967.728 | 42.4329 | 43.6213
2020-04-29 17:00:00 | 9.34 | 146.4 | 9.28 | 161.4 | 8.47 | 104.3 | 8.26 | 155.3 | 23.92 | 967.728 | 43.0808 | 44.5857
2020-04-29 17:15:00 | 8.54 | 147.1 | 8.87 | 164.9 | 8.67 | 104.2 | 8.67 | 152.5 | 24.01 | 967.432 | 43.6946 | 50.9076
2020-04-29 17:30:00 | 8.63 | 147 | 9.06 | 164.3 | 9.08 | 104.4 | 8.94 | 152.8 | 23.98 | 967.283 | 44.0354 | 48.7387
2020-04-29 17:45:00 | 8.24 | 149.3 | 8.82 | 165.2 | 8.98 | 104.2 | 8.98 | 153.1 | 23.83 | 967.283 | 44.7853 | 50.3525
2020-04-29 18:00:00 | 10.02 | 147.6 | 9.96 | 166.3 | 9.71 | 104.4 | 9.6 | 151.6 | 23.71 | 967.049 | 45.1943 | 51.1884
2020-04-29 18:15:00 | 9.41 | 147.6 | 9.52 | 166.6 | 9.45 | 104.3 | 9.35 | 151.1 | 23.55 | 966.927 | 45.744 | 54.4251
2020-04-29 18:30:00 | 9.37 | 144.4 | 9.93 | 161.3 | 9.76 | 104.3 | 9.59 | 150.2 | 23.3 | 966.391 | 46.6337 | 58.1458
2020-04-29 18:45:00 | 8.91 | 142.3 | 9.6 | 156.7 | 10.03 | 104.1 | 9.98 | 148.4 | 23.04 | 966.095 | 46.3319 | 62.1769
2020-04-29 19:00:00 | 8.49 | 144.7 | 9.02 | 162.4 | 10.18 | 104.1 | 10.18 | 151 | 22.89 | 966.54 | 46.8462 | 62.2766
2020-04-29 19:15:00 | 10.34 | 143.2 | 10.57 | 159.2 | 11.45 | 104.4 | 11.21 | 148.8 | 22.86 | 966.391 | 46.1663 | 67.1132
2020-04-29 19:30:00 | 11.65 | 141.7 | 12.03 | 156.8 | 12.01 | 104.7 | 11.8 | 147.2 | 23.08 | 966.095 | 45.422 | 68.8534
2020-04-29 19:45:00 | 11.76 | 142.3 | 12.47 | 158.3 | 12.85 | 104.9 | 12.61 | 147.8 | 23.07 | 966.095 | 45.9676 | 69.8547
2020-04-29 20:00:00 | 12.19 | 141.5 | 12.57 | 158.1 | 12.89 | 104.9 | 12.73 | 147.9 | 23.09 | 966.243 | 45.8994 | 74.6379
2020-04-29 20:15:00 | 12.4 | 142.8 | 12.62 | 159 | 13.11 | 104.9 | 12.89 | 148.5 | 23.09 | 966.391 | 45.1492 | 77.928
2020-04-29 20:30:00 | 12.88 | 142.8 | 13.33 | 158.3 | 13.64 | 105.1 | 13.41 | 148.5 | 23.14 | 966.688 | 44.8082 | 74.2923
2020-04-29 20:45:00 | 12.4 | 141.5 | 12.89 | 157.8 | 13 | 105 | 12.83 | 147.1 | 23.26 | 967.281 | 44.5354 | 74.2405
2020-04-29 21:00:00 | 12.45 | 140.9 | 13.02 | 157.3 | 13.25 | 105.1 | 13.03 | 146.2 | 23.23 | 967.133 | 44.3308 | 74.0558
2020-04-29 21:15:00 | 10.68 | 138.9 | 11.5 | 156.7 | 12.13 | 104.8 | 12 | 144.5 | 23.13 | 967.133 | 44.5354 | 73.9376
2020-04-29 21:30:00 | 10.2 | 140.6 | 10.84 | 158.2 | 11.59 | 104.7 | 11.48 | 144.9 | 23.06 | 967.133 | 44.6718 | 74.9631
2020-04-29 21:45:00 | 10.76 | 139.3 | 11.26 | 156.5 | 11.84 | 104.8 | 11.64 | 146.9 | 23.09 | 966.985 | 44.6718 | 75.4044
2020-04-29 22:00:00 | 11.29 | 141.4 | 12.25 | 157.3 | 13.72 | 105 | 13.58 | 147.3 | 23.09 | 966.985 | 45.3538 | 75.0571
2020-04-29 22:15:00 | 11.52 | 139.2 | 12.15 | 157.3 | 12.75 | 105 | 12.74 | 145.4 | 23.18 | 966.985 | 45.2174 | 75.8552
2020-04-29 22:30:00 | 12.12 | 141.9 | 12.44 | 156.3 | 12.73 | 105.2 | 12.62 | 148.1 | 23.27 | 966.985 | 46.5814 | 76.3096
2020-04-29 22:45:00 | 12.58 | 142.7 | 13.16 | 158.5 | 13.52 | 105.3 | 13.33 | 148.6 | 23.09 | 966.837 | 46.9906 | 75.0091
2020-04-29 23:00:00 | 12.17 | 141.9 | 12.74 | 157.5 | 13.36 | 105.3 | 13.36 | 149.5 | 22.89 | 966.688 | 47.3316 | 76.4153
2020-04-29 23:15:00 | 13.2 | 143.9 | 13.76 | 160.2 | 14.22 | 105.6 | 13.95 | 149.8 | 22.81 | 966.837 | 48.0136 | 78.488
2020-04-29 23:30:00 | 11.07 | 146.3 | 10.97 | 162.4 | 12.05 | 105.3 | 12.08 | 152 | 22.57 | 966.837 | 48.5251 | 68.798
2020-04-29 23:45:00 | 10.27 | 145.9 | 11.04 | 164.6 | 11.85 | 105.4 | 11.83 | 149.5 | 22.4 | 966.837 | 48.9684 | 67.1132