## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-30 00:00:00 | 10.56 | 144.5 | 10.62 | 160.5 | 11.11 | 105.2 | 11.01 | 151.3 | 22.26 | 966.852 | 49.6164 | 66.3299
2020-04-30 00:15:00 | 11.35 | 142.2 | 11.44 | 159.4 | 11.78 | 105.4 | 11.63 | 148.2 | 22.26 | 966.318 | 49.4118 | 64.778
2020-04-30 00:30:00 | 9.2 | 143.8 | 9.58 | 160.2 | 9.92 | 105.2 | 9.95 | 149.2 | 22.2 | 966.786 | 49.6846 | 65.033
2020-04-30 00:45:00 | 10.12 | 144.1 | 9.99 | 161.2 | 10.38 | 105.3 | 10.38 | 148.8 | 22 | 966.8 | 50.3666 | 64.4307
2020-04-30 01:00:00 | 9.38 | 146.5 | 9.96 | 163.1 | 11.04 | 105.1 | 10.95 | 150.2 | 21.9 | 966.646 | 51.1517 | 65.4542
2020-04-30 01:15:00 | 9.38 | 147.6 | 9.56 | 163.5 | 10.24 | 105.3 | 10.17 | 152.5 | 21.71 | 966.387 | 51.7671 | 67.0614
2020-04-30 01:30:00 | 9.34 | 151.1 | 9.49 | 168.5 | 10.28 | 105.1 | 10.17 | 153.3 | 21.57 | 966.686 | 52.9982 | 65.953
2020-04-30 01:45:00 | 10.32 | 143 | 10.82 | 160.5 | 11.23 | 105.3 | 11.15 | 149.4 | 21.6 | 966.092 | 53.3416 | 66.6809
2020-04-30 02:00:00 | 10.09 | 145.6 | 10.39 | 160 | 10.79 | 105.3 | 10.78 | 152.3 | 21.47 | 966.39 | 54.3656 | 63.884
2020-04-30 02:15:00 | 9.24 | 145.2 | 9.66 | 163 | 10.23 | 105.3 | 10.12 | 150.8 | 21.29 | 966.241 | 54.6385 | 62.9602
2020-04-30 02:30:00 | 8.31 | 142.7 | 8.36 | 161.1 | 9.03 | 105.2 | 9.04 | 149.2 | 21.15 | 966.093 | 55.5252 | 62.7274
2020-04-30 02:45:00 | 8.96 | 142.1 | 9.28 | 159.5 | 10.34 | 105.3 | 10.28 | 146.7 | 21.1 | 965.945 | 56.0027 | 64.6709
2020-04-30 03:00:00 | 7.961 | 143.3 | 8.4 | 162.1 | 9.35 | 105.1 | 9.5 | 147.3 | 20.92 | 965.945 | 56.412 | 68.314
2020-04-30 03:15:00 | 8.75 | 144.1 | 8.85 | 163.2 | 9.28 | 105.1 | 9.33 | 148.7 | 20.85 | 965.648 | 57.367 | 73.3538
2020-04-30 03:30:00 | 9.24 | 146.5 | 9.81 | 161.9 | 10.56 | 105.2 | 10.55 | 151.8 | 20.83 | 965.648 | 57.8445 | 69.4668
2020-04-30 03:45:00 | 8.91 | 146.6 | 9.48 | 165.1 | 10.2 | 105.1 | 10.12 | 152 | 20.86 | 965.499 | 57.5034 | 65.687
2020-04-30 04:00:00 | 7.591 | 148.1 | 8.44 | 166.7 | 9.56 | 104.6 | 9.61 | 152.4 | 21.18 | 965.499 | 57.7081 | 66.4296
2020-04-30 04:15:00 | 9.36 | 146.9 | 9.92 | 163.7 | 10.83 | 105.1 | 10.82 | 153.3 | 21.11 | 965.499 | 57.1624 | 66.7363
2020-04-30 04:30:00 | 8.98 | 143.6 | 9.77 | 161.9 | 10.91 | 105.2 | 10.86 | 150.8 | 21.03 | 965.499 | 57.0942 | 67.4235
2020-04-30 04:45:00 | 9.33 | 144.7 | 9.98 | 159 | 11.38 | 105.3 | 11.37 | 152.8 | 21.02 | 965.054 | 56.9577 | 68.9975
2020-04-30 05:00:00 | 9.04 | 142.6 | 9.23 | 161.9 | 10.42 | 105.2 | 10.31 | 147.1 | 20.96 | 964.757 | 56.4802 | 73.3353
2020-04-30 05:15:00 | 9.26 | 144.2 | 9.38 | 160.6 | 10.1 | 105.2 | 10.16 | 148.1 | 20.86 | 964.757 | 56.412 | 71.3955
2020-04-30 05:30:00 | 10.69 | 141.2 | 11.11 | 157.2 | 11.56 | 105.4 | 11.44 | 148.3 | 20.75 | 964.757 | 56.4802 | 73.9412
2020-04-30 05:45:00 | 9.34 | 146.8 | 9.8 | 164.2 | 10.62 | 105.3 | 10.62 | 151.1 | 20.82 | 964.906 | 57.026 | 71.7428
2020-04-30 06:00:00 | 9.03 | 143.9 | 9.58 | 162 | 10.42 | 105.2 | 10.29 | 149.5 | 20.79 | 965.203 | 57.2307 | 69.5592
2020-04-30 06:15:00 | 9.77 | 146.9 | 10.18 | 163 | 10.96 | 105.4 | 10.94 | 151.5 | 20.85 | 965.054 | 56.9236 | 68.4027
2020-04-30 06:30:00 | 9.58 | 143.5 | 9.67 | 161.2 | 10.04 | 105.3 | 9.98 | 148.7 | 20.82 | 965.351 | 57.6394 | 64.5268
2020-04-30 06:45:00 | 10.08 | 144 | 10.64 | 160 | 10.65 | 105.3 | 10.58 | 149.8 | 21.1 | 965.286 | 57.222 | 65.7756
2020-04-30 07:00:00 | 9.55 | 142.2 | 10.08 | 158.9 | 10.24 | 105.3 | 10.13 | 149.1 | 21.12 | 965.368 | 57.289 | 67.9371
2020-04-30 07:15:00 | 8.99 | 147.6 | 9.12 | 163.6 | 9.77 | 105.2 | 9.66 | 151.4 | 21.04 | 965.353 | 57.8346 | 65.299
2020-04-30 07:30:00 | 9.77 | 147.3 | 10.27 | 164.4 | 11.07 | 105.3 | 10.95 | 152.2 | 21.07 | 965.798 | 57.6915 | 68.8719
2020-04-30 07:45:00 | 9.83 | 149.1 | 10.17 | 165.1 | 10.56 | 105.4 | 10.55 | 155.2 | 21.09 | 965.502 | 57.8589 | 63.4175
2020-04-30 08:00:00 | 9.88 | 150.1 | 9.78 | 166.7 | 9.92 | 105.4 | 9.86 | 153.4 | 21.22 | 965.947 | 57.6543 | 58.3157
2020-04-30 08:15:00 | 10.99 | 148.2 | 11.23 | 163.6 | 10.93 | 105.7 | 10.72 | 154.2 | 21.17 | 966.095 | 57.6202 | 60.4986
2020-04-30 08:30:00 | 10.36 | 151.6 | 10.37 | 167.2 | 10.35 | 105.6 | 10.26 | 155.1 | 21.28 | 966.392 | 58.0285 | 57.1392
2020-04-30 08:45:00 | 9.73 | 149.4 | 9.93 | 166.6 | 9.98 | 105.4 | 9.87 | 153.4 | 21.57 | 966.837 | 58.2992 | 53.5051
2020-04-30 09:00:00 | 10.59 | 147.9 | 10.87 | 161.9 | 10.27 | 105.6 | 10.11 | 152.9 | 21.69 | 967.133 | 57.679 | 44.449
2020-04-30 09:15:00 | 8.61 | 148.4 | 9.46 | 166.1 | 9.54 | 105.3 | 9.52 | 152.5 | 22.27 | 967.133 | 56.9968 | 38.0569
2020-04-30 09:30:00 | 8.36 | 148.4 | 8.6 | 163.3 | 8.75 | 105.2 | 8.57 | 152.9 | 22.68 | 967.572 | 56.1786 | 29.2964
2020-04-30 09:45:00 | 7.956 | 145.1 | 7.918 | 164 | 0.853 | 105 | 7.23 | 152.7 | 23.18 | 967.932 | 54.8105 | 25.6607
2020-04-30 10:00:00 | 8.8 | 146.2 | 8.98 | 161.5 | 8.71 | 105.2 | 8.49 | 152.7 | 23.62 | 967.907 | 55.317 | 27.7076
2020-04-30 10:15:00 | 9.1 | 145.3 | 9.36 | 159.9 | 8.94 | 105.3 | 8.71 | 153.2 | 24.07 | 967.729 | 54.1922 | 26.9243
2020-04-30 10:30:00 | 9.05 | 143.9 | 9.13 | 158.9 | 8.27 | 105.3 | 8.02 | 150.5 | 24.57 | 967.728 | 54.09 | 28.0106
2020-04-30 10:45:00 | 9.26 | 146.3 | 8.86 | 160.4 | 8.3 | 105.3 | 8.08 | 154.1 | 25.02 | 968.025 | 52.6926 | 25.8159
2020-04-30 11:00:00 | 8.12 | 146.3 | 8.75 | 159.1 | 8.16 | 105.1 | 8.04 | 156.2 | 25.42 | 968.321 | 53.5738 | 28.9233
2020-04-30 11:15:00 | 8.17 | 150.8 | 8.53 | 165.9 | 7.637 | 105.1 | 7.459 | 157.4 | 26.03 | 967.728 | 51.3616 | 27.4084
2020-04-30 11:30:00 | 9.08 | 146.5 | 9.42 | 163.7 | 8.93 | 105.3 | 8.65 | 151.6 | 26.36 | 968.173 | 52.0439 | 29.1154
2020-04-30 11:45:00 | 8.78 | 150.7 | 8.76 | 167 | 7.409 | 105.4 | 7.884 | 157.5 | 26.8 | 967.947 | 50.7816 | 31.0441
2020-04-30 12:00:00 | 9.59 | 152.6 | 9.07 | 164.7 | 8.03 | 105.5 | 7.973 | 160.2 | 26.57 | 967.667 | 50.6083 | 33.4384
2020-04-30 12:15:00 | 9.04 | 146.7 | 9.2 | 162.3 | 8.05 | 105.4 | 7.966 | 155.8 | 26.91 | 967.64 | 49.211 | 38.6703
2020-04-30 12:30:00 | 9.1 | 156.5 | 9.34 | 169.4 | 8.58 | 105.4 | 8.65 | 162.7 | 27.07 | 967.839 | 48.362 | 38.5964
2020-04-30 12:45:00 | 9.4 | 147.9 | 9.04 | 165.5 | 8.41 | 105.6 | 8.36 | 154.9 | 27.43 | 967.431 | 45.807 | 39.3316
2020-04-30 13:00:00 | 9.46 | 164 | 9.13 | 177.8 | 8.58 | 105.6 | 8.54 | 170.5 | 27.3 | 967.283 | 45.2618 | 40.2841
2020-04-30 13:15:00 | 7.367 | 176.6 | 7.127 | 195.9 | 6.915 | 105.4 | 7.021 | 177.5 | 27.82 | 967.283 | 45.3294 | 42.4759
2020-04-30 13:30:00 | 8.77 | 158 | 8.27 | 170.8 | 7.696 | 105.7 | 7.624 | 163.9 | 27.7 | 967.135 | 41.7846 | 42.4796
2020-04-30 13:45:00 | 8.56 | 151.6 | 8.77 | 165.5 | 7.981 | 105.4 | 7.78 | 161.6 | 28.03 | 966.987 | 44.1703 | 38.7257
2020-04-30 14:00:00 | 8.78 | 166.9 | 8.38 | 179.4 | 7.266 | 105.8 | 7.365 | 169.4 | 27.94 | 967.236 | 44.6469 | 39.7491
2020-04-30 14:15:00 | 8.38 | 180.6 | 8.08 | 199.1 | 6.069 | 105.8 | 7.772 | 180.7 | 28.26 | 967.049 | 44.8494 | 36.8287
2020-04-30 14:30:00 | 8.24 | 170 | 7.91 | 186.3 | 5.797 | 105.9 | 7.196 | 174.3 | 28.61 | 967.028 | 41.7072 | 39.8195
2020-04-30 14:45:00 | 10.12 | 153.4 | 9.75 | 167.4 | 8.93 | 106 | 8.66 | 160.7 | 28.62 | 966.989 | 40.7155 | 39.8405
2020-04-30 15:00:00 | 8.38 | 161.4 | 8.48 | 176.3 | 7.846 | 105.8 | 7.815 | 166.3 | 28.89 | 966.989 | 40.8177 | 41.5802
2020-04-30 15:15:00 | 8.32 | 161.4 | 8.09 | 171.9 | 6.742 | 105.7 | 6.715 | 170.2 | 29.11 | 967.137 | 39.3527 | 38.4042
2020-04-30 15:30:00 | 8.9 | 154.4 | 8.5 | 171 | 8.03 | 105.8 | 7.93 | 158.7 | 28.75 | 967.137 | 38.3969 | 31.9679
2020-04-30 15:45:00 | 7.134 | 150.4 | 6.882 | 169 | 6.307 | 105.4 | 6.14 | 157.5 | 29.42 | 967.285 | 37.882 | 27.1349
2020-04-30 16:00:00 | 6.8 | 163.1 | 6.747 | 176.5 | 6.282 | 105.2 | 6.239 | 167 | 29.35 | 967.433 | 36.3482 | 26.7174
2020-04-30 16:15:00 | 6.087 | 165.5 | 6.263 | 181.9 | 5.829 | 105.3 | 5.809 | 170.1 | 29.52 | 967.137 | 36.1742 | 29.9172
2020-04-30 16:30:00 | 6.595 | 153.8 | 6.683 | 170.6 | 6.371 | 105.3 | 6.206 | 161.5 | 29.29 | 967.582 | 34.8453 | 37.2071
2020-04-30 16:45:00 | 8.04 | 179.9 | 7.524 | 199.4 | 6.541 | 105.7 | 6.532 | 178.3 | 29.28 | 966.544 | 32.3602 | 42.1508
2020-04-30 17:00:00 | 7.341 | 166.4 | 7.452 | 177.1 | 6.213 | 105.4 | 6.119 | 172.5 | 29.07 | 966.989 | 36.1096 | 34.5874
2020-04-30 17:15:00 | 6.473 | 149.3 | 6.343 | 166.7 | 6.055 | 105.4 | 5.943 | 157.3 | 28.83 | 967.137 | 38.427 | 28.7311
2020-04-30 17:30:00 | 7.387 | 146.8 | 7.199 | 162 | 6.762 | 105.6 | 6.769 | 154.4 | 28.48 | 966.544 | 42.2461 | 23.1852
2020-04-30 17:45:00 | 7.739 | 144.7 | 7.894 | 159.9 | 7.309 | 105.6 | 7.214 | 151.8 | 28.17 | 966.396 | 43.7478 | 24.1089
2020-04-30 18:00:00 | 7.681 | 149.6 | 7.759 | 166.4 | 7.477 | 105.7 | 7.367 | 154.6 | 28.01 | 966.248 | 41.9421 | 23.7874
2020-04-30 18:15:00 | 6.874 | 153 | 7.271 | 167 | 6.976 | 105.5 | 6.916 | 157.2 | 27.79 | 965.803 | 45.724 | 24.3601
2020-04-30 18:30:00 | 7.841 | 150.9 | 8.05 | 166.6 | 8.25 | 105.5 | 8.16 | 155.6 | 27.47 | 965.803 | 48.041 | 31.9309
2020-04-30 18:45:00 | 6.922 | 159.5 | 6.844 | 173 | 6.979 | 105.2 | 7.087 | 163.4 | 27.29 | 965.493 | 50.2373 | 36.0823
2020-04-30 19:00:00 | 7.499 | 154.8 | 7.56 | 172.7 | 7.848 | 105.5 | 7.808 | 159.1 | 27.05 | 965.504 | 53.5432 | 41.6705
2020-04-30 19:15:00 | 8.39 | 151.6 | 8.52 | 166.2 | 8.12 | 105.6 | 8.14 | 157.2 | 26.67 | 965.207 | 55.2488 | 41.1532
2020-04-30 19:30:00 | 6.95 | 149.5 | 7.289 | 166.7 | 8.25 | 105.5 | 8.29 | 153.8 | 26.15 | 965.122 | 56.2372 | 40.6174
2020-04-30 19:45:00 | 7.451 | 148.5 | 7.874 | 164.5 | 8.68 | 105.5 | 8.63 | 154.8 | 25.79 | 965.489 | 55.6956 | 42.2506
2020-04-30 20:00:00 | 7.517 | 151.8 | 8.15 | 166.2 | 9.23 | 105.4 | 9.13 | 156.5 | 25.81 | 965.501 | 53.9969 | 45.6535
2020-04-30 20:15:00 | 7.875 | 147.4 | 8.61 | 163.9 | 9.19 | 105.5 | 9.23 | 153.1 | 25.94 | 965.501 | 54.1333 | 49.692
2020-04-30 20:30:00 | 7.448 | 153.7 | 8.03 | 169.3 | 9.15 | 105.5 | 9.22 | 157.5 | 25.7 | 965.65 | 53.5879 | 47.9628
2020-04-30 20:45:00 | 7.997 | 152.9 | 8.7 | 169.2 | 9.22 | 105.5 | 9.22 | 157.5 | 25.76 | 965.794 | 53.9969 | 49.5811
2020-04-30 21:00:00 | 8.03 | 153.4 | 8.57 | 168.5 | 9.36 | 105.6 | 9.34 | 160.2 | 25.86 | 965.65 | 52.7697 | 49.3816
2020-04-30 21:15:00 | 9.07 | 153.9 | 9.48 | 168.3 | 9.31 | 105.9 | 9.21 | 160.4 | 25.78 | 965.65 | 53.3833 | 49.4703
2020-04-30 21:30:00 | 8.63 | 153.5 | 8.88 | 169.9 | 9.63 | 105.8 | 9.61 | 160.4 | 25.55 | 965.501 | 54.8833 | 49.4851
2020-04-30 21:45:00 | 8.67 | 154.1 | 8.9 | 167.2 | 9.25 | 105.8 | 9.16 | 160 | 25.48 | 965.501 | 55.6337 | 50.7598
2020-04-30 22:00:00 | 9.78 | 152.4 | 10.43 | 167.1 | 10.66 | 106.1 | 10.6 | 161.4 | 25.5 | 965.65 | 55.2243 | 51.2069
2020-04-30 22:15:00 | 9.65 | 153 | 10.06 | 170 | 10.08 | 106 | 10.08 | 158.5 | 25.16 | 965.353 | 58.6348 | 50.8226
2020-04-30 22:30:00 | 8.67 | 156.6 | 8.68 | 168.9 | 8.25 | 106 | 8.1 | 164.5 | 24.68 | 965.353 | 60.4085 | 54.1258
2020-04-30 22:45:00 | 8.36 | 157.6 | 8.6 | 171.4 | 8.32 | 105.8 | 8.35 | 166.3 | 24.37 | 965.353 | 61.2329 | 54.3031
2020-04-30 23:00:00 | 9.02 | 155.7 | 9.19 | 169.5 | 8.73 | 106 | 8.72 | 162 | 24.21 | 965.353 | 63.1435 | 54.7281
2020-04-30 23:15:00 | 7.627 | 160.2 | 8.14 | 174 | 8.35 | 105.8 | 8.25 | 165.2 | 23.86 | 964.76 | 63.9277 | 55.8956
2020-04-30 23:30:00 | 8.55 | 155.5 | 9.18 | 169.8 | 9.56 | 106 | 9.4 | 162.3 | 23.51 | 964.612 | 66.178 | 57.0004
2020-04-30 23:45:00 | 9.17 | 159.3 | 9.26 | 174 | 9 | 106.2 | 9.03 | 163.9 | 23.27 | 964.463 | 67.7161 | 58.918