## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-01 00:00:00 | 9.4 | 158.3 | 9.42 | 170.5 | 9.05 | 106.3 | 9.05 | 165.7 | 22.92 | 964.463 | 68.9158 | 62.7902
2020-05-01 00:15:00 | 8.88 | 158.8 | 9.08 | 172 | 9.04 | 106.1 | 9 | 164.1 | 22.76 | 964.167 | 68.4058 | 58.8515
2020-05-01 00:30:00 | 9.01 | 157.7 | 9.29 | 171.5 | 9.09 | 106.2 | 9.12 | 165.8 | 22.6 | 963.87 | 66.2915 | 54.5618
2020-05-01 00:45:00 | 8.68 | 165.1 | 8.3 | 177.5 | 7.925 | 106 | 7.955 | 169.8 | 22.52 | 964.031 | 65.6777 | 49.6957
2020-05-01 01:00:00 | 8 | 160.9 | 8.06 | 174.4 | 7.563 | 106.1 | 7.433 | 169.9 | 22.27 | 964.13 | 69.2242 | 44.3714
2020-05-01 01:15:00 | 7.949 | 161.4 | 8.28 | 174.2 | 8.17 | 105.7 | 8.03 | 168 | 22.11 | 964.138 | 70.4518 | 41.8109
2020-05-01 01:30:00 | 8.67 | 157.7 | 8.86 | 170.8 | 8.61 | 106.2 | 8.66 | 165.8 | 21.7 | 963.831 | 72.1602 | 46.9356
2020-05-01 01:45:00 | 6.733 | 157 | 7.549 | 173 | 8.31 | 105.8 | 8.31 | 161.3 | 21.45 | 963.57 | 72.6393 | 48.9789
2020-05-01 02:00:00 | 7.829 | 154.4 | 7.856 | 171.9 | 8.57 | 105.9 | 8.54 | 160.8 | 21.52 | 963.57 | 73.3966 | 52.9361
2020-05-01 02:15:00 | 7.844 | 150.4 | 8.62 | 167.1 | 9.86 | 106 | 9.94 | 158.1 | 21.08 | 963.57 | 73.2606 | 51.5763
2020-05-01 02:30:00 | 7.665 | 151.6 | 8.59 | 170.1 | 9.61 | 105.8 | 9.69 | 158.6 | 20.96 | 962.977 | 72.1009 | 49.0934
2020-05-01 02:45:00 | 9.34 | 155.1 | 9.66 | 172 | 10.25 | 106.4 | 10.23 | 160 | 20.89 | 962.977 | 72.1009 | 58.0497
2020-05-01 03:00:00 | 9.47 | 153.2 | 9.96 | 170.2 | 10.6 | 106.5 | 10.56 | 159 | 20.71 | 963.125 | 71.5552 | 62.901
2020-05-01 03:15:00 | 7.816 | 151.3 | 8.14 | 171.5 | 9.38 | 106.2 | 9.45 | 155.8 | 20.55 | 962.828 | 71.9645 | 65.8052
2020-05-01 03:30:00 | 7.558 | 149.5 | 8.21 | 168.6 | 9.4 | 106.1 | 9.44 | 154.9 | 20.48 | 962.828 | 71.7289 | 63.1155
2020-05-01 03:45:00 | 8.04 | 150.2 | 8.77 | 168.1 | 9.98 | 106.1 | 9.97 | 155.1 | 20.32 | 962.532 | 71.0165 | 65.3064
2020-05-01 04:00:00 | 8.61 | 150.2 | 9.6 | 168.1 | 10.42 | 106.3 | 10.38 | 155.1 | 20.51 | 962.391 | 69.9955 | 66.3225
2020-05-01 04:15:00 | 8.8 | 151.2 | 9.48 | 167.4 | 10.43 | 106.4 | 10.38 | 155.7 | 20.38 | 962.681 | 69.9638 | 69.537
2020-05-01 04:30:00 | 9.36 | 151.6 | 9.63 | 171.5 | 10.84 | 106.5 | 10.94 | 154.6 | 20.36 | 962.705 | 69.6565 | 68.4655
2020-05-01 04:45:00 | 9.58 | 149.8 | 10.1 | 166.6 | 11.57 | 106.7 | 11.57 | 154.6 | 20.31 | 962.388 | 68.9066 | 77.9856
2020-05-01 05:00:00 | 10.79 | 147.8 | 11.38 | 163.7 | 12.04 | 106.8 | 11.94 | 153.2 | 20.47 | 962.556 | 67.7461 | 79.7611
2020-05-01 05:15:00 | 11.88 | 147.2 | 12.02 | 163.8 | 12.17 | 107.2 | 11.95 | 153.4 | 20.38 | 962.384 | 68.6332 | 81.076
2020-05-01 05:30:00 | 11.93 | 147 | 12.27 | 164.1 | 12.52 | 107.3 | 12.34 | 153.6 | 20.18 | 962.384 | 69.3843 | 80.4959
2020-05-01 05:45:00 | 12.2 | 148.3 | 12.34 | 164 | 12.54 | 107.3 | 12.36 | 153.6 | 20.08 | 962.539 | 70.0663 | 83.0749
2020-05-01 06:00:00 | 12.98 | 147 | 13.13 | 164.1 | 13.86 | 107.5 | 13.65 | 152.5 | 20.02 | 962.532 | 70.5441 | 83.4222
2020-05-01 06:15:00 | 12.29 | 145.8 | 12.62 | 161.8 | 13.62 | 107.4 | 13.53 | 150.9 | 20.02 | 962.977 | 70.7793 | 81.7595
2020-05-01 06:30:00 | 12.51 | 146.4 | 13.04 | 163.8 | 13.57 | 107.6 | 13.5 | 150.4 | 19.96 | 962.977 | 71.3508 | 81.8762
2020-05-01 06:45:00 | 13.43 | 145.9 | 13.7 | 161.3 | 13.61 | 107.9 | 13.31 | 152.4 | 19.92 | 963.274 | 71.8281 | 79.1621
2020-05-01 07:00:00 | 11.89 | 145.8 | 12.76 | 161.9 | 13.28 | 107.7 | 13.06 | 152.1 | 19.96 | 963.126 | 71.7599 | 78.6564
2020-05-01 07:15:00 | 12.43 | 147 | 12.91 | 162.3 | 13.77 | 107.9 | 13.56 | 152.5 | 20.01 | 963.571 | 71.5528 | 73.8969
2020-05-01 07:30:00 | 11.48 | 148.2 | 11.47 | 163.7 | 12.17 | 107.8 | 12.04 | 152.8 | 20.19 | 963.647 | 70.727 | 73.7224
2020-05-01 07:45:00 | 11.23 | 148 | 11.21 | 164.9 | 11.63 | 107.9 | 11.57 | 153.3 | 20.36 | 963.754 | 70.9293 | 71.0149
2020-05-01 08:00:00 | 12.93 | 146.5 | 12.96 | 162.5 | 12.84 | 108.4 | 12.46 | 152.3 | 20.51 | 963.722 | 71.4408 | 70.7309
2020-05-01 08:15:00 | 12.38 | 148.7 | 12.37 | 164.1 | 12.64 | 108.4 | 12.51 | 155.4 | 20.89 | 963.87 | 69.0838 | 69.5887
2020-05-01 08:30:00 | 11.98 | 149.8 | 11.9 | 164.5 | 11.59 | 108.4 | 11.38 | 155.9 | 20.81 | 964.018 | 70.2354 | 73.8251
2020-05-01 08:45:00 | 12.2 | 147.9 | 12.86 | 164 | 12.67 | 108.5 | 12.36 | 152.7 | 21.1 | 964.464 | 67.985 | 73.3264
2020-05-01 09:00:00 | 12.8 | 146 | 12.65 | 163.8 | 12.47 | 108.8 | 12.31 | 150.5 | 21.46 | 964.315 | 66.3485 | 74.6713
2020-05-01 09:15:00 | 14.3 | 146.3 | 14.2 | 162.1 | 14.05 | 109 | 13.8 | 151.6 | 21.61 | 964.612 | 65.8029 | 78.9588
2020-05-01 09:30:00 | 13.05 | 147.2 | 13.23 | 163.1 | 13.27 | 109 | 13.01 | 153 | 21.78 | 964.018 | 65.0866 | 79.8224
2020-05-01 09:45:00 | 11.5 | 148.8 | 11.51 | 167.1 | 11.96 | 108.7 | 11.77 | 153.5 | 22.68 | 965.057 | 62.5284 | 75.1827
2020-05-01 10:00:00 | 12.11 | 146.4 | 12.56 | 163 | 12.45 | 109 | 12.21 | 153.1 | 22.66 | 965.502 | 60.9173 | 72.6391
2020-05-01 10:15:00 | 12.9 | 148.5 | 12.79 | 164.9 | 12.46 | 109.2 | 12.16 | 154.8 | 22.85 | 965.353 | 60.3034 | 71.1693
2020-05-01 10:30:00 | 12.55 | 147.1 | 13.05 | 162 | 12.84 | 109.3 | 12.55 | 152.9 | 22.79 | 965.338 | 60.133 | 67.9408
2020-05-01 10:45:00 | 11.22 | 146.7 | 11.15 | 162.9 | 11.11 | 109 | 10.86 | 152.9 | 23.71 | 965.353 | 54.406 | 58.6889
2020-05-01 11:00:00 | 10.6 | 156.1 | 10.62 | 172.3 | 9.95 | 109 | 9.9 | 158.8 | 24.35 | 965.691 | 54.7719 | 59.0141
2020-05-01 11:15:00 | 12.05 | 143.9 | 12.04 | 160.1 | 10.87 | 109.2 | 10.63 | 153.4 | 24.64 | 965.664 | 52.863 | 61.4918
2020-05-01 11:30:00 | 12.16 | 149.9 | 12.32 | 165.6 | 11.27 | 109.4 | 11 | 157.3 | 25.09 | 965.356 | 51.1588 | 65.4468
2020-05-01 11:45:00 | 12.52 | 147.9 | 12.66 | 164.2 | 12.36 | 109.6 | 12 | 152.4 | 25.53 | 965.504 | 48.6026 | 66.5848
2020-05-01 12:00:00 | 11.98 | 151 | 11.88 | 167.1 | 11.68 | 109.7 | 11.52 | 156.4 | 25.82 | 965.356 | 48.773 | 69.6515
2020-05-01 12:15:00 | 12.51 | 150.5 | 12.45 | 167 | 11.95 | 109.9 | 11.7 | 158.4 | 25.37 | 964.911 | 53.1008 | 67.2557
2020-05-01 12:30:00 | 12.98 | 154.8 | 12.84 | 172.4 | 12.22 | 110.3 | 12.12 | 157.3 | 24.77 | 964.911 | 53.5446 | 66.2467
2020-05-01 12:45:00 | 12.87 | 152.3 | 12.52 | 171.1 | 11.68 | 110.3 | 11.55 | 156.7 | 25.01 | 964.169 | 54.3285 | 65.9593
2020-05-01 13:00:00 | 12.23 | 150.2 | 12.57 | 170.5 | 11.95 | 110.3 | 11.88 | 154.6 | 25.73 | 964.367 | 48.7389 | 70.7441
2020-05-01 13:15:00 | 14.45 | 144.8 | 14.21 | 160 | 13.24 | 111.1 | 12.94 | 151.1 | 25.44 | 964.195 | 51.636 | 69.0936
2020-05-01 13:30:00 | 11.56 | 144.2 | 11.76 | 161.3 | 11.55 | 110.9 | 11.31 | 150.8 | 25.95 | 964.22 | 53.1697 | 62.6535
2020-05-01 13:45:00 | 11.6 | 147.6 | 11.71 | 164.6 | 10.89 | 111.1 | 10.79 | 154.1 | 26.16 | 964.321 | 51.0566 | 60.2666
2020-05-01 14:00:00 | 11.82 | 150.6 | 11.75 | 168.4 | 11.98 | 111.5 | 11.79 | 158 | 26.43 | 964.763 | 51.0225 | 66.4916
2020-05-01 14:15:00 | 11.69 | 149.5 | 11.55 | 165.3 | 10.82 | 111.6 | 10.62 | 156.2 | 26.55 | 965.059 | 50.5453 | 60.1275
2020-05-01 14:30:00 | 12.14 | 155.4 | 11.67 | 170.3 | 11.12 | 112.1 | 11.1 | 161.2 | 26.89 | 964.911 | 49.6583 | 55.1071
2020-05-01 14:45:00 | 10.49 | 183.7 | 9.87 | 197.3 | 8.66 | 112.5 | 8.73 | 183.5 | 27 | 963.873 | 50.1017 | 58.5707
2020-05-01 15:00:00 | 10.79 | 153.7 | 11.05 | 171.1 | 10.38 | 112 | 10.47 | 158.6 | 26.97 | 964.466 | 50.5102 | 50.941
2020-05-01 15:15:00 | 10 | 157.3 | 9.96 | 174 | 9.51 | 111.2 | 9.48 | 162.6 | 26.88 | 964.718 | 52.0044 | 47.9369
2020-05-01 15:30:00 | 9.8 | 154.3 | 10 | 170.8 | 9.58 | 111.4 | 9.46 | 160.4 | 27.13 | 964.327 | 51.1787 | 46.9615
2020-05-01 15:45:00 | 10.59 | 144.7 | 10.79 | 160.7 | 10.65 | 111.5 | 10.43 | 151.3 | 26.86 | 963.876 | 51.3118 | 46.9135
2020-05-01 16:00:00 | 11.31 | 165.8 | 10.94 | 180.2 | 9.5 | 112.1 | 9.35 | 171.5 | 27.11 | 963.579 | 52.7768 | 49.9284
2020-05-01 16:15:00 | 9.59 | 158.5 | 9.61 | 172.9 | 9.43 | 111.9 | 9.43 | 165.6 | 27.19 | 964.024 | 52.1976 | 49.9461
2020-05-01 16:30:00 | 11.46 | 159 | 11.24 | 176.3 | 10.49 | 112.7 | 10.35 | 164.1 | 26.74 | 964.024 | 53.6968 | 46.1819
2020-05-01 16:45:00 | 10.66 | 155.2 | 10.24 | 169.4 | 9.87 | 112.6 | 9.87 | 162.5 | 26.59 | 963.876 | 55.0599 | 45.4637
2020-05-01 17:00:00 | 9.34 | 163.8 | 9.4 | 181.1 | 8.96 | 112.8 | 8.92 | 167.4 | 26.66 | 963.769 | 54.1811 | 50.527
2020-05-01 17:15:00 | 10.07 | 148.3 | 10.22 | 166.1 | 9.64 | 112.9 | 9.49 | 154.6 | 26.38 | 963.644 | 57.0502 | 51.4101
2020-05-01 17:30:00 | 11.15 | 151.8 | 11.71 | 167.1 | 11.77 | 113.2 | 11.58 | 157 | 25.98 | 963.127 | 57.9412 | 57.5003
2020-05-01 17:45:00 | 11.56 | 151.3 | 11.39 | 167.8 | 11.17 | 113.8 | 10.91 | 158 | 25.77 | 962.983 | 56.7791 | 54.5082
2020-05-01 18:00:00 | 12.15 | 150.9 | 13.01 | 167.5 | 12.88 | 114.3 | 12.68 | 155.7 | 25.65 | 963.131 | 57.2595 | 57.0917
2020-05-01 18:15:00 | 12.4 | 151.6 | 12.69 | 164.4 | 11.91 | 114.5 | 11.72 | 159.2 | 25.68 | 962.686 | 54.0218 | 61.3825
2020-05-01 18:30:00 | 11.34 | 154.8 | 11.24 | 170.1 | 10.3 | 114.6 | 10.16 | 162.4 | 25.51 | 962.71 | 56.2372 | 59.9289
2020-05-01 18:45:00 | 11.45 | 153.7 | 11.54 | 169 | 11.27 | 115.4 | 11.17 | 159.5 | 25.24 | 962.605 | 57.9094 | 61.6707
2020-05-01 19:00:00 | 12.63 | 150.2 | 13.1 | 167.1 | 13.01 | 116.2 | 12.79 | 155.9 | 25.05 | 962.535 | 57.474 | 59.1951
2020-05-01 19:15:00 | 11.89 | 150 | 11.57 | 167.5 | 11.5 | 116.6 | 11.23 | 153.9 | 24.83 | 962.683 | 60.3375 | 62.0217
2020-05-01 19:30:00 | 11.92 | 149.2 | 12.24 | 167.1 | 12.6 | 116.7 | 12.39 | 153.1 | 24.44 | 962.535 | 60.8877 | 62.199
2020-05-01 19:45:00 | 12.72 | 149.5 | 12.81 | 165.6 | 13.16 | 116.9 | 12.97 | 153.4 | 24.33 | 962.535 | 61.5748 | 66.742
2020-05-01 20:00:00 | 12.74 | 150.3 | 13.28 | 166.4 | 13.9 | 117.1 | 13.84 | 156 | 24.04 | 962.535 | 60.2796 | 73.3822
2020-05-01 20:15:00 | 13.17 | 149.8 | 13.39 | 166 | 13.49 | 117.5 | 13.3 | 153.5 | 23.83 | 962.683 | 60.1091 | 71.4131
2020-05-01 20:30:00 | 10.7 | 148.5 | 11.01 | 164.4 | 12.3 | 117.2 | 12.32 | 153.1 | 23.51 | 962.683 | 60.8592 | 72.8886
2020-05-01 20:45:00 | 10.58 | 147 | 10.78 | 165.5 | 11.13 | 117.3 | 11.2 | 151 | 23.44 | 963.128 | 60.4851 | 71.804
2020-05-01 21:00:00 | 10.36 | 144.6 | 10.51 | 161.4 | 11.08 | 117.1 | 11.02 | 150.1 | 23.19 | 963.128 | 62.2295 | 73.3234
2020-05-01 21:15:00 | 10.39 | 147.2 | 10.63 | 162.3 | 11.33 | 117.2 | 11.22 | 151.8 | 22.98 | 962.683 | 62.8122 | 72.2823
2020-05-01 21:30:00 | 11.54 | 145.2 | 11.38 | 161.3 | 12.48 | 117.4 | 12.47 | 150.6 | 22.95 | 962.683 | 63.8363 | 76.7456
2020-05-01 21:45:00 | 11.01 | 146.9 | 11.18 | 162.9 | 12.03 | 117.5 | 11.97 | 153.6 | 22.75 | 962.535 | 65.0298 | 76.8142
2020-05-01 22:00:00 | 10.39 | 146.9 | 11.04 | 161.9 | 11.47 | 117.6 | 11.42 | 152.3 | 22.51 | 962.832 | 64.9616 | 75.7554
2020-05-01 22:15:00 | 11.45 | 144.1 | 11.91 | 161.3 | 12.66 | 117.7 | 12.48 | 149.9 | 22.57 | 962.387 | 64.1091 | 76.9045
2020-05-01 22:30:00 | 11.08 | 144.8 | 11.49 | 160.3 | 12.43 | 117.7 | 12.37 | 150.6 | 22.59 | 962.605 | 63.8022 | 70.8856
2020-05-01 22:45:00 | 12.04 | 146.1 | 12.69 | 161.1 | 12.8 | 118 | 12.57 | 151.6 | 22.51 | 962.291 | 62.6087 | 73.5053
2020-05-01 23:00:00 | 10.9 | 145.3 | 11.79 | 162.1 | 12.56 | 117.9 | 12.4 | 150.7 | 22.47 | 962.441 | 63.2907 | 71.1448
2020-05-01 23:15:00 | 10.75 | 147.9 | 10.98 | 162.9 | 11.73 | 118 | 11.67 | 153.1 | 22.32 | 962.323 | 63.5976 | 65.0055
2020-05-01 23:30:00 | 10.61 | 149.9 | 10.67 | 167.2 | 11.19 | 118.2 | 11.22 | 155.6 | 22.25 | 962.35 | 63.8363 | 65.4616
2020-05-01 23:45:00 | 9.93 | 149.1 | 10.37 | 168 | 11.31 | 118 | 11.32 | 154.7 | 22.15 | 962.281 | 64.9957 | 64.2016