## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-02 00:00:00 | 10.39 | 148.9 | 10.27 | 166.3 | 11.15 | 118.3 | 11.22 | 154.1 | 21.98 | 962.286 | 66.4281 | 55.7848
2020-05-02 00:15:00 | 8.43 | 149.7 | 8.65 | 168.7 | 9.51 | 117.9 | 9.6 | 156.3 | 21.78 | 962.181 | 67.0453 | 53.4607
2020-05-02 00:30:00 | 9.06 | 150.8 | 9.67 | 167 | 10.42 | 118.1 | 10.45 | 155.5 | 21.56 | 961.789 | 68.4137 | 51.0094
2020-05-02 00:45:00 | 8.86 | 149.5 | 9.12 | 165.7 | 9.83 | 117.9 | 9.86 | 153.7 | 21.36 | 961.79 | 69.5405 | 46.8749
2020-05-02 01:00:00 | 8.55 | 147.4 | 8.89 | 164.9 | 9.38 | 117.8 | 9.43 | 152.9 | 21.1 | 961.79 | 71.0094 | 40.7135
2020-05-02 01:15:00 | 7.481 | 147.9 | 8.01 | 164.4 | 8.75 | 117.5 | 8.71 | 154.3 | 20.91 | 961.79 | 71.487 | 43.4699
2020-05-02 01:30:00 | 5.541 | 155.2 | 5.911 | 171.8 | 6.572 | 116.8 | 6.606 | 160.2 | 20.59 | 961.493 | 72.6466 | 42.306
2020-05-02 01:45:00 | 7.402 | 149.3 | 7.907 | 165.9 | 8.25 | 117.6 | 8.26 | 152.9 | 20.38 | 961.196 | 73.5334 | 47.1019
2020-05-02 02:00:00 | 6.659 | 158.7 | 7.455 | 174.7 | 7.123 | 117.3 | 6.931 | 165.9 | 20.27 | 961.345 | 74.3872 | 49.7289
2020-05-02 02:15:00 | 6.258 | 156 | 6.754 | 172.9 | 7.279 | 117 | 7.117 | 161.3 | 20.24 | 961.345 | 75.4848 | 50.4051
2020-05-02 02:30:00 | 7.234 | 154.8 | 7.892 | 168.9 | 7.627 | 117.8 | 7.645 | 160.4 | 19.95 | 961.048 | 77.0911 | 49.692
2020-05-02 02:45:00 | 6.279 | 147.2 | 6.895 | 165.7 | 7.431 | 117.5 | 7.41 | 151.3 | 19.6 | 960.615 | 78.4578 | 48.565
2020-05-02 03:00:00 | 7.208 | 144.8 | 7.455 | 162.6 | 8.56 | 117.7 | 8.6 | 148.5 | 19.66 | 960.425 | 78.5946 | 44.4342
2020-05-02 03:15:00 | 6.575 | 147.6 | 6.89 | 165.1 | 6.879 | 117 | 6.86 | 151.7 | 19.71 | 960.812 | 78.6628 | 39.86
2020-05-02 03:30:00 | 6.598 | 143.9 | 6.9 | 160.5 | 7.416 | 117 | 7.438 | 148 | 19.62 | 960.519 | 79.7544 | 43.2038
2020-05-02 03:45:00 | 5.753 | 142.8 | 6.419 | 160.8 | 7.004 | 116.9 | 6.977 | 146.9 | 19.43 | 960.286 | 79.2086 | 39.2948
2020-05-02 04:00:00 | 7.29 | 141.8 | 7.388 | 156.9 | 7.729 | 117.7 | 7.678 | 146.7 | 19.6 | 960.285 | 79.038 | 42.7568
2020-05-02 04:15:00 | 7.453 | 140.7 | 7.631 | 159 | 7.556 | 117.9 | 7.535 | 141.7 | 19.55 | 960.566 | 79.7203 | 40.9352
2020-05-02 04:30:00 | 8 | 141.7 | 8.6 | 159.5 | 8.76 | 118.2 | 8.61 | 146.6 | 19.33 | 960.732 | 81.46 | 39.025
2020-05-02 04:45:00 | 7.152 | 138.2 | 7.708 | 153.2 | 8.19 | 117.9 | 8.17 | 143.2 | 19.24 | 960.568 | 82.0058 | 37.765
2020-05-02 05:00:00 | 5.903 | 137.9 | 6.317 | 155.9 | 6.625 | 117.2 | 6.741 | 139.5 | 19.22 | 960.599 | 83.0292 | 43.3221
2020-05-02 05:15:00 | 6.853 | 138.2 | 7.606 | 153.3 | 7.942 | 117.5 | 8.01 | 142.5 | 19.18 | 960.598 | 83.7796 | 36.4718
2020-05-02 05:30:00 | 6.736 | 136.7 | 7.135 | 153.1 | 7.591 | 117 | 7.561 | 141.8 | 19.14 | 960.747 | 83.9161 | 35.6479
2020-05-02 05:45:00 | 7.173 | 132.4 | 7.866 | 146.1 | 7.67 | 117.3 | 7.578 | 138.4 | 19.42 | 960.595 | 82.2105 | 37.6246
2020-05-02 06:00:00 | 7.175 | 132.5 | 7.531 | 151.4 | 7.642 | 118.9 | 7.505 | 135.5 | 19.41 | 960.896 | 83.3703 | 38.6629
2020-05-02 06:15:00 | 7.032 | 128.1 | 7.388 | 146.8 | 7.975 | 118.3 | 7.94 | 131.9 | 19.44 | 961.159 | 82.2787 | 31.9604
2020-05-02 06:30:00 | 6.644 | 125.9 | 6.938 | 138.6 | 6.925 | 113.7 | 6.942 | 132.9 | 19.48 | 961.206 | 80.7095 | 35.659
2020-05-02 06:45:00 | 5.674 | 132.4 | 6.284 | 149.7 | 7.057 | 119 | 7.166 | 135 | 19.81 | 961.493 | 78.1743 | 38.3894
2020-05-02 07:00:00 | 5.852 | 132.9 | 6.243 | 149.2 | 6.498 | 117.6 | 6.532 | 139.4 | 19.96 | 961.79 | 76.7395 | 35.1084
2020-05-02 07:15:00 | 6.787 | 135.8 | 6.667 | 151.2 | 6.945 | 118.7 | 6.962 | 138.7 | 20.38 | 961.772 | 74.2055 | 43.5068
2020-05-02 07:30:00 | 7.939 | 133.8 | 8 | 151 | 8.28 | 118.3 | 8.18 | 139.8 | 20.76 | 961.499 | 71.9864 | 51.6097
2020-05-02 07:45:00 | 9.65 | 141.8 | 9.07 | 163.3 | 7.945 | 121.9 | 7.887 | 139.9 | 20.92 | 961.645 | 72.085 | 44.4083
2020-05-02 08:00:00 | 8.55 | 137.8 | 8.4 | 156.7 | 8.64 | 123.1 | 8.68 | 142.5 | 21.39 | 961.793 | 68.9739 | 40.1742
2020-05-02 08:15:00 | 9.07 | 142.9 | 9.09 | 159.1 | 9.07 | 126.1 | 8.94 | 148.5 | 21.52 | 962.238 | 69.962 | 42.1877
2020-05-02 08:30:00 | 8.42 | 135.7 | 8.76 | 150.4 | 9.04 | 127.9 | 8.99 | 142 | 21.49 | 962.238 | 70.4354 | 43.178
2020-05-02 08:45:00 | 8.37 | 141.3 | 8.54 | 156.9 | 8.69 | 130.3 | 8.6 | 146.1 | 21.66 | 962.238 | 70.2236 | 40.1519
2020-05-02 09:00:00 | 9.26 | 142 | 9.28 | 157.7 | 9.25 | 131.7 | 9.15 | 146.9 | 21.81 | 962.387 | 71.3141 | 35.2342
2020-05-02 09:15:00 | 8.5 | 146.6 | 8.5 | 163.7 | 8.68 | 134.6 | 8.56 | 150.7 | 22.22 | 962.387 | 68.7916 | 38.02
2020-05-02 09:30:00 | 8.3 | 141 | 8.37 | 157.5 | 7.8 | 133.5 | 7.65 | 147.1 | 22.55 | 962.386 | 68.178 | 31.9456
2020-05-02 09:45:00 | 7.52 | 147.4 | 7.851 | 164.8 | 7.655 | 136.6 | 7.614 | 151.4 | 22.96 | 962.615 | 67.1801 | 27.0019
2020-05-02 10:00:00 | 8.24 | 145.1 | 8.19 | 161.5 | 7.462 | 135.2 | 7.314 | 149.4 | 22.93 | 962.771 | 68.5072 | 24.2197
2020-05-02 10:15:00 | 6.376 | 137.9 | 6.614 | 154.4 | 6.661 | 134.9 | 6.578 | 143.2 | 23.39 | 963.143 | 65.3034 | 20.4916
2020-05-02 10:30:00 | 7.229 | 139.2 | 7.156 | 158.2 | 6.414 | 136.6 | 6.231 | 143.3 | 24 | 963.28 | 64.1445 | 16.1021
2020-05-02 10:45:00 | 5.526 | 136.1 | 5.726 | 149.9 | 5.191 | 134.1 | 5.052 | 139.6 | 24.12 | 962.835 | 63.122 | 12.4849
2020-05-02 11:00:00 | 5.789 | 140.1 | 5.995 | 156.1 | 5.798 | 134.3 | 5.612 | 145.3 | 24.14 | 962.983 | 63.2578 | 12.023
2020-05-02 11:15:00 | 6.138 | 140.1 | 5.916 | 154.5 | 5.262 | 135.6 | 5.075 | 145.6 | 24.34 | 963.131 | 63.1196 | 8.5499
2020-05-02 11:30:00 | 6.317 | 192.9 | 6.325 | 209.4 | 5.684 | 139.5 | 5.623 | 192.8 | 24.99 | 962.983 | 59.711 | 8.1989
2020-05-02 11:45:00 | 5.789 | 180.5 | 5.824 | 198.1 | 5.402 | 139.7 | 5.523 | 177.7 | 25.07 | 962.983 | 59.6414 | 8.4058
2020-05-02 12:00:00 | 5.855 | 159 | 5.652 | 175.8 | 5.119 | 136.4 | 4.96 | 167.5 | 25.43 | 962.835 | 59.0985 | 9.2223
2020-05-02 12:15:00 | 7.004 | 191.7 | 6.45 | 202.7 | 5.778 | 139.6 | 5.694 | 196.4 | 25.56 | 962.538 | 56.7816 | 8.779
2020-05-02 12:30:00 | 5.245 | 137.8 | 5.614 | 152.6 | 5.224 | 133.1 | 5.047 | 143.2 | 25.7 | 962.687 | 56.3696 | 8.5979
2020-05-02 12:45:00 | 5.883 | 166 | 5.573 | 178.5 | 4.773 | 138.8 | 4.752 | 174.7 | 26.05 | 962.538 | 54.2547 | 6.998
2020-05-02 13:00:00 | 5.641 | 147.2 | 5.596 | 162.4 | 5.03 | 137.2 | 4.966 | 153.1 | 26.23 | 962.094 | 54.0874 | 8.3097
2020-05-02 13:15:00 | 5.431 | 172.6 | 5.103 | 189.9 | 4.471 | 140.5 | 4.298 | 171.8 | 26.23 | 961.797 | 53.6421 | 7.5153
2020-05-02 13:30:00 | 4.895 | 176.9 | 4.4 | 188.6 | 4.013 | 138.6 | 4.044 | 179.5 | 26.3 | 962.094 | 54.4282 | 4.977
2020-05-02 13:45:00 | 5.781 | 189.4 | 5.765 | 205.3 | 5.427 | 140.4 | 5.518 | 192.9 | 26.74 | 961.797 | 54.2572 | 6.2628
2020-05-02 14:00:00 | 6.276 | 171.3 | 6.325 | 181.6 | 5.661 | 139.3 | 5.668 | 178 | 26.74 | 961.797 | 55.689 | 6.3551
2020-05-02 14:15:00 | 6.828 | 182.6 | 6.762 | 196.7 | 6.068 | 140.8 | 6.109 | 188.2 | 26.58 | 961.797 | 54.9395 | 10.5081
2020-05-02 14:30:00 | 6.79 | 184.9 | 6.562 | 199.8 | 5.918 | 141.7 | 5.908 | 186.2 | 26.76 | 961.945 | 54.5324 | 10.2162
2020-05-02 14:45:00 | 7.893 | 182.9 | 7.572 | 196.5 | 6.633 | 142.5 | 6.59 | 187.7 | 26.74 | 961.337 | 54.7364 | 8.5684
2020-05-02 15:00:00 | 6.136 | 179.4 | 5.964 | 194.8 | 5.32 | 142.3 | 5.23 | 184.1 | 26.78 | 961.503 | 53.2305 | 6.7135
2020-05-02 15:15:00 | 6.542 | 180.9 | 5.99 | 196.3 | 5.564 | 142.3 | 5.452 | 183.1 | 27.11 | 961.361 | 53.1858 | 7.0719
2020-05-02 15:30:00 | 4.875 | 162.6 | 4.791 | 169.8 | 4.394 | 137 | 4.263 | 172.2 | 27.43 | 961.652 | 52.4702 | 6.2258
2020-05-02 15:45:00 | 5.806 | 174 | 5.77 | 192.7 | 4.829 | 141.6 | 4.772 | 179.4 | 27.39 | 961.208 | 51.2096 | 4.3082
2020-05-02 16:00:00 | 4.951 | 166.6 | 4.857 | 188.4 | 4.155 | 141.6 | 4.118 | 172.4 | 27.54 | 961.208 | 50.2896 | 3.2219
2020-05-02 16:15:00 | 5.189 | 154.5 | 5.317 | 169.9 | 4.834 | 140.2 | 4.716 | 160.5 | 27.5 | 961.801 | 50.9029 | 4.2971
2020-05-02 16:30:00 | 5.107 | 141.9 | 5.363 | 155.8 | 5.119 | 135.6 | 4.932 | 149.8 | 27.41 | 961.652 | 48.5161 | 3.9572
2020-05-02 16:45:00 | 5.326 | 181.9 | 5.149 | 195.1 | 4.417 | 140.6 | 4.38 | 187.4 | 27.58 | 961.059 | 46.7121 | 3.3217
2020-05-02 17:00:00 | 4.92 | 176.7 | 5.041 | 193.8 | 4.768 | 140.6 | 4.854 | 179.4 | 27.64 | 960.911 | 46.0988 | 3.9055
2020-05-02 17:15:00 | 5.235 | 167.9 | 5.207 | 188.4 | 4.483 | 139.6 | 4.418 | 168.7 | 27.6 | 960.911 | 43.0664 | 4.0569
2020-05-02 17:30:00 | 5.069 | 179.2 | 4.768 | 196.9 | 4.382 | 141.1 | 4.275 | 181.2 | 27.58 | 960.467 | 47.7342 | 4.0533
2020-05-02 17:45:00 | 4.489 | 179.6 | 4.504 | 196.2 | 4.26 | 140.2 | 4.156 | 177.8 | 27.3 | 960.615 | 48.0409 | 3.1185
2020-05-02 18:00:00 | 4.461 | 183.1 | 4.333 | 200.2 | 3.598 | 140.5 | 3.478 | 185.3 | 27.27 | 960.467 | 50.6985 | 3.4066
2020-05-02 18:15:00 | 4.703 | 154.1 | 4.734 | 168.5 | 3.982 | 140.6 | 3.786 | 163.4 | 26.96 | 960.515 | 51.1817 | 4.1235
2020-05-02 18:30:00 | 3.309 | 168.7 | 3.602 | 180.3 | 3.146 | 139.8 | 3.017 | 175.2 | 26.73 | 960.74 | 49.0087 | 3.6764
2020-05-02 18:45:00 | 3.853 | 165.9 | 3.778 | 181.7 | 3.522 | 139.8 | 3.443 | 169.2 | 26.56 | 960.166 | 50.6457 | 4.9954
2020-05-02 19:00:00 | 4.811 | 166.7 | 4.796 | 183.4 | 4.667 | 139.9 | 4.571 | 170.1 | 26.33 | 959.869 | 49.8296 | 7.8479
2020-05-02 19:15:00 | 4.721 | 164.6 | 4.786 | 181.1 | 4.517 | 139.9 | 4.418 | 167 | 26.09 | 959.749 | 51.6019 | 9.8948
2020-05-02 19:30:00 | 4.645 | 170.9 | 4.694 | 183.3 | 4.435 | 140 | 4.367 | 172.9 | 25.95 | 960.107 | 52.4914 | 10.5414
2020-05-02 19:45:00 | 4.798 | 169.1 | 5.069 | 187.2 | 5.402 | 141.3 | 5.32 | 169.5 | 25.86 | 960.161 | 56.6558 | 10.1682
2020-05-02 20:00:00 | 5.13 | 169.9 | 5.461 | 188.5 | 5.246 | 141.3 | 5.2 | 171.8 | 25.5 | 960.161 | 59.9284 | 10.837
2020-05-02 20:15:00 | 5.002 | 164.5 | 5.351 | 180.8 | 5.486 | 141.3 | 5.442 | 168.6 | 25.28 | 960.607 | 60.7465 | 10.4342
2020-05-02 20:30:00 | 4.525 | 165.7 | 4.596 | 179 | 4.328 | 141.2 | 4.326 | 171.1 | 25.08 | 960.013 | 60.6102 | 12.2669
2020-05-02 20:45:00 | 5.6 | 164 | 5.729 | 179.3 | 6.015 | 141.2 | 5.959 | 167.4 | 24.9 | 959.717 | 62.0113 | 14.9383
2020-05-02 21:00:00 | 5.98 | 158.3 | 6.159 | 171.9 | 5.816 | 140.4 | 5.773 | 162.6 | 24.66 | 959.717 | 62.9362 | 17.8276
2020-05-02 21:15:00 | 5.858 | 153.8 | 6.493 | 168.9 | 7.167 | 140.8 | 7.138 | 160 | 24.32 | 959.865 | 64.8483 | 19.0802
2020-05-02 21:30:00 | 5.651 | 154.4 | 6.501 | 169 | 7.258 | 140.1 | 7.209 | 159.8 | 24.14 | 959.865 | 65.7688 | 19.6085
2020-05-02 21:45:00 | 5.413 | 150.7 | 5.939 | 167.2 | 6.64 | 140.1 | 6.57 | 156.4 | 24.03 | 959.865 | 66.8258 | 19.9226
2020-05-02 22:00:00 | 5.62 | 146.5 | 6.271 | 162.2 | 6.737 | 139.3 | 6.766 | 153.2 | 24.1 | 959.717 | 65.9734 | 19.5531
2020-05-02 22:15:00 | 5.268 | 147.9 | 5.862 | 167 | 6.851 | 141.4 | 6.878 | 153.1 | 23.83 | 959.865 | 68.1556 | 21.9585
2020-05-02 22:30:00 | 5.597 | 156 | 6.13 | 174.2 | 6.953 | 143.2 | 6.993 | 159.9 | 23.8 | 959.865 | 67.1703 | 24.2973
2020-05-02 22:45:00 | 4.466 | 152 | 4.962 | 170.7 | 6.658 | 144.1 | 6.886 | 156.2 | 23.7 | 959.568 | 66.2851 | 26.1004
2020-05-02 23:00:00 | 5.015 | 149.1 | 5.274 | 169.1 | 6.6 | 142 | 6.83 | 151.9 | 23.6 | 959.42 | 66.4231 | 24.737
2020-05-02 23:15:00 | 6.317 | 151.2 | 6.877 | 166.5 | 7.51 | 142.1 | 7.433 | 157.1 | 23.43 | 959.123 | 68.0637 | 27.2088
2020-05-02 23:30:00 | 6.299 | 154.3 | 7.025 | 169.8 | 7.538 | 142.9 | 7.466 | 158.8 | 23.11 | 958.975 | 69.2924 | 23.4512
2020-05-02 23:45:00 | 6.082 | 150.1 | 6.097 | 175.5 | 7.103 | 142.5 | 7.107 | 154.2 | 23.05 | 958.975 | 71.4748 | 25.5314