## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-03 00:00:00 | 5.303 | 152.3 | 5.716 | 171.5 | 7.009 | 143.6 | 7.087 | 158.8 | 22.77 | 959.123 | 72.0886 | 22.9856
2020-05-03 00:15:00 | 6.23 | 153.7 | 6.885 | 167.3 | 7.726 | 143 | 7.688 | 159.7 | 22.75 | 959.123 | 72.5661 | 25.2136
2020-05-03 00:30:00 | 6.473 | 156.6 | 7.143 | 170.4 | 7.853 | 143.1 | 7.866 | 162 | 22.97 | 959.142 | 72.9412 | 21.8402
2020-05-03 00:45:00 | 7.155 | 156.1 | 7.659 | 172.4 | 7.907 | 145.2 | 7.932 | 163.1 | 23.14 | 958.997 | 72.0886 | 30.283
2020-05-03 01:00:00 | 8.15 | 157.1 | 8.3 | 172 | 8.36 | 147 | 8.36 | 164.1 | 23.05 | 959.124 | 72.3955 | 40.4807
2020-05-03 01:15:00 | 8.12 | 155.9 | 8.36 | 173.8 | 8.52 | 149.2 | 8.53 | 161.2 | 22.97 | 958.827 | 73.3845 | 44.5229
2020-05-03 01:30:00 | 6.567 | 150.1 | 6.992 | 166.6 | 8.17 | 149.4 | 8.19 | 155.2 | 22.66 | 958.975 | 73.3845 | 36.8524
2020-05-03 01:45:00 | 6.562 | 141.5 | 6.833 | 157.6 | 7.874 | 136.9 | 7.915 | 147.5 | 22.68 | 958.678 | 73.7937 | 30.4825
2020-05-03 02:00:00 | 6.21 | 141.8 | 6.923 | 161.7 | 8.09 | 137.7 | 8.08 | 147.1 | 22.58 | 959.004 | 74.5098 | 38.3784
2020-05-03 02:15:00 | 6.57 | 144.2 | 7.34 | 160.3 | 8.66 | 134.6 | 8.74 | 150.3 | 22.73 | 958.54 | 74.5439 | 42.8565
2020-05-03 02:30:00 | 8.28 | 146.9 | 8.77 | 164.8 | 9.69 | 134.6 | 9.67 | 153.7 | 22.42 | 958.391 | 75.6351 | 49.7474
2020-05-03 02:45:00 | 7.647 | 148.7 | 8.36 | 165.7 | 9.24 | 135.9 | 9.27 | 153.4 | 22.34 | 958.317 | 77.6129 | 51.9717
2020-05-03 03:00:00 | 6.728 | 144 | 7.304 | 162.2 | 8.67 | 134.8 | 8.8 | 149.2 | 22.28 | 958.527 | 76.1466 | 46.6696
2020-05-03 03:15:00 | 7.298 | 146.6 | 8.11 | 162.5 | 8.96 | 143.4 | 9.04 | 151.2 | 22.54 | 958.414 | 74.919 | 54.0851
2020-05-03 03:30:00 | 7.709 | 144.9 | 8.36 | 161.2 | 9.41 | 134.4 | 9.41 | 149.7 | 22.39 | 958.213 | 77.4084 | 55.3746
2020-05-03 03:45:00 | 7.834 | 143.3 | 8.74 | 163.2 | 9.43 | 135.6 | 9.46 | 148.6 | 22.33 | 957.996 | 76.8287 | 55.818
2020-05-03 04:00:00 | 6.355 | 143.8 | 6.787 | 162.8 | 8.36 | 130.7 | 8.55 | 146.6 | 22.35 | 958.365 | 75.2941 | 52.6996
2020-05-03 04:15:00 | 6.141 | 136.9 | 7.007 | 153.1 | 8.41 | 129 | 8.49 | 142.4 | 22.57 | 958.242 | 74.4075 | 56.6198
2020-05-03 04:30:00 | 8.14 | 136.2 | 8.3 | 151.9 | 8.7 | 121.5 | 8.66 | 141.7 | 22.72 | 958.854 | 74.3052 | 57.3366
2020-05-03 04:45:00 | 8.15 | 133.2 | 8.86 | 148.6 | 9.31 | 119.3 | 9.25 | 141 | 22.57 | 958.73 | 74.6462 | 56.3456
2020-05-03 05:00:00 | 7.977 | 135.9 | 8.12 | 151.7 | 8.93 | 119.8 | 8.96 | 141.7 | 22.59 | 958.69 | 74.6803 | 54.5766
2020-05-03 05:15:00 | 9.38 | 138.8 | 9.7 | 154 | 9.9 | 121.9 | 9.83 | 145.7 | 22.74 | 958.238 | 74.4757 | 58.0645
2020-05-03 05:30:00 | 8.74 | 138.8 | 9.26 | 153.5 | 9.34 | 121.3 | 9.22 | 145.8 | 22.9 | 958.531 | 74.3052 | 53.0202
2020-05-03 05:45:00 | 9.32 | 142 | 9.76 | 156.2 | 9.54 | 122.6 | 9.38 | 148.8 | 22.84 | 958.827 | 74.2711 | 50.2868
2020-05-03 06:00:00 | 9.49 | 142.8 | 9.85 | 156.8 | 9.77 | 122.6 | 9.61 | 150 | 22.89 | 959.272 | 74.5439 | 51.9791
2020-05-03 06:15:00 | 8.9 | 142.3 | 9.1 | 157.6 | 9.65 | 123.3 | 9.62 | 148.1 | 22.86 | 959.124 | 74.2711 | 55.8476
2020-05-03 06:30:00 | 9.93 | 140.5 | 10.07 | 154.8 | 10.21 | 124.8 | 10 | 148.7 | 22.93 | 959.124 | 74.339 | 58.2271
2020-05-03 06:45:00 | 9.15 | 138 | 9.17 | 155.8 | 9.63 | 124.8 | 9.59 | 144.5 | 22.86 | 959.42 | 73.7177 | 63.4685
2020-05-03 07:00:00 | 9.3 | 137 | 9.35 | 154.3 | 10.04 | 125 | 9.91 | 143 | 22.9 | 959.865 | 73.372 | 60.1706
2020-05-03 07:15:00 | 9.95 | 139.2 | 10.27 | 153.6 | 10.25 | 125.6 | 10.12 | 146.7 | 23.03 | 959.865 | 72.7582 | 61.7363
2020-05-03 07:30:00 | 8.27 | 137.6 | 8.81 | 151.7 | 10.23 | 124.5 | 10.19 | 143.9 | 23.09 | 960.31 | 72.6884 | 57.3867
2020-05-03 07:45:00 | 8.99 | 139.4 | 9.4 | 156.9 | 9.67 | 127 | 9.51 | 145.2 | 23.22 | 960.31 | 72.6114 | 49.1895
2020-05-03 08:00:00 | 8.79 | 139.1 | 9.14 | 155.9 | 9.43 | 128.7 | 9.39 | 143.8 | 23.28 | 960.607 | 72.3368 | 52.8326
2020-05-03 08:15:00 | 8.99 | 139.6 | 9.26 | 156.7 | 9.43 | 129 | 9.29 | 145.7 | 23.56 | 961.052 | 71.9277 | 43.5733
2020-05-03 08:30:00 | 9.26 | 140.9 | 9.27 | 158.1 | 9.12 | 126.5 | 8.91 | 147.2 | 23.61 | 961.035 | 71.3121 | 39.9191
2020-05-03 08:45:00 | 8.59 | 142.6 | 8.52 | 159.8 | 8.6 | 126.7 | 8.42 | 146.8 | 23.66 | 961.045 | 71.3021 | 32.0934
2020-05-03 09:00:00 | 8.07 | 141 | 8 | 157 | 7.645 | 126.3 | 7.489 | 146.5 | 23.99 | 961.232 | 71.3702 | 28.9269
2020-05-03 09:15:00 | 8.1 | 142.6 | 8.12 | 159.7 | 8 | 126.5 | 7.795 | 146.2 | 24.17 | 961.649 | 70.893 | 23.3958
2020-05-03 09:30:00 | 7.249 | 141.2 | 7.26 | 157.9 | 6.821 | 126.6 | 6.662 | 145 | 24.56 | 961.797 | 70.1772 | 19.2206
2020-05-03 09:45:00 | 6.557 | 141.1 | 6.286 | 163.7 | 5.458 | 126.6 | 5.167 | 141.7 | 24.86 | 961.945 | 68.03 | 16.7487
2020-05-03 10:00:00 | 5.653 | 134 | 5.376 | 159.3 | 4.262 | 126.8 | 4.095 | 132.5 | 25.7 | 962.687 | 64.279 | 15.6477
2020-05-03 10:15:00 | 4.757 | 132.7 | 4.893 | 155.4 | 4.257 | 126.7 | 4.011 | 137.3 | 26.37 | 963.237 | 62.2303 | 10.6707
2020-05-03 10:30:00 | 5.13 | 149 | 4.801 | 168 | 3.782 | 126.8 | 3.542 | 149.5 | 26.45 | 962.842 | 62.6919 | 8.258
2020-05-03 10:45:00 | 4.949 | 150.2 | 4.757 | 168.4 | 3.441 | 126.4 | 3.231 | 154.7 | 27.28 | 962.986 | 62.0102 | 5.5977
2020-05-03 11:00:00 | 4.596 | 147.4 | 4.394 | 168.3 | 3.37 | 126.3 | 3.038 | 145.4 | 27.53 | 963.135 | 60.2385 | 4.5816
2020-05-03 11:15:00 | 5.863 | 142.7 | 5.767 | 161.3 | 5.107 | 126.3 | 4.81 | 145.2 | 27.39 | 963.135 | 61.3279 | 6.9648
2020-05-03 11:30:00 | 5.569 | 141.5 | 5.53 | 163 | 5.119 | 126.8 | 4.828 | 144.2 | 27.32 | 962.838 | 60.8849 | 7.4784
2020-05-03 11:45:00 | 6.713 | 137.4 | 6.537 | 155.2 | 6.116 | 126.7 | 5.811 | 143.6 | 27.23 | 962.69 | 59.7955 | 13.6709
2020-05-03 12:00:00 | 5.709 | 135 | 5.619 | 153.1 | 5.013 | 126.8 | 4.767 | 140.2 | 27.66 | 962.69 | 61.8058 | 8.4132
2020-05-03 12:15:00 | 6.634 | 151.4 | 6.34 | 167.5 | 5.592 | 127 | 5.304 | 158 | 27.88 | 962.838 | 59.4548 | 5.3427
2020-05-03 12:30:00 | 6.059 | 139.7 | 5.88 | 159.3 | 5.071 | 127 | 4.904 | 143.9 | 27.81 | 962.69 | 60.2385 | 8.2432
2020-05-03 12:45:00 | 6.493 | 143.8 | 6.386 | 161.1 | 6.172 | 127 | 5.971 | 148.6 | 28.12 | 962.245 | 61.5332 | 13.1278
2020-05-03 13:00:00 | 5.84 | 138.6 | 6.015 | 155.8 | 5.915 | 126.9 | 5.821 | 145.1 | 28.43 | 962.097 | 60.2044 | 12.9652
2020-05-03 13:15:00 | 6.036 | 150.1 | 6.013 | 168.8 | 5.493 | 126.9 | 5.284 | 155 | 28.72 | 962.097 | 58.6712 | 11.406
2020-05-03 13:30:00 | 5.909 | 130.7 | 5.995 | 145.4 | 5.371 | 124.1 | 5.162 | 137.5 | 28.87 | 962.097 | 59.4889 | 6.8576
2020-05-03 13:45:00 | 5.48 | 153 | 5.478 | 170.3 | 4.829 | 126.5 | 4.578 | 159.9 | 29.38 | 961.949 | 56.8654 | 9.8135
2020-05-03 14:00:00 | 5.452 | 178.1 | 5.657 | 189.3 | 5.038 | 126.2 | 4.935 | 182.2 | 29.4 | 962.245 | 59.2845 | 9.8357
2020-05-03 14:15:00 | 2.104 | 166.6 | 2.093 | 183.9 | 1.464 | 126.5 | 1.488 | 171.9 | 29.74 | 963.283 | 56.2181 | 0.54314
2020-05-03 14:30:00 | 4.032 | 135 | 3.978 | 151.7 | 3.42 | 125.8 | 3.272 | 140.5 | 29.86 | 963.728 | 56.7886 | 0.42121
2020-05-03 14:45:00 | 3.94 | 177.1 | 3.835 | 191 | 3.067 | 126.3 | 3.066 | 182.1 | 30.57 | 963.579 | 54.0884 | 2.7157
2020-05-03 15:00:00 | 4.783 | 148.4 | 4.727 | 163.5 | 3.703 | 126.6 | 3.601 | 153.2 | 30.2 | 964.024 | 53.3719 | 0.75005
2020-05-03 15:15:00 | 3.87 | 138.1 | 3.858 | 155.3 | 3.497 | 126.2 | 3.402 | 147.1 | 30.11 | 964.172 | 49.8297 | 1.2784
2020-05-03 15:30:00 | 4.407 | 158.1 | 4.029 | 171.3 | 3.415 | 126.5 | 3.303 | 164.4 | 30.58 | 963.728 | 50.1703 | 1.622
2020-05-03 15:45:00 | 3.868 | 162 | 3.681 | 175.9 | 2.884 | 126.6 | 2.742 | 161.5 | 30.89 | 964.002 | 48.1948 | 0.98283
2020-05-03 16:00:00 | 4.647 | 161.4 | 4.213 | 178.2 | 3.558 | 126.6 | 3.443 | 166.5 | 30.74 | 963.864 | 49.6254 | 1.792
2020-05-03 16:15:00 | 4.775 | 145.1 | 4.696 | 165.6 | 4.115 | 126.5 | 3.942 | 148.2 | 30.7 | 963.715 | 49.5572 | 2.2391
2020-05-03 16:30:00 | 4.714 | 142.3 | 4.791 | 164.1 | 4.453 | 126.4 | 4.314 | 148.3 | 30.68 | 963.57 | 51.2262 | 3.0556
2020-05-03 16:45:00 | 4.466 | 141.5 | 4.722 | 160.4 | 4.079 | 126.3 | 3.975 | 144.5 | 30.76 | 963.431 | 51.6689 | 2.3499
2020-05-03 17:00:00 | 3.948 | 144.4 | 3.965 | 161.5 | 3.609 | 126.3 | 3.511 | 148.2 | 30.61 | 963.43 | 52.3842 | 2.2354
2020-05-03 17:15:00 | 4.29 | 145.3 | 4.328 | 163.6 | 4.277 | 125.2 | 4.168 | 149 | 30.49 | 963.579 | 54.6322 | 2.1319
2020-05-03 17:30:00 | 3.891 | 156 | 3.569 | 177.7 | 3.153 | 125.5 | 3.129 | 159.4 | 30.16 | 962.838 | 55.3474 | 0.34362
2020-05-03 17:45:00 | 1.94 | 178.8 | 2.533 | 194.8 | 2.128 | 125.5 | 1.995 | 184.5 | 30.03 | 962.986 | 54.8407 | 0.055423
2020-05-03 18:00:00 | 0.474 | 242.5 | 0.729 | 235.8 | 0.197 | 125.5 | 0.21 | 219.5 | 29.84 | 962.838 | 54.7108 | 0.070202
2020-05-03 18:15:00 | 1.571 | 227.2 | 2.152 | 238.2 | 1.626 | 125.5 | 1.445 | 223.7 | 30.01 | 962.689 | 55.1949 | 0.37687
2020-05-03 18:30:00 | 2.791 | 193.1 | 2.919 | 208.9 | 2.039 | 125.6 | 1.838 | 197.3 | 29.53 | 962.245 | 56.4225 | 1.3338
2020-05-03 18:45:00 | 1.959 | 187.7 | 2.106 | 218 | 1.574 | 125.5 | 1.55 | 187.1 | 29.25 | 962.245 | 58.3986 | 1.1934
2020-05-03 19:00:00 | 1.545 | 183 | 2.413 | 201.5 | 2.08 | 125.5 | 2.121 | 187.9 | 28.73 | 962.011 | 60.2413 | 1.3449
2020-05-03 19:15:00 | 4.308 | 175.4 | 4.438 | 190.3 | 4.473 | 125.7 | 4.385 | 177.8 | 28.46 | 962.526 | 60.6326 | 1.5962
2020-05-03 19:30:00 | 3.304 | 189.3 | 3.505 | 204.8 | 3.222 | 126 | 3.247 | 189.8 | 28.35 | 962.538 | 61.4458 | 0.11084
2020-05-03 19:45:00 | 0.963 | 181.8 | 2.224 | 211 | 2.339 | 126 | 2.33 | 187.3 | 27.83 | 962.686 | 64.2122 | 0.33993
2020-05-03 20:00:00 | 1.669 | 24 | 2.088 | 24.24 | 1.442 | 125.6 | 1.315 | 46.69 | 26.83 | 962.39 | 68.7798 | 1.5592
2020-05-03 20:15:00 | 3.141 | 1.01 | 3.392 | 13.21 | 2.558 | 119.3 | 2.184 | 18.9 | 26.34 | 962.538 | 69.666 | 5.8896
2020-05-03 20:30:00 | 4.101 | 13.98 | 5.458 | 28.47 | 5.374 | 111.3 | 5.187 | 23.66 | 25.67 | 961.982 | 69.8732 | 8.5092
2020-05-03 20:45:00 | 3.113 | 38.63 | 3.548 | 43.67 | 3.83 | 111.4 | 3.82 | 50.99 | 25.52 | 962.386 | 70.7684 | 4.7479
2020-05-03 21:00:00 | 3.554 | 22.75 | 4.256 | 34.97 | 4.476 | 111.4 | 4.459 | 27.61 | 25.47 | 963.276 | 71.7232 | 7.3343
2020-05-03 21:15:00 | 3.353 | 17.28 | 4.446 | 31.44 | 4.481 | 111.8 | 4.372 | 25.71 | 25.37 | 963.276 | 69.2688 | 6.1704
2020-05-03 21:30:00 | 2.104 | 51.89 | 4.157 | 66.71 | 4.351 | 111.9 | 4.342 | 58.8 | 25.28 | 962.98 | 68.9288 | 5.9487
2020-05-03 21:45:00 | 2.407 | 35.8 | 5.085 | 49 | 5.336 | 111.9 | 5.264 | 42.66 | 25.16 | 962.98 | 69.9519 | 12.2262
2020-05-03 22:00:00 | 4.037 | 39.98 | 5.573 | 52.91 | 5.676 | 111.1 | 5.648 | 47.91 | 24.93 | 962.832 | 66.2035 | 15.9174
2020-05-03 22:15:00 | 4.716 | 24.91 | 6.297 | 39.02 | 6.088 | 109 | 6.028 | 30.53 | 25.1 | 964.018 | 64.979 | 15.8546
2020-05-03 22:30:00 | 3.848 | 29.28 | 6.243 | 44.45 | 6.259 | 109.4 | 6.137 | 38.02 | 24.77 | 963.276 | 65.32 | 14.4505
2020-05-03 22:45:00 | 4.323 | 32.9 | 6.169 | 46.28 | 6.681 | 109 | 6.616 | 41 | 24.7 | 963.87 | 63.1743 | 10.7224
2020-05-03 23:00:00 | 4.785 | 31.67 | 6.026 | 43.78 | 6.35 | 107.9 | 6.382 | 41.17 | 24.85 | 964.463 | 61.5746 | 6.8835
2020-05-03 23:15:00 | 3.09 | 19.54 | 5.944 | 32.44 | 5.58 | 108.6 | 5.373 | 28.42 | 24.58 | 964.76 | 62.1547 | 6.9685
2020-05-03 23:30:00 | 9.21 | 315 | 10.64 | 327.1 | 9.94 | 77.44 | 9.99 | 28.8 | 24.21 | 966.54 | 77.2586 | 38.2562
2020-05-03 23:45:00 | 8.03 | 345.5 | 9.36 | 6.806 | 11.14 | 359.7 | 11.45 | 340.7 | 19.44 | 964.612 | 89.841 | 76.3877