## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-04 00:00:00 | 12.2 | 6.845 | 13.57 | 26.09 | 12.86 | 17.19 | 12.76 | 6.958 | 17.51 | 963.509 | 92.554 | 78.7873
2020-05-04 00:15:00 | 12.63 | 11.73 | 15.92 | 28.22 | 15.05 | 12.35 | 14.36 | 16.55 | 16.81 | 963.006 | 92.1688 | 69.0456
2020-05-04 00:30:00 | 9.08 | 23.97 | 15.06 | 38.92 | 14.83 | 26.89 | 14.52 | 30.85 | 16.87 | 963.714 | 90.3292 | 64.3828
2020-05-04 00:45:00 | 6.898 | 34.07 | 10.83 | 46.87 | 11.49 | 26.41 | 11.45 | 39.3 | 17.8 | 963.716 | 78.322 | 64.636
2020-05-04 01:00:00 | 7.755 | 30.03 | 11.17 | 44.84 | 11.45 | 26.24 | 11.35 | 36.67 | 19.01 | 963.568 | 70.2038 | 55.2141
2020-05-04 01:15:00 | 7.913 | 38.68 | 9.75 | 52.12 | 9.87 | 36.31 | 9.89 | 47.14 | 19.44 | 963.271 | 69.9642 | 39.1638
2020-05-04 01:30:00 | 6.366 | 32 | 8.41 | 41.26 | 7.736 | 29.74 | 7.719 | 41.92 | 19.58 | 963.271 | 71.8745 | 22.7418
2020-05-04 01:45:00 | 4.361 | 33.29 | 7.314 | 42.84 | 7.307 | 30.59 | 7.115 | 46.83 | 19.48 | 963.716 | 72.5226 | 11.6868
2020-05-04 02:00:00 | 3.174 | 14.49 | 5.005 | 25.29 | 4.501 | 27.11 | 4.354 | 25.63 | 19.52 | 963.994 | 73.6142 | 4.2638
2020-05-04 02:15:00 | 3.271 | 27.91 | 5.509 | 38.02 | 5.435 | 30.19 | 5.373 | 38 | 19.23 | 963.853 | 72.625 | 3.4214
2020-05-04 02:30:00 | 1.239 | 26.52 | 4.622 | 38.02 | 4.738 | 29.63 | 4.619 | 35.43 | 19.31 | 964.005 | 73.4778 | 2.361
2020-05-04 02:45:00 | 2.35 | 8.16 | 2.797 | 26.52 | 2.759 | 28.06 | 2.658 | 22.24 | 19.01 | 964.013 | 75.4563 | 1.9989
2020-05-04 03:00:00 | 3.95 | 347.6 | 4.272 | 358 | 2.975 | 24.24 | 2.668 | 354.7 | 18.08 | 964.013 | 80.0273 | 3.3069
2020-05-04 03:15:00 | 4.346 | 355.9 | 4.878 | 4.983 | 4.565 | 23.87 | 4.601 | 356.5 | 17.29 | 963.864 | 82.8245 | 3.8907
2020-05-04 03:30:00 | 4.241 | 7.92 | 4.4 | 14.71 | 3.904 | 23.83 | 3.96 | 17.87 | 17.06 | 963.864 | 83.6467 | 5.3058
2020-05-04 03:45:00 | 5.326 | 14.55 | 5.553 | 8.94 | 4.511 | 20.5 | 3.924 | 12.17 | 16.62 | 964.607 | 89.2082 | 12.2484
2020-05-04 04:00:00 | 5.505 | 0.968 | 5.394 | 13.75 | 6.055 | 21.22 | 5.852 | 5.312 | 16.01 | 964.458 | 92.5295 | 11.5094
2020-05-04 04:15:00 | 4.864 | 7.452 | 5.082 | 21.18 | 5.046 | 20.26 | 4.836 | 13.29 | 15.81 | 964.458 | 92.8849 | 8.9563
2020-05-04 04:30:00 | 4.918 | 14.15 | 5.415 | 25.17 | 5.625 | 19.72 | 5.597 | 20.9 | 16.01 | 964.607 | 90.5647 | 7.5338
2020-05-04 04:45:00 | 4.239 | 22.69 | 5.149 | 35.56 | 5.651 | 21.04 | 5.696 | 30.19 | 16.18 | 964.903 | 88.6879 | 5.7012
2020-05-04 05:00:00 | 4.177 | 34.73 | 5.606 | 48.07 | 5.684 | 30.06 | 5.648 | 47.15 | 16.38 | 965.052 | 89.3363 | 5.0435
2020-05-04 05:15:00 | 3.812 | 33.59 | 5.22 | 47.23 | 5.465 | 24.52 | 5.455 | 41.71 | 16.61 | 965.497 | 83.9447 | 3.1665
2020-05-04 05:30:00 | 4.41 | 23.4 | 5.08 | 35.1 | 5.119 | 21.79 | 5.108 | 33.87 | 16.79 | 965.943 | 84.1495 | 7.4562
2020-05-04 05:45:00 | 3.994 | 19.29 | 5.279 | 30.17 | 5.124 | 19.66 | 5.037 | 29.23 | 16.76 | 965.943 | 83.467 | 6.0078
2020-05-04 06:00:00 | 3.613 | 9.59 | 4.816 | 21.98 | 4.723 | 17.56 | 4.578 | 21.38 | 16.76 | 966.239 | 83.8761 | 5.8453
2020-05-04 06:15:00 | 3.611 | 17.57 | 5.011 | 28.9 | 4.73 | 17.75 | 4.601 | 29.05 | 16.54 | 966.388 | 84.2491 | 6.5473
2020-05-04 06:30:00 | 3.743 | 23.94 | 5.591 | 34.09 | 5.081 | 19.4 | 4.943 | 34.79 | 16.58 | 966.981 | 83.8728 | 8.6201
2020-05-04 06:45:00 | 3.199 | 22.97 | 6.123 | 32.98 | 5.567 | 17.3 | 5.508 | 31.81 | 16.39 | 967.427 | 83.7398 | 8.9526
2020-05-04 07:00:00 | 3.248 | 22.79 | 5.407 | 34.46 | 4.992 | 14.42 | 4.724 | 30.02 | 16.3 | 967.724 | 82.3056 | 11.1732
2020-05-04 07:15:00 | 3.5 | 11.92 | 4.32 | 19.83 | 4.125 | 2.291 | 3.927 | 19.58 | 16.17 | 968.021 | 82.1669 | 12.6807
2020-05-04 07:30:00 | 3.417 | 0.869 | 3.691 | 9.8 | 3.387 | 357.2 | 3.343 | 9.71 | 16.02 | 968.021 | 80.7364 | 7.8405
2020-05-04 07:45:00 | 3.664 | 36.35 | 5.463 | 48.04 | 5.987 | 1.627 | 6.005 | 43.27 | 16.22 | 968.614 | 77.4589 | 5.5903
2020-05-04 08:00:00 | 3.544 | 19.99 | 4.763 | 32.4 | 4.992 | 2.203 | 4.92 | 23.68 | 16.54 | 968.763 | 75.7884 | 3.4842
2020-05-04 08:15:00 | 3.853 | 6.391 | 4.645 | 15.67 | 4.257 | 356.2 | 3.967 | 17.84 | 16.3 | 968.614 | 75.0699 | 2.4164
2020-05-04 08:30:00 | 2.419 | 34.89 | 3.019 | 39.19 | 3.13 | 0.087 | 3.142 | 43.77 | 16.44 | 969.208 | 74.1153 | 1.3154
2020-05-04 08:45:00 | 2.498 | 358.4 | 3.004 | 0.05 | 2.642 | 347.5 | 2.437 | 9.6 | 16.28 | 969.505 | 71.316 | 2.1504
2020-05-04 09:00:00 | 2.122 | 9.01 | 2.229 | 4.85 | 2.072 | 346.9 | 2.006 | 15.27 | 15.91 | 969.802 | 71.5885 | 4.2934
2020-05-04 09:15:00 | 3.221 | 357.2 | 4.039 | 11.3 | 3.954 | 358.4 | 3.83 | 356.3 | 15.88 | 969.802 | 68.0391 | 7.6705
2020-05-04 09:30:00 | 3.999 | 345.8 | 4.141 | 6.193 | 5.3 | 351.2 | 5.429 | 349.6 | 15.17 | 969.505 | 64.3563 | 14.6501
2020-05-04 09:45:00 | 5.694 | 6.073 | 6.059 | 22.94 | 5.112 | 0.577 | 4.93 | 9.54 | 15.25 | 969.802 | 62.4467 | 18.0087
2020-05-04 10:00:00 | 5.832 | 1.689 | 5.663 | 12.73 | 6.081 | 0.026 | 6.219 | 0.353 | 15.22 | 969.802 | 59.9556 | 23.6692
2020-05-04 10:15:00 | 5.597 | 11.14 | 5.772 | 18.66 | 5.478 | 1.532 | 5.309 | 6.234 | 14.96 | 969.802 | 59.8874 | 18.3264
2020-05-04 10:30:00 | 5.224 | 351 | 5.65 | 10.68 | 6.043 | 0.689 | 6.053 | 354 | 14.99 | 969.802 | 58.8978 | 20.8907
2020-05-04 10:45:00 | 6.373 | 6.552 | 7.255 | 26.17 | 6.218 | 2.334 | 6.094 | 6.237 | 14.93 | 970.111 | 56.9869 | 32.2191
2020-05-04 11:00:00 | 6.123 | 10.83 | 8.58 | 27.19 | 7.502 | 8.51 | 7.049 | 15.39 | 15.6 | 970.396 | 53.3697 | 34.0465
2020-05-04 11:15:00 | 6.718 | 7.751 | 7.57 | 25.75 | 6.299 | 7.633 | 6.078 | 10.57 | 15.96 | 970.396 | 51.6635 | 33.3777
2020-05-04 11:30:00 | 6.601 | 6.444 | 6.634 | 14.14 | 6.33 | 1.624 | 5.989 | 7.086 | 15.52 | 970.396 | 50.4351 | 26.8689
2020-05-04 11:45:00 | 5.628 | 354 | 5.448 | 11.27 | 6.32 | 1.67 | 6.46 | 359.1 | 15.32 | 970.396 | 49.8891 | 22.1247
2020-05-04 12:00:00 | 5.209 | 7.218 | 6.468 | 24.58 | 5.692 | 0.297 | 5.276 | 11.87 | 15.43 | 970.396 | 49.4796 | 25.7272
2020-05-04 12:15:00 | 6.669 | 3.999 | 6.933 | 25.51 | 7.436 | 9.36 | 7.673 | 1.025 | 15.48 | 970.396 | 49.7526 | 41.6372
2020-05-04 12:30:00 | 6.468 | 12.31 | 8.79 | 27.03 | 8.2 | 0.011 | 7.724 | 18.7 | 15.42 | 970.396 | 49.1032 | 25.439
2020-05-04 12:45:00 | 4.206 | 10.4 | 5.136 | 23.72 | 4.611 | 359.5 | 4.306 | 15.28 | 16.59 | 970.396 | 46.8439 | 21.6222
2020-05-04 13:00:00 | 5.219 | 17.7 | 6.931 | 29.96 | 6.246 | 357.6 | 5.938 | 18.31 | 17.28 | 970.99 | 44.0049 | 27.9367
2020-05-04 13:15:00 | 5.416 | 15.82 | 9.94 | 29.97 | 9.34 | 358.3 | 8.85 | 21.25 | 17.66 | 970.669 | 42.7767 | 32.2773
2020-05-04 13:30:00 | 6.958 | 10.69 | 8.84 | 26.31 | 7.884 | 2.878 | 7.423 | 12.97 | 17.83 | 971.076 | 42.4356 | 38.5468
2020-05-04 13:45:00 | 7.714 | 6.773 | 8.26 | 27.86 | 7.594 | 11.53 | 7.637 | 5.124 | 17.88 | 971.439 | 47.9571 | 41.7185
2020-05-04 14:00:00 | 4.923 | 11.43 | 5.818 | 20.45 | 6.106 | 5.122 | 5.994 | 1.786 | 17.2 | 970.842 | 56.2074 | 51.7085
2020-05-04 14:15:00 | 7.295 | 358 | 7.966 | 20.4 | 8.32 | 8.69 | 8.54 | 355.7 | 15.67 | 969.506 | 58.0538 | 45.3986
2020-05-04 14:30:00 | 8.18 | 1.829 | 7.815 | 20.44 | 8.81 | 9.67 | 9.17 | 0.515 | 15.22 | 969.181 | 56.5581 | 44.5118
2020-05-04 14:45:00 | 7.471 | 8.81 | 8.38 | 25.99 | 7.5 | 10.55 | 7.479 | 8.74 | 15.16 | 969.356 | 57.1728 | 30.3125
2020-05-04 15:00:00 | 7.474 | 10.52 | 7.933 | 24.42 | 7.24 | 2.651 | 7.041 | 8.06 | 15.28 | 968.614 | 56.3578 | 17.2069
2020-05-04 15:15:00 | 5.607 | 7.477 | 6.823 | 23.82 | 6.505 | 4.691 | 6.122 | 7.933 | 15.72 | 969.356 | 54.6587 | 10.9257
2020-05-04 15:30:00 | 3.999 | 354.8 | 3.671 | 359 | 4 | 336.3 | 4.061 | 347.9 | 16.4 | 969.802 | 56.4975 | 11.1584
2020-05-04 15:45:00 | 5.03 | 9.36 | 5.591 | 29.58 | 5.229 | 359.9 | 5.167 | 7.034 | 16.18 | 969.208 | 56.0827 | 20.8611
2020-05-04 16:00:00 | 4.747 | 342.9 | 5.448 | 7.436 | 5.353 | 349.7 | 5.493 | 337.3 | 15.98 | 969.208 | 61.9828 | 35.622
2020-05-04 16:15:00 | 4.854 | 8.63 | 6.008 | 32.02 | 5.954 | 345.3 | 5.997 | 353.6 | 15.12 | 969.208 | 65.4965 | 47.9997
2020-05-04 16:30:00 | 6.989 | 0.857 | 7.675 | 22.27 | 7.93 | 359.2 | 8.02 | 357.1 | 14.32 | 968.911 | 66.1803 | 44.6105
2020-05-04 16:45:00 | 7.354 | 354.9 | 8.33 | 19.64 | 9.83 | 0.642 | 9.91 | 352.8 | 14.11 | 968.763 | 66.6945 | 49.6236
2020-05-04 17:00:00 | 6.192 | 358.1 | 7.076 | 24.91 | 7.632 | 359.7 | 8.02 | 350.4 | 14.04 | 968.614 | 65.7901 | 53.834
2020-05-04 17:15:00 | 7.364 | 0.973 | 8.04 | 20.33 | 9.3 | 0.447 | 9.49 | 358.5 | 13.69 | 968.336 | 66.4392 | 61.5862
2020-05-04 17:30:00 | 7.487 | 355.3 | 8.24 | 23.22 | 9.59 | 7.731 | 10 | 351.2 | 13.35 | 968.282 | 67.5693 | 55.7885
2020-05-04 17:45:00 | 7.502 | 358.5 | 8.24 | 22.61 | 8.66 | 6.42 | 8.97 | 351.4 | 13.21 | 968.168 | 70.1365 | 55.9473
2020-05-04 18:00:00 | 7.395 | 4.232 | 7.608 | 23.56 | 8.29 | 7.27 | 8.76 | 4.09 | 12.85 | 968.019 | 69.4874 | 44.3905
2020-05-04 18:15:00 | 7.538 | 0.622 | 8.08 | 17.49 | 8.74 | 2.529 | 9.09 | 359.6 | 12.77 | 967.425 | 69.0105 | 49.3808
2020-05-04 18:30:00 | 8.85 | 6.171 | 8.83 | 23.02 | 8.9 | 8.78 | 8.99 | 6.017 | 12.65 | 967.128 | 69.6341 | 38.5172
2020-05-04 18:45:00 | 7.668 | 8.91 | 7.634 | 17.65 | 7.65 | 2.937 | 7.54 | 5.797 | 12.64 | 967.425 | 69.9095 | 30.2608
2020-05-04 19:00:00 | 7.155 | 6.277 | 6.762 | 17.46 | 7.106 | 0.657 | 7.405 | 5.214 | 12.63 | 967.722 | 70.1485 | 27.1534
2020-05-04 19:15:00 | 6.504 | 353.8 | 6.619 | 12.48 | 7.754 | 0.48 | 7.894 | 356 | 12.53 | 967.722 | 70.524 | 35.8769
2020-05-04 19:30:00 | 6.991 | 9.97 | 6.509 | 19.5 | 6.605 | 11.68 | 6.814 | 5.781 | 12.3 | 967.425 | 70.3192 | 30.3568
2020-05-04 19:45:00 | 7.66 | 6.18 | 7.938 | 15.72 | 7.841 | 3.808 | 7.696 | 5.66 | 12.19 | 967.722 | 70.1826 | 36.6085
2020-05-04 20:00:00 | 7.43 | 6.757 | 7.411 | 20.99 | 7.429 | 8.97 | 7.543 | 5.974 | 12.08 | 967.574 | 70.5922 | 35.3375
2020-05-04 20:15:00 | 6.927 | 9.28 | 8.81 | 27.44 | 7.686 | 6.652 | 7.23 | 12.12 | 11.97 | 967.425 | 70.7971 | 29.9209
2020-05-04 20:30:00 | 7.686 | 4.425 | 7.452 | 19.21 | 7.975 | 8.77 | 8.3 | 3.816 | 11.96 | 967.732 | 71.548 | 31.9309
2020-05-04 20:45:00 | 7.047 | 1.06 | 6.89 | 14.26 | 7.861 | 8.33 | 8.21 | 3.983 | 11.83 | 967.871 | 73.0159 | 30.4086
2020-05-04 21:00:00 | 7.79 | 8.11 | 7.501 | 24.31 | 7.207 | 10.73 | 7.097 | 7.52 | 11.59 | 967.428 | 76.4636 | 23.7209
2020-05-04 21:15:00 | 6.317 | 9.47 | 6.754 | 23.92 | 6.437 | 7.403 | 6.241 | 14.51 | 11.41 | 967.489 | 75.7126 | 21.1337
2020-05-04 21:30:00 | 7.315 | 7.915 | 7.156 | 23.98 | 6.386 | 2.757 | 6.252 | 8.91 | 11.38 | 967.493 | 76.327 | 23.562
2020-05-04 21:45:00 | 5.518 | 349.6 | 5.43 | 11.33 | 6.498 | 0.251 | 6.529 | 353 | 11.13 | 967.789 | 77.078 | 23.9943
2020-05-04 22:00:00 | 6.966 | 6.187 | 6.401 | 15.33 | 7.246 | 10.73 | 7.764 | 7.163 | 10.96 | 967.806 | 77.2828 | 26.3812
2020-05-04 22:15:00 | 6.585 | 8.19 | 6.693 | 25.24 | 6.391 | 14.68 | 6.226 | 12.16 | 11 | 967.316 | 76.1905 | 20.0335
2020-05-04 22:30:00 | 5.365 | 16.05 | 6.575 | 32.27 | 6.676 | 19.19 | 6.603 | 19.67 | 11.29 | 967.479 | 74.2106 | 10.0426
2020-05-04 22:45:00 | 4.083 | 16.07 | 4.967 | 33.81 | 5.363 | 18.69 | 5.376 | 19.26 | 11.77 | 967.765 | 70.9336 | 6.7061
2020-05-04 23:00:00 | 4.877 | 7.486 | 4.382 | 13.33 | 4.209 | 6.971 | 4.064 | 7.62 | 11.85 | 967.785 | 74.0058 | 15.8435
2020-05-04 23:15:00 | 5.615 | 350 | 5.834 | 9.34 | 6.419 | 7.446 | 6.417 | 358.2 | 11.3 | 967.648 | 77.8972 | 22.2171
2020-05-04 23:30:00 | 4.029 | 352.2 | 4.281 | 18.49 | 5.257 | 16.53 | 5.215 | 348.5 | 10.99 | 967.811 | 78.5117 | 27.3529
2020-05-04 23:45:00 | 6.537 | 359.7 | 6.089 | 20.58 | 6.864 | 13.4 | 7.046 | 355.6 | 10.85 | 967.792 | 79.6723 | 29.1302