## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-05 00:00:00 | 7.244 | 6.533 | 6.895 | 19.5 | 7.218 | 14.03 | 7.91 | 2.91 | 10.52 | 967.75 | 80.9012 | 37.4351
2020-05-05 00:15:00 | 6.187 | 355.4 | 6.205 | 25.42 | 7.474 | 20.43 | 7.589 | 355.1 | 10.35 | 967.207 | 81.1129 | 42.2162
2020-05-05 00:30:00 | 8.03 | 6.806 | 8.24 | 24.73 | 7.708 | 12.41 | 7.836 | 5.811 | 10.19 | 966.889 | 82.5531 | 35.8474
2020-05-05 00:45:00 | 6.281 | 16.17 | 7.851 | 32.28 | 7.38 | 14.04 | 7.224 | 22.49 | 10.31 | 967.348 | 81.0531 | 13.2239
2020-05-05 01:00:00 | 5.592 | 8.22 | 6.606 | 25 | 5.908 | 359.5 | 5.551 | 8.83 | 10.37 | 967.347 | 80.9835 | 7.168
2020-05-05 01:15:00 | 2.068 | 347.4 | 2.736 | 15.37 | 3.334 | 355 | 3.389 | 349.2 | 10.33 | 967.694 | 81.4615 | 8.5831
2020-05-05 01:30:00 | 4.956 | 8.75 | 5.361 | 25.28 | 5.173 | 4.435 | 5.065 | 8.62 | 10.2 | 966.781 | 85.1495 | 8.0548
2020-05-05 01:45:00 | 3.408 | 14.96 | 5.949 | 31.32 | 5.714 | 1.554 | 5.353 | 18.9 | 10 | 966.532 | 85.6948 | 7.7998
2020-05-05 02:00:00 | 3.164 | 18.45 | 5.757 | 35.41 | 5.837 | 355.6 | 5.758 | 23.03 | 10.06 | 966.828 | 83.8544 | 5.8231
2020-05-05 02:15:00 | 3.74 | 19.21 | 6.159 | 32.68 | 5.946 | 358.1 | 5.809 | 25.7 | 10.15 | 966.235 | 82.9655 | 13.1315
2020-05-05 02:30:00 | 5.012 | 7.378 | 6.222 | 20.79 | 6.91 | 359.7 | 6.478 | 16.71 | 10.33 | 966.087 | 80.6475 | 20.547
2020-05-05 02:45:00 | 6.368 | 15.73 | 9.01 | 27.93 | 8.84 | 7.103 | 8.78 | 23.78 | 10.6 | 966.223 | 77.1595 | 18.2969
2020-05-05 03:00:00 | 5.265 | 27.5 | 7.168 | 35.56 | 7.716 | 0.368 | 7.904 | 38.5 | 10.73 | 966.232 | 80.0287 | 20.536
2020-05-05 03:15:00 | 4.486 | 36.68 | 6.637 | 46.44 | 7.693 | 2.762 | 7.8 | 44.04 | 11.18 | 966.527 | 62.1384 | 28.5353
2020-05-05 03:30:00 | 6.795 | 53.03 | 9.31 | 69.47 | 10.33 | 32.26 | 10.58 | 57.61 | 11.87 | 965.491 | 71.2189 | 50.1391
2020-05-05 03:45:00 | 6.91 | 46.96 | 9.03 | 64.38 | 8.7 | 32.21 | 8.62 | 48.95 | 11 | 965.641 | 74.6391 | 32.6366
2020-05-05 04:00:00 | 6.366 | 60.46 | 8.3 | 74.03 | 7.52 | 33.69 | 7.703 | 62.03 | 10.96 | 965.047 | 81.5408 | 28.2143
2020-05-05 04:15:00 | 3.969 | 65.49 | 3.727 | 76.82 | 3.55 | 33.76 | 3.746 | 71.87 | 11.67 | 966.235 | 84.887 | 2.3758
2020-05-05 04:30:00 | 3.966 | 14.15 | 5.154 | 28.37 | 5.056 | 32.57 | 5.047 | 22.45 | 10.6 | 966.235 | 89.7985 | 5.2393
2020-05-05 04:45:00 | 3.708 | 14.2 | 5.276 | 26.32 | 5.666 | 32.4 | 5.633 | 21.83 | 9.76 | 965.641 | 96.2239 | 9.4884
2020-05-05 05:00:00 | 4.617 | 20.69 | 5.432 | 34.05 | 5.643 | 32.4 | 5.653 | 31.51 | 9.24 | 965.641 | 95.748 | 8.3614
2020-05-05 05:15:00 | 3.381 | 45.63 | 4.747 | 58.26 | 5.605 | 32.39 | 5.745 | 47.15 | 9.6 | 965.641 | 91.4802 | 7.3343
2020-05-05 05:30:00 | 3.794 | 48.93 | 6.036 | 66.83 | 6.274 | 32.42 | 6.323 | 51.97 | 11.16 | 965.641 | 84.9572 | 5.9376
2020-05-05 05:45:00 | 2.988 | 86.9 | 5.908 | 106.7 | 3.453 | 32.43 | 3.099 | 85.2 | 11.97 | 965.938 | 86.7207 | 7.0017
2020-05-05 06:00:00 | 1.9 | 102.8 | 2.991 | 135.1 | 4.323 | 32.42 | 4.502 | 104.1 | 12.18 | 965.727 | 86.3759 | 14.1217
2020-05-05 06:15:00 | 3.999 | 81.7 | 4.083 | 95.7 | 2.805 | 32.47 | 2.756 | 88.1 | 12.53 | 965.996 | 83.0863 | 4.7848
2020-05-05 06:30:00 | 2.271 | 1.919 | 2.495 | 7.143 | 2.169 | 32.45 | 2.052 | 9.53 | 12.07 | 966.455 | 93.6338 | 0.37687
2020-05-05 06:45:00 | 2.108 | 14.41 | 1.703 | 6.192 | 1.93 | 32.44 | 1.899 | 20.68 | 10.81 | 966.536 | 97.2521 | 0.41382
2020-05-05 07:00:00 | 0.432 | 80.2 | 0.552 | 39.99 | 0.593 | 32.46 | 0.641 | 37.36 | 11.68 | 967.129 | 95.5795 | 0.82395
2020-05-05 07:15:00 | 1.665 | 134.9 | 1.914 | 149.9 | 2.24 | 32.46 | 2.154 | 132 | 11.16 | 967.129 | 97.1497 | 2.8524
2020-05-05 07:30:00 | 0.097 | 87.5 | 0.729 | 163.8 | 0.817 | 32.46 | 0.884 | 134.8 | 11.83 | 967.426 | 94.5427 | 0.96435
2020-05-05 07:45:00 | 0.004 | 123.7 | 0.034 | 164.2 | 0 | 32.46 | 0 | 85.3 | 12.9 | 967.723 | 88.0203 | 0.77961
2020-05-05 08:00:00 | 0 | 157.4 | 0.101 | 166.4 | 0.006 | 32.45 | 0 | 85.1 | 13.31 | 967.885 | 85.2416 | 0.0036948
2020-05-05 08:15:00 | 0.598 | 20.41 | 1.517 | 67.73 | 1.509 | 32.45 | 1.267 | 25.34 | 14.45 | 968.466 | 82.8938 | -0.040643
2020-05-05 08:30:00 | 1.705 | 25.95 | 2.196 | 37.78 | 2.065 | 32.44 | 2.006 | 26.03 | 14.24 | 968.026 | 83.8686 | -0.27342
2020-05-05 08:45:00 | 1.73 | 276.2 | 1.574 | 316.7 | 1.098 | 32.44 | 0.914 | 311.7 | 14.65 | 968.177 | 83.957 | -0.22539
2020-05-05 09:00:00 | 3.463 | 293.9 | 3.216 | 308.6 | 2.263 | 32.43 | 2.045 | 297 | 14.61 | 968.172 | 84.2967 | -0.25864
2020-05-05 09:15:00 | 3.228 | 302.2 | 3.17 | 313.1 | 2.327 | 32.43 | 2.269 | 309.8 | 14.53 | 968.172 | 87.1607 | -0.24016
2020-05-05 09:30:00 | 3.077 | 349.7 | 3.134 | 338.4 | 2.28 | 32.43 | 2.068 | 352.5 | 15.4 | 968.617 | 83.0663 | -0.29189
2020-05-05 09:45:00 | 2.386 | 351.9 | 2.848 | 353.7 | 2.815 | 32.43 | 2.542 | 1.137 | 15.77 | 969.062 | 80.8054 | -0.31037
2020-05-05 10:00:00 | 3.611 | 321.7 | 3.865 | 326.6 | 3.611 | 32.42 | 3.527 | 326.9 | 15.59 | 969.358 | 78.1453 | -0.084981
2020-05-05 10:15:00 | 3.825 | 312.8 | 4.134 | 317.6 | 3.919 | 31.38 | 3.837 | 321 | 15.68 | 969.358 | 77.7361 | 0.42491
2020-05-05 10:30:00 | 2.719 | 2.13 | 3.003 | 16.79 | 3.295 | 31.43 | 3.171 | 357.4 | 16.49 | 969.507 | 74.2603 | 0.56901
2020-05-05 10:45:00 | 2.464 | 333.5 | 3.331 | 342 | 3.362 | 31.44 | 3.067 | 337 | 16.84 | 969.358 | 69.8602 | 1.5001
2020-05-05 11:00:00 | 3.023 | 335.9 | 3.602 | 335.5 | 3.67 | 31.43 | 3.601 | 336.5 | 17.55 | 969.507 | 67.5754 | 1.6073
2020-05-05 11:15:00 | 3.175 | 9.34 | 3.333 | 8.5 | 4.191 | 31 | 4.028 | 6.185 | 17.73 | 969.507 | 68.3259 | 2.4201
2020-05-05 11:30:00 | 2.903 | 355.4 | 3.5 | 17.44 | 3.878 | 30.72 | 3.737 | 353.3 | 18.02 | 969.803 | 69.2788 | 5.2282
2020-05-05 11:45:00 | 2.337 | 27.58 | 2.78 | 357.2 | 4.018 | 30.74 | 3.992 | 24.92 | 18.15 | 969.803 | 67.3007 | 4.7109
2020-05-05 12:00:00 | 3.331 | 311.9 | 3.674 | 312.3 | 3.977 | 30.75 | 4.016 | 313.1 | 17.96 | 969.803 | 66.4462 | 6.8281
2020-05-05 12:15:00 | 3.7 | 17.04 | 4.106 | 27.36 | 3.674 | 30.76 | 3.606 | 356.3 | 18.66 | 969.21 | 65.7342 | 11.4836
2020-05-05 12:30:00 | 3.025 | 4.811 | 4.04 | 348.1 | 4.526 | 30.28 | 4.485 | 14.38 | 19.27 | 969.358 | 66.2462 | 11.0365
2020-05-05 12:45:00 | 2.742 | 9.84 | 3.401 | 16.28 | 4.44 | 30.33 | 4.353 | 10.19 | 19.42 | 969.062 | 66.222 | 9.1189
2020-05-05 13:00:00 | 2.311 | 8.7 | 2.847 | 18.92 | 3.535 | 30 | 3.631 | 2.752 | 19.37 | 968.765 | 64.2796 | 7.5375
2020-05-05 13:15:00 | 4.277 | 8.23 | 5.187 | 24.86 | 4.623 | 29.99 | 4.606 | 7.774 | 19.3 | 968.337 | 61.1083 | 7.2678
2020-05-05 13:30:00 | 3.506 | 10.36 | 4.824 | 28.98 | 4.806 | 30 | 4.548 | 8.43 | 20.01 | 968.494 | 62.3359 | 8.4132
2020-05-05 13:45:00 | 3.037 | 9.05 | 3.998 | 18.63 | 4.361 | 30.01 | 4.314 | 357.1 | 20.5 | 968.57 | 59.8806 | 11.757
2020-05-05 14:00:00 | 3.276 | 5.507 | 3.686 | 12.93 | 4.583 | 30 | 4.408 | 5.631 | 20.13 | 968.649 | 58.5166 | 10.6042
2020-05-05 14:15:00 | 3.557 | 4.529 | 4.826 | 31.98 | 4.796 | 30.09 | 4.736 | 357.5 | 20.25 | 969.064 | 57.63 | 10.6485
2020-05-05 14:30:00 | 3.794 | 16.06 | 5.857 | 35.29 | 4.517 | 30.12 | 4.204 | 8.14 | 20.44 | 968.913 | 58.8508 | 7.9698
2020-05-05 14:45:00 | 3.405 | 8.4 | 4.302 | 32.76 | 4.199 | 30.15 | 4.077 | 6.153 | 20.43 | 969.062 | 55.7109 | 10.0019
2020-05-05 15:00:00 | 1.827 | 22.29 | 3.877 | 29.59 | 4.812 | 30.12 | 4.41 | 18.05 | 21.52 | 969.358 | 57.7471 | 9.7174
2020-05-05 15:15:00 | 2.781 | 1.894 | 3.833 | 22.13 | 3.891 | 30.14 | 3.901 | 354.4 | 20.93 | 969.453 | 56.9612 | 12.2632
2020-05-05 15:30:00 | 4.011 | 349.9 | 4.604 | 5.432 | 4.751 | 30.08 | 4.729 | 350.3 | 21.11 | 968.732 | 55.4193 | 14.2806
2020-05-05 15:45:00 | 2.996 | 16.08 | 3.937 | 13.83 | 4.519 | 29.99 | 4.668 | 10.18 | 21.62 | 969.281 | 54.7376 | 16.7524
2020-05-05 16:00:00 | 2.936 | 0.534 | 3.519 | 9.53 | 4.138 | 30 | 4.202 | 353.6 | 21.55 | 969.068 | 53.9537 | 17
2020-05-05 16:15:00 | 3.144 | 6.008 | 3.221 | 350 | 4.198 | 29.89 | 4.026 | 9.42 | 21.49 | 968.618 | 53.7832 | 18.8142
2020-05-05 16:30:00 | 2.874 | 13.32 | 3.718 | 358.1 | 4.412 | 29.92 | 4.442 | 16.67 | 21.4 | 968.766 | 52.4881 | 12.7177
2020-05-05 16:45:00 | 4.05 | 16.63 | 4.126 | 13.07 | 5.119 | 29.88 | 4.854 | 10.54 | 21.24 | 968.766 | 52.9652 | 16.8042
2020-05-05 17:00:00 | 2.155 | 15.1 | 2.983 | 9.07 | 4.046 | 29.92 | 3.792 | 5.715 | 20.94 | 968.321 | 52.8971 | 16.2869
2020-05-05 17:15:00 | 1.786 | 21.39 | 3.865 | 33.16 | 3.985 | 29.69 | 3.71 | 3.973 | 20.71 | 968.107 | 52.2836 | 12.1597
2020-05-05 17:30:00 | 2.442 | 7.57 | 4.034 | 31.54 | 4.191 | 29.76 | 3.947 | 355.1 | 20.47 | 968.541 | 54.1241 | 13.2977
2020-05-05 17:45:00 | 2.796 | 5.871 | 4.307 | 28.8 | 4.26 | 29.76 | 4.352 | 353.6 | 20.34 | 968.169 | 55.5635 | 12.241
2020-05-05 18:00:00 | 2.573 | 357.6 | 3.431 | 13.47 | 3.446 | 29.65 | 3.359 | 354.2 | 20.13 | 968.172 | 55.0878 | 13.7079
2020-05-05 18:15:00 | 3.085 | 354.1 | 3.881 | 15.09 | 4.806 | 29.66 | 4.943 | 348.2 | 19.92 | 967.875 | 56.1845 | 15.4297
2020-05-05 18:30:00 | 2.965 | 353 | 3.571 | 15.81 | 3.804 | 29.65 | 3.901 | 343.4 | 19.63 | 967.578 | 57.9611 | 12.4368
2020-05-05 18:45:00 | 3.669 | 346.2 | 3.704 | 11 | 4.923 | 29.64 | 4.91 | 344.6 | 19.28 | 967.43 | 57.084 | 10.9589
2020-05-05 19:00:00 | 3.779 | 352.3 | 4.264 | 9.65 | 5.081 | 29.62 | 5.185 | 354.5 | 19.14 | 967.247 | 58.2481 | 8.0991
2020-05-05 19:15:00 | 4.027 | 359.6 | 4.461 | 11.93 | 5.267 | 29.62 | 5.432 | 0.849 | 18.97 | 967.28 | 59.4133 | 5.4684
2020-05-05 19:30:00 | 4.366 | 6.088 | 4.226 | 13.6 | 4.684 | 29.62 | 4.805 | 4.609 | 18.87 | 967.202 | 61.0605 | 5.7344
2020-05-05 19:45:00 | 3.529 | 9.02 | 3.888 | 18.66 | 4.244 | 29.62 | 4.102 | 8.63 | 18.61 | 967.126 | 62.7665 | 5.4536
2020-05-05 20:00:00 | 3.363 | 8.36 | 3.737 | 20.18 | 3.891 | 29.62 | 3.738 | 8.21 | 18.39 | 967.278 | 64.8815 | 4.6518
2020-05-05 20:15:00 | 3.299 | 7.313 | 4.223 | 21.43 | 4.199 | 29.62 | 4.008 | 9.21 | 18.39 | 967.427 | 63.7899 | 3.1739
2020-05-05 20:30:00 | 2.934 | 9.3 | 4.131 | 29.35 | 4.303 | 29.62 | 4.296 | 14.66 | 18.33 | 967.427 | 64.2714 | 1.7107
2020-05-05 20:45:00 | 3.263 | 5.733 | 3.878 | 21.72 | 3.657 | 29.62 | 3.654 | 13.44 | 18.3 | 967.724 | 63.4175 | 2.0543
2020-05-05 21:00:00 | 3.074 | 11.49 | 3.788 | 26.34 | 3.99 | 29.62 | 3.919 | 17.44 | 18.27 | 967.724 | 63.3815 | 1.8511
2020-05-05 21:15:00 | 3.422 | 2.219 | 2.745 | 21.97 | 3.189 | 29.62 | 2.414 | 12.32 | 18.32 | 968.021 | 60.6545 | 1.7698
2020-05-05 21:30:00 | 2.96 | 3.908 | 3.16 | 18.87 | 3.128 | 29.62 | 3.267 | 10.64 | 18.42 | 968.021 | 60.1109 | 1.3154
2020-05-05 21:45:00 | 2.648 | 15.07 | 3.54 | 20 | 3.499 | 29.62 | 3.478 | 19.84 | 18.17 | 967.872 | 64.4759 | -0.055423
2020-05-05 22:00:00 | 2.459 | 39.43 | 3.346 | 20.53 | 3.303 | 29.67 | 3.219 | 52.05 | 18.22 | 967.872 | 56.0871 | -0.48772
2020-05-05 22:15:00 | 2.589 | 64.69 | 3.009 | 20.57 | 2.724 | 29.67 | 2.615 | 80.1 | 18.88 | 967.872 | 52.1282 | -0.29559
2020-05-05 22:30:00 | 1.811 | 140.4 | 2.707 | 140.8 | 2.813 | 29.68 | 2.661 | 145.1 | 19.03 | 967.724 | 50.3542 | -0.30298
2020-05-05 22:45:00 | 3 | 134.2 | 3.558 | 152 | 3.787 | 29.72 | 3.807 | 135.6 | 19.03 | 967.724 | 51.9904 | 2.5347
2020-05-05 23:00:00 | 3.542 | 134.4 | 4.558 | 150.9 | 5.249 | 29.77 | 5.23 | 138.6 | 18.45 | 967.575 | 55.6739 | 7.7185
2020-05-05 23:15:00 | 3.411 | 138.8 | 4.461 | 157.7 | 5.366 | 29.79 | 5.358 | 143.8 | 17.94 | 967.427 | 57.2481 | 7.4155
2020-05-05 23:30:00 | 4.757 | 148.3 | 5.287 | 163.1 | 5.798 | 29.87 | 5.694 | 153.1 | 18 | 967.427 | 58.4775 | 10.0389
2020-05-05 23:45:00 | 4.767 | 143.3 | 5.665 | 158.1 | 6.065 | 30.17 | 5.992 | 153.6 | 17.52 | 967.575 | 64.4829 | 9.6435