## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-06 00:00:00 | 4.65 | 139.9 | 5.159 | 154 | 5.539 | 30.37 | 5.455 | 147.4 | 17.09 | 967.427 | 69.1636 | 14.6796
2020-05-06 00:15:00 | 6.187 | 138.2 | 6.458 | 151.5 | 6.795 | 33.46 | 6.674 | 145.6 | 16.67 | 967.13 | 72.4791 | 18.6553
2020-05-06 00:30:00 | 4.54 | 145.3 | 5.021 | 165.8 | 6.734 | 33.22 | 6.758 | 149.2 | 15.92 | 966.981 | 77.7342 | 22.8268
2020-05-06 00:45:00 | 6.001 | 144.4 | 6.516 | 159.9 | 7.05 | 35.83 | 7.013 | 155 | 15.71 | 966.833 | 84.8319 | 22.5866
2020-05-06 01:00:00 | 5.763 | 150.1 | 6.463 | 164.3 | 7.101 | 35.81 | 7.077 | 158.9 | 15.54 | 967.146 | 85.2414 | 21.5631
2020-05-06 01:15:00 | 5.878 | 154 | 6.499 | 169.2 | 6.884 | 35.85 | 6.878 | 159.2 | 15.64 | 967.406 | 86.2654 | 25.7235
2020-05-06 01:30:00 | 6.92 | 159.3 | 6.982 | 175.3 | 7.083 | 36.57 | 7.054 | 165.3 | 15.45 | 967.691 | 86.9532 | 28.2582
2020-05-06 01:45:00 | 6.593 | 153.9 | 7.25 | 169.9 | 7.388 | 38.08 | 7.367 | 162.9 | 15.21 | 967.424 | 88.0469 | 30.6007
2020-05-06 02:00:00 | 6.91 | 157.6 | 7.368 | 174.3 | 7.836 | 38.51 | 7.78 | 164.1 | 15.17 | 967.425 | 86.79 | 21.77
2020-05-06 02:15:00 | 6.225 | 158 | 6.578 | 175.7 | 6.813 | 39.6 | 6.733 | 163.8 | 15 | 967.425 | 86.8941 | 20.0815
2020-05-06 02:30:00 | 6.378 | 154.7 | 7.24 | 169.9 | 7.446 | 39.57 | 7.288 | 162.7 | 14.91 | 967.277 | 85.7338 | 19.8487
2020-05-06 02:45:00 | 7.05 | 154.3 | 7.772 | 166.5 | 7.576 | 39.81 | 7.482 | 163.2 | 14.74 | 967.128 | 83.0034 | 21.0274
2020-05-06 03:00:00 | 7.584 | 154.2 | 7.948 | 165.1 | 8.38 | 39.91 | 8.2 | 163.1 | 14.99 | 967.128 | 80.6824 | 18.3782
2020-05-06 03:15:00 | 6.7 | 153.5 | 7.365 | 165.1 | 7.589 | 39.73 | 7.479 | 162.6 | 14.91 | 967.128 | 78.9419 | 18.3782
2020-05-06 03:30:00 | 6.353 | 151.4 | 7.465 | 164 | 7.683 | 39.72 | 7.525 | 161.1 | 14.82 | 967.128 | 77.6093 | 21.3266
2020-05-06 03:45:00 | 6.687 | 151.4 | 7.8 | 163.6 | 7.942 | 39.71 | 7.767 | 160.7 | 14.66 | 967.128 | 77.6098 | 22.2577
2020-05-06 04:00:00 | 6.498 | 151.9 | 7.496 | 162.3 | 7.505 | 39.6 | 7.308 | 162.1 | 14.73 | 967.425 | 73.9919 | 18.0715
2020-05-06 04:15:00 | 5.263 | 151.5 | 6.317 | 163.2 | 6.205 | 39.47 | 6.114 | 163.6 | 14.78 | 967.425 | 73.3773 | 17.2808
2020-05-06 04:30:00 | 5.01 | 154.3 | 5.801 | 167.2 | 6.33 | 39.47 | 6.308 | 164.2 | 15.06 | 967.722 | 74.9128 | 14.5872
2020-05-06 04:45:00 | 3.935 | 160.7 | 4.803 | 174.4 | 5.007 | 39.31 | 4.859 | 169.7 | 14.84 | 967.722 | 74.1965 | 9.0893
2020-05-06 05:00:00 | 4.453 | 172.5 | 4.568 | 176 | 4.379 | 39.31 | 4.24 | 181.9 | 15.1 | 967.722 | 72.4887 | 6.5473
2020-05-06 05:15:00 | 3.769 | 162.1 | 3.814 | 169.3 | 3.408 | 39.29 | 3.3 | 177.5 | 15.35 | 968.019 | 71.9438 | 5.6938
2020-05-06 05:30:00 | 2.873 | 146.7 | 3.95 | 158.3 | 2.935 | 39.28 | 2.595 | 156.8 | 15.25 | 968.316 | 72.5231 | 5.0989
2020-05-06 05:45:00 | 1.791 | 168.4 | 1.907 | 171.7 | 1.412 | 39.28 | 1.195 | 183 | 15.9 | 968.613 | 71.331 | 4.1493
2020-05-06 06:00:00 | 2.116 | 160.2 | 2.139 | 171.3 | 1.391 | 39.28 | 1.01 | 176.1 | 15.89 | 968.91 | 70.1706 | 3.3106
2020-05-06 06:15:00 | 0 | 121.5 | 0 | 171.1 | 0 | 39.28 | 0 | 176 | 16.61 | 969.311 | 68.1115 | 2.3795
2020-05-06 06:30:00 | 0.26 | 109.7 | 0.811 | 171.1 | 0.345 | 39.28 | 0.083 | 174.8 | 17.51 | 969.505 | 66.399 | 2.5938
2020-05-06 06:45:00 | 0.058 | 66.35 | 0.277 | 171.1 | 0.128 | 39.26 | 0.059 | 174.7 | 17.9 | 969.802 | 64.4726 | 2.058
2020-05-06 07:00:00 | 1.264 | 44.18 | 1.379 | 50.96 | 1.222 | 39.26 | 1.06 | 60.14 | 18.16 | 970.261 | 67.7055 | 1.6738
2020-05-06 07:15:00 | 0.033 | 37.39 | 0.474 | 51.31 | 0.265 | 39.06 | 0.263 | 63.01 | 18.31 | 970.485 | 61.9314 | 1.3671
2020-05-06 07:30:00 | 0 | 59.37 | 0.249 | 52.36 | 0.605 | 39.05 | 0.651 | 62.47 | 20.1 | 971.29 | 64.1024 | 0.72419
2020-05-06 07:45:00 | 0.391 | 132.2 | 0.128 | 52.66 | 0 | 39.05 | 0 | 25.43 | 18.64 | 971.583 | 60.9871 | -0.18844
2020-05-06 08:00:00 | 0.318 | 220.6 | 0.873 | 51.33 | 0.016 | 39.04 | 0.009 | 24.31 | 20.36 | 972.095 | 61.2828 | -0.32884
2020-05-06 08:15:00 | 2.168 | 204.8 | 1.957 | 225.1 | 0.97 | 38.99 | 0.929 | 216.7 | 19.4 | 971.585 | 62.5085 | -0.25125
2020-05-06 08:30:00 | 2.633 | 203.8 | 2.835 | 215.4 | 2.171 | 38.94 | 1.968 | 221.6 | 18.96 | 971.584 | 62.3722 | -0.22539
2020-05-06 08:45:00 | 3.194 | 194.9 | 3.223 | 201.2 | 2.146 | 38.94 | 1.821 | 203.3 | 18.96 | 971.388 | 63.1911 | -0.22539
2020-05-06 09:00:00 | 2.589 | 199.5 | 2.518 | 223.5 | 1.696 | 38.91 | 1.593 | 204.1 | 19.12 | 971.729 | 62.314 | -0.24016
2020-05-06 09:15:00 | 1.766 | 226.5 | 2.015 | 228.8 | 1.212 | 38.76 | 0.931 | 223.5 | 19.56 | 971.725 | 60.9852 | -0.22539
2020-05-06 09:30:00 | 1.563 | 202.6 | 1.872 | 206.4 | 1.473 | 38.76 | 1.24 | 212 | 20.01 | 972.313 | 59.7527 | -0.22539
2020-05-06 09:45:00 | 2.085 | 167.3 | 2.284 | 186.6 | 1.201 | 38.78 | 1.028 | 158 | 21.37 | 972.188 | 56.2372 | -0.25864
2020-05-06 10:00:00 | 1.736 | 28.99 | 2.694 | 32.7 | 3.139 | 38.55 | 3.023 | 39.23 | 21.4 | 972.177 | 56.5092 | -0.2882
2020-05-06 10:15:00 | 1.957 | 55 | 2.618 | 56.41 | 2.652 | 38.55 | 2.579 | 62.51 | 21.43 | 972.473 | 56.1661 | -0.18844
2020-05-06 10:30:00 | 1.561 | 158.4 | 2.056 | 152.7 | 1.242 | 38.53 | 1.001 | 173.2 | 22.2 | 972.77 | 55.6219 | -0.25125
2020-05-06 10:45:00 | 3.166 | 207 | 2.883 | 217.4 | 2.405 | 38.47 | 2.333 | 207.8 | 21.2 | 972.473 | 59.8467 | -0.25125
2020-05-06 11:00:00 | 4.78 | 192.4 | 4.527 | 207.8 | 3.949 | 37.94 | 3.792 | 197.2 | 21.46 | 972.176 | 60.5307 | -0.22169
2020-05-06 11:15:00 | 2.614 | 165.3 | 2.689 | 185.2 | 2.096 | 37.96 | 1.798 | 165 | 21.41 | 972.473 | 55.4192 | -0.25864
2020-05-06 11:30:00 | 3.531 | 184.7 | 3.356 | 188.3 | 2.556 | 37.95 | 2.467 | 201.1 | 22.24 | 972.621 | 55.0784 | -0.12562
2020-05-06 11:45:00 | 1.102 | 252.5 | 1.297 | 252.6 | 1.364 | 37.77 | 1.401 | 280.7 | 22.85 | 972.77 | 50.0657 | 1.2156
2020-05-06 12:00:00 | 0.724 | 31.99 | 1.361 | 58.87 | 1.303 | 37.69 | 1.097 | 39.07 | 23.45 | 973.214 | 45.3978 | 3.403
2020-05-06 12:15:00 | 1.305 | 106.1 | 1.529 | 132.7 | 1.856 | 37.76 | 1.953 | 105.4 | 23.92 | 973.302 | 46.0758 | 3.8833
2020-05-06 12:30:00 | 2.712 | 167 | 3.442 | 165.2 | 2.508 | 37.85 | 2.184 | 162.9 | 24.19 | 973.027 | 39.4325 | 3.9683
2020-05-06 12:45:00 | 2.232 | 238.5 | 2.311 | 268.7 | 1.686 | 37.82 | 1.404 | 230.8 | 23.67 | 973.066 | 54.8372 | 4.1382
2020-05-06 13:00:00 | 1.418 | 28.13 | 2.199 | 65.56 | 2.112 | 36.89 | 1.706 | 356.2 | 23.82 | 972.621 | 46.5905 | 2.2243
2020-05-06 13:15:00 | 1.745 | 57.41 | 3.596 | 88.8 | 4.195 | 36.86 | 4.092 | 53.42 | 25.09 | 972.621 | 39.1956 | 2.6788
2020-05-06 13:30:00 | 3.452 | 117.7 | 4.324 | 133.9 | 4.48 | 37.12 | 4.382 | 125.8 | 25.2 | 972.473 | 40.4224 | 8.9378
2020-05-06 13:45:00 | 4.044 | 116.7 | 5.512 | 141.5 | 4.992 | 37.99 | 4.947 | 118.4 | 24.62 | 972.028 | 40.0136 | 7.0719
2020-05-06 14:00:00 | 4.726 | 134 | 6.038 | 157.4 | 6.022 | 38.11 | 5.895 | 137.9 | 23.98 | 972.028 | 43.3538 | 11.0593
2020-05-06 14:15:00 | 5.801 | 119.6 | 6.473 | 144.6 | 6.447 | 40.1 | 6.384 | 116.7 | 24.29 | 972.325 | 42.7403 | 17.7833
2020-05-06 14:30:00 | 3.94 | 109.3 | 4.19 | 129.2 | 3.756 | 39.9 | 3.827 | 117.6 | 24.29 | 971.88 | 44.2059 | 21.9843
2020-05-06 14:45:00 | 3.217 | 127.2 | 4.157 | 155.3 | 4.003 | 38.61 | 4.118 | 127.7 | 24.73 | 972.028 | 40.7284 | 20.6579
2020-05-06 15:00:00 | 4.589 | 132.1 | 5.067 | 149.1 | 4.653 | 39.51 | 4.68 | 140.3 | 24.41 | 971.732 | 42.1252 | 14.3212
2020-05-06 15:15:00 | 5.939 | 139.4 | 6.509 | 160.6 | 6.007 | 40.3 | 5.801 | 138.6 | 24.6 | 971.88 | 42.8081 | 20.1591
2020-05-06 15:30:00 | 6.8 | 145.6 | 6.808 | 166.2 | 6.813 | 52.31 | 6.682 | 152.2 | 24.11 | 970.99 | 43.3512 | 21.8874
2020-05-06 15:45:00 | 6.128 | 140.1 | 6.995 | 163.2 | 6.294 | 52.05 | 6.211 | 139 | 24.37 | 970.99 | 41.6142 | 20.1923
2020-05-06 16:00:00 | 6.557 | 140.3 | 6.989 | 159.2 | 6.767 | 52.69 | 6.631 | 147.7 | 24.25 | 971.138 | 42.5314 | 17.8941
2020-05-06 16:15:00 | 6.496 | 137.3 | 6.859 | 162.3 | 6.628 | 54.39 | 6.634 | 139.5 | 24.07 | 970.842 | 44.3042 | 14.1402
2020-05-06 16:30:00 | 6.136 | 131.5 | 6.34 | 147.8 | 5.898 | 54.27 | 5.747 | 139 | 24 | 970.694 | 44.0327 | 10.9294
2020-05-06 16:45:00 | 5.689 | 141.5 | 6.327 | 161.2 | 5.859 | 53.89 | 5.704 | 147 | 23.97 | 970.842 | 42.4328 | 12.6401
2020-05-06 17:00:00 | 5.314 | 149.2 | 5.588 | 168.1 | 5.613 | 54.1 | 5.518 | 153.4 | 23.99 | 970.694 | 44.1035 | 11.2619
2020-05-06 17:15:00 | 6.057 | 141.6 | 6.348 | 157.5 | 5.948 | 54.27 | 5.938 | 143.6 | 23.61 | 970.694 | 53.6469 | 8.5425
2020-05-06 17:30:00 | 3.953 | 184.2 | 4.113 | 203.7 | 3.143 | 53.8 | 3.038 | 181.3 | 23.08 | 969.964 | 54.1241 | 7.3749
2020-05-06 17:45:00 | 4.152 | 148.8 | 4.576 | 165 | 4.145 | 53.55 | 3.97 | 154 | 23.4 | 970.125 | 54.3967 | 7.7111
2020-05-06 18:00:00 | 4.854 | 186 | 4.862 | 201.3 | 4.183 | 53.87 | 4.143 | 187.8 | 22.69 | 970.076 | 54.9113 | 7.1015
2020-05-06 18:15:00 | 3.597 | 161.8 | 4.098 | 180.4 | 3.998 | 53.45 | 4.028 | 163.5 | 22.56 | 969.951 | 53.3151 | 6.5916
2020-05-06 18:30:00 | 3.074 | 183.8 | 3.377 | 205.3 | 2.456 | 53.37 | 2.316 | 174.4 | 22.4 | 969.803 | 56.4868 | 6.1815
2020-05-06 18:45:00 | 2.106 | 180.7 | 2.482 | 204.5 | 2.089 | 41.79 | 2.006 | 188.3 | 22 | 969.506 | 57.3474 | 3.8094
2020-05-06 19:00:00 | 2.441 | 117.4 | 2.779 | 127.9 | 2.68 | 41.94 | 2.618 | 124.4 | 21.76 | 969.21 | 59.0606 | 3.7724
2020-05-06 19:15:00 | 3.457 | 129.5 | 3.832 | 140.2 | 3.581 | 43.08 | 3.504 | 137.7 | 21.63 | 969.358 | 59.4714 | 2.5642
2020-05-06 19:30:00 | 2.046 | 134.6 | 2.377 | 140.6 | 2.332 | 42.64 | 2.172 | 135.3 | 21.45 | 969.61 | 59.9169 | 1.1232
2020-05-06 19:45:00 | 1.271 | 145.1 | 2.229 | 158.5 | 3.072 | 41.7 | 3.112 | 150 | 21.07 | 969.209 | 61.7324 | 0.65029
2020-05-06 20:00:00 | 3.281 | 153.1 | 4.203 | 167.5 | 4.738 | 44.96 | 4.617 | 161.3 | 20.82 | 968.912 | 62.9263 | 0.82026
2020-05-06 20:15:00 | 1.934 | 138.1 | 2.881 | 154.1 | 3.553 | 44.32 | 3.585 | 148.6 | 20.65 | 969.061 | 62.9604 | 0.40274
2020-05-06 20:30:00 | 3.159 | 133 | 3.367 | 145.4 | 3.499 | 44.51 | 3.504 | 144.2 | 20.53 | 969.209 | 60.9855 | 0.52467
2020-05-06 20:45:00 | 2.985 | 151.2 | 3.778 | 165.2 | 4.628 | 44.55 | 4.5 | 153.3 | 20.65 | 968.912 | 61.8766 | 0.26603
2020-05-06 21:00:00 | 3.465 | 152.6 | 3.714 | 171.5 | 4.051 | 44.9 | 3.927 | 157.8 | 20.65 | 969.223 | 61.2297 | 0.16627
2020-05-06 21:15:00 | 3.136 | 158.4 | 3.661 | 174.2 | 3.792 | 44.71 | 3.72 | 158.2 | 20.68 | 969.506 | 60.8554 | 0.13301
2020-05-06 21:30:00 | 2.686 | 148.2 | 2.998 | 176.4 | 3.128 | 44.47 | 3.101 | 160 | 20.79 | 969.509 | 59.559 | 0.18844
2020-05-06 21:45:00 | 3.932 | 141.7 | 3.988 | 156.3 | 4.133 | 44.98 | 4.056 | 150.7 | 20.86 | 969.819 | 60.1052 | 1.0309
2020-05-06 22:00:00 | 3.927 | 146.9 | 4.351 | 165.2 | 4.656 | 45.4 | 4.51 | 150.5 | 20.22 | 969.506 | 63.6529 | 1.792
2020-05-06 22:15:00 | 3.404 | 152.1 | 4.034 | 167.6 | 4.308 | 45.07 | 4.23 | 157 | 20.03 | 969.266 | 63.9945 | 3.1702
2020-05-06 22:30:00 | 2.939 | 132.4 | 3.149 | 155.5 | 3.019 | 44.9 | 2.931 | 135.1 | 19.87 | 969.324 | 62.9712 | 3.5434
2020-05-06 22:45:00 | 3.611 | 138.4 | 3.745 | 158 | 3.868 | 45.13 | 3.842 | 142 | 19.7 | 969.703 | 64.3357 | 2.9078
2020-05-06 23:00:00 | 3.531 | 123.8 | 3.896 | 136.2 | 3.932 | 45.27 | 3.825 | 130.9 | 19.63 | 969.409 | 63.4487 | 5.546
2020-05-06 23:15:00 | 4.4 | 118.8 | 4.686 | 134.1 | 4.707 | 46.23 | 4.673 | 126 | 19.38 | 969.761 | 63.1076 | 7.4045
2020-05-06 23:30:00 | 4.341 | 119.3 | 5.149 | 135.9 | 6.022 | 49.84 | 6.063 | 123.3 | 19.26 | 969.653 | 63.7216 | 9.5992
2020-05-06 23:45:00 | 3.542 | 111.1 | 4.215 | 123 | 4.641 | 49.57 | 4.716 | 119.1 | 18.95 | 969.638 | 64.4039 | 9.1004