## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-07 00:00:00 | 3.93 | 108.2 | 4.261 | 118.5 | 4.326 | 49.63 | 4.423 | 113.2 | 18.67 | 969.802 | 63.6534 | 14.8459
2020-05-07 00:15:00 | 4.703 | 103.1 | 5.721 | 116.2 | 5.87 | 50.22 | 5.959 | 110.7 | 18.59 | 969.505 | 59.3553 | 20.2588
2020-05-07 00:30:00 | 4.926 | 106.3 | 5.56 | 120 | 5.951 | 52.1 | 6.073 | 115.6 | 18.27 | 969.505 | 58.4342 | 18.6294
2020-05-07 00:45:00 | 4.908 | 109.6 | 5.586 | 127.9 | 6.602 | 52.22 | 6.761 | 114.1 | 18.29 | 969.208 | 58.059 | 21.7146
2020-05-07 01:00:00 | 5.258 | 120.1 | 5.627 | 138.8 | 6.216 | 52.87 | 6.341 | 122.4 | 18.16 | 969.208 | 58.9467 | 26.9428
2020-05-07 01:15:00 | 5.089 | 116.1 | 5.146 | 137.6 | 5.994 | 52.82 | 6.112 | 118.9 | 18.08 | 968.911 | 59.2874 | 23.4068
2020-05-07 01:30:00 | 5.439 | 116.2 | 5.985 | 133.8 | 6.363 | 52.9 | 6.374 | 121.2 | 18.06 | 968.911 | 60.959 | 28.5575
2020-05-07 01:45:00 | 5.732 | 112.3 | 6.442 | 128 | 7.22 | 53.2 | 7.367 | 119.4 | 17.83 | 968.763 | 60.5844 | 33.0726
2020-05-07 02:00:00 | 5.607 | 110.2 | 6.555 | 124.9 | 7.686 | 53.53 | 7.828 | 115.2 | 17.78 | 968.466 | 59.8362 | 32.2117
2020-05-07 02:15:00 | 5.666 | 109.6 | 6.084 | 129.5 | 7.34 | 53.52 | 7.721 | 113.9 | 17.65 | 968.466 | 58.3674 | 36.5309
2020-05-07 02:30:00 | 6.371 | 113.9 | 7.174 | 132.8 | 8.11 | 54.68 | 8.33 | 119.8 | 17.73 | 968.614 | 60.7204 | 34.654
2020-05-07 02:45:00 | 7.767 | 126.9 | 7.488 | 148.6 | 7.342 | 55.99 | 7.258 | 127.7 | 17.66 | 968.911 | 61.7447 | 37.8537
2020-05-07 03:00:00 | 7.561 | 128.8 | 7.887 | 149.8 | 7.986 | 58.27 | 7.994 | 129.6 | 17.4 | 968.317 | 63.4844 | 33.0024
2020-05-07 03:15:00 | 6.45 | 130.7 | 6.432 | 148.4 | 6.605 | 58.14 | 6.463 | 132 | 17.2 | 968.021 | 65.3606 | 29.3075
2020-05-07 03:30:00 | 5.094 | 114.7 | 5.619 | 134.2 | 6.322 | 57.07 | 6.435 | 121.8 | 17.01 | 967.724 | 67.0051 | 30.9
2020-05-07 03:45:00 | 5.181 | 117 | 5.397 | 138.8 | 6.175 | 57.57 | 6.249 | 119.6 | 16.75 | 967.872 | 68.8846 | 32.4075
2020-05-07 04:00:00 | 5.549 | 114.8 | 6.458 | 133.5 | 6.917 | 57.58 | 6.977 | 119.2 | 16.58 | 967.427 | 70.4281 | 37.3549
2020-05-07 04:15:00 | 5.357 | 127.1 | 5.683 | 148.2 | 5.948 | 58.18 | 6.066 | 126 | 16.51 | 967.575 | 71.1482 | 37.3401
2020-05-07 04:30:00 | 5.349 | 113.1 | 5.66 | 132.9 | 6.437 | 58.27 | 6.522 | 117.6 | 16.29 | 967.724 | 73.1957 | 31.299
2020-05-07 04:45:00 | 5.293 | 107.7 | 6.095 | 124.1 | 6.973 | 58.04 | 7.095 | 113.4 | 16.14 | 967.13 | 75.3455 | 37.1406
2020-05-07 05:00:00 | 6.121 | 105.2 | 7.273 | 120.9 | 8.12 | 58.65 | 8.24 | 113.4 | 16.08 | 967.575 | 76.0962 | 39.7418
2020-05-07 05:15:00 | 6.197 | 100.7 | 7.462 | 116.2 | 7.642 | 58.8 | 7.856 | 107.9 | 15.94 | 967.427 | 79.9181 | 36.2501
2020-05-07 05:30:00 | 5.564 | 106.4 | 6.667 | 122.7 | 6.574 | 58.73 | 6.562 | 111.5 | 15.84 | 967.427 | 82.4091 | 46.2114
2020-05-07 05:45:00 | 6.744 | 115.3 | 6.874 | 136.6 | 7.098 | 59.63 | 7.291 | 117.6 | 15.83 | 966.833 | 82.375 | 53.4886
2020-05-07 06:00:00 | 6.92 | 116.3 | 7.506 | 135.2 | 7.897 | 60.65 | 8.03 | 118.2 | 15.95 | 967.278 | 80.9418 | 44.0499
2020-05-07 06:15:00 | 6.71 | 117.3 | 7.381 | 139.4 | 7.396 | 60.93 | 7.331 | 122.9 | 15.97 | 967.427 | 80.9418 | 34.0776
2020-05-07 06:30:00 | 4.366 | 118.1 | 4.497 | 134.5 | 5.343 | 59.61 | 5.579 | 124 | 15.91 | 967.427 | 82.8527 | 31.8828
2020-05-07 06:45:00 | 5.051 | 116.7 | 5.767 | 134.1 | 5.92 | 60.09 | 6.02 | 123.5 | 15.89 | 967.575 | 82.3068 | 34.1625
2020-05-07 07:00:00 | 4.767 | 112.6 | 5.412 | 136.4 | 5.74 | 59.65 | 5.745 | 119.7 | 15.85 | 967.575 | 85.2414 | 38.116
2020-05-07 07:15:00 | 5.007 | 120 | 5.358 | 139.5 | 5.208 | 58.65 | 5.246 | 123.3 | 15.68 | 967.575 | 87.5277 | 42.7146
2020-05-07 07:30:00 | 5.955 | 106.1 | 7.332 | 117.4 | 6.49 | 60.56 | 6.664 | 114.3 | 15.42 | 967.427 | 88.995 | 38.2786
2020-05-07 07:45:00 | 6.253 | 106.5 | 7.987 | 119.5 | 8.42 | 62.99 | 8.63 | 110.4 | 15.12 | 967.13 | 91.3837 | 41.5485
2020-05-07 08:00:00 | 5.5 | 107.1 | 6.084 | 130.1 | 6.282 | 64.18 | 6.448 | 113.7 | 14.97 | 967.575 | 92.3733 | 27.6079
2020-05-07 08:15:00 | 4.663 | 108.8 | 5.348 | 125 | 5.547 | 63.33 | 5.592 | 113.2 | 14.87 | 967.289 | 92.6122 | 31.9827
2020-05-07 08:30:00 | 3.768 | 98.5 | 4.839 | 115.4 | 5.188 | 63.3 | 5.304 | 106.9 | 14.89 | 967.388 | 92.2709 | 27.9404
2020-05-07 08:45:00 | 4.249 | 99.9 | 5.161 | 118.8 | 4.824 | 63.99 | 4.813 | 102.7 | 15.21 | 967.511 | 90.633 | 30.2275
2020-05-07 09:00:00 | 3.325 | 113 | 3.794 | 136.4 | 3.759 | 63.62 | 3.822 | 116.8 | 15.42 | 967.724 | 89.268 | 20.4399
2020-05-07 09:15:00 | 3.417 | 121.5 | 3.875 | 142.5 | 3.677 | 63.71 | 3.575 | 124.1 | 15.45 | 968.021 | 88.6538 | 15.7918
2020-05-07 09:30:00 | 4.548 | 129.8 | 4.962 | 147.4 | 5.127 | 64.77 | 5.093 | 132.3 | 15.45 | 968.318 | 89.3363 | 14.4432
2020-05-07 09:45:00 | 6.302 | 129.7 | 6.499 | 149.2 | 6.172 | 66.64 | 6.145 | 133.3 | 15.49 | 968.318 | 89.0974 | 22.9709
2020-05-07 10:00:00 | 5.472 | 121.9 | 5.484 | 143.6 | 5.536 | 66.65 | 5.567 | 125.2 | 15.64 | 968.169 | 88.3126 | 30.9332
2020-05-07 10:15:00 | 4.484 | 100.2 | 4.87 | 115.1 | 5.297 | 65.35 | 5.388 | 109.1 | 15.78 | 968.021 | 87.2888 | 25.6533
2020-05-07 10:30:00 | 4.78 | 99.8 | 5.601 | 117.1 | 5.885 | 65.28 | 5.979 | 103.5 | 15.87 | 968.466 | 86.3305 | 24.0904
2020-05-07 10:45:00 | 4.394 | 110.1 | 4.898 | 129.6 | 5.076 | 66.02 | 5.113 | 112.7 | 16.04 | 968.318 | 84.6809 | 20.318
2020-05-07 11:00:00 | 5.72 | 95.6 | 6.412 | 111 | 6.783 | 66.1 | 7.044 | 101.8 | 16.28 | 968.615 | 83.5117 | 17.8276
2020-05-07 11:15:00 | 5.132 | 100.1 | 5.926 | 114.8 | 5.933 | 66.75 | 6.002 | 108.7 | 16.57 | 968.615 | 82.6208 | 9.3849
2020-05-07 11:30:00 | 4.606 | 96.3 | 5.622 | 114.9 | 5.216 | 66.09 | 5.388 | 102.1 | 16.9 | 968.763 | 81.5293 | 13.3273
2020-05-07 11:45:00 | 4.578 | 101.3 | 5.381 | 119.7 | 5.025 | 65.95 | 5.024 | 105.7 | 16.75 | 968.763 | 81.3918 | 10.2717
2020-05-07 12:00:00 | 4.249 | 100 | 5.233 | 116.9 | 5.343 | 65.9 | 5.447 | 104.7 | 16.81 | 968.318 | 81.3236 | 12.0858
2020-05-07 12:15:00 | 5.048 | 96.3 | 6.074 | 111.6 | 5.623 | 66.39 | 5.803 | 106 | 16.9 | 968.763 | 81.6647 | 14.5503
2020-05-07 12:30:00 | 4.609 | 101.5 | 5.292 | 117 | 5.74 | 66.46 | 5.933 | 109.4 | 16.99 | 968.318 | 81.9376 | 13.6377
2020-05-07 12:45:00 | 3.932 | 98.8 | 4.573 | 112.2 | 4.723 | 66.36 | 4.795 | 106.4 | 16.99 | 968.021 | 83.0974 | 13.0243
2020-05-07 13:00:00 | 3.205 | 95.7 | 4.198 | 111.1 | 3.843 | 65.64 | 3.786 | 103.8 | 17.24 | 968.466 | 81.46 | 8.0289
2020-05-07 13:15:00 | 3.511 | 103.7 | 4.08 | 125.5 | 4.41 | 66.22 | 4.472 | 105.4 | 17.19 | 968.306 | 78.9357 | 1.308
2020-05-07 13:30:00 | 2.877 | 96.2 | 3.257 | 111.7 | 3.642 | 65.43 | 3.784 | 100.3 | 17.8 | 968.021 | 77.3666 | 1.1158
2020-05-07 13:45:00 | 1.442 | 91 | 2.085 | 119.2 | 2.04 | 64.84 | 2.096 | 78.53 | 18.16 | 967.923 | 74.9105 | 1.5371
2020-05-07 14:00:00 | 1.01 | 52.33 | 2.477 | 75.08 | 2.616 | 64.44 | 2.456 | 64.25 | 18.45 | 967.761 | 72.7955 | 2.6123
2020-05-07 14:15:00 | 1.86 | 54.98 | 3.248 | 78.86 | 3.657 | 63.41 | 3.641 | 60.43 | 18.64 | 967.429 | 70.607 | 2.7342
2020-05-07 14:30:00 | 1.956 | 64.53 | 3.42 | 77.99 | 3.527 | 63.16 | 3.496 | 71.51 | 19.05 | 967.429 | 68.2812 | 1.7144
2020-05-07 14:45:00 | 1.198 | 33.23 | 2.016 | 68.19 | 2.245 | 62.29 | 2.141 | 35.73 | 18.98 | 967.28 | 71.6576 | 1.9915
2020-05-07 15:00:00 | 1.56 | 31.23 | 3.927 | 43.65 | 3.634 | 62.05 | 3.547 | 36.85 | 18.6 | 966.835 | 75.9891 | 1.4816
2020-05-07 15:15:00 | 1.578 | 34.02 | 2.697 | 49.19 | 2.423 | 62.05 | 2.317 | 40.02 | 18.72 | 966.984 | 74.2838 | 1.6442
2020-05-07 15:30:00 | 2.124 | 32.66 | 3.169 | 49.91 | 3.222 | 61.71 | 3.147 | 41.8 | 18.98 | 966.984 | 74.6931 | 0.22908
2020-05-07 15:45:00 | 1.172 | 23.52 | 2.896 | 34.08 | 2.444 | 61.66 | 2.219 | 32.86 | 19.07 | 966.538 | 72.7149 | 0.5025
2020-05-07 16:00:00 | 1.193 | 45.81 | 3.065 | 52.38 | 3.284 | 61.66 | 3.214 | 52.47 | 19.17 | 966.39 | 75.8527 | -0.025864
2020-05-07 16:15:00 | 1.086 | 7.825 | 2.326 | 14.07 | 2.093 | 61.56 | 1.831 | 10.81 | 18.7 | 965.945 | 82.4011 | 0.44338
2020-05-07 16:30:00 | 2.32 | 1.994 | 2.117 | 1.096 | 1.333 | 61.52 | 1.2 | 2.438 | 18.35 | 965.945 | 84.1074 | 0.59487
2020-05-07 16:45:00 | 2.64 | 20.07 | 2.428 | 23.64 | 1.533 | 61.51 | 1.358 | 358.1 | 18.03 | 965.351 | 88.076 | 0.3547
2020-05-07 17:00:00 | 2.862 | 10.27 | 2.993 | 8.75 | 2.266 | 61.09 | 2.009 | 11.59 | 17.7 | 965.575 | 88.6236 | 0.088676
2020-05-07 17:15:00 | 1.47 | 15.66 | 2.743 | 26.45 | 2.833 | 61.12 | 2.712 | 22.06 | 17.84 | 965.196 | 86.9862 | 0.36949
2020-05-07 17:30:00 | 2.676 | 7.609 | 2.669 | 9.27 | 2.306 | 61.09 | 2.22 | 16.63 | 18.01 | 965.051 | 85.6899 | 1.4077
2020-05-07 17:45:00 | 3.498 | 355.7 | 3.584 | 7.82 | 3.418 | 61.05 | 3.211 | 10.13 | 17.67 | 965.052 | 91.2161 | 1.3301
2020-05-07 18:00:00 | 3.113 | 6.925 | 3.546 | 15.61 | 3.522 | 60.79 | 3.056 | 6.416 | 17.28 | 964.755 | 93.3311 | 2.0322
2020-05-07 18:15:00 | 3.585 | 359.3 | 3.786 | 8.19 | 3.469 | 59.79 | 3.364 | 6.302 | 17.11 | 964.458 | 94.9002 | 2.1541
2020-05-07 18:30:00 | 2.927 | 5.275 | 3.505 | 13.25 | 3.118 | 59.53 | 2.872 | 10.5 | 17.01 | 964.607 | 95.2796 | 1.2784
2020-05-07 18:45:00 | 2.993 | 1.406 | 3.236 | 4.325 | 3.423 | 59.53 | 2.997 | 0.975 | 17.02 | 964.458 | 95.2448 | 2.3388
2020-05-07 19:00:00 | 2.424 | 14.16 | 4.059 | 27.94 | 4.201 | 59.53 | 4.067 | 19.27 | 17.02 | 964.458 | 95.3127 | 1.3856
2020-05-07 19:15:00 | 3.133 | 9.75 | 3.208 | 18.19 | 3.548 | 59.53 | 3.57 | 17.15 | 16.97 | 964.458 | 95.826 | 0.38426
2020-05-07 19:30:00 | 2.4 | 9.4 | 2.582 | 17.12 | 2.744 | 59.53 | 2.714 | 15.64 | 16.98 | 964.607 | 96.6215 | 0.077592
2020-05-07 19:45:00 | 1.989 | 27.37 | 2.612 | 21.58 | 2.594 | 59.54 | 2.676 | 38.42 | 16.94 | 964.903 | 98.1936 | -0.218
2020-05-07 20:00:00 | 2.194 | 34.2 | 2.467 | 33.07 | 2.027 | 59.54 | 1.945 | 58.09 | 16.74 | 964.755 | 99.083 | -0.0073897
2020-05-07 20:15:00 | 2.073 | 18.73 | 2.395 | 31.48 | 2.004 | 59.54 | 1.846 | 30.75 | 16.67 | 964.903 | 99.7025 | 0.048033
2020-05-07 20:30:00 | 2.301 | 15.35 | 1.912 | 31.76 | 1.826 | 59.54 | 1.798 | 37.8 | 16.62 | 965.052 | 99.9127 | 0.23278
2020-05-07 20:45:00 | 2.089 | 7.181 | 2.019 | 22.83 | 1.737 | 59.54 | 1.67 | 20.8 | 16.68 | 965.052 | 99.9476 | 0.17735
2020-05-07 21:00:00 | 1.725 | 22.11 | 2.208 | 24.66 | 1.976 | 59.55 | 1.869 | 27.69 | 16.63 | 965.2 | 99.9128 | 0.3584
2020-05-07 21:15:00 | 2.842 | 5.267 | 2.658 | 14.4 | 2.802 | 59.52 | 2.727 | 22.13 | 16.56 | 964.903 | 99.9827 | 0.59118
2020-05-07 21:30:00 | 2.54 | 354.2 | 2.362 | 15.72 | 2.467 | 59.53 | 2.399 | 352.4 | 16.51 | 964.755 | 99.9146 | 0.77961
2020-05-07 21:45:00 | 1.478 | 9.7 | 2.612 | 28.89 | 2.462 | 59.55 | 2.266 | 18.37 | 16.51 | 964.903 | 99.9141 | 0.7168
2020-05-07 22:00:00 | 0.477 | 22.68 | 2.794 | 32.85 | 2.81 | 59.55 | 2.814 | 31.11 | 16.51 | 964.755 | 99.9147 | 0.31406
2020-05-07 22:15:00 | 1.689 | 20.49 | 2.063 | 30.13 | 2.253 | 59.55 | 2.118 | 32.82 | 16.51 | 965.052 | 99.9147 | 0.16996
2020-05-07 22:30:00 | 0 | 34.44 | 0.372 | 32.18 | 0.844 | 59.55 | 0.906 | 72.44 | 16.51 | 964.755 | 99.9147 | 1.3338
2020-05-07 22:45:00 | 2.726 | 120.6 | 3.117 | 137.8 | 3.265 | 65.19 | 3.382 | 123 | 15.92 | 964.755 | 99.9488 | 4.4264
2020-05-07 23:00:00 | 2.944 | 115.1 | 3.673 | 138.9 | 3.397 | 65.03 | 3.45 | 113.9 | 16.52 | 964.755 | 89.541 | 7.556
2020-05-07 23:15:00 | 3.858 | 82.9 | 4.908 | 99.2 | 5.13 | 64.94 | 5.218 | 88.4 | 16.3 | 964.161 | 93.1581 | 11.709
2020-05-07 23:30:00 | 4.262 | 78.65 | 4.21 | 93.2 | 3.672 | 63.55 | 3.84 | 79.53 | 15.76 | 964.161 | 93.5335 | 11.055
2020-05-07 23:45:00 | 3.013 | 76.47 | 4.047 | 87.7 | 4.824 | 62.21 | 4.953 | 83.5 | 15.49 | 963.884 | 97.6625 | 9.1337