## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-08 00:00:00 | 2.754 | 62.15 | 3.661 | 70.35 | 2.474 | 59.08 | 2.584 | 78.61 | 15.1 | 963.937 | 99.0275 | 4.5114
2020-05-08 00:15:00 | 0.393 | 45.88 | 2.162 | 48.76 | 2.742 | 59.06 | 2.861 | 62.21 | 14.81 | 963.95 | 99.8493 | 6.3699
2020-05-08 00:30:00 | 2.588 | 54.34 | 3.134 | 65.15 | 2.826 | 59.08 | 3.14 | 71.94 | 14.81 | 964.01 | 99.9292 | 5.4795
2020-05-08 00:45:00 | 2.622 | 40.8 | 2.672 | 45.41 | 3.578 | 58.97 | 3.848 | 64.24 | 14.88 | 963.565 | 99.9299 | 4.3267
2020-05-08 01:00:00 | 1.391 | 20 | 2.494 | 28.09 | 2.665 | 58.97 | 2.775 | 35.56 | 14.88 | 963.565 | 99.9305 | 0.82395
2020-05-08 01:15:00 | 1.913 | 7.25 | 2.113 | 11.76 | 1.879 | 58.97 | 1.969 | 17.08 | 14.88 | 963.565 | 99.93 | -0.036948
2020-05-08 01:30:00 | 2.786 | 19.12 | 3.699 | 29.25 | 3.588 | 58.96 | 3.608 | 32.32 | 14.83 | 963.565 | 99.9295 | -0.25494
2020-05-08 01:45:00 | 4.073 | 355.6 | 4.021 | 2.43 | 3.013 | 58.87 | 3.035 | 8.44 | 14.89 | 963.565 | 99.9619 | 0.5025
2020-05-08 02:00:00 | 3.432 | 345.7 | 3.392 | 8.9 | 3.507 | 58.39 | 3.659 | 347 | 14.81 | 963.565 | 99.9278 | -0.24016
2020-05-08 02:15:00 | 2.357 | 342.9 | 2.184 | 4.396 | 2.564 | 58.4 | 2.857 | 347.9 | 14.76 | 964.01 | 99.927 | -0.32515
2020-05-08 02:30:00 | 0.622 | 317.4 | 0.879 | 17.15 | 1.087 | 58.43 | 1.48 | 324.2 | 14.74 | 963.862 | 99.9312 | -0.29559
2020-05-08 02:45:00 | 2.224 | 2.139 | 2.681 | 15.05 | 3.1 | 58.4 | 3.371 | 356.1 | 14.75 | 962.971 | 99.9634 | 0.56901
2020-05-08 03:00:00 | 4.379 | 6.156 | 4.86 | 25.25 | 3.832 | 57.45 | 3.692 | 9.72 | 14.7 | 963.119 | 99.9311 | 4.0717
2020-05-08 03:15:00 | 3.726 | 7.992 | 4.325 | 25.59 | 3.514 | 32.36 | 3.715 | 12.5 | 14.66 | 962.674 | 99.926 | 5.993
2020-05-08 03:30:00 | 3.608 | 22.48 | 4.757 | 37.46 | 5.01 | 28.08 | 5.029 | 26.84 | 14.62 | 962.377 | 99.9312 | 5.0139
2020-05-08 03:45:00 | 3.664 | 27.44 | 4.954 | 40.08 | 5.02 | 28.09 | 5.032 | 32.4 | 14.64 | 962.08 | 99.93 | 6.5842
2020-05-08 04:00:00 | 2.919 | 28.81 | 4.676 | 42.77 | 4.857 | 28.13 | 4.854 | 33.58 | 14.61 | 962.08 | 99.9316 | 1.9287
2020-05-08 04:15:00 | 3.23 | 29.16 | 3.852 | 44.23 | 4.206 | 28.09 | 4.235 | 35.24 | 14.62 | 961.783 | 99.9317 | 3.3291
2020-05-08 04:30:00 | 2.349 | 43.45 | 3.339 | 54.32 | 3.975 | 28.13 | 4.044 | 50.27 | 14.67 | 961.783 | 99.9317 | 1.4262
2020-05-08 04:45:00 | 3.68 | 48.86 | 3.988 | 63.16 | 3.568 | 28.17 | 3.603 | 53.99 | 14.7 | 961.783 | 99.9645 | 0.32515
2020-05-08 05:00:00 | 3.537 | 44.41 | 4.09 | 60.53 | 3.789 | 28.27 | 3.761 | 47.77 | 14.74 | 961.783 | 99.9313 | -0.096066
2020-05-08 05:15:00 | 3.641 | 14.18 | 3.901 | 31.98 | 3.942 | 28.21 | 3.934 | 18.23 | 14.75 | 961.783 | 99.929 | -0.17366
2020-05-08 05:30:00 | 2.962 | 13.25 | 3.226 | 32.08 | 2.968 | 28.17 | 3.038 | 15.3 | 14.71 | 961.486 | 99.9314 | -0.13301
2020-05-08 05:45:00 | 0.588 | 12.84 | 1.786 | 30.21 | 1.728 | 28.19 | 1.144 | 12.16 | 14.78 | 961.783 | 99.9313 | -0.28081
2020-05-08 06:00:00 | 1.812 | 17.71 | 2.536 | 31.69 | 3.021 | 28.2 | 3.091 | 15.92 | 14.81 | 961.783 | 99.929 | -0.25125
2020-05-08 06:15:00 | 0.818 | 341.8 | 0.677 | 29.68 | 1.127 | 28.19 | 1.244 | 353.2 | 14.75 | 961.783 | 99.9302 | -0.25125
2020-05-08 06:30:00 | 1.746 | 310.5 | 1.669 | 324.5 | 0.384 | 28.17 | 0.451 | 316.9 | 14.5 | 962.08 | 99.9296 | -0.28081
2020-05-08 06:45:00 | 1.579 | 326.1 | 1.746 | 345 | 1.747 | 28.17 | 1.915 | 320.2 | 14.34 | 961.783 | 99.9293 | -0.26233
2020-05-08 07:00:00 | 0.353 | 14.08 | 0.637 | 12.95 | 0.18 | 28.21 | 0.234 | 323.1 | 14.39 | 961.783 | 99.9317 | -0.28081
2020-05-08 07:15:00 | 0.361 | 11.62 | 1.162 | 28.49 | 0.369 | 28.19 | 0.377 | 12.38 | 14.37 | 961.783 | 99.9313 | -0.29928
2020-05-08 07:30:00 | 0.689 | 10.63 | 1.281 | 28.5 | 0.666 | 28.19 | 0.578 | 355.7 | 14.33 | 961.783 | 99.9988 | -0.29928
2020-05-08 07:45:00 | 0.091 | 19.86 | 0.107 | 26.05 | 1.001 | 28.18 | 0.939 | 13.49 | 14.41 | 961.783 | 99.9307 | -0.31037
2020-05-08 08:00:00 | 2.139 | 359.5 | 2.363 | 22.61 | 2.153 | 28.17 | 2.35 | 346.1 | 14.32 | 961.486 | 99.9313 | 4.1382
2020-05-08 08:15:00 | 2.174 | 0.526 | 2.193 | 27.75 | 1.935 | 28.17 | 2.136 | 346.8 | 14.01 | 961.338 | 99.9299 | 10.6744
2020-05-08 08:30:00 | 2.126 | 354.8 | 3.019 | 20.53 | 3.283 | 21.93 | 3.443 | 351.4 | 13.76 | 961.189 | 99.9317 | 10.8444
2020-05-08 08:45:00 | 2.262 | 0.833 | 2.735 | 29.91 | 2.79 | 21.93 | 2.886 | 348.2 | 13.58 | 961.783 | 99.9652 | 6.8318
2020-05-08 09:00:00 | 2.219 | 6.766 | 3.172 | 24.21 | 2.853 | 21.91 | 2.857 | 355.5 | 13.58 | 961.783 | 99.9312 | 3.403
2020-05-08 09:15:00 | 2.028 | 351.2 | 2.041 | 5.62 | 2.097 | 21.93 | 2.396 | 340.4 | 13.67 | 961.783 | 99.9317 | 2.6344
2020-05-08 09:30:00 | 1.953 | 347.1 | 2.48 | 353.8 | 3.08 | 21.92 | 3.198 | 344.7 | 13.77 | 961.783 | 99.9317 | 2.8487
2020-05-08 09:45:00 | 2.357 | 327.1 | 2.325 | 336.3 | 2.54 | 21.89 | 2.727 | 323.3 | 13.73 | 961.932 | 99.9317 | 6.2369
2020-05-08 10:00:00 | 3.291 | 331.6 | 3.543 | 349.9 | 3.925 | 21.83 | 4.078 | 330.6 | 13.66 | 962.08 | 99.9309 | 8.9932
2020-05-08 10:15:00 | 3.381 | 342.8 | 4.195 | 358.2 | 4.407 | 356.2 | 4.566 | 337.9 | 13.58 | 961.783 | 99.9317 | 14.4321
2020-05-08 10:30:00 | 2.855 | 320.6 | 2.983 | 340.2 | 2.963 | 337.7 | 3.142 | 318.4 | 13.59 | 961.783 | 99.9307 | 20.4621
2020-05-08 10:45:00 | 3.449 | 341.4 | 3.349 | 351.8 | 3.621 | 332.9 | 3.692 | 331.8 | 13.57 | 961.783 | 99.9303 | 18.2378
2020-05-08 11:00:00 | 2.736 | 352.8 | 2.835 | 11.48 | 3.326 | 4.819 | 3.494 | 343.1 | 13.65 | 961.486 | 99.9315 | 28.8124
2020-05-08 11:15:00 | 5.385 | 339.7 | 4.936 | 349.8 | 4.814 | 338.3 | 4.938 | 338.4 | 13.63 | 961.486 | 99.9299 | 34.7226
2020-05-08 11:30:00 | 5.235 | 336.2 | 5.54 | 351.6 | 4.55 | 328.7 | 4.713 | 335.8 | 13.59 | 961.189 | 99.9303 | 39.6863
2020-05-08 11:45:00 | 4.961 | 336.9 | 4.99 | 355.9 | 4.425 | 324.3 | 4.563 | 333.8 | 13.64 | 961.338 | 99.9297 | 33.5307
2020-05-08 12:00:00 | 4.08 | 354.8 | 4.843 | 12.33 | 6.116 | 325 | 6.41 | 348.3 | 13.72 | 960.892 | 99.9292 | 38.6433
2020-05-08 12:15:00 | 3.297 | 8.68 | 4.75 | 30.23 | 4.662 | 319.6 | 4.675 | 349.8 | 13.63 | 960.744 | 99.9316 | 39.0582
2020-05-08 12:30:00 | 4.254 | 355.8 | 4.877 | 17.94 | 5.386 | 323.1 | 5.658 | 344.3 | 13.72 | 961.189 | 99.9304 | 41.2751
2020-05-08 12:45:00 | 4.793 | 4.669 | 6.003 | 32.48 | 5.544 | 331.1 | 5.681 | 351.2 | 13.33 | 960.595 | 99.9275 | 38.116
2020-05-08 13:00:00 | 5.48 | 353.8 | 5.987 | 23.27 | 5.997 | 335.6 | 6.216 | 345.6 | 13.18 | 960.744 | 99.93 | 41.1458
2020-05-08 13:15:00 | 4.959 | 351.3 | 5.77 | 16.31 | 7.113 | 337.2 | 7.26 | 347.9 | 13.18 | 960.892 | 99.9296 | 42.875
2020-05-08 13:30:00 | 4.484 | 353.9 | 5.905 | 21.28 | 5.936 | 319.5 | 6.114 | 350.3 | 13.04 | 960.595 | 99.9309 | 47.6635
2020-05-08 13:45:00 | 5.697 | 2.083 | 6.051 | 21.27 | 6.099 | 307.5 | 6.231 | 352.8 | 12.91 | 960.595 | 99.9665 | 48.2708
2020-05-08 14:00:00 | 5.891 | 354.9 | 6.762 | 26.55 | 7.429 | 312 | 7.637 | 351.6 | 12.65 | 960.595 | 99.9381 | 51.982
2020-05-08 14:15:00 | 4.808 | 355 | 5.374 | 22.09 | 6.783 | 310.7 | 7.064 | 347.5 | 12.44 | 960.447 | 99.9482 | 51.9274
2020-05-08 14:30:00 | 6.562 | 356.4 | 7.769 | 24.35 | 8.11 | 314.2 | 8.41 | 348.3 | 12.22 | 960.595 | 99.9488 | 53.9911
2020-05-08 14:45:00 | 6.401 | 355.2 | 6.496 | 21.49 | 6.661 | 314.7 | 6.967 | 349.6 | 12.23 | 960.298 | 99.9488 | 57.856
2020-05-08 15:00:00 | 5.628 | 353 | 6.481 | 13.64 | 7.457 | 313.1 | 7.688 | 348.3 | 12.15 | 960.001 | 99.9488 | 73.1458
2020-05-08 15:15:00 | 6.276 | 358.5 | 7.629 | 24.71 | 8.32 | 332 | 8.83 | 347.6 | 11.96 | 960.15 | 99.9488 | 71.165
2020-05-08 15:30:00 | 5.801 | 354.9 | 7.012 | 19.53 | 8.34 | 11.86 | 8.51 | 346.4 | 11.81 | 960.298 | 99.9488 | 66.1168
2020-05-08 15:45:00 | 5.684 | 350.9 | 5.404 | 5.191 | 5.608 | 343.7 | 5.78 | 343.5 | 11.7 | 960.447 | 99.9488 | 74.8544
2020-05-08 16:00:00 | 5.24 | 349.3 | 5.325 | 6.602 | 5.361 | 343.8 | 5.348 | 346.4 | 11.28 | 960.595 | 99.9488 | 75.7924
2020-05-08 16:15:00 | 5.02 | 348.5 | 5.432 | 9.91 | 5.824 | 345.6 | 6.114 | 342.9 | 11.08 | 960.595 | 99.9488 | 71.5016
2020-05-08 16:30:00 | 5.569 | 341.3 | 6.02 | 0.667 | 6.892 | 345.3 | 7.146 | 338.2 | 10.86 | 960.626 | 99.9488 | 74.5741
2020-05-08 16:45:00 | 6.166 | 343.3 | 7.46 | 5.911 | 8.5 | 357.9 | 8.75 | 343.9 | 10.68 | 960.522 | 99.9488 | 79.0058
2020-05-08 17:00:00 | 6.22 | 355.9 | 7.805 | 27.82 | 8.09 | 19.21 | 8.37 | 347.9 | 10.43 | 960.479 | 99.9488 | 67.4541
2020-05-08 17:15:00 | 5.171 | 357.2 | 6.91 | 25.69 | 7.146 | 12.59 | 7.454 | 343.4 | 10.35 | 960.617 | 99.9531 | 70.9817
2020-05-08 17:30:00 | 7.553 | 353.1 | 8.27 | 21.96 | 10.18 | 17.43 | 10.59 | 351.4 | 10.09 | 960.68 | 99.9526 | 72.5622
2020-05-08 17:45:00 | 5.801 | 354.6 | 7.002 | 28.94 | 8.18 | 20.29 | 8.7 | 342.7 | 9.93 | 960.745 | 99.9325 | 75.2625
2020-05-08 18:00:00 | 6.345 | 358.2 | 7.273 | 26.35 | 8.7 | 356.6 | 9.25 | 345.9 | 9.86 | 960.862 | 99.9686 | 73.0936
2020-05-08 18:15:00 | 7.392 | 354.9 | 8.27 | 23.57 | 8.19 | 16.68 | 8.49 | 350.2 | 9.78 | 961.01 | 99.9664 | 73.7053
2020-05-08 18:30:00 | 4.987 | 4.107 | 6.782 | 29.99 | 6.62 | 7.8 | 6.97 | 347.5 | 9.78 | 960.888 | 99.9667 | 72.6679
2020-05-08 18:45:00 | 6.991 | 351.6 | 7.731 | 20.66 | 8.64 | 6.17 | 9.06 | 349 | 9.53 | 961.037 | 99.9328 | 74.2638
2020-05-08 19:00:00 | 6.767 | 350.6 | 7.7 | 20.68 | 9.49 | 12.73 | 9.78 | 346.6 | 9.44 | 961.185 | 99.9424 | 68.0147
2020-05-08 19:15:00 | 6.395 | 358.9 | 7.884 | 25.03 | 8.54 | 15.13 | 8.87 | 349.5 | 9.41 | 961.185 | 99.9461 | 66.3668
2020-05-08 19:30:00 | 6.182 | 355.6 | 7.91 | 20.68 | 8.63 | 17.7 | 8.95 | 351.1 | 9.41 | 961.482 | 99.9815 | 64.3975
2020-05-08 19:45:00 | 7.77 | 353.5 | 8.49 | 20.99 | 9.37 | 13.16 | 9.72 | 349.8 | 9.38 | 961.482 | 99.9471 | 65.3766
2020-05-08 20:00:00 | 7.576 | 354.2 | 8.6 | 22.09 | 8.81 | 17.13 | 9.07 | 350.7 | 9.35 | 961.631 | 99.9829 | 67.0799
2020-05-08 20:15:00 | 8.08 | 355.1 | 9.03 | 22.31 | 10.42 | 19.45 | 10.9 | 352.1 | 9.31 | 961.779 | 99.9829 | 64.9752
2020-05-08 20:30:00 | 5.791 | 351.5 | 6.442 | 29.26 | 7.052 | 17.82 | 7.512 | 341.6 | 9.42 | 962.077 | 99.9829 | 76.9599
2020-05-08 20:45:00 | 8.07 | 352.7 | 9.17 | 17.98 | 10.91 | 18.27 | 11.23 | 351.2 | 9.19 | 962.077 | 99.9829 | 65.9087
2020-05-08 21:00:00 | 6.613 | 353.4 | 7.695 | 23.22 | 8.9 | 14.83 | 9.34 | 346.6 | 9.17 | 962.374 | 99.9488 | 65.8976
2020-05-08 21:15:00 | 8.11 | 355.6 | 8.44 | 16.83 | 9.17 | 16.22 | 9.6 | 354.2 | 9.13 | 962.522 | 99.9488 | 64.1475
2020-05-08 21:30:00 | 6.894 | 356.4 | 7.805 | 22.62 | 7.968 | 15.55 | 8.17 | 349.4 | 9.04 | 962.819 | 99.9829 | 68.1212
2020-05-08 21:45:00 | 6.644 | 351.3 | 7.856 | 22.27 | 9.45 | 12.42 | 10.11 | 345.9 | 8.98 | 962.968 | 99.9488 | 63.5895
2020-05-08 22:00:00 | 7.336 | 349.1 | 8.25 | 23.87 | 9.09 | 14.13 | 9.62 | 344.9 | 8.97 | 962.968 | 99.9829 | 57.8206
2020-05-08 22:15:00 | 5.447 | 357 | 6.629 | 27.48 | 6.396 | 2.855 | 6.751 | 346.5 | 9.04 | 963.265 | 99.9488 | 60.9217
2020-05-08 22:30:00 | 5.283 | 357.7 | 6.325 | 21.36 | 6.905 | 358.9 | 7.186 | 344.3 | 9.04 | 963.413 | 99.9488 | 65.602
2020-05-08 22:45:00 | 6.202 | 352.2 | 7.043 | 21.45 | 7.904 | 8.54 | 8.35 | 346 | 9 | 963.265 | 99.9829 | 65.3462
2020-05-08 23:00:00 | 5.41 | 351.7 | 6.36 | 24.14 | 7.396 | 5.238 | 7.785 | 340.8 | 8.98 | 963.265 | 99.9488 | 73.8441
2020-05-08 23:15:00 | 7.162 | 357.9 | 7.646 | 23.99 | 8.67 | 10.72 | 8.89 | 349.4 | 8.98 | 963.116 | 99.9829 | 74.5472
2020-05-08 23:30:00 | 6.11 | 358.4 | 8.77 | 23.59 | 8.5 | 5.754 | 8.67 | 348.2 | 8.98 | 963.265 | 99.9829 | 78.7778
2020-05-08 23:45:00 | 8.1 | 359.7 | 10.06 | 25.26 | 10.69 | 9.15 | 11.06 | 348.2 | 8.97 | 963.265 | 99.9829 | 75.6964