## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-09 00:00:00 | 5.387 | 356.8 | 8.11 | 27.42 | 8.52 | 1.521 | 8.83 | 345.7 | 9.02 | 962.968 | 99.9488 | 78.497
2020-05-09 00:15:00 | 6.046 | 357.7 | 7.941 | 25.04 | 9.03 | 5.293 | 9.31 | 345.7 | 8.97 | 962.968 | 99.9146 | 77.1262
2020-05-09 00:30:00 | 7.012 | 0.618 | 8.92 | 25.8 | 9.37 | 357.3 | 9.5 | 350 | 8.9 | 962.969 | 99.9488 | 77.3109
2020-05-09 00:45:00 | 7.453 | 351 | 8.88 | 24.36 | 9.86 | 15.73 | 10.4 | 344.3 | 8.89 | 962.694 | 99.9488 | 79.8298
2020-05-09 01:00:00 | 10.07 | 355.4 | 10.29 | 21.16 | 11.9 | 12.44 | 12.36 | 355 | 8.88 | 962.398 | 99.9829 | 72.3562
2020-05-09 01:15:00 | 7.88 | 351.2 | 9.38 | 18.81 | 10.79 | 9.69 | 11.19 | 351 | 8.84 | 962.968 | 99.9829 | 66.2042
2020-05-09 01:30:00 | 7.831 | 353.7 | 8.41 | 21.63 | 8.85 | 13.98 | 9.2 | 347.5 | 8.9 | 963.126 | 100 | 58.7445
2020-05-09 01:45:00 | 6.156 | 355 | 6.772 | 18.45 | 8.4 | 14.47 | 8.82 | 347.7 | 8.97 | 962.968 | 99.9488 | 64.2386
2020-05-09 02:00:00 | 8.1 | 352.8 | 8.89 | 21.34 | 9.7 | 12.58 | 10.08 | 349.6 | 8.9 | 962.97 | 99.9488 | 63.2251
2020-05-09 02:15:00 | 8.56 | 352.6 | 9.18 | 15.54 | 10.5 | 13.61 | 10.9 | 352.6 | 8.91 | 963.015 | 99.9146 | 60.7195
2020-05-09 02:30:00 | 8.34 | 351.6 | 8.63 | 21.52 | 10.17 | 17.99 | 10.7 | 351.9 | 8.97 | 962.983 | 99.9829 | 58.4155
2020-05-09 02:45:00 | 8.51 | 357.9 | 8.74 | 20.95 | 9.5 | 15.62 | 9.9 | 353.5 | 8.98 | 963.12 | 99.9488 | 51.9554
2020-05-09 03:00:00 | 6.56 | 357.7 | 6.867 | 24.33 | 7.752 | 18.14 | 8.12 | 346.7 | 9.02 | 963.265 | 99.9488 | 42.7198
2020-05-09 03:15:00 | 6.856 | 358 | 7.859 | 20.23 | 9.28 | 19.12 | 9.75 | 354.5 | 9.04 | 963.116 | 99.9488 | 41.0534
2020-05-09 03:30:00 | 7.474 | 359.8 | 7.915 | 19.44 | 8.59 | 17.49 | 9.09 | 358.8 | 9.04 | 962.968 | 99.9829 | 40.3922
2020-05-09 03:45:00 | 6.527 | 353.2 | 7.191 | 23.07 | 7.708 | 9.79 | 8.29 | 352.9 | 9.06 | 962.819 | 99.9488 | 35.7698
2020-05-09 04:00:00 | 6.925 | 356.4 | 7.552 | 23.2 | 8.35 | 16.73 | 8.84 | 355.1 | 9.11 | 962.671 | 99.9488 | 40.3625
2020-05-09 04:15:00 | 6.843 | 355.1 | 7.493 | 18.94 | 8.7 | 16.09 | 9.22 | 356.9 | 9.11 | 962.671 | 99.9829 | 39.3781
2020-05-09 04:30:00 | 7.07 | 0.805 | 7.984 | 23.71 | 8.84 | 15.49 | 9.28 | 358.4 | 9.11 | 962.671 | 99.9488 | 31.6131
2020-05-09 04:45:00 | 6.751 | 0.046 | 7.634 | 23.52 | 7.983 | 16.44 | 8.28 | 357.9 | 9.17 | 962.671 | 99.9488 | 22.9819
2020-05-09 05:00:00 | 5.656 | 356.6 | 6.066 | 21.7 | 6.981 | 14.85 | 7.354 | 354 | 9.19 | 962.968 | 99.9829 | 19.0543
2020-05-09 05:15:00 | 5.73 | 351.7 | 6.21 | 18.03 | 7.703 | 14.12 | 8.14 | 353.9 | 9.24 | 963.265 | 99.9488 | 27.3973
2020-05-09 05:30:00 | 6.547 | 358.8 | 6.32 | 21.61 | 6.831 | 15.05 | 7.064 | 353.1 | 9.24 | 962.968 | 99.9488 | 30.379
2020-05-09 05:45:00 | 5.901 | 353.3 | 6.36 | 19.08 | 7.734 | 17.97 | 8.19 | 353.2 | 9.25 | 963.265 | 99.9488 | 25.0843
2020-05-09 06:00:00 | 6.715 | 1.919 | 6.785 | 23.24 | 7.274 | 20.51 | 7.696 | 359.8 | 9.29 | 963.116 | 99.9488 | 27.9183
2020-05-09 06:15:00 | 7.461 | 4.658 | 7.378 | 25.83 | 7.955 | 17.79 | 8.46 | 1.914 | 9.31 | 963.116 | 99.9488 | 34.9348
2020-05-09 06:30:00 | 6.797 | 353.8 | 7.212 | 20.51 | 8.35 | 14.74 | 8.76 | 352.6 | 9.34 | 963.414 | 99.9829 | 32.5664
2020-05-09 06:45:00 | 5.125 | 350.3 | 6.407 | 20.92 | 7.505 | 14.56 | 8.01 | 348.8 | 9.42 | 963.414 | 99.9829 | 31.0367
2020-05-09 07:00:00 | 6.897 | 355.5 | 6.987 | 21.51 | 8.43 | 18.1 | 8.9 | 355.4 | 9.45 | 963.859 | 99.9829 | 19.1356
2020-05-09 07:15:00 | 5.528 | 355.4 | 5.68 | 21.71 | 7.146 | 16.37 | 7.423 | 354.2 | 9.52 | 964.156 | 99.9829 | 22.7307
2020-05-09 07:30:00 | 5.852 | 1.073 | 6.394 | 24.24 | 6.289 | 17.48 | 6.366 | 358 | 9.56 | 964.453 | 99.9828 | 19.3425
2020-05-09 07:45:00 | 5.112 | 1.102 | 6.355 | 19.35 | 6.994 | 10.13 | 7.089 | 355.9 | 9.67 | 964.453 | 99.979 | 21.9769
2020-05-09 08:00:00 | 5.98 | 354.8 | 6.401 | 21.97 | 7.006 | 16.25 | 7.301 | 355.3 | 9.6 | 964.305 | 99.9414 | 27.8517
2020-05-09 08:15:00 | 6.654 | 359.4 | 6.573 | 19.06 | 7.337 | 14.78 | 7.851 | 359.5 | 9.69 | 964.899 | 99.9684 | 16.1945
2020-05-09 08:30:00 | 5.804 | 355.5 | 5.56 | 22.51 | 6.513 | 19.54 | 6.827 | 352.1 | 9.74 | 964.899 | 99.9669 | 13.8926
2020-05-09 08:45:00 | 4.504 | 357.9 | 4.947 | 24.73 | 5.371 | 18.06 | 5.572 | 350.1 | 9.76 | 965.597 | 99.966 | 8.3393
2020-05-09 09:00:00 | 3.296 | 10.08 | 3.54 | 23.44 | 3.153 | 2.541 | 3.374 | 349.7 | 9.97 | 965.482 | 99.9333 | 8.5831
2020-05-09 09:15:00 | 3.373 | 344 | 3.579 | 8.44 | 4.344 | 2.438 | 4.591 | 341.1 | 10.18 | 965.391 | 99.9224 | 10.4564
2020-05-09 09:30:00 | 3.323 | 358 | 3.96 | 27.23 | 4.018 | 25.44 | 4.265 | 350.5 | 10.05 | 965.397 | 99.9491 | 9.1115
2020-05-09 09:45:00 | 5.099 | 9.47 | 5.335 | 27.72 | 4.806 | 18.96 | 5.123 | 1.01 | 10.32 | 965.417 | 99.983 | 9.9207
2020-05-09 10:00:00 | 4.359 | 16.63 | 5.931 | 34.4 | 4.496 | 22.05 | 4.415 | 9.35 | 10.55 | 965.061 | 99.9488 | 7.1348
2020-05-09 10:15:00 | 3.904 | 10.59 | 4.653 | 29.84 | 3.896 | 16.96 | 3.896 | 10.71 | 10.59 | 965.362 | 99.9488 | 4.6481
2020-05-09 10:30:00 | 2.01 | 15.13 | 2.249 | 10.11 | 2.274 | 359.1 | 2.433 | 6.327 | 11 | 965.495 | 99.9488 | 3.3956
2020-05-09 10:45:00 | 2.125 | 308.9 | 2.665 | 322.6 | 1.968 | 321.7 | 2.055 | 314.6 | 11.45 | 966.238 | 99.9488 | 2.4645
2020-05-09 11:00:00 | 3.553 | 316.3 | 3.929 | 323.8 | 3.563 | 311.1 | 3.644 | 323.1 | 11.49 | 966.535 | 99.9358 | 5.2134
2020-05-09 11:15:00 | 4.034 | 297.8 | 4.53 | 309.9 | 4.359 | 294.9 | 4.403 | 299.9 | 11.3 | 966.238 | 99.9325 | 1.4927
2020-05-09 11:30:00 | 0.735 | 323.4 | 1.72 | 14.18 | 2.212 | 356.9 | 2.316 | 321.2 | 12 | 966.683 | 95.5621 | -0.099761
2020-05-09 11:45:00 | 2.079 | 347.2 | 2.337 | 6.044 | 2.759 | 354.6 | 2.842 | 337 | 12.82 | 966.832 | 92.9008 | -0.14779
2020-05-09 12:00:00 | 3.087 | 326.8 | 3.19 | 331.8 | 2.823 | 306.5 | 2.9 | 339.5 | 13.03 | 967.114 | 90.4666 | 0.65399
2020-05-09 12:15:00 | 2.843 | 295 | 3.18 | 305.9 | 3.423 | 299.4 | 3.501 | 296.5 | 12.49 | 966.969 | 96.9462 | 0.44338
2020-05-09 12:30:00 | 1.765 | 259.7 | 2.416 | 278.1 | 2.217 | 275.4 | 2.284 | 268 | 12.38 | 966.907 | 94.3879 | -0.27711
2020-05-09 12:45:00 | 1.147 | 246.1 | 1.784 | 260.5 | 0.991 | 270.1 | 1.368 | 250.5 | 12.43 | 966.826 | 93.0957 | -0.30298
2020-05-09 13:00:00 | 3.291 | 257.7 | 3.287 | 267.8 | 2.924 | 269.8 | 2.847 | 262.1 | 12.49 | 966.825 | 93.0279 | -0.28081
2020-05-09 13:15:00 | 2.698 | 291.1 | 3.108 | 303.1 | 2.749 | 291.7 | 2.735 | 291.7 | 12.86 | 966.43 | 90.8777 | -0.12562
2020-05-09 13:30:00 | 3.302 | 305.6 | 3.466 | 317.4 | 3.593 | 301.9 | 3.672 | 303.5 | 13.29 | 966.867 | 89.2 | 0.45447
2020-05-09 13:45:00 | 3.113 | 286.9 | 3.369 | 302 | 3.372 | 295.1 | 3.382 | 288 | 13.33 | 966.427 | 89.814 | 0.70202
2020-05-09 14:00:00 | 3.113 | 286.9 | 3.369 | 302 | 3.372 | 295.1 | 3.382 | 288 | 13.33 | 966.427 | 89.814 | 0.70202
2020-05-09 14:15:00 | 3.113 | 286.9 | 3.369 | 302 | 3.372 | 295.1 | 3.382 | 288 | 13.33 | 966.427 | 89.814 | 0.70202
2020-05-09 14:30:00 | 3.516 | 302.2 | 3.873 | 316.8 | 3.72 | 307.1 | 3.723 | 303.9 | 13.25 | 965.347 | 92.3526 | 2.6788
2020-05-09 14:45:00 | 3.516 | 302.2 | 3.873 | 316.8 | 3.72 | 307.1 | 3.723 | 303.9 | 13.25 | 965.347 | 92.3526 | 2.6788
2020-05-09 15:00:00 | 3.516 | 302.2 | 3.873 | 316.8 | 3.72 | 307.1 | 3.723 | 303.9 | 13.25 | 965.347 | 92.3526 | 2.6788
2020-05-09 15:15:00 | 4.029 | 294.7 | 4.479 | 309.1 | 4.534 | 295.5 | 4.573 | 296.9 | 13.25 | 965.941 | 92.116 | 5.7935
2020-05-09 15:30:00 | 5.012 | 289.3 | 5.392 | 302.4 | 5.437 | 292.8 | 5.457 | 290.1 | 13.27 | 965.941 | 92.7644 | 7.1643
2020-05-09 15:45:00 | 5.48 | 282.5 | 6.199 | 297.3 | 6.254 | 270.543 | 6.262 | 282.7 | 13.25 | 965.941 | 93.7199 | 11.5649
2020-05-09 16:00:00 | 4.333 | 294.1 | 4.839 | 308.1 | 4.814 | 290.015 | 4.897 | 295.3 | 13.04 | 965.644 | 95.7646 | 3.4362
2020-05-09 16:15:00 | 3.858 | 265 | 3.865 | 279.3 | 3.68 | 262.905 | 3.674 | 264.8 | 13.05 | 965.941 | 96.3803 | 4.5188
2020-05-09 16:30:00 | 3.121 | 284.4 | 3.034 | 301.3 | 3.184 | 283.614 | 3.196 | 283.7 | 13.18 | 965.941 | 98.4976 | 6.1334
2020-05-09 16:45:00 | 4.387 | 284.1 | 4.934 | 298.5 | 4.817 | 280.978 | 4.772 | 285.7 | 13.08 | 965.644 | 99.9318 | 5.0619
2020-05-09 17:00:00 | 4.223 | 297.9 | 4.711 | 311.1 | 4.855 | 292.838 | 4.981 | 299 | 13.11 | 965.941 | 99.9319 | 10.1017
2020-05-09 17:15:00 | 3.376 | 294.9 | 4.387 | 309.1 | 4.631 | 290.956 | 4.741 | 294.8 | 13.17 | 965.941 | 99.9342 | 7.5449
2020-05-09 17:30:00 | 4.53 | 290 | 4.78 | 305.1 | 4.506 | 287.191 | 4.553 | 289.9 | 13.06 | 965.644 | 98.1926 | 7.7777
2020-05-09 17:45:00 | 3.636 | 279.4 | 4.182 | 295.6 | 3.965 | 278.248 | 3.932 | 278.2 | 12.85 | 965.941 | 99.9421 | 4.1197
2020-05-09 18:00:00 | 3.383 | 289.5 | 3.911 | 303.3 | 3.776 | 285.496 | 3.804 | 291.5 | 12.76 | 965.495 | 99.9469 | 2.3832
2020-05-09 18:15:00 | 1.949 | 286.1 | 2.311 | 301.1 | 2.451 | 283.425 | 2.49 | 285.8 | 12.64 | 965.347 | 99.9488 | -0.13671
2020-05-09 18:30:00 | 1.938 | 277.4 | 1.983 | 279.5 | 1.991 | 263.093 | 2.129 | 275.8 | 12.5 | 965.347 | 99.9488 | 0.52467
2020-05-09 18:45:00 | 1.937 | 299.7 | 2.324 | 312.8 | 2.49 | 294.439 | 2.556 | 303.4 | 12.5 | 965.644 | 99.9488 | 0.14779
2020-05-09 19:00:00 | 1.943 | 329.8 | 1.703 | 343 | 1.76 | 322.866 | 1.95 | 320.7 | 12.47 | 965.347 | 99.9488 | -0.24016
2020-05-09 19:15:00 | 1.9 | 335.5 | 1.727 | 349.6 | 2.07 | 329.078 | 2.215 | 336.8 | 12.44 | 965.347 | 99.9147 | -0.10346
2020-05-09 19:30:00 | 0.407 | 341.9 | 0.053 | 315.2 | 0.006 | 296.698 | 0.028 | 335.1 | 12.43 | 965.347 | 99.9488 | -0.26972
2020-05-09 19:45:00 | 0 | 346.6 | 0 | 315.1 | 0 | 296.604 | 0 | 334.9 | 12.24 | 965.347 | 99.9488 | -0.26972
2020-05-09 20:00:00 | 0 | 346.5 | 0 | 315.1 | 0 | 296.604 | 0.2 | 334.9 | 12.21 | 965.198 | 99.9488 | -0.26972
2020-05-09 20:15:00 | 1.271 | 224.1 | 1.554 | 302.8 | 0 | 285.026 | 0.249 | 334.2 | 12.22 | 965.347 | 99.9488 | -0.2882
2020-05-09 20:30:00 | 1.966 | 187.4 | 1.664 | 220.3 | 0.301 | 207.368 | 0.383 | 191.9 | 12.24 | 965.347 | 99.9488 | -0.2882
2020-05-09 20:45:00 | 3.774 | 170.8 | 3.436 | 187.5 | 2.696 | 176.494 | 2.844 | 170.4 | 12.23 | 965.347 | 99.9488 | -0.15149
2020-05-09 21:00:00 | 3.713 | 168.4 | 3.057 | 192.4 | 2.642 | 181.106 | 2.842 | 166.4 | 12.21 | 965.347 | 99.9488 | -0.11084
2020-05-09 21:15:00 | 3.787 | 173.2 | 3.234 | 196.4 | 2.553 | 184.871 | 2.791 | 166.8 | 12.23 | 965.347 | 99.9488 | 0.19583
2020-05-09 21:30:00 | 3.491 | 188.9 | 2.968 | 206.8 | 1.743 | 194.661 | 1.981 | 183.3 | 12.21 | 965.644 | 99.9488 | 0.72789
2020-05-09 21:45:00 | 5.403 | 188.3 | 4.911 | 205.1 | 4.303 | 193.061 | 4.405 | 187.3 | 12.14 | 965.644 | 99.9488 | 1.6073
2020-05-09 22:00:00 | 4.165 | 180 | 3.911 | 192.6 | 4.036 | 181.294 | 4.189 | 187.3 | 12.1 | 965.644 | 99.9488 | 1.6959
2020-05-09 22:15:00 | 3.881 | 188.3 | 3.852 | 196.7 | 3.827 | 185.154 | 4.008 | 195.8 | 12.2 | 965.792 | 99.9488 | 1.7033
2020-05-09 22:30:00 | 5.13 | 190.2 | 5.103 | 203.9 | 4.885 | 191.931 | 4.983 | 190.6 | 12.36 | 965.644 | 99.9488 | 2.3832
2020-05-09 22:45:00 | 4.116 | 203.3 | 4.198 | 210.5 | 4.094 | 198.144 | 4.214 | 205.6 | 12.42 | 965.941 | 99.9488 | 2.3462
2020-05-09 23:00:00 | 3.636 | 225.1 | 4.384 | 229.8 | 4.7 | 216.311 | 4.617 | 227.5 | 12.61 | 965.941 | 96.6718 | 1.4373
2020-05-09 23:15:00 | 2.995 | 222.7 | 3.551 | 223.6 | 3.843 | 210.475 | 3.888 | 234.5 | 12.71 | 965.941 | 96.1598 | 1.3301
2020-05-09 23:30:00 | 3.11 | 214.5 | 3.364 | 223.1 | 4.692 | 210.004 | 4.859 | 224.5 | 12.65 | 965.941 | 96.9449 | 2.664
2020-05-09 23:45:00 | 4.711 | 204.7 | 4.985 | 212.7 | 5.313 | 200.215 | 5.5 | 212.4 | 12.51 | 965.941 | 98.0031 | 7.7444