## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-10 00:00:00 | 4.846 | 191.8 | 5.136 | 204.4 | 5.725 | 192.402 | 5.893 | 198.7 | 12.4 | 965.942 | 97.7641 | 10.5451
2020-05-10 00:15:00 | 4.696 | 193.5 | 5.108 | 202.3 | 5.979 | 190.425 | 6.175 | 201.3 | 12.44 | 965.941 | 97.1497 | 9.5696
2020-05-10 00:30:00 | 5.115 | 186.3 | 5 | 194.2 | 4.987 | 182.8 | 5.215 | 195.3 | 12.66 | 965.941 | 94.8285 | 8.3836
2020-05-10 00:45:00 | 5.066 | 190.1 | 5.305 | 201.8 | 5.659 | 189.954 | 5.803 | 199.3 | 12.75 | 965.941 | 96.1939 | 7.8922
2020-05-10 01:00:00 | 4.433 | 197.6 | 5.028 | 205.4 | 5.592 | 193.343 | 5.755 | 207.5 | 12.92 | 965.941 | 96.8766 | 9.3738
2020-05-10 01:15:00 | 4.933 | 191.5 | 5.287 | 202.2 | 5.224 | 190.331 | 5.353 | 199 | 13 | 965.941 | 95.716 | 8.2728
2020-05-10 01:30:00 | 4.8 | 187.1 | 4.604 | 196 | 4.868 | 184.495 | 4.968 | 196.1 | 13.05 | 965.792 | 93.0534 | 7.2862
2020-05-10 01:45:00 | 4.466 | 194.2 | 4.732 | 205.4 | 5.203 | 193.343 | 5.365 | 207.7 | 13.16 | 965.941 | 91.9611 | 6.3588
2020-05-10 02:00:00 | 5.362 | 198.4 | 5.366 | 207.6 | 5.252 | 195.414 | 5.381 | 213.1 | 13.35 | 965.941 | 91.8928 | 6.2406
2020-05-10 02:15:00 | 5.099 | 202.7 | 5.415 | 209.8 | 5.351 | 197.485 | 5.592 | 215.5 | 13.31 | 965.941 | 91.7904 | 7.3269
2020-05-10 02:30:00 | 4.172 | 196.7 | 4.63 | 207.5 | 5.104 | 195.32 | 5.292 | 206.3 | 13.37 | 965.941 | 89.0937 | 6.7985
2020-05-10 02:45:00 | 4.101 | 195.6 | 4.3 | 205.5 | 4.972 | 193.437 | 5.141 | 209.7 | 13.53 | 965.941 | 88.6841 | 6.4586
2020-05-10 03:00:00 | 4.06 | 193.7 | 4.52 | 201.1 | 4.87 | 189.295 | 5.011 | 205.8 | 13.62 | 965.941 | 87.0456 | 6.1039
2020-05-10 03:15:00 | 4.177 | 200.1 | 4.561 | 206.2 | 5.094 | 194.096 | 5.348 | 217.7 | 13.65 | 965.941 | 86.4994 | 3.7133
2020-05-10 03:30:00 | 4.08 | 208.1 | 4.614 | 208.5 | 5.302 | 196.261 | 5.396 | 230.2 | 13.76 | 965.792 | 85.885 | 4.4745
2020-05-10 03:45:00 | 4.463 | 211.1 | 4.699 | 209.2 | 5.704 | 196.92 | 5.788 | 226.8 | 13.97 | 965.792 | 84.4513 | 5.3169
2020-05-10 04:00:00 | 4.507 | 212.2 | 5.115 | 215 | 5.928 | 202.38 | 5.814 | 229.8 | 13.91 | 965.644 | 85.2022 | 5.0435
2020-05-10 04:15:00 | 4.157 | 209.6 | 4.607 | 210.4 | 5.493 | 198.05 | 5.526 | 229 | 13.79 | 965.792 | 85.2364 | 5.0287
2020-05-10 04:30:00 | 4.052 | 206 | 4.507 | 206 | 5.575 | 193.908 | 5.653 | 226.3 | 13.78 | 965.495 | 84.7243 | 5.7085
2020-05-10 04:45:00 | 4.05 | 206.6 | 4.844 | 206.2 | 5.954 | 194.096 | 6.012 | 222.7 | 13.86 | 965.644 | 83.2224 | 6.0189
2020-05-10 05:00:00 | 3.846 | 202.1 | 4.512 | 205.1 | 5.445 | 193.061 | 5.656 | 217.6 | 13.75 | 965.792 | 82.7445 | 7.0645
2020-05-10 05:15:00 | 4.057 | 206.5 | 4.87 | 208.9 | 5.974 | 196.638 | 6.132 | 218 | 13.92 | 965.941 | 83.6659 | 7.7887
2020-05-10 05:30:00 | 3.692 | 200.6 | 4.159 | 203.4 | 5.361 | 191.46 | 5.477 | 215.1 | 14.03 | 965.941 | 81.5828 | 5.8822
2020-05-10 05:45:00 | 3.626 | 212.9 | 4.333 | 214.9 | 5.175 | 202.285 | 5.312 | 229.7 | 14.41 | 966.535 | 78.9822 | 3.6911
2020-05-10 06:00:00 | 4.109 | 213.9 | 4.581 | 209.8 | 5.219 | 197.485 | 5.106 | 229.4 | 14.62 | 966.832 | 77.9511 | 4.6925
2020-05-10 06:15:00 | 4.183 | 225.7 | 4.929 | 222.8 | 5.432 | 209.722 | 5.205 | 236.9 | 15 | 966.832 | 76.1774 | 4.1789
2020-05-10 06:30:00 | 3.899 | 224.8 | 4.76 | 221.3 | 4.784 | 208.31 | 4.655 | 235.3 | 15.23 | 966.712 | 76.7108 | 4.5742
2020-05-10 06:45:00 | 3.422 | 214.2 | 4.333 | 213.6 | 5.216 | 201.062 | 5.131 | 225.3 | 15.52 | 967.13 | 72.445 | 3.8981
2020-05-10 07:00:00 | 3.36 | 215.7 | 4.057 | 218.1 | 5.508 | 205.298 | 5.386 | 228.4 | 16.01 | 967.427 | 70.6868 | 2.8007
2020-05-10 07:15:00 | 3.549 | 216.8 | 3.668 | 217.7 | 5.061 | 204.921 | 4.95 | 227.3 | 16.32 | 967.724 | 68.0198 | 2.9115
2020-05-10 07:30:00 | 3.32 | 209.4 | 3.824 | 211.9 | 4.631 | 199.461 | 4.614 | 221.8 | 16.57 | 967.86 | 67.4058 | 2.712
2020-05-10 07:45:00 | 3.833 | 208.3 | 3.942 | 213.1 | 4.86 | 200.591 | 4.96 | 221.7 | 16.89 | 967.726 | 61.8723 | 2.8229
2020-05-10 08:00:00 | 4.073 | 199.9 | 4.412 | 204.5 | 4.946 | 192.434 | 5.037 | 211.5 | 16.93 | 967.725 | 65.1433 | 5.2097
2020-05-10 08:15:00 | 3.424 | 186.3 | 4.072 | 198.2 | 4.611 | 186.506 | 4.673 | 194.9 | 16.64 | 968.319 | 60.5024 | 6.2591
2020-05-10 08:30:00 | 4.006 | 194.2 | 4.448 | 205.1 | 4.687 | 192.999 | 4.698 | 203.1 | 17.39 | 968.115 | 56.9486 | 5.9044
2020-05-10 08:45:00 | 3.986 | 190.7 | 4.297 | 202.5 | 4.616 | 190.552 | 4.617 | 198.1 | 17.53 | 968.039 | 55.7204 | 5.1063
2020-05-10 09:00:00 | 4.469 | 184.6 | 4.875 | 197.2 | 4.832 | 185.565 | 4.846 | 193.8 | 17.45 | 968.32 | 57.9369 | 6.3514
2020-05-10 09:15:00 | 4.711 | 185 | 4.816 | 200.5 | 4.529 | 188.671 | 4.556 | 188.8 | 17.84 | 968.617 | 56.5388 | 6.9426
2020-05-10 09:30:00 | 4.177 | 177.1 | 4.111 | 196.7 | 3.909 | 185.095 | 3.881 | 182.9 | 18.15 | 968.765 | 57.5618 | 5.642
2020-05-10 09:45:00 | 4.333 | 179.9 | 4.059 | 193.5 | 3.789 | 182.083 | 3.713 | 187.2 | 18.52 | 968.617 | 55.5139 | 5.0472
2020-05-10 10:00:00 | 3.746 | 186.4 | 3.589 | 200.4 | 3.464 | 188.576 | 3.376 | 192.3 | 18.79 | 969.062 | 61.6442 | 3.9424
2020-05-10 10:15:00 | 4.165 | 187.7 | 4.011 | 204.4 | 3.886 | 192.34 | 3.822 | 192.5 | 18.69 | 969.21 | 55.7451 | 3.2515
2020-05-10 10:30:00 | 4.134 | 182.5 | 3.881 | 200.2 | 3.558 | 188.388 | 3.488 | 186.6 | 18.9 | 969.21 | 57.4156 | 3.0298
2020-05-10 10:45:00 | 4.257 | 194.3 | 3.962 | 204.2 | 3.555 | 192.152 | 3.387 | 195.6 | 19.1 | 969.21 | 59.0522 | 2.9189
2020-05-10 11:00:00 | 4.254 | 192.1 | 3.852 | 201.1 | 3.484 | 189.235 | 3.432 | 196.6 | 19.13 | 969.358 | 56.5288 | 3.1369
2020-05-10 11:15:00 | 4.846 | 178.4 | 4.287 | 187.2 | 3.316 | 176.155 | 3.147 | 187.9 | 19.19 | 969.358 | 58.9839 | 1.8253
2020-05-10 11:30:00 | 5.408 | 194.2 | 4.875 | 201.7 | 3.865 | 189.8 | 3.723 | 204.4 | 19.28 | 969.21 | 62.0866 | 1.5075
2020-05-10 11:45:00 | 4.152 | 192.7 | 3.824 | 202.4 | 3.573 | 190.458 | 3.491 | 197.1 | 19.12 | 969.21 | 62.0524 | 0.95696
2020-05-10 12:00:00 | 4.875 | 192.3 | 4.54 | 200.8 | 3.769 | 188.953 | 3.654 | 200 | 19.55 | 969.21 | 63.8595 | 0.37687
2020-05-10 12:15:00 | 4.486 | 194.7 | 4.198 | 207.6 | 3.588 | 195.352 | 3.517 | 197.6 | 19.75 | 969.21 | 66.0766 | 0.69833
2020-05-10 12:30:00 | 4.466 | 190 | 4.118 | 202.9 | 3.301 | 190.929 | 3.188 | 194.8 | 20.02 | 969.358 | 65.4033 | 0.20322
2020-05-10 12:45:00 | 4.305 | 193.8 | 4.006 | 203.3 | 3.71 | 191.305 | 3.511 | 202.8 | 20.06 | 969.358 | 63.734 | -0.11454
2020-05-10 13:00:00 | 3.848 | 197.5 | 3.681 | 209.9 | 3.308 | 197.516 | 3.236 | 202.4 | 20.57 | 969.21 | 65.6777 | -0.1404
2020-05-10 13:15:00 | 4.683 | 198.4 | 4.579 | 208.4 | 4.049 | 196.104 | 4.041 | 202.2 | 20.85 | 969.358 | 68.7468 | 0.55792
2020-05-10 13:30:00 | 3.861 | 185.4 | 3.272 | 196.4 | 2.711 | 184.812 | 2.628 | 197.3 | 21.38 | 969.358 | 64.9957 | 0.75005
2020-05-10 13:45:00 | 3.832 | 194.9 | 3.369 | 202.5 | 2.724 | 190.552 | 2.648 | 197.6 | 21.41 | 969.507 | 61.7176 | 0.1404
2020-05-10 14:00:00 | 4.017 | 189.7 | 3.607 | 205.6 | 3.062 | 193.47 | 2.927 | 190 | 21.68 | 970.1 | 63.5187 | 1.2008
2020-05-10 14:15:00 | 4.742 | 185.1 | 4.402 | 195.2 | 3.644 | 183.683 | 3.601 | 186.7 | 21.98 | 969.952 | 61.3024 | 2.3277
2020-05-10 14:30:00 | 3.888 | 152.3 | 3.965 | 168.6 | 3.253 | 158.653 | 3.15 | 157.8 | 22.03 | 970.248 | 61.8043 | 2.7342
2020-05-10 14:45:00 | 3.452 | 165.9 | 3.139 | 184.9 | 2.94 | 173.991 | 2.842 | 173.1 | 22.37 | 970.54 | 62.1783 | 3.9239
2020-05-10 15:00:00 | 4.721 | 154.5 | 4.553 | 174.4 | 4.298 | 164.11 | 4.242 | 161.9 | 22.35 | 970.09 | 58.8342 | 3.4177
2020-05-10 15:15:00 | 5.906 | 160.4 | 5.583 | 175.5 | 4.654 | 165.145 | 4.5 | 163 | 22.34 | 970.094 | 57.5324 | 6.0078
2020-05-10 15:30:00 | 5.73 | 173.7 | 5.583 | 191 | 5.104 | 179.731 | 5.047 | 177.2 | 22.57 | 969.547 | 56.9871 | 8.3282
2020-05-10 15:45:00 | 5.411 | 171.3 | 5.248 | 183.3 | 4.697 | 172.485 | 4.594 | 179.5 | 22.74 | 969.992 | 53.3742 | 7.9218
2020-05-10 16:00:00 | 5.684 | 170.5 | 5.652 | 182.1 | 4.73 | 171.356 | 4.685 | 176 | 22.96 | 970.101 | 53.3402 | 8.2691
2020-05-10 16:15:00 | 5.36 | 156.4 | 5.054 | 166 | 4.288 | 156.206 | 4.214 | 166.5 | 22.78 | 970.249 | 52.4881 | 9.3738
2020-05-10 16:30:00 | 5.891 | 175.9 | 5.57 | 195.1 | 4.883 | 183.589 | 4.764 | 174.2 | 22.74 | 969.656 | 54.3627 | 13.501
2020-05-10 16:45:00 | 6.417 | 167.8 | 6.146 | 185.1 | 5.58 | 174.179 | 5.406 | 172.7 | 23.01 | 969.359 | 55.1806 | 16.9446
2020-05-10 17:00:00 | 6.894 | 166.4 | 6.642 | 182.8 | 6.065 | 172.015 | 5.971 | 169.4 | 22.6 | 969.24 | 54.1922 | 20.3069
2020-05-10 17:15:00 | 6.91 | 170.3 | 6.588 | 188.1 | 6.221 | 177.002 | 6.224 | 174.5 | 22.57 | 969.075 | 53.2379 | 17.5875
2020-05-10 17:30:00 | 6.976 | 175.9 | 6.754 | 192.9 | 6.124 | 181.519 | 6.142 | 179.3 | 22.46 | 968.902 | 55.9687 | 18.7883
2020-05-10 17:45:00 | 6.68 | 174.6 | 6.509 | 193.8 | 6.009 | 182.366 | 5.943 | 177.1 | 22.36 | 968.765 | 58.5989 | 21.0495
2020-05-10 18:00:00 | 7.479 | 178.2 | 7.503 | 194.1 | 6.917 | 182.648 | 6.896 | 179.5 | 22.12 | 968.616 | 61.5647 | 26.4403
2020-05-10 18:15:00 | 7.063 | 175.6 | 6.43 | 195.7 | 6.121 | 184.154 | 6.02 | 176 | 22 | 968.32 | 62.2544 | 22.9856
2020-05-10 18:30:00 | 5.722 | 153.4 | 5.962 | 170 | 5.755 | 159.97 | 5.742 | 160 | 21.76 | 968.172 | 66.6212 | 16.8928
2020-05-10 18:45:00 | 5.311 | 158.3 | 5.348 | 176.3 | 5.628 | 165.898 | 5.717 | 161.1 | 21.27 | 967.726 | 67.6834 | 19.2206
2020-05-10 19:00:00 | 5.618 | 152.1 | 6.205 | 168.6 | 6.592 | 158.653 | 6.471 | 158.7 | 20.96 | 967.726 | 68.2011 | 24.2197
2020-05-10 19:15:00 | 5.903 | 154.3 | 6.389 | 176.3 | 7.068 | 165.898 | 7.176 | 159.7 | 20.89 | 967.866 | 66.9071 | 29.4812
2020-05-10 19:30:00 | 6.501 | 159.2 | 6.46 | 175.2 | 6.841 | 164.863 | 6.868 | 165.5 | 20.77 | 967.873 | 66.9166 | 35.9656
2020-05-10 19:45:00 | 7.068 | 150.5 | 7.887 | 166.9 | 8.6 | 157.053 | 8.68 | 155.8 | 20.67 | 967.428 | 66.9168 | 48.299
2020-05-10 20:00:00 | 6.391 | 146.5 | 6.32 | 173.4 | 7.528 | 163.169 | 7.629 | 150.8 | 20.73 | 967.28 | 66.1664 | 43.3036
2020-05-10 20:15:00 | 6.932 | 158.5 | 6.823 | 175.5 | 7.187 | 165.145 | 7.214 | 160 | 20.62 | 967.725 | 65.3842 | 46.9541
2020-05-10 20:30:00 | 7.323 | 160 | 7.276 | 178.6 | 7.948 | 168.063 | 7.958 | 160.9 | 20.79 | 968.022 | 63.2371 | 44.7409
2020-05-10 20:45:00 | 6.68 | 161.6 | 6.849 | 181.2 | 7.185 | 170.509 | 7.293 | 163.1 | 20.77 | 968.17 | 64.1914 | 43.4292
2020-05-10 21:00:00 | 6.938 | 150.3 | 7.22 | 169.7 | 7.856 | 159.688 | 7.904 | 155.5 | 20.71 | 968.467 | 63.6465 | 40.6839
2020-05-10 21:15:00 | 6.427 | 151.8 | 6.143 | 174 | 6.999 | 163.734 | 7.24 | 156.8 | 20.67 | 968.764 | 63.7168 | 27.5635
2020-05-10 21:30:00 | 5.002 | 149.6 | 5.312 | 170 | 5.707 | 159.97 | 5.829 | 155.2 | 20.56 | 969.209 | 63.8533 | 13.5564
2020-05-10 21:45:00 | 4.126 | 147.3 | 4.553 | 164 | 5.315 | 154.324 | 5.264 | 152.6 | 20.6 | 969.506 | 63.0704 | 7.8737
2020-05-10 22:00:00 | 3.253 | 140.9 | 3.53 | 155.6 | 4.361 | 146.42 | 4.395 | 147.1 | 20.72 | 969.658 | 61.9478 | 9.4034
2020-05-10 22:15:00 | 4.645 | 147.5 | 5.386 | 163.6 | 5.941 | 153.948 | 5.798 | 152.6 | 20.73 | 969.506 | 60.9923 | 8.8861
2020-05-10 22:30:00 | 3.69 | 140.8 | 4.182 | 159.9 | 4.896 | 150.466 | 4.838 | 144.7 | 20.63 | 969.679 | 62.2206 | 11.7829
2020-05-10 22:45:00 | 4.655 | 139.7 | 4.775 | 154.3 | 4.923 | 145.196 | 4.889 | 145.1 | 20.63 | 969.997 | 63.9604 | 7.8663
2020-05-10 23:00:00 | 2.929 | 133.2 | 3.183 | 140.6 | 3.545 | 132.305 | 3.552 | 142.4 | 20.55 | 970.273 | 63.9945 | 1.2267
2020-05-10 23:15:00 | 2.423 | 59.4 | 2.298 | 59.52 | 1.437 | 56.0083 | 1.175 | 92.6 | 20.04 | 970.164 | 69.5889 | 0.82764
2020-05-10 23:30:00 | 2.993 | 83.3 | 3.091 | 86.6 | 2.795 | 81.4906 | 2.691 | 102.6 | 19.84 | 970.009 | 67.6104 | 1.5297
2020-05-10 23:45:00 | 4.484 | 112.3 | 4.305 | 122.8 | 3.354 | 115.555 | 3.078 | 124.8 | 20.35 | 970.049 | 65.0179 | 6.3625