## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-11 00:00:00 | 5.035 | 129.1 | 4.926 | 143.5 | 4.445 | 135.033 | 4.263 | 134.8 | 20.72 | 969.629 | 62.63 | 14.639
2020-05-11 00:15:00 | 5.978 | 134.1 | 6.115 | 148.6 | 5.689 | 139.833 | 5.488 | 141.8 | 20.59 | 969.61 | 63.517 | 18.3819
2020-05-11 00:30:00 | 6.626 | 127.4 | 6.785 | 140.8 | 6.444 | 132.493 | 6.234 | 135.2 | 20.46 | 969.38 | 64.0965 | 25.7531
2020-05-11 00:45:00 | 6.705 | 132.7 | 6.997 | 146.7 | 7.121 | 138.045 | 7.021 | 139.7 | 20.24 | 968.934 | 66.5871 | 34.2808
2020-05-11 01:00:00 | 7.655 | 131.9 | 7.644 | 147.1 | 7.886 | 138.421 | 7.805 | 139.2 | 19.9 | 968.669 | 67.7469 | 45.6498
2020-05-11 01:15:00 | 7.07 | 134.1 | 7.253 | 147.5 | 7.268 | 138.798 | 7.26 | 138.5 | 19.82 | 968.418 | 68.1562 | 46.7546
2020-05-11 01:30:00 | 7.109 | 131.5 | 7.767 | 147.3 | 8.1 | 138.609 | 7.978 | 136.7 | 19.58 | 968.648 | 67.8833 | 37.4214
2020-05-11 01:45:00 | 6.527 | 135 | 6.683 | 150.3 | 6.5 | 141.432 | 6.31 | 141.6 | 19.41 | 968.881 | 68.4974 | 16.8374
2020-05-11 02:00:00 | 5.566 | 134.3 | 5.824 | 151.4 | 5.803 | 142.467 | 5.709 | 141.8 | 19.47 | 969.172 | 68.6338 | 5.3354
2020-05-11 02:15:00 | 2.061 | 150.5 | 2.096 | 178.2 | 2.479 | 167.686 | 2.382 | 144.2 | 19.16 | 969.208 | 68.7702 | 3.3254
2020-05-11 02:30:00 | 4.111 | 127.9 | 4.305 | 140.6 | 4.501 | 132.305 | 4.421 | 137 | 19.28 | 968.614 | 67.6787 | 5.5866
2020-05-11 02:45:00 | 3.12 | 129.3 | 3.229 | 142.7 | 3.7 | 134.281 | 3.651 | 139.2 | 19.35 | 969.06 | 66.86 | 3.5655
2020-05-11 03:00:00 | 2.268 | 136.5 | 2.881 | 149.6 | 3.181 | 140.774 | 3.025 | 145.3 | 19.47 | 968.911 | 65.9048 | 4.4375
2020-05-11 03:15:00 | 2.033 | 133.6 | 2.753 | 149.2 | 3.929 | 140.397 | 3.774 | 143.7 | 19.22 | 968.614 | 67.6104 | 11.624
2020-05-11 03:30:00 | 4.823 | 141.1 | 5.678 | 155.7 | 5.453 | 146.514 | 5.292 | 148.9 | 19.02 | 968.614 | 69.1796 | 11.3506
2020-05-11 03:45:00 | 4.959 | 146.7 | 6.003 | 158.6 | 5.793 | 149.243 | 5.5 | 154.8 | 18.75 | 968.763 | 70.817 | 10.1091
2020-05-11 04:00:00 | 3.442 | 142.3 | 4.832 | 157.1 | 5.002 | 147.831 | 4.769 | 153.8 | 18.65 | 968.614 | 73.1025 | 2.3536
2020-05-11 04:15:00 | 1.105 | 69.78 | 0.874 | 356.5 | 0.862 | 335.466 | 0.741 | 3.468 | 17.51 | 968.021 | 77.2983 | -0.018474
2020-05-11 04:30:00 | 1.331 | 24.49 | 1.274 | 20 | 0.804 | 18.82 | 0.569 | 0.195 | 17.77 | 968.021 | 74.0918 | 0.10715
2020-05-11 04:45:00 | 3.005 | 343.4 | 2.771 | 352.5 | 2.205 | 331.702 | 2.049 | 356.1 | 17.46 | 968.021 | 77.5718 | 0.46925
2020-05-11 05:00:00 | 2.592 | 4.439 | 2.467 | 10 | 1.256 | 9.41 | 1.009 | 16.42 | 16.67 | 968.021 | 79.248 | 3.621
2020-05-11 05:15:00 | 3.983 | 325 | 3.783 | 335 | 2.36 | 315.235 | 2.005 | 328 | 15.88 | 968.021 | 69.9463 | 8.6238
2020-05-11 05:30:00 | 7.859 | 315.9 | 8.71 | 331.2 | 8.24 | 311.659 | 8.23 | 316.5 | 15.49 | 969.653 | 74.3217 | 50.569
2020-05-11 05:45:00 | 7.142 | 356.8 | 9.34 | 24.11 | 10.12 | 22.6875 | 10.69 | 354.2 | 13.79 | 968.614 | 73.9805 | 80.0984
2020-05-11 06:00:00 | 6.641 | 347.9 | 8.47 | 9.6 | 10.42 | 9.0336 | 10.93 | 345.3 | 12.54 | 968.606 | 68.8369 | 85.5763
2020-05-11 06:15:00 | 12.96 | 3.83 | 13.37 | 22.76 | 14.21 | 21.4172 | 14.59 | 4.365 | 12.09 | 968.91 | 71.3984 | 85.1514
2020-05-11 06:30:00 | 12.25 | 6.392 | 11.91 | 21.9 | 12.22 | 20.6079 | 12.35 | 4.883 | 11.98 | 968.91 | 71.3429 | 83.5774
2020-05-11 06:45:00 | 11.64 | 352.6 | 11.38 | 14.1 | 13.91 | 13.2681 | 14.31 | 353 | 11.32 | 968.91 | 85.134 | 83.6513
2020-05-11 07:00:00 | 9.49 | 1.117 | 9.77 | 19.88 | 11.07 | 18.7071 | 11.37 | 0.054 | 10.66 | 969.547 | 92.9169 | 71.3792
2020-05-11 07:15:00 | 8.84 | 11.68 | 13.56 | 30.24 | 12.89 | 28.4558 | 11.95 | 16.41 | 10.93 | 969.741 | 83.0858 | 72.8613
2020-05-11 07:30:00 | 10.17 | 7.621 | 11.5 | 25.76 | 10.27 | 24.2402 | 9.91 | 9.02 | 11.13 | 969.51 | 84.9633 | 69.0397
2020-05-11 07:45:00 | 9.66 | 7.932 | 10.73 | 27 | 9.27 | 25.407 | 8.87 | 9.11 | 11.2 | 970.131 | 80.2185 | 68.9007
2020-05-11 08:00:00 | 8.91 | 9.12 | 10.48 | 26.58 | 9.28 | 25.0118 | 9.14 | 10.7 | 11.84 | 970.546 | 72.299 | 50.6859
2020-05-11 08:15:00 | 9.14 | 9.82 | 10.37 | 26.33 | 9.28 | 24.7765 | 8.89 | 13.15 | 12.07 | 970.692 | 68.8855 | 38.0411
2020-05-11 08:30:00 | 7.075 | 13.45 | 9.25 | 30.51 | 8.27 | 28.7099 | 7.747 | 15.12 | 12.16 | 970.692 | 67.3152 | 25.3097
2020-05-11 08:45:00 | 6.414 | 8.03 | 6.754 | 22.95 | 6.617 | 21.5959 | 6.797 | 4.129 | 12.23 | 971.583 | 68.6124 | 19.0987
2020-05-11 09:00:00 | 4.555 | 339.9 | 5.11 | 353.2 | 5.699 | 332.361 | 5.852 | 345.4 | 11.98 | 971.286 | 80.867 | 12.7103
2020-05-11 09:15:00 | 4.119 | 349.3 | 4.87 | 9.78 | 6.683 | 9.203 | 6.904 | 347.3 | 11.65 | 970.692 | 74.6885 | 6.0743
2020-05-11 09:30:00 | 2.573 | 13.13 | 3.188 | 28.97 | 3.644 | 27.2608 | 3.59 | 8.86 | 11.6 | 970.847 | 69.7047 | 1.005
2020-05-11 09:45:00 | 1.76 | 4.242 | 2.436 | 25.78 | 2.95 | 24.259 | 2.989 | 358.1 | 11.82 | 970.249 | 73.5279 | -0.56531
2020-05-11 10:00:00 | 3.422 | 49.97 | 4.031 | 72.46 | 3.324 | 68.1849 | 3.157 | 52.47 | 11.91 | 969.668 | 67.8614 | 0.29559
2020-05-11 10:15:00 | 1.575 | 70.51 | 3.896 | 87.5 | 4.646 | 82.3375 | 4.596 | 71.23 | 11.97 | 969.209 | 72.2308 | 4.6444
2020-05-11 10:30:00 | 0.327 | 74.97 | 1.406 | 107.3 | 2.027 | 100.969 | 1.823 | 87.2 | 12.27 | 969.356 | 68.5441 | 4.3341
2020-05-11 10:45:00 | 1.067 | 97.2 | 2.145 | 116.2 | 2.195 | 109.344 | 2.112 | 94.3 | 12.98 | 969.95 | 64.4479 | 5.6346
2020-05-11 11:00:00 | 2.832 | 144.4 | 2.311 | 166.7 | 1.496 | 156.865 | 1.235 | 135.5 | 13.3 | 970.098 | 62.5938 | 4.2823
2020-05-11 11:15:00 | 2.88 | 147.9 | 2.078 | 165.9 | 1.08 | 156.112 | 0.754 | 174.3 | 14.41 | 970.138 | 52.7561 | 4.5705
2020-05-11 11:30:00 | 3.769 | 146.6 | 3.686 | 163 | 3.24 | 153.383 | 3.142 | 154.7 | 14.71 | 970.099 | 58.8118 | 3.4399
2020-05-11 11:45:00 | 4.798 | 189 | 4.435 | 205.7 | 3.728 | 193.564 | 3.496 | 189.3 | 15.32 | 969.802 | 52.3282 | 2.8081
2020-05-11 12:00:00 | 4.642 | 204 | 4.614 | 208.7 | 3.988 | 196.387 | 3.924 | 208.8 | 15.37 | 969.772 | 52.3282 | 3.8981
2020-05-11 12:15:00 | 5.378 | 191.7 | 4.867 | 207 | 4.191 | 194.787 | 4.105 | 185.9 | 15.5 | 969.653 | 52.2258 | 4.6296
2020-05-11 12:30:00 | 5.053 | 172.3 | 4.729 | 186.6 | 4.061 | 175.591 | 3.921 | 176.6 | 15.51 | 969.356 | 51.5095 | 6.2406
2020-05-11 12:45:00 | 5.541 | 181.6 | 5.246 | 196.4 | 4.997 | 184.812 | 5.052 | 186.9 | 15.76 | 969.208 | 53.7977 | 6.9906
2020-05-11 13:00:00 | 6.189 | 183.1 | 5.849 | 191.7 | 5.386 | 180.39 | 5.437 | 188.5 | 15.81 | 968.614 | 54.3417 | 11.2249
2020-05-11 13:15:00 | 4.67 | 187.5 | 4.515 | 203.4 | 4.244 | 191.399 | 4.176 | 193.6 | 16.27 | 968.614 | 51.1351 | 17.3916
2020-05-11 13:30:00 | 7.64 | 186.3 | 7.534 | 198 | 6.602 | 186.318 | 6.662 | 195.3 | 16.81 | 968.614 | 40.7304 | 18.7661
2020-05-11 13:45:00 | 7.009 | 202.7 | 6.941 | 210.4 | 5.92 | 197.986 | 5.718 | 224.4 | 17.85 | 968.911 | 41.3441 | 20.6579
2020-05-11 14:00:00 | 7.336 | 203.8 | 7.089 | 201.5 | 6.783 | 189.611 | 6.702 | 216.5 | 17.78 | 969.06 | 41.344 | 31.0794
2020-05-11 14:15:00 | 6.368 | 224.8 | 6.043 | 241.1 | 5.936 | 226.875 | 5.979 | 228.4 | 18.21 | 968.763 | 42.7767 | 31.6633
2020-05-11 14:30:00 | 7.77 | 246 | 7.774 | 259.9 | 7.556 | 244.566 | 7.576 | 245.1 | 18.99 | 968.624 | 43.1854 | 28.2825
2020-05-11 14:45:00 | 7.724 | 233.4 | 7.519 | 247.9 | 7.111 | 233.274 | 7.074 | 236.4 | 19.13 | 968.319 | 41.0642 | 34.3908
2020-05-11 15:00:00 | 7.732 | 209.6 | 8.11 | 216.2 | 8.2 | 203.444 | 8.33 | 222.2 | 19.28 | 967.874 | 41.2652 | 39.9893
2020-05-11 15:15:00 | 7.765 | 225 | 8.08 | 234.3 | 9.44 | 220.476 | 9.51 | 230.1 | 19.56 | 967.471 | 37.1356 | 38.665
2020-05-11 15:30:00 | 9.5 | 211.2 | 9.04 | 215.6 | 8.82 | 202.88 | 8.71 | 221 | 19.75 | 967.442 | 36.4194 | 40.0231
2020-05-11 15:45:00 | 8.24 | 222.7 | 8.18 | 235.6 | 7.991 | 221.7 | 8.08 | 224.2 | 20.03 | 968.023 | 33.7596 | 45.0539
2020-05-11 16:00:00 | 9.22 | 221.1 | 9.06 | 234.5 | 9.43 | 220.664 | 9.62 | 222.2 | 20.22 | 967.875 | 26.9705 | 49.4244
2020-05-11 16:15:00 | 9.35 | 208.1 | 9.51 | 212.1 | 9.97 | 199.586 | 10 | 217.3 | 20.53 | 967.43 | 29.6284 | 51.7933
2020-05-11 16:30:00 | 9.55 | 214.6 | 8.72 | 209.4 | 9.5 | 197.045 | 9.77 | 222 | 20.14 | 967.282 | 29.1174 | 53.6918
2020-05-11 16:45:00 | 9.04 | 228.2 | 9.04 | 241.6 | 9.33 | 227.346 | 9.47 | 232.1 | 20.49 | 966.837 | 26.8327 | 45.8429
2020-05-11 17:00:00 | 7.397 | 223.1 | 7.606 | 233.6 | 7.535 | 219.818 | 7.584 | 227 | 20.24 | 967.133 | 29.117 | 31.3618
2020-05-11 17:15:00 | 7.453 | 203.5 | 7.051 | 205.9 | 6.683 | 193.752 | 6.85 | 212.5 | 20.61 | 966.837 | 29.4579 | 37.6526
2020-05-11 17:30:00 | 7.489 | 223 | 7.918 | 224.9 | 8.54 | 211.631 | 8.6 | 226.9 | 20.59 | 966.243 | 29.1851 | 35.888
2020-05-11 17:45:00 | 9.47 | 198.1 | 8.5 | 207.4 | 8.37 | 195.163 | 8.55 | 206.4 | 20.43 | 966.243 | 29.595 | 33.8189
2020-05-11 18:00:00 | 9.29 | 191.8 | 8.79 | 201.9 | 8.18 | 189.988 | 8.29 | 197.7 | 20.48 | 965.947 | 31.0313 | 23.6248
2020-05-11 18:15:00 | 8.12 | 194.8 | 7.741 | 208 | 7.355 | 195.728 | 7.421 | 198.6 | 20.37 | 965.798 | 31.5771 | 21.6296
2020-05-11 18:30:00 | 8.94 | 192.3 | 8.51 | 203.1 | 7.922 | 191.117 | 8.02 | 197.6 | 20.26 | 965.353 | 32.0546 | 25.7272
2020-05-11 18:45:00 | 9.25 | 188.2 | 8.97 | 198.9 | 8.61 | 187.165 | 8.73 | 193.8 | 20.02 | 965.345 | 33.1802 | 27.7889
2020-05-11 19:00:00 | 9.03 | 174.3 | 9 | 187.2 | 8.73 | 176.155 | 8.74 | 180.6 | 19.62 | 965.053 | 36.5959 | 33.6046
2020-05-11 19:15:00 | 11.21 | 177.1 | 11.12 | 188.6 | 10.78 | 177.473 | 10.89 | 183.1 | 19.33 | 964.609 | 38.4038 | 47.6857
2020-05-11 19:30:00 | 10.85 | 174.6 | 10.53 | 190.2 | 10.08 | 178.978 | 10.11 | 179.3 | 19.07 | 964.176 | 40.6616 | 54.159
2020-05-11 19:45:00 | 11.03 | 175.4 | 11.24 | 189 | 10.71 | 177.849 | 10.87 | 179.5 | 18.94 | 964.105 | 41.958 | 57.6026
2020-05-11 20:00:00 | 9.32 | 167.3 | 9.29 | 181 | 9.36 | 170.321 | 9.47 | 172.7 | 18.46 | 964.012 | 45.7786 | 54.7428
2020-05-11 20:15:00 | 9.83 | 167.7 | 9.74 | 182.6 | 9.92 | 171.827 | 10.06 | 173.3 | 18.06 | 963.864 | 46.9043 | 63.2447
2020-05-11 20:30:00 | 10.48 | 169 | 10.49 | 184 | 10.63 | 173.144 | 10.9 | 174.5 | 18.01 | 963.864 | 47.1432 | 63.592
2020-05-11 20:45:00 | 10.09 | 169.3 | 10.14 | 180.9 | 9.8 | 170.227 | 9.93 | 175.5 | 17.6 | 963.716 | 47.8263 | 61.9773
2020-05-11 21:00:00 | 10.35 | 167.5 | 10.28 | 178.2 | 10.03 | 167.686 | 10.13 | 175.2 | 17.66 | 963.419 | 46.19 | 59.0806
2020-05-11 21:15:00 | 9.51 | 169.5 | 9.14 | 179.6 | 9.05 | 169.004 | 9.23 | 178.4 | 17.64 | 963.419 | 45.8514 | 58.3342
2020-05-11 21:30:00 | 10.51 | 164.4 | 10.1 | 176.3 | 9.72 | 165.898 | 9.86 | 174.6 | 17.37 | 962.974 | 47.8998 | 55.5816
2020-05-11 21:45:00 | 9.76 | 165.2 | 9.85 | 177.4 | 9.24 | 166.933 | 9.26 | 177.4 | 17.29 | 963.122 | 48.1768 | 53.4533
2020-05-11 22:00:00 | 9.36 | 167.7 | 9.15 | 178.3 | 8.96 | 167.78 | 9.03 | 177.5 | 17.19 | 963.122 | 48.0431 | 49.5183
2020-05-11 22:15:00 | 9.68 | 166.3 | 9.89 | 175.7 | 9.77 | 165.334 | 9.82 | 176.7 | 17.09 | 962.825 | 48.387 | 52.8104
2020-05-11 22:30:00 | 8.84 | 163 | 9.32 | 175.5 | 9.43 | 165.145 | 9.47 | 175.4 | 16.84 | 962.677 | 46.8179 | 51.484
2020-05-11 22:45:00 | 8.67 | 175.3 | 9.2 | 184 | 9.11 | 173.144 | 9.35 | 185.8 | 17.03 | 962.677 | 42.6207 | 51.6687
2020-05-11 23:00:00 | 9.09 | 180.1 | 9.06 | 186.4 | 8.77 | 175.402 | 9.09 | 190.1 | 17.6 | 962.529 | 38.7647 | 50.9297
2020-05-11 23:15:00 | 8.12 | 185.3 | 8.68 | 194.2 | 9.76 | 182.742 | 10 | 194.2 | 18.04 | 962.677 | 39.0377 | 48.2288
2020-05-11 23:30:00 | 8.01 | 188.9 | 8.74 | 199.7 | 9.42 | 187.918 | 9.55 | 196.4 | 18.34 | 962.825 | 34.9387 | 47.5046
2020-05-11 23:45:00 | 8.29 | 190 | 8.79 | 199.7 | 9.09 | 187.918 | 9.29 | 195.4 | 18.63 | 962.529 | 32.9535 | 47.6561