## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-12 00:00:00 | 8.09 | 188.6 | 8.27 | 199.7 | 8.99 | 187.918 | 9.22 | 195.8 | 18.79 | 962.083 | 31.8625 | 50.2277
2020-05-12 00:15:00 | 8.99 | 188.1 | 9.02 | 198.1 | 9.31 | 186.412 | 9.47 | 195.7 | 19.04 | 962.38 | 32.5433 | 45.0513
2020-05-12 00:30:00 | 8.39 | 192.3 | 8.31 | 202.6 | 8.13 | 190.647 | 8.43 | 199.9 | 18.83 | 962.38 | 32.9524 | 43.0523
2020-05-12 00:45:00 | 7.601 | 194.7 | 7.815 | 207.5 | 7.724 | 195.257 | 7.869 | 201.6 | 18.62 | 962.38 | 33.4982 | 42.5601
2020-05-12 01:00:00 | 7.961 | 198 | 8.38 | 208 | 9.17 | 195.728 | 9.54 | 208.1 | 18.63 | 962.083 | 31.9973 | 42.5683
2020-05-12 01:15:00 | 8.28 | 201.7 | 8.49 | 208.7 | 8.41 | 196.387 | 8.71 | 207.8 | 18.67 | 962.38 | 31.9291 | 43.3721
2020-05-12 01:30:00 | 7.413 | 196.8 | 7.792 | 206.3 | 8.18 | 194.128 | 8.36 | 206 | 18.44 | 962.232 | 33.3618 | 41.2197
2020-05-12 01:45:00 | 7.647 | 203.1 | 8.32 | 210.7 | 8.63 | 198.269 | 8.8 | 211.2 | 18.76 | 962.38 | 32.4072 | 40.3071
2020-05-12 02:00:00 | 7.698 | 212.6 | 8.14 | 218 | 8.72 | 205.138 | 8.94 | 220 | 18.76 | 962.529 | 30.701 | 35.707
2020-05-12 02:15:00 | 7.341 | 220.8 | 7.56 | 224.4 | 8.61 | 211.16 | 8.88 | 227.1 | 18.7 | 962.677 | 30.8034 | 34.4323
2020-05-12 02:30:00 | 7.923 | 213.9 | 8.12 | 220.3 | 8.64 | 207.302 | 8.89 | 220.8 | 19.01 | 962.529 | 30.6328 | 29.8322
2020-05-12 02:45:00 | 7.576 | 214.9 | 8.13 | 221.1 | 9.38 | 208.055 | 9.77 | 224 | 18.86 | 962.825 | 31.5879 | 35.5998
2020-05-12 03:00:00 | 7.101 | 219.1 | 7.24 | 220.9 | 8.7 | 207.867 | 9.15 | 226.2 | 18.52 | 962.677 | 31.1786 | 32.3595
2020-05-12 03:15:00 | 6.631 | 221.5 | 7 | 229.9 | 8.01 | 216.336 | 8.51 | 230.4 | 18.65 | 962.529 | 27.0851 | 31.0219
2020-05-12 03:30:00 | 5.273 | 236.2 | 6.332 | 235.4 | 7.881 | 221.511 | 8.05 | 244.7 | 18.75 | 963.271 | 29.3365 | 22.9117
2020-05-12 03:45:00 | 3.603 | 240 | 4.261 | 247.8 | 5.43 | 233.18 | 5.467 | 248.7 | 19.14 | 964.161 | 27.4604 | 12.7103
2020-05-12 04:00:00 | 4.844 | 323.9 | 4.998 | 337.2 | 4.717 | 317.305 | 4.945 | 319.5 | 19.09 | 964.458 | 36.5001 | 7.8294
2020-05-12 04:15:00 | 3.161 | 328.7 | 3.507 | 347.1 | 4.214 | 326.621 | 4.645 | 320.4 | 16.79 | 964.013 | 41.0036 | 10.97
2020-05-12 04:30:00 | 4.088 | 334.8 | 5.297 | 355.1 | 4.448 | 334.149 | 4.393 | 332.4 | 16.42 | 963.864 | 38.9595 | 10.9589
2020-05-12 04:45:00 | 4.872 | 339.4 | 6.161 | 359.4 | 6.297 | 338.195 | 6.213 | 337.7 | 16.84 | 964.161 | 42.5826 | 18.3819
2020-05-12 05:00:00 | 4.433 | 357.4 | 5.105 | 13.77 | 7.062 | 12.9576 | 7.321 | 353.7 | 16.22 | 964.161 | 45.0433 | 22.2282
2020-05-12 05:15:00 | 5.51 | 10.21 | 7.053 | 27.5 | 6.719 | 25.8775 | 6.137 | 11.95 | 15.91 | 964.013 | 46.6814 | 25.3503
2020-05-12 05:30:00 | 6.792 | 14.5 | 8.85 | 31.15 | 9.23 | 29.3121 | 8.43 | 18.8 | 15.64 | 963.864 | 48.1829 | 31.7978
2020-05-12 05:45:00 | 6.207 | 18.18 | 10.31 | 32.5 | 10.79 | 30.5825 | 10.55 | 25.09 | 15.93 | 964.161 | 48.2511 | 28.6166
2020-05-12 06:00:00 | 6.687 | 19.76 | 10.08 | 33.47 | 10.12 | 31.4953 | 9.94 | 25.33 | 15.88 | 964.458 | 46.6473 | 30.3753
2020-05-12 06:15:00 | 4.972 | 26.92 | 8.42 | 39.4 | 8.76 | 37.0754 | 8.74 | 32.23 | 15.91 | 965.2 | 46.9544 | 32.6477
2020-05-12 06:30:00 | 5.303 | 27.38 | 8.43 | 41.75 | 8.84 | 39.2868 | 8.84 | 34.16 | 16.56 | 965.497 | 39.8567 | 27.9515
2020-05-12 06:45:00 | 5.125 | 26 | 8.46 | 37.44 | 8.5 | 35.231 | 8.38 | 32.15 | 17.13 | 965.794 | 38.0822 | 24.2604
2020-05-12 07:00:00 | 6.69 | 22.28 | 10.34 | 36.48 | 10.66 | 34.3277 | 10.32 | 29.33 | 16.85 | 966.091 | 39.31 | 27.8037
2020-05-12 07:15:00 | 4.186 | 25.05 | 8.12 | 37.3 | 7.846 | 35.0993 | 7.68 | 32.25 | 16.92 | 966.239 | 36.3023 | 33.043
2020-05-12 07:30:00 | 5.135 | 31.23 | 8.41 | 47.54 | 8.69 | 44.7351 | 8.59 | 35.4 | 17.19 | 966.536 | 33.0903 | 17.085
2020-05-12 07:45:00 | 4.404 | 15.46 | 8.07 | 30.04 | 8.13 | 28.2676 | 7.645 | 22.82 | 17.47 | 966.833 | 32.9535 | 14.6944
2020-05-12 08:00:00 | 6.542 | 14.56 | 10.49 | 30.38 | 10.01 | 28.5876 | 9.19 | 21.18 | 17.52 | 966.833 | 32.1337 | 16.8337
2020-05-12 08:15:00 | 4.993 | 22.19 | 9.73 | 35.49 | 9.62 | 33.3961 | 9.31 | 27.54 | 17.66 | 967.427 | 32.3384 | 23.7431
2020-05-12 08:30:00 | 6.601 | 22.35 | 11.78 | 34.88 | 11.44 | 32.8221 | 11.23 | 28.29 | 17.86 | 966.715 | 27.6309 | 43.6361
2020-05-12 08:45:00 | 6.996 | 20.12 | 10.83 | 35.04 | 10.74 | 32.9726 | 10.38 | 24.83 | 17.95 | 967.326 | 26.5393 | 50.7709
2020-05-12 09:00:00 | 7.653 | 15.28 | 11.45 | 31.93 | 10.94 | 30.0461 | 10.24 | 18.61 | 18.04 | 967.578 | 25.3786 | 54.283
2020-05-12 09:15:00 | 6.521 | 23.64 | 12.12 | 38.83 | 12 | 36.539 | 11.55 | 28.52 | 18.15 | 967.577 | 20.8735 | 56.4532
2020-05-12 09:30:00 | 6.417 | 26.59 | 10.91 | 43.31 | 10.89 | 40.7547 | 10.49 | 28.76 | 18.11 | 968.319 | 22.7149 | 51.4277
2020-05-12 09:45:00 | 7.236 | 25.94 | 11.66 | 42.28 | 11.74 | 39.7855 | 11.44 | 30.52 | 18.37 | 968.022 | 20.6685 | 40.9721
2020-05-12 10:00:00 | 6.368 | 27.04 | 10.77 | 41.62 | 10.5 | 39.1644 | 10.22 | 30.86 | 18.54 | 968.467 | 19.3725 | 46.0008
2020-05-12 10:15:00 | 5.342 | 28.03 | 9.66 | 40.69 | 9.51 | 38.2893 | 9.23 | 30.01 | 18.99 | 968.913 | 19.5089 | 41.5633
2020-05-12 10:30:00 | 5.554 | 25.78 | 9.45 | 40.03 | 9.59 | 37.6682 | 9.23 | 30.66 | 19.47 | 969.474 | 21.0405 | 42.0104
2020-05-12 10:45:00 | 6.008 | 32.35 | 10.73 | 48.32 | 10.85 | 45.4691 | 10.69 | 34.42 | 19.59 | 969.211 | 18.7212 | 39.6568
2020-05-12 11:00:00 | 5.937 | 33.24 | 9.98 | 43.56 | 9.81 | 40.99 | 9.66 | 38.01 | 19.62 | 969.21 | 19.4373 | 44.7741
2020-05-12 11:15:00 | 4.757 | 28.74 | 10.11 | 42.21 | 10.95 | 39.7196 | 10.61 | 31.64 | 20.02 | 969.21 | 18.2772 | 43.8911
2020-05-12 11:30:00 | 5.561 | 45.95 | 8.72 | 37.78 | 8.38 | 35.551 | 8.06 | 27.85 | 19.86 | 969.507 | 18.4805 | 40.2627
2020-05-12 11:45:00 | 5.365 | 34.93 | 9.72 | 44.68 | 9.83 | 42.0439 | 9.63 | 33.4 | 20.27 | 969.952 | 19.2638 | 26.1041
2020-05-12 12:00:00 | 5.829 | 35.41 | 9.55 | 50.84 | 9.34 | 47.8404 | 9.19 | 38.87 | 20.57 | 969.803 | 18.8885 | 21.1456
2020-05-12 12:15:00 | 3.588 | 32.75 | 6.027 | 41.9 | 6.305 | 39.4279 | 6.033 | 28.23 | 20.74 | 969.952 | 17.5247 | 23.8724
2020-05-12 12:30:00 | 3.766 | 33.21 | 7.447 | 40.72 | 7.637 | 38.3175 | 7.446 | 33.35 | 20.88 | 969.803 | 19.5021 | 14.5134
2020-05-12 12:45:00 | 4.394 | 40.04 | 6.384 | 53.44 | 6.373 | 50.287 | 6.272 | 42.63 | 20.81 | 970.248 | 17.9678 | 15.1267
2020-05-12 13:00:00 | 4.094 | 24.6 | 6.251 | 43.48 | 5.948 | 40.9147 | 5.661 | 20.05 | 21.06 | 969.952 | 16.7064 | 12.0674
2020-05-12 13:15:00 | 3.68 | 33.34 | 6.432 | 48.44 | 6.383 | 45.582 | 6.219 | 37.74 | 21.14 | 969.803 | 17.252 | 7.3564
2020-05-12 13:30:00 | 2.783 | 20.16 | 5.445 | 30.97 | 5.445 | 29.1428 | 5.101 | 25.35 | 21.6 | 970.1 | 19.0249 | 6.3773
2020-05-12 13:45:00 | 2.999 | 27.23 | 5.412 | 40.36 | 5.061 | 37.9788 | 4.719 | 29.47 | 21.46 | 970.397 | 17.9674 | 4.6851
2020-05-12 14:00:00 | 3.215 | 12.33 | 4.192 | 24.7 | 3.52 | 23.2427 | 3.292 | 19.28 | 21.98 | 970.397 | 18.9196 | 1.175
2020-05-12 14:15:00 | 2.058 | 85.6 | 2.453 | 110.4 | 2.699 | 103.886 | 2.587 | 87.2 | 22.41 | 970.99 | 19.4989 | 0.31406
2020-05-12 14:30:00 | 2.334 | 87.1 | 2.794 | 105.1 | 2.879 | 98.8991 | 2.803 | 93.9 | 22.76 | 971.405 | 17.5542 | -0.014779
2020-05-12 14:45:00 | 1.703 | 81.4 | 1.903 | 91.9 | 1.895 | 86.4779 | 1.557 | 88.5 | 22.42 | 971.589 | 16.2577 | -0.048033
2020-05-12 15:00:00 | 1.914 | 125.6 | 1.61 | 146.7 | 1.121 | 138.045 | 0.889 | 118.3 | 22.59 | 971.584 | 18.2004 | -0.029559
2020-05-12 15:15:00 | 0.655 | 23.31 | 1.252 | 32.01 | 0.975 | 30.1214 | 0.772 | 23.98 | 23.75 | 971.732 | 18.1318 | 0.19583
2020-05-12 15:30:00 | 1.379 | 22.66 | 2.367 | 31.56 | 2.456 | 29.698 | 2.337 | 25.83 | 22.78 | 970.932 | 20.0394 | 0.014779
2020-05-12 15:45:00 | 1.01 | 50.82 | 2.19 | 55.37 | 2.588 | 52.1032 | 2.425 | 63.58 | 22.75 | 971.067 | 19.4265 | -0.31037
2020-05-12 16:00:00 | 2.236 | 74.25 | 2.345 | 92.8 | 1.672 | 87.3248 | 1.324 | 120.4 | 22.87 | 970.543 | 23.4487 | -0.27342
2020-05-12 16:15:00 | 2.385 | 271.8 | 1.998 | 278.5 | 1.274 | 262.068 | 1.003 | 261.6 | 21.92 | 970.249 | 30.741 | -0.26972
2020-05-12 16:30:00 | 2.957 | 188.1 | 2.917 | 216.5 | 2.871 | 203.727 | 2.961 | 187.9 | 22.13 | 970.1 | 20.7226 | -0.23278
2020-05-12 16:45:00 | 3.33 | 192.6 | 3.244 | 204.2 | 2.815 | 192.152 | 2.74 | 202.2 | 22.44 | 969.708 | 19.1547 | -0.26972
2020-05-12 17:00:00 | 2.99 | 142.7 | 2.906 | 153.3 | 2.426 | 144.255 | 2.289 | 146 | 22.15 | 969.644 | 20.8619 | -0.26972
2020-05-12 17:15:00 | 1.141 | 125.8 | 1.222 | 156.1 | 0.968 | 146.89 | 0.77 | 131.2 | 22.2 | 969.358 | 29.8619 | -0.26972
2020-05-12 17:30:00 | 1.108 | 112.8 | 1.631 | 146.9 | 1.93 | 138.233 | 1.902 | 120 | 22.33 | 969.18 | 24.8168 | -0.26972
2020-05-12 17:45:00 | 2.645 | 142.7 | 2.998 | 156.7 | 2.785 | 147.455 | 2.648 | 145.6 | 22 | 969.062 | 21.9535 | -0.26972
2020-05-12 18:00:00 | 3.651 | 151.4 | 3.786 | 169.3 | 3.97 | 159.311 | 3.947 | 156.4 | 21.86 | 968.468 | 21.0022 | -0.15888
2020-05-12 18:15:00 | 4.315 | 154.1 | 4.297 | 169.8 | 4.242 | 159.782 | 4.12 | 158.3 | 21.68 | 968.32 | 22.5026 | 4.1161
2020-05-12 18:30:00 | 5.204 | 154.5 | 5.586 | 171.9 | 5.285 | 161.758 | 5.23 | 162.3 | 21.17 | 968.023 | 33.213 | 9.1484
2020-05-12 18:45:00 | 6.302 | 152.4 | 6.36 | 168.9 | 6.345 | 158.935 | 6.361 | 155.4 | 20.73 | 968.023 | 33.1458 | 14.4838
2020-05-12 19:00:00 | 6.358 | 147.6 | 6.741 | 164.7 | 6.869 | 154.983 | 6.873 | 152.6 | 20.54 | 968.452 | 32.8757 | 27.534
2020-05-12 19:15:00 | 7.224 | 146 | 8.01 | 162.9 | 8.37 | 153.289 | 8.25 | 151.5 | 20.24 | 967.874 | 31.6507 | 45.6646
2020-05-12 19:30:00 | 7.727 | 143.7 | 8.24 | 162.4 | 9.3 | 152.818 | 9.33 | 149.1 | 20.27 | 968.022 | 29.1951 | 44.4712
2020-05-12 19:45:00 | 6.851 | 145 | 6.823 | 168.6 | 6.889 | 158.653 | 6.893 | 150.3 | 20.41 | 968.17 | 28.1039 | 44.7594
2020-05-12 20:00:00 | 7.17 | 148.6 | 7.424 | 165.6 | 8 | 155.83 | 8.03 | 154.6 | 20.27 | 968.17 | 30.426 | 51.7722
2020-05-12 20:15:00 | 8.06 | 143.9 | 8.22 | 162.5 | 9.26 | 152.912 | 9.32 | 149.2 | 20.03 | 968.467 | 32.3369 | 51.6835
2020-05-12 20:30:00 | 7.282 | 147.4 | 7.473 | 165 | 8.01 | 155.265 | 8.17 | 151.1 | 20.03 | 968.349 | 33.0884 | 53.3055
2020-05-12 20:45:00 | 8.14 | 143.3 | 8.2 | 161.7 | 8.85 | 152.16 | 8.87 | 149.3 | 20.06 | 968.479 | 32.1337 | 61.0573
2020-05-12 21:00:00 | 9.87 | 141.9 | 10.53 | 157.5 | 11.08 | 148.208 | 11.05 | 148.4 | 20.54 | 968.495 | 29.4047 | 60.8541
2020-05-12 21:15:00 | 8.3 | 142.8 | 9.05 | 159.9 | 10.02 | 150.466 | 10.14 | 147.7 | 20.25 | 968.322 | 29.9504 | 69.2008
2020-05-12 21:30:00 | 9.45 | 141.5 | 9.83 | 158.4 | 10.5 | 149.054 | 10.44 | 146.5 | 20.23 | 968.321 | 27.2208 | 76.1048
2020-05-12 21:45:00 | 10.81 | 141.7 | 11.23 | 158.8 | 11.87 | 149.431 | 11.73 | 146 | 20.43 | 968.319 | 25.5159 | 79.2397
2020-05-12 22:00:00 | 10.52 | 141.9 | 10.71 | 160 | 10.63 | 150.56 | 10.4 | 145.1 | 20.89 | 968.32 | 24.424 | 80.8137
2020-05-12 22:15:00 | 10.05 | 140.8 | 10.24 | 160 | 10.4 | 150.56 | 10.36 | 147.4 | 20.86 | 968.319 | 23.1252 | 81.1277
2020-05-12 22:30:00 | 10 | 138.2 | 10.36 | 152.5 | 10.57 | 143.503 | 10.46 | 143.8 | 21.12 | 968.616 | 22.7151 | 83.7732
2020-05-12 22:45:00 | 11.4 | 137.8 | 11.7 | 153.6 | 11.56 | 144.538 | 11.41 | 143.1 | 21.07 | 968.616 | 23.8746 | 86.6035
2020-05-12 23:00:00 | 11.65 | 139.3 | 11.83 | 155.4 | 11.99 | 146.231 | 11.83 | 143.4 | 21 | 968.616 | 24.4543 | 84.2942
2020-05-12 23:15:00 | 10.41 | 142.4 | 10.72 | 157.6 | 10.86 | 148.302 | 10.78 | 147.2 | 20.82 | 968.319 | 24.5225 | 84.8004
2020-05-12 23:30:00 | 10 | 143 | 10.66 | 158.7 | 11.83 | 149.337 | 11.79 | 147.8 | 20.78 | 968.467 | 24.6248 | 86.8436
2020-05-12 23:45:00 | 11.73 | 143 | 12 | 159.2 | 12.26 | 149.807 | 12.05 | 148.3 | 20.88 | 968.467 | 25.0341 | 83.9727