## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-13 00:00:00 | 10.68 | 138.8 | 11.03 | 158 | 11.07 | 148.678 | 11.04 | 143.1 | 20.7 | 968.319 | 25.648 | 82.2103
2020-05-13 00:15:00 | 9.63 | 141.2 | 10.19 | 157.5 | 11.17 | 148.208 | 11.29 | 145.2 | 20.63 | 968.467 | 25.1023 | 85.1108
2020-05-13 00:30:00 | 9.67 | 140.4 | 9.44 | 159.1 | 10.25 | 149.713 | 10.38 | 143.6 | 20.78 | 968.319 | 25.7845 | 84.8078
2020-05-13 00:45:00 | 10.52 | 140.7 | 11.29 | 159.2 | 11.78 | 149.807 | 11.7 | 145.3 | 20.58 | 968.467 | 26.3989 | 85.6428
2020-05-13 01:00:00 | 10.31 | 138.4 | 10.39 | 154.9 | 10.4 | 145.761 | 10.38 | 143.4 | 20.5 | 968.319 | 27.0467 | 86.9877
2020-05-13 01:15:00 | 10.59 | 137.6 | 10.65 | 156.6 | 10.99 | 147.361 | 10.92 | 142.5 | 20.31 | 968.324 | 29.5375 | 88.8204
2020-05-13 01:30:00 | 10.24 | 136.7 | 10.74 | 153.1 | 11.73 | 144.067 | 11.74 | 142.5 | 20.3 | 968.467 | 33.632 | 88.0629
2020-05-13 01:45:00 | 12.22 | 137.7 | 12.41 | 155.2 | 12.33 | 146.043 | 12.09 | 141.7 | 20.13 | 968.178 | 35.5434 | 87.6861
2020-05-13 02:00:00 | 10.66 | 137.3 | 11.04 | 152.6 | 11.11 | 143.597 | 10.98 | 143.5 | 19.86 | 968.212 | 37.1141 | 86.9804
2020-05-13 02:15:00 | 11.19 | 136.8 | 11.59 | 153.5 | 11.97 | 144.443 | 11.91 | 143 | 19.65 | 967.792 | 39.0244 | 86.6589
2020-05-13 02:30:00 | 10.69 | 136.9 | 10.88 | 153.4 | 11.58 | 144.349 | 11.6 | 143.6 | 19.27 | 967.861 | 39.9113 | 86.851
2020-05-13 02:45:00 | 10.71 | 139.5 | 10.97 | 154.6 | 11.44 | 145.479 | 11.34 | 144.6 | 19.19 | 967.98 | 40.5935 | 86.537
2020-05-13 03:00:00 | 11.3 | 140.5 | 11.94 | 158.2 | 12.24 | 148.866 | 12.23 | 145 | 19.18 | 968.169 | 41.0711 | 88.6578
2020-05-13 03:15:00 | 11.51 | 140 | 11.94 | 157.2 | 12.18 | 147.925 | 12.07 | 144 | 18.84 | 968.021 | 42.4356 | 86.5518
2020-05-13 03:30:00 | 11.57 | 140 | 11.44 | 158.3 | 12.15 | 148.96 | 12.16 | 145.4 | 18.73 | 967.278 | 43.459 | 87.2464
2020-05-13 03:45:00 | 14.29 | 141.3 | 13.93 | 158.2 | 14.53 | 148.866 | 14.42 | 144.6 | 18.79 | 967.427 | 43.7319 | 88.6467
2020-05-13 04:00:00 | 12.24 | 136.4 | 12.2 | 154.9 | 12.22 | 145.761 | 12.09 | 142.8 | 18.66 | 967.427 | 44.2094 | 87.8745
2020-05-13 04:15:00 | 11.29 | 137.9 | 11.92 | 156.5 | 12.7 | 147.266 | 12.61 | 142 | 18.59 | 967.575 | 44.3459 | 89.079
2020-05-13 04:30:00 | 13.45 | 141.6 | 13.76 | 158.9 | 14.71 | 149.525 | 14.6 | 147.3 | 18.5 | 967.575 | 44.2436 | 89.9362
2020-05-13 04:45:00 | 14.37 | 142.1 | 14.73 | 157.9 | 15.94 | 148.584 | 15.83 | 146.8 | 18.44 | 967.575 | 44.4826 | 88.5839
2020-05-13 05:00:00 | 12.89 | 140.5 | 13.11 | 157.8 | 14.19 | 148.49 | 14.22 | 144.9 | 18.31 | 967.724 | 44.8235 | 88.2551
2020-05-13 05:15:00 | 13.8 | 139.2 | 14.23 | 157.3 | 14.92 | 148.019 | 14.8 | 144.3 | 18.15 | 967.427 | 45.5744 | 88.3511
2020-05-13 05:30:00 | 14.58 | 139.8 | 15.02 | 157.7 | 15.24 | 148.396 | 15.12 | 145.1 | 18.18 | 967.427 | 46.4619 | 85.846
2020-05-13 05:45:00 | 13.46 | 141 | 13.56 | 159.9 | 13.35 | 150.466 | 13.2 | 146.3 | 18.06 | 968.169 | 47.1433 | 86.5555
2020-05-13 06:00:00 | 11.86 | 140.6 | 12.3 | 156.5 | 12.82 | 147.266 | 12.83 | 146.2 | 18.01 | 967.724 | 47.8948 | 87.3203
2020-05-13 06:15:00 | 12.55 | 139 | 12.64 | 158.4 | 12.92 | 149.054 | 12.85 | 143.5 | 17.91 | 968.021 | 48.8146 | 87.2686
2020-05-13 06:30:00 | 12.09 | 135.9 | 12.3 | 153.6 | 12.2 | 144.538 | 12.12 | 141.9 | 17.8 | 968.021 | 49.6005 | 87.3498
2020-05-13 06:45:00 | 11.26 | 138.5 | 11.79 | 157.1 | 11.86 | 147.831 | 11.75 | 144.5 | 17.96 | 968.614 | 49.8723 | 85.9569
2020-05-13 07:00:00 | 12.42 | 139.8 | 12.38 | 156.5 | 12.45 | 147.266 | 12.46 | 144.4 | 18.13 | 968.911 | 50.3497 | 87.4422
2020-05-13 07:15:00 | 13.17 | 138.5 | 12.78 | 152.3 | 12.34 | 143.314 | 12.18 | 146.4 | 18.18 | 968.584 | 51.5095 | 87.9964
2020-05-13 07:30:00 | 11.84 | 140.3 | 12.18 | 154.7 | 12.26 | 145.573 | 12.13 | 146.3 | 18.29 | 968.341 | 51.4413 | 83.9469
2020-05-13 07:45:00 | 12.21 | 142.7 | 12.1 | 161.4 | 12.54 | 151.877 | 12.42 | 147.2 | 18.44 | 968.764 | 51.3665 | 88.4398
2020-05-13 08:00:00 | 12.99 | 142.8 | 13.48 | 159.8 | 14.29 | 150.372 | 14.12 | 148.9 | 18.57 | 968.764 | 51.5689 | 87.6713
2020-05-13 08:15:00 | 14.28 | 145.4 | 14.35 | 161.4 | 14.42 | 151.877 | 14.3 | 150.6 | 18.75 | 968.616 | 51.91 | 90.8821
2020-05-13 08:30:00 | 13.11 | 145.1 | 13.11 | 163.3 | 13.17 | 153.665 | 12.92 | 148.8 | 18.8 | 968.913 | 52.1826 | 90.121
2020-05-13 08:45:00 | 14.43 | 146.2 | 14.26 | 162.8 | 14.06 | 153.195 | 13.87 | 150.6 | 19.06 | 968.616 | 52.5887 | 89.2083
2020-05-13 09:00:00 | 14.54 | 146.3 | 14.51 | 163.7 | 14.21 | 154.042 | 13.93 | 152.1 | 19.23 | 968.997 | 52.5169 | 89.5778
2020-05-13 09:15:00 | 11.43 | 140.2 | 11.44 | 156.7 | 11.32 | 147.455 | 11.15 | 149 | 19.69 | 969.112 | 51.8329 | 90.3242
2020-05-13 09:30:00 | 10.76 | 142.1 | 10.93 | 160 | 10.82 | 150.56 | 10.62 | 147.4 | 20.04 | 969.359 | 51.5601 | 81.2028
2020-05-13 09:45:00 | 11.13 | 146 | 11.41 | 164.9 | 11.14 | 155.171 | 11.15 | 151.6 | 20.17 | 969.655 | 52.719 | 82.712
2020-05-13 10:00:00 | 10.26 | 147.3 | 10.52 | 167.8 | 10.4 | 157.9 | 10.26 | 151.8 | 20.77 | 969.21 | 51.4842 | 81.3699
2020-05-13 10:15:00 | 12.26 | 146.4 | 12.03 | 164.4 | 11.38 | 154.7 | 11.2 | 151.7 | 20.77 | 969.21 | 51.8241 | 79.502
2020-05-13 10:30:00 | 11.9 | 146.7 | 11.9 | 164.8 | 11.44 | 155.077 | 11.22 | 151.3 | 21.16 | 969.507 | 51.449 | 77.593
2020-05-13 10:45:00 | 10.79 | 148.5 | 10.88 | 164.3 | 10.59 | 154.606 | 10.36 | 153.1 | 21.72 | 969.952 | 49.7784 | 68.3325
2020-05-13 11:00:00 | 11.49 | 147.1 | 11.77 | 163.5 | 11.83 | 153.854 | 11.67 | 151.6 | 22.12 | 969.655 | 49.777 | 68.9754
2020-05-13 11:15:00 | 10.78 | 149.7 | 10.59 | 164.9 | 9.96 | 155.171 | 9.81 | 156.2 | 22.45 | 969.952 | 49.0899 | 61.6078
2020-05-13 11:30:00 | 10.8 | 148.7 | 11.02 | 163.9 | 10.62 | 154.23 | 10.4 | 154.7 | 22.57 | 969.952 | 49.4972 | 65.8516
2020-05-13 11:45:00 | 10.72 | 143.7 | 10.67 | 160.4 | 10.51 | 150.936 | 10.35 | 149.8 | 22.85 | 969.803 | 48.8836 | 54.4214
2020-05-13 12:00:00 | 11.46 | 145.7 | 11.33 | 161.9 | 10.63 | 152.348 | 10.22 | 152.8 | 23.2 | 970.248 | 46.4633 | 49.8276
2020-05-13 12:15:00 | 10.29 | 149.8 | 10.01 | 164.7 | 9.58 | 154.983 | 9.34 | 157.7 | 23.55 | 969.951 | 47.8609 | 44.9886
2020-05-13 12:30:00 | 9.54 | 154.4 | 9.26 | 168.8 | 8.64 | 158.841 | 8.48 | 161.3 | 23.81 | 969.951 | 45.8838 | 44.1999
2020-05-13 12:45:00 | 9.89 | 163.5 | 9.52 | 177.8 | 8.32 | 167.31 | 8.27 | 169.6 | 24.4 | 969.951 | 45.1679 | 51.0989
2020-05-13 13:00:00 | 10.3 | 163.7 | 9.71 | 181.2 | 9.02 | 170.509 | 8.92 | 168.5 | 24.82 | 969.949 | 46.0883 | 53.8529
2020-05-13 13:15:00 | 8.52 | 171.2 | 8.59 | 184.1 | 7.742 | 173.238 | 7.757 | 175.4 | 25.19 | 969.779 | 38.5205 | 53.9542
2020-05-13 13:30:00 | 10.35 | 180.5 | 9.54 | 196.8 | 7.82 | 185.189 | 7.769 | 177.8 | 25.55 | 969.914 | 39.3337 | 53.6009
2020-05-13 13:45:00 | 10.27 | 179.3 | 9.72 | 196.7 | 8.43 | 185.095 | 8.33 | 178.9 | 25.87 | 969.183 | 39.741 | 54.4361
2020-05-13 14:00:00 | 9.26 | 183 | 8.44 | 198.2 | 7.619 | 186.506 | 7.711 | 183.8 | 25.93 | 969.521 | 37.6619 | 56.6114
2020-05-13 14:15:00 | 10.1 | 181.3 | 9.6 | 198.2 | 8.58 | 186.506 | 8.61 | 178.6 | 26.1 | 969.508 | 35.8896 | 54.7419
2020-05-13 14:30:00 | 10.02 | 177.1 | 9.3 | 192.3 | 8.45 | 180.954 | 8.35 | 179.2 | 25.97 | 969.508 | 37.0484 | 46.6569
2020-05-13 14:45:00 | 9.04 | 181.9 | 8.29 | 195.9 | 7.864 | 184.342 | 7.856 | 185.2 | 26.23 | 969.063 | 38.2069 | 43.9227
2020-05-13 15:00:00 | 10.06 | 181.1 | 9.88 | 194.1 | 9.23 | 182.648 | 9.32 | 185.5 | 26.29 | 969.508 | 36.9784 | 42.0391
2020-05-13 15:15:00 | 8.37 | 174.4 | 8.27 | 187.5 | 7.558 | 176.438 | 7.586 | 176.1 | 26.15 | 969.656 | 42.7729 | 33.9704
2020-05-13 15:30:00 | 7.696 | 170.6 | 7.005 | 186.8 | 6.058 | 175.779 | 5.989 | 172.3 | 26.3 | 969.508 | 41.1031 | 36.361
2020-05-13 15:45:00 | 7.446 | 150.9 | 7.67 | 164.8 | 7.075 | 155.077 | 6.901 | 157.2 | 26.13 | 969.063 | 43.4205 | 33.5122
2020-05-13 16:00:00 | 7.471 | 180.4 | 7.508 | 193.9 | 6.963 | 182.46 | 6.837 | 180 | 26.24 | 968.618 | 35.5129 | 38.2406
2020-05-13 16:15:00 | 9.17 | 183.1 | 8.68 | 192.9 | 8.37 | 181.519 | 8.46 | 185.6 | 26.54 | 968.47 | 31.0151 | 40.5916
2020-05-13 16:30:00 | 8.7 | 178.4 | 8.62 | 195.2 | 8.01 | 183.683 | 8.22 | 180.2 | 26.52 | 968.618 | 29.6523 | 41.1975
2020-05-13 16:45:00 | 8.32 | 176.2 | 8.15 | 194.1 | 7.693 | 182.648 | 7.673 | 176.3 | 26.4 | 968.47 | 28.9025 | 28.938
2020-05-13 17:00:00 | 6.779 | 163.5 | 7.156 | 179.6 | 7.159 | 169.004 | 7.156 | 167.4 | 26.41 | 968.47 | 33.8787 | 23.5436
2020-05-13 17:15:00 | 8.07 | 150.1 | 8.17 | 165.9 | 8.38 | 156.112 | 8.33 | 154.4 | 25.99 | 968.321 | 42.3994 | 31.9419
2020-05-13 17:30:00 | 7.808 | 151.2 | 8.12 | 170.7 | 7.383 | 160.629 | 7.204 | 153.5 | 25.62 | 968.175 | 45.1261 | 45.1206
2020-05-13 17:45:00 | 9.41 | 150.6 | 9.98 | 165.9 | 9.85 | 156.112 | 9.8 | 154.8 | 25.31 | 967.921 | 44.5808 | 50.8078
2020-05-13 18:00:00 | 10.01 | 150.7 | 10.41 | 167.2 | 10.52 | 157.335 | 10.48 | 156 | 25.06 | 968.124 | 44.3093 | 53.1377
2020-05-13 18:15:00 | 9.1 | 150.5 | 9.21 | 167.9 | 9.23 | 157.994 | 9.23 | 154.8 | 24.93 | 968.023 | 45.1678 | 49.5774
2020-05-13 18:30:00 | 9.68 | 148.8 | 10.2 | 165.6 | 10.63 | 155.83 | 10.59 | 154.1 | 24.73 | 967.875 | 43.9066 | 56.2265
2020-05-13 18:45:00 | 10.46 | 151.6 | 10.82 | 168.3 | 10.6 | 158.37 | 10.47 | 153.1 | 24.63 | 967.43 | 43.8725 | 55.4633
2020-05-13 19:00:00 | 10.38 | 146.4 | 10.5 | 165.1 | 10.58 | 155.359 | 10.51 | 151.6 | 24.53 | 967.578 | 42.2743 | 61.7841
2020-05-13 19:15:00 | 10.78 | 147.7 | 11.09 | 164.5 | 11.34 | 154.794 | 11.35 | 151.9 | 24.44 | 967.133 | 41.0497 | 65.8569
2020-05-13 19:30:00 | 11.58 | 148.6 | 12.17 | 166.7 | 12.84 | 156.865 | 12.74 | 154.2 | 24.37 | 967.726 | 40.8455 | 69.1992
2020-05-13 19:45:00 | 12.86 | 147.9 | 13.19 | 163.4 | 13.36 | 153.759 | 13.04 | 154 | 24.32 | 966.837 | 41.8 | 71.1686
2020-05-13 20:00:00 | 10.6 | 146.6 | 10.86 | 165.8 | 11.15 | 156.018 | 11.15 | 150.3 | 24.17 | 966.837 | 42.823 | 65.9456
2020-05-13 20:15:00 | 11.23 | 146.4 | 12.01 | 162.5 | 12.61 | 152.912 | 12.56 | 151.9 | 24.09 | 966.837 | 42.2093 | 60.6345
2020-05-13 20:30:00 | 10.13 | 143.2 | 10.39 | 160.4 | 10.91 | 150.936 | 10.84 | 147.7 | 23.92 | 966.985 | 43.4367 | 57.2973
2020-05-13 20:45:00 | 8.54 | 137.9 | 8.91 | 155 | 9.09 | 145.855 | 9.03 | 144.5 | 23.78 | 966.837 | 42.2775 | 71.1073
2020-05-13 21:00:00 | 9.85 | 137.5 | 10.49 | 152.8 | 11.06 | 143.785 | 11.03 | 144.1 | 23.72 | 967.281 | 40.641 | 61.7076
2020-05-13 21:15:00 | 8.25 | 142.9 | 8.91 | 159.7 | 9.91 | 150.278 | 9.89 | 149 | 23.73 | 967.133 | 39.9591 | 51.2734
2020-05-13 21:30:00 | 7.361 | 142.4 | 8.11 | 157.4 | 9.48 | 148.113 | 9.56 | 149 | 23.85 | 967.43 | 38.834 | 41.7776
2020-05-13 21:45:00 | 8.26 | 138.3 | 8.36 | 153.2 | 9.47 | 144.161 | 9.51 | 145.6 | 23.9 | 967.578 | 39.2772 | 44.2347
2020-05-13 22:00:00 | 9.87 | 138.3 | 9.86 | 154.3 | 10.46 | 145.196 | 10.53 | 143.7 | 23.89 | 967.578 | 39.6181 | 53.9632
2020-05-13 22:15:00 | 10.27 | 138.8 | 10.54 | 155.1 | 10.6 | 145.949 | 10.57 | 144.1 | 23.62 | 967.43 | 42.3467 | 54.9793
2020-05-13 22:30:00 | 10.29 | 137.8 | 10.31 | 153.2 | 10.53 | 144.161 | 10.63 | 144.2 | 23.29 | 967.43 | 44.1883 | 55.2712
2020-05-13 22:45:00 | 9.29 | 136.8 | 9.97 | 150.8 | 10.34 | 141.903 | 10.31 | 143 | 23.08 | 967.133 | 45.0101 | 46.0895
2020-05-13 23:00:00 | 6.179 | 123.1 | 6.816 | 139.4 | 7.34 | 131.175 | 7.235 | 128.9 | 23.02 | 966.985 | 44.2946 | 35.1195
2020-05-13 23:15:00 | 5.222 | 110.8 | 5.453 | 131.8 | 5.564 | 124.024 | 5.592 | 116.1 | 23.15 | 966.837 | 45.1488 | 34.8941
2020-05-13 23:30:00 | 7.826 | 127.1 | 8.47 | 142.9 | 8.11 | 134.469 | 8.03 | 132 | 23.03 | 966.54 | 43.9215 | 36.5568
2020-05-13 23:45:00 | 8.51 | 134.9 | 9.04 | 154.5 | 9.04 | 145.384 | 8.89 | 137.5 | 22.98 | 966.985 | 43.8875 | 39.0287