## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-14 00:00:00 | 8.52 | 126.9 | 8.69 | 143 | 9.18 | 134.563 | 9.12 | 132.2 | 22.8 | 966.837 | 44.4672 | 41.6705
2020-05-14 00:15:00 | 6.731 | 139.3 | 6.826 | 156.7 | 6.999 | 147.455 | 6.944 | 144.2 | 22.45 | 966.837 | 44.9105 | 41.6335
2020-05-14 00:30:00 | 8.24 | 134.2 | 8.45 | 150.4 | 8.87 | 141.526 | 8.84 | 139 | 22.26 | 966.243 | 44.9105 | 45.1818
2020-05-14 00:45:00 | 6.327 | 132.8 | 6.286 | 147.6 | 6.48 | 138.892 | 6.463 | 141.1 | 22.09 | 966.243 | 45.6266 | 41.0202
2020-05-14 01:00:00 | 5.219 | 131.4 | 5.522 | 148.2 | 5.783 | 139.456 | 5.75 | 136.9 | 21.85 | 966.353 | 44.9787 | 41.9402
2020-05-14 01:15:00 | 6.08 | 130.3 | 6.184 | 147 | 6.834 | 138.327 | 6.769 | 132.9 | 21.92 | 966.097 | 45.1492 | 43.1299
2020-05-14 01:30:00 | 5.921 | 132.9 | 6.465 | 150.3 | 7.235 | 141.432 | 7.217 | 136.6 | 21.95 | 966.041 | 44.5016 | 35.8474
2020-05-14 01:45:00 | 7.063 | 146.4 | 6.897 | 164.9 | 7.342 | 155.171 | 7.418 | 151 | 21.84 | 965.859 | 45.8329 | 34.6613
2020-05-14 02:00:00 | 7.589 | 147.1 | 7.856 | 164.8 | 8.13 | 155.077 | 8.11 | 151.7 | 21.61 | 965.638 | 46.2094 | 31.7313
2020-05-14 02:15:00 | 5.16 | 144.8 | 5.798 | 163.4 | 6.462 | 153.759 | 6.511 | 148.6 | 21.21 | 965.499 | 48.3622 | 17.5727
2020-05-14 02:30:00 | 6.144 | 138.6 | 6.307 | 154.3 | 6.869 | 145.196 | 6.863 | 142.8 | 21.13 | 965.054 | 46.3847 | 22.9524
2020-05-14 02:45:00 | 7.76 | 138.1 | 7.958 | 151.5 | 7.782 | 142.561 | 7.647 | 145.9 | 21.48 | 965.054 | 45.0887 | 29.3925
2020-05-14 03:00:00 | 7.456 | 136.9 | 7.468 | 152 | 7.525 | 143.032 | 7.51 | 145.5 | 21.46 | 964.757 | 45.2933 | 32.3336
2020-05-14 03:15:00 | 7.91 | 141.1 | 8.28 | 156.1 | 8.86 | 146.89 | 8.84 | 146.7 | 21.36 | 964.906 | 45.6685 | 33.1945
2020-05-14 03:30:00 | 5.789 | 140 | 5.811 | 158.8 | 5.974 | 149.431 | 5.905 | 145.1 | 21.09 | 964.906 | 46.1119 | 31.868
2020-05-14 03:45:00 | 7.109 | 139 | 7.304 | 156 | 7.586 | 146.796 | 7.41 | 143.2 | 21.11 | 964.757 | 46.0436 | 25.8381
2020-05-14 04:00:00 | 7.9 | 135.1 | 7.695 | 151.4 | 7.706 | 142.467 | 7.624 | 141.1 | 21.11 | 964.757 | 46.1801 | 25.3577
2020-05-14 04:15:00 | 6.447 | 126.2 | 6.987 | 143 | 7.286 | 134.563 | 7.194 | 132.7 | 20.93 | 964.609 | 46.5893 | 26.0524
2020-05-14 04:30:00 | 7.954 | 137.8 | 7.831 | 154.4 | 7.803 | 145.29 | 7.678 | 141.3 | 20.91 | 964.312 | 47.4079 | 22.9376
2020-05-14 04:45:00 | 7.098 | 137.5 | 7.319 | 153.6 | 8.02 | 144.538 | 7.92 | 143.2 | 20.76 | 964.461 | 47.9536 | 22.4055
2020-05-14 05:00:00 | 6.598 | 141.7 | 6.964 | 157.2 | 7.617 | 147.925 | 7.507 | 148 | 20.65 | 964.461 | 48.1582 | 25.5314
2020-05-14 05:15:00 | 6.79 | 139.5 | 7.432 | 156.6 | 7.792 | 147.361 | 7.843 | 145.2 | 20.49 | 964.164 | 48.6357 | 38.4042
2020-05-14 05:30:00 | 8.1 | 154.6 | 7.953 | 168.5 | 8.29 | 158.559 | 8.44 | 158.9 | 20.36 | 964.164 | 52.7285 | 35.0197
2020-05-14 05:45:00 | 5.776 | 149.5 | 6.153 | 164.9 | 6.897 | 155.171 | 6.896 | 153.9 | 19.72 | 964.312 | 54.1994 | 25.6681
2020-05-14 06:00:00 | 6.797 | 135.6 | 7.092 | 151.5 | 7.281 | 142.561 | 7.286 | 141 | 20 | 964.164 | 53.4193 | 42.6162
2020-05-14 06:15:00 | 7.719 | 141.9 | 8.06 | 158.2 | 8.55 | 148.866 | 8.43 | 146.3 | 19.98 | 964.178 | 54.3749 | 35.6516
2020-05-14 06:30:00 | 7.522 | 141.9 | 7.841 | 156.3 | 7.808 | 147.078 | 7.741 | 147.5 | 19.68 | 964.043 | 55.7391 | 30.1093
2020-05-14 06:45:00 | 7.696 | 137.2 | 7.662 | 152 | 7.619 | 143.032 | 7.55 | 141.9 | 19.6 | 964.436 | 56.1487 | 35.6183
2020-05-14 07:00:00 | 7.121 | 137.4 | 6.923 | 151.7 | 7.258 | 142.75 | 7.23 | 144.8 | 19.56 | 964.273 | 56.2169 | 22.9191
2020-05-14 07:15:00 | 5.615 | 143.3 | 5.875 | 158.4 | 6.182 | 149.054 | 6.134 | 145.6 | 19.57 | 964.215 | 57.3085 | 31.2177
2020-05-14 07:30:00 | 7.499 | 138 | 7.506 | 154.3 | 7.322 | 145.196 | 7.095 | 145.1 | 19.56 | 964.195 | 56.2852 | 22.6014
2020-05-14 07:45:00 | 5.464 | 137.2 | 6.115 | 152.6 | 5.714 | 143.597 | 5.561 | 145.8 | 19.81 | 964.313 | 56.1467 | 21.988
2020-05-14 08:00:00 | 4.989 | 143.7 | 5.335 | 163.5 | 5.412 | 153.854 | 5.406 | 147 | 19.66 | 964.164 | 56.7225 | 22.7048
2020-05-14 08:15:00 | 4.484 | 145.1 | 4.732 | 158 | 5.028 | 148.678 | 4.966 | 148.8 | 19.54 | 964.016 | 56.2772 | 19.3979
2020-05-14 08:30:00 | 5.378 | 135.9 | 6.105 | 150.7 | 5.608 | 141.809 | 5.396 | 145.9 | 19.82 | 964.164 | 56.4124 | 14.336
2020-05-14 08:45:00 | 3.44 | 137.4 | 3.768 | 152.2 | 4.138 | 143.22 | 4.095 | 143.9 | 20.08 | 964.164 | 56.4123 | 7.8589
2020-05-14 09:00:00 | 3.335 | 133.8 | 3.643 | 144.7 | 3.911 | 136.163 | 3.797 | 140.3 | 19.99 | 964.313 | 58.1856 | 26.6442
2020-05-14 09:15:00 | 6.389 | 121 | 6.818 | 135.8 | 7.345 | 127.788 | 7.349 | 127.1 | 19.48 | 964.313 | 60.573 | 39.6124
2020-05-14 09:30:00 | 6.807 | 133.2 | 7.025 | 149.9 | 6.633 | 141.056 | 6.522 | 139.7 | 19.36 | 964.164 | 62.0737 | 24.3897
2020-05-14 09:45:00 | 5.865 | 140.8 | 5.888 | 160.2 | 5.75 | 150.748 | 5.61 | 144.8 | 19.28 | 964.164 | 62.7558 | 20.7687
2020-05-14 10:00:00 | 5.311 | 139.4 | 5.767 | 155.5 | 6.007 | 146.326 | 5.961 | 144.3 | 19.47 | 964.164 | 62.9605 | 22.3132
2020-05-14 10:15:00 | 5.852 | 133.1 | 6.381 | 148.7 | 6.391 | 139.927 | 6.229 | 139.8 | 19.42 | 964.461 | 63.5062 | 32.3447
2020-05-14 10:30:00 | 7.295 | 144 | 7.549 | 157.4 | 7.006 | 148.113 | 6.855 | 153.6 | 19.19 | 964.164 | 63.8472 | 23.4955
2020-05-14 10:45:00 | 5.296 | 160.2 | 5.302 | 174.7 | 5.3 | 164.393 | 5.246 | 163.8 | 19.44 | 964.313 | 63.9144 | 24.918
2020-05-14 11:00:00 | 7.208 | 172.4 | 6.823 | 189.5 | 6.19 | 178.32 | 6.183 | 173.4 | 19.29 | 964.164 | 67.326 | 25.6016
2020-05-14 11:15:00 | 6.115 | 174.1 | 6.013 | 189 | 5.755 | 177.849 | 5.775 | 174.8 | 19 | 963.868 | 66.9168 | 21.4412
2020-05-14 11:30:00 | 7.635 | 151.2 | 7.687 | 166.2 | 7.418 | 156.394 | 7.38 | 157.3 | 19.17 | 964.016 | 66.3028 | 20.9793
2020-05-14 11:45:00 | 6.94 | 155.1 | 6.92 | 170.4 | 6.943 | 160.346 | 6.888 | 161.4 | 19.15 | 963.571 | 67.3943 | 13.7485
2020-05-14 12:00:00 | 6.271 | 156 | 6.407 | 170.5 | 6.185 | 160.44 | 6.145 | 161.1 | 19.07 | 963.422 | 68.6903 | 9.2297
2020-05-14 12:15:00 | 5.572 | 150.7 | 5.33 | 165.9 | 5.018 | 156.112 | 4.945 | 157.6 | 19.19 | 963.274 | 68.8949 | 10.4269
2020-05-14 12:30:00 | 6.335 | 156.5 | 6.519 | 172.5 | 6.116 | 162.322 | 5.994 | 159.9 | 19.18 | 963.274 | 69.0655 | 11.5501
2020-05-14 12:45:00 | 5.715 | 151.6 | 5.934 | 164.9 | 5.735 | 155.171 | 5.569 | 157.5 | 19.44 | 963.422 | 68.7585 | 9.5438
2020-05-14 13:00:00 | 5.275 | 153.6 | 5.369 | 172.2 | 5.135 | 162.04 | 5.085 | 155.3 | 19.4 | 963.422 | 68.6221 | 7.6299
2020-05-14 13:15:00 | 4.997 | 157.5 | 4.962 | 171.8 | 4.628 | 161.664 | 4.624 | 166.7 | 19.53 | 962.977 | 69.5076 | 7.7813
2020-05-14 13:30:00 | 5.674 | 140.4 | 5.793 | 156.7 | 5.399 | 147.455 | 5.172 | 146.6 | 19.52 | 962.829 | 72.2029 | 9.9724
2020-05-14 13:45:00 | 6.307 | 144.7 | 6.337 | 162.4 | 5.615 | 152.818 | 5.363 | 149.8 | 19.47 | 962.829 | 67.7006 | 11.5575
2020-05-14 14:00:00 | 6.549 | 137.5 | 6.55 | 153.9 | 6.048 | 144.82 | 5.877 | 142.8 | 19.47 | 962.977 | 67.462 | 11.8752
2020-05-14 14:15:00 | 6.307 | 137.6 | 6.399 | 154.1 | 5.763 | 145.008 | 5.582 | 143.9 | 19.58 | 962.965 | 66.982 | 10.6966
2020-05-14 14:30:00 | 5.222 | 136.9 | 5.425 | 150.6 | 5.272 | 141.715 | 5.177 | 144.7 | 19.8 | 962.789 | 62.9499 | 9.2334
2020-05-14 14:45:00 | 4.333 | 126.5 | 4.645 | 143.7 | 4.501 | 135.222 | 4.403 | 132.8 | 19.84 | 962.833 | 66.1552 | 6.7579
2020-05-14 15:00:00 | 4.566 | 155.6 | 4.573 | 176.5 | 4.115 | 166.087 | 4.092 | 160.2 | 20.14 | 962.09 | 67.6556 | 5.679
2020-05-14 15:15:00 | 3.858 | 132.2 | 4.43 | 147.1 | 4.209 | 138.421 | 4.013 | 140 | 19.86 | 961.793 | 69.0196 | 3.5249
2020-05-14 15:30:00 | 4.451 | 135.9 | 4.282 | 150.6 | 3.99 | 141.715 | 3.85 | 142 | 19.79 | 961.793 | 68.6786 | 3.4473
2020-05-14 15:45:00 | 4.568 | 135.1 | 4.535 | 150.4 | 4.392 | 141.526 | 4.217 | 141.1 | 19.9 | 961.942 | 60.0853 | 4.1826
2020-05-14 16:00:00 | 4.537 | 137.9 | 4.504 | 153.9 | 4.229 | 144.82 | 4.074 | 142.8 | 19.98 | 962.09 | 66.2575 | 3.1702
2020-05-14 16:15:00 | 3.414 | 127.8 | 3.696 | 140.6 | 3.425 | 132.305 | 3.254 | 140.4 | 20 | 961.497 | 65.2686 | 2.8598
2020-05-14 16:30:00 | 3.184 | 151 | 3.425 | 166.8 | 3.019 | 156.959 | 2.88 | 157.8 | 20.03 | 961.497 | 65.9165 | 1.0124
2020-05-14 16:45:00 | 2.436 | 171.2 | 2.502 | 186.2 | 1.894 | 175.214 | 1.615 | 180.8 | 19.89 | 961.095 | 63.6658 | -0.6429
2020-05-14 17:00:00 | 2.196 | 115.6 | 2.014 | 143.2 | 1.655 | 134.751 | 1.395 | 136.9 | 19.75 | 961.168 | 62.8136 | -0.34362
2020-05-14 17:15:00 | 2.288 | 107.7 | 2.278 | 131.8 | 1.879 | 124.024 | 1.685 | 130.2 | 19.76 | 961.337 | 63.2659 | -0.32884
2020-05-14 17:30:00 | 1.869 | 116.6 | 2.055 | 134.4 | 1.912 | 126.47 | 1.721 | 130.3 | 19.72 | 961.048 | 65.2791 | -0.2845
2020-05-14 17:45:00 | 2.142 | 127 | 2.231 | 138.2 | 1.935 | 130.046 | 1.767 | 133.9 | 19.62 | 960.9 | 65.9618 | -0.22539
2020-05-14 18:00:00 | 2.352 | 135.4 | 2.472 | 151.9 | 1.966 | 142.938 | 1.775 | 142.2 | 19.54 | 960.751 | 67.4284 | -0.24016
2020-05-14 18:15:00 | 3.692 | 131.5 | 3.676 | 149.5 | 3.583 | 140.68 | 3.435 | 137.2 | 19.43 | 960.603 | 66.9175 | -0.073897
2020-05-14 18:30:00 | 3.067 | 126.8 | 3.185 | 145.5 | 3.158 | 136.915 | 3.002 | 132.7 | 19.42 | 960.612 | 67.6029 | -0.13671
2020-05-14 18:45:00 | 2.878 | 133.8 | 2.86 | 153 | 2.937 | 143.973 | 2.778 | 138.7 | 19.37 | 960.752 | 66.0406 | 0.0036948
2020-05-14 19:00:00 | 3.164 | 132.1 | 3.313 | 151.6 | 3.286 | 142.656 | 3.173 | 136.8 | 19.41 | 960.663 | 65.2567 | -0.20691
2020-05-14 19:15:00 | 0.854 | 138 | 1.477 | 158.1 | 1.808 | 148.772 | 1.553 | 148.5 | 19.37 | 960.857 | 64.4039 | -0.24016
2020-05-14 19:30:00 | 1.375 | 139 | 1.628 | 157.8 | 1.757 | 148.49 | 1.507 | 148.5 | 19.46 | 961.141 | 62.63 | -0.25125
2020-05-14 19:45:00 | 1.657 | 140.6 | 1.955 | 157.8 | 1.65 | 148.49 | 1.484 | 148.6 | 19.56 | 961.295 | 64.2674 | -0.25125
2020-05-14 20:00:00 | 3 | 142.8 | 3.165 | 157.8 | 2.996 | 148.49 | 2.837 | 148.6 | 19.43 | 961.526 | 64.1651 | -0.25125
2020-05-14 20:15:00 | 2.615 | 146.5 | 3.244 | 163.7 | 3.245 | 154.042 | 3.117 | 149 | 19.28 | 961.647 | 64.6768 | -0.218
2020-05-14 20:30:00 | 2.883 | 145 | 3.298 | 160.1 | 3.7 | 150.654 | 3.557 | 149.2 | 19.25 | 962.169 | 64.8815 | 0.20691
2020-05-14 20:45:00 | 2.352 | 144.1 | 2.687 | 162.5 | 3.471 | 152.912 | 3.463 | 153.5 | 19.26 | 962.266 | 67.2011 | -0.12562
2020-05-14 21:00:00 | 2.436 | 152.6 | 2.843 | 170.7 | 3.362 | 160.629 | 3.254 | 157.5 | 19.17 | 962.323 | 67.4058 | -0.18844
2020-05-14 21:15:00 | 2.408 | 156.2 | 2.715 | 170.1 | 2.841 | 160.064 | 2.724 | 159.9 | 19.09 | 962.187 | 71.3969 | -0.16996
2020-05-14 21:30:00 | 2.061 | 160.8 | 2.157 | 186 | 2.169 | 175.026 | 2.093 | 171.5 | 19.08 | 962.059 | 71.1581 | -0.22539
2020-05-14 21:45:00 | 2.446 | 154.6 | 2.664 | 171.1 | 2.914 | 161.005 | 2.829 | 158.9 | 19.14 | 962.049 | 72.5226 | -0.13671
2020-05-14 22:00:00 | 3.764 | 142.9 | 3.837 | 157.1 | 3.949 | 147.831 | 3.758 | 151.8 | 18.78 | 962.083 | 76.6843 | 0.73158
2020-05-14 22:15:00 | 3.016 | 137.6 | 3.469 | 156.6 | 3.799 | 147.361 | 3.713 | 146.6 | 18.35 | 961.786 | 82.2787 | 3.4695
2020-05-14 22:30:00 | 3.72 | 132.2 | 3.842 | 146.2 | 3.675 | 137.574 | 3.453 | 139.8 | 18.41 | 961.638 | 81.3235 | 1.9952
2020-05-14 22:45:00 | 3.217 | 126.5 | 3.346 | 136.4 | 3.115 | 128.352 | 2.859 | 137 | 18.68 | 961.49 | 84.5301 | 1.1158
2020-05-14 23:00:00 | 2.362 | 132.6 | 2.577 | 144.5 | 2.271 | 135.975 | 2.009 | 140.9 | 18.42 | 961.49 | 80.4372 | 1.3375
2020-05-14 23:15:00 | 2.334 | 145.7 | 2.802 | 158.1 | 2.492 | 148.772 | 2.256 | 150.5 | 18.65 | 961.49 | 75.3897 | 2.0026
2020-05-14 23:30:00 | 2.707 | 145.1 | 3.098 | 158.2 | 2.861 | 148.866 | 2.666 | 155.4 | 18.62 | 961.49 | 77.2989 | 4.5188
2020-05-14 23:45:00 | 0.721 | 130.1 | 1.856 | 143.9 | 2.838 | 135.41 | 2.674 | 137.4 | 18.44 | 961.193 | 82.0758 | 5.11