## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-15 00:00:00 | 1.435 | 142.5 | 2.502 | 153.8 | 3.092 | 144.726 | 3.028 | 149.6 | 18.09 | 961.638 | 83.5105 | 3.8057
2020-05-15 00:15:00 | 3.026 | 148 | 4.359 | 157.8 | 3.883 | 148.49 | 3.58 | 160.2 | 17.88 | 961.638 | 90.0583 | 3.8205
2020-05-15 00:30:00 | 2.49 | 162.7 | 2.952 | 178.2 | 3.375 | 167.686 | 3.374 | 174.8 | 17.35 | 961.935 | 90.2661 | 3.3143
2020-05-15 00:45:00 | 2.707 | 155.4 | 3.459 | 168.9 | 3.665 | 158.935 | 3.565 | 163.8 | 17.5 | 961.49 | 90.9545 | 3.8574
2020-05-15 01:00:00 | 3.253 | 148.7 | 3.85 | 163 | 4.11 | 153.383 | 3.916 | 159.5 | 17.36 | 961.49 | 91.9824 | 4.0643
2020-05-15 01:15:00 | 2.765 | 147.4 | 4.085 | 162 | 4.672 | 152.442 | 4.54 | 156.7 | 17.05 | 961.49 | 93.8274 | 6.3071
2020-05-15 01:30:00 | 3.623 | 147.8 | 4.129 | 162.9 | 4.59 | 153.289 | 4.55 | 157.1 | 17.08 | 961.193 | 94.6224 | 6.7246
2020-05-15 01:45:00 | 4.438 | 153 | 5.136 | 165.5 | 5.178 | 155.736 | 5.045 | 162.8 | 16.95 | 960.896 | 93.9756 | 5.5312
2020-05-15 02:00:00 | 2.898 | 147.5 | 3.589 | 164.3 | 4.44 | 154.606 | 4.349 | 157.5 | 16.78 | 960.747 | 94.8643 | 4.3932
2020-05-15 02:15:00 | 2.482 | 154.5 | 3.939 | 166.2 | 4.206 | 156.394 | 4.064 | 164.5 | 16.79 | 960.896 | 94.1136 | 4.4375
2020-05-15 02:30:00 | 3.36 | 155.7 | 4.527 | 170 | 4.473 | 159.97 | 4.319 | 163.5 | 16.79 | 960.747 | 94.5572 | 5.9154
2020-05-15 02:45:00 | 3.641 | 154.3 | 4.333 | 170.3 | 4.616 | 160.252 | 4.502 | 162.3 | 16.77 | 960.896 | 94.8643 | 5.1395
2020-05-15 03:00:00 | 3.207 | 156.4 | 4.195 | 171.6 | 4.074 | 161.476 | 3.911 | 163.7 | 16.73 | 960.747 | 94.9667 | 5.4684
2020-05-15 03:15:00 | 3.207 | 159.6 | 3.592 | 174.5 | 3.56 | 164.204 | 3.483 | 166.1 | 16.76 | 960.599 | 94.4549 | 5.8194
2020-05-15 03:30:00 | 2.624 | 154.5 | 3.765 | 172 | 4.018 | 161.852 | 3.896 | 161 | 16.7 | 960.599 | 95.1373 | 5.073
2020-05-15 03:45:00 | 2.988 | 164 | 4.18 | 175.5 | 4.199 | 165.145 | 4.09 | 172.6 | 16.7 | 960.45 | 94.4549 | 5.7713
2020-05-15 04:00:00 | 2.32 | 159.2 | 3.556 | 171.8 | 3.927 | 161.664 | 3.764 | 164.1 | 16.71 | 960.599 | 94.2501 | 4.1493
2020-05-15 04:15:00 | 2.207 | 161.4 | 3.362 | 172.1 | 3.532 | 161.946 | 3.41 | 174.4 | 16.77 | 960.302 | 95.3421 | 2.5827
2020-05-15 04:30:00 | 3.256 | 164.6 | 3.916 | 176.2 | 3.588 | 165.804 | 3.463 | 174.9 | 16.59 | 960.302 | 96.161 | 3.366
2020-05-15 04:45:00 | 2.982 | 161 | 3.86 | 174.3 | 3.952 | 164.016 | 3.853 | 166.2 | 16.45 | 960.302 | 96.5023 | 5.4979
2020-05-15 05:00:00 | 2.435 | 158.6 | 3.241 | 173 | 3.738 | 162.793 | 3.662 | 163.5 | 16.32 | 960.45 | 98.2085 | 3.9055
2020-05-15 05:15:00 | 3.524 | 164.3 | 4.129 | 176.3 | 4.097 | 165.898 | 3.919 | 171.3 | 16.28 | 960.599 | 98.618 | 4.0459
2020-05-15 05:30:00 | 3.327 | 160.3 | 3.477 | 172.4 | 3.275 | 162.228 | 3.089 | 168.1 | 16.08 | 960.302 | 98.4473 | 2.3425
2020-05-15 05:45:00 | 3.858 | 177.9 | 3.858 | 185.5 | 3.364 | 174.555 | 3.305 | 184.5 | 16.21 | 961.044 | 98.7886 | 3.536
2020-05-15 06:00:00 | 3.955 | 171.7 | 3.97 | 176.1 | 3.39 | 165.71 | 3.244 | 187.4 | 16.13 | 960.896 | 99.0275 | 3.3549
2020-05-15 06:15:00 | 3.595 | 174.4 | 3.362 | 183.3 | 2.94 | 172.485 | 2.941 | 185.9 | 15.87 | 961.193 | 99.9488 | 1.6183
2020-05-15 06:30:00 | 3.34 | 162.6 | 3.607 | 172.8 | 3.047 | 167.968 | 2.895 | 173.3 | 15.69 | 961.49 | 99.9134 | 1.0493
2020-05-15 06:45:00 | 2.755 | 208.4 | 2.692 | 188.4 | 2.8 | 177.284 | 2.811 | 216.3 | 15.9 | 961.786 | 99.9337 | 0.46925
2020-05-15 07:00:00 | 2.559 | 203.4 | 2.439 | 193.9 | 2.367 | 182.46 | 2.269 | 228.5 | 16.13 | 962.083 | 98.9974 | 0.61334
2020-05-15 07:15:00 | 1.872 | 213.8 | 2.242 | 195.3 | 2.327 | 183.777 | 2.225 | 233.6 | 16.74 | 962.677 | 95.5825 | 0.62443
2020-05-15 07:30:00 | 2.456 | 207.5 | 2.423 | 193.2 | 2.627 | 181.801 | 2.419 | 226.7 | 17.11 | 962.981 | 92.5025 | 0.82764
2020-05-15 07:45:00 | 0.682 | 223.8 | 1.535 | 210.7 | 2.304 | 198.269 | 2.299 | 218.3 | 18.33 | 963.274 | 81.6113 | -0.2845
2020-05-15 08:00:00 | 2.03 | 217.8 | 1.98 | 225.8 | 1.199 | 190.835 | 0.928 | 212.5 | 19.01 | 963.285 | 80.6821 | 0.43599
2020-05-15 08:15:00 | 3.751 | 194.9 | 3.431 | 200.7 | 1.492 | 188.859 | 1.267 | 218 | 19.33 | 964.018 | 84.3515 | 1.9139
2020-05-15 08:30:00 | 3.914 | 162.2 | 3.31 | 174.7 | 3.484 | 165.051 | 3.3 | 167 | 18.02 | 963.722 | 90.8285 | 1.0863
2020-05-15 08:45:00 | 2.638 | 178.2 | 2.398 | 186.5 | 1.78 | 175.496 | 1.633 | 204.7 | 18.31 | 964.167 | 81.622 | -0.014779
2020-05-15 09:00:00 | 3.245 | 173.9 | 3.065 | 189.2 | 2.462 | 180.013 | 2.307 | 181.1 | 19.3 | 964.464 | 81.2734 | 0.3547
2020-05-15 09:15:00 | 0.19 | 255.8 | 0.03 | 226.8 | 1.465 | 213.419 | 1.39 | 49.45 | 19.91 | 964.464 | 72.8828 | -0.16627
2020-05-15 09:30:00 | 0.36 | 15.2 | 0.849 | 33.09 | 1.064 | 49.5342 | 0.627 | 23.52 | 20.69 | 964.731 | 72.4709 | -0.30667
2020-05-15 09:45:00 | 0.549 | 19.93 | 0.547 | 26.21 | 1.208 | 123.93 | 1.018 | 16.59 | 21.69 | 964.34 | 69.4615 | -0.24016
2020-05-15 10:00:00 | 3.275 | 174.2 | 3.192 | 188.3 | 0.9 | 177.19 | 0.7 | 217.2 | 22.24 | 964.614 | 72.5959 | -0.23647
2020-05-15 10:15:00 | 2.047 | 150.8 | 1.893 | 172.5 | 1.372 | 163.075 | 1.071 | 156.1 | 22.24 | 964.614 | 71.1627 | -0.24016
2020-05-15 10:30:00 | 2.153 | 168.2 | 2.235 | 182.3 | 1.015 | 171.544 | 0.907 | 96.6 | 22.47 | 964.986 | 67.8541 | -0.25125
2020-05-15 10:45:00 | 0.925 | 79.97 | 1.247 | 91.8 | 1.13 | 134.375 | 0.885 | 56.99 | 23.43 | 964.925 | 63.4432 | -0.24016
2020-05-15 11:00:00 | 2.131 | 241.1 | 2.339 | 241.6 | 2.248 | 227.346 | 2.176 | 220.5 | 22.57 | 964.469 | 70.9029 | -0.29928
2020-05-15 11:15:00 | 3.45 | 196.1 | 3.223 | 205.4 | 2.479 | 201.186 | 2.32 | 199 | 21.78 | 964.221 | 73.4003 | -0.27342
2020-05-15 11:30:00 | 3.294 | 166.3 | 3.285 | 180.2 | 2.805 | 169.568 | 2.61 | 169.2 | 21.6 | 964.612 | 74.5012 | -0.29928
2020-05-15 11:45:00 | 3.628 | 194.5 | 3.719 | 210.3 | 3.347 | 197.892 | 3.252 | 199.2 | 21.58 | 964.466 | 74.6419 | -0.16257
2020-05-15 12:00:00 | 4.019 | 146.1 | 4.013 | 164.6 | 3.4 | 154.889 | 3.239 | 153.1 | 22.03 | 964.796 | 73.2788 | 0.39535
2020-05-15 12:15:00 | 4.54 | 182.1 | 4.185 | 196 | 3.631 | 184.436 | 3.567 | 188 | 22 | 964.626 | 71.2003 | 0.044338
2020-05-15 12:30:00 | 3.636 | 198.1 | 3.441 | 209 | 3.028 | 196.669 | 3.006 | 196 | 22.48 | 964.281 | 65.3783 | -0.18105
2020-05-15 12:45:00 | 4.709 | 187.1 | 4.543 | 200.6 | 3.7 | 188.765 | 3.618 | 194.5 | 22.87 | 964.127 | 62.1381 | -0.20322
2020-05-15 13:00:00 | 3.925 | 195 | 3.689 | 209.4 | 3.176 | 197.045 | 3.127 | 201 | 23.5 | 964.302 | 58.2147 | -0.25864
2020-05-15 13:15:00 | 4.333 | 191.8 | 4.402 | 205 | 3.415 | 192.905 | 3.137 | 197.3 | 23.4 | 964.096 | 56.9189 | -0.30298
2020-05-15 13:30:00 | 3.026 | 200.7 | 2.921 | 206.7 | 2.196 | 185.189 | 2.191 | 198.7 | 23.65 | 964.43 | 56.3395 | -0.26972
2020-05-15 13:45:00 | 3.485 | 199.6 | 3.333 | 219.2 | 2.736 | 206.267 | 2.533 | 185.7 | 23.82 | 964.525 | 55.1806 | -0.26972
2020-05-15 14:00:00 | 4.548 | 158 | 4.136 | 172.5 | 3.578 | 170.039 | 3.343 | 160.6 | 24.1 | 964.763 | 56.4076 | -0.24016
2020-05-15 14:15:00 | 4.992 | 144.2 | 4.747 | 165.2 | 4.183 | 155.453 | 4.044 | 152.3 | 24.29 | 964.763 | 56.4076 | -0.15149
2020-05-15 14:30:00 | 3.022 | 145.8 | 3.057 | 162.4 | 3.125 | 152.818 | 3.076 | 151.5 | 24.22 | 964.763 | 56.5099 | -0.16627
2020-05-15 14:45:00 | 4.285 | 154.2 | 4.09 | 170.6 | 3.832 | 160.535 | 3.725 | 160.4 | 24.4 | 964.614 | 57.3249 | -0.24016
2020-05-15 15:00:00 | 4.28 | 158.1 | 4.333 | 174.4 | 3.929 | 164.11 | 3.797 | 168.1 | 24.86 | 964.318 | 56.3025 | -0.16996
2020-05-15 15:15:00 | 4.271 | 143.4 | 4.274 | 163 | 3.471 | 153.383 | 3.259 | 144.5 | 24.8 | 964.911 | 56.78 | 0.48402
2020-05-15 15:30:00 | 5.709 | 138.8 | 5.458 | 155.8 | 4.595 | 146.608 | 4.375 | 145.2 | 24.25 | 964.28 | 59.0913 | 1.5925
2020-05-15 15:45:00 | 5.309 | 138.4 | 5.259 | 154.2 | 4.898 | 145.102 | 4.777 | 145.4 | 24.33 | 964.28 | 59.2634 | 3.4695
2020-05-15 16:00:00 | 6.046 | 139.3 | 5.696 | 158.2 | 5.397 | 148.866 | 5.22 | 144.7 | 24.41 | 964.457 | 58.9236 | 5.2615
2020-05-15 16:15:00 | 5.942 | 164.2 | 5.392 | 178.4 | 4.974 | 167.874 | 4.892 | 165.7 | 24.56 | 964.285 | 57.9033 | 5.7898
2020-05-15 16:30:00 | 5.046 | 170.5 | 5.069 | 189.8 | 4.435 | 178.602 | 4.324 | 168.5 | 24.77 | 964.116 | 56.9181 | 5.2541
2020-05-15 16:45:00 | 5.334 | 135.9 | 5.43 | 152 | 5.038 | 143.032 | 4.904 | 144.5 | 24.4 | 963.711 | 57.3951 | 8.258
2020-05-15 17:00:00 | 5.858 | 146.2 | 5.709 | 158.2 | 4.921 | 148.866 | 4.81 | 154.6 | 24.4 | 963.576 | 53.9852 | 12.0784
2020-05-15 17:15:00 | 4.213 | 148.5 | 4.366 | 165.7 | 4.283 | 155.924 | 4.204 | 154.1 | 24.41 | 963.873 | 52.9642 | 11.5353
2020-05-15 17:30:00 | 5.176 | 143.4 | 5.21 | 158.5 | 4.524 | 149.148 | 4.449 | 150.1 | 24.22 | 963.724 | 56.1645 | 11.0513
2020-05-15 17:45:00 | 4.951 | 183.9 | 4.842 | 197.5 | 4.188 | 185.848 | 4.179 | 187.2 | 24.35 | 963.576 | 54.5308 | 9.0043
2020-05-15 18:00:00 | 5.355 | 171.7 | 5.098 | 191.2 | 4.669 | 179.919 | 4.53 | 170.2 | 23.99 | 963.28 | 55.6918 | 11.6646
2020-05-15 18:15:00 | 4.553 | 170.6 | 4.594 | 188.5 | 4.056 | 177.378 | 3.97 | 174.9 | 23.73 | 962.835 | 56.3054 | 8.5684
2020-05-15 18:30:00 | 5.145 | 171.5 | 4.936 | 189.5 | 4.466 | 178.32 | 4.443 | 172.2 | 23.49 | 962.75 | 57.671 | 11.6609
2020-05-15 18:45:00 | 4.686 | 169.6 | 4.885 | 191.3 | 4.687 | 180.013 | 4.645 | 167.7 | 23.29 | 962.812 | 58.5648 | 11.8272
2020-05-15 19:00:00 | 5.495 | 174.6 | 5.023 | 199.4 | 4.155 | 187.635 | 4.102 | 172 | 23.25 | 962.683 | 57.138 | 10.2052
2020-05-15 19:15:00 | 4.037 | 165.3 | 3.967 | 182.7 | 4.364 | 171.921 | 4.339 | 167.1 | 22.95 | 962.98 | 58.9498 | 7.9661
2020-05-15 19:30:00 | 3.766 | 159.1 | 3.898 | 178.1 | 4.232 | 167.592 | 4.174 | 163.4 | 22.81 | 962.832 | 60.9284 | 3.8981
2020-05-15 19:45:00 | 4.116 | 158.5 | 4.479 | 175.4 | 4.852 | 165.051 | 4.762 | 161.9 | 22.76 | 963.128 | 63.221 | 4.1493
2020-05-15 20:00:00 | 3.884 | 151.8 | 4.507 | 165.9 | 5.048 | 156.112 | 4.973 | 157.4 | 22.56 | 963.128 | 63.4953 | 5.1986
2020-05-15 20:15:00 | 3.787 | 149.8 | 4.279 | 164.6 | 5.445 | 154.889 | 5.432 | 154.7 | 22.58 | 962.683 | 63.5635 | 9.4219
2020-05-15 20:30:00 | 4.645 | 139.4 | 5.381 | 154.1 | 6.572 | 145.008 | 6.588 | 146.9 | 22.48 | 962.538 | 63.7681 | 17.3916
2020-05-15 20:45:00 | 5.725 | 137.7 | 6.077 | 156.9 | 6.803 | 147.643 | 6.809 | 142.7 | 22.63 | 962.786 | 64.6547 | 19.0839
2020-05-15 21:00:00 | 6.818 | 138.1 | 7.322 | 156.1 | 7.836 | 146.89 | 7.749 | 144.7 | 22.63 | 962.76 | 64.8593 | 27.1349
2020-05-15 21:15:00 | 6.35 | 141.6 | 6.915 | 156.6 | 7.569 | 147.361 | 7.489 | 147.5 | 22.6 | 962.946 | 65.2685 | 26.5696
2020-05-15 21:30:00 | 6.669 | 148.5 | 6.928 | 165.7 | 7.439 | 155.924 | 7.459 | 153.1 | 22.18 | 963.124 | 66.0528 | 28.8013
2020-05-15 21:45:00 | 6.572 | 150.8 | 6.954 | 167.1 | 7.08 | 157.241 | 7.061 | 154 | 22.05 | 963.169 | 64.0068 | 35.5481
2020-05-15 22:00:00 | 7.402 | 148.5 | 7.787 | 162.4 | 8.82 | 152.818 | 8.84 | 154.6 | 21.94 | 963.249 | 64.0417 | 37.2847
2020-05-15 22:15:00 | 6.869 | 152 | 7.199 | 171.1 | 7.782 | 161.005 | 7.91 | 157.1 | 21.98 | 962.927 | 62.8157 | 42.6163
2020-05-15 22:30:00 | 6.041 | 155.9 | 6.207 | 176 | 7.019 | 165.616 | 7.184 | 158.6 | 21.89 | 962.68 | 61.1145 | 40.4992
2020-05-15 22:45:00 | 7.65 | 150.3 | 7.943 | 164.9 | 8.62 | 155.171 | 8.52 | 156.7 | 21.78 | 962.382 | 63.1239 | 51.2623
2020-05-15 23:00:00 | 9.1 | 140.8 | 9.25 | 157.3 | 10.03 | 148.019 | 10.05 | 146 | 21.69 | 962.086 | 63.0271 | 52.0604
2020-05-15 23:15:00 | 8.24 | 147.4 | 8.79 | 165.3 | 9.98 | 155.547 | 9.99 | 150.9 | 21.81 | 962.383 | 64.7329 | 50.7081
2020-05-15 23:30:00 | 7.41 | 146.4 | 7.818 | 160 | 8.89 | 150.56 | 8.99 | 150.2 | 21.54 | 962.68 | 67.9391 | 49.5516
2020-05-15 23:45:00 | 7.665 | 147 | 8.52 | 165.3 | 9.92 | 155.547 | 9.99 | 150.9 | 21.57 | 962.383 | 68.8598 | 50.8448