## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-16 00:00:00 | 7.969 | 149.3 | 8.38 | 166.2 | 9.76 | 156.394 | 9.88 | 152.9 | 21.46 | 962.68 | 69.4406 | 56.2503
2020-05-16 00:15:00 | 6.072 | 160.2 | 6.33 | 171.4 | 6.16 | 161.287 | 6.147 | 172.7 | 21.42 | 962.977 | 69.9181 | 58.083
2020-05-16 00:30:00 | 7.954 | 163.9 | 7.657 | 176.5 | 6.844 | 166.087 | 6.947 | 166.4 | 21.32 | 963.125 | 69.6453 | 61.5303
2020-05-16 00:45:00 | 6.871 | 152.7 | 7.025 | 172.8 | 7.777 | 162.605 | 8.01 | 157.3 | 21.11 | 962.977 | 71.2483 | 50.2832
2020-05-16 01:00:00 | 7.466 | 150.6 | 7.795 | 168 | 8.6 | 158.088 | 8.53 | 155.6 | 21.1 | 962.977 | 71.4188 | 40.78
2020-05-16 01:15:00 | 6.843 | 148.9 | 7.491 | 167.1 | 8.92 | 157.241 | 8.96 | 154.3 | 21.07 | 962.977 | 71.2483 | 34.9274
2020-05-16 01:30:00 | 6.424 | 148.6 | 6.864 | 165.7 | 7.904 | 155.924 | 7.843 | 153.6 | 21.22 | 963.125 | 70.2592 | 15.9839
2020-05-16 01:45:00 | 4.514 | 150.6 | 5.131 | 166.6 | 5.791 | 156.771 | 5.775 | 155.9 | 21.27 | 963.422 | 70.6003 | 9.9761
2020-05-16 02:00:00 | 6.264 | 140.6 | 6.128 | 154.1 | 6.284 | 145.008 | 6.216 | 147.1 | 21.45 | 963.125 | 69.8499 | 10.2162
2020-05-16 02:15:00 | 8.58 | 142.7 | 9.29 | 157.7 | 9.2 | 148.396 | 9.02 | 150 | 21.46 | 962.977 | 69.9863 | 23.8761
2020-05-16 02:30:00 | 7.91 | 142 | 8.1 | 157.5 | 8.27 | 148.208 | 8.25 | 148.2 | 21.3 | 962.977 | 70.8049 | 37.0815
2020-05-16 02:45:00 | 7.65 | 146.8 | 8.18 | 163.1 | 8.96 | 153.477 | 9.06 | 150.9 | 20.93 | 962.68 | 72.2715 | 46.2042
2020-05-16 03:00:00 | 8.8 | 145.8 | 9.39 | 161.2 | 10.21 | 151.689 | 10.2 | 151.3 | 20.8 | 962.383 | 72.9195 | 50.0725
2020-05-16 03:15:00 | 8.92 | 143.3 | 9.23 | 161.7 | 10.5 | 152.16 | 10.43 | 150.1 | 20.54 | 962.383 | 73.738 | 59.5387
2020-05-16 03:30:00 | 10.05 | 139.5 | 10.63 | 155.8 | 11.29 | 146.608 | 11.17 | 146.1 | 20.67 | 962.235 | 73.0559 | 64.8002
2020-05-16 03:45:00 | 11.09 | 141.8 | 11.6 | 160.2 | 11.68 | 150.748 | 11.53 | 147.4 | 20.49 | 961.79 | 73.5337 | 73.605
2020-05-16 04:00:00 | 9.68 | 142.3 | 10.26 | 157.9 | 11.01 | 148.584 | 10.97 | 147.8 | 20.25 | 961.641 | 75.7845 | 75.2381
2020-05-16 04:15:00 | 10.79 | 140.6 | 11.15 | 154.6 | 11.43 | 145.479 | 11.42 | 147.4 | 20.33 | 961.345 | 75.2413 | 80.7131
2020-05-16 04:30:00 | 10.91 | 141.3 | 11.39 | 157.8 | 12.33 | 148.49 | 12.26 | 147.1 | 20.17 | 961.345 | 77.1525 | 82.6833
2020-05-16 04:45:00 | 11.52 | 141.2 | 11.89 | 156.7 | 12.38 | 147.455 | 12.38 | 147.6 | 20.03 | 961.196 | 78.8632 | 85.0869
2020-05-16 05:00:00 | 12.67 | 141.2 | 13.47 | 157.2 | 14.3 | 147.925 | 14.17 | 148 | 20 | 960.752 | 79.6851 | 85.6945
2020-05-16 05:15:00 | 12.76 | 139.5 | 13.18 | 155.8 | 13.84 | 146.608 | 13.86 | 145 | 19.96 | 961.345 | 79.0707 | 84.0282
2020-05-16 05:30:00 | 11.03 | 140.7 | 11.1 | 158 | 12.43 | 148.678 | 12.43 | 145.1 | 19.93 | 961.504 | 78.9357 | 83.9358
2020-05-16 05:45:00 | 11.69 | 138.2 | 11.96 | 153.6 | 12.58 | 144.538 | 12.61 | 144.2 | 19.93 | 961.345 | 78.5258 | 85.665
2020-05-16 06:00:00 | 11.34 | 140 | 11.88 | 156.1 | 13.42 | 146.89 | 13.29 | 146.1 | 19.74 | 961.94 | 79.9578 | 85.3768
2020-05-16 06:15:00 | 11.03 | 141.5 | 10.94 | 161 | 11.48 | 151.501 | 11.43 | 146.8 | 19.62 | 961.493 | 80.7011 | 83.1821
2020-05-16 06:30:00 | 10.89 | 139.6 | 11.47 | 157.4 | 11.85 | 148.113 | 11.78 | 146.1 | 19.55 | 961.493 | 80.9732 | 82.0588
2020-05-16 06:45:00 | 11.47 | 142.3 | 11.81 | 158.9 | 12.09 | 149.525 | 11.9 | 148.1 | 19.42 | 961.79 | 81.5144 | 78.9367
2020-05-16 07:00:00 | 11.14 | 144.2 | 11.26 | 160.6 | 11.18 | 151.125 | 11.02 | 147.4 | 19.52 | 961.79 | 81.5826 | 80.2136
2020-05-16 07:15:00 | 11.01 | 141 | 11.02 | 158.4 | 11.28 | 149.054 | 11.21 | 147.3 | 19.74 | 961.939 | 79.0587 | 82.2573
2020-05-16 07:30:00 | 10.97 | 142.9 | 11.04 | 159.2 | 11.51 | 149.807 | 11.38 | 148.2 | 19.93 | 961.939 | 79.3998 | 83.2855
2020-05-16 07:45:00 | 10.44 | 143.3 | 10.57 | 159.7 | 11.53 | 150.278 | 11.44 | 149.6 | 20.1 | 962.235 | 76.8077 | 78.8693
2020-05-16 08:00:00 | 11.81 | 145.1 | 12.32 | 162.6 | 12.53 | 153.007 | 12.3 | 150.1 | 20.22 | 962.025 | 78.0932 | 70.2343
2020-05-16 08:15:00 | 10.51 | 153 | 10.44 | 165.8 | 9.57 | 156.018 | 9.23 | 163 | 20.43 | 962.189 | 79.0453 | 73.0151
2020-05-16 08:30:00 | 11.41 | 146.8 | 11.51 | 163.2 | 11.17 | 153.571 | 10.96 | 153.9 | 20.58 | 962.388 | 78.0904 | 73.8193
2020-05-16 08:45:00 | 11.13 | 148.7 | 11.46 | 164.4 | 12.14 | 154.7 | 11.97 | 152.9 | 20.67 | 961.942 | 74.8506 | 80.3872
2020-05-16 09:00:00 | 13.13 | 149.8 | 13.71 | 166.4 | 13.6 | 156.582 | 13.35 | 153.6 | 20.74 | 961.942 | 76.7263 | 82.4896
2020-05-16 09:15:00 | 12.14 | 146.6 | 12.55 | 162.8 | 13.04 | 153.195 | 12.78 | 152.5 | 20.92 | 961.942 | 76.8286 | 84.1216
2020-05-16 09:30:00 | 11.85 | 143.1 | 11.68 | 161.2 | 11.41 | 151.689 | 11.14 | 148.7 | 21.36 | 962.09 | 74.9528 | 73.3833
2020-05-16 09:45:00 | 11.91 | 148.2 | 12 | 167.5 | 11.45 | 157.617 | 11.14 | 153.1 | 21.76 | 962.238 | 73.9183 | 58.0202
2020-05-16 10:00:00 | 9.6 | 163.4 | 9.45 | 176 | 8.59 | 165.616 | 8.72 | 171.8 | 22.16 | 962.832 | 71.8036 | 48.1549
2020-05-16 10:15:00 | 9.7 | 162 | 9.63 | 178 | 9 | 167.498 | 8.93 | 167 | 22.24 | 963.128 | 70.2353 | 38.5927
2020-05-16 10:30:00 | 9.63 | 166.4 | 9.24 | 184.3 | 8.64 | 173.426 | 8.73 | 170.3 | 22.64 | 962.98 | 70.5055 | 46.023
2020-05-16 10:45:00 | 10.5 | 172.5 | 10.34 | 188.8 | 9.06 | 177.661 | 9.04 | 174.2 | 22.32 | 962.832 | 71.2542 | 52.8732
2020-05-16 11:00:00 | 8.12 | 173.8 | 7.8 | 190.3 | 7.185 | 179.072 | 7.184 | 176.6 | 22.73 | 962.98 | 69.4164 | 32.6181
2020-05-16 11:15:00 | 8.56 | 159.4 | 8.32 | 176.3 | 7.853 | 165.898 | 7.726 | 163.4 | 22.95 | 962.683 | 67.3031 | 44.098
2020-05-16 11:30:00 | 10.58 | 156.9 | 10.28 | 173 | 9.72 | 162.793 | 9.53 | 161.5 | 22.89 | 962.683 | 68.5288 | 50.0319
2020-05-16 11:45:00 | 10.3 | 148.4 | 10.18 | 162.8 | 9.39 | 153.195 | 9.1 | 156.3 | 22.98 | 962.535 | 69.6129 | 58.046
2020-05-16 12:00:00 | 10.13 | 151.8 | 9.94 | 167.4 | 9.8 | 157.523 | 9.7 | 158.5 | 23.11 | 962.683 | 70.4619 | 68.3971
2020-05-16 12:15:00 | 11.12 | 148.7 | 11 | 163.5 | 10.12 | 153.854 | 9.88 | 155.3 | 23.38 | 962.526 | 68.3484 | 69.7661
2020-05-16 12:30:00 | 10.08 | 151.5 | 10.09 | 166.2 | 9.94 | 156.394 | 9.91 | 159.2 | 23.82 | 962.219 | 63.9509 | 63.2106
2020-05-16 12:45:00 | 10.9 | 152.6 | 11 | 166 | 10.56 | 156.206 | 10.47 | 160.6 | 24.14 | 962.386 | 64.0532 | 65.4895
2020-05-16 13:00:00 | 10.13 | 153.2 | 9.81 | 169.1 | 9.36 | 159.123 | 9.18 | 158.6 | 24.55 | 962.218 | 64.0873 | 63.6142
2020-05-16 13:15:00 | 8.83 | 161.6 | 8.67 | 178.6 | 7.805 | 168.063 | 7.67 | 165.5 | 25.06 | 962.485 | 61.0103 | 53.4002
2020-05-16 13:30:00 | 10.05 | 176.9 | 9.55 | 190.9 | 8.18 | 179.637 | 8.15 | 180.7 | 25.35 | 961.593 | 51.3974 | 65.0987
2020-05-16 13:45:00 | 10.39 | 169.5 | 9.93 | 186.9 | 9.09 | 175.873 | 9 | 174.4 | 25.39 | 961.356 | 50.2045 | 64.6831
2020-05-16 14:00:00 | 11.18 | 169.2 | 10.88 | 185.3 | 9.81 | 174.367 | 9.76 | 171.5 | 25.35 | 960.908 | 51.9427 | 69.5629
2020-05-16 14:15:00 | 12.1 | 185.5 | 11.47 | 199.7 | 10.7 | 187.918 | 10.83 | 186.6 | 25.5 | 961.352 | 53.4765 | 70.0321
2020-05-16 14:30:00 | 11.02 | 177.5 | 10.34 | 195 | 9.68 | 183.495 | 9.75 | 178.9 | 25.64 | 961.352 | 53.3402 | 59.8122
2020-05-16 14:45:00 | 8.88 | 168 | 8.96 | 184.2 | 8.21 | 173.332 | 8.3 | 170.4 | 26.24 | 961.056 | 50.9203 | 60.8319
2020-05-16 15:00:00 | 9.77 | 169.3 | 9.42 | 187.9 | 8.72 | 176.814 | 8.55 | 169.2 | 26.35 | 960.759 | 51.9072 | 67.9656
2020-05-16 15:15:00 | 8.64 | 170.1 | 8.31 | 188.2 | 7.942 | 177.096 | 8.14 | 172.8 | 26.74 | 960.611 | 49.8606 | 64.6133
2020-05-16 15:30:00 | 10.3 | 165 | 9.97 | 182.6 | 9.65 | 171.827 | 9.69 | 172.4 | 26.89 | 960.611 | 48.2601 | 64.1979
2020-05-16 15:45:00 | 10.49 | 182.6 | 10.33 | 199.3 | 9.34 | 187.541 | 9.31 | 186.3 | 26.92 | 960.42 | 48.0534 | 69.7607
2020-05-16 16:00:00 | 11.52 | 178.6 | 10.63 | 197.1 | 9.32 | 185.471 | 9.36 | 177.8 | 26.9 | 959.473 | 47.9513 | 78.3632
2020-05-16 16:15:00 | 10.72 | 175.3 | 10.33 | 192.9 | 9.75 | 181.519 | 9.72 | 172.4 | 26.93 | 959.384 | 47.2707 | 75.0608
2020-05-16 16:30:00 | 10.99 | 166.2 | 10.65 | 183.9 | 10.1 | 173.05 | 10.04 | 171.6 | 27.01 | 959.713 | 47.7494 | 72.685
2020-05-16 16:45:00 | 11.73 | 164.2 | 11.41 | 178.8 | 10.85 | 168.251 | 10.85 | 168.7 | 27.06 | 959.518 | 48.1916 | 72.9473
2020-05-16 17:00:00 | 10.67 | 178.2 | 10.15 | 194 | 9.5 | 182.554 | 9.48 | 181.2 | 26.84 | 959.572 | 47.0006 | 72.1492
2020-05-16 17:15:00 | 10.28 | 163.7 | 10.07 | 181.2 | 9.37 | 170.509 | 9.33 | 167.1 | 26.67 | 959.424 | 49.1461 | 76.668
2020-05-16 17:30:00 | 9.65 | 165.5 | 9.55 | 184.6 | 9.57 | 173.709 | 9.58 | 169.2 | 26.69 | 959.424 | 45.5351 | 67.0282
2020-05-16 17:45:00 | 10.61 | 170.8 | 9.96 | 188.9 | 8.87 | 177.755 | 8.8 | 173.2 | 26.74 | 959.869 | 43.4219 | 66.1858
2020-05-16 18:00:00 | 10.2 | 181.3 | 10.14 | 197.3 | 8.91 | 185.659 | 8.88 | 181 | 26.63 | 959.575 | 44.0354 | 57.1888
2020-05-16 18:15:00 | 12.3 | 177.1 | 12.08 | 192 | 11.9 | 180.672 | 11.87 | 179.8 | 26.58 | 959.287 | 43.8991 | 72.1751
2020-05-16 18:30:00 | 12.19 | 172.6 | 12.16 | 187.2 | 11.62 | 176.155 | 11.63 | 175.2 | 26.66 | 959.026 | 46.5576 | 83.6146
2020-05-16 18:45:00 | 9.5 | 148.1 | 10.13 | 163.1 | 10.8 | 153.477 | 10.7 | 153.9 | 25.79 | 959.23 | 53.3742 | 63.8395
2020-05-16 19:00:00 | 7.788 | 148.9 | 8.23 | 169.6 | 9.15 | 159.594 | 9.18 | 153.9 | 25.43 | 959.796 | 55.4224 | 46.6179
2020-05-16 19:15:00 | 5.309 | 143.4 | 5.673 | 157.3 | 5.269 | 148.019 | 5.039 | 150.5 | 25.66 | 960.75 | 53.7239 | 9.3886
2020-05-16 19:30:00 | 2.572 | 27.35 | 3.627 | 44.64 | 3.151 | 42.0062 | 3.021 | 56.07 | 25.49 | 960.903 | 52.9061 | 0.25864
2020-05-16 19:45:00 | 4.272 | 165.7 | 4.461 | 178.3 | 4.684 | 167.78 | 4.68 | 170.6 | 25.59 | 960.903 | 53.3833 | -0.011085
2020-05-16 20:00:00 | 6.429 | 152.7 | 6.821 | 166.6 | 6.798 | 156.771 | 6.769 | 161.1 | 25.25 | 960.755 | 55.4287 | 4.5114
2020-05-16 20:15:00 | 4.665 | 144.2 | 4.819 | 158.2 | 5.14 | 148.866 | 5.095 | 151.9 | 24.98 | 960.458 | 55.9059 | 3.2478
2020-05-16 20:30:00 | 4.678 | 137.3 | 5.19 | 151.2 | 5.628 | 142.279 | 5.577 | 141.6 | 24.74 | 960.013 | 56.2492 | 7.8294
2020-05-16 20:45:00 | 4.68 | 140.1 | 5.146 | 156.3 | 5.447 | 147.078 | 5.309 | 146.2 | 24.48 | 960.161 | 55.1275 | 6.6803
2020-05-16 21:00:00 | 3.087 | 147.9 | 3.84 | 161.5 | 4.166 | 151.971 | 4.11 | 157.5 | 24.47 | 960.458 | 54.5854 | 2.882
2020-05-16 21:15:00 | 4.691 | 148.2 | 5.036 | 164 | 6.058 | 154.324 | 5.943 | 157.4 | 24.42 | 960.31 | 55.0972 | 7.0128
2020-05-16 21:30:00 | 5.321 | 150.5 | 5.333 | 169.3 | 5.455 | 159.311 | 5.421 | 154 | 24.47 | 960.458 | 53.0515 | 10.5155
2020-05-16 21:45:00 | 5.503 | 148.4 | 6.179 | 163.5 | 6.788 | 153.854 | 6.621 | 158.4 | 24.67 | 960.903 | 54.3471 | 8.2432
2020-05-16 22:00:00 | 4.241 | 154.9 | 4.911 | 166 | 5.442 | 156.206 | 5.437 | 167.8 | 24.44 | 960.903 | 54.1422 | 3.0926
2020-05-16 22:15:00 | 2.196 | 179.8 | 2.868 | 188 | 3.685 | 176.908 | 3.685 | 189.1 | 24.55 | 960.903 | 54.3469 | 1.5777
2020-05-16 22:30:00 | 2.5 | 214.5 | 3.241 | 215.4 | 3.654 | 202.691 | 3.692 | 222.1 | 24.73 | 961.2 | 53.8014 | 0.54314
2020-05-16 22:45:00 | 1.976 | 211.4 | 2.602 | 215.3 | 3.298 | 202.597 | 3.348 | 223.3 | 24.97 | 961.497 | 53.8357 | -0.059118
2020-05-16 23:00:00 | 3.011 | 232.6 | 3.615 | 234.6 | 3.672 | 220.759 | 3.527 | 238.9 | 25.03 | 961.645 | 53.8015 | 0.073897
2020-05-16 23:15:00 | 3.429 | 247.7 | 3.865 | 254.6 | 4.102 | 239.579 | 4.026 | 252.2 | 25.18 | 961.645 | 53.1538 | 0.58748
2020-05-16 23:30:00 | 3.945 | 281.8 | 4.453 | 290.4 | 5.114 | 273.266 | 5.073 | 284.9 | 25.01 | 961.793 | 57.9251 | 4.9363
2020-05-16 23:45:00 | 4.06 | 348 | 4.722 | 10.44 | 4.461 | 9.824 | 4.459 | 346.1 | 21.43 | 961.052 | 69.5527 | 21.8548