## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-17 00:00:00 | 5.16 | 348.4 | 5.322 | 14.07 | 6.65 | 13.2399 | 6.697 | 343.6 | 20.12 | 960.755 | 67.715 | 22.6146
2020-05-17 00:15:00 | 4.966 | 347.7 | 5.926 | 12.94 | 7.663 | 12.1765 | 7.843 | 346.4 | 19.94 | 960.655 | 67.0417 | 31.0246
2020-05-17 00:30:00 | 6.044 | 339.2 | 6.585 | 0.505 | 6.984 | 0.4752 | 7.135 | 332.6 | 18.64 | 960.747 | 83.0133 | 35.5658
2020-05-17 00:45:00 | 6.131 | 0.295 | 6.11 | 16.63 | 7.126 | 15.6488 | 7.359 | 355.4 | 18.17 | 959.776 | 73.6132 | 21.4264
2020-05-17 01:00:00 | 6.149 | 348 | 7.324 | 6.1 | 8.44 | 5.7401 | 8.55 | 348.8 | 20.9 | 960.895 | 60.5833 | 27.8148
2020-05-17 01:15:00 | 6.284 | 346.4 | 6.58 | 2.727 | 7.469 | 2.5661 | 7.51 | 349.3 | 20.62 | 961.193 | 66.6553 | 21.9363
2020-05-17 01:30:00 | 4.977 | 359.1 | 5.299 | 8.87 | 5.47 | 8.3467 | 5.651 | 1.394 | 17.8 | 960.895 | 87.2591 | 20.8907
2020-05-17 01:45:00 | 4.913 | 7.598 | 5.095 | 15.85 | 6.139 | 14.9148 | 6.504 | 359 | 16.8 | 960.747 | 95.9918 | 23.1889
2020-05-17 02:00:00 | 5.033 | 351.1 | 5.88 | 18.88 | 7.179 | 17.7661 | 7.324 | 351.2 | 16.18 | 960.302 | 97.8695 | 40.258
2020-05-17 02:15:00 | 7.346 | 2.612 | 7.35 | 20.36 | 8.07 | 19.1588 | 8.54 | 1.396 | 15.92 | 960.302 | 99.4843 | 42.5129
2020-05-17 02:30:00 | 7.612 | 7.213 | 7.409 | 22.66 | 7.342 | 21.3231 | 7.39 | 6.799 | 15.66 | 960.005 | 99.914 | 44.5783
2020-05-17 02:45:00 | 8.9 | 7.366 | 9.87 | 25.32 | 8.32 | 23.8261 | 8.15 | 10.26 | 15.54 | 959.708 | 99.9147 | 48.0763
2020-05-17 03:00:00 | 7.03 | 17.55 | 10.1 | 33.29 | 10.51 | 31.3259 | 10.02 | 21.84 | 15.4 | 959.708 | 99.9147 | 44.5931
2020-05-17 03:15:00 | 6.547 | 21.01 | 9.29 | 34.6 | 9.37 | 32.5586 | 9.24 | 25.99 | 15.45 | 959.708 | 99.9147 | 39.8157
2020-05-17 03:30:00 | 6.938 | 21.16 | 9.14 | 34.64 | 9.22 | 32.5962 | 9.21 | 26.28 | 15.42 | 959.744 | 99.9147 | 34.8609
2020-05-17 03:45:00 | 6.355 | 28.36 | 9.54 | 45.28 | 10.48 | 42.6085 | 10.51 | 33.11 | 15.67 | 959.764 | 99.8464 | 37.2884
2020-05-17 04:00:00 | 6.618 | 26.15 | 9.95 | 40.57 | 10.49 | 38.1764 | 10.49 | 32.76 | 17.23 | 959.769 | 72.2061 | 34.0554
2020-05-17 04:15:00 | 6.34 | 34.4 | 9.82 | 51.13 | 10.7 | 48.1133 | 10.61 | 38.06 | 17.82 | 959.416 | 57.8741 | 34.4027
2020-05-17 04:30:00 | 5.183 | 38.33 | 8.22 | 53.27 | 8.41 | 50.1271 | 8.35 | 43.8 | 17.7 | 959.56 | 60.8428 | 23.2775
2020-05-17 04:45:00 | 4.956 | 32.6 | 8.42 | 45.56 | 8.91 | 42.872 | 8.89 | 39.82 | 17.49 | 959.412 | 61.7642 | 17.1847
2020-05-17 05:00:00 | 3.697 | 38.39 | 7.104 | 52.42 | 7.927 | 49.3272 | 7.907 | 45.9 | 17.29 | 959.412 | 59.1025 | 13.6635
2020-05-17 05:15:00 | 3.717 | 33.76 | 5.995 | 44.06 | 6.521 | 41.4605 | 6.56 | 43.17 | 17.81 | 959.412 | 60.5014 | 12.3999
2020-05-17 05:30:00 | 3.549 | 37.35 | 5.154 | 53.21 | 5.768 | 50.0706 | 5.791 | 44.71 | 17.75 | 959.115 | 54.664 | 14.7794
2020-05-17 05:45:00 | 4.609 | 40.63 | 5.977 | 56.16 | 6.147 | 52.8466 | 6.104 | 44.54 | 18.17 | 959.115 | 50.9734 | 19.095
2020-05-17 06:00:00 | 6.534 | 53.07 | 8.09 | 68.05 | 7.792 | 64.035 | 7.843 | 57.18 | 19.24 | 959.708 | 47.9634 | 18.186
2020-05-17 06:15:00 | 4.568 | 68.21 | 5.461 | 84.6 | 4.898 | 79.6086 | 5.047 | 68.06 | 19.57 | 960.451 | 43.1179 | 3.7983
2020-05-17 06:30:00 | 2.415 | 64.27 | 3.661 | 75.37 | 3.453 | 70.9232 | 3.331 | 69.91 | 20.01 | 960.472 | 43.0838 | 2.3241
2020-05-17 06:45:00 | 2.134 | 75.11 | 3.454 | 87.1 | 2.985 | 81.9611 | 2.862 | 74.5 | 21.02 | 960.605 | 36.8696 | 3.8685
2020-05-17 07:00:00 | 3.068 | 67.39 | 5.259 | 77.62 | 4.005 | 73.0404 | 3.947 | 68.07 | 21.02 | 960.55 | 32.7378 | 5.727
2020-05-17 07:15:00 | 1.793 | 70.33 | 2.822 | 77.74 | 2.164 | 73.1533 | 1.962 | 74.71 | 21.94 | 960.905 | 34.2029 | 2.9485
2020-05-17 07:30:00 | 0.14 | 75.14 | 1.866 | 64.84 | 2.683 | 61.0144 | 2.442 | 87.8 | 22.67 | 961.349 | 37.7089 | 3.2662
2020-05-17 07:45:00 | 0.635 | 61.82 | 2.164 | 68.55 | 2.029 | 64.5055 | 1.847 | 73.8 | 23.27 | 961.497 | 34.7022 | 1.8696
2020-05-17 08:00:00 | 0.16 | 94.6 | 0.849 | 146 | 1.67 | 137.386 | 1.57 | 83.4 | 23.85 | 961.949 | 28.8344 | 1.0641
2020-05-17 08:15:00 | 2.4 | 155.9 | 2.311 | 168.9 | 1.945 | 158.935 | 1.645 | 154.3 | 23.78 | 961.945 | 33.8778 | 0.60596
2020-05-17 08:30:00 | 3.085 | 148.7 | 2.848 | 164.3 | 2.317 | 154.606 | 2.067 | 148.3 | 23.13 | 961.657 | 41.2951 | 1.4964
2020-05-17 08:45:00 | 3.1 | 119.4 | 2.878 | 145.9 | 2.688 | 137.292 | 2.59 | 119.1 | 22.09 | 961.356 | 44.8382 | 3.1369
2020-05-17 09:00:00 | 2.065 | 82.6 | 2.247 | 109.2 | 1.81 | 102.757 | 1.538 | 73.29 | 23.2 | 961.504 | 42.9303 | 2.2132
2020-05-17 09:15:00 | 2.269 | 109.7 | 2.433 | 137.9 | 1.707 | 129.764 | 1.356 | 101.2 | 23.71 | 961.504 | 33.3901 | 0.84612
2020-05-17 09:30:00 | 1.954 | 121.7 | 2.395 | 138.8 | 2.23 | 130.611 | 2.029 | 119.3 | 24.56 | 961.949 | 33.0494 | 1.5888
2020-05-17 09:45:00 | 3.068 | 146 | 3.502 | 168.1 | 2.899 | 158.182 | 2.742 | 151.1 | 24.92 | 961.652 | 35.2981 | 1.0826
2020-05-17 10:00:00 | 3.8 | 135.5 | 3.74 | 153.1 | 3.123 | 144.067 | 2.905 | 138.5 | 24.56 | 961.652 | 36.3203 | 2.0802
2020-05-17 10:15:00 | 3.197 | 131.5 | 3.216 | 146.6 | 3.166 | 137.951 | 3.101 | 137.7 | 24.54 | 961.652 | 34.4804 | 1.7624
2020-05-17 10:30:00 | 2.584 | 136.6 | 2.595 | 155.6 | 2.151 | 146.42 | 1.883 | 138.6 | 25.02 | 961.801 | 35.23 | 1.3264
2020-05-17 10:45:00 | 2.803 | 156.4 | 2.623 | 170.9 | 2.02 | 160.817 | 1.814 | 160.3 | 24.95 | 961.504 | 29.9148 | 0.16257
2020-05-17 11:00:00 | 2.54 | 43.71 | 3.224 | 50.44 | 3.044 | 47.464 | 2.895 | 58.3 | 25.94 | 961.356 | 27.3254 | -0.18844
2020-05-17 11:15:00 | 2.47 | 56.81 | 3.221 | 65.23 | 3.249 | 61.3814 | 3.15 | 67.04 | 26.32 | 960.763 | 27.0521 | -0.22908
2020-05-17 11:30:00 | 2.334 | 65.72 | 3.226 | 83.8 | 3.095 | 78.8558 | 2.913 | 72.92 | 26.44 | 960.911 | 25.414 | -0.29928
2020-05-17 11:45:00 | 1.521 | 14.24 | 1.963 | 357.7 | 2.137 | 336.596 | 1.961 | 34.6 | 27.5 | 961.059 | 39.9598 | -0.18844
2020-05-17 12:00:00 | 0.777 | 260.9 | 0.726 | 327.2 | 0.776 | 307.895 | 0.626 | 291.9 | 27.52 | 960.763 | 38.7661 | -0.062812
2020-05-17 12:15:00 | 5.186 | 146.5 | 5.144 | 161 | 4.349 | 151.501 | 4.191 | 153.6 | 26.46 | 960.467 | 29.5008 | 0.2143
2020-05-17 12:30:00 | 6.486 | 185.1 | 6.233 | 201.4 | 5.305 | 189.517 | 5.363 | 188.2 | 26.35 | 959.725 | 26.5754 | 3.3808
2020-05-17 12:45:00 | 6.858 | 193.2 | 6.46 | 207.7 | 5.498 | 195.446 | 5.434 | 195.7 | 26.4 | 959.132 | 23.4753 | 8.391
2020-05-17 13:00:00 | 6.077 | 178.4 | 5.992 | 190.5 | 5.272 | 179.26 | 5.264 | 184 | 26.58 | 959.021 | 24.4005 | 7.689
2020-05-17 13:15:00 | 5.582 | 177.1 | 5.118 | 179.8 | 5.163 | 169.192 | 5.098 | 184.4 | 26.81 | 959.424 | 17.586 | 7.5042
2020-05-17 13:30:00 | 6.366 | 152.3 | 6.22 | 166.1 | 5.564 | 156.3 | 5.475 | 158.2 | 26.41 | 958.979 | 13.6664 | 9.8246
2020-05-17 13:45:00 | 5.771 | 154.6 | 5.775 | 178.9 | 5.32 | 168.345 | 5.304 | 157.7 | 26.77 | 959.128 | 31.729 | 9.2149
2020-05-17 14:00:00 | 5.275 | 175 | 5.046 | 188.2 | 5 | 177.096 | 4.95 | 179.2 | 26.72 | 958.831 | 29.9913 | 7.0756
2020-05-17 14:15:00 | 5.755 | 161.2 | 5.974 | 182.6 | 5.692 | 171.827 | 5.592 | 166.1 | 27.02 | 958.979 | 29.4471 | 6.987
2020-05-17 14:30:00 | 4.78 | 181.2 | 4.655 | 202.2 | 3.551 | 190.27 | 3.466 | 177 | 27.12 | 958.77 | 30.9107 | 4.2786
2020-05-17 14:45:00 | 4.269 | 181.8 | 4.269 | 195.3 | 3.787 | 183.777 | 3.789 | 188.9 | 26.75 | 958.55 | 33.5271 | 2.3684
2020-05-17 15:00:00 | 3.787 | 121.5 | 3.837 | 132.9 | 3.736 | 125.059 | 3.677 | 132.7 | 26.94 | 958.984 | 33.9353 | 0.12562
2020-05-17 15:15:00 | 4.151 | 141 | 4.256 | 157 | 4.339 | 147.737 | 4.174 | 149.2 | 27.41 | 958.836 | 33.9693 | 0.52467
2020-05-17 15:30:00 | 4.078 | 157.9 | 4.09 | 172.4 | 3.514 | 162.228 | 3.501 | 165.6 | 27.13 | 959.132 | 33.9012 | 0.82395
2020-05-17 15:45:00 | 2.971 | 308.8 | 3.759 | 313.6 | 3.473 | 295.098 | 3.384 | 314.9 | 27.42 | 958.391 | 37.8194 | 2.9374
2020-05-17 16:00:00 | 3.268 | 19.12 | 3.209 | 356.3 | 3.497 | 335.278 | 3.41 | 18.63 | 27.16 | 958.243 | 39.3526 | 5.2873
2020-05-17 16:15:00 | 2.744 | 12.5 | 3.373 | 15.43 | 3.316 | 14.5196 | 3.285 | 7.804 | 26.73 | 958.095 | 37.274 | 19.7748
2020-05-17 16:30:00 | 5.132 | 4.762 | 6.414 | 26.86 | 6.274 | 25.2753 | 6.407 | 358.8 | 25.56 | 957.65 | 39.046 | 32.8698
2020-05-17 16:45:00 | 5.61 | 358.1 | 6.591 | 23.45 | 7.569 | 22.0664 | 7.904 | 351 | 24.93 | 956.316 | 42.0102 | 41.4332
2020-05-17 17:00:00 | 7.489 | 3.979 | 8.13 | 29.41 | 8.06 | 27.6748 | 8.2 | 1.729 | 23.98 | 955.997 | 57.3261 | 51.636
2020-05-17 17:15:00 | 8 | 6.929 | 8.57 | 26.19 | 7.767 | 24.6448 | 7.935 | 7.329 | 23.36 | 955.569 | 59.0661 | 49.3214
2020-05-17 17:30:00 | 7.642 | 6.526 | 8.07 | 22.76 | 7.444 | 21.4172 | 7.382 | 8.08 | 23 | 955.996 | 59.4498 | 50.9252
2020-05-17 17:45:00 | 8.64 | 5.882 | 8.47 | 23.1 | 8.82 | 21.7371 | 8.92 | 4.802 | 22.69 | 955.712 | 59.5214 | 57.6602
2020-05-17 18:00:00 | 7.908 | 8.21 | 8.74 | 25.85 | 8.25 | 24.3248 | 8.23 | 8.2 | 22.53 | 954.97 | 60.0745 | 61.5635
2020-05-17 18:15:00 | 5.554 | 24.51 | 9.85 | 39.48 | 9.45 | 37.1507 | 9.15 | 27.62 | 22.3 | 955.118 | 61.5752 | 54.4464
2020-05-17 18:30:00 | 8.54 | 6.987 | 9.19 | 24.49 | 8.46 | 23.0451 | 8.54 | 5.874 | 22.07 | 955.563 | 61.7211 | 64.1647
2020-05-17 18:45:00 | 9.45 | 9.36 | 10.33 | 25.18 | 9.6 | 23.6944 | 9.34 | 10.57 | 21.76 | 955.267 | 63.4953 | 68.209
2020-05-17 19:00:00 | 8.31 | 1.696 | 9.13 | 20.72 | 10.02 | 19.4975 | 10.29 | 359.3 | 21.41 | 955.792 | 64.9275 | 75.5633
2020-05-17 19:15:00 | 8.44 | 11.32 | 11.37 | 27.89 | 10.79 | 26.2445 | 9.92 | 15.26 | 20.66 | 955.203 | 64.9985 | 68.9701
2020-05-17 19:30:00 | 9.63 | 8.48 | 10.83 | 26.4 | 9.83 | 24.8424 | 9.48 | 10.59 | 20.37 | 955.409 | 59.0721 | 69.3877
2020-05-17 19:45:00 | 10.18 | 358.7 | 9.84 | 17.56 | 11.5 | 16.524 | 11.94 | 357 | 20.33 | 956.003 | 59.5498 | 79.9121
2020-05-17 20:00:00 | 11.14 | 353.6 | 12.98 | 24.46 | 15.22 | 23.0169 | 15.79 | 350.5 | 19.7 | 956.151 | 59.8226 | 86.4631
2020-05-17 20:15:00 | 15.29 | 9.1 | 17.34 | 25.42 | 16.34 | 23.9202 | 15.7 | 9.05 | 18.39 | 955.113 | 59.2145 | 88.889
2020-05-17 20:30:00 | 13.45 | 7.807 | 14.8 | 25.15 | 15.05 | 23.6661 | 14.47 | 9.54 | 17.39 | 955.772 | 59.9693 | 89.8053
2020-05-17 20:45:00 | 12.94 | 359.3 | 14.24 | 22.38 | 16.25 | 21.0596 | 16.73 | 357.4 | 17.4 | 957.185 | 50.6225 | 83.9801
2020-05-17 21:00:00 | 14.16 | 357.4 | 14.7 | 25.52 | 16.74 | 24.0143 | 17.34 | 355.6 | 16.32 | 956.74 | 63.2471 | 81.3457
2020-05-17 21:15:00 | 14.69 | 354.6 | 14.99 | 26.71 | 17.23 | 25.1341 | 17.95 | 350.2 | 14.93 | 955.552 | 72.3337 | 83.001
2020-05-17 21:30:00 | 14.05 | 0.706 | 14.97 | 23.44 | 17.13 | 22.057 | 17.65 | 356.6 | 14.6 | 956.888 | 71.1823 | 85.7313
2020-05-17 21:45:00 | 14.87 | 352.2 | 15.15 | 19.47 | 18.93 | 18.3213 | 19.59 | 353.8 | 14.31 | 956.963 | 72.1378 | 78.2236
2020-05-17 22:00:00 | 14 | 354.2 | 14.93 | 22.16 | 17.02 | 20.8526 | 17.94 | 349 | 14.13 | 957.774 | 67.0988 | 79.2544
2020-05-17 22:15:00 | 9.15 | 358.5 | 11.32 | 26.62 | 12.69 | 25.0494 | 13.56 | 344.6 | 13.99 | 959.11 | 62.8669 | 77.5881
2020-05-17 22:30:00 | 13.97 | 355.5 | 15.36 | 22.97 | 18.11 | 21.6148 | 18.69 | 354.2 | 13.99 | 958.516 | 58.4975 | 79.1177
2020-05-17 22:45:00 | 12.57 | 356.5 | 13.73 | 24.8 | 15.24 | 23.3368 | 15.76 | 351.9 | 13.76 | 959.11 | 58.7691 | 79.8604
2020-05-17 23:00:00 | 12.92 | 353.9 | 13.19 | 21.91 | 16.33 | 20.6173 | 17.21 | 350.9 | 13.74 | 959.407 | 56.5171 | 75.9402
2020-05-17 23:15:00 | 8.54 | 19.42 | 15 | 35.16 | 14.71 | 33.0856 | 14.03 | 23.47 | 13.81 | 958.219 | 54.404 | 74.354
2020-05-17 23:30:00 | 8.68 | 18.68 | 15.67 | 34.21 | 15.22 | 32.1916 | 14.51 | 23.93 | 14.72 | 958.665 | 47.7143 | 65.2856
2020-05-17 23:45:00 | 5.962 | 21.85 | 11.54 | 35.08 | 11.86 | 33.0103 | 11.57 | 27.93 | 14.81 | 958.813 | 46.4497 | 47.1316