## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-18 00:00:00 | 5.265 | 19.1 | 9.37 | 34.22 | 9.56 | 32.201 | 9.19 | 23.22 | 14.74 | 959.407 | 48.8385 | 27.8998
2020-05-18 00:15:00 | 6.21 | 5.116 | 6.248 | 20.37 | 6.5 | 19.1682 | 6.45 | 5.389 | 14.41 | 959.704 | 50.3069 | 17.0111
2020-05-18 00:30:00 | 4.54 | 344.4 | 4.855 | 12.58 | 6.246 | 11.8378 | 6.397 | 345.8 | 14.05 | 960.001 | 53.3776 | 23.1002
2020-05-18 00:45:00 | 4.134 | 348.1 | 4.832 | 11.43 | 6.152 | 10.7556 | 6.516 | 349.7 | 13.6 | 960.001 | 58.088 | 23.1925
2020-05-18 01:00:00 | 4.88 | 2.787 | 5.744 | 21.79 | 6.065 | 20.5044 | 6.443 | 0.612 | 13.19 | 960.001 | 61.775 | 14.99
2020-05-18 01:15:00 | 4.405 | 9.04 | 4.74 | 22.28 | 4.883 | 20.9655 | 4.772 | 10.88 | 12.83 | 960.001 | 62.8763 | 9.8689
2020-05-18 01:30:00 | 4.578 | 15.72 | 5.934 | 30.72 | 6.226 | 28.9075 | 5.987 | 20.59 | 12.79 | 959.407 | 64.2089 | 11.6646
2020-05-18 01:45:00 | 3.646 | 18.1 | 4.717 | 36.32 | 5.366 | 34.1771 | 5.281 | 23.74 | 13.01 | 959.407 | 61.0343 | 5.0472
2020-05-18 02:00:00 | 3.769 | 16.16 | 4.676 | 29.77 | 4.735 | 28.0136 | 4.553 | 21.14 | 13.21 | 959.556 | 57.9621 | 3.0667
2020-05-18 02:15:00 | 3.516 | 6.651 | 3.978 | 17.67 | 4.206 | 16.6275 | 3.932 | 9.38 | 13.31 | 960.001 | 58.0986 | 1.3893
2020-05-18 02:30:00 | 3.041 | 345.6 | 3.208 | 353.4 | 3.802 | 332.549 | 3.85 | 354.6 | 13.25 | 960.001 | 59.8737 | 0.66877
2020-05-18 02:45:00 | 3.491 | 9.19 | 3.663 | 7.696 | 3.199 | 7.2419 | 2.877 | 7.935 | 12.98 | 959.853 | 60.3516 | 0.68724
2020-05-18 03:00:00 | 3.207 | 4.458 | 3.566 | 5.436 | 3.68 | 5.1153 | 3.672 | 5.896 | 12.65 | 959.853 | 65.0623 | 2.7157
2020-05-18 03:15:00 | 3.097 | 330.6 | 3.661 | 354.3 | 3.756 | 333.396 | 3.654 | 336.4 | 12.35 | 959.704 | 66.7349 | 1.6701
2020-05-18 03:30:00 | 2.819 | 298.5 | 3.108 | 298.8 | 3.057 | 281.171 | 3.015 | 309.8 | 11.39 | 959.741 | 74.1423 | 6.0817
2020-05-18 03:45:00 | 3.23 | 272.2 | 4.036 | 279 | 4.328 | 262.539 | 4.362 | 278.1 | 10.67 | 959.647 | 78.7848 | 7.6853
2020-05-18 04:00:00 | 1.987 | 266.8 | 3.129 | 273 | 4.077 | 256.893 | 4.133 | 273 | 10.53 | 959.52 | 79.8813 | 6.4106
2020-05-18 04:15:00 | 2.907 | 267.5 | 4.031 | 275.9 | 5.506 | 259.622 | 5.635 | 272.9 | 10.44 | 959.626 | 80.3703 | 8.2912
2020-05-18 04:30:00 | 4.734 | 272.5 | 5.772 | 280.7 | 7.319 | 264.139 | 7.24 | 277.1 | 10.73 | 960.283 | 80.0275 | 10.183
2020-05-18 04:45:00 | 3.233 | 260.7 | 3.96 | 267.7 | 4.916 | 251.906 | 4.978 | 266.8 | 10.85 | 960.279 | 79.4855 | 6.1741
2020-05-18 05:00:00 | 1.596 | 277.2 | 2.97 | 285.9 | 4.529 | 269.032 | 4.749 | 282.7 | 10.96 | 959.698 | 75.6602 | 2.8524
2020-05-18 05:15:00 | 3.238 | 274.9 | 3.973 | 288.4 | 4.99 | 271.384 | 5.131 | 275.6 | 11.15 | 959.849 | 73.682 | 5.2947
2020-05-18 05:30:00 | 2.615 | 282.7 | 3.62 | 289.7 | 5.346 | 272.608 | 5.439 | 290.2 | 11.54 | 959.699 | 71.698 | 4.2121
2020-05-18 05:45:00 | 3.417 | 276.4 | 3.932 | 289.4 | 5.536 | 272.325 | 5.679 | 281.6 | 12.39 | 960.153 | 68.8318 | 8.9785
2020-05-18 06:00:00 | 3.726 | 264 | 4.405 | 274.7 | 5.564 | 258.493 | 5.668 | 270.4 | 11.97 | 960.104 | 66.6668 | 12.4553
2020-05-18 06:15:00 | 4.024 | 269.2 | 4.512 | 280.5 | 5.45 | 263.951 | 5.483 | 273.6 | 11.95 | 960.3 | 68.9538 | 10.2495
2020-05-18 06:30:00 | 3.332 | 265 | 3.847 | 273.7 | 4.494 | 257.552 | 4.449 | 270.7 | 12.11 | 960.298 | 67.244 | 4.7811
2020-05-18 06:45:00 | 2.333 | 273.6 | 2.518 | 286.5 | 3.12 | 269.596 | 3.221 | 275.5 | 12.4 | 960.298 | 66.8598 | 4.2934
2020-05-18 07:00:00 | 2.395 | 270.2 | 3.014 | 281.8 | 3.609 | 265.174 | 3.657 | 277 | 12.7 | 960.457 | 65.9627 | 3.983
2020-05-18 07:15:00 | 3.271 | 284.7 | 3.837 | 297.9 | 4.349 | 280.324 | 4.331 | 286.9 | 12.66 | 960.303 | 63.1974 | 3.9904
2020-05-18 07:30:00 | 3.179 | 305.9 | 3.707 | 315.9 | 3.654 | 297.262 | 3.667 | 308.4 | 12.75 | 960.302 | 65.1618 | 4.4671
2020-05-18 07:45:00 | 4.009 | 292.1 | 4.681 | 303.5 | 5.068 | 285.594 | 5.029 | 294.1 | 12.96 | 960.896 | 63.6208 | 6.8355
2020-05-18 08:00:00 | 3.971 | 298.8 | 4.343 | 310.7 | 4.509 | 292.369 | 4.556 | 301.1 | 13.08 | 961.49 | 61.5385 | 10.3456
2020-05-18 08:15:00 | 3.687 | 311 | 3.896 | 321.4 | 3.904 | 302.437 | 4.105 | 312.3 | 13.5 | 961.49 | 61.6067 | 10.5931
2020-05-18 08:30:00 | 5.16 | 311.9 | 5.56 | 321.7 | 4.916 | 302.72 | 5.047 | 318 | 14.15 | 961.592 | 60.5151 | 11.7681
2020-05-18 08:45:00 | 4.088 | 340.9 | 4.129 | 350.3 | 4.033 | 329.632 | 4.084 | 336.4 | 14.75 | 961.793 | 57.6472 | 15.4999
2020-05-18 09:00:00 | 4.509 | 0.527 | 4.706 | 16.1 | 4.946 | 15.1501 | 4.787 | 351.3 | 15.95 | 962.087 | 50.2048 | 18.4594
2020-05-18 09:15:00 | 4.05 | 0.552 | 3.592 | 4.16 | 3.673 | 3.9146 | 3.617 | 359.4 | 16.53 | 962.384 | 47.8848 | 22.9487
2020-05-18 09:30:00 | 4.291 | 0.122 | 4.676 | 18.43 | 5.323 | 17.3426 | 5.358 | 351.7 | 17.05 | 962.197 | 45.0814 | 32.6909
2020-05-18 09:45:00 | 4.193 | 351.4 | 4.23 | 359.8 | 4.862 | 338.572 | 4.807 | 347 | 17.32 | 962.685 | 44.2626 | 32.6318
2020-05-18 10:00:00 | 4.992 | 324.8 | 5.317 | 333.8 | 5.407 | 314.106 | 5.546 | 326 | 17.57 | 962.387 | 40.7843 | 41.2152
2020-05-18 10:15:00 | 4.383 | 351.8 | 5.882 | 13.61 | 7.385 | 12.807 | 7.604 | 351.7 | 17.64 | 962.535 | 38.6691 | 53.3277
2020-05-18 10:30:00 | 5.663 | 345.8 | 6.199 | 359.4 | 5.933 | 338.195 | 5.509 | 344.6 | 18.14 | 962.683 | 37.0995 | 56.5743
2020-05-18 10:45:00 | 4.507 | 333.8 | 5.1 | 349.6 | 5.908 | 328.974 | 5.938 | 335.5 | 17.97 | 962.98 | 38.3279 | 51.6709
2020-05-18 11:00:00 | 4.706 | 8.98 | 5.343 | 21.35 | 5.613 | 20.0903 | 5.503 | 357 | 18.45 | 963.128 | 37.8857 | 54.5351
2020-05-18 11:15:00 | 3.913 | 350.1 | 5.095 | 3.919 | 5.313 | 3.6878 | 5.244 | 345.8 | 18.75 | 963.277 | 38.3278 | 44.8999
2020-05-18 11:30:00 | 3.411 | 350.5 | 4.304 | 4.879 | 5.144 | 4.5911 | 5.259 | 340 | 18.01 | 963.277 | 39.4876 | 44.7155
2020-05-18 11:45:00 | 7.622 | 338.7 | 8.28 | 358.1 | 8.62 | 336.972 | 8.8 | 335.9 | 18.26 | 963.277 | 39.1475 | 58.5966
2020-05-18 12:00:00 | 6.361 | 326.1 | 6.665 | 335.8 | 6.551 | 315.988 | 6.567 | 326.3 | 18.38 | 963.425 | 39.9318 | 54.7896
2020-05-18 12:15:00 | 6.013 | 323.6 | 6.897 | 332.9 | 6.668 | 313.259 | 6.752 | 322.3 | 18.56 | 963.9 | 39.8636 | 63.5209
2020-05-18 12:30:00 | 5.449 | 356 | 5.836 | 12.57 | 6.009 | 11.8284 | 6.256 | 348.1 | 18.64 | 963.927 | 39.4888 | 64.5227
2020-05-18 12:45:00 | 3.925 | 15.37 | 5.038 | 23.5 | 5.206 | 22.1135 | 5.098 | 0.117 | 18.8 | 963.866 | 36.425 | 74.5974
2020-05-18 13:00:00 | 7.287 | 346 | 7.462 | 358.1 | 8.16 | 336.972 | 8.63 | 339.2 | 18.43 | 963.867 | 34.5839 | 79.867
2020-05-18 13:15:00 | 8.5 | 331.9 | 9.74 | 347 | 9.28 | 326.527 | 9.37 | 330 | 18.42 | 963.867 | 35.4707 | 73.6494
2020-05-18 13:30:00 | 7.578 | 313.4 | 8.22 | 322.8 | 7.004 | 303.755 | 6.995 | 316.3 | 18.46 | 964.164 | 37.1078 | 71.2641
2020-05-18 13:45:00 | 8.18 | 323.5 | 8.61 | 332.4 | 9.44 | 312.788 | 9.6 | 325.9 | 18.5 | 964.164 | 34.3793 | 74.1794
2020-05-18 14:00:00 | 7.64 | 331.1 | 7.979 | 345.5 | 8.08 | 325.116 | 8.19 | 328.2 | 19.08 | 964.461 | 34.243 | 74.1602
2020-05-18 14:15:00 | 7.001 | 334.9 | 7.649 | 354 | 7.792 | 333.114 | 7.859 | 331.8 | 18.93 | 964.312 | 33.2197 | 71.3698
2020-05-18 14:30:00 | 7.931 | 331.6 | 7.91 | 351 | 8.01 | 330.291 | 8.27 | 331.7 | 18.92 | 964.164 | 34.1746 | 77.5422
2020-05-18 14:45:00 | 5.646 | 9.66 | 5.578 | 17.55 | 6.583 | 16.5145 | 6.639 | 354.4 | 18.98 | 964.164 | 33.4209 | 76.8417
2020-05-18 15:00:00 | 5.926 | 346.9 | 6.155 | 351 | 6.6 | 330.291 | 6.547 | 342.2 | 19.21 | 964.7 | 34.3052 | 74.7329
2020-05-18 15:15:00 | 7.106 | 324.7 | 7.805 | 328.6 | 6.869 | 309.213 | 6.672 | 330.8 | 19.39 | 964.167 | 35.3282 | 69.6616
2020-05-18 15:30:00 | 4.6 | 3.315 | 5.412 | 346.3 | 5.848 | 325.868 | 5.726 | 1.82 | 19.46 | 964.167 | 36.624 | 65.071
2020-05-18 15:45:00 | 4.961 | 337.1 | 5.415 | 358.9 | 6.414 | 337.725 | 6.308 | 334.3 | 19.12 | 964.464 | 35.0865 | 61.109
2020-05-18 16:00:00 | 4.365 | 13.3 | 5.381 | 25.07 | 6.455 | 23.5909 | 6.17 | 2.638 | 19.23 | 964.315 | 35.357 | 57.3477
2020-05-18 16:15:00 | 5.741 | 353.2 | 5.888 | 13.71 | 6.956 | 12.9011 | 6.898 | 349 | 18.74 | 964.464 | 35.8677 | 50.5364
2020-05-18 16:30:00 | 4.24 | 357.2 | 4.628 | 10.16 | 5.572 | 9.5606 | 5.551 | 348.1 | 19.14 | 964.464 | 35.8336 | 38.5409
2020-05-18 16:45:00 | 6.069 | 6.599 | 7.802 | 29.34 | 7.322 | 27.6089 | 7.515 | 358.9 | 18.35 | 964.167 | 40.641 | 33.7746
2020-05-18 17:00:00 | 4.006 | 359.4 | 5.187 | 26.01 | 5.323 | 24.4754 | 5.462 | 350.2 | 18.09 | 964.167 | 43.6413 | 20.3032
2020-05-18 17:15:00 | 3.113 | 6.876 | 4.988 | 31.37 | 4.969 | 29.5192 | 4.838 | 358.5 | 18.07 | 964.612 | 44.8741 | 11.1806
2020-05-18 17:30:00 | 3.409 | 13.62 | 4.561 | 30.16 | 4.122 | 28.3806 | 4.151 | 5.041 | 17.92 | 964.315 | 42.2842 | 4.6703
2020-05-18 17:45:00 | 2.447 | 22.17 | 3.681 | 40.2 | 2.924 | 37.8282 | 2.707 | 16.91 | 17.93 | 963.87 | 41.9432 | 1.6294
2020-05-18 18:00:00 | 3.692 | 11.68 | 4.088 | 23.53 | 3.804 | 22.1417 | 3.736 | 9.93 | 17.79 | 963.425 | 40.5797 | 2.3093
2020-05-18 18:15:00 | 2.467 | 18.17 | 3.313 | 21.88 | 3.339 | 20.5891 | 3.16 | 8.03 | 17.62 | 963.128 | 40.8525 | -0.55423
2020-05-18 18:30:00 | 0.937 | 26.97 | 1.281 | 352.2 | 1.627 | 331.42 | 1.504 | 2.789 | 17.87 | 962.683 | 39.9659 | -0.41752
2020-05-18 18:45:00 | 1.342 | 346.6 | 1.603 | 352.2 | 1.78 | 331.42 | 1.688 | 339.7 | 17.84 | 962.733 | 38.6021 | -0.25125
2020-05-18 19:00:00 | 0.004 | 321.2 | 0.184 | 352.2 | 0.602 | 331.42 | 0.283 | 338.7 | 17.83 | 962.68 | 39.768 | -0.26233
2020-05-18 19:15:00 | 0 | 321.1 | 0 | 352.1 | 0.05 | 331.326 | 0.059 | 338.7 | 17.5 | 962.401 | 39.7055 | -0.25125
2020-05-18 19:30:00 | 0.126 | 273.3 | 0.821 | 351.4 | 0.818 | 330.667 | 0.175 | 336.7 | 17.25 | 962.375 | 39.9795 | -0.25125
2020-05-18 19:45:00 | 2.339 | 233.8 | 2.357 | 238.4 | 2.192 | 224.334 | 2.121 | 238.1 | 17.37 | 962.38 | 39.642 | -0.25864
2020-05-18 20:00:00 | 4.297 | 210.8 | 4.238 | 222.9 | 3.843 | 209.749 | 3.83 | 218.9 | 17.39 | 962.38 | 40.8777 | 7.4506e-09
2020-05-18 20:15:00 | 5.309 | 204.2 | 5.99 | 214.9 | 5.648 | 202.221 | 5.704 | 208.5 | 17.08 | 962.083 | 42.0065 | 10.0869
2020-05-18 20:30:00 | 4.619 | 197.3 | 5.56 | 206.9 | 5.831 | 194.693 | 5.928 | 203.1 | 17.01 | 962.232 | 44.361 | 14.118
2020-05-18 20:45:00 | 4.198 | 211.9 | 4.88 | 221.3 | 5.007 | 208.243 | 5.098 | 217 | 17.03 | 962.232 | 44.0198 | 9.6546
2020-05-18 21:00:00 | 4.361 | 209.8 | 5.098 | 218.7 | 5.488 | 205.797 | 5.595 | 215.2 | 17.13 | 962.529 | 43.3373 | 9.1891
2020-05-18 21:15:00 | 4.091 | 212.3 | 4.957 | 221 | 5.569 | 207.961 | 5.714 | 218.1 | 17.31 | 962.529 | 41.6652 | 9.3258
2020-05-18 21:30:00 | 4.006 | 211 | 4.811 | 219.3 | 5.514 | 206.361 | 5.691 | 218 | 17.4 | 962.38 | 39.9932 | 8.5314
2020-05-18 21:45:00 | 4.522 | 215.6 | 4.954 | 222.9 | 5.811 | 209.749 | 6.056 | 219.3 | 17.34 | 962.677 | 41.0851 | 10.2199
2020-05-18 22:00:00 | 3.95 | 214.2 | 4.865 | 221.1 | 5.605 | 208.055 | 5.758 | 220.8 | 17.2 | 962.529 | 41.6994 | 11.6055
2020-05-18 22:15:00 | 3.904 | 219.4 | 4.696 | 228 | 6.053 | 214.548 | 6.236 | 227.6 | 17.08 | 962.38 | 41.2899 | 11.3025
2020-05-18 22:30:00 | 3.825 | 227.9 | 4.402 | 230.7 | 5.48 | 217.089 | 5.595 | 235.2 | 17.01 | 962.38 | 41.0851 | 9.7064
2020-05-18 22:45:00 | 4.254 | 217.7 | 4.962 | 225.1 | 5.613 | 211.819 | 5.747 | 225 | 17.04 | 962.825 | 40.9486 | 11.7127
2020-05-18 23:00:00 | 4.53 | 224.5 | 5.21 | 231.5 | 6.19 | 217.841 | 6.295 | 230.6 | 17.08 | 962.38 | 39.9249 | 15.4112
2020-05-18 23:15:00 | 4.157 | 219.3 | 4.878 | 224.9 | 5.997 | 211.631 | 6.119 | 226.8 | 16.91 | 962.083 | 40.1297 | 16.8226
2020-05-18 23:30:00 | 4.749 | 218.7 | 5.299 | 227.5 | 6.767 | 214.077 | 7.033 | 226.4 | 16.8 | 962.083 | 39.4472 | 19.2243
2020-05-18 23:45:00 | 4.632 | 222.1 | 5.274 | 228.5 | 6.813 | 215.018 | 7.107 | 228.4 | 16.77 | 962.083 | 39.3789 | 18.0641