## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-19 00:00:00 | 5.559 | 215.6 | 5.987 | 223.3 | 7.06 | 210.125 | 7.265 | 223.1 | 16.8 | 962.083 | 38.9695 | 20.0002
2020-05-19 00:15:00 | 4.724 | 221.3 | 5.655 | 228.6 | 7.502 | 215.113 | 7.767 | 226.7 | 16.9 | 962.083 | 38.9695 | 21.4781
2020-05-19 00:30:00 | 5.87 | 212.9 | 6.539 | 222.4 | 7.571 | 209.278 | 7.808 | 220.1 | 17.04 | 962.083 | 37.8775 | 25.7124
2020-05-19 00:45:00 | 5.618 | 212.1 | 6.286 | 220.9 | 7.457 | 207.867 | 7.719 | 218.6 | 16.9 | 962.083 | 38.6965 | 25.6164
2020-05-19 01:00:00 | 5.623 | 210.7 | 5.867 | 215.7 | 7.373 | 202.974 | 7.614 | 218.3 | 16.9 | 962.083 | 38.9012 | 23.5805
2020-05-19 01:15:00 | 5.903 | 215.3 | 6.271 | 222.5 | 7.446 | 209.372 | 7.726 | 221 | 16.94 | 962.083 | 38.9012 | 26.4403
2020-05-19 01:30:00 | 5.949 | 218.2 | 6.401 | 226.2 | 7.477 | 212.854 | 7.792 | 223.6 | 16.99 | 961.786 | 38.4235 | 25.1028
2020-05-19 01:45:00 | 5.48 | 215.5 | 5.939 | 224.4 | 7.424 | 211.16 | 7.741 | 223.2 | 16.78 | 961.935 | 38.9012 | 27.9183
2020-05-19 02:00:00 | 5.24 | 217.4 | 6.153 | 229.6 | 8.01 | 216.054 | 8.37 | 223.3 | 16.75 | 961.49 | 38.9695 | 27.4416
2020-05-19 02:15:00 | 6.098 | 218.8 | 5.9 | 223.6 | 7.317 | 210.408 | 7.548 | 222.8 | 16.71 | 961.49 | 39.3789 | 26.9576
2020-05-19 02:30:00 | 5.868 | 214.8 | 6.611 | 224.3 | 7.185 | 211.066 | 7.415 | 221.8 | 16.71 | 961.49 | 39.3107 | 24.216
2020-05-19 02:45:00 | 5.789 | 218.2 | 6.754 | 225.3 | 8.43 | 212.007 | 8.7 | 222 | 16.6 | 961.49 | 38.014 | 26.8172
2020-05-19 03:00:00 | 6.519 | 212.9 | 7.053 | 216.9 | 8.51 | 204.103 | 8.78 | 219.2 | 16.59 | 961.341 | 38.3552 | 25.258
2020-05-19 03:15:00 | 6.871 | 217.5 | 7.493 | 226 | 8.58 | 212.666 | 8.85 | 224 | 16.71 | 961.193 | 37.741 | 28.1991
2020-05-19 03:30:00 | 6.976 | 216.6 | 7.281 | 224.6 | 8.74 | 211.349 | 9.04 | 223.6 | 16.72 | 961.49 | 37.2633 | 27.8517
2020-05-19 03:45:00 | 7.28 | 219.4 | 7.767 | 224.8 | 9.17 | 211.537 | 9.42 | 223.1 | 16.76 | 961.193 | 37.2633 | 31.9567
2020-05-19 04:00:00 | 7.762 | 217.5 | 8.04 | 224.4 | 8.92 | 211.16 | 9.18 | 222.2 | 17.06 | 961.341 | 36.5125 | 33.3497
2020-05-19 04:15:00 | 7.882 | 216.4 | 8.29 | 224.5 | 9.24 | 211.255 | 9.56 | 222.9 | 17.12 | 961.49 | 35.6936 | 33.2093
2020-05-19 04:30:00 | 7.556 | 216.5 | 8.03 | 223.4 | 8.88 | 210.219 | 9.13 | 220.7 | 17.16 | 961.49 | 36.103 | 29.1671
2020-05-19 04:45:00 | 6.968 | 217.2 | 7.202 | 225.9 | 8.64 | 212.572 | 8.91 | 223.1 | 17.08 | 961.49 | 36.9903 | 28.0919
2020-05-19 05:00:00 | 6.95 | 218.5 | 7.337 | 224.2 | 9.07 | 210.972 | 9.46 | 222.5 | 17 | 961.786 | 36.5125 | 27.231
2020-05-19 05:15:00 | 6.279 | 215.5 | 7.309 | 225.5 | 8.75 | 212.195 | 9.09 | 220.2 | 16.92 | 962.083 | 37.195 | 25.1878
2020-05-19 05:30:00 | 6.452 | 217 | 7.025 | 222.8 | 8.06 | 209.655 | 8.38 | 224.4 | 17.13 | 962.083 | 36.649 | 18.1084
2020-05-19 05:45:00 | 5.641 | 232.8 | 6.156 | 243.9 | 6.935 | 229.51 | 7.128 | 235.3 | 17.42 | 962.974 | 37.3315 | 4.1308
2020-05-19 06:00:00 | 4.77 | 234 | 5.412 | 243.1 | 5.849 | 228.757 | 5.872 | 236.1 | 17.33 | 963.419 | 37.9391 | 3.7724
2020-05-19 06:15:00 | 5.25 | 228.7 | 5.328 | 238.8 | 6.175 | 224.711 | 6.269 | 234.2 | 17.27 | 963.568 | 38.9569 | 5.2282
2020-05-19 06:30:00 | 4.057 | 227.4 | 4.346 | 237.6 | 4.934 | 223.582 | 5.027 | 228.5 | 17.42 | 963.864 | 39.9796 | 6.2923
2020-05-19 06:45:00 | 4.257 | 227.7 | 4.499 | 243.1 | 5.254 | 228.757 | 5.472 | 234.4 | 17.49 | 963.864 | 40.1842 | 6.7653
2020-05-19 07:00:00 | 3.549 | 225.4 | 3.901 | 239.1 | 4.562 | 224.993 | 4.803 | 232.9 | 17.4 | 963.748 | 41.5487 | 5.9709
2020-05-19 07:15:00 | 3.02 | 201.5 | 3.006 | 218.2 | 3.127 | 205.326 | 3.049 | 224 | 17.64 | 964.016 | 41.8147 | 5.3538
2020-05-19 07:30:00 | 4.52 | 217.6 | 4.234 | 223.5 | 4.56 | 210.313 | 4.55 | 228.2 | 17.94 | 964.016 | 41.8136 | 4.4966
2020-05-19 07:45:00 | 4.183 | 221.9 | 4.307 | 214.5 | 4.112 | 201.844 | 4.153 | 230.7 | 18.28 | 963.913 | 41.3994 | 4.2454
2020-05-19 08:00:00 | 3.459 | 233.2 | 3.374 | 249.9 | 2.773 | 235.156 | 2.681 | 240.8 | 18.5 | 964.362 | 42.1483 | 2.6381
2020-05-19 08:15:00 | 3.833 | 241.5 | 3.679 | 257.5 | 3.794 | 242.307 | 3.837 | 236.8 | 17.98 | 964.464 | 42.353 | 2.4534
2020-05-19 08:30:00 | 4.744 | 244.1 | 4.292 | 261.8 | 3.764 | 246.354 | 3.733 | 240.5 | 18.31 | 964.167 | 41.5986 | 1.9693
2020-05-19 08:45:00 | 4.407 | 243.8 | 4.489 | 259.1 | 4.255 | 243.813 | 4.24 | 242.7 | 18.56 | 964.612 | 41.5959 | 1.7477
2020-05-19 09:00:00 | 3.769 | 242.5 | 3.709 | 260.5 | 3.316 | 245.13 | 3.282 | 238.1 | 18.9 | 964.464 | 40.641 | 1.175
2020-05-19 09:15:00 | 3.751 | 245.5 | 3.564 | 259.3 | 3.499 | 244.001 | 3.435 | 246.3 | 19.46 | 965.205 | 38.4589 | 1.2563
2020-05-19 09:30:00 | 3.445 | 246.9 | 3.51 | 261.4 | 3.342 | 245.977 | 3.295 | 247 | 19.74 | 965.205 | 39.2029 | 0.13671
2020-05-19 09:45:00 | 1.93 | 259.9 | 2.229 | 272 | 2.164 | 255.952 | 2.034 | 263.7 | 20.26 | 965.057 | 38.1115 | -0.40274
2020-05-19 10:00:00 | 1.395 | 294.4 | 1.642 | 300.4 | 1.582 | 282.676 | 1.58 | 310.6 | 21.39 | 965.452 | 35.9246 | -0.29189
2020-05-19 10:15:00 | 1.583 | 267.5 | 1.807 | 285.5 | 1.892 | 268.655 | 1.796 | 279.8 | 21.37 | 965.506 | 36.06 | -0.25125
2020-05-19 10:30:00 | 2.557 | 292.9 | 2.491 | 305.1 | 1.754 | 287.099 | 1.659 | 300.4 | 21.94 | 965.801 | 35.0355 | -0.24016
2020-05-19 10:45:00 | 1.035 | 266.6 | 1.334 | 293.2 | 1.835 | 275.901 | 1.789 | 270.3 | 22.58 | 965.801 | 35.3095 | -0.25125
2020-05-19 11:00:00 | 2.49 | 268.9 | 2.876 | 291.7 | 1.941 | 274.49 | 1.653 | 262.2 | 22.16 | 965.866 | 36.1946 | -0.25125
2020-05-19 11:15:00 | 3.021 | 242.9 | 2.932 | 260.9 | 2.427 | 245.507 | 2.331 | 239.3 | 22.38 | 965.797 | 38.2412 | -0.28081
2020-05-19 11:30:00 | 3.473 | 286.2 | 3.765 | 296 | 3.514 | 278.536 | 3.404 | 288.8 | 22.7 | 965.652 | 37.4895 | -0.26972
2020-05-19 11:45:00 | 3.018 | 311.6 | 3.451 | 318.2 | 3.105 | 299.426 | 2.853 | 310 | 23.34 | 965.8 | 35.9562 | -0.19583
2020-05-19 12:00:00 | 3.921 | 285.6 | 4.244 | 295.9 | 3.901 | 278.442 | 3.814 | 286.1 | 22.8 | 965.8 | 36.8775 | 0.40643
2020-05-19 12:15:00 | 3.309 | 294.9 | 3.794 | 310.8 | 3.799 | 292.463 | 3.69 | 295.1 | 23.19 | 965.949 | 38.1715 | 0.81656
2020-05-19 12:30:00 | 4.525 | 283.5 | 4.699 | 290.1 | 4.489 | 272.984 | 4.347 | 286 | 23.21 | 966.097 | 34.6967 | 1.1048
2020-05-19 12:45:00 | 3.354 | 285.6 | 4.031 | 296.9 | 3.919 | 279.383 | 3.865 | 288.3 | 23.31 | 965.838 | 25.426 | 1.2193
2020-05-19 13:00:00 | 4.318 | 311.3 | 4.584 | 324.8 | 4.506 | 305.637 | 4.44 | 316.7 | 24.22 | 965.791 | 29.656 | 4.0126
2020-05-19 13:15:00 | 4.415 | 297.6 | 4.538 | 304.6 | 4.369 | 286.629 | 4.301 | 300.7 | 23.85 | 965.798 | 24.953 | 4.1087
2020-05-19 13:30:00 | 3.922 | 320.4 | 4.315 | 323.3 | 4.082 | 304.225 | 4.084 | 320.7 | 24.35 | 965.798 | 28.7029 | 5.6125
2020-05-19 13:45:00 | 2.913 | 346.9 | 3.683 | 359.8 | 3.729 | 338.572 | 3.681 | 342.9 | 25.15 | 966.231 | 27.4075 | 3.802
2020-05-19 14:00:00 | 4.272 | 333.6 | 4.302 | 354.4 | 4.125 | 333.49 | 4.194 | 330.2 | 24.59 | 966.513 | 25.9721 | 3.9572
2020-05-19 14:15:00 | 3.593 | 297.3 | 4.29 | 307.9 | 4.463 | 289.734 | 4.354 | 300.6 | 24.83 | 966.433 | 26.5167 | 6.8946
2020-05-19 14:30:00 | 3.264 | 304.6 | 4.284 | 314.8 | 4.107 | 296.227 | 4.179 | 312.9 | 24.78 | 966.544 | 27.437 | 5.0841
2020-05-19 14:45:00 | 4.923 | 299.6 | 5.425 | 311.2 | 5.127 | 292.839 | 5.014 | 302 | 24.59 | 966.542 | 26.073 | 2.2945
2020-05-19 15:00:00 | 1.144 | 309.3 | 2.153 | 329.6 | 2.105 | 310.154 | 1.975 | 319.2 | 24.43 | 966.542 | 31.7636 | 1.9324
2020-05-19 15:15:00 | 3.791 | 306.7 | 4.249 | 306.7 | 3.906 | 288.605 | 3.855 | 312.8 | 24.86 | 966.979 | 26.0047 | 2.228
2020-05-19 15:30:00 | 1.474 | 354.2 | 2.267 | 359.1 | 3.038 | 337.913 | 3.008 | 351.2 | 24.95 | 966.601 | 28.2841 | 1.7735
2020-05-19 15:45:00 | 3.242 | 334 | 3.814 | 338.8 | 3.921 | 318.811 | 3.952 | 327 | 25.28 | 966.693 | 28.6883 | 2.834
2020-05-19 16:00:00 | 2.791 | 302.9 | 2.803 | 319.6 | 2.709 | 300.744 | 2.495 | 307.9 | 24.8 | 966.396 | 28.1772 | 3.8648
2020-05-19 16:15:00 | 2.835 | 301 | 3.266 | 309.4 | 3.357 | 291.145 | 3.247 | 304.9 | 24.65 | 966.396 | 30.46 | 0.99391
2020-05-19 16:30:00 | 2.575 | 327.5 | 2.656 | 340.5 | 2.906 | 320.41 | 2.802 | 324.4 | 24.81 | 966.248 | 27.3935 | 2.276
2020-05-19 16:45:00 | 3.723 | 296.3 | 4.1 | 302.3 | 3.865 | 284.464 | 3.776 | 299.7 | 24.62 | 966.248 | 30.3237 | 2.3314
2020-05-19 17:00:00 | 3.62 | 354.2 | 3.814 | 349.9 | 3.25 | 329.256 | 3.135 | 1.054 | 24.57 | 966.099 | 30.2555 | 2.3979
2020-05-19 17:15:00 | 1.077 | 20.21 | 2.604 | 33.21 | 2.601 | 31.2506 | 2.271 | 6.591 | 23.89 | 965.951 | 31.0733 | 1.4447
2020-05-19 17:30:00 | 2.153 | 319.6 | 2.955 | 329.2 | 2.411 | 309.777 | 2.34 | 320.8 | 24.42 | 966.031 | 29.6511 | 1.3856
2020-05-19 17:45:00 | 1.237 | 13.74 | 3.137 | 32.89 | 2.777 | 30.9495 | 2.488 | 10.16 | 23.49 | 965.796 | 34.2864 | 0.4286
2020-05-19 18:00:00 | 2.164 | 5.977 | 2.699 | 16.53 | 2.584 | 15.5547 | 2.551 | 359.1 | 23.39 | 965.8 | 33.1954 | -0.0036948
2020-05-19 18:15:00 | 2.153 | 17.17 | 3.18 | 18.34 | 2.807 | 17.2579 | 2.834 | 353.6 | 23 | 965.207 | 33.8104 | -0.12932
2020-05-19 18:30:00 | 2.63 | 7.446 | 2.86 | 5.553 | 2.467 | 5.2254 | 2.289 | 0.5 | 23.04 | 964.911 | 32.6517 | -0.24755
2020-05-19 18:45:00 | 2.571 | 3.23 | 3.065 | 21.49 | 2.899 | 20.2221 | 2.421 | 9.26 | 22.76 | 965.038 | 30.7466 | -0.2845
2020-05-19 19:00:00 | 3.419 | 0.195 | 3.737 | 17.69 | 3.034 | 16.6463 | 2.312 | 4.384 | 22.77 | 964.463 | 29.9983 | -0.25125
2020-05-19 19:15:00 | 2.245 | 2.779 | 2.137 | 17.72 | 2.184 | 16.6745 | 2.248 | 7.347 | 22.53 | 964.315 | 30.4807 | -0.2845
2020-05-19 19:30:00 | 2.104 | 356.9 | 1.631 | 6.578 | 1.498 | 6.1899 | 1.673 | 2.642 | 22.67 | 964.167 | 31.474 | -0.26233
2020-05-19 19:45:00 | 0.141 | 11.87 | 1.07 | 6.817 | 0.405 | 6.4148 | 0.322 | 0.243 | 22.57 | 964.167 | 31.9181 | -0.26233
2020-05-19 20:00:00 | 1.075 | 19.34 | 1.551 | 6.871 | 0.96 | 6.4656 | 0.883 | 12.24 | 22.55 | 964.426 | 32.4645 | -0.26233
2020-05-19 20:15:00 | 2.104 | 22.5 | 2.582 | 23.42 | 2.304 | 22.0382 | 2.19 | 28.42 | 22.37 | 964.461 | 33.3558 | -0.28081
2020-05-19 20:30:00 | 1.989 | 31.98 | 2.495 | 34.64 | 1.915 | 32.5962 | 1.769 | 51.92 | 22.34 | 964.757 | 36.2892 | -0.28081
2020-05-19 20:45:00 | 0.026 | 36.34 | 0.455 | 40.52 | 0.794 | 38.1293 | 0.484 | 53.37 | 22.27 | 964.609 | 35.6753 | -0.28081
2020-05-19 21:00:00 | 0.875 | 87.7 | 1.467 | 40.82 | 1.526 | 38.4116 | 1.459 | 86.8 | 22.39 | 964.461 | 34.311 | -0.28081
2020-05-19 21:15:00 | 2.16 | 103.2 | 2.311 | 115.5 | 2.568 | 108.686 | 2.562 | 113.1 | 22.59 | 964.609 | 32.8104 | -0.32515
2020-05-19 21:30:00 | 3.817 | 134.2 | 3.842 | 148.2 | 3.774 | 139.456 | 3.69 | 139.1 | 22.77 | 964.757 | 33.2878 | 0.31406
2020-05-19 21:45:00 | 4.545 | 137.3 | 4.929 | 154.6 | 4.888 | 145.479 | 4.777 | 143 | 22.51 | 964.757 | 33.9018 | 3.6246
2020-05-19 22:00:00 | 4.407 | 137.7 | 4.76 | 153.5 | 4.662 | 144.443 | 4.543 | 145.4 | 22.55 | 964.906 | 33.6289 | 3.5175
2020-05-19 22:15:00 | 4.509 | 132.2 | 4.681 | 145 | 4.361 | 136.445 | 4.217 | 140.5 | 23.16 | 965.351 | 24.0791 | 3.6246
2020-05-19 22:30:00 | 2.574 | 114.5 | 3.28 | 126.2 | 3.403 | 118.754 | 3.308 | 122.4 | 23.12 | 965.648 | 24.8291 | 6.1852
2020-05-19 22:45:00 | 4.096 | 139.6 | 4.867 | 156 | 4.819 | 146.796 | 4.698 | 145.5 | 23.56 | 965.338 | 20.4616 | 7.9772
2020-05-19 23:00:00 | 4.913 | 139.3 | 5.42 | 153.5 | 4.985 | 144.443 | 4.754 | 145 | 23.42 | 965.345 | 18.6204 | 8.8196
2020-05-19 23:15:00 | 4.767 | 138.5 | 5.739 | 155.3 | 5.72 | 146.137 | 5.518 | 148.6 | 22.8 | 965.175 | 26.5999 | 14.0848
2020-05-19 23:30:00 | 5.559 | 134.1 | 5.854 | 144.7 | 5.656 | 136.163 | 5.495 | 144.1 | 23.23 | 965.328 | 27.1447 | 18.3708
2020-05-19 23:45:00 | 3.593 | 130.6 | 4.839 | 147.9 | 5.445 | 139.174 | 5.34 | 140.4 | 21.84 | 964.827 | 29.736 | 23.7024