## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-20 00:00:00 | 3.733 | 134.3 | 4.136 | 153.1 | 5.089 | 144.067 | 5.019 | 141.7 | 21.43 | 964.905 | 28.9198 | 27.0019
2020-05-20 00:15:00 | 4.995 | 131.1 | 6.077 | 150.5 | 6.645 | 141.62 | 6.588 | 141.2 | 22.11 | 964.757 | 28.7176 | 35.7587
2020-05-20 00:30:00 | 6.264 | 124.5 | 6.841 | 142.8 | 7.134 | 134.375 | 7.077 | 134.2 | 22.35 | 964.906 | 24.4884 | 36.3351
2020-05-20 00:45:00 | 6.442 | 123.5 | 7.033 | 141.3 | 6.986 | 132.963 | 6.881 | 137 | 22.42 | 964.906 | 25.4434 | 34.9163
2020-05-20 01:00:00 | 6.925 | 124.5 | 7.375 | 140.4 | 7.505 | 132.116 | 7.398 | 134.6 | 22.5 | 964.757 | 27.2168 | 42.8602
2020-05-20 01:15:00 | 7.586 | 120.8 | 8.25 | 139 | 8.43 | 130.799 | 8.26 | 130.4 | 22.23 | 964.906 | 28.8866 | 48.0699
2020-05-20 01:30:00 | 7.068 | 123.5 | 7.639 | 139.2 | 7.787 | 130.987 | 7.634 | 133.2 | 21.93 | 964.757 | 28.7506 | 44.1682
2020-05-20 01:45:00 | 7.121 | 124.4 | 7.759 | 141.7 | 7.673 | 133.34 | 7.566 | 133.4 | 21.9 | 964.757 | 29.5357 | 42.1065
2020-05-20 02:00:00 | 7.328 | 123.4 | 8.05 | 141.5 | 8.27 | 133.152 | 8.18 | 131.6 | 21.88 | 964.757 | 30.9001 | 47.1019
2020-05-20 02:15:00 | 8.56 | 125.9 | 9.16 | 142 | 9.16 | 133.622 | 9.05 | 133.2 | 21.67 | 964.906 | 33.1514 | 57.7061
2020-05-20 02:30:00 | 9.03 | 122 | 9.31 | 140 | 9.71 | 131.74 | 9.76 | 126.1 | 20.71 | 964.609 | 35.9482 | 62.4429
2020-05-20 02:45:00 | 8.97 | 120.7 | 9.25 | 135.9 | 9.43 | 127.882 | 9.49 | 125.4 | 20.08 | 964.609 | 38.6084 | 61.0869
2020-05-20 03:00:00 | 8.82 | 116.1 | 9.38 | 133.6 | 9.7 | 125.718 | 9.7 | 122.7 | 19.76 | 964.461 | 39.7696 | 55.4699
2020-05-20 03:15:00 | 8.41 | 121.3 | 8.98 | 136.9 | 9.3 | 128.823 | 9.08 | 129.6 | 20.24 | 964.061 | 35.8176 | 54.4657
2020-05-20 03:30:00 | 7.668 | 124 | 8.49 | 137.7 | 9.03 | 129.576 | 8.87 | 131 | 20.59 | 964.355 | 34.4534 | 56.7824
2020-05-20 03:45:00 | 7.78 | 128.3 | 8.75 | 142.2 | 8.49 | 133.81 | 8.4 | 134.9 | 20.66 | 964.49 | 36.0225 | 58.2899
2020-05-20 04:00:00 | 8.53 | 129.2 | 8.86 | 141.6 | 8.21 | 133.246 | 8.06 | 134.8 | 20.67 | 964.473 | 34.1116 | 60.3508
2020-05-20 04:15:00 | 8.72 | 128.1 | 8.82 | 142.5 | 8.26 | 134.092 | 8.09 | 134.9 | 20.73 | 964.774 | 36.0221 | 67.8965
2020-05-20 04:30:00 | 8.82 | 129.1 | 8.87 | 142.5 | 8.28 | 134.092 | 8.21 | 134.9 | 20.04 | 964.464 | 38.5465 | 71.7576
2020-05-20 04:45:00 | 8.83 | 127.5 | 9.21 | 143.4 | 8.95 | 134.939 | 8.92 | 133.9 | 19.73 | 964.461 | 40.7982 | 75.785
2020-05-20 05:00:00 | 8.22 | 129.6 | 8.36 | 144.8 | 8.43 | 136.257 | 8.36 | 135.6 | 19.89 | 964.761 | 36.9094 | 70.2907
2020-05-20 05:15:00 | 9.08 | 130.5 | 9.61 | 145.1 | 9.27 | 136.539 | 9.08 | 137.7 | 19.7 | 964.823 | 40.7982 | 69.3005
2020-05-20 05:30:00 | 9.32 | 131.4 | 10.12 | 146.1 | 10.64 | 137.48 | 10.48 | 139.3 | 19.32 | 964.345 | 42.2992 | 74.1297
2020-05-20 05:45:00 | 10.05 | 131.5 | 10.6 | 146.2 | 10.64 | 137.574 | 10.46 | 138.2 | 19.11 | 964.671 | 44.9599 | 76.5906
2020-05-20 06:00:00 | 8.7 | 134.6 | 9.14 | 154 | 9.99 | 144.914 | 10.01 | 140.1 | 18.2 | 964.728 | 49.1216 | 77.0211
2020-05-20 06:15:00 | 7.07 | 144.5 | 7.056 | 165.3 | 7.673 | 155.547 | 7.958 | 146.4 | 18.02 | 965.052 | 50.1791 | 76.2653
2020-05-20 06:30:00 | 9.48 | 137.6 | 9.05 | 155.6 | 9.56 | 146.42 | 9.78 | 141.7 | 18 | 964.896 | 51.7824 | 76.9489
2020-05-20 06:45:00 | 8.47 | 139.7 | 9.15 | 156.5 | 9.9 | 147.266 | 10.07 | 144.4 | 17.9 | 964.807 | 50.6208 | 77.6693
2020-05-20 07:00:00 | 9.52 | 135.4 | 9.87 | 152.6 | 10.79 | 143.597 | 10.76 | 141.6 | 18.65 | 964.758 | 47.9582 | 77.8652
2020-05-20 07:15:00 | 9.6 | 134.4 | 10.02 | 151.4 | 10.65 | 142.467 | 10.72 | 141.9 | 18.8 | 965.351 | 47.1351 | 72.6407
2020-05-20 07:30:00 | 10.06 | 133 | 10.54 | 147.6 | 10.91 | 138.892 | 10.95 | 141.8 | 19.23 | 965.5 | 44.9523 | 71.6726
2020-05-20 07:45:00 | 9.88 | 138.2 | 9.84 | 152.4 | 9.99 | 143.408 | 10 | 146.2 | 19.45 | 965.485 | 44.5372 | 70.7675
2020-05-20 08:00:00 | 10.18 | 139.6 | 10.65 | 153 | 10.69 | 143.973 | 10.71 | 146.7 | 19.52 | 965.883 | 44.9446 | 73.7565
2020-05-20 08:15:00 | 9.48 | 138.5 | 10.49 | 152.4 | 10.38 | 143.408 | 10.24 | 147.2 | 19.76 | 965.651 | 44.0239 | 69.0086
2020-05-20 08:30:00 | 9.04 | 140.7 | 9.33 | 157.3 | 10.07 | 148.019 | 10.04 | 147.2 | 19.84 | 965.65 | 45.9676 | 68.4913
2020-05-20 08:45:00 | 10.04 | 140.4 | 10.19 | 157.5 | 9.99 | 148.208 | 10.02 | 146.3 | 19.93 | 966.243 | 47.7366 | 64.6967
2020-05-20 09:00:00 | 9.79 | 138.7 | 9.97 | 157.6 | 10.02 | 148.302 | 9.95 | 144.9 | 19.81 | 966.243 | 48.1772 | 64.597
2020-05-20 09:15:00 | 8.42 | 137 | 8.74 | 154.7 | 8.82 | 145.573 | 8.66 | 143 | 20.28 | 966.54 | 45.2779 | 60.6131
2020-05-20 09:30:00 | 9.39 | 135.7 | 9.65 | 152.2 | 9.63 | 143.22 | 9.5 | 141.6 | 20.73 | 966.985 | 47.2554 | 60.1336
2020-05-20 09:45:00 | 8.91 | 140.6 | 8.8 | 154.9 | 8.5 | 145.761 | 8.4 | 148.9 | 21.47 | 966.837 | 42.5498 | 52.3042
2020-05-20 10:00:00 | 8.93 | 140.8 | 8.96 | 154.9 | 8.32 | 145.761 | 8.24 | 146.9 | 22.06 | 966.985 | 42.9535 | 53.4829
2020-05-20 10:15:00 | 9.18 | 135.9 | 8.98 | 151.8 | 8.71 | 142.844 | 8.62 | 140.6 | 22.06 | 967.282 | 44.7247 | 50.9187
2020-05-20 10:30:00 | 8.48 | 141.4 | 8.53 | 158.3 | 8.02 | 148.96 | 7.953 | 146.2 | 22.79 | 967.727 | 42.0317 | 50.6785
2020-05-20 10:45:00 | 8.51 | 141.1 | 8.56 | 159.2 | 8.06 | 149.807 | 7.945 | 148.3 | 23.18 | 967.43 | 39.2705 | 44.5007
2020-05-20 11:00:00 | 8.91 | 146.4 | 8.99 | 164.2 | 8.77 | 154.512 | 8.7 | 151.3 | 23.56 | 967.411 | 36.8802 | 48.4682
2020-05-20 11:15:00 | 9.76 | 146 | 9.48 | 164.3 | 8.75 | 154.606 | 8.55 | 148.7 | 23.65 | 967.275 | 39.0594 | 40.4903
2020-05-20 11:30:00 | 9.45 | 139.6 | 9.64 | 155.7 | 8.97 | 146.514 | 8.77 | 144.2 | 23.85 | 967.263 | 40.0136 | 45.3099
2020-05-20 11:45:00 | 7.614 | 138.5 | 7.639 | 155 | 7.032 | 145.855 | 6.919 | 147 | 24.58 | 967.334 | 38.8207 | 38.5098
2020-05-20 12:00:00 | 8.83 | 145.4 | 8.84 | 163 | 8.35 | 153.383 | 8.19 | 149.9 | 24.68 | 967.31 | 40.8657 | 38.5731
2020-05-20 12:15:00 | 7.17 | 136.5 | 7.335 | 153.9 | 7.073 | 144.82 | 6.983 | 143.8 | 25.08 | 967.432 | 38.3776 | 38.5114
2020-05-20 12:30:00 | 6.33 | 164 | 6.312 | 184.4 | 5.46 | 173.52 | 5.32 | 169 | 25.85 | 967.432 | 35.1057 | 34.4397
2020-05-20 12:45:00 | 7.64 | 156.9 | 7.12 | 171 | 6.343 | 160.911 | 6.224 | 162.5 | 25.72 | 967.135 | 36.878 | 30.3938
2020-05-20 13:00:00 | 7.931 | 189.9 | 7.774 | 204.5 | 6.594 | 192.434 | 6.595 | 189.7 | 25.97 | 967.283 | 33.8787 | 32.5738
2020-05-20 13:15:00 | 7.111 | 173.7 | 6.754 | 191.5 | 6.559 | 180.201 | 6.601 | 175.4 | 25.87 | 967.283 | 36.3327 | 31.5429
2020-05-20 13:30:00 | 7.06 | 179.2 | 7.056 | 196.7 | 6.691 | 185.095 | 6.646 | 179.4 | 26.4 | 967.283 | 37.2188 | 34.1726
2020-05-20 13:45:00 | 7.849 | 154.8 | 7.419 | 174.4 | 7.075 | 164.11 | 7.061 | 161.5 | 26.11 | 967.283 | 36.06 | 36.1836
2020-05-20 14:00:00 | 7.004 | 168.3 | 6.895 | 181.9 | 6.505 | 171.168 | 6.573 | 173.1 | 26.33 | 967.432 | 36.1963 | 39.2762
2020-05-20 14:15:00 | 6.358 | 163.6 | 6.562 | 184.2 | 6.643 | 173.332 | 6.636 | 165.4 | 26.5 | 967.58 | 36.4006 | 38.5594
2020-05-20 14:30:00 | 8.45 | 141.7 | 8.59 | 156.8 | 8.37 | 147.549 | 8.32 | 148.9 | 26.66 | 968.025 | 34.8989 | 40.1888
2020-05-20 14:45:00 | 8.2 | 143.7 | 8.06 | 162.6 | 7.426 | 153.007 | 7.354 | 150.1 | 27.02 | 967.705 | 34.9002 | 39.2947
2020-05-20 15:00:00 | 9.39 | 138.7 | 9.62 | 156.7 | 9.37 | 147.455 | 9.18 | 145.2 | 26.85 | 967.683 | 35.4756 | 43.084
2020-05-20 15:15:00 | 9.32 | 137.3 | 9.12 | 154.8 | 8.86 | 145.667 | 8.64 | 142.2 | 27.09 | 967.585 | 34.6172 | 43.2141
2020-05-20 15:30:00 | 8.92 | 155.4 | 8.97 | 171.3 | 7.942 | 161.193 | 7.818 | 161.2 | 27.17 | 967.434 | 34.4123 | 46.9393
2020-05-20 15:45:00 | 7.908 | 164.7 | 7.549 | 181.1 | 7.029 | 170.415 | 7.005 | 164.2 | 27.6 | 967.137 | 34.1056 | 39.6309
2020-05-20 16:00:00 | 7.407 | 149.8 | 7.907 | 166.8 | 7.363 | 156.959 | 7.337 | 157.6 | 27.47 | 967.433 | 33.9693 | 36.0617
2020-05-20 16:15:00 | 8.33 | 150.8 | 8.46 | 170.2 | 7.92 | 160.158 | 7.879 | 158.8 | 27.39 | 967.285 | 34.6848 | 35.8585
2020-05-20 16:30:00 | 6.481 | 172.5 | 6.547 | 187.8 | 5.979 | 176.72 | 5.984 | 175.5 | 27.3 | 966.84 | 34.6508 | 31.99
2020-05-20 16:45:00 | 7.295 | 153.5 | 7.427 | 170 | 6.625 | 159.97 | 6.585 | 158.6 | 27.3 | 967.137 | 35.0256 | 31.7572
2020-05-20 17:00:00 | 7.239 | 148.3 | 7.151 | 167 | 7.22 | 157.147 | 7.199 | 153.2 | 27.02 | 966.84 | 35.8433 | 34.4418
2020-05-20 17:15:00 | 8.95 | 149.6 | 8.83 | 165.2 | 8.28 | 155.453 | 8.17 | 155.4 | 26.89 | 966.692 | 36.5247 | 36.4829
2020-05-20 17:30:00 | 8.66 | 150.7 | 8.64 | 164.5 | 8.2 | 154.794 | 8.18 | 156.9 | 26.72 | 966.563 | 36.4576 | 36.7378
2020-05-20 17:45:00 | 8.92 | 148.9 | 9.18 | 165.5 | 8.86 | 155.736 | 8.67 | 153.4 | 26.69 | 966.41 | 36.9423 | 31.8385
2020-05-20 18:00:00 | 7.696 | 140.7 | 7.976 | 157.6 | 8.08 | 148.302 | 7.978 | 147.4 | 26.59 | 966.689 | 36.3999 | 33.1502
2020-05-20 18:15:00 | 6.838 | 138.5 | 6.872 | 155.9 | 7.024 | 146.702 | 7.021 | 144.3 | 26.32 | 966.393 | 38.103 | 34.1145
2020-05-20 18:30:00 | 7.382 | 139.7 | 7.457 | 156 | 7.546 | 146.796 | 7.502 | 145.5 | 26.19 | 966.097 | 38.3775 | 40.9315
2020-05-20 18:45:00 | 7.52 | 138.6 | 8.07 | 154.6 | 8.43 | 145.479 | 8.42 | 144.4 | 25.93 | 965.652 | 37.9346 | 41.5079
2020-05-20 19:00:00 | 8.24 | 149.7 | 8.45 | 165.7 | 8.57 | 155.924 | 8.57 | 155 | 25.63 | 965.504 | 39.1956 | 47.2423
2020-05-20 19:15:00 | 9.41 | 150.6 | 9.61 | 166.2 | 10.43 | 156.394 | 10.48 | 154.7 | 25.61 | 965.739 | 40.6302 | 53.8487
2020-05-20 19:30:00 | 10.25 | 149.7 | 10.46 | 167 | 11.08 | 157.147 | 10.98 | 155 | 25.49 | 965.351 | 41.4863 | 55.6428
2020-05-20 19:45:00 | 10.57 | 150.5 | 10.56 | 169.3 | 10.97 | 159.311 | 10.94 | 154.7 | 25.23 | 965.501 | 42.8839 | 57.0484
2020-05-20 20:00:00 | 9.74 | 150.9 | 9.87 | 166.3 | 9.93 | 156.488 | 9.92 | 157 | 24.96 | 965.798 | 43.2591 | 51.9295
2020-05-20 20:15:00 | 9.47 | 151.5 | 9.84 | 165.9 | 9.63 | 156.112 | 9.56 | 157.4 | 24.75 | 965.798 | 45.272 | 49.2929
2020-05-20 20:30:00 | 8.16 | 152.8 | 8.29 | 170.7 | 8.96 | 160.629 | 8.98 | 158.8 | 24.39 | 965.798 | 46.435 | 47.8335
2020-05-20 20:45:00 | 8.76 | 155.8 | 8.97 | 175.5 | 9.22 | 165.145 | 9.24 | 158 | 24.27 | 965.798 | 47.3224 | 48.8532
2020-05-20 21:00:00 | 8.08 | 156.3 | 7.999 | 171.6 | 8.35 | 161.476 | 8.24 | 161.2 | 24 | 965.947 | 45.7552 | 47.4418
2020-05-20 21:15:00 | 7.341 | 155.8 | 7.59 | 172.1 | 8.52 | 161.946 | 8.54 | 157.7 | 24.02 | 965.947 | 45.0733 | 47.5416
2020-05-20 21:30:00 | 7.206 | 156.5 | 7.519 | 173.4 | 7.706 | 163.169 | 7.716 | 160.7 | 23.58 | 966.243 | 45.9598 | 51.181
2020-05-20 21:45:00 | 5.962 | 152 | 6.432 | 168.5 | 7.777 | 158.559 | 7.999 | 155.7 | 23.16 | 966.095 | 49.4715 | 53.4718
2020-05-20 22:00:00 | 6.698 | 152.8 | 6.903 | 169 | 7.708 | 159.029 | 7.805 | 158 | 23.32 | 965.947 | 46.1712 | 49.9765
2020-05-20 22:15:00 | 6.772 | 152.9 | 7.347 | 170 | 8.11 | 159.97 | 8.09 | 157 | 23.27 | 966.095 | 46.513 | 53.0358
2020-05-20 22:30:00 | 8.49 | 155.9 | 8.5 | 173.9 | 8.66 | 163.64 | 8.68 | 161.2 | 23.61 | 966.095 | 42.4211 | 54.9793
2020-05-20 22:45:00 | 8.21 | 156.6 | 8.24 | 169.9 | 8.02 | 159.876 | 8.11 | 160.1 | 23.55 | 966.095 | 41.8073 | 49.1102
2020-05-20 23:00:00 | 8.11 | 156.3 | 8.27 | 173.4 | 8.69 | 163.169 | 8.69 | 161.9 | 23.32 | 966.243 | 42.2165 | 52.3929
2020-05-20 23:15:00 | 7.89 | 160.5 | 7.733 | 176 | 7.612 | 165.616 | 7.589 | 165.8 | 23.12 | 965.798 | 41.4663 | 56.3057
2020-05-20 23:30:00 | 7.959 | 153.5 | 7.989 | 167.9 | 8.26 | 157.994 | 8.16 | 160.4 | 22.98 | 965.947 | 42.8985 | 57.3773
2020-05-20 23:45:00 | 8.72 | 155.9 | 8.31 | 170.2 | 7.869 | 160.158 | 8.02 | 163.3 | 22.96 | 965.947 | 41.6368 | 59.9119