## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-21 00:00:00 | 9.04 | 160.8 | 9.31 | 176.4 | 9.2 | 165.992 | 9.33 | 162.9 | 23.09 | 965.798 | 41.5345 | 64.7136
2020-05-21 00:15:00 | 9.79 | 151.8 | 10.37 | 170.3 | 11.23 | 160.252 | 11.27 | 156.8 | 22.85 | 965.501 | 42.8985 | 69.9862
2020-05-21 00:30:00 | 9.04 | 148 | 9.58 | 167.1 | 11.1 | 157.241 | 11.17 | 153.1 | 22.5 | 965.501 | 44.8764 | 69.2952
2020-05-21 00:45:00 | 9.15 | 148.8 | 9.55 | 165.5 | 10.23 | 155.736 | 10.3 | 154.5 | 22.38 | 965.06 | 45.4561 | 75.7057
2020-05-21 01:00:00 | 8.14 | 146.6 | 8.59 | 165.2 | 10.67 | 155.453 | 10.72 | 150.8 | 21.94 | 965.089 | 46.0358 | 72.3361
2020-05-21 01:15:00 | 9.26 | 147.4 | 9.39 | 161.6 | 10.06 | 152.066 | 10.1 | 152.4 | 22.17 | 965.449 | 45.6948 | 72.648
2020-05-21 01:30:00 | 10.33 | 141.5 | 10.54 | 159.3 | 11.24 | 149.901 | 11.1 | 147.3 | 22.43 | 965.306 | 45.4906 | 69.5813
2020-05-21 01:45:00 | 10.47 | 143.8 | 10.68 | 158.4 | 10.94 | 149.054 | 10.83 | 149.6 | 22.25 | 964.964 | 46.378 | 73.3907
2020-05-21 02:00:00 | 9.72 | 143.9 | 10.46 | 160.3 | 10.99 | 150.842 | 10.85 | 149 | 21.82 | 965.128 | 47.8773 | 72.7219
2020-05-21 02:15:00 | 8.95 | 147.2 | 9.42 | 162.4 | 10.59 | 152.818 | 10.55 | 151.1 | 21.47 | 965.343 | 49.5849 | 71.2255
2020-05-21 02:30:00 | 8.75 | 145 | 9.22 | 163.8 | 10.01 | 154.136 | 10.06 | 150.9 | 21.2 | 965.351 | 50.4761 | 74.1149
2020-05-21 02:45:00 | 7.778 | 149.3 | 8.19 | 167.1 | 9.06 | 157.241 | 9.24 | 154.2 | 21.07 | 965.203 | 51.1596 | 80.507
2020-05-21 03:00:00 | 8 | 150.1 | 8.49 | 171.1 | 9.26 | 161.005 | 9.34 | 155.8 | 21.02 | 965.054 | 51.2619 | 76.2247
2020-05-21 03:15:00 | 8.96 | 150.4 | 9.11 | 170.3 | 9.62 | 160.252 | 9.73 | 155.4 | 20.95 | 964.757 | 51.5689 | 77.6656
2020-05-21 03:30:00 | 8.64 | 151 | 8.89 | 171.6 | 9.81 | 161.476 | 9.89 | 154 | 20.82 | 965.054 | 52.5921 | 81.076
2020-05-21 03:45:00 | 9.02 | 147 | 9.22 | 163.9 | 9.91 | 154.23 | 9.9 | 152.3 | 20.79 | 965.499 | 52.1146 | 79.6276
2020-05-21 04:00:00 | 10.21 | 148 | 10.31 | 164 | 11.08 | 154.324 | 11.04 | 153.4 | 20.81 | 965.054 | 51.7735 | 80.1634
2020-05-21 04:15:00 | 9.21 | 150.1 | 8.97 | 166.9 | 9.97 | 157.053 | 10.08 | 154.1 | 20.58 | 964.906 | 51.9099 | 76.1249
2020-05-21 04:30:00 | 8.14 | 147.9 | 9.17 | 164.7 | 10.52 | 154.983 | 10.58 | 154.2 | 20.55 | 965.351 | 51.9441 | 71.8758
2020-05-21 04:45:00 | 8.89 | 150.1 | 9.67 | 166.5 | 10.59 | 156.676 | 10.56 | 154.9 | 20.57 | 965.351 | 52.3218 | 73.0397
2020-05-21 05:00:00 | 8.35 | 148.6 | 8.62 | 167.2 | 9.36 | 157.335 | 9.43 | 152.6 | 20.36 | 965.351 | 52.8015 | 73.9876
2020-05-21 05:15:00 | 7.951 | 150 | 8.16 | 168.8 | 9.03 | 158.841 | 9.19 | 153.7 | 20.31 | 965.351 | 53.3819 | 73.0397
2020-05-21 05:30:00 | 8.07 | 151.5 | 8.66 | 169.9 | 9.36 | 159.876 | 9.5 | 156.2 | 20.27 | 965.351 | 52.4618 | 72.7774
2020-05-21 05:45:00 | 9.27 | 146.5 | 9.93 | 161.1 | 10.13 | 151.595 | 10.07 | 153.3 | 20.26 | 965.501 | 52.326 | 67.0836
2020-05-21 06:00:00 | 8.02 | 148.8 | 8.24 | 165 | 8.87 | 155.265 | 8.97 | 153.7 | 20.23 | 965.797 | 52.1168 | 67.4051
2020-05-21 06:15:00 | 8.89 | 145.9 | 9.12 | 162.2 | 9.6 | 152.63 | 9.58 | 151.9 | 20.16 | 966.093 | 51.3643 | 65.2789
2020-05-21 06:30:00 | 8.07 | 145.2 | 8.79 | 162.1 | 9.64 | 152.536 | 9.6 | 150.1 | 20.2 | 965.648 | 51.1596 | 65.4542
2020-05-21 06:45:00 | 9.08 | 145 | 9.45 | 163 | 9.59 | 153.383 | 9.54 | 150.7 | 20.27 | 965.351 | 51.5343 | 69.5555
2020-05-21 07:00:00 | 9.05 | 145.4 | 9.24 | 162.4 | 9.51 | 152.818 | 9.56 | 151.8 | 20.31 | 965.738 | 51.6312 | 67.6157
2020-05-21 07:15:00 | 9.49 | 146.6 | 10.23 | 161.4 | 10.36 | 151.877 | 10.3 | 153.4 | 20.47 | 965.768 | 51.0827 | 67.6194
2020-05-21 07:30:00 | 10.31 | 145.9 | 10.6 | 163.2 | 11.35 | 153.571 | 11.24 | 151.3 | 20.57 | 965.652 | 51.4919 | 65.3639
2020-05-21 07:45:00 | 10.33 | 148.6 | 10.31 | 165.4 | 10.93 | 155.641 | 10.9 | 153.2 | 20.7 | 965.502 | 52.1739 | 65.4062
2020-05-21 08:00:00 | 8.72 | 148.6 | 9.18 | 165.4 | 9.29 | 155.641 | 9.24 | 153.1 | 21.09 | 965.947 | 52.0656 | 60.4403
2020-05-21 08:15:00 | 8.92 | 147.5 | 9.53 | 163 | 9.34 | 153.383 | 9.47 | 153 | 21.36 | 965.798 | 51.9605 | 58.7211
2020-05-21 08:30:00 | 9.96 | 149.2 | 9.67 | 164 | 9.44 | 154.324 | 9.37 | 157 | 21.55 | 966.243 | 53.2561 | 56.0841
2020-05-21 08:45:00 | 8.97 | 147.5 | 9.41 | 163.4 | 9.63 | 153.759 | 9.47 | 154.5 | 22.1 | 966.243 | 51.1066 | 51.133
2020-05-21 09:00:00 | 10.61 | 147.5 | 10.7 | 161.9 | 10.09 | 152.348 | 9.92 | 156.3 | 21.97 | 966.243 | 51.0316 | 44.7889
2020-05-21 09:15:00 | 10.19 | 144.3 | 10.46 | 160 | 10.23 | 150.56 | 9.99 | 151.7 | 22.13 | 966.54 | 51.1676 | 43.2112
2020-05-21 09:30:00 | 9.9 | 146.7 | 9.76 | 162.6 | 9.41 | 153.007 | 9.09 | 152.8 | 22.23 | 966.688 | 51.8834 | 39.9487
2020-05-21 09:45:00 | 9.68 | 144.6 | 10.2 | 158.2 | 9.3 | 148.866 | 9.05 | 153.4 | 22.58 | 967.117 | 52.9061 | 39.3197
2020-05-21 10:00:00 | 9.95 | 144.4 | 10.22 | 158.7 | 9.87 | 149.337 | 9.59 | 151.3 | 22.78 | 966.834 | 51.8471 | 39.2725
2020-05-21 10:15:00 | 8.57 | 142 | 8.8 | 158.8 | 8.56 | 149.431 | 8.43 | 150.2 | 23.6 | 967.401 | 50.514 | 35.2193
2020-05-21 10:30:00 | 8.75 | 148.6 | 8.69 | 162.4 | 7.833 | 152.818 | 7.749 | 159.2 | 24.17 | 967.42 | 49.591 | 40.7431
2020-05-21 10:45:00 | 9.35 | 141.6 | 9.42 | 156.4 | 8.61 | 147.172 | 8.48 | 149.2 | 24.05 | 966.843 | 47.4779 | 35.5075
2020-05-21 11:00:00 | 8.27 | 147.9 | 8.47 | 163.2 | 8.01 | 153.571 | 7.879 | 157 | 24.69 | 967.15 | 47.2734 | 34.5874
2020-05-21 11:15:00 | 9.06 | 149.6 | 9.01 | 161.9 | 8.01 | 152.348 | 7.912 | 160 | 25.33 | 966.987 | 43.013 | 37.8537
2020-05-21 11:30:00 | 9.83 | 153.3 | 9.5 | 167.6 | 8.85 | 157.712 | 8.78 | 160 | 25.58 | 966.69 | 43.6946 | 42.286
2020-05-21 11:45:00 | 8.8 | 152.8 | 8.52 | 170.6 | 7.625 | 160.535 | 7.591 | 159.1 | 25.7 | 966.839 | 43.8306 | 42.4649
2020-05-21 12:00:00 | 8.54 | 172.2 | 7.984 | 191.3 | 7.998 | 180.013 | 8.04 | 173.1 | 26.03 | 966.542 | 43.2159 | 49.9654
2020-05-21 12:15:00 | 8.67 | 156.2 | 8.96 | 174.4 | 8.5 | 164.11 | 8.56 | 160.5 | 26.28 | 966.69 | 43.3176 | 55.4819
2020-05-21 12:30:00 | 8.45 | 176.2 | 7.721 | 192.5 | 7.324 | 181.143 | 7.502 | 180 | 26.64 | 966.394 | 40.8309 | 48.8606
2020-05-21 12:45:00 | 10.15 | 169.3 | 9.98 | 182 | 8.91 | 171.262 | 9 | 177.9 | 26.89 | 966.245 | 39.6722 | 55.4618
2020-05-21 13:00:00 | 8.94 | 172.9 | 8.27 | 195.9 | 7.581 | 184.342 | 7.571 | 170.3 | 26.96 | 966.097 | 38.4107 | 60.5502
2020-05-21 13:15:00 | 9.37 | 152.1 | 9.18 | 166.5 | 8.89 | 156.676 | 8.81 | 158.7 | 27.33 | 966.394 | 37.0813 | 61.5094
2020-05-21 13:30:00 | 8.82 | 159.3 | 8.7 | 176.8 | 8.11 | 166.369 | 8.03 | 163.6 | 27.3 | 966.245 | 35.7852 | 64.2169
2020-05-21 13:45:00 | 10.02 | 148 | 10.45 | 164.1 | 9.57 | 154.418 | 9.4 | 154.6 | 27.57 | 966.097 | 35.5136 | 62.901
2020-05-21 14:00:00 | 10.91 | 168.8 | 10.58 | 185.1 | 9.48 | 174.179 | 9.37 | 172 | 27.76 | 966.394 | 33.8769 | 70.2833
2020-05-21 14:15:00 | 10.89 | 160.3 | 10.94 | 177.6 | 10.46 | 167.122 | 10.4 | 164.1 | 27.82 | 965.801 | 33.4004 | 69.0395
2020-05-21 14:30:00 | 10.14 | 177.2 | 9.95 | 193.1 | 9.15 | 181.707 | 9.12 | 180 | 27.88 | 965.524 | 33.8065 | 70.0185
2020-05-21 14:45:00 | 10.8 | 145 | 11.57 | 159.7 | 11.85 | 150.278 | 11.69 | 151.4 | 27.68 | 965.26 | 34.6526 | 69.3095
2020-05-21 15:00:00 | 11.33 | 147.9 | 11.72 | 163.8 | 11.49 | 154.136 | 11.45 | 154 | 27.96 | 965.21 | 34.276 | 71.9128
2020-05-21 15:15:00 | 9.6 | 164.5 | 9.62 | 179.8 | 9.7 | 169.192 | 9.74 | 166.7 | 27.92 | 964.913 | 34.6508 | 70.3609
2020-05-21 15:30:00 | 10.56 | 154.4 | 10.86 | 170.4 | 10.54 | 160.346 | 10.54 | 161.1 | 27.53 | 964.617 | 34.5826 | 64.237
2020-05-21 15:45:00 | 12.4 | 147.6 | 12.47 | 162.1 | 11.77 | 152.536 | 11.52 | 155.9 | 27.42 | 964.469 | 32.5043 | 72.7758
2020-05-21 16:00:00 | 14.07 | 146.8 | 14.29 | 162.5 | 13.72 | 152.912 | 13.4 | 154.1 | 27.3 | 964.024 | 29.9162 | 71.3089
2020-05-21 16:15:00 | 13.07 | 153.2 | 13.41 | 168.7 | 12.63 | 158.747 | 12.58 | 157.5 | 27.53 | 963.807 | 28.6246 | 74.1559
2020-05-21 16:30:00 | 13.2 | 148.9 | 13.69 | 164 | 13.26 | 154.324 | 13.01 | 155.2 | 27.41 | 962.866 | 29.4107 | 73.1887
2020-05-21 16:45:00 | 10.84 | 156.1 | 10.91 | 174.2 | 10.32 | 163.922 | 10.23 | 160.9 | 27.51 | 963.571 | 30.9131 | 74.8154
2020-05-21 17:00:00 | 12.88 | 149.6 | 13.39 | 166.3 | 13.36 | 156.488 | 13.12 | 154.7 | 27.48 | 963.7 | 31.5917 | 79.4307
2020-05-21 17:15:00 | 13.63 | 151.6 | 14.19 | 166.4 | 14.12 | 156.582 | 13.94 | 157.5 | 27.22 | 962.701 | 32.5094 | 78.3096
2020-05-21 17:30:00 | 12.16 | 149 | 12.41 | 163.3 | 12.25 | 153.665 | 12.07 | 155.8 | 27 | 963.123 | 32.4455 | 70.6153
2020-05-21 17:45:00 | 13.43 | 149.8 | 13.19 | 167.3 | 13.33 | 157.429 | 13.19 | 156.3 | 26.84 | 962.686 | 34.082 | 76.1328
2020-05-21 18:00:00 | 12.23 | 151.4 | 12.42 | 168.9 | 12.15 | 158.935 | 11.88 | 156.2 | 26.69 | 962.983 | 35.9236 | 68.9347
2020-05-21 18:15:00 | 11.59 | 149.8 | 11.58 | 167.1 | 11.39 | 157.241 | 11.26 | 153.4 | 26.48 | 962.405 | 36.7416 | 73.0824
2020-05-21 18:30:00 | 10.2 | 144.6 | 10.34 | 163.7 | 9.99 | 154.042 | 9.88 | 148.7 | 26.21 | 962.59 | 37.1506 | 78.2819
2020-05-21 18:45:00 | 11.17 | 148.7 | 10.96 | 167.1 | 10.96 | 157.241 | 10.92 | 151.1 | 26.12 | 963.091 | 36.8785 | 60.2668
2020-05-21 19:00:00 | 11.72 | 145.9 | 11.91 | 162.9 | 12.12 | 153.289 | 11.91 | 150.1 | 26.11 | 963.554 | 36.6104 | 52.0862
2020-05-21 19:15:00 | 10.25 | 148.9 | 10.7 | 165.3 | 11.39 | 155.547 | 11.24 | 154.4 | 26.12 | 963.869 | 35.8615 | 49.7326
2020-05-21 19:30:00 | 10.48 | 147.7 | 10.48 | 164.8 | 11.3 | 155.077 | 11.15 | 152.8 | 26.03 | 964.315 | 36.6797 | 37.3253
2020-05-21 19:45:00 | 6.557 | 157 | 6.713 | 169.5 | 7.327 | 159.499 | 7.308 | 162.5 | 26.1 | 964.751 | 36.2707 | 26.1115
2020-05-21 20:00:00 | 6.953 | 156.7 | 7.097 | 179.4 | 8.01 | 168.815 | 8.01 | 160.3 | 26.09 | 964.908 | 35.0435 | 33.1649
2020-05-21 20:15:00 | 8.46 | 161.1 | 8.52 | 176.1 | 8.43 | 165.71 | 8.4 | 164.4 | 26.14 | 964.463 | 36.1343 | 46.2541
2020-05-21 20:30:00 | 8.33 | 160.7 | 8.66 | 178.5 | 9.05 | 167.968 | 9.12 | 163.1 | 25.9 | 964.16 | 36.9524 | 65.9985
2020-05-21 20:45:00 | 14.05 | 146.6 | 14.47 | 163 | 15.9 | 153.383 | 15.69 | 152.4 | 25.03 | 961.792 | 41.5204 | 88.9133
2020-05-21 21:00:00 | 11.88 | 177.2 | 11.05 | 193.5 | 10.21 | 182.083 | 10.38 | 178 | 25.29 | 963.567 | 37.8388 | 88.1832
2020-05-21 21:15:00 | 14.44 | 167.5 | 14.47 | 183.2 | 13.98 | 172.391 | 14.04 | 171 | 24.87 | 960.755 | 41.6567 | 91.2036
2020-05-21 21:30:00 | 15.26 | 177.2 | 14.38 | 196.1 | 12.89 | 184.53 | 12.82 | 172.5 | 25.32 | 961.348 | 40.3624 | 85.1617
2020-05-21 21:45:00 | 17.37 | 177.1 | 17.39 | 191.7 | 17.57 | 180.39 | 17.67 | 179 | 25.07 | 959.717 | 38.6233 | 77.2851
2020-05-21 22:00:00 | 17.84 | 181.8 | 17.23 | 194.5 | 16.99 | 183.024 | 17.35 | 186.8 | 26.01 | 960.903 | 31.5665 | 80.5587
2020-05-21 22:15:00 | 16.89 | 176.6 | 16.63 | 192.4 | 16.09 | 181.048 | 16.06 | 180.2 | 26.07 | 961.348 | 35.8616 | 82.0165
2020-05-21 22:30:00 | 14.61 | 179.7 | 14.43 | 193 | 13.41 | 181.613 | 13.45 | 184.2 | 26.09 | 961.942 | 33.4754 | 80.334
2020-05-21 22:45:00 | 14.24 | 173.5 | 13.67 | 190.2 | 13.2 | 178.978 | 13.19 | 177.7 | 25.79 | 961.793 | 34.8389 | 80.1449
2020-05-21 23:00:00 | 12.8 | 174.2 | 12.13 | 189.4 | 11.99 | 178.225 | 12.16 | 177.4 | 25.53 | 962.532 | 37.9751 | 71.1479
2020-05-21 23:15:00 | 9.37 | 174.5 | 9.2 | 191.1 | 8.82 | 179.825 | 8.88 | 177.1 | 25.12 | 962.832 | 39.8159 | 52.4225
2020-05-21 23:30:00 | 8.8 | 165.3 | 8.5 | 179.2 | 7.948 | 168.627 | 7.953 | 174 | 24.5 | 962.832 | 42.7477 | 42.9872
2020-05-21 23:45:00 | 4.974 | 146.8 | 5.593 | 162.2 | 6.673 | 152.63 | 6.725 | 153.4 | 24.33 | 963.276 | 43.9774 | 10.8813