## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-22 00:00:00 | 4.589 | 180.1 | 4.609 | 195.9 | 4.344 | 184.342 | 4.242 | 179.2 | 24.3 | 964.167 | 42.8908 | -0.47294
2020-05-22 00:15:00 | 4.476 | 160.4 | 4.499 | 175.7 | 4.827 | 165.334 | 4.815 | 163.9 | 24.17 | 964.315 | 43.1637 | 0.29928
2020-05-22 00:30:00 | 3.789 | 88.1 | 4.042 | 99.6 | 3.67 | 93.7236 | 3.629 | 102.5 | 24.04 | 964.167 | 43.7092 | 1.9398
2020-05-22 00:45:00 | 3.008 | 88.4 | 3.336 | 99.3 | 2.627 | 93.4413 | 2.505 | 98.9 | 23.89 | 964.018 | 45.2778 | 1.6516
2020-05-22 01:00:00 | 3.641 | 125.5 | 3.727 | 137.6 | 3.565 | 129.482 | 3.427 | 134.1 | 23.93 | 963.87 | 44.8005 | 3.1665
2020-05-22 01:15:00 | 4.377 | 121.9 | 4.604 | 134 | 4.323 | 126.094 | 4.138 | 130.5 | 23.89 | 963.573 | 44.3232 | 3.1295
2020-05-22 01:30:00 | 2.561 | 114.6 | 2.756 | 123.8 | 2.886 | 116.496 | 2.778 | 124.7 | 23.98 | 963.87 | 43.3004 | 1.6516
2020-05-22 01:45:00 | 2.107 | 89.4 | 2.352 | 99.8 | 2.329 | 93.9118 | 2.246 | 104.3 | 23.6 | 963.722 | 44.9035 | 0.79439
2020-05-22 02:00:00 | 1.987 | 65.86 | 1.959 | 59.67 | 1.875 | 56.1495 | 1.655 | 94.2 | 23.2 | 963.425 | 46.3734 | 0.1404
2020-05-22 02:15:00 | 2.336 | 48.48 | 2.722 | 52.19 | 2.202 | 49.1108 | 2.144 | 62.43 | 22.96 | 963.276 | 46.3085 | 0.12562
2020-05-22 02:30:00 | 1.244 | 66.74 | 1.587 | 62.81 | 1.183 | 59.1042 | 0.864 | 89.9 | 23.27 | 963.128 | 45.9676 | -0.26233
2020-05-22 02:45:00 | 0.737 | 44.39 | 0.817 | 35.76 | 0.517 | 33.6502 | 0.133 | 54.84 | 23.04 | 963.425 | 45.8312 | -0.26233
2020-05-22 03:00:00 | 0 | 54.25 | 0.011 | 35.84 | 0 | 33.7254 | 0 | 54.83 | 23.21 | 963.276 | 46.445 | 0.081287
2020-05-22 03:15:00 | 0 | 116.3 | 0.458 | 36.1 | 0 | 33.9701 | 0 | 54.83 | 22.74 | 963.181 | 47.8431 | 0.081287
2020-05-22 03:30:00 | 1.854 | 288.7 | 1.838 | 305 | 1.264 | 287.005 | 0.798 | 287.6 | 22.52 | 963.158 | 47.127 | 0.13671
2020-05-22 03:45:00 | 0.314 | 327.5 | 0.899 | 346.4 | 0.722 | 325.962 | 0.516 | 306.7 | 22.62 | 963.266 | 46.037 | -0.16257
2020-05-22 04:00:00 | 0.285 | 323.1 | 0.915 | 345.8 | 1.374 | 325.398 | 1.236 | 330.5 | 22.53 | 963.253 | 46.5145 | -0.1404
2020-05-22 04:15:00 | 2.865 | 34.06 | 2.579 | 9.12 | 2.774 | 8.5819 | 2.49 | 7.186 | 22.48 | 963.243 | 46.5142 | -0.17366
2020-05-22 04:30:00 | 2.566 | 9.72 | 2.646 | 15.69 | 2.973 | 14.7643 | 2.982 | 16.34 | 22.42 | 963.243 | 47.8104 | -0.18474
2020-05-22 04:45:00 | 1.989 | 36.12 | 2.234 | 23.18 | 2.825 | 21.8124 | 2.467 | 6.486 | 22.28 | 963.386 | 47.196 | -0.218
2020-05-22 05:00:00 | 1.69 | 5.883 | 2.74 | 20.05 | 2.314 | 18.867 | 2.233 | 5.344 | 22.3 | 963.557 | 47.4684 | -0.24016
2020-05-22 05:15:00 | 1.587 | 18.31 | 2.495 | 36.96 | 2.571 | 34.7794 | 2.406 | 23.88 | 22.3 | 963.395 | 47.7439 | -0.24016
2020-05-22 05:30:00 | 1.685 | 28.74 | 2.546 | 37.66 | 2.607 | 35.4381 | 2.452 | 30.42 | 22.41 | 963.422 | 47.8132 | -0.24016
2020-05-22 05:45:00 | 2.367 | 21.57 | 3.024 | 36.33 | 3.255 | 34.1865 | 3.117 | 20.81 | 22.46 | 963.659 | 48.1511 | -0.25125
2020-05-22 06:00:00 | 2.114 | 26.41 | 2.707 | 37.4 | 2.879 | 35.1934 | 2.753 | 24.88 | 22.57 | 963.407 | 48.1842 | -0.24016
2020-05-22 06:15:00 | 1.345 | 35.67 | 2.502 | 37.85 | 2.573 | 35.6168 | 2.383 | 33.95 | 22.74 | 963.727 | 48.3547 | -0.24016
2020-05-22 06:30:00 | 1.78 | 30.73 | 2.408 | 37.79 | 2.253 | 35.5604 | 2.055 | 33.25 | 23.07 | 964.018 | 47.9386 | -0.24016
2020-05-22 06:45:00 | 1.766 | 40.33 | 2.093 | 37.93 | 1.996 | 35.6921 | 1.698 | 34.31 | 23.58 | 964.612 | 46.0936 | -0.25125
2020-05-22 07:00:00 | 1.544 | 53.43 | 2.554 | 63.36 | 2.116 | 59.6218 | 1.856 | 60.73 | 23.9 | 964.464 | 46.736 | -0.22539
2020-05-22 07:15:00 | 1.04 | 44.67 | 1.912 | 50.01 | 2.139 | 47.0594 | 1.821 | 63.41 | 24.28 | 964.714 | 44.9221 | 0.7131
2020-05-22 07:30:00 | 0.066 | 17.38 | 0.665 | 348.7 | 1.058 | 328.127 | 1.087 | 40.77 | 26.02 | 965.208 | 40.8304 | 0.9348
2020-05-22 07:45:00 | 0.882 | 181.3 | 0.7 | 178.7 | 0.27 | 168.157 | 0.143 | 43.55 | 25.93 | 965.405 | 40.2782 | 0.77961
2020-05-22 08:00:00 | 0.573 | 299.8 | 1.587 | 304.1 | 2.306 | 286.158 | 2.22 | 300.8 | 25.65 | 965.655 | 40.3407 | 0.41382
2020-05-22 08:15:00 | 2.519 | 310.7 | 3.006 | 320.1 | 2.672 | 301.214 | 2.591 | 314.8 | 25.44 | 965.803 | 42.5826 | -0.070202
2020-05-22 08:30:00 | 2.278 | 308.8 | 2.185 | 319 | 1.85 | 300.179 | 1.659 | 306.3 | 25.47 | 965.655 | 44.7624 | -0.23647
2020-05-22 08:45:00 | 1.918 | 337.2 | 2.987 | 335 | 2.996 | 315.235 | 3.003 | 347.8 | 25.62 | 965.655 | 45.9207 | -0.25125
2020-05-22 09:00:00 | 3.041 | 281.5 | 3.068 | 290.7 | 2.683 | 273.549 | 2.444 | 291.1 | 25.34 | 966.099 | 45.7832 | -0.22539
2020-05-22 09:15:00 | 2.729 | 337 | 3.157 | 334.2 | 3.047 | 314.482 | 2.944 | 336.9 | 25.75 | 966.396 | 40.9769 | -0.24386
2020-05-22 09:30:00 | 3.039 | 13.62 | 2.785 | 19.25 | 3.118 | 18.1143 | 2.969 | 12.15 | 26.48 | 966.544 | 39.3053 | -0.25125
2020-05-22 09:45:00 | 3.501 | 342.6 | 3.686 | 353.4 | 3.52 | 332.549 | 3.468 | 343.9 | 27.06 | 966.989 | 24.6595 | -0.084981
2020-05-22 10:00:00 | 3.361 | 4.709 | 3.142 | 5.427 | 3.266 | 5.1068 | 3.099 | 5.177 | 27.38 | 966.84 | 17.0984 | 0.17735
2020-05-22 10:15:00 | 4.507 | 331.3 | 5.003 | 330.3 | 4.585 | 310.812 | 4.281 | 349.4 | 27.34 | 967.285 | 23.0249 | 2.1134
2020-05-22 10:30:00 | 3.874 | 348.2 | 4.484 | 359.5 | 4.801 | 338.289 | 4.719 | 348 | 27.71 | 967.433 | 23.3673 | 8.4058
2020-05-22 10:45:00 | 2.866 | 348.9 | 3.39 | 4.402 | 4.206 | 4.1423 | 4.061 | 348.1 | 27.4 | 967.285 | 25.1738 | 11.8457
2020-05-22 11:00:00 | 3.785 | 345 | 4.706 | 6.545 | 5.592 | 6.1588 | 5.829 | 342.2 | 27.32 | 966.989 | 26.1625 | 14.5799
2020-05-22 11:15:00 | 3.414 | 5.506 | 4.576 | 26.95 | 5.381 | 25.3599 | 5.269 | 2.721 | 27.17 | 966.989 | 27.3548 | 16.9224
2020-05-22 11:30:00 | 3.879 | 351.3 | 4.031 | 10.33 | 4.404 | 9.7205 | 4.396 | 348 | 27.62 | 966.989 | 27.9681 | 14.6205
2020-05-22 11:45:00 | 3.543 | 359.3 | 4.239 | 11.06 | 4.949 | 10.4075 | 4.9 | 1.23 | 27.95 | 966.84 | 24.0164 | 15.4371
2020-05-22 12:00:00 | 3.505 | 355.8 | 4.221 | 26.48 | 4.651 | 24.9177 | 4.698 | 351.9 | 27.45 | 966.84 | 25.3795 | 11.0032
2020-05-22 12:15:00 | 5.589 | 306.7 | 5.698 | 315.3 | 5.44 | 296.697 | 5.33 | 312.1 | 27.56 | 966.544 | 26.4735 | 14.2843
2020-05-22 12:30:00 | 3.268 | 17.71 | 4.031 | 12.09 | 5.313 | 11.3767 | 5.05 | 17.3 | 28.51 | 966.248 | 22.8279 | 11.3062
2020-05-22 12:45:00 | 3.824 | 341.2 | 4.134 | 347.3 | 4.392 | 326.809 | 4.293 | 343.6 | 27.62 | 966.248 | 22.6576 | 7.5744
2020-05-22 13:00:00 | 4.686 | 334.9 | 4.821 | 345 | 4.702 | 324.645 | 4.713 | 331.4 | 28.06 | 965.803 | 24.3272 | 11.0735
2020-05-22 13:15:00 | 4.28 | 14.17 | 4.719 | 355.9 | 6.134 | 334.902 | 6.361 | 26.04 | 28.47 | 965.739 | 24.5683 | 10.0795
2020-05-22 13:30:00 | 3.084 | 17.62 | 3.773 | 19.78 | 5.175 | 18.613 | 4.876 | 19.81 | 28.65 | 965.725 | 25.9663 | 9.2482
2020-05-22 13:45:00 | 4.318 | 295.7 | 5.067 | 306.7 | 5.208 | 288.605 | 5.157 | 301.1 | 28.26 | 966.324 | 25.624 | 6.7542
2020-05-22 14:00:00 | 3.107 | 11.51 | 3.892 | 352.2 | 5.824 | 331.42 | 5.691 | 16.48 | 28.7 | 966.723 | 24.3618 | 7.3417
2020-05-22 14:15:00 | 2.232 | 0.439 | 3.279 | 28.87 | 3.609 | 27.1667 | 3.618 | 341.8 | 28.81 | 966.692 | 23.2027 | 2.2686
2020-05-22 14:30:00 | 1.673 | 303.9 | 2.404 | 311.5 | 2.299 | 293.121 | 2.163 | 307.6 | 28.23 | 966.692 | 23.1005 | 1.9435
2020-05-22 14:45:00 | 3.333 | 334.8 | 3.318 | 353 | 3.733 | 332.173 | 3.588 | 333.2 | 28.69 | 966.248 | 21.9753 | 1.6959
2020-05-22 15:00:00 | 3.651 | 335.8 | 3.881 | 337.1 | 3.728 | 317.211 | 3.647 | 344.7 | 28.65 | 966.396 | 21.2573 | 1.8844
2020-05-22 15:15:00 | 3.164 | 4.469 | 3.177 | 345.5 | 3.993 | 325.116 | 3.741 | 9.47 | 29.23 | 966.692 | 20.746 | 3.499
2020-05-22 15:30:00 | 2.537 | 315.7 | 3.63 | 324.3 | 3.519 | 305.166 | 3.558 | 325 | 28.88 | 966.692 | 23.6379 | 2.7083
2020-05-22 15:45:00 | 4.3 | 331.3 | 4.555 | 330.4 | 4.957 | 310.906 | 4.874 | 328.1 | 28.62 | 966.544 | 26.7371 | 3.8168
2020-05-22 16:00:00 | 2.601 | 14.32 | 3.097 | 10.31 | 3.531 | 9.7017 | 3.338 | 11.26 | 28.51 | 966.692 | 24.5915 | 2.6603
2020-05-22 16:15:00 | 1.982 | 353.6 | 2.409 | 356.1 | 2.676 | 335.09 | 2.603 | 343.9 | 28.3 | 966.84 | 25.2726 | 2.4386
2020-05-22 16:30:00 | 2.392 | 323 | 2.969 | 333 | 3.275 | 313.353 | 3.208 | 316.3 | 28.19 | 966.544 | 25.2725 | 1.0419
2020-05-22 16:45:00 | 2.861 | 314.7 | 3.617 | 318.3 | 3.514 | 299.52 | 3.613 | 309.6 | 28.65 | 966.692 | 26.5668 | 0.78331
2020-05-22 17:00:00 | 3.774 | 296.2 | 4.336 | 309.4 | 4.379 | 291.145 | 4.382 | 298.2 | 28.14 | 966.248 | 28.3719 | 0.96435
2020-05-22 17:15:00 | 2.686 | 313.7 | 3.208 | 327.4 | 3.334 | 308.083 | 3.241 | 312.9 | 27.85 | 965.951 | 28.8488 | 0.96805
2020-05-22 17:30:00 | 3.378 | 301.9 | 4.146 | 310.4 | 3.909 | 292.086 | 3.842 | 306 | 27.73 | 965.951 | 29.2274 | 1.5888
2020-05-22 17:45:00 | 2.021 | 315.4 | 2.575 | 324.4 | 2.451 | 305.26 | 2.18 | 324.5 | 27.6 | 965.506 | 30.8644 | 0.9311
2020-05-22 18:00:00 | 2.768 | 318.3 | 3.321 | 328.6 | 3.181 | 309.213 | 3.137 | 322 | 27.33 | 965.358 | 32.1635 | 0.42491
2020-05-22 18:15:00 | 1.966 | 314.2 | 2.804 | 323.2 | 2.235 | 304.131 | 2.09 | 324.2 | 26.89 | 964.913 | 32.0954 | -0.036948
2020-05-22 18:30:00 | 3.049 | 338.3 | 3.52 | 347.8 | 3.214 | 327.28 | 3.122 | 342.7 | 26.45 | 964.469 | 30.9384 | 0.60226
2020-05-22 18:45:00 | 3.054 | 354.3 | 3.308 | 1.842 | 2.779 | 1.7333 | 2.941 | 355.1 | 26.32 | 964.463 | 28.2188 | 0.75375
2020-05-22 19:00:00 | 2.773 | 2.314 | 3.576 | 17.92 | 3.703 | 16.8627 | 2.567 | 4.878 | 26.03 | 964.318 | 28.6298 | 1.0456
2020-05-22 19:15:00 | 3.399 | 7.888 | 4.042 | 19.71 | 3.387 | 18.5471 | 3.404 | 10.17 | 25.9 | 964.217 | 30.4703 | 0.8609
2020-05-22 19:30:00 | 2.758 | 23.01 | 3.3 | 31.18 | 2.807 | 29.3404 | 2.717 | 32.38 | 25.92 | 964.463 | 30.2367 | 0.40274
2020-05-22 19:45:00 | 2.857 | 69.38 | 2.74 | 34.27 | 3.225 | 32.2481 | 3.252 | 84.9 | 26.14 | 964.315 | 30.271 | -0.30298
2020-05-22 20:00:00 | 3.613 | 110.4 | 3.891 | 36.73 | 3.993 | 34.5629 | 3.937 | 121.6 | 26.75 | 964.315 | 25.7031 | -0.048033
2020-05-22 20:15:00 | 5.028 | 129.6 | 5.146 | 140.8 | 5.122 | 132.493 | 5.001 | 137.5 | 27.62 | 964.76 | 23.1123 | 1.3338
2020-05-22 20:30:00 | 4.338 | 129.1 | 4.53 | 143.9 | 4.593 | 135.41 | 4.606 | 132.6 | 27.5 | 964.612 | 22.1578 | 6.4734
2020-05-22 20:45:00 | 5.761 | 127.3 | 5.921 | 146.3 | 5.768 | 137.668 | 5.691 | 134.1 | 27.52 | 964.593 | 22.2942 | 11.5464
2020-05-22 21:00:00 | 5.122 | 128.2 | 5.468 | 156.2 | 6.193 | 146.984 | 6.183 | 144.2 | 26.93 | 964.612 | 24.7486 | 17.4692
2020-05-22 21:15:00 | 6.077 | 118.9 | 7.01 | 158.5 | 7.719 | 149.148 | 7.66 | 148.3 | 26.69 | 964.167 | 26.1121 | 20.4768
2020-05-22 21:30:00 | 5.822 | 109.4 | 6.55 | 151.9 | 7.658 | 142.938 | 7.69 | 141.7 | 26.4 | 964.612 | 26.7257 | 20.983
2020-05-22 21:45:00 | 7.918 | 101.5 | 8.47 | 148.4 | 8.37 | 139.644 | 8.18 | 139.9 | 26.62 | 964.463 | 25.6349 | 26.3073
2020-05-22 22:00:00 | 7.109 | 104.3 | 7.485 | 155.7 | 7.963 | 146.514 | 7.856 | 141.8 | 26.76 | 964.61 | 25.7031 | 34.8276
2020-05-22 22:15:00 | 7.15 | 106.8 | 7.585 | 152.3 | 8.05 | 143.314 | 8.02 | 142.8 | 26.66 | 964.463 | 25.294 | 33.8374
2020-05-22 22:30:00 | 8.79 | 102 | 8.94 | 152 | 8.82 | 143.032 | 8.65 | 141.8 | 26.66 | 964.315 | 25.294 | 33.1649
2020-05-22 22:45:00 | 8.25 | 102 | 9.12 | 155.2 | 9.17 | 146.043 | 9.06 | 144.3 | 26.53 | 964.167 | 26.044 | 43.1115
2020-05-22 23:00:00 | 9.1 | 100.7 | 9.31 | 152.8 | 9.91 | 143.785 | 9.83 | 145.1 | 26.39 | 964.018 | 26.3849 | 51.2216
2020-05-22 23:15:00 | 8.95 | 101.9 | 9.3 | 152.6 | 9.46 | 143.597 | 9.39 | 142.7 | 26.36 | 964.018 | 26.044 | 59.5979
2020-05-22 23:30:00 | 9.87 | 102.6 | 10.27 | 155.4 | 10.75 | 146.231 | 10.65 | 144.7 | 26.4 | 964.167 | 25.9076 | 65.916
2020-05-22 23:45:00 | 10.59 | 101.2 | 10.72 | 145 | 10.84 | 136.445 | 10.7 | 137.1 | 26.32 | 963.722 | 26.1121 | 80.4663