## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-23 00:00:00 | 11.36 | 100.8 | 11.76 | 143.1 | 12 | 134.657 | 11.97 | 134.8 | 26.35 | 963.573 | 26.044 | 81.5046
2020-05-23 00:15:00 | 11.15 | 105.5 | 11.25 | 138.7 | 11.24 | 130.517 | 11.3 | 133.2 | 26.02 | 963.722 | 26.7257 | 81.039
2020-05-23 00:30:00 | 10.31 | 106.9 | 10.48 | 147.4 | 10.09 | 138.703 | 10.19 | 136.1 | 25.92 | 963.87 | 27.1007 | 68.0036
2020-05-23 00:45:00 | 10.36 | 107 | 10.3 | 147.3 | 10.1 | 138.609 | 10.09 | 136.5 | 25.3 | 963.425 | 31.0891 | 58.216
2020-05-23 01:00:00 | 9.85 | 112.4 | 9.6 | 144.8 | 9.06 | 136.257 | 8.96 | 135.8 | 24.94 | 963.425 | 32.5898 | 54.7096
2020-05-23 01:15:00 | 8.15 | 117.3 | 8.44 | 143.6 | 8.53 | 135.128 | 8.55 | 134.6 | 24.67 | 963.573 | 32.8303 | 49.8582
2020-05-23 01:30:00 | 8.33 | 122.6 | 9.03 | 149.6 | 9.64 | 140.774 | 9.63 | 141 | 24.8 | 963.128 | 33.2764 | 57.1186
2020-05-23 01:45:00 | 9.67 | 117.7 | 10.2 | 147.8 | 10.54 | 139.08 | 10.45 | 137.7 | 24.84 | 962.832 | 37.777 | 69.7809
2020-05-23 02:00:00 | 10.73 | 126.9 | 11.28 | 145.9 | 11.42 | 137.292 | 11.42 | 136.3 | 24.65 | 962.386 | 38.5953 | 79.1953
2020-05-23 02:15:00 | 11.41 | 132.5 | 11.43 | 150.3 | 11.58 | 141.432 | 11.62 | 139.2 | 24.57 | 962.09 | 41.8002 | 81.6819
2020-05-23 02:30:00 | 11.58 | 133.8 | 12 | 149.9 | 12.53 | 141.056 | 12.43 | 139.2 | 24.56 | 962.09 | 42.9594 | 82.5207
2020-05-23 02:45:00 | 10.53 | 132.4 | 10.52 | 149.4 | 10.98 | 140.585 | 10.99 | 138.4 | 24.39 | 961.793 | 43.8459 | 81.4233
2020-05-23 03:00:00 | 9.85 | 130.9 | 10.4 | 147.2 | 11.19 | 138.515 | 11.28 | 137.9 | 24.22 | 961.348 | 41.1183 | 79.4133
2020-05-23 03:15:00 | 10.26 | 136.1 | 10.67 | 152.3 | 11.31 | 143.314 | 11.16 | 141 | 24.14 | 961.497 | 43.5731 | 78.3233
2020-05-23 03:30:00 | 10.29 | 137.9 | 10.55 | 155.6 | 11.21 | 146.42 | 11.2 | 142.5 | 24.33 | 961.497 | 40.5046 | 78.7778
2020-05-23 03:45:00 | 10.58 | 134.2 | 10.95 | 151.3 | 11.77 | 142.373 | 11.72 | 141 | 23.87 | 961.497 | 52.7446 | 75.046
2020-05-23 04:00:00 | 11.46 | 134.1 | 11.52 | 151.7 | 11.51 | 142.75 | 11.38 | 139.7 | 23.1 | 961.052 | 58.8817 | 79.5611
2020-05-23 04:15:00 | 10.72 | 135.5 | 11.2 | 151.7 | 11.89 | 142.75 | 11.77 | 140.5 | 22.58 | 961.052 | 61.0363 | 76.3281
2020-05-23 04:30:00 | 10.83 | 132.6 | 11.07 | 149.2 | 11.52 | 140.397 | 11.47 | 139.6 | 22.41 | 961.052 | 63.5294 | 77.6102
2020-05-23 04:45:00 | 10.64 | 134.2 | 11.04 | 149.9 | 11.56 | 141.056 | 11.53 | 141.3 | 22.41 | 961.2 | 62.6087 | 76.3281
2020-05-23 05:00:00 | 9.73 | 138.1 | 10.27 | 154.3 | 10.67 | 145.196 | 10.63 | 146.5 | 22.82 | 961.521 | 61.5175 | 77.3664
2020-05-23 05:15:00 | 11.46 | 136.2 | 11.72 | 150.9 | 11.46 | 141.997 | 11.19 | 144.1 | 22.57 | 961.361 | 62.8133 | 81.6376
2020-05-23 05:30:00 | 10.2 | 140.4 | 10.18 | 158.6 | 10.56 | 149.243 | 10.58 | 146.1 | 22.2 | 961.26 | 63.8363 | 80.0082
2020-05-23 05:45:00 | 12.35 | 141.1 | 12.47 | 157.1 | 13.18 | 147.831 | 13.06 | 146.8 | 22.32 | 961.682 | 64.4501 | 76.4611
2020-05-23 06:00:00 | 9.85 | 141.8 | 10.69 | 159.8 | 11.08 | 150.372 | 10.95 | 147.4 | 22.06 | 961.535 | 65.9846 | 77.9834
2020-05-23 06:15:00 | 11.15 | 136.7 | 11.79 | 153.8 | 12.01 | 144.726 | 11.79 | 143.9 | 21.99 | 961.349 | 67.3828 | 79.9158
2020-05-23 06:30:00 | 10.97 | 141.2 | 11.39 | 159.8 | 12.03 | 150.372 | 11.91 | 146.3 | 22.01 | 961.497 | 68.0648 | 80.555
2020-05-23 06:45:00 | 10.2 | 140.9 | 10.92 | 158.4 | 11.95 | 149.054 | 11.93 | 146.8 | 22 | 961.497 | 67.7902 | 76.9489
2020-05-23 07:00:00 | 11.74 | 145.1 | 12.12 | 161.8 | 12.26 | 152.254 | 12.15 | 149.3 | 22.08 | 961.645 | 68.8387 | 76.4574
2020-05-23 07:15:00 | 11.87 | 146.2 | 12.32 | 163.1 | 12.27 | 153.477 | 12.09 | 153.7 | 21.9 | 961.793 | 69.008 | 78.5403
2020-05-23 07:30:00 | 10.63 | 151.7 | 10.76 | 167.5 | 10.83 | 157.617 | 10.81 | 157.8 | 22 | 962.09 | 67.6782 | 72.4448
2020-05-23 07:45:00 | 9.77 | 151.7 | 10.07 | 167.9 | 10.09 | 157.994 | 9.89 | 158.1 | 22.27 | 962.98 | 66.7576 | 68.6576
2020-05-23 08:00:00 | 10.81 | 149.8 | 10.73 | 168.2 | 10.26 | 158.276 | 10.14 | 154.2 | 22.63 | 962.683 | 66.4156 | 61.943
2020-05-23 08:15:00 | 10.86 | 153.5 | 10.19 | 168.6 | 9.78 | 158.653 | 9.85 | 158.6 | 23.06 | 962.832 | 65.2483 | 53.1651
2020-05-23 08:30:00 | 9.02 | 153 | 8.95 | 167.1 | 8.69 | 157.241 | 8.52 | 161.2 | 23.27 | 963.277 | 65.11 | 44.6818
2020-05-23 08:45:00 | 9.13 | 155.3 | 8.52 | 172.9 | 8.09 | 162.699 | 8.14 | 161.8 | 23.36 | 963.425 | 65.2463 | 31.7978
2020-05-23 09:00:00 | 6.866 | 161.5 | 7.035 | 177.2 | 6.747 | 166.745 | 6.649 | 166.5 | 23.37 | 963.425 | 66.2349 | 21.5594
2020-05-23 09:15:00 | 7.783 | 150.7 | 7.641 | 168.7 | 7.683 | 158.747 | 7.573 | 154.5 | 23.26 | 963.277 | 65.7917 | 14.3212
2020-05-23 09:30:00 | 5.564 | 153.7 | 5.517 | 171.5 | 5.366 | 161.382 | 5.274 | 160.5 | 23.66 | 963.87 | 64.9054 | 6.4549
2020-05-23 09:45:00 | 4.484 | 148.7 | 4.673 | 164.3 | 4.392 | 154.606 | 4.163 | 156.8 | 23.69 | 963.87 | 66.6099 | 2.1282
2020-05-23 10:00:00 | 3.759 | 164.9 | 3.717 | 173.2 | 3.28 | 162.981 | 3.073 | 169.1 | 23.96 | 964.167 | 64.7691 | -0.15518
2020-05-23 10:15:00 | 3.184 | 183.7 | 2.866 | 195.5 | 2.06 | 183.965 | 1.853 | 192.8 | 24.58 | 964.612 | 62.4499 | -0.37318
2020-05-23 10:30:00 | 3.572 | 149.9 | 3.53 | 166.7 | 2.927 | 156.865 | 2.707 | 154.9 | 24.69 | 964.57 | 62.0358 | -0.26233
2020-05-23 10:45:00 | 3.268 | 183.3 | 3.246 | 196 | 2.769 | 184.436 | 2.679 | 195.7 | 24.97 | 964.491 | 59.6456 | 1.9176
2020-05-23 11:00:00 | 6.182 | 279.2 | 6.757 | 292.3 | 6.79 | 275.054 | 6.735 | 280.7 | 24.2 | 964.499 | 60.1237 | 10.2458
2020-05-23 11:15:00 | 5.972 | 299.6 | 6.35 | 314.6 | 6.116 | 296.039 | 6.03 | 298.6 | 22.63 | 964.605 | 71.313 | 18.1269
2020-05-23 11:30:00 | 4.701 | 327.6 | 5.013 | 338.3 | 4.392 | 318.34 | 4.189 | 330.6 | 21.5 | 963.425 | 81.7467 | 13.9591
2020-05-23 11:45:00 | 2.967 | 351.8 | 3.364 | 21.25 | 3.906 | 19.9963 | 3.961 | 341.3 | 21.29 | 964.167 | 81.5546 | 9.6398
2020-05-23 12:00:00 | 2.583 | 11.41 | 4.029 | 29.45 | 3.191 | 27.7124 | 2.931 | 3.825 | 20.94 | 964.167 | 78.6226 | 10.2041
2020-05-23 12:15:00 | 2.988 | 1.632 | 3.196 | 16.19 | 3.359 | 15.2348 | 3.438 | 347 | 22.34 | 965.057 | 69.1783 | 13.8261
2020-05-23 12:30:00 | 4.469 | 311 | 4.701 | 324.6 | 4.453 | 305.449 | 4.329 | 313.9 | 22.08 | 965.353 | 67.9841 | 19.2834
2020-05-23 12:45:00 | 3.613 | 338.7 | 3.62 | 352.6 | 3.53 | 331.797 | 3.473 | 337.9 | 21.73 | 965.205 | 69.6183 | 18.9656
2020-05-23 13:00:00 | 4.29 | 1.105 | 5.578 | 25.78 | 5.681 | 24.259 | 5.651 | 352.8 | 21.75 | 964.463 | 72.2806 | 19.3425
2020-05-23 13:15:00 | 6.583 | 356 | 6.836 | 20.26 | 7.286 | 19.0647 | 7.64 | 353.6 | 21.65 | 964.76 | 69.076 | 37.3528
2020-05-23 13:30:00 | 3.661 | 359.8 | 5.678 | 27.51 | 5.87 | 25.8869 | 6.162 | 350.2 | 22.61 | 965.205 | 64.5755 | 59.5942
2020-05-23 13:45:00 | 8.66 | 0.165 | 9.39 | 29.59 | 10.33 | 27.8442 | 10.57 | 358.7 | 22.17 | 964.908 | 72.2085 | 62.043
2020-05-23 14:00:00 | 4.919 | 358.2 | 5.711 | 4.569 | 7.052 | 4.2994 | 6.929 | 2.317 | 22.48 | 965.947 | 65.8272 | 58.9771
2020-05-23 14:15:00 | 4.974 | 0.643 | 6.146 | 16.94 | 7.693 | 15.9405 | 7.329 | 354.4 | 22.94 | 966.095 | 64.5986 | 59.8393
2020-05-23 14:30:00 | 5.316 | 10.28 | 7.229 | 27.28 | 8.28 | 25.6705 | 8.22 | 359.5 | 22.36 | 965.947 | 65.9616 | 64.8224
2020-05-23 14:45:00 | 6.046 | 7.206 | 8.86 | 33.52 | 8.87 | 31.5423 | 9.07 | 359.5 | 22.02 | 966.243 | 65.3117 | 72.2401
2020-05-23 15:00:00 | 5.883 | 3.45 | 8.57 | 31.49 | 8.45 | 29.6321 | 8.57 | 355.7 | 21.99 | 965.798 | 66.1993 | 71.6452
2020-05-23 15:15:00 | 8.78 | 10.59 | 9.77 | 27.93 | 8.94 | 26.2821 | 9.12 | 5.494 | 21.43 | 965.65 | 68.6552 | 69.064
2020-05-23 15:30:00 | 7.387 | 6.484 | 9.68 | 29.36 | 8.7 | 27.6278 | 8.83 | 3.005 | 21.73 | 965.353 | 66.2349 | 66.7413
2020-05-23 15:45:00 | 8.06 | 357.5 | 8.65 | 27.35 | 9.31 | 25.7363 | 9.44 | 353.8 | 21.6 | 965.205 | 67.6666 | 59.8824
2020-05-23 16:00:00 | 8.23 | 7.947 | 9.79 | 27.87 | 9.26 | 26.2257 | 9.61 | 1.767 | 21.82 | 965.186 | 67.7348 | 68.845
2020-05-23 16:15:00 | 7.104 | 0.548 | 8.49 | 20.43 | 9.68 | 19.2246 | 10.02 | 359.3 | 21.82 | 965.057 | 66.2008 | 58.9476
2020-05-23 16:30:00 | 6.754 | 356.4 | 8.01 | 25.32 | 8.77 | 23.8261 | 8.99 | 348.1 | 21.72 | 965.353 | 62.9282 | 60.9324
2020-05-23 16:45:00 | 8.1 | 359.6 | 8.8 | 24.47 | 9.75 | 23.0263 | 9.96 | 354.4 | 21.56 | 964.908 | 61.9056 | 63.7841
2020-05-23 17:00:00 | 7.714 | 359.1 | 8.57 | 23.31 | 9.33 | 21.9347 | 9.75 | 354.8 | 21.57 | 964.76 | 62.1199 | 60.4239
2020-05-23 17:15:00 | 8.41 | 354.7 | 9.07 | 26.08 | 11.01 | 24.5413 | 11.38 | 350 | 21.43 | 965.353 | 60.4159 | 64.2814
2020-05-23 17:30:00 | 9.42 | 356.9 | 9.74 | 22.59 | 11.6 | 21.2572 | 12.14 | 357.7 | 21.14 | 964.612 | 61.507 | 66.379
2020-05-23 17:45:00 | 9.19 | 6.726 | 9.66 | 23.08 | 9.73 | 21.7183 | 9.78 | 6.18 | 21 | 964.018 | 59.7414 | 57.5905
2020-05-23 18:00:00 | 9.55 | 5.992 | 9.86 | 22.5 | 9.67 | 21.1725 | 9.6 | 7.356 | 20.89 | 963.87 | 59.1986 | 58.6187
2020-05-23 18:15:00 | 9.4 | 8.13 | 9.87 | 25.47 | 8.91 | 23.9673 | 8.88 | 8.62 | 20.84 | 964.4 | 58.5166 | 44.0536
2020-05-23 18:30:00 | 8.05 | 10 | 9.75 | 28.2 | 8.66 | 26.5362 | 8.28 | 12.86 | 20.93 | 964.899 | 56.8487 | 31.8717
2020-05-23 18:45:00 | 5.75 | 15.95 | 7.713 | 32.95 | 7.304 | 31.006 | 6.83 | 17.85 | 21 | 965.203 | 54.8395 | 12.8655
2020-05-23 19:00:00 | 3.848 | 20.91 | 6.43 | 32.65 | 6.345 | 30.7236 | 6.269 | 28.16 | 20.84 | 965.647 | 54.7399 | 7.3195
2020-05-23 19:15:00 | 3.59 | 19.92 | 5.959 | 32.97 | 6.055 | 31.0248 | 5.903 | 25.07 | 20.83 | 965.648 | 54.0928 | 6.0226
2020-05-23 19:30:00 | 3.779 | 20.35 | 6.171 | 36.09 | 6.671 | 33.9607 | 6.539 | 25.3 | 20.91 | 965.796 | 52.4215 | 5.9413
2020-05-23 19:45:00 | 4.499 | 20.29 | 6.859 | 37.04 | 7.518 | 34.8546 | 7.443 | 24.43 | 20.89 | 965.648 | 48.9768 | 6.95
2020-05-23 20:00:00 | 3.207 | 24.85 | 5.545 | 40.16 | 6.096 | 37.7906 | 6.091 | 31.84 | 20.77 | 966.241 | 50.6139 | 5.6827
2020-05-23 20:15:00 | 3.115 | 32.1 | 4.525 | 48.56 | 4.623 | 45.695 | 4.505 | 39.27 | 21 | 966.093 | 49.1475 | 3.5618
2020-05-23 20:30:00 | 4.147 | 35.06 | 5.939 | 46.61 | 6.147 | 43.86 | 6.053 | 44.28 | 20.96 | 965.945 | 49.455 | 5.3169
2020-05-23 20:45:00 | 3.245 | 35.45 | 5.402 | 49.73 | 6.437 | 46.7959 | 6.458 | 39.39 | 20.81 | 966.538 | 48.9768 | 3.6911
2020-05-23 21:00:00 | 2.854 | 38.22 | 4.43 | 46.12 | 4.562 | 43.3989 | 4.413 | 44.19 | 20.87 | 966.538 | 49.6596 | 5.764
2020-05-23 21:15:00 | 4.052 | 32.4 | 5.527 | 45.9 | 5.656 | 43.1919 | 5.612 | 39.02 | 20.85 | 966.983 | 48.9776 | 6.2739
2020-05-23 21:30:00 | 2.773 | 29.64 | 4.688 | 41.36 | 4.25 | 38.9198 | 4.115 | 38.69 | 20.7 | 967.132 | 48.6363 | 4.6629
2020-05-23 21:45:00 | 2.122 | 66.4 | 2.523 | 82.5 | 2.638 | 77.6325 | 2.447 | 71.75 | 20.65 | 967.132 | 48.6384 | 0.92371
2020-05-23 22:00:00 | 1.471 | 52.74 | 2.664 | 59.39 | 2.833 | 55.886 | 2.758 | 61.8 | 20.56 | 967.292 | 48.982 | -0.033254
2020-05-23 22:15:00 | 1.846 | 69.61 | 2.347 | 81.7 | 2.548 | 76.8797 | 2.516 | 76.41 | 20.64 | 967.466 | 48.8482 | 0.26603
2020-05-23 22:30:00 | 1.979 | 41.6 | 2.297 | 53.1 | 2.579 | 49.9671 | 2.411 | 51.48 | 20.61 | 967.302 | 48.8487 | 0.26233
2020-05-23 22:45:00 | 1.647 | 31.11 | 2.773 | 39.23 | 2.955 | 36.9154 | 2.747 | 43.44 | 20.39 | 967.764 | 49.9403 | -0.1404
2020-05-23 23:00:00 | 0.007 | 47.07 | 0.365 | 37.62 | 0.89 | 35.4004 | 0.75 | 51.09 | 20.35 | 968.12 | 49.8039 | -0.30667
2020-05-23 23:15:00 | 0.562 | 33.07 | 0.983 | 37.49 | 1.171 | 35.2781 | 0.83 | 20.04 | 20.39 | 968.161 | 49.3945 | -0.24016
2020-05-23 23:30:00 | 0 | 44.91 | 0.77 | 38.41 | 0.556 | 36.1438 | 0.04 | 23.58 | 20.45 | 968.598 | 49.531 | -0.24016
2020-05-23 23:45:00 | 0 | 97.6 | 0 | 38.39 | 0.289 | 36.125 | 0 | 23.58 | 20.27 | 968.611 | 49.3945 | -0.24016