## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-24 00:00:00 | 0 | 124.6 | 0.624 | 38.39 | 0.842 | 36.125 | 0 | 23.54 | 20.04 | 968.614 | 49.3263 | -0.25125
2020-05-24 00:15:00 | 0.019 | 124.9 | 0.53 | 38.39 | 0 | 36.125 | 0 | 22.81 | 20.31 | 968.763 | 48.4735 | -0.24016
2020-05-24 00:30:00 | 0 | 155 | 0.15 | 37.61 | 0.565 | 35.391 | 0.169 | 22.6 | 19.87 | 968.614 | 50.4179 | -0.25125
2020-05-24 00:45:00 | 0.874 | 221.7 | 0.954 | 235.4 | 0.211 | 221.511 | 0 | 238.5 | 19.9 | 968.614 | 53.0104 | -0.24016
2020-05-24 01:00:00 | 0.167 | 221.7 | 1.328 | 235.8 | 0.634 | 221.888 | 0 | 240.2 | 19.67 | 968.614 | 55.1254 | -0.24016
2020-05-24 01:15:00 | 1.005 | 245.5 | 1.615 | 237.4 | 0.997 | 223.393 | 0.102 | 240.2 | 19.69 | 968.614 | 54.5113 | -0.24016
2020-05-24 01:30:00 | 1.961 | 287 | 1.991 | 271.8 | 1.538 | 255.764 | 1.303 | 314.3 | 19.86 | 968.466 | 52.874 | -0.24016
2020-05-24 01:45:00 | 1.91 | 282.8 | 2.224 | 296.5 | 1.383 | 279.007 | 0.809 | 289.4 | 19.93 | 968.763 | 53.2151 | -0.24016
2020-05-24 02:00:00 | 1.021 | 263.7 | 1.948 | 280.5 | 2.095 | 263.951 | 1.777 | 269 | 19.81 | 968.614 | 54.0338 | -0.24016
2020-05-24 02:15:00 | 1.183 | 263.8 | 1.994 | 280.6 | 2.406 | 264.045 | 2.014 | 269 | 19.75 | 968.614 | 54.6478 | -0.24016
2020-05-24 02:30:00 | 1.304 | 262 | 2.157 | 280.3 | 2.749 | 263.762 | 2.546 | 269 | 19.67 | 968.614 | 54.9889 | -0.24016
2020-05-24 02:45:00 | 1.836 | 272.3 | 2.538 | 288 | 2.398 | 271.008 | 1.812 | 278.7 | 19.66 | 968.763 | 54.9889 | -0.25125
2020-05-24 03:00:00 | 2.153 | 276.4 | 2.937 | 286.7 | 2.647 | 269.785 | 2.19 | 285.4 | 19.65 | 968.614 | 54.102 | -0.26233
2020-05-24 03:15:00 | 1.725 | 279.5 | 2.589 | 289.4 | 1.882 | 272.325 | 1.342 | 286.3 | 19.73 | 968.911 | 54.8525 | -0.24016
2020-05-24 03:30:00 | 2.704 | 283.3 | 3.103 | 295.2 | 1.561 | 277.783 | 0.752 | 288.2 | 19.71 | 969.208 | 53.9655 | -0.055423
2020-05-24 03:45:00 | 2.035 | 279 | 2.474 | 295.4 | 1.375 | 277.971 | 0.837 | 294.6 | 19.78 | 968.911 | 54.0679 | 0.059118
2020-05-24 04:00:00 | 2.546 | 275.2 | 3.262 | 289.6 | 2.851 | 272.514 | 2.434 | 276.3 | 19.7 | 968.911 | 54.9207 | 0.39165
2020-05-24 04:15:00 | 2.314 | 278 | 3.372 | 294.7 | 2.985 | 277.313 | 2.59 | 285.6 | 19.56 | 968.911 | 55.5347 | 0.22908
2020-05-24 04:30:00 | 2.602 | 271.4 | 3.863 | 286.8 | 3.466 | 269.879 | 3.073 | 276.5 | 19.5 | 968.763 | 56.1487 | 0.27342
2020-05-24 04:45:00 | 1.982 | 278.6 | 2.858 | 300 | 4.303 | 282.3 | 4.339 | 275.2 | 19.18 | 969.06 | 57.5132 | 0.23647
2020-05-24 05:00:00 | 2.638 | 275.5 | 3.819 | 299.5 | 4.331 | 281.829 | 4.041 | 274.8 | 19.41 | 969.208 | 56.6945 | 0.16996
2020-05-24 05:15:00 | 1.027 | 269.8 | 2.747 | 294.8 | 3.789 | 277.407 | 3.662 | 272.5 | 19.47 | 969.653 | 53.2151 | 0.21061
2020-05-24 05:30:00 | 2.303 | 265.7 | 3.484 | 281.2 | 3.624 | 264.609 | 3.361 | 271.7 | 19.59 | 969.802 | 54.2384 | 0.3584
2020-05-24 05:45:00 | 2.375 | 264.6 | 3.512 | 283.9 | 4.163 | 267.15 | 3.845 | 265.6 | 19.53 | 969.802 | 55.0571 | 1.0493
2020-05-24 06:00:00 | 2.965 | 265.9 | 3.796 | 291.5 | 3.972 | 274.301 | 3.679 | 265.3 | 19.68 | 969.802 | 53.6585 | 0.46186
2020-05-24 06:15:00 | 2.597 | 271.3 | 3.627 | 292.4 | 4.036 | 275.148 | 3.82 | 266.8 | 19.61 | 970.396 | 52.2599 | 0.45447
2020-05-24 06:30:00 | 2.176 | 264.4 | 3.249 | 274.2 | 4.453 | 258.022 | 4.311 | 266.2 | 19.74 | 970.27 | 55.944 | 0.4286
2020-05-24 06:45:00 | 2.643 | 263.3 | 3.287 | 271.4 | 5.109 | 255.387 | 5.004 | 265.7 | 19.53 | 970.633 | 56.831 | 1.6183
2020-05-24 07:00:00 | 1.848 | 239.9 | 2.388 | 245.1 | 3.265 | 230.639 | 3.191 | 253.8 | 19.89 | 970.844 | 57.0956 | 0.40274
2020-05-24 07:15:00 | 2.689 | 254.7 | 3.044 | 263.2 | 3.509 | 247.671 | 3.404 | 259.6 | 19.98 | 970.663 | 57.4994 | 0.040643
2020-05-24 07:30:00 | 2.395 | 252.6 | 2.612 | 263.1 | 2.902 | 247.577 | 2.783 | 257.8 | 19.89 | 970.992 | 59.4374 | -0.23647
2020-05-24 07:45:00 | 2.451 | 252.5 | 2.421 | 252.2 | 3.451 | 237.32 | 3.336 | 257.8 | 19.99 | 970.99 | 58.4386 | -0.24016
2020-05-24 08:00:00 | 2.132 | 231.7 | 2.138 | 235.8 | 2.352 | 221.888 | 2.038 | 239.2 | 20.58 | 970.99 | 55.1311 | -0.20322
2020-05-24 08:15:00 | 1.734 | 252.4 | 1.816 | 269.9 | 1.885 | 253.976 | 1.566 | 255.1 | 21.4 | 971.732 | 53.7246 | -0.24016
2020-05-24 08:30:00 | 2.684 | 243.7 | 3.052 | 257.9 | 3.085 | 242.684 | 2.887 | 250.9 | 21.21 | 971.601 | 52.8977 | -0.25864
2020-05-24 08:45:00 | 3.825 | 253.5 | 3.904 | 268.8 | 3.565 | 252.941 | 3.435 | 255.8 | 21.54 | 972.031 | 47.3756 | -0.20322
2020-05-24 09:00:00 | 3.011 | 293.3 | 3.356 | 305 | 2.596 | 287.005 | 2.336 | 293.2 | 22.29 | 972.177 | 49.4547 | 0.081287
2020-05-24 09:15:00 | 2.419 | 292.9 | 2.96 | 313.9 | 2.512 | 295.38 | 2.228 | 291.8 | 22.53 | 972.325 | 49.692 | 0.92371
2020-05-24 09:30:00 | 3.802 | 297.4 | 3.686 | 311.8 | 3.349 | 293.404 | 3.219 | 294.5 | 22.66 | 972.622 | 47.7829 | 1.8696
2020-05-24 09:45:00 | 4.55 | 263.2 | 4.773 | 273 | 4.656 | 256.893 | 4.497 | 264.9 | 22.92 | 972.622 | 44.3064 | 2.2058
2020-05-24 10:00:00 | 4.693 | 246.7 | 5.036 | 260.6 | 5.107 | 245.225 | 4.925 | 249.4 | 22.73 | 972.604 | 45.6696 | 5.2836
2020-05-24 10:15:00 | 4.384 | 257.8 | 4.228 | 273.8 | 4.392 | 257.646 | 4.354 | 257.4 | 23.02 | 972.918 | 42.8066 | 4.8624
2020-05-24 10:30:00 | 4.175 | 282.9 | 4.952 | 300.5 | 4.73 | 282.771 | 4.538 | 283.9 | 23.6 | 972.77 | 39.534 | 4.1382
2020-05-24 10:45:00 | 3.927 | 271.7 | 4.676 | 290.2 | 4.641 | 273.078 | 4.502 | 266.5 | 23.27 | 972.77 | 44.3754 | 4.4597
2020-05-24 11:00:00 | 4.084 | 280.5 | 4.653 | 295.4 | 4.985 | 277.971 | 4.887 | 281.1 | 23.27 | 972.77 | 50.7493 | 5.6605
2020-05-24 11:15:00 | 3.276 | 263.6 | 3.484 | 278.5 | 3.647 | 262.068 | 3.517 | 264.3 | 23.43 | 972.77 | 49.8966 | 2.4571
2020-05-24 11:30:00 | 3.245 | 299.4 | 3.546 | 315.2 | 3.156 | 296.603 | 2.931 | 298.2 | 23.13 | 972.621 | 49.0098 | 1.8881
2020-05-24 11:45:00 | 5.14 | 247.9 | 5.039 | 264.4 | 4.789 | 248.8 | 4.685 | 247.7 | 23.37 | 972.176 | 49.7915 | 2.0765
2020-05-24 12:00:00 | 4.032 | 236.6 | 4.049 | 248 | 4.163 | 233.368 | 4.13 | 239.2 | 23.34 | 972.621 | 49.9645 | 2.4682
2020-05-24 12:15:00 | 5.023 | 258.9 | 5.1 | 274.1 | 4.862 | 257.928 | 4.734 | 258.2 | 23.72 | 972.176 | 46.8302 | 6.3293
2020-05-24 12:30:00 | 4.512 | 267.1 | 4.683 | 277.5 | 4.725 | 261.128 | 4.627 | 270.1 | 24.3 | 972.621 | 46.1827 | 5.5534
2020-05-24 12:45:00 | 4.836 | 244.5 | 4.901 | 259.4 | 4.628 | 244.095 | 4.533 | 248.6 | 23.81 | 972.176 | 48.4662 | 9.1965
2020-05-24 13:00:00 | 5.686 | 254.6 | 5.795 | 265.7 | 5.933 | 250.024 | 5.844 | 259 | 23.53 | 972.176 | 47.2393 | 8.9674
2020-05-24 13:15:00 | 5.163 | 265.7 | 5.941 | 280.7 | 5.694 | 264.139 | 5.587 | 267.1 | 24.12 | 972.176 | 47.9891 | 7.5744
2020-05-24 13:30:00 | 6.166 | 257.7 | 6.233 | 267 | 6.182 | 251.247 | 6.091 | 262.2 | 23.82 | 972.176 | 48.5344 | 4.6518
2020-05-24 13:45:00 | 6.011 | 290 | 6.312 | 302 | 5.631 | 284.182 | 5.523 | 289.6 | 23.87 | 972.349 | 49.3865 | 6.2997
2020-05-24 14:00:00 | 3.914 | 311.6 | 3.888 | 327.6 | 3.995 | 308.272 | 3.985 | 308.7 | 24.3 | 971.883 | 45.1943 | 5.6088
2020-05-24 14:15:00 | 4.76 | 297 | 5.716 | 311.1 | 5.554 | 292.745 | 5.503 | 295.6 | 24.59 | 972.325 | 37.2188 | 11.1289
2020-05-24 14:30:00 | 4.366 | 308.8 | 4.504 | 325.2 | 4.57 | 306.013 | 4.586 | 307 | 24.74 | 972.177 | 36.8439 | 10.5155
2020-05-24 14:45:00 | 3.889 | 292.4 | 4.415 | 306.5 | 4.707 | 288.417 | 4.66 | 293.2 | 24.64 | 972.325 | 36.0252 | 11.3379
2020-05-24 15:00:00 | 3.524 | 300.8 | 3.998 | 312.7 | 4.29 | 294.251 | 4.26 | 302.9 | 24.69 | 972.325 | 34.3548 | 9.0302
2020-05-24 15:15:00 | 5.618 | 257.3 | 5.596 | 266.7 | 5.262 | 250.965 | 5.065 | 259.5 | 24.42 | 971.88 | 36.6712 | 8.4169
2020-05-24 15:30:00 | 5.275 | 297.2 | 5.795 | 309.1 | 5.641 | 290.863 | 5.605 | 299.4 | 24.68 | 972.028 | 31.6619 | 7.4673
2020-05-24 15:45:00 | 4.369 | 311.3 | 4.497 | 324 | 4.303 | 304.884 | 4.288 | 310.7 | 24.89 | 972.177 | 32.7873 | 6.4106
2020-05-24 16:00:00 | 4.688 | 291.7 | 5.512 | 304.7 | 5.188 | 286.723 | 5.078 | 293 | 24.69 | 971.732 | 33.2989 | 4.3747
2020-05-24 16:15:00 | 3.72 | 290.7 | 4.113 | 301.6 | 4.059 | 283.806 | 4.031 | 290.7 | 24.82 | 972.028 | 34.6967 | 6.5916
2020-05-24 16:30:00 | 3.102 | 285.3 | 3.599 | 293.5 | 3.443 | 276.184 | 3.407 | 291 | 24.36 | 971.584 | 34.015 | 4.8809
2020-05-24 16:45:00 | 3.649 | 295.5 | 4.267 | 308.3 | 4.712 | 290.11 | 4.65 | 297.6 | 24.64 | 971.435 | 33.9468 | 4.722
2020-05-24 17:00:00 | 4.369 | 267.9 | 4.612 | 281.4 | 4.369 | 264.797 | 4.227 | 267.5 | 24.32 | 971.584 | 36.1963 | 5.0804
2020-05-24 17:15:00 | 4.772 | 282.1 | 5.011 | 289.2 | 4.857 | 272.137 | 4.81 | 285.2 | 24.28 | 971.111 | 35.3783 | 3.8685
2020-05-24 17:30:00 | 4.277 | 279.6 | 4.671 | 295.3 | 4.827 | 277.877 | 4.79 | 280.7 | 24.33 | 971.127 | 33.1302 | 3.8168
2020-05-24 17:45:00 | 4.119 | 278.1 | 4.52 | 289.3 | 4.369 | 272.231 | 4.212 | 281.9 | 24.15 | 971.113 | 33.8833 | 3.1295
2020-05-24 18:00:00 | 3.222 | 289.8 | 3.957 | 303.8 | 3.647 | 285.876 | 3.481 | 289.4 | 24.04 | 970.989 | 34.8389 | 1.2045
2020-05-24 18:15:00 | 3.049 | 277.2 | 3.553 | 289.3 | 3.644 | 272.231 | 3.539 | 279.4 | 23.89 | 970.693 | 35.1116 | 0.29928
2020-05-24 18:30:00 | 2.242 | 298.9 | 2.958 | 311.4 | 2.952 | 293.027 | 2.865 | 301.5 | 23.73 | 970.545 | 36.6809 | -0.3621
2020-05-24 18:45:00 | 2.768 | 314.3 | 2.963 | 324.7 | 3.074 | 305.543 | 3.012 | 315.5 | 23.52 | 970.396 | 39.4814 | -0.31406
2020-05-24 19:00:00 | 2.408 | 337.5 | 2.797 | 350.3 | 2.843 | 329.632 | 2.699 | 338.3 | 23.34 | 970.545 | 41.8002 | -0.26972
2020-05-24 19:15:00 | 2.674 | 355.7 | 2.725 | 8.6 | 2.703 | 8.0926 | 2.498 | 356.8 | 23.27 | 970.545 | 42.8912 | -0.25864
2020-05-24 19:30:00 | 2.186 | 340.2 | 2.197 | 2.098 | 2.53 | 1.9742 | 2.35 | 341.2 | 23.22 | 970.545 | 40.5079 | -0.26972
2020-05-24 19:45:00 | 0.074 | 83.8 | 1.212 | 356.9 | 1.297 | 335.843 | 1.135 | 347.2 | 23.18 | 970.396 | 42.2847 | -0.26972
2020-05-24 20:00:00 | 0.242 | 356.9 | 0.737 | 356.9 | 1.597 | 335.843 | 1.441 | 347.2 | 23.18 | 970.545 | 41.3299 | -0.28081
2020-05-24 20:15:00 | 1.877 | 342.2 | 1.976 | 356.9 | 1.922 | 335.843 | 1.637 | 345.2 | 23.28 | 970.1 | 37.8517 | -0.28081
2020-05-24 20:30:00 | 0.998 | 349.6 | 1.304 | 55.15 | 1.571 | 51.8961 | 1.375 | 345.9 | 23.29 | 970.564 | 39.2839 | -0.26972
2020-05-24 20:45:00 | 1.113 | 21.14 | 1.621 | 53.95 | 1.347 | 50.7669 | 1.088 | 10.61 | 23.3 | 970.119 | 38.3973 | -0.24016
2020-05-24 21:00:00 | 1.417 | 31.22 | 1.385 | 0.113 | 0.731 | 0.10633 | 0.487 | 33.11 | 23.24 | 970.412 | 38.3973 | -0.24016
2020-05-24 21:15:00 | 1.731 | 31.26 | 1.541 | 0.142 | 1.203 | 0.13362 | 0.846 | 35.26 | 23.23 | 970.669 | 37.7835 | -0.24016
2020-05-24 21:30:00 | 1.077 | 31.26 | 0.868 | 0.146 | 0 | 0.13739 | 0 | 35.53 | 23.24 | 970.552 | 37.306 | -0.24016
2020-05-24 21:45:00 | 0 | 31.7 | 0.083 | 0.113 | 0 | 0.10633 | 0 | 35.84 | 23.26 | 970.64 | 36.2151 | -0.24016
2020-05-24 22:00:00 | 0.112 | 161.8 | 0.864 | 54.64 | 0 | 51.4162 | 0 | 35.84 | 23.31 | 970.689 | 36.4899 | -0.24016
2020-05-24 22:15:00 | 1.234 | 174.7 | 1.58 | 197 | 1.327 | 185.377 | 1.075 | 159.9 | 23.2 | 970.693 | 36.6954 | -0.24016
2020-05-24 22:30:00 | 2.508 | 193.4 | 2.635 | 214.9 | 2.128 | 202.221 | 1.91 | 201.8 | 23.07 | 970.693 | 37.8866 | -0.24016
2020-05-24 22:45:00 | 2.311 | 193.5 | 2.362 | 213.2 | 2.024 | 200.621 | 1.818 | 194.7 | 23.02 | 970.674 | 37.3065 | -0.24016
2020-05-24 23:00:00 | 2.086 | 190.2 | 2.254 | 207.7 | 2.065 | 195.446 | 1.948 | 194.7 | 23.02 | 970.596 | 37.1015 | -0.25125
2020-05-24 23:15:00 | 1.872 | 179.7 | 2.244 | 195.2 | 2.057 | 183.683 | 1.792 | 194.7 | 23.02 | 970.753 | 37.3061 | -0.25125
2020-05-24 23:30:00 | 1.762 | 181.6 | 2.311 | 194.5 | 1.892 | 183.024 | 1.591 | 193 | 23.07 | 970.556 | 37.4425 | -0.25125
2020-05-24 23:45:00 | 1.974 | 176.4 | 2.554 | 171 | 2.001 | 160.911 | 1.777 | 191.9 | 22.88 | 970.669 | 37.7153 | -0.24016