## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-25 00:00:00 | 1.537 | 186.3 | 1.858 | 171.1 | 1.65 | 161.005 | 1.354 | 194.5 | 23.02 | 970.689 | 37.4425 | -0.25125
2020-05-25 00:15:00 | 1.696 | 201.1 | 2.055 | 192.7 | 1.884 | 181.331 | 1.622 | 208.1 | 23.02 | 970.581 | 37.5448 | -0.24016
2020-05-25 00:30:00 | 1.537 | 204.9 | 1.925 | 192.8 | 1.462 | 181.425 | 1.151 | 208.8 | 23.03 | 970.65 | 36.8287 | -0.24016
2020-05-25 00:45:00 | 1.402 | 200 | 1.707 | 192.8 | 1.465 | 181.425 | 1.263 | 208.8 | 23.03 | 970.662 | 37.7835 | -0.24016
2020-05-25 01:00:00 | 2.293 | 167.3 | 2.444 | 177.9 | 1.991 | 167.404 | 1.798 | 192 | 22.9 | 970.562 | 37.7835 | -0.25125
2020-05-25 01:15:00 | 2.055 | 150.8 | 2.802 | 167.2 | 2.49 | 157.335 | 2.258 | 164.2 | 22.79 | 970.218 | 39.0111 | 0.86829
2020-05-25 01:30:00 | 2.531 | 157.5 | 2.354 | 165.1 | 2.098 | 155.359 | 1.831 | 163.2 | 22.93 | 970.266 | 40.5797 | 4.4227
2020-05-25 01:45:00 | 2.873 | 150.2 | 4.474 | 167.2 | 5.122 | 157.335 | 4.925 | 153.3 | 19.83 | 969.703 | 49.5831 | 5.0804
2020-05-25 02:00:00 | 5.771 | 137.3 | 6.302 | 152.7 | 5.709 | 143.691 | 5.429 | 143.2 | 20.56 | 969.504 | 47.203 | 7.12
2020-05-25 02:15:00 | 5.393 | 155.6 | 5.857 | 168.1 | 5.61 | 158.182 | 5.462 | 160.4 | 21.47 | 969.506 | 42.1555 | 6.6581
2020-05-25 02:30:00 | 4.08 | 154.6 | 4.717 | 167.4 | 4.738 | 157.523 | 4.578 | 159.7 | 21.85 | 969.506 | 41.337 | 4.5114
2020-05-25 02:45:00 | 3.692 | 157 | 4.279 | 170.3 | 4.519 | 160.252 | 4.451 | 161 | 21.94 | 969.506 | 40.075 | 2.9817
2020-05-25 03:00:00 | 3.953 | 154.8 | 4.727 | 166.1 | 4.575 | 156.3 | 4.454 | 161 | 22.13 | 969.506 | 40.382 | 3.8389
2020-05-25 03:15:00 | 3.733 | 159.3 | 4.76 | 168.6 | 4.6 | 158.653 | 4.477 | 167.2 | 22.02 | 969.654 | 42.0191 | 3.4879
2020-05-25 03:30:00 | 4.331 | 158.9 | 4.78 | 171.1 | 4.812 | 161.005 | 4.729 | 166 | 22.32 | 969.506 | 43.5195 | 3.983
2020-05-25 03:45:00 | 4.188 | 154.2 | 4.97 | 165.8 | 4.936 | 156.018 | 4.803 | 161.8 | 22.21 | 969.506 | 43.451 | 4.5816
2020-05-25 04:00:00 | 4.188 | 156.1 | 5.1 | 166 | 5.313 | 156.206 | 5.251 | 163.2 | 22.13 | 969.654 | 43.7224 | 6.0004
2020-05-25 04:15:00 | 4.606 | 159.9 | 5.279 | 171.8 | 5.152 | 161.664 | 5.06 | 165.4 | 22.06 | 969.506 | 44.8137 | 6.3477
2020-05-25 04:30:00 | 5.12 | 166.1 | 5.248 | 174.7 | 5.267 | 164.393 | 5.32 | 175.4 | 22.04 | 969.654 | 41.6429 | 7.3934
2020-05-25 04:45:00 | 5.194 | 158 | 5.379 | 168.2 | 5.274 | 158.276 | 5.241 | 166.7 | 22 | 969.506 | 43.1773 | 6.9722
2020-05-25 05:00:00 | 4.767 | 161 | 5.028 | 170 | 4.959 | 159.97 | 4.861 | 169.4 | 22.1 | 969.209 | 41.2662 | 7.4451
2020-05-25 05:15:00 | 5.39 | 161.3 | 5.688 | 170.9 | 5.697 | 160.817 | 5.707 | 171.3 | 21.94 | 969.505 | 41.4032 | 9.9761
2020-05-25 05:30:00 | 5.618 | 157.8 | 5.778 | 168.9 | 5.905 | 158.935 | 5.956 | 166 | 21.96 | 969.5 | 42.1177 | 11.5168
2020-05-25 05:45:00 | 5.306 | 157 | 5.657 | 169.5 | 5.865 | 159.499 | 5.913 | 166.6 | 21.96 | 969.654 | 42.6979 | 12.4295
2020-05-25 06:00:00 | 5.63 | 150.2 | 6.36 | 162.5 | 6.681 | 152.912 | 6.649 | 157.8 | 21.93 | 969.802 | 41.6721 | 18.3227
2020-05-25 06:15:00 | 5.178 | 151.6 | 5.829 | 169 | 6.775 | 159.029 | 6.814 | 158.3 | 21.83 | 969.802 | 43.1046 | 21.2454
2020-05-25 06:30:00 | 5.469 | 146.5 | 5.821 | 165.9 | 6.569 | 156.112 | 6.644 | 150.5 | 21.64 | 969.348 | 43.5125 | 24.9919
2020-05-25 06:45:00 | 5.896 | 144 | 6.248 | 163.1 | 7.062 | 153.477 | 7.018 | 148.4 | 21.66 | 969.364 | 43.1714 | 29.2447
2020-05-25 07:00:00 | 6.83 | 143 | 7.437 | 157.9 | 7.617 | 148.584 | 7.624 | 150.1 | 21.86 | 969.359 | 43.3078 | 31.4468
2020-05-25 07:15:00 | 7.395 | 145 | 7.716 | 161.5 | 8.11 | 151.971 | 8.19 | 150.1 | 21.9 | 969.358 | 42.1446 | 26.4255
2020-05-25 07:30:00 | 6.404 | 143.4 | 6.432 | 161.5 | 7.106 | 151.971 | 7.074 | 150.5 | 22.06 | 969.507 | 40.437 | 22.0952
2020-05-25 07:45:00 | 6.805 | 149.6 | 6.859 | 163.8 | 7.017 | 154.136 | 6.955 | 155.7 | 22.31 | 970.545 | 41.9366 | 20.6505
2020-05-25 08:00:00 | 5.618 | 148.8 | 5.614 | 167.4 | 5.419 | 157.523 | 5.355 | 151.4 | 22.53 | 970.545 | 41.7969 | 17.4951
2020-05-25 08:15:00 | 6.682 | 155.4 | 6.872 | 168.3 | 6.292 | 158.37 | 6.185 | 162.8 | 22.75 | 970.248 | 40.9068 | 18.3745
2020-05-25 08:30:00 | 6.338 | 156.6 | 6.23 | 168.7 | 5.918 | 158.747 | 5.87 | 163 | 22.59 | 970.545 | 43.293 | 14.5244
2020-05-25 08:45:00 | 5.699 | 157.4 | 5.785 | 169.3 | 5.636 | 159.311 | 5.544 | 164.4 | 22.61 | 970.693 | 42.9521 | 12.8618
2020-05-25 09:00:00 | 6.08 | 148.8 | 6.289 | 164.5 | 5.778 | 154.794 | 5.658 | 156.7 | 22.82 | 970.693 | 42.8839 | 13.1943
2020-05-25 09:15:00 | 7.308 | 148.1 | 7.212 | 164.9 | 6.79 | 155.171 | 6.542 | 155 | 23.05 | 970.397 | 46.2247 | 15.1969
2020-05-25 09:30:00 | 7.05 | 150.5 | 6.752 | 165.6 | 6.081 | 155.83 | 5.971 | 155.2 | 23.14 | 970.545 | 43.7021 | 12.2189
2020-05-25 09:45:00 | 6.182 | 143.8 | 5.944 | 155.3 | 5.211 | 146.137 | 5.039 | 154.2 | 23.34 | 970.972 | 43.63 | 8.79
2020-05-25 10:00:00 | 5.62 | 150.2 | 5.591 | 166.5 | 5.178 | 156.676 | 5.016 | 156.6 | 23.78 | 970.884 | 44.1722 | 8.2986
2020-05-25 10:15:00 | 5.944 | 142.4 | 5.701 | 157.2 | 5.094 | 147.925 | 4.92 | 152 | 24.24 | 970.579 | 39.4342 | 8.4095
2020-05-25 10:30:00 | 6.177 | 140.9 | 5.923 | 155 | 5.536 | 145.855 | 5.353 | 149.7 | 24.47 | 970.546 | 38.4117 | 8.7679
2020-05-25 10:45:00 | 6.159 | 185.5 | 6.087 | 199.2 | 5.241 | 187.447 | 5.172 | 191.6 | 25.39 | 970.546 | 37.5594 | 7.3269
2020-05-25 11:00:00 | 5.224 | 187.6 | 4.949 | 205 | 4.379 | 192.905 | 4.291 | 188.5 | 25.24 | 970.101 | 34.6607 | 7.0165
2020-05-25 11:15:00 | 5.286 | 194.7 | 5.031 | 209.2 | 4.987 | 196.857 | 5.006 | 195.7 | 25.43 | 970.101 | 37.6939 | 10.7816
2020-05-25 11:30:00 | 6.698 | 184.1 | 6.079 | 199.3 | 5.404 | 187.541 | 5.348 | 185.3 | 25.67 | 970.249 | 35.1391 | 14.7535
2020-05-25 11:45:00 | 6.578 | 159 | 6.734 | 175.4 | 6.203 | 165.051 | 6.147 | 167.3 | 25.68 | 969.95 | 38.9216 | 18.8437
2020-05-25 12:00:00 | 7.04 | 168.7 | 7.002 | 183 | 6.442 | 172.203 | 6.323 | 173 | 25.83 | 969.804 | 36.3324 | 18.8807
2020-05-25 12:15:00 | 7.019 | 159.4 | 6.903 | 174.9 | 6.284 | 164.581 | 6.185 | 168 | 26.1 | 969.507 | 35.8537 | 22.0324
2020-05-25 12:30:00 | 5.995 | 153.2 | 6.176 | 166 | 5.709 | 156.206 | 5.559 | 160.5 | 26.19 | 969.656 | 33.7396 | 23.477
2020-05-25 12:45:00 | 8.22 | 184.6 | 7.843 | 196.5 | 7.212 | 184.906 | 7.255 | 187.9 | 26.69 | 969.359 | 33.7746 | 18.4484
2020-05-25 13:00:00 | 6.703 | 180.6 | 6.734 | 191.9 | 6.274 | 180.578 | 6.346 | 182.8 | 26.6 | 969.211 | 34.8984 | 17.4286
2020-05-25 13:15:00 | 8.88 | 188.6 | 8.42 | 203.9 | 7.09 | 191.87 | 7.031 | 182.5 | 26.89 | 968.914 | 33.23 | 22.1839
2020-05-25 13:30:00 | 7.584 | 159.5 | 7.496 | 176.1 | 6.727 | 165.71 | 6.59 | 164.8 | 27.23 | 968.914 | 33.6733 | 21.2121
2020-05-25 13:45:00 | 6.976 | 158.5 | 7.253 | 171 | 6.31 | 160.911 | 6.371 | 171.6 | 27.14 | 969.211 | 33.2637 | 20.8648
2020-05-25 14:00:00 | 6.432 | 175.5 | 6.499 | 190 | 5.839 | 178.79 | 5.88 | 184.5 | 27.07 | 969.062 | 34.0828 | 21.1013
2020-05-25 14:15:00 | 7.007 | 164.2 | 6.89 | 179.7 | 6.19 | 169.098 | 6.226 | 169.1 | 27.36 | 969.437 | 32.4123 | 22.594
2020-05-25 14:30:00 | 6.639 | 148.4 | 6.539 | 162.1 | 5.928 | 152.536 | 5.89 | 155.3 | 27.13 | 968.836 | 33.463 | 24.8078
2020-05-25 14:45:00 | 7.793 | 158.4 | 7.47 | 173.9 | 7.057 | 163.64 | 6.942 | 161.7 | 27.06 | 968.768 | 32.1637 | 24.9809
2020-05-25 15:00:00 | 7.801 | 156.9 | 7.703 | 172.4 | 7.116 | 162.228 | 7.039 | 161.8 | 27.14 | 968.768 | 31.5503 | 24.6177
2020-05-25 15:15:00 | 7.936 | 162.2 | 7.718 | 177.3 | 7.19 | 166.839 | 7.186 | 169.8 | 27.24 | 968.323 | 30.1533 | 30.6931
2020-05-25 15:30:00 | 7.193 | 177.7 | 6.987 | 191.5 | 6.147 | 180.201 | 6.015 | 177.8 | 27.34 | 968.175 | 28.0409 | 31.1723
2020-05-25 15:45:00 | 7.456 | 161.9 | 7.708 | 178.2 | 7.126 | 167.686 | 6.99 | 170.9 | 27.79 | 968.323 | 31.0733 | 31.2214
2020-05-25 16:00:00 | 7.632 | 165.6 | 7.654 | 183 | 7.597 | 172.203 | 7.492 | 167.1 | 27.51 | 967.878 | 31.9251 | 33.5344
2020-05-25 16:15:00 | 7.165 | 170.4 | 7.465 | 183.6 | 6.762 | 172.768 | 6.667 | 175.5 | 27.49 | 967.878 | 31.4821 | 32.2819
2020-05-25 16:30:00 | 8.23 | 181 | 8.41 | 196.2 | 7.597 | 184.624 | 7.617 | 182.4 | 27.5 | 967.73 | 30.3918 | 35.4547
2020-05-25 16:45:00 | 7.147 | 169.6 | 7.076 | 189.8 | 6.467 | 178.602 | 6.496 | 168.9 | 27.44 | 967.004 | 29.6426 | 38.0126
2020-05-25 17:00:00 | 9.34 | 180.1 | 8.77 | 195.3 | 8.23 | 183.777 | 8.35 | 182.3 | 27.2 | 966.881 | 30.1961 | 42.9341
2020-05-25 17:15:00 | 8.72 | 181.9 | 8.55 | 195.2 | 7.609 | 183.683 | 7.673 | 184.2 | 27.08 | 966.541 | 29.1745 | 38.399
2020-05-25 17:30:00 | 8.09 | 176.4 | 7.925 | 190.1 | 7.823 | 178.884 | 7.881 | 181.6 | 27.13 | 967.135 | 29.2412 | 34.5801
2020-05-25 17:45:00 | 7.773 | 178.5 | 7.693 | 193.4 | 6.78 | 181.989 | 6.781 | 180.2 | 27.22 | 966.542 | 29.2414 | 32.8102
2020-05-25 18:00:00 | 9.22 | 178.1 | 8.96 | 191.4 | 8.24 | 180.107 | 8.23 | 179 | 26.99 | 966.245 | 30.6723 | 32.8213
2020-05-25 18:15:00 | 8.4 | 177.7 | 8.12 | 193.1 | 7.866 | 181.707 | 8 | 180.7 | 26.7 | 966.097 | 32.1056 | 29.5625
2020-05-25 18:30:00 | 6.182 | 159.6 | 6.133 | 178.7 | 6.312 | 168.157 | 6.351 | 162.9 | 26.52 | 966.097 | 33.6742 | 37.1391
2020-05-25 18:45:00 | 9.78 | 161.3 | 9.64 | 175.2 | 9.09 | 164.863 | 9.19 | 165.1 | 25.69 | 965.949 | 36.1963 | 55.6096
2020-05-25 19:00:00 | 9.73 | 158.9 | 9.67 | 172.8 | 8.85 | 162.605 | 8.87 | 166.1 | 25.22 | 966.184 | 36.9461 | 54.6937
2020-05-25 19:15:00 | 8.7 | 168.9 | 8.43 | 185.5 | 7.782 | 174.555 | 7.856 | 173 | 25.15 | 966.093 | 36.7474 | 46.8063
2020-05-25 19:30:00 | 8.81 | 173.6 | 8.46 | 188.6 | 8.19 | 177.473 | 8.26 | 179.2 | 24.75 | 966.391 | 36.5434 | 46.461
2020-05-25 19:45:00 | 8.76 | 170.5 | 8.55 | 186.8 | 8.45 | 175.779 | 8.38 | 174.3 | 24.64 | 965.947 | 37.7724 | 44.3418
2020-05-25 20:00:00 | 8.77 | 177.5 | 8.64 | 193.4 | 7.914 | 181.989 | 7.986 | 174.3 | 24.42 | 965.947 | 38.0472 | 43.2334
2020-05-25 20:15:00 | 7.596 | 167.6 | 7.48 | 182.2 | 7.085 | 171.45 | 7.143 | 175.3 | 24.14 | 965.65 | 39.481 | 48.3988
2020-05-25 20:30:00 | 8.65 | 161.4 | 8.82 | 174.6 | 8.33 | 164.299 | 8.27 | 167.9 | 23.69 | 965.798 | 39.9932 | 58.1643
2020-05-25 20:45:00 | 8.54 | 172.2 | 8.36 | 184.3 | 7.729 | 173.426 | 7.637 | 176.8 | 23.7 | 965.947 | 39.7545 | 38.6444
2020-05-25 21:00:00 | 9.76 | 172.6 | 9.4 | 190.4 | 8.21 | 179.166 | 8.28 | 173.3 | 23.92 | 966.095 | 37.402 | 42.8639
2020-05-25 21:15:00 | 8.92 | 179.3 | 8.46 | 197 | 7.291 | 185.377 | 7.347 | 178.4 | 23.99 | 966.985 | 37.9134 | 24.5301
2020-05-25 21:30:00 | 5.656 | 194.2 | 5.788 | 203.7 | 5.73 | 191.682 | 5.811 | 199.4 | 23.87 | 968.172 | 39.6181 | 1.6331
2020-05-25 21:45:00 | 4.333 | 202.8 | 4.842 | 210.5 | 5.241 | 198.08 | 5.35 | 208.6 | 23.32 | 968.023 | 41.8008 | 5.9709
2020-05-25 22:00:00 | 5.311 | 315.7 | 5.236 | 328.5 | 5.114 | 309.118 | 5.106 | 317.3 | 21.27 | 968.023 | 59.7369 | 37.5361
2020-05-25 22:15:00 | 5.916 | 0.886 | 6.949 | 24.22 | 7.721 | 22.791 | 8.12 | 359.5 | 19.67 | 967.281 | 69.4287 | 53.1551
2020-05-25 22:30:00 | 7.211 | 12.75 | 8.79 | 29.62 | 8.3 | 27.8724 | 8.02 | 17.83 | 18.9 | 967.413 | 73.121 | 43.0634
2020-05-25 22:45:00 | 7.895 | 12.17 | 8.6 | 25.67 | 8.23 | 24.1555 | 7.986 | 14.31 | 18.7 | 967.132 | 74.1473 | 49.2782
2020-05-25 23:00:00 | 6.304 | 7.931 | 6.764 | 20.46 | 6.737 | 19.2529 | 6.547 | 13.79 | 18.29 | 966.917 | 76.2064 | 33.2795
2020-05-25 23:15:00 | 5.24 | 26.2 | 6.762 | 38.2 | 6.541 | 35.9462 | 6.511 | 34.44 | 18.38 | 967.12 | 73.853 | 20.7022
2020-05-25 23:30:00 | 4.701 | 36.29 | 5.959 | 50.43 | 5.62 | 47.4546 | 5.483 | 42.42 | 18.57 | 966.833 | 72.8637 | 13.7744
2020-05-25 23:45:00 | 5.303 | 43.54 | 5.793 | 59.72 | 5.89 | 56.1965 | 5.9 | 49.23 | 18.41 | 966.536 | 72.5908 | 11.6905