## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-26 00:00:00 | 4.629 | 47.67 | 5.144 | 61.85 | 4.796 | 58.2008 | 4.833 | 60.14 | 18.32 | 966.239 | 70.5441 | 9.1484
2020-05-26 00:15:00 | 5.873 | 106.1 | 5.839 | 114 | 4.534 | 107.274 | 4.436 | 124.7 | 19.58 | 966.239 | 61.1973 | 7.1532
2020-05-26 00:30:00 | 4.022 | 131.1 | 5.082 | 141.1 | 5.079 | 132.775 | 4.917 | 139.9 | 21.24 | 966.536 | 49.9403 | 4.5373
2020-05-26 00:45:00 | 2.799 | 130.1 | 3.615 | 140.4 | 3.563 | 132.116 | 3.529 | 137.4 | 21.77 | 966.85 | 49.1216 | -0.61334
2020-05-26 01:00:00 | 7.691 | 304.1 | 8.29 | 317.2 | 8.05 | 298.485 | 7.92 | 305.4 | 19.17 | 967.289 | 74.192 | 9.7176
2020-05-26 01:15:00 | 4.772 | 350 | 5.282 | 16.9 | 5.681 | 15.9029 | 5.809 | 346.2 | 16.89 | 966.204 | 86.1675 | 31.8337
2020-05-26 01:30:00 | 6.23 | 8.26 | 6.954 | 23.15 | 6.518 | 21.7841 | 6.394 | 14.4 | 16.31 | 965.793 | 87.2591 | 19.93
2020-05-26 01:45:00 | 6.899 | 359.6 | 6.787 | 11.98 | 7.706 | 11.2732 | 8 | 0.31 | 16.31 | 965.646 | 87.5344 | 42.2087
2020-05-26 02:00:00 | 8.41 | 7.366 | 8.02 | 22.96 | 7.772 | 21.6054 | 7.642 | 8.48 | 16.13 | 965.646 | 84.7514 | 42.9193
2020-05-26 02:15:00 | 7.808 | 8.5 | 8.71 | 25.83 | 7.927 | 24.306 | 7.545 | 10.11 | 16.2 | 965.497 | 83.7398 | 46.991
2020-05-26 02:30:00 | 8.14 | 8.95 | 9.51 | 26.93 | 8.38 | 25.3411 | 8.2 | 12.54 | 16 | 965.497 | 84.4224 | 46.411
2020-05-26 02:45:00 | 5.492 | 27.87 | 8.38 | 41.05 | 8.61 | 38.628 | 8.56 | 32.77 | 15.95 | 965.646 | 83.1599 | 33.1502
2020-05-26 03:00:00 | 4.512 | 20.01 | 7.358 | 34.58 | 7.238 | 32.5398 | 7.039 | 24.27 | 16.68 | 965.646 | 77.5977 | 21.116
2020-05-26 03:15:00 | 5.758 | 22.41 | 7.672 | 34.98 | 7.49 | 32.9162 | 7.38 | 30.45 | 16.67 | 965.349 | 77.427 | 18.8363
2020-05-26 03:30:00 | 4.647 | 33.21 | 6.258 | 46.93 | 6.175 | 44.1611 | 6.134 | 40.85 | 16.71 | 965.646 | 77.4953 | 13.8741
2020-05-26 03:45:00 | 6.001 | 50.19 | 7.084 | 67.23 | 6.653 | 63.2634 | 6.758 | 56.32 | 16.82 | 965.052 | 77.3247 | 17.9828
2020-05-26 04:00:00 | 4.869 | 53.6 | 5.87 | 65.79 | 5.928 | 61.9084 | 5.928 | 60.32 | 16.92 | 965.497 | 75.9256 | 13.9296
2020-05-26 04:15:00 | 4.632 | 49.47 | 5.916 | 59.25 | 5.748 | 55.7542 | 5.63 | 58.08 | 17.03 | 965.646 | 75.4137 | 7.2345
2020-05-26 04:30:00 | 5.278 | 64.91 | 5.512 | 77.02 | 4.374 | 72.4758 | 4.622 | 72.12 | 17.06 | 965.646 | 75.0723 | 5.3243
2020-05-26 04:45:00 | 3.557 | 56 | 4.256 | 70.59 | 3.893 | 66.4252 | 3.97 | 63.02 | 17.32 | 965.794 | 73.1575 | 2.6418
2020-05-26 05:00:00 | 2.786 | 40.78 | 3.372 | 48.01 | 3.443 | 45.1774 | 3.453 | 48.81 | 17.45 | 966.239 | 72.673 | 0.062812
2020-05-26 05:15:00 | 2.817 | 8.06 | 3.558 | 22.44 | 3.293 | 21.116 | 2.831 | 7 | 17.29 | 966.685 | 74.1707 | 1.0235
2020-05-26 05:30:00 | 3.723 | 8.42 | 4.157 | 15.84 | 3.911 | 14.9054 | 3.634 | 12.87 | 17.09 | 966.833 | 75.1278 | 2.7009
2020-05-26 05:45:00 | 2.694 | 29.39 | 3.837 | 39.3 | 3.609 | 36.9813 | 3.524 | 33 | 17 | 966.833 | 75.2657 | 1.0752
2020-05-26 06:00:00 | 3.59 | 10.87 | 4.019 | 19.76 | 3.962 | 18.5942 | 3.873 | 16.92 | 17.36 | 966.981 | 73.1496 | 3.7614
2020-05-26 06:15:00 | 3.493 | 6.747 | 4.417 | 23.52 | 4.585 | 22.1323 | 4.281 | 9.49 | 17.58 | 967.13 | 71.7734 | 6.5916
2020-05-26 06:30:00 | 3.417 | 356.2 | 3.952 | 27.07 | 3.911 | 25.4729 | 3.934 | 350.5 | 17.41 | 967.278 | 73.2395 | 11.0845
2020-05-26 06:45:00 | 4.086 | 9.47 | 4.627 | 28.66 | 3.863 | 26.9691 | 3.944 | 4.959 | 17.28 | 967.575 | 73.546 | 11.0587
2020-05-26 07:00:00 | 4.193 | 5.939 | 4.765 | 30.65 | 4.316 | 28.8417 | 4.326 | 357.6 | 16.86 | 967.51 | 77.0254 | 11.2545
2020-05-26 07:15:00 | 3.209 | 8.43 | 5.077 | 35.32 | 4.176 | 33.2361 | 4.219 | 353.9 | 16.99 | 967.771 | 79.618 | 13.8002
2020-05-26 07:30:00 | 4.269 | 12.26 | 4.448 | 35.87 | 4.031 | 33.7537 | 3.998 | 4.263 | 16.7 | 967.726 | 82.3385 | 5.1913
2020-05-26 07:45:00 | 4.333 | 17.53 | 5.392 | 32.83 | 5.414 | 30.893 | 5.238 | 22.69 | 16.78 | 968.171 | 78.8541 | 5.0139
2020-05-26 08:00:00 | 4.354 | 8.59 | 5.317 | 33.02 | 4.3 | 31.0718 | 4.316 | 2.83 | 17.5 | 968.319 | 75.3411 | 7.5375
2020-05-26 08:15:00 | 3.229 | 13.46 | 4.704 | 34.47 | 4.389 | 32.4363 | 4.171 | 10.27 | 18.2 | 968.616 | 71.6917 | 9.1891
2020-05-26 08:30:00 | 3.403 | 19.01 | 6.008 | 38.03 | 5.208 | 35.7862 | 4.912 | 18.42 | 18.44 | 968.817 | 69.1586 | 9.1041
2020-05-26 08:45:00 | 4.055 | 18.38 | 6.02 | 36.57 | 4.911 | 34.4124 | 4.754 | 17.48 | 18.53 | 968.914 | 66.087 | 14.0145
2020-05-26 09:00:00 | 3.88 | 15.93 | 5.223 | 29.81 | 5.005 | 28.0512 | 4.848 | 13.73 | 19.4 | 969.358 | 62.4984 | 12.2336
2020-05-26 09:15:00 | 3.284 | 15.41 | 4.052 | 12.05 | 4.257 | 11.3391 | 4.212 | 21.84 | 19.79 | 969.803 | 61.0945 | 9.2704
2020-05-26 09:30:00 | 3.858 | 8.58 | 4.076 | 359.4 | 4.063 | 338.195 | 3.952 | 3.966 | 19.97 | 969.803 | 64.1214 | 11.8715
2020-05-26 09:45:00 | 2.897 | 11.88 | 3.487 | 349.1 | 3.833 | 328.503 | 3.681 | 13.11 | 20.14 | 970.1 | 60.917 | 10.2828
2020-05-26 10:00:00 | 3.996 | 344.9 | 3.873 | 355.8 | 3.862 | 334.808 | 3.897 | 349.3 | 20.21 | 970.025 | 61.8617 | 11.8678
2020-05-26 10:15:00 | 3.586 | 339.7 | 3.916 | 354.6 | 4.15 | 333.679 | 4.212 | 340.3 | 20.45 | 970.092 | 62.5426 | 14.3027
2020-05-26 10:30:00 | 4.573 | 343.1 | 4.489 | 342.6 | 4.551 | 322.387 | 4.472 | 342.1 | 20.82 | 969.748 | 58.4186 | 19.76
2020-05-26 10:45:00 | 4.624 | 332.4 | 4.466 | 337.5 | 4.45 | 317.587 | 4.314 | 337.5 | 20.97 | 969.957 | 59.2706 | 15.0232
2020-05-26 11:00:00 | 5.228 | 302.7 | 6.197 | 317.1 | 5.697 | 298.391 | 5.587 | 304 | 20.77 | 970.267 | 60.8385 | 14.5836
2020-05-26 11:15:00 | 4.158 | 352.5 | 4.756 | 351.8 | 4.658 | 331.044 | 4.881 | 354.6 | 21.28 | 970.445 | 56.2713 | 16.0208
2020-05-26 11:30:00 | 4.915 | 337.6 | 4.773 | 331.1 | 4.536 | 311.565 | 4.375 | 345.2 | 21 | 970.373 | 55.6919 | 22.4018
2020-05-26 11:45:00 | 4.836 | 340 | 5.043 | 351.7 | 4.501 | 330.95 | 4.443 | 336 | 21.51 | 970.04 | 55.8282 | 22.472
2020-05-26 12:00:00 | 3.051 | 16.63 | 4.328 | 23 | 5.038 | 21.643 | 4.976 | 17.2 | 21.72 | 970.265 | 55.726 | 17.9533
2020-05-26 12:15:00 | 3.315 | 6.653 | 5.072 | 19.52 | 5.857 | 18.3683 | 5.73 | 7.888 | 21.98 | 970.394 | 52.0195 | 17.617
2020-05-26 12:30:00 | 2.853 | 14.97 | 4.786 | 24.48 | 6.058 | 23.0357 | 5.926 | 20.9 | 22.3 | 970.39 | 52.0198 | 14.9958
2020-05-26 12:45:00 | 4.259 | 357.8 | 5.167 | 348.2 | 5.213 | 327.656 | 5.098 | 5.044 | 22.06 | 969.803 | 49.1904 | 22.0767
2020-05-26 13:00:00 | 4.003 | 6.992 | 5.032 | 11.56 | 4.639 | 10.878 | 4.517 | 0.05 | 22.34 | 969.951 | 47.7615 | 25.2801
2020-05-26 13:15:00 | 4.923 | 20.05 | 5.243 | 3.072 | 7.757 | 2.8908 | 7.314 | 24.2 | 22.62 | 969.951 | 45.8213 | 25.4168
2020-05-26 13:30:00 | 3.807 | 0.488 | 4.742 | 11.49 | 4.88 | 10.8121 | 4.945 | 356.7 | 22.77 | 969.951 | 48.0719 | 22.8748
2020-05-26 13:45:00 | 3.612 | 19 | 7.335 | 34.08 | 6.579 | 32.0693 | 6.219 | 17.88 | 21.89 | 970.1 | 50.7974 | 24.1717
2020-05-26 14:00:00 | 3.767 | 357.7 | 4.734 | 12.55 | 5.857 | 11.8096 | 5.837 | 353 | 22.76 | 970.545 | 48.206 | 26.6066
2020-05-26 14:15:00 | 3.018 | 5.337 | 4.033 | 32.69 | 4.591 | 30.7613 | 4.374 | 352 | 22.74 | 970.99 | 46.7701 | 26.1891
2020-05-26 14:30:00 | 3.614 | 3.79 | 5.144 | 22.82 | 5.577 | 21.4736 | 5.444 | 354.7 | 23.21 | 970.99 | 48.3028 | 24.0387
2020-05-26 14:45:00 | 4.58 | 10.89 | 6.463 | 29.24 | 6.027 | 27.5148 | 5.921 | 10.44 | 22.88 | 970.6 | 51.3294 | 18.5962
2020-05-26 15:00:00 | 3.518 | 347.2 | 4.547 | 3.251 | 5.173 | 3.0592 | 5.182 | 348.9 | 22.95 | 970.695 | 47.0007 | 21.1862
2020-05-26 15:15:00 | 2.793 | 5.667 | 4.509 | 22.21 | 4.834 | 20.8996 | 4.522 | 357.1 | 23.12 | 970.694 | 47.5119 | 24.5412
2020-05-26 15:30:00 | 3.331 | 8.64 | 5.223 | 37.14 | 5.821 | 34.9487 | 6.005 | 355.2 | 22.69 | 970.546 | 48.0573 | 22.7824
2020-05-26 15:45:00 | 3.49 | 18.1 | 4.65 | 24.38 | 5.475 | 22.9416 | 5.33 | 17.01 | 22.35 | 970.694 | 47.6824 | 21.2232
2020-05-26 16:00:00 | 4.236 | 13.54 | 4.598 | 11.8 | 5.442 | 11.1038 | 5.307 | 11.69 | 22.51 | 970.106 | 47.1029 | 18.2415
2020-05-26 16:15:00 | 2.963 | 16.7 | 5.537 | 28.86 | 5.613 | 27.1573 | 4.981 | 13.14 | 23.16 | 970.879 | 47.546 | 18.186
2020-05-26 16:30:00 | 3.031 | 19.42 | 5.99 | 29.95 | 5.961 | 28.1829 | 5.625 | 18.04 | 23.33 | 971.287 | 47.8187 | 15.7992
2020-05-26 16:45:00 | 2.795 | 15.55 | 4.839 | 28.67 | 5.343 | 26.9785 | 4.96 | 17.05 | 23.45 | 971.435 | 48.432 | 14.0921
2020-05-26 17:00:00 | 4.938 | 14.35 | 5.831 | 25.75 | 5.73 | 24.2307 | 5.839 | 8.9 | 22.56 | 970.546 | 48.6995 | 13.6931
2020-05-26 17:15:00 | 3.958 | 8.78 | 5.253 | 32.67 | 4.695 | 30.7425 | 4.632 | 5.67 | 22.46 | 970.249 | 46.4879 | 12.4997
2020-05-26 17:30:00 | 4.535 | 9.37 | 5.412 | 28.07 | 4.756 | 26.4139 | 4.785 | 2.75 | 22.35 | 969.953 | 50.5112 | 12.7435
2020-05-26 17:45:00 | 4.112 | 14.95 | 7.012 | 33.17 | 6.045 | 31.213 | 5.488 | 14.55 | 22.25 | 969.804 | 47.9209 | 11.6757
2020-05-26 18:00:00 | 4.586 | 0.828 | 5.005 | 23.72 | 5.806 | 22.3205 | 5.951 | 0.459 | 22.22 | 969.676 | 46.0804 | 9.3997
2020-05-26 18:15:00 | 3.404 | 16.42 | 4.635 | 24.8 | 4.415 | 23.3368 | 4.209 | 17.16 | 22.15 | 969.653 | 46.8379 | 5.0582
2020-05-26 18:30:00 | 2.686 | 15.96 | 4.458 | 30.98 | 4.105 | 29.1522 | 3.86 | 17.82 | 22.04 | 969.655 | 47.5541 | 2.0396
2020-05-26 18:45:00 | 3.309 | 7.713 | 4.563 | 24.15 | 4.28 | 22.7251 | 3.952 | 7.961 | 21.95 | 969.358 | 47.6589 | 0.31037
2020-05-26 19:00:00 | 1.587 | 22.19 | 2.469 | 26.41 | 2.515 | 24.8518 | 2.269 | 17.77 | 21.92 | 969.21 | 47.3235 | -0.52467
2020-05-26 19:15:00 | 1.164 | 35.23 | 1.925 | 20.44 | 2.151 | 19.234 | 1.953 | 44.46 | 21.77 | 969.506 | 47.6668 | -0.31406
2020-05-26 19:30:00 | 0.026 | 36.89 | 2.042 | 50.35 | 2.105 | 47.3793 | 1.915 | 52.77 | 21.66 | 969.062 | 47.9454 | -0.25125
2020-05-26 19:45:00 | 0.264 | 37.47 | 1.401 | 50.74 | 1.495 | 47.7463 | 1.263 | 52.89 | 21.8 | 969.317 | 47.8097 | -0.24016
2020-05-26 20:00:00 | 0.86 | 101.5 | 0.39 | 54.89 | 0.407 | 51.6515 | 0 | 53.66 | 21.43 | 969.504 | 49.4198 | -0.25125
2020-05-26 20:15:00 | 0.959 | 156 | 1.177 | 157.1 | 0.977 | 147.831 | 0.591 | 138.7 | 21.3 | 969.654 | 48.3629 | -0.25125
2020-05-26 20:30:00 | 0 | 156 | 0 | 157.1 | 0.239 | 147.831 | 0 | 138.7 | 21.3 | 968.912 | 48.4311 | -0.24016
2020-05-26 20:45:00 | 0 | 156 | 0 | 157.1 | 0 | 147.831 | 0 | 138.7 | 21.29 | 968.912 | 48.7779 | -0.25125
2020-05-26 21:00:00 | 0 | 156 | 0 | 157.1 | 0 | 147.831 | 0 | 138.7 | 21.38 | 969.082 | 47.8935 | -0.25125
2020-05-26 21:15:00 | 0.573 | 156 | 0.004 | 157.1 | 0 | 147.831 | 0 | 138.7 | 21.28 | 969.067 | 48.1665 | -0.25125
2020-05-26 21:30:00 | 1.484 | 202.3 | 1.659 | 213.2 | 1.315 | 200.621 | 1.107 | 151.5 | 21.39 | 969.445 | 48.5417 | -0.25125
2020-05-26 21:45:00 | 1.007 | 229 | 1.454 | 245.8 | 1.678 | 231.298 | 1.492 | 237.6 | 21.39 | 969.885 | 49.6674 | -0.24016
2020-05-26 22:00:00 | 1.222 | 229 | 1.523 | 246 | 1.48 | 231.486 | 1.278 | 237.6 | 21.13 | 969.369 | 49.8039 | -0.24016
2020-05-26 22:15:00 | 1.074 | 229 | 0.218 | 246.1 | 0.14 | 231.58 | 0 | 237.6 | 21.26 | 969.338 | 49.9744 | -0.22539
2020-05-26 22:30:00 | 1.034 | 220.9 | 1.536 | 245.5 | 1.404 | 231.016 | 1.225 | 237.2 | 21.35 | 969.016 | 49.6674 | -0.22539
2020-05-26 22:45:00 | 0 | 217.9 | 0.304 | 245.2 | 0.516 | 230.733 | 0.148 | 237.2 | 21.18 | 969.042 | 49.5651 | -0.24016
2020-05-26 23:00:00 | 0 | 217.9 | 0.823 | 245.2 | 0.698 | 230.733 | 0 | 237.2 | 21.03 | 969 | 49.8721 | -0.22539
2020-05-26 23:15:00 | 1.44 | 183.9 | 1.618 | 244.9 | 1.882 | 230.451 | 1.856 | 220.1 | 21.12 | 968.872 | 49.8721 | -0.24016
2020-05-26 23:30:00 | 1.931 | 174 | 2.065 | 242.6 | 2.022 | 228.287 | 1.971 | 188.7 | 21.12 | 968.536 | 49.9403 | -0.24016
2020-05-26 23:45:00 | 2.37 | 168.6 | 3.126 | 186.7 | 2.98 | 175.685 | 2.862 | 173.1 | 21.07 | 968.505 | 49.7356 | -0.24016