## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-27 00:00:00 | 3.028 | 155.3 | 3.165 | 183.2 | 2.902 | 172.391 | 2.747 | 163.6 | 21.19 | 968.504 | 49.5992 | -0.24016
2020-05-27 00:15:00 | 3.539 | 159.5 | 3.957 | 180.2 | 3.349 | 169.568 | 3.208 | 166.6 | 21.07 | 968.344 | 49.8039 | -0.31406
2020-05-27 00:30:00 | 2.048 | 150.8 | 3.372 | 167.8 | 4.702 | 157.9 | 4.668 | 154.6 | 20.62 | 968.03 | 51.8506 | 3.0039
2020-05-27 00:45:00 | 4.019 | 156.1 | 5.046 | 170.4 | 5.412 | 160.346 | 5.297 | 161 | 20.44 | 967.895 | 51.0319 | 4.0459
2020-05-27 01:00:00 | 3.677 | 150.6 | 4.177 | 167.9 | 4.773 | 157.994 | 4.803 | 155 | 20.67 | 967.781 | 50.4179 | 5.7861
2020-05-27 01:15:00 | 5.13 | 151 | 5.276 | 166.8 | 5.519 | 156.959 | 5.511 | 156.5 | 20.38 | 967.65 | 50.2814 | 10.3234
2020-05-27 01:30:00 | 4.964 | 154.3 | 5.167 | 172.2 | 5.837 | 162.04 | 5.872 | 163.4 | 20.2 | 967.7 | 53.2833 | 8.1176
2020-05-27 01:45:00 | 5.778 | 149 | 6.453 | 165.3 | 6.93 | 155.547 | 6.766 | 156.3 | 19.72 | 967.671 | 53.8291 | 14.2325
2020-05-27 02:00:00 | 4.571 | 143 | 5.691 | 161.3 | 6.874 | 151.783 | 6.758 | 152.1 | 19.33 | 967.672 | 54.4431 | 15.7844
2020-05-27 02:15:00 | 4.972 | 149.7 | 5.519 | 169.8 | 7.106 | 159.782 | 7.056 | 155.2 | 19.29 | 967.422 | 53.8973 | 15.2228
2020-05-27 02:30:00 | 6.258 | 149.3 | 7.056 | 161.3 | 7.375 | 151.783 | 7.293 | 159.8 | 19.63 | 967.13 | 52.4646 | 17.2438
2020-05-27 02:45:00 | 4.829 | 145.1 | 5.246 | 169 | 6.526 | 159.029 | 6.662 | 149.2 | 18.94 | 967.427 | 54.716 | 16.6711
2020-05-27 03:00:00 | 6.391 | 156.1 | 6.69 | 172.8 | 7.64 | 162.605 | 7.629 | 163 | 19.62 | 967.13 | 53.4197 | 20.7281
2020-05-27 03:15:00 | 6.792 | 160.1 | 7.411 | 171.1 | 7.228 | 161.005 | 7.135 | 163.1 | 19.44 | 967.128 | 53.7609 | 17.5801
2020-05-27 03:30:00 | 6.69 | 154.5 | 7.623 | 167.6 | 8.17 | 157.712 | 8.07 | 162.7 | 19.1 | 966.821 | 55.1936 | 24.9587
2020-05-27 03:45:00 | 7.075 | 156.3 | 7.892 | 170.1 | 8.34 | 160.064 | 8.27 | 163.2 | 18.97 | 966.833 | 55.4665 | 23.7024
2020-05-27 04:00:00 | 6.79 | 156.3 | 7.455 | 168.6 | 8.09 | 158.653 | 8.02 | 164.2 | 18.9 | 966.833 | 55.6029 | 29.3925
2020-05-27 04:15:00 | 6.718 | 154.9 | 7.746 | 166.5 | 8.37 | 156.676 | 8.33 | 164.9 | 18.67 | 966.536 | 56.9674 | 36.3905
2020-05-27 04:30:00 | 6.598 | 154.1 | 7.716 | 166.4 | 8.16 | 156.582 | 8.1 | 163.7 | 18.51 | 966.239 | 56.9674 | 32.9691
2020-05-27 04:45:00 | 8.43 | 152.9 | 9.05 | 165.2 | 9.28 | 155.453 | 9.29 | 159.8 | 18.73 | 966.239 | 56.2169 | 43.8024
2020-05-27 05:00:00 | 8.2 | 150.4 | 8.97 | 165.5 | 9.3 | 155.736 | 9.23 | 156.7 | 18.45 | 965.943 | 57.3768 | 46.4775
2020-05-27 05:15:00 | 7.762 | 150.8 | 8.11 | 166.7 | 9.01 | 156.865 | 9.07 | 156.4 | 18.33 | 965.943 | 58.196 | 42.8233
2020-05-27 05:30:00 | 8.21 | 147.5 | 8.41 | 164.6 | 9.41 | 154.889 | 9.42 | 153 | 18.15 | 965.943 | 63.6539 | 45.1215
2020-05-27 05:45:00 | 9.03 | 149.4 | 9.68 | 164.7 | 10.26 | 154.983 | 10.09 | 155.9 | 18.03 | 966.091 | 64.745 | 47.5194
2020-05-27 06:00:00 | 9.33 | 147.2 | 9.86 | 161.6 | 9.96 | 152.066 | 9.87 | 156.8 | 18.15 | 966.239 | 65.4614 | 46.4664
2020-05-27 06:15:00 | 8.4 | 146 | 8.99 | 161.2 | 9.54 | 151.689 | 9.47 | 153.6 | 18.01 | 966.239 | 66.7918 | 49.1341
2020-05-27 06:30:00 | 7.859 | 151.7 | 8.73 | 166.5 | 9.96 | 156.676 | 10.06 | 157.5 | 18.13 | 966.593 | 67.0306 | 51.7278
2020-05-27 06:45:00 | 8.69 | 151.7 | 8.82 | 168 | 9.89 | 158.088 | 9.94 | 158.1 | 18.19 | 966.138 | 68.1563 | 50.6674
2020-05-27 07:00:00 | 9.46 | 154 | 9.98 | 169 | 10.7 | 159.029 | 10.7 | 160 | 18.46 | 966.391 | 68.7616 | 48.0625
2020-05-27 07:15:00 | 9.78 | 155.3 | 10.13 | 168.9 | 9.72 | 158.935 | 9.71 | 162.5 | 18.49 | 966.242 | 70.8732 | 56.0545
2020-05-27 07:30:00 | 9.23 | 155.9 | 9.55 | 169.8 | 9.05 | 159.782 | 9 | 164 | 18.72 | 966.538 | 67.5307 | 54.4842
2020-05-27 07:45:00 | 9.53 | 155.4 | 9.51 | 171.9 | 9.06 | 161.758 | 8.93 | 162 | 19.11 | 966.687 | 67.0512 | 53.4977
2020-05-27 08:00:00 | 8.13 | 155.1 | 8.2 | 168.6 | 7.965 | 158.653 | 7.841 | 164.4 | 19.38 | 967.042 | 65.7468 | 48.7487
2020-05-27 08:15:00 | 9.11 | 153.9 | 8.77 | 170.8 | 8.13 | 160.723 | 7.93 | 160.1 | 19.5 | 966.844 | 65.2004 | 37.9941
2020-05-27 08:30:00 | 8.8 | 159.3 | 8.69 | 176.4 | 8.24 | 165.992 | 8.12 | 165.5 | 19.98 | 967.133 | 60.1535 | 29.0932
2020-05-27 08:45:00 | 8.59 | 172.1 | 8.45 | 179.1 | 7.533 | 168.533 | 7.576 | 184.9 | 20.51 | 967.578 | 58.3726 | 20.5729
2020-05-27 09:00:00 | 6.907 | 180.6 | 6.529 | 192.3 | 5.974 | 180.954 | 5.989 | 185.6 | 21.18 | 967.875 | 58.0293 | 18.6737
2020-05-27 09:15:00 | 6.156 | 181.2 | 6.199 | 191.5 | 5.445 | 180.201 | 5.33 | 185.6 | 21.15 | 967.727 | 60.4834 | 8.6201
2020-05-27 09:30:00 | 6.759 | 182 | 6.493 | 194 | 6.188 | 182.554 | 6.219 | 188.2 | 21.84 | 968.172 | 56.2136 | 6.1261
2020-05-27 09:45:00 | 6.641 | 186.8 | 6.245 | 195.7 | 5.539 | 184.154 | 5.508 | 196.8 | 22.5 | 968.023 | 55.1219 | 6.9574
2020-05-27 10:00:00 | 6.154 | 185.6 | 5.473 | 196.9 | 4.88 | 185.283 | 4.95 | 194.7 | 23.43 | 968.468 | 48.2359 | 9.4847
2020-05-27 10:15:00 | 6.772 | 255.3 | 6.688 | 267.5 | 6.732 | 251.717 | 6.651 | 258.1 | 23.69 | 968.475 | 43.8994 | 14.9441
2020-05-27 10:30:00 | 5.972 | 297.6 | 6.371 | 314.5 | 6.009 | 295.944 | 6.017 | 295.4 | 23.56 | 968.622 | 43.7969 | 12.5034
2020-05-27 10:45:00 | 6.915 | 295.5 | 7.365 | 310.2 | 6.701 | 291.898 | 6.499 | 295.4 | 23.43 | 968.321 | 45.2965 | 15.5184
2020-05-27 11:00:00 | 5.411 | 296.3 | 6.056 | 310.7 | 5.872 | 292.369 | 5.704 | 296.1 | 23.92 | 968.766 | 44.8168 | 14.9715
2020-05-27 11:15:00 | 5.004 | 291.9 | 5.821 | 304.4 | 5.905 | 286.44 | 5.887 | 293.1 | 24.1 | 968.766 | 40.4205 | 10.7003
2020-05-27 11:30:00 | 3.757 | 313.1 | 4.47 | 322.3 | 4.847 | 303.284 | 4.803 | 314 | 24.63 | 968.766 | 39.0582 | 12.1191
2020-05-27 11:45:00 | 3.994 | 351.5 | 3.954 | 4.391 | 4.593 | 4.1319 | 4.449 | 346.3 | 25.65 | 968.873 | 36.8421 | 8.0585
2020-05-27 12:00:00 | 4.458 | 308 | 4.844 | 322.2 | 4.822 | 303.19 | 4.823 | 307.4 | 24.83 | 968.426 | 31.1498 | 9.9133
2020-05-27 12:15:00 | 6.692 | 305.4 | 7.411 | 319 | 7.441 | 300.179 | 7.517 | 306.5 | 25.67 | 968.466 | 30.6403 | 16.7784
2020-05-27 12:30:00 | 3.019 | 358.2 | 3.304 | 8.17 | 3.837 | 7.688 | 3.812 | 355.8 | 25.97 | 968.321 | 29.2079 | 30.2998
2020-05-27 12:45:00 | 8.48 | 297.7 | 9.04 | 312 | 9.07 | 293.592 | 9 | 298.9 | 24.78 | 968.321 | 31.7985 | 35.9989
2020-05-27 13:00:00 | 5.587 | 320.4 | 6.297 | 328.9 | 5.615 | 309.495 | 5.625 | 314.6 | 25.54 | 968.025 | 29.5842 | 33.5933
2020-05-27 13:15:00 | 5.748 | 316.5 | 5.836 | 323.3 | 5.534 | 304.225 | 5.345 | 321.4 | 25.98 | 968.025 | 28.9707 | 26.7572
2020-05-27 13:30:00 | 5.722 | 332.1 | 5.939 | 343.2 | 6.399 | 322.951 | 6.435 | 328 | 26.37 | 967.876 | 23.6878 | 34.1995
2020-05-27 13:45:00 | 5.268 | 328.7 | 5.573 | 342 | 5.656 | 321.822 | 5.689 | 326 | 25.77 | 968.469 | 21.8132 | 43.0362
2020-05-27 14:00:00 | 6.83 | 331.5 | 7.542 | 346.3 | 8.04 | 325.868 | 8.21 | 329.4 | 26.31 | 968.321 | 20.893 | 38.7075
2020-05-27 14:15:00 | 5.612 | 352.4 | 5.524 | 5.777 | 6.043 | 5.4362 | 6.02 | 350.2 | 26.92 | 968.618 | 20.7226 | 42.6353
2020-05-27 14:30:00 | 6.932 | 315 | 7.831 | 320.6 | 6.856 | 301.685 | 6.876 | 321.2 | 26.56 | 968.618 | 22.0852 | 38.7774
2020-05-27 14:45:00 | 4.078 | 337.9 | 4.507 | 354.9 | 5.256 | 333.961 | 5.266 | 333 | 26.85 | 969.15 | 21.9139 | 37.5248
2020-05-27 15:00:00 | 4.617 | 348 | 4.64 | 6.985 | 5.831 | 6.5729 | 6.285 | 341.1 | 26.7 | 968.326 | 23.067 | 29.3075
2020-05-27 15:15:00 | 4.632 | 335.7 | 4.469 | 348.1 | 4.508 | 327.562 | 4.543 | 333.4 | 26.53 | 968.619 | 23.6457 | 29.7752
2020-05-27 15:30:00 | 7.893 | 305 | 9.41 | 318.4 | 9.09 | 299.614 | 9.14 | 306.3 | 26.37 | 968.916 | 24.2249 | 30.7026
2020-05-27 15:45:00 | 4.137 | 356 | 4.238 | 3.707 | 4.898 | 3.4883 | 4.864 | 345.1 | 26.5 | 968.619 | 24.293 | 19.0395
2020-05-27 16:00:00 | 4.273 | 333.1 | 4.566 | 339.5 | 4.474 | 319.469 | 4.665 | 323.7 | 26.44 | 968.619 | 24.0886 | 19.2501
2020-05-27 16:15:00 | 4.172 | 329.8 | 4.336 | 339.5 | 4.32 | 319.469 | 4.35 | 332 | 26.17 | 968.471 | 23.2709 | 16.193
2020-05-27 16:30:00 | 2.974 | 303.3 | 4.052 | 321.3 | 4.478 | 302.343 | 4.41 | 307.5 | 26.14 | 968.471 | 24.0886 | 9.0819
2020-05-27 16:45:00 | 3.838 | 348.7 | 4.047 | 358.6 | 4.181 | 337.443 | 4.143 | 346.8 | 26.02 | 968.026 | 25.1789 | 6.9833
2020-05-27 17:00:00 | 2.581 | 352.2 | 2.875 | 349.3 | 3.548 | 328.691 | 3.552 | 353.3 | 26.14 | 968.471 | 23.8842 | 6.9315
2020-05-27 17:15:00 | 3.179 | 286.3 | 3.87 | 298.4 | 3.932 | 280.794 | 3.855 | 290.7 | 25.87 | 968.323 | 25.4855 | 4.759
2020-05-27 17:30:00 | 2.931 | 11.19 | 3.978 | 29.64 | 3.97 | 27.8912 | 3.723 | 6.958 | 25.25 | 967.582 | 26.3714 | 5.6014
2020-05-27 17:45:00 | 3.062 | 1.518 | 3.617 | 23.94 | 3.944 | 22.5275 | 3.99 | 0.171 | 25.38 | 968.026 | 27.1891 | 3.6579
2020-05-27 18:00:00 | 2.722 | 12.26 | 4.111 | 28.15 | 3.247 | 26.4891 | 3.137 | 7.859 | 25 | 967.582 | 25.2811 | 2.3462
2020-05-27 18:15:00 | 2.3 | 9.44 | 3.806 | 29.06 | 3.237 | 27.3455 | 3.089 | 360 | 24.78 | 967.73 | 26.3038 | 2.7933
2020-05-27 18:30:00 | 3.81 | 3.637 | 3.84 | 18.89 | 3.993 | 17.7755 | 4.072 | 359 | 24.68 | 967.571 | 26.6517 | 6.1741
2020-05-27 18:45:00 | 4.895 | 10.27 | 4.637 | 17.04 | 5.119 | 16.0346 | 5.437 | 6.681 | 24.43 | 967.283 | 27.1284 | 8.1065
2020-05-27 19:00:00 | 4.941 | 8.27 | 4.602 | 18.82 | 4.73 | 17.7096 | 4.589 | 8.55 | 24.12 | 966.838 | 27.6074 | 9.7987
2020-05-27 19:15:00 | 4.106 | 6.941 | 6.34 | 23.53 | 5.185 | 22.1417 | 5.067 | 10.17 | 23.7 | 966.938 | 27.1332 | 9.3147
2020-05-27 19:30:00 | 3.68 | 10.11 | 5.034 | 26.7 | 4.333 | 25.1247 | 3.911 | 11.85 | 23.59 | 966.688 | 27.0671 | 8.1878
2020-05-27 19:45:00 | 2.589 | 14.96 | 4.026 | 31.05 | 4.239 | 29.218 | 3.751 | 16.47 | 23.43 | 966.985 | 27.2075 | 5.9413
2020-05-27 20:00:00 | 2.878 | 15.54 | 4.077 | 33.75 | 4.397 | 31.7587 | 4.138 | 16.86 | 23.34 | 966.837 | 27.0717 | 6.817
2020-05-27 20:15:00 | 3.662 | 17.12 | 5.172 | 34.1 | 5.386 | 32.0881 | 5.08 | 18.22 | 23.27 | 966.837 | 27.0751 | 6.3699
2020-05-27 20:30:00 | 2.319 | 10.58 | 3.832 | 28.55 | 4.12 | 26.8655 | 3.695 | 11.86 | 23.09 | 967.133 | 26.9395 | 4.068
2020-05-27 20:45:00 | 2.694 | 20.91 | 3.996 | 36.99 | 4.364 | 34.8076 | 4.258 | 26.05 | 23.22 | 967.281 | 26.5303 | 1.925
2020-05-27 21:00:00 | 2.428 | 33.21 | 3.252 | 46.32 | 3.367 | 43.5871 | 3.354 | 39.68 | 23.32 | 967.285 | 27.451 | 4.7368
2020-05-27 21:15:00 | 2.916 | 34.66 | 3.911 | 48.45 | 3.891 | 45.5914 | 3.883 | 39.59 | 23.1 | 967.666 | 27.7579 | 7.8774
2020-05-27 21:30:00 | 3.503 | 36.68 | 5.146 | 55.67 | 4.58 | 52.3855 | 4.456 | 40.22 | 22.58 | 967.541 | 32.532 | 15.7955
2020-05-27 21:45:00 | 3.524 | 41.09 | 4.944 | 60.25 | 4.995 | 56.6952 | 4.981 | 44.13 | 22.14 | 967.381 | 34.237 | 18.7624
2020-05-27 22:00:00 | 4.293 | 37.35 | 7.365 | 52.17 | 7.696 | 49.092 | 7.724 | 42.53 | 22.06 | 967.123 | 35.3994 | 23.1482
2020-05-27 22:15:00 | 4.011 | 40.97 | 6.851 | 55.16 | 7.563 | 51.9056 | 7.461 | 44.4 | 21.98 | 967.132 | 35.5359 | 22.4129
2020-05-27 22:30:00 | 4.216 | 39.67 | 7.805 | 58.19 | 8.17 | 54.7568 | 8.11 | 43.75 | 21.72 | 967.132 | 35.3324 | 15.4038
2020-05-27 22:45:00 | 4.972 | 47.45 | 7.654 | 68.3 | 7.309 | 64.2703 | 7.191 | 47.55 | 22.12 | 967.132 | 33.2878 | 9.2186
2020-05-27 23:00:00 | 4.269 | 50.08 | 5.949 | 68.44 | 6.622 | 64.402 | 6.636 | 50.65 | 22.35 | 967.28 | 32.5375 | 7.4266
2020-05-27 23:15:00 | 3.703 | 63.83 | 4.042 | 75.62 | 3.54 | 71.1584 | 3.644 | 70.04 | 22.27 | 967.132 | 31.7183 | 11.103
2020-05-27 23:30:00 | 4.645 | 58.54 | 6.386 | 73.8 | 6.416 | 69.4458 | 6.667 | 63.11 | 22.37 | 966.983 | 32.2645 | 18.7846
2020-05-27 23:45:00 | 5.222 | 60.1 | 5.711 | 74.22 | 6.877 | 69.841 | 7.331 | 64.92 | 22.4 | 966.983 | 31.2412 | 21.9289