## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-29 00:00:00 | 8.58 | 132.6 | 9.21 | 150.7 | 9.48 | 141.809 | 9.37 | 138 | 26.29 | 966.688 | 32.18 | 66.5996
2020-05-29 00:15:00 | 8.82 | 131.2 | 9.39 | 147.7 | 10.25 | 138.986 | 10.3 | 136.8 | 26.15 | 966.214 | 31.7709 | 71.7338
2020-05-29 00:30:00 | 10.66 | 132.5 | 10.65 | 147.4 | 10.72 | 138.703 | 10.71 | 138 | 26.09 | 966.243 | 32.5209 | 69.9434
2020-05-29 00:45:00 | 10.27 | 133.1 | 10.28 | 149.4 | 11.22 | 140.585 | 11.29 | 140 | 25.85 | 965.932 | 33.4072 | 75.0905
2020-05-29 01:00:00 | 11.65 | 139.3 | 11.91 | 156.2 | 12.38 | 146.984 | 12.37 | 146 | 25.7 | 965.65 | 34.7707 | 72.2342
2020-05-29 01:15:00 | 9.75 | 135.8 | 9.88 | 150.5 | 10.34 | 141.62 | 10.39 | 140.8 | 25.51 | 965.798 | 36.4752 | 75.2012
2020-05-29 01:30:00 | 11.49 | 137.2 | 11.7 | 154.5 | 12.03 | 145.384 | 11.86 | 142 | 25.53 | 965.947 | 37.0206 | 77.4107
2020-05-29 01:45:00 | 10.96 | 130.7 | 11.49 | 145.8 | 11.65 | 137.198 | 11.6 | 136.6 | 25.35 | 965.353 | 37.7024 | 78.4859
2020-05-29 02:00:00 | 10.6 | 130.6 | 11.17 | 146 | 11.82 | 137.386 | 11.7 | 136.9 | 25.11 | 965.501 | 39.4752 | 79.5168
2020-05-29 02:15:00 | 10.59 | 133.9 | 11.12 | 149.2 | 11.68 | 140.397 | 11.65 | 139.5 | 24.95 | 965.057 | 40.022 | 83.3298
2020-05-29 02:30:00 | 11.98 | 131.7 | 12.69 | 146.1 | 13.24 | 137.48 | 13.12 | 137.5 | 24.9 | 965.353 | 40.9116 | 85.2105
2020-05-29 02:45:00 | 10.72 | 128.8 | 11.44 | 145.7 | 11.82 | 137.104 | 11.81 | 136.6 | 24.6 | 965.205 | 42.0046 | 85.4063
2020-05-29 03:00:00 | 12.12 | 132.5 | 12.57 | 148.2 | 12.92 | 139.456 | 12.9 | 137.5 | 24.48 | 964.908 | 42.4819 | 88.3401
2020-05-29 03:15:00 | 12.02 | 133.5 | 12.99 | 149.9 | 13.69 | 141.056 | 13.56 | 140 | 24.26 | 965.205 | 43.7777 | 88.4879
2020-05-29 03:30:00 | 11.77 | 133 | 12.68 | 150 | 13.49 | 141.15 | 13.45 | 138.2 | 24.16 | 964.76 | 44.255 | 86.6959
2020-05-29 03:45:00 | 12.65 | 132.9 | 13.44 | 148.6 | 13.89 | 139.833 | 13.67 | 138.7 | 24.03 | 965.057 | 44.8687 | 86.2303
2020-05-29 04:00:00 | 12.65 | 135.9 | 13.21 | 150.9 | 13.58 | 141.997 | 13.5 | 140.9 | 24.01 | 964.908 | 45.0392 | 86.6811
2020-05-29 04:15:00 | 11.63 | 134 | 11.93 | 152.8 | 12.49 | 143.785 | 12.41 | 140.7 | 23.9 | 964.76 | 45.0048 | 84.3311
2020-05-29 04:30:00 | 10.14 | 139.1 | 10.51 | 158.6 | 10.9 | 149.243 | 10.87 | 144 | 23.62 | 965.353 | 46.6417 | 78.1712
2020-05-29 04:45:00 | 10.06 | 133.7 | 10.88 | 149.6 | 10.86 | 140.774 | 10.63 | 140.8 | 23.55 | 965.057 | 41.6992 | 67.8484
2020-05-29 05:00:00 | 5.104 | 171.2 | 4.755 | 208.9 | 3.858 | 196.575 | 3.882 | 150.2 | 23.23 | 965.947 | 46.8502 | 63.2919
2020-05-29 05:15:00 | 5.258 | 134.6 | 6.136 | 152.8 | 6.091 | 143.785 | 6.035 | 144 | 23.19 | 965.65 | 46.6479 | 62.1732
2020-05-29 05:30:00 | 5.222 | 138.7 | 5.103 | 163.1 | 5.526 | 153.477 | 5.546 | 144.6 | 23.44 | 965.947 | 43.9554 | 61.2199
2020-05-29 05:45:00 | 9.22 | 133 | 9.98 | 145.4 | 9.05 | 136.821 | 8.83 | 143.7 | 23.55 | 966.243 | 40.9858 | 64.7522
2020-05-29 06:00:00 | 5.998 | 151.1 | 6.115 | 172.6 | 5.895 | 162.417 | 5.839 | 151.4 | 23.61 | 966.54 | 43.575 | 53.3942
2020-05-29 06:15:00 | 9.08 | 134.8 | 9.61 | 149.1 | 9.06 | 140.303 | 8.84 | 142.9 | 23.41 | 966.391 | 46.233 | 56.5422
2020-05-29 06:30:00 | 8.39 | 139.7 | 8.6 | 162.7 | 8.75 | 153.101 | 8.81 | 142.6 | 23.14 | 966.243 | 47.5622 | 55.334
2020-05-29 06:45:00 | 9.43 | 140.1 | 9.52 | 156.9 | 10.04 | 147.643 | 9.93 | 145.5 | 22.86 | 966.54 | 49.0965 | 58.2825
2020-05-29 07:00:00 | 7.497 | 146.7 | 7.363 | 165.1 | 7.312 | 155.359 | 7.382 | 150.8 | 22.61 | 966.688 | 48.6875 | 58.4414
2020-05-29 07:15:00 | 8.43 | 143.3 | 8.59 | 159.5 | 8.59 | 150.089 | 8.52 | 148.6 | 22.78 | 966.985 | 49.7104 | 60.3147
2020-05-29 07:30:00 | 10.01 | 143.4 | 10.15 | 159.4 | 9.89 | 149.995 | 9.75 | 149.4 | 22.77 | 966.837 | 50.3239 | 60.4588
2020-05-29 07:45:00 | 10.04 | 142.6 | 10.4 | 158.2 | 10.33 | 148.866 | 10.18 | 148.5 | 22.78 | 967.43 | 51.2104 | 55.7737
2020-05-29 08:00:00 | 8.85 | 147.6 | 9.38 | 161.2 | 9.98 | 151.689 | 9.96 | 153.8 | 22.98 | 967.281 | 50.4601 | 57.4807
2020-05-29 08:15:00 | 9.6 | 146.4 | 9.58 | 164.3 | 9.72 | 154.606 | 9.66 | 151.5 | 23.01 | 967.578 | 51.6876 | 55.5023
2020-05-29 08:30:00 | 10.13 | 147.1 | 9.93 | 164 | 9.77 | 154.324 | 9.68 | 151.6 | 23.19 | 967.578 | 51.8918 | 60.6841
2020-05-29 08:45:00 | 10.4 | 147.6 | 10.54 | 162.1 | 10.77 | 152.536 | 10.58 | 152.8 | 23.13 | 967.726 | 53.7279 | 56.5866
2020-05-29 09:00:00 | 10.17 | 146.7 | 10.87 | 161.3 | 10.22 | 151.783 | 10.01 | 153.4 | 23.09 | 967.726 | 54.6158 | 57.2775
2020-05-29 09:15:00 | 9.92 | 149.9 | 10.12 | 163.8 | 9.88 | 154.136 | 9.69 | 157.5 | 23.52 | 968.172 | 52.3629 | 50.9208
2020-05-29 09:30:00 | 9.59 | 149.7 | 9.5 | 163.7 | 9.51 | 154.042 | 9.32 | 156.4 | 23.69 | 968.172 | 53.3834 | 45.8309
2020-05-29 09:45:00 | 9.07 | 148.3 | 9.32 | 163.8 | 8.85 | 154.136 | 8.71 | 155.7 | 23.95 | 968.459 | 52.7697 | 41.7887
2020-05-29 10:00:00 | 8.86 | 152.9 | 8.45 | 166.1 | 7.569 | 156.3 | 7.515 | 160.4 | 24.38 | 968.616 | 51.0653 | 34.7094
2020-05-29 10:15:00 | 8.59 | 153.2 | 8.27 | 168.4 | 7.815 | 158.464 | 7.792 | 162.2 | 25.03 | 969.174 | 48.3312 | 28.3579
2020-05-29 10:30:00 | 8.4 | 153.4 | 8.35 | 166.9 | 7.446 | 157.053 | 7.334 | 163.1 | 25.12 | 969.213 | 48.5344 | 28.7718
2020-05-29 10:45:00 | 6.47 | 150.6 | 6.413 | 174.4 | 6.523 | 164.11 | 6.623 | 159.3 | 25.62 | 968.915 | 47.6824 | 23.9943
2020-05-29 11:00:00 | 7.208 | 160.2 | 6.642 | 175.1 | 6.312 | 164.769 | 6.16 | 167.5 | 25.92 | 969.359 | 48.3981 | 18.877
2020-05-29 11:15:00 | 6.881 | 158.1 | 6.644 | 171.8 | 6.569 | 161.664 | 6.514 | 164.3 | 25.78 | 969.211 | 45.3301 | 14.3951
2020-05-29 11:30:00 | 7.571 | 154.2 | 7.777 | 169.8 | 7.279 | 159.782 | 7.036 | 160.3 | 26.06 | 969.211 | 43.8962 | 15.2265
2020-05-29 11:45:00 | 7.622 | 179 | 7.542 | 190.5 | 7.078 | 179.26 | 7.089 | 182.8 | 26.63 | 969.063 | 44.4421 | 16.5492
2020-05-29 12:00:00 | 6.105 | 167.6 | 6.176 | 185.1 | 5.712 | 174.179 | 5.643 | 174.8 | 26.68 | 969.211 | 43.8302 | 16.0135
2020-05-29 12:15:00 | 5.697 | 170.4 | 5.696 | 194.7 | 5.539 | 183.213 | 5.398 | 169.5 | 27.24 | 969.063 | 41.7848 | 16.0282
2020-05-29 12:30:00 | 5.436 | 155.4 | 5.43 | 173.2 | 4.972 | 162.981 | 4.818 | 163.6 | 27.38 | 969.063 | 42.9092 | 16.4458
2020-05-29 12:45:00 | 5.635 | 184.8 | 5.315 | 200.9 | 4.672 | 189.047 | 4.645 | 183.4 | 27.39 | 969.038 | 39.5361 | 18.1934
2020-05-29 13:00:00 | 7.614 | 154.3 | 7.46 | 172.1 | 6.587 | 161.946 | 6.483 | 159.4 | 27.86 | 968.891 | 35.1702 | 26.9872
2020-05-29 13:15:00 | 7.867 | 173 | 7.728 | 192.4 | 7.347 | 181.048 | 7.171 | 175.1 | 28.14 | 969.029 | 33.8705 | 29.5625
2020-05-29 13:30:00 | 7.364 | 152 | 7.304 | 165.8 | 6.007 | 156.018 | 5.824 | 161.3 | 28.07 | 968.977 | 35.2994 | 27.6892
2020-05-29 13:45:00 | 7.318 | 163.1 | 7.22 | 172.1 | 6.307 | 161.946 | 6.112 | 172.2 | 28.16 | 969.083 | 35.2644 | 32.8473
2020-05-29 14:00:00 | 7.673 | 181.3 | 7.58 | 196.1 | 6.818 | 184.53 | 6.916 | 184.6 | 28.24 | 969.231 | 34.9577 | 22.2799
2020-05-29 14:15:00 | 7.517 | 186.4 | 7.138 | 201.1 | 6.297 | 189.235 | 6.178 | 185.7 | 28.52 | 969.064 | 37.2402 | 17.5173
2020-05-29 14:30:00 | 7.844 | 179.9 | 7.621 | 197.7 | 6.968 | 186.036 | 6.97 | 183.1 | 28.34 | 968.768 | 38.5349 | 32.7957
2020-05-29 14:45:00 | 6.069 | 164.3 | 5.972 | 178.1 | 5.834 | 167.592 | 5.849 | 169.7 | 28.41 | 969.509 | 38.8757 | 35.2636
2020-05-29 15:00:00 | 7.645 | 148.6 | 7.943 | 164.9 | 7.673 | 155.171 | 7.578 | 157.5 | 28.74 | 969.212 | 34.3101 | 40.9658
2020-05-29 15:15:00 | 9.34 | 184.2 | 8.95 | 200.1 | 8.08 | 188.294 | 8.09 | 185.4 | 28.6 | 968.619 | 34.5486 | 46.7765
2020-05-29 15:30:00 | 7.627 | 168 | 7.818 | 182.4 | 7.223 | 171.638 | 7.151 | 170.8 | 28.53 | 969.064 | 39.4208 | 41.0017
2020-05-29 15:45:00 | 7.561 | 160.5 | 7.283 | 177.2 | 6.867 | 166.745 | 6.794 | 162.4 | 28.37 | 969.212 | 38.3986 | 39.4868
2020-05-29 16:00:00 | 9.12 | 147.6 | 8.9 | 162.3 | 8.27 | 152.724 | 8.12 | 156.1 | 28.68 | 969.212 | 36.2181 | 28.757
2020-05-29 16:15:00 | 8.43 | 157.8 | 7.961 | 173.5 | 7.093 | 163.264 | 6.975 | 162.6 | 28.3 | 969.212 | 36.6268 | 32.3225
2020-05-29 16:30:00 | 6.141 | 160.3 | 6.212 | 178.2 | 5.781 | 167.686 | 5.806 | 164.2 | 28.8 | 968.768 | 35.5366 | 25.0141
2020-05-29 16:45:00 | 7.175 | 152.4 | 7.404 | 168 | 6.989 | 158.088 | 6.906 | 156.7 | 28.72 | 968.768 | 32.9472 | 31.4564
2020-05-29 17:00:00 | 6.715 | 153.5 | 7.002 | 172.4 | 6.656 | 162.228 | 6.682 | 161.3 | 28.68 | 968.916 | 33.6626 | 29.1523
2020-05-29 17:15:00 | 7.06 | 154 | 6.608 | 171.2 | 5.865 | 161.099 | 5.791 | 161.1 | 28.48 | 968.916 | 33.2538 | 32.7844
2020-05-29 17:30:00 | 5.572 | 165.2 | 5.706 | 187.3 | 5.333 | 176.249 | 5.337 | 167.5 | 28.4 | 968.768 | 34.2078 | 38.5214
2020-05-29 17:45:00 | 9.22 | 178.2 | 8.65 | 196.5 | 6.778 | 184.906 | 6.784 | 177.8 | 27.94 | 968.175 | 36.5588 | 52.4483
2020-05-29 18:00:00 | 8.34 | 177.7 | 8.11 | 195.4 | 7.459 | 183.871 | 7.451 | 177.6 | 27.61 | 968.175 | 39.2845 | 50.1852
2020-05-29 18:15:00 | 7.461 | 173.5 | 7.378 | 191.6 | 6.917 | 180.296 | 6.965 | 174.2 | 27.33 | 968.335 | 41.2304 | 45.986
2020-05-29 18:30:00 | 5.623 | 163 | 6.192 | 178 | 6.012 | 167.498 | 6.02 | 169.6 | 27.01 | 968.311 | 43.0122 | 37.148
2020-05-29 18:45:00 | 6.052 | 156.2 | 5.962 | 172.7 | 5.811 | 162.511 | 5.689 | 163.9 | 26.84 | 968.321 | 44.5094 | 22.339
2020-05-29 19:00:00 | 7.193 | 150.7 | 7.033 | 164.5 | 7.075 | 154.794 | 7.072 | 157 | 26.68 | 968.618 | 44.7849 | 25.5646
2020-05-29 19:15:00 | 5.975 | 145.3 | 5.862 | 163.9 | 5.824 | 154.23 | 5.742 | 150.6 | 26.47 | 968.173 | 45.4669 | 21.6814
2020-05-29 19:30:00 | 6.672 | 147.5 | 6.816 | 162.6 | 6.605 | 153.007 | 6.514 | 153.3 | 26.24 | 968.221 | 46.0804 | 18.2858
2020-05-29 19:45:00 | 6.2 | 143.3 | 6.547 | 157.3 | 6.864 | 148.019 | 6.809 | 150.6 | 25.99 | 968.262 | 46.9669 | 19.7489
2020-05-29 20:00:00 | 5.551 | 147.5 | 5.701 | 166.7 | 6.007 | 156.865 | 6.01 | 150.5 | 25.81 | 968.319 | 46.4284 | 23.0817
2020-05-29 20:15:00 | 8.03 | 151.5 | 8.25 | 168.1 | 8.5 | 158.182 | 8.46 | 156.9 | 25.97 | 968.32 | 43.9748 | 28.4429
2020-05-29 20:30:00 | 7.303 | 148.8 | 7.199 | 163 | 7.574 | 153.383 | 7.655 | 154.6 | 25.72 | 968.172 | 46.2928 | 22.86
2020-05-29 20:45:00 | 5.883 | 139.5 | 6.138 | 155.2 | 6.587 | 146.043 | 6.539 | 146.3 | 25.28 | 968.32 | 45.7474 | 18.1823
2020-05-29 21:00:00 | 6.631 | 148.6 | 7.271 | 162.6 | 7.937 | 153.007 | 7.983 | 153.1 | 25.34 | 968.468 | 46.9746 | 30.1167
2020-05-29 21:15:00 | 6.71 | 137.9 | 6.683 | 157.4 | 6.142 | 148.113 | 6.122 | 141.1 | 25.16 | 968.913 | 46.6338 | 22.3206
2020-05-29 21:30:00 | 6.039 | 143.3 | 6.409 | 160.7 | 6.213 | 151.219 | 6.137 | 147.4 | 24.98 | 969.062 | 45.5447 | 27.6892
2020-05-29 21:45:00 | 7.448 | 140.1 | 7.731 | 155.7 | 7.541 | 146.514 | 7.454 | 143.1 | 24.96 | 969.506 | 41.7275 | 24.9993
2020-05-29 22:00:00 | 5.891 | 136.7 | 6.667 | 150.6 | 7.215 | 141.715 | 7.123 | 141.9 | 24.68 | 969.506 | 41.1846 | 29.3814
2020-05-29 22:15:00 | 7.073 | 139.4 | 7.358 | 155.6 | 8.36 | 146.42 | 8.38 | 146 | 24.46 | 968.913 | 40.5721 | 28.103
2020-05-29 22:30:00 | 8.1 | 135.6 | 7.9 | 152.5 | 7.988 | 143.503 | 7.96 | 143.4 | 24.41 | 969.21 | 40.7092 | 21.6481
2020-05-29 22:45:00 | 8.94 | 139.4 | 9.35 | 153.6 | 9.33 | 144.538 | 9.28 | 146.3 | 24.41 | 969.21 | 39.7545 | 25.9341
2020-05-29 23:00:00 | 8.43 | 138 | 8.81 | 154.3 | 9.1 | 145.196 | 9 | 144.7 | 24.17 | 969.21 | 39.6863 | 26.8541
2020-05-29 23:15:00 | 7.576 | 141.1 | 8.16 | 157 | 8.33 | 147.737 | 8.14 | 148.7 | 23.9 | 969.21 | 40.8454 | 23.5288
2020-05-29 23:30:00 | 5.505 | 150.3 | 6.115 | 168.9 | 6.526 | 158.935 | 6.557 | 155 | 23.5 | 969.358 | 42.6185 | 20.6468
2020-05-29 23:45:00 | 5.4 | 155.3 | 5.657 | 170.5 | 6.287 | 160.44 | 6.463 | 159.4 | 23.13 | 969.21 | 44.8019 | 20.3845