## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-30 00:00:00 | 5.13 | 160.5 | 4.98 | 179.9 | 4.631 | 169.286 | 4.665 | 163.7 | 22.95 | 969.21 | 45.0803 | 16.9852
2020-05-30 00:15:00 | 4.941 | 157.5 | 5.013 | 170.7 | 5.061 | 160.629 | 5.067 | 162.4 | 22.64 | 969.358 | 45.6266 | 12.5292
2020-05-30 00:30:00 | 4.892 | 151.5 | 5.381 | 170.7 | 5.407 | 160.629 | 5.307 | 155.2 | 22.67 | 969.21 | 45.8994 | 13.1167
2020-05-30 00:45:00 | 4.172 | 150.7 | 4.374 | 167.5 | 4.974 | 157.617 | 4.917 | 154.6 | 22.39 | 969.21 | 46.8201 | 8.9415
2020-05-30 01:00:00 | 4.645 | 151.3 | 5.471 | 167.1 | 6.236 | 157.241 | 6.152 | 155.2 | 22.22 | 969.419 | 46.104 | 11.1141
2020-05-30 01:15:00 | 5.125 | 158 | 5.343 | 173.6 | 5.432 | 163.358 | 5.429 | 162.6 | 22.1 | 969.589 | 44.7402 | 13.4455
2020-05-30 01:30:00 | 4.622 | 158.5 | 4.553 | 173.4 | 4.565 | 163.169 | 4.528 | 161.6 | 22.18 | 969.328 | 45.2188 | 11.7385
2020-05-30 01:45:00 | 4.497 | 143.6 | 5.074 | 157.7 | 5.948 | 148.396 | 5.887 | 148.8 | 21.95 | 969.505 | 45.2557 | 11.5575
2020-05-30 02:00:00 | 5.066 | 144.3 | 5.407 | 156 | 6.05 | 146.796 | 6.089 | 150.7 | 22.13 | 969.209 | 44.4056 | 10.5746
2020-05-30 02:15:00 | 5.191 | 142.2 | 5.609 | 156.8 | 6.274 | 147.549 | 6.252 | 148.3 | 22.1 | 969.061 | 44.6444 | 14.0626
2020-05-30 02:30:00 | 5.508 | 142.1 | 6.01 | 157.5 | 6.449 | 148.208 | 6.422 | 148.9 | 21.96 | 968.912 | 44.6777 | 13.4197
2020-05-30 02:45:00 | 5.674 | 143 | 5.762 | 158.8 | 6.205 | 149.431 | 6.137 | 149.1 | 21.89 | 968.912 | 44.8146 | 12.81
2020-05-30 03:00:00 | 5.638 | 144.2 | 6.345 | 160.2 | 7.029 | 150.748 | 6.98 | 150.1 | 21.84 | 968.912 | 45.0198 | 10.9367
2020-05-30 03:15:00 | 5.582 | 132.2 | 5.877 | 146.1 | 6.175 | 137.48 | 6.147 | 139.6 | 21.73 | 968.912 | 45.3615 | 12.6696
2020-05-30 03:30:00 | 5.339 | 128.5 | 5.793 | 141.4 | 6.223 | 133.057 | 6.259 | 134.5 | 21.78 | 968.764 | 45.7024 | 19.76
2020-05-30 03:45:00 | 7.27 | 131.2 | 7.373 | 148.8 | 7.67 | 140.021 | 7.739 | 136.5 | 21.59 | 968.764 | 46.0436 | 27.3308
2020-05-30 04:00:00 | 6.792 | 134.1 | 6.903 | 153.7 | 6.905 | 144.632 | 6.893 | 138 | 21.39 | 968.764 | 45.7026 | 24.2419
2020-05-30 04:15:00 | 6.024 | 135.2 | 6.33 | 152.4 | 6.806 | 143.408 | 6.781 | 139.2 | 21.16 | 968.912 | 46.521 | 19.882
2020-05-30 04:30:00 | 4.831 | 119.7 | 5.248 | 137.4 | 5.341 | 129.293 | 5.284 | 122.9 | 21 | 968.615 | 48.2947 | 21.3266
2020-05-30 04:45:00 | 5.023 | 114.2 | 5.136 | 130.9 | 5.92 | 123.177 | 6.05 | 120 | 20.53 | 968.467 | 49.3179 | 24.7961
2020-05-30 05:00:00 | 5.847 | 120.2 | 5.836 | 139.3 | 6.172 | 131.081 | 6.175 | 126.8 | 20.47 | 968.319 | 50.6821 | 22.8194
2020-05-30 05:15:00 | 6.289 | 128.6 | 6.509 | 146 | 6.656 | 137.386 | 6.779 | 134.5 | 20.29 | 968.17 | 51.0936 | 21.5077
2020-05-30 05:30:00 | 6.399 | 129.5 | 6.695 | 146.6 | 7.065 | 137.951 | 7.12 | 133.6 | 20.31 | 968.319 | 50.9583 | 20.8685
2020-05-30 05:45:00 | 5.349 | 124.9 | 5.614 | 147.7 | 6.31 | 138.986 | 6.506 | 124 | 20.35 | 968.319 | 51.5016 | 23.381
2020-05-30 06:00:00 | 5.99 | 116.8 | 6.626 | 132.5 | 6.933 | 124.682 | 7.039 | 122.3 | 20.24 | 968.319 | 52.3193 | 28.6351
2020-05-30 06:15:00 | 7.52 | 121.6 | 7.608 | 142.7 | 7.502 | 134.281 | 7.545 | 125.3 | 20.21 | 968.467 | 53.1378 | 33.6933
2020-05-30 06:30:00 | 6.483 | 126.5 | 6.514 | 147.7 | 6.775 | 138.986 | 6.955 | 130.2 | 20.03 | 968.615 | 54.2292 | 29.6585
2020-05-30 06:45:00 | 6.787 | 126.7 | 7.197 | 147.3 | 7.068 | 138.609 | 6.962 | 133.2 | 19.92 | 968.905 | 55.4184 | 22.2097
2020-05-30 07:00:00 | 8.06 | 137.1 | 8.27 | 153.5 | 8.32 | 144.443 | 8.2 | 140.1 | 19.86 | 968.912 | 55.6599 | 20.2551
2020-05-30 07:15:00 | 7.882 | 137.5 | 8.12 | 154.6 | 8.29 | 145.479 | 8.27 | 140.4 | 19.69 | 968.912 | 56.8212 | 19.3647
2020-05-30 07:30:00 | 8.05 | 134 | 8.31 | 147.2 | 8.45 | 138.515 | 8.43 | 139.6 | 19.76 | 969.209 | 57.4683 | 24.6853
2020-05-30 07:45:00 | 7.678 | 134.8 | 7.946 | 151.4 | 8.36 | 142.467 | 8.45 | 137.4 | 19.9 | 969.654 | 57.0928 | 24.8589
2020-05-30 08:00:00 | 8.05 | 126.6 | 8.33 | 144.2 | 8.93 | 135.692 | 8.94 | 131.3 | 19.89 | 969.506 | 58.9321 | 42.2785
2020-05-30 08:15:00 | 11.23 | 132.3 | 11.43 | 148.5 | 11.69 | 139.738 | 11.56 | 136.7 | 19.92 | 969.357 | 58.1816 | 54.2331
2020-05-30 08:30:00 | 11.88 | 134.8 | 12.32 | 152.3 | 11.93 | 143.314 | 11.78 | 139 | 19.77 | 969.357 | 59.4133 | 61.5894
2020-05-30 08:45:00 | 9.71 | 143.3 | 10.3 | 160.3 | 10.61 | 150.842 | 10.42 | 147.5 | 19.54 | 969.209 | 60.5048 | 52.7259
2020-05-30 09:00:00 | 9.23 | 140.7 | 8.78 | 161.5 | 8.27 | 151.971 | 8.17 | 145.6 | 19.35 | 969.209 | 63.643 | 49.4407
2020-05-30 09:15:00 | 6.999 | 126.8 | 7.427 | 145.2 | 7.754 | 136.633 | 7.713 | 130.7 | 19.29 | 969.209 | 62.0439 | 27.2421
2020-05-30 09:30:00 | 5.993 | 123.3 | 6.192 | 143 | 5.908 | 134.563 | 5.809 | 127.1 | 19.46 | 969.506 | 62.1482 | 27.0869
2020-05-30 09:45:00 | 5.549 | 124 | 5.772 | 144 | 6.022 | 135.504 | 6.127 | 127.5 | 19.71 | 969.654 | 61.4628 | 34.2846
2020-05-30 10:00:00 | 7.867 | 114 | 9.14 | 131.6 | 9.42 | 123.836 | 9.48 | 118.7 | 19.96 | 969.506 | 60.7777 | 48.8647
2020-05-30 10:15:00 | 9.49 | 129.6 | 10.32 | 144.4 | 10.27 | 135.88 | 10.18 | 136.6 | 19.82 | 969.357 | 61.3234 | 55.8106
2020-05-30 10:30:00 | 8.86 | 132.8 | 9.47 | 152.4 | 9.69 | 143.408 | 9.62 | 135.4 | 19.86 | 968.912 | 62.824 | 46.6511
2020-05-30 10:45:00 | 8.3 | 125.5 | 8.07 | 146.5 | 7.8 | 137.856 | 7.769 | 128.6 | 19.6 | 968.912 | 63.8472 | 42.6348
2020-05-30 11:00:00 | 10.25 | 132.4 | 10.36 | 150.3 | 10.16 | 141.432 | 10.01 | 137.1 | 19.49 | 969.209 | 63.9155 | 26.5955
2020-05-30 11:15:00 | 7.984 | 130.2 | 8.23 | 143.5 | 8.02 | 135.033 | 7.899 | 135.5 | 19.42 | 969.357 | 64.9386 | 20.1517
2020-05-30 11:30:00 | 4.338 | 139.2 | 4.942 | 155.6 | 4.982 | 146.42 | 4.897 | 145.6 | 19.38 | 969.506 | 70.4639 | 15.9987
2020-05-30 11:45:00 | 4.744 | 145.8 | 4.627 | 161.3 | 4.542 | 151.783 | 4.512 | 153.1 | 18.62 | 969.209 | 75.7163 | 16.4458
2020-05-30 12:00:00 | 5.827 | 138.3 | 5.696 | 157.7 | 4.949 | 148.396 | 4.792 | 145.9 | 18.31 | 969.209 | 77.4969 | 15.6255
2020-05-30 12:15:00 | 4.923 | 153.3 | 4.568 | 167.9 | 3.835 | 157.994 | 3.715 | 157 | 18.33 | 969.506 | 76.8132 | 9.9835
2020-05-30 12:30:00 | 4.749 | 124.7 | 5.067 | 149.5 | 5.193 | 140.68 | 5.157 | 124.6 | 18.82 | 969.506 | 70.464 | 23.4992
2020-05-30 12:45:00 | 4.785 | 109.3 | 5.392 | 132.9 | 5.407 | 125.059 | 5.421 | 108.7 | 18.87 | 969.506 | 72.8513 | 35.9435
2020-05-30 13:00:00 | 6.016 | 103.3 | 7.429 | 122.4 | 7.383 | 115.178 | 7.556 | 108 | 18.32 | 969.506 | 81.3779 | 37.0705
2020-05-30 13:15:00 | 4.846 | 93.8 | 5.824 | 113.1 | 5.862 | 106.427 | 5.946 | 95.1 | 18.13 | 969.209 | 82.1965 | 44.3862
2020-05-30 13:30:00 | 6.243 | 95.5 | 6.841 | 117.7 | 7.095 | 110.756 | 7.258 | 100.3 | 17.84 | 968.912 | 79.8773 | 48.458
2020-05-30 13:45:00 | 9.24 | 105.6 | 10.36 | 127.3 | 11.06 | 119.789 | 11.41 | 111.2 | 17.81 | 968.319 | 84.7886 | 63.9176
2020-05-30 14:00:00 | 7.987 | 100.5 | 8.83 | 113.6 | 8.35 | 106.898 | 8.45 | 106.4 | 17.38 | 968.17 | 87.3173 | 58.7695
2020-05-30 14:15:00 | 8 | 109.3 | 9.22 | 124.9 | 9.8 | 117.531 | 9.92 | 113.9 | 17.37 | 967.866 | 84.9053 | 60.0656
2020-05-30 14:30:00 | 6.179 | 118.6 | 6.775 | 138.2 | 7.151 | 130.046 | 7.056 | 122.1 | 17.62 | 968.02 | 84.189 | 63.3357
2020-05-30 14:45:00 | 7.79 | 112.4 | 8.5 | 128.9 | 9.11 | 121.295 | 9.33 | 116.3 | 17.77 | 967.575 | 82.2787 | 58.1944
2020-05-30 15:00:00 | 7.928 | 121.9 | 7.974 | 142.3 | 8.38 | 133.904 | 8.33 | 124.2 | 17.74 | 967.427 | 82.9609 | 60.4846
2020-05-30 15:15:00 | 5.96 | 115.3 | 6.225 | 135.7 | 6.116 | 127.694 | 6.117 | 117.5 | 17.64 | 967.278 | 83.2338 | 67.7856
2020-05-30 15:30:00 | 7.732 | 124.4 | 7.869 | 140.9 | 7.894 | 132.587 | 7.935 | 127.1 | 17.52 | 966.833 | 83.7796 | 63.5292
2020-05-30 15:45:00 | 7.665 | 118 | 8.12 | 138 | 8.4 | 129.858 | 8.46 | 121.8 | 17.56 | 967.13 | 83.9843 | 61.4934
2020-05-30 16:00:00 | 8.28 | 119.4 | 8.52 | 138.7 | 8.4 | 130.517 | 8.37 | 123.1 | 17.57 | 966.833 | 84.7348 | 64.6007
2020-05-30 16:15:00 | 7.974 | 116.7 | 8.39 | 139.1 | 8.28 | 130.893 | 8.31 | 125.4 | 17.52 | 966.685 | 85.6217 | 63.077
2020-05-30 16:30:00 | 7.032 | 121.7 | 7.889 | 140.1 | 8.11 | 131.834 | 8.1 | 124.1 | 17.49 | 966.536 | 85.8946 | 63.0325
2020-05-30 16:45:00 | 6.463 | 115.9 | 7.266 | 130.5 | 7.485 | 122.8 | 7.456 | 121.6 | 17.41 | 966.388 | 86.1675 | 50.83
2020-05-30 17:00:00 | 8.1 | 130.3 | 8.04 | 149.6 | 8.43 | 140.774 | 8.38 | 134.4 | 17.51 | 966.536 | 85.8274 | 44.7002
2020-05-30 17:15:00 | 7.742 | 131.2 | 8.24 | 153.5 | 7.617 | 144.443 | 7.469 | 130.3 | 17.51 | 966.833 | 85.1456 | 36.2021
2020-05-30 17:30:00 | 6.851 | 123.4 | 7.779 | 137.9 | 7.347 | 129.764 | 7.252 | 128 | 17.58 | 966.536 | 83.4401 | 34.4729
2020-05-30 17:45:00 | 7.303 | 129.2 | 7.516 | 152.4 | 6.437 | 143.408 | 6.331 | 130.9 | 17.59 | 966.536 | 83.8496 | 29.2373
2020-05-30 18:00:00 | 8.22 | 130.6 | 8.12 | 151.4 | 7.683 | 142.467 | 7.82 | 133.2 | 17.52 | 966.685 | 84.7372 | 24.1458
2020-05-30 18:15:00 | 8.58 | 130.9 | 8.56 | 148 | 8.52 | 139.268 | 8.36 | 132 | 17.45 | 966.833 | 84.8413 | 29.2964
2020-05-30 18:30:00 | 5.319 | 125.6 | 5.698 | 142.5 | 6.035 | 134.092 | 6.119 | 128.2 | 17.25 | 966.833 | 86.8536 | 35.4447
2020-05-30 18:45:00 | 2.97 | 109.3 | 3.456 | 122.7 | 3.84 | 115.461 | 3.939 | 112.6 | 16.98 | 966.833 | 88.4212 | 31.0034
2020-05-30 19:00:00 | 5.158 | 119.1 | 5.501 | 138.3 | 5.59 | 130.14 | 5.536 | 123.2 | 17.08 | 966.388 | 88.4245 | 46.221
2020-05-30 19:15:00 | 5.75 | 108.9 | 6.141 | 130 | 6.404 | 122.33 | 6.486 | 114.2 | 16.82 | 966.239 | 91.1569 | 57.0262
2020-05-30 19:30:00 | 4.872 | 114.7 | 5.062 | 139.8 | 5.178 | 131.552 | 5.373 | 117 | 16.59 | 966.239 | 92.2532 | 40.1408
2020-05-30 19:45:00 | 7.086 | 134.3 | 7.197 | 149.1 | 7.396 | 140.303 | 7.263 | 135.7 | 16.51 | 966.536 | 93.3541 | 25.2395
2020-05-30 20:00:00 | 6.253 | 152.5 | 6.291 | 167 | 6.182 | 157.147 | 6.191 | 154 | 16.44 | 967.13 | 95.0654 | 19.0876
2020-05-30 20:15:00 | 5.916 | 143.3 | 6.077 | 157.9 | 5.913 | 148.584 | 5.867 | 147.2 | 16.26 | 967.427 | 96.3658 | 17.9496
2020-05-30 20:30:00 | 5.416 | 147.4 | 5.547 | 165.9 | 5.722 | 156.112 | 5.62 | 150.7 | 16.24 | 967.427 | 96.2285 | 20.5433
2020-05-30 20:45:00 | 6.738 | 148.8 | 7.064 | 165.8 | 7.286 | 156.018 | 7.278 | 152.1 | 16.18 | 967.872 | 95.7857 | 28.7385
2020-05-30 21:00:00 | 8.39 | 137.4 | 8.75 | 154.6 | 8.97 | 145.479 | 8.9 | 141.3 | 16.19 | 967.427 | 94.5914 | 26.7174
2020-05-30 21:15:00 | 7.323 | 147.1 | 7.777 | 165.2 | 8.03 | 155.453 | 7.871 | 151.1 | 16.43 | 968.021 | 94.1477 | 20.3253
2020-05-30 21:30:00 | 6.69 | 150.9 | 6.867 | 166.8 | 6.846 | 156.959 | 6.766 | 154.3 | 16.31 | 968.021 | 94.6596 | 19.2465
2020-05-30 21:45:00 | 7.229 | 151.3 | 6.56 | 164 | 6.022 | 154.324 | 5.903 | 153.3 | 16.24 | 967.724 | 95.8539 | 29.2669
2020-05-30 22:00:00 | 8.09 | 132.7 | 8.11 | 147.1 | 7.973 | 138.421 | 7.94 | 137.5 | 16.2 | 966.685 | 94.5231 | 40.1556
2020-05-30 22:15:00 | 7.614 | 120.1 | 8.06 | 140.4 | 8.59 | 132.116 | 8.67 | 122.9 | 16.34 | 965.943 | 93.1923 | 65.0145
2020-05-30 22:30:00 | 9.37 | 112 | 10.19 | 126.7 | 10.66 | 119.225 | 10.82 | 115.8 | 16.1 | 964.458 | 96.434 | 79.7237
2020-05-30 22:45:00 | 9.26 | 124.7 | 9.56 | 147.3 | 9.61 | 138.609 | 9.77 | 126.1 | 16.25 | 965.497 | 92.4757 | 77.3516
2020-05-30 23:00:00 | 10.27 | 132.5 | 10.29 | 154.8 | 10.43 | 145.667 | 10.45 | 135.1 | 16.51 | 965.646 | 90.5989 | 71.6504
2020-05-30 23:15:00 | 11.49 | 133.4 | 11.53 | 151.6 | 12.18 | 142.656 | 12.22 | 136.1 | 16.47 | 965.646 | 92.0662 | 75.349
2020-05-30 23:30:00 | 11.1 | 136.4 | 11.83 | 153.3 | 12.29 | 144.255 | 12.21 | 139.7 | 16.23 | 966.091 | 92.7828 | 77.6176
2020-05-30 23:45:00 | 11.16 | 139.4 | 11.83 | 156.8 | 12.26 | 147.549 | 12.16 | 142.8 | 16.15 | 965.646 | 94.3866 | 73.3648