## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-31 00:00:00 | 10.9 | 141.3 | 11.09 | 158.9 | 11.09 | 149.525 | 11.01 | 142.8 | 16.03 | 965.943 | 95.5468 | 74.5768
2020-05-31 00:15:00 | 9.46 | 142.4 | 9.64 | 160.6 | 9.43 | 151.125 | 9.42 | 144.8 | 15.86 | 965.794 | 97.3213 | 69.5222
2020-05-31 00:30:00 | 10.07 | 146.9 | 10.8 | 162.7 | 10.93 | 153.101 | 10.97 | 149.1 | 15.81 | 965.95 | 98.2767 | 62.7443
2020-05-31 00:45:00 | 8.24 | 148 | 8.35 | 164.9 | 9.12 | 155.171 | 9.04 | 149.7 | 15.61 | 965.943 | 99.3004 | 55.1012
2020-05-31 01:00:00 | 9.68 | 150.2 | 10.07 | 168.6 | 11.49 | 158.653 | 11.41 | 149.5 | 15.66 | 965.667 | 98.891 | 61.6596
2020-05-31 01:15:00 | 9.51 | 146.6 | 9.65 | 162.5 | 10.68 | 152.912 | 10.63 | 147.7 | 15.63 | 966.123 | 98.618 | 61.2716
2020-05-31 01:30:00 | 7.944 | 149.5 | 8.01 | 169.1 | 9.4 | 159.123 | 9.56 | 147.4 | 15.65 | 966.257 | 99.1298 | 56.6678
2020-05-31 01:45:00 | 8.56 | 145.9 | 8.77 | 164.8 | 9.83 | 155.077 | 9.8 | 146.6 | 15.68 | 966.12 | 98.618 | 47.4418
2020-05-31 02:00:00 | 6.583 | 149.3 | 7.025 | 165.5 | 8.48 | 155.736 | 8.65 | 147.4 | 15.69 | 966.27 | 98.891 | 44.013
2020-05-31 02:15:00 | 7.405 | 145 | 7.994 | 164.8 | 9.34 | 155.077 | 9.37 | 145.7 | 15.65 | 966.39 | 98.9592 | 42.8122
2020-05-31 02:30:00 | 7.933 | 156.1 | 7.802 | 168.9 | 8.08 | 158.935 | 8.22 | 155.3 | 15.56 | 966.264 | 98.9592 | 41.6992
2020-05-31 02:45:00 | 8.13 | 150.7 | 8.17 | 168.8 | 8.72 | 158.841 | 8.79 | 151.1 | 15.56 | 966.095 | 98.7545 | 50.4716
2020-05-31 03:00:00 | 9.1 | 150.2 | 9 | 168.5 | 8.71 | 158.559 | 8.63 | 149.1 | 15.41 | 965.962 | 99.4369 | 54.5618
2020-05-31 03:15:00 | 8.44 | 150.7 | 8.32 | 168.1 | 8.47 | 158.182 | 8.5 | 151.5 | 15.37 | 965.971 | 99.6758 | 54.0667
2020-05-31 03:30:00 | 8.59 | 153.2 | 8.58 | 172.5 | 8.79 | 162.322 | 8.75 | 154 | 15.37 | 966.214 | 99.7782 | 53.7859
2020-05-31 03:45:00 | 8.19 | 149.2 | 8.29 | 167.7 | 8.78 | 157.806 | 8.71 | 149.3 | 15.32 | 966.056 | 99.9147 | 46.2484
2020-05-31 04:00:00 | 8.76 | 151.3 | 8.92 | 171.3 | 8.94 | 161.193 | 8.86 | 150.5 | 15.3 | 966.445 | 99.9147 | 36.0137
2020-05-31 04:15:00 | 8.22 | 151 | 7.918 | 170.4 | 7.955 | 160.346 | 7.836 | 151.9 | 15.34 | 966.635 | 99.9161 | 39.4942
2020-05-31 04:30:00 | 8.04 | 155.5 | 7.813 | 176.3 | 7.22 | 165.898 | 7.163 | 155.5 | 15.36 | 966.469 | 99.9147 | 34.7796
2020-05-31 04:45:00 | 7.474 | 149.9 | 7.736 | 168.9 | 7.803 | 158.935 | 7.772 | 151.5 | 15.42 | 966.482 | 99.71 | 30.1241
2020-05-31 05:00:00 | 6.343 | 153.1 | 6.614 | 171.8 | 6.788 | 161.664 | 6.733 | 153.7 | 15.43 | 966.825 | 99.7107 | 24.8478
2020-05-31 05:15:00 | 8.67 | 154.3 | 8.81 | 171.3 | 8.81 | 161.193 | 8.79 | 156.3 | 15.5 | 967.089 | 99.3348 | 31.0404
2020-05-31 05:30:00 | 8.04 | 151 | 8.31 | 165.5 | 8.92 | 155.736 | 8.9 | 156 | 15.58 | 966.911 | 99.4372 | 31.9641
2020-05-31 05:45:00 | 8.4 | 146.9 | 8.36 | 162.4 | 7.948 | 152.818 | 7.815 | 151.2 | 15.63 | 966.978 | 99.3005 | 30.0021
2020-05-31 06:00:00 | 6.537 | 153.2 | 6.591 | 172.2 | 6.175 | 162.04 | 6.066 | 155 | 15.69 | 967.171 | 99.0275 | 22.461
2020-05-31 06:15:00 | 7.216 | 146.8 | 7.35 | 161.5 | 6.572 | 151.971 | 6.359 | 156.8 | 15.92 | 966.982 | 97.5943 | 31.7313
2020-05-31 06:30:00 | 7.211 | 147 | 7.227 | 166.9 | 6.872 | 157.053 | 6.756 | 149.6 | 16.17 | 966.833 | 96.2293 | 42.6718
2020-05-31 06:45:00 | 8.08 | 147.3 | 8.26 | 163.8 | 8.16 | 154.136 | 8.11 | 152.4 | 16.09 | 966.833 | 96.2921 | 40.7172
2020-05-31 07:00:00 | 6.419 | 138.2 | 6.463 | 155.1 | 6.081 | 145.949 | 5.895 | 145 | 16.23 | 966.833 | 95.3166 | 33.8891
2020-05-31 07:15:00 | 6.805 | 144.7 | 6.869 | 162.8 | 6.31 | 153.195 | 6.231 | 148.5 | 16.47 | 967.279 | 95.1055 | 34.8461
2020-05-31 07:30:00 | 6.613 | 138.2 | 7.104 | 154.6 | 6.597 | 145.479 | 6.509 | 144.3 | 16.7 | 967.279 | 91.489 | 32.5294
2020-05-31 07:45:00 | 7.267 | 144.6 | 7.698 | 158.3 | 7.23 | 148.96 | 7.082 | 151.8 | 17.53 | 967.388 | 86.7815 | 40.1363
2020-05-31 08:00:00 | 8.02 | 146.2 | 7.966 | 165 | 7.548 | 155.265 | 7.449 | 151.6 | 17.43 | 967.018 | 90.9357 | 46.2262
2020-05-31 08:15:00 | 7.78 | 147.3 | 7.567 | 166.3 | 7.769 | 156.488 | 7.657 | 152.2 | 17.42 | 967.132 | 88.9497 | 39.6826
2020-05-31 08:30:00 | 9.12 | 148.3 | 9.19 | 166.6 | 8.76 | 156.771 | 8.67 | 153.3 | 17.58 | 967.132 | 88.4721 | 37.1406
2020-05-31 08:45:00 | 9.7 | 148.9 | 9.46 | 162.9 | 8.96 | 153.289 | 8.82 | 155.2 | 18.18 | 967.132 | 86.4939 | 33.867
2020-05-31 09:00:00 | 8.94 | 154.3 | 8.61 | 169.6 | 8.1 | 159.594 | 8.1 | 160.3 | 18.82 | 967.059 | 85.0482 | 36.191
2020-05-31 09:15:00 | 8.97 | 152.6 | 8.94 | 168.5 | 8.59 | 158.559 | 8.56 | 158.7 | 18.91 | 967.143 | 84.5354 | 30.6377
2020-05-31 09:30:00 | 8.62 | 153 | 8.39 | 167.6 | 7.927 | 157.712 | 7.752 | 159.6 | 19.33 | 967.727 | 82.1825 | 23.6581
2020-05-31 09:45:00 | 8.64 | 156 | 8.22 | 169.5 | 6.996 | 159.499 | 6.883 | 164.3 | 19.98 | 968.172 | 78.5609 | 26.8135
2020-05-31 10:00:00 | 6.938 | 161.5 | 6.982 | 176.4 | 6.269 | 165.992 | 6.109 | 170.6 | 20.19 | 968.172 | 76.0996 | 22.8526
2020-05-31 10:15:00 | 7.99 | 188.2 | 7.68 | 204 | 6.658 | 191.964 | 6.595 | 186.4 | 20.7 | 967.727 | 78.6212 | 20.8722
2020-05-31 10:30:00 | 7.926 | 183.5 | 7.552 | 198 | 6.485 | 186.318 | 6.432 | 184.8 | 20.87 | 968.023 | 76.7814 | 16.0504
2020-05-31 10:45:00 | 6.276 | 180 | 5.934 | 196.6 | 5.127 | 185.001 | 5.07 | 188.5 | 21.21 | 968.32 | 76.7118 | 10.6707
2020-05-31 11:00:00 | 5.84 | 178.8 | 5.614 | 197.7 | 5.058 | 186.036 | 5.067 | 182.7 | 21.93 | 968.468 | 73.5664 | 7.1163
2020-05-31 11:15:00 | 4.777 | 173.5 | 4.678 | 184.4 | 3.853 | 173.52 | 3.718 | 180.6 | 22.43 | 968.765 | 69.2006 | 2.2132
2020-05-31 11:30:00 | 3.797 | 192.8 | 3.893 | 202.4 | 3.143 | 190.458 | 3.043 | 196.1 | 23.06 | 968.764 | 67.6651 | 0.94588
2020-05-31 11:45:00 | 4.66 | 178.3 | 4.579 | 192.6 | 3.985 | 181.237 | 3.957 | 182.1 | 23.63 | 968.647 | 63.5992 | 0.49511
2020-05-31 12:00:00 | 4.343 | 250.3 | 4.579 | 264.1 | 4.44 | 248.518 | 4.308 | 249 | 24.18 | 968.618 | 62.6449 | 4.9917
2020-05-31 12:15:00 | 5.214 | 253.2 | 5.629 | 265.4 | 5.343 | 249.741 | 5.225 | 254.2 | 24.18 | 968.47 | 55.6578 | 8.6718
2020-05-31 12:30:00 | 5.413 | 314.1 | 5.537 | 329.5 | 5.086 | 310.06 | 4.935 | 314.1 | 24.32 | 968.321 | 57.9414 | 8.6422
2020-05-31 12:45:00 | 4.583 | 300.9 | 4.875 | 313.8 | 4.842 | 295.286 | 4.777 | 301.3 | 24.1 | 968.618 | 59.7819 | 8.694
2020-05-31 13:00:00 | 5.012 | 298.4 | 5.374 | 309.7 | 5.31 | 291.428 | 5.274 | 301.5 | 23.77 | 968.47 | 58.998 | 5.546
2020-05-31 13:15:00 | 4.492 | 307.2 | 4.809 | 316.7 | 4.717 | 298.015 | 4.673 | 310.8 | 24.94 | 968.321 | 57.0552 | 10.2162
2020-05-31 13:30:00 | 4.762 | 302.3 | 5.363 | 316.7 | 5.77 | 298.015 | 5.829 | 304.7 | 25.08 | 968.47 | 52.045 | 18.5186
2020-05-31 13:45:00 | 5.429 | 297.1 | 6.343 | 309.2 | 6.536 | 290.957 | 6.578 | 298.7 | 25.46 | 968.47 | 47.6824 | 23.4586
2020-05-31 14:00:00 | 5.686 | 339.8 | 6.396 | 357.2 | 7.319 | 336.125 | 7.55 | 338.4 | 25.77 | 968.321 | 45.3621 | 18.005
2020-05-31 14:15:00 | 3.454 | 356.2 | 4.302 | 18.18 | 4.987 | 17.1074 | 5.024 | 348 | 26.09 | 968.173 | 45.3289 | 25.9996
2020-05-31 14:30:00 | 7.012 | 310.9 | 8.16 | 323.4 | 7.988 | 304.319 | 7.887 | 313.8 | 26.11 | 968.458 | 44.1009 | 22.4425
2020-05-31 14:45:00 | 5.181 | 327.9 | 6.442 | 338.2 | 7.172 | 318.246 | 7.199 | 329.9 | 25.76 | 968.313 | 41.5108 | 25.0732
2020-05-31 15:00:00 | 4.535 | 325.6 | 5.003 | 342.4 | 5.696 | 322.198 | 5.809 | 321.2 | 26.79 | 968.586 | 33.8728 | 15.16
2020-05-31 15:15:00 | 3.189 | 355.3 | 3.79 | 25.06 | 4.659 | 23.5815 | 4.968 | 351.6 | 26.63 | 968.472 | 37.3085 | 17.3806
2020-05-31 15:30:00 | 2.364 | 335.9 | 3.349 | 354.1 | 3.873 | 333.208 | 3.758 | 332.9 | 26.43 | 969.064 | 35.4344 | 15.3558
2020-05-31 15:45:00 | 3.899 | 330.7 | 4.681 | 345.2 | 4.453 | 324.833 | 4.4 | 332.4 | 26.82 | 968.916 | 32.1976 | 11.3986
2020-05-31 16:00:00 | 2.688 | 339.2 | 3.24 | 358.7 | 3.206 | 337.537 | 3.185 | 338 | 27.27 | 969.36 | 28.7223 | 15.5479
2020-05-31 16:15:00 | 3.999 | 345.6 | 4.857 | 358.1 | 5.203 | 336.972 | 5.123 | 346.2 | 27.44 | 969.36 | 22.6576 | 18.4594
2020-05-31 16:30:00 | 3.225 | 347.1 | 3.819 | 14.33 | 4.432 | 13.4845 | 4.545 | 337.1 | 27.01 | 969.36 | 23.3381 | 19.9142
2020-05-31 16:45:00 | 3.228 | 340.9 | 3.51 | 348.2 | 3.736 | 327.656 | 3.7 | 341.4 | 27.25 | 969.36 | 23.3045 | 17.9126
2020-05-31 17:00:00 | 3.738 | 23.54 | 3.746 | 19.04 | 4.356 | 17.9166 | 4.087 | 11.29 | 26.72 | 968.916 | 23.9182 | 17.3695
2020-05-31 17:15:00 | 3.556 | 16.33 | 6.614 | 36.39 | 5.638 | 34.243 | 5.271 | 9.42 | 26.62 | 969.212 | 26.201 | 23.2738
2020-05-31 17:30:00 | 4.739 | 14.95 | 6.874 | 33.42 | 5.697 | 31.4482 | 5.365 | 10.84 | 25.72 | 968.471 | 26.0307 | 23.6396
2020-05-31 17:45:00 | 4.532 | 15.3 | 6.964 | 33.48 | 6.511 | 31.5047 | 6.162 | 11.22 | 25.71 | 968.471 | 26.7802 | 20.3882
2020-05-31 18:00:00 | 5.39 | 11.65 | 7.549 | 30.36 | 6.579 | 28.5688 | 6.01 | 14.95 | 25.4 | 968.57 | 27.6053 | 16.5344
2020-05-31 18:15:00 | 5.411 | 9.69 | 6.491 | 26.36 | 5.587 | 24.8048 | 5.434 | 10.44 | 25.35 | 968.321 | 28.1514 | 12.8913
2020-05-31 18:30:00 | 4.149 | 3.39 | 4.839 | 22.74 | 4.967 | 21.3983 | 5.174 | 3.969 | 25.25 | 968.469 | 29.0387 | 10.582
2020-05-31 18:45:00 | 3.994 | 9.64 | 5.077 | 27.57 | 4.768 | 25.9434 | 4.265 | 13.19 | 25.09 | 968.321 | 30.1295 | 8.7309
2020-05-31 19:00:00 | 2.351 | 21.22 | 4.507 | 34.8 | 4.255 | 32.7468 | 4.1 | 27.14 | 24.83 | 968.102 | 30.0613 | 5.9487
2020-05-31 19:15:00 | 2.829 | 24.88 | 4.44 | 42.94 | 4.499 | 40.4065 | 4.38 | 28.17 | 24.71 | 968.319 | 29.6911 | 5.1026
2020-05-31 19:30:00 | 3.189 | 27.15 | 4.778 | 44.26 | 4.702 | 41.6487 | 4.65 | 31.76 | 24.62 | 968.172 | 29.3165 | 5.4979
2020-05-31 19:45:00 | 3.271 | 28.25 | 4.903 | 43.55 | 4.969 | 40.9805 | 4.897 | 33.21 | 24.67 | 968.32 | 29.1148 | 5.982
2020-05-31 20:00:00 | 3.337 | 29.18 | 4.934 | 45.6 | 5.018 | 42.9096 | 4.948 | 33.14 | 24.67 | 968.32 | 28.6395 | 6.3551
2020-05-31 20:15:00 | 3.243 | 31.75 | 4.622 | 48.33 | 4.997 | 45.4785 | 4.955 | 35.42 | 24.5 | 968.468 | 27.9577 | 7.216
2020-05-31 20:30:00 | 3.603 | 30.03 | 5.425 | 45.45 | 5.773 | 42.7685 | 5.75 | 34.3 | 24.44 | 968.32 | 27.7531 | 8.0769
2020-05-31 20:45:00 | 3.843 | 32.63 | 4.671 | 47.65 | 4.982 | 44.8386 | 4.991 | 38.53 | 24.36 | 968.32 | 25.8438 | 11.8605
2020-05-31 21:00:00 | 3.605 | 33.84 | 4.734 | 50.4 | 4.873 | 47.4264 | 4.884 | 40.01 | 24.29 | 968.468 | 26.0484 | 9.0598
2020-05-31 21:15:00 | 3.764 | 37.59 | 4.791 | 54.22 | 4.733 | 51.021 | 4.741 | 44.31 | 24.12 | 968.616 | 25.5711 | 8.5905
2020-05-31 21:30:00 | 3.95 | 38.55 | 5.507 | 52.59 | 6.083 | 49.4872 | 6.196 | 46.69 | 24.2 | 968.616 | 25.9124 | 8.1841
2020-05-31 21:45:00 | 4.267 | 53.7 | 5.051 | 66.32 | 4.89 | 62.4071 | 5.039 | 62.31 | 24.05 | 968.765 | 26.3907 | 10.0685
2020-05-31 22:00:00 | 3.991 | 51.72 | 4.947 | 61.41 | 4.959 | 57.7868 | 5.073 | 60.51 | 23.92 | 968.913 | 27.0735 | 9.1521
2020-05-31 22:15:00 | 4.543 | 53.3 | 5.721 | 65.64 | 6.271 | 61.7672 | 6.275 | 59.18 | 23.97 | 968.616 | 26.6656 | 13.5786
2020-05-31 22:30:00 | 4.507 | 49.65 | 6 | 60.28 | 6.533 | 56.7235 | 6.532 | 55 | 23.95 | 968.913 | 25.097 | 12.411
2020-05-31 22:45:00 | 5.789 | 47.08 | 7.455 | 59.31 | 8.07 | 55.8107 | 8.23 | 55.04 | 23.84 | 968.616 | 24.8245 | 17.2217
2020-05-31 23:00:00 | 5.743 | 51.85 | 6.926 | 64.82 | 7.663 | 60.9956 | 7.803 | 58.79 | 23.79 | 968.765 | 23.7326 | 11.9454
2020-05-31 23:15:00 | 5.454 | 53.16 | 6.199 | 64.32 | 6.65 | 60.5251 | 6.848 | 59.92 | 23.84 | 968.765 | 23.4262 | 10.0352
2020-05-31 23:30:00 | 5.186 | 50.86 | 5.836 | 64.13 | 5.928 | 60.3463 | 6.043 | 58.86 | 23.63 | 968.616 | 21.8243 | 8.1508
2020-05-31 23:45:00 | 5.321 | 58.1 | 5.356 | 70.97 | 4.88 | 66.7828 | 5.139 | 62.89 | 23.87 | 968.913 | 21.5853 | 9.3184